## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-24 00:00:00 | 0.792 | 260 | 1.991 | 261.1 | 2.1304 | 245.956 | 1.815 | 256.6 | 3.84 | 974.555 | 34.0338 | -0.2882
2020-12-24 00:15:00 | 0.713 | 276.3 | 1.426 | 266 | 1.5258 | 250.572 | 1.887 | 289.3 | 4.356 | 974.406 | 28.0882 | -0.29928
2020-12-24 00:30:00 | 0.093 | 303.2 | 1.643 | 270.9 | 1.758 | 255.188 | 2.358 | 307.2 | 4.356 | 974.258 | 27.4734 | -0.31776
2020-12-24 00:45:00 | 0.809 | 303.8 | 1.881 | 298.5 | 2.0127 | 281.187 | 2.5 | 306.1 | 4.223 | 973.961 | 29.9347 | -0.29928
2020-12-24 01:00:00 | 0.866 | 297.8 | 2.101 | 299.2 | 2.2481 | 281.846 | 2.717 | 294.2 | 4.356 | 973.961 | 32.8049 | -0.30667
2020-12-24 01:15:00 | 0.984 | 275.8 | 2.564 | 297 | 2.7435 | 279.774 | 2.982 | 277.9 | 4.562 | 973.961 | 21.9396 | -0.29928
2020-12-24 01:30:00 | 2.773 | 290.5 | 3.078 | 299.2 | 3.2935 | 281.846 | 3.741 | 287.7 | 4.594 | 974.258 | 19.6143 | -0.18844
2020-12-24 01:45:00 | 3.276 | 296.5 | 3.666 | 300.4 | 3.9226 | 282.977 | 3.827 | 291.5 | 4.468 | 974.555 | 24.1244 | -0.13301
2020-12-24 02:00:00 | 2.993 | 324.3 | 3.824 | 301.3 | 4.0917 | 283.825 | 3.664 | 315.6 | 4.077 | 974.258 | 28.3615 | -0.077592
2020-12-24 02:15:00 | 3.141 | 326.2 | 3.791 | 351.7 | 4.0564 | 331.301 | 3.842 | 319.8 | 3.794 | 974.258 | 27.7465 | 0.94219
2020-12-24 02:30:00 | 3.136 | 321.8 | 2.917 | 335 | 3.1212 | 315.57 | 3.738 | 313.3 | 3.525 | 974.555 | 35.1273 | 2.7268
2020-12-24 02:45:00 | 3.069 | 321.7 | 2.423 | 345.1 | 2.5926 | 325.084 | 4.838 | 309.1 | 3.218 | 974.555 | 39.7745 | 3.1628
2020-12-24 03:00:00 | 3.294 | 319 | 2.97 | 343.8 | 3.1779 | 323.86 | 4.507 | 308.2 | 2.951 | 974.555 | 38.4084 | 2.8561
2020-12-24 03:15:00 | 2.582 | 327.1 | 3.078 | 2.595 | 3.2935 | 2.4445 | 2.658 | 309.4 | 2.796 | 974.258 | 42.3758 | 1.6996
2020-12-24 03:30:00 | 2.045 | 319.3 | 2.848 | 354.4 | 3.0474 | 333.845 | 3.15 | 307.1 | 2.772 | 973.961 | 39.1655 | 1.1343
2020-12-24 03:45:00 | 2.326 | 319.1 | 3.244 | 348.9 | 3.4711 | 328.664 | 2.569 | 309.6 | 3.089 | 974.027 | 33.5629 | 1.6331
2020-12-24 04:00:00 | 3.005 | 330.8 | 3.558 | 351.3 | 3.8071 | 330.925 | 2.243 | 323.1 | 3.282 | 973.987 | 29.7365 | 3.0113
2020-12-24 04:15:00 | 3.72 | 334.4 | 4.484 | 0.009 | 4.7979 | 0.008478 | 2.396 | 330.2 | 3.133 | 974.129 | 38.2447 | 4.807
2020-12-24 04:30:00 | 4.341 | 11.87 | 3.852 | 18.61 | 4.1216 | 17.5306 | 5.218 | 350.2 | 2.444 | 973.813 | 46.1402 | 5.6235
2020-12-24 04:45:00 | 4.481 | 4.666 | 4.591 | 26.16 | 4.9124 | 24.6427 | 5.574 | 2.525 | 2.055 | 973.719 | 47.5786 | 6.4475
2020-12-24 05:00:00 | 4.313 | 3.376 | 4.563 | 23.85 | 4.8824 | 22.4667 | 5.612 | 357.7 | 1.957 | 973.509 | 47.3074 | 7.9661
2020-12-24 05:15:00 | 3.963 | 6.471 | 4.995 | 25.16 | 5.3446 | 23.7007 | 5.164 | 3.363 | 1.999 | 973.587 | 46.0087 | 9.529
2020-12-24 05:30:00 | 3.8 | 357.8 | 3.939 | 17.75 | 4.2147 | 16.7205 | 4.935 | 346.8 | 2.27 | 973.589 | 37.2579 | 6.8909
2020-12-24 05:45:00 | 3.748 | 0.902 | 4.049 | 20.88 | 4.3324 | 19.669 | 5.08 | 352.4 | 2.539 | 973.537 | 32.7463 | 6.4216
2020-12-24 06:00:00 | 4.2 | 6.496 | 4.382 | 22.2 | 4.6887 | 20.9124 | 4.123 | 8.36 | 2.723 | 974.151 | 31.6178 | 5.7344
2020-12-24 06:15:00 | 3.736 | 7.203 | 4.77 | 23.45 | 5.1039 | 22.0899 | 4.306 | 7.696 | 2.427 | 974.026 | 33.3598 | 9.5327
2020-12-24 06:30:00 | 4.323 | 8.78 | 4.888 | 24.71 | 5.2302 | 23.2768 | 4.828 | 12.12 | 2.179 | 974.007 | 37.3934 | 7.4562
2020-12-24 06:45:00 | 3.766 | 10.72 | 4.047 | 20.13 | 4.3303 | 18.9625 | 4.097 | 14.05 | 1.853 | 974.395 | 42.5216 | 6.1519
2020-12-24 07:00:00 | 3.726 | 14.34 | 4.642 | 27.3 | 4.9669 | 25.7166 | 5.078 | 18.83 | 1.315 | 974.498 | 45.5306 | 4.9622
2020-12-24 07:15:00 | 4.119 | 8.89 | 4.509 | 22.8 | 4.8246 | 21.4776 | 5.218 | 5.743 | 1.66 | 974.556 | 36.9168 | 3.5101
2020-12-24 07:30:00 | 3.485 | 359.8 | 3.824 | 13.99 | 4.0917 | 13.1786 | 5.411 | 352.3 | 1.593 | 974.854 | 37.532 | 3.9904
2020-12-24 07:45:00 | 3.659 | 347.7 | 4.602 | 7.586 | 4.9241 | 7.146 | 4.634 | 341.7 | 2.164 | 975.151 | 33.4302 | 3.196
2020-12-24 08:00:00 | 2.929 | 334.1 | 3.535 | 355.5 | 3.7824 | 334.881 | 3.056 | 322.9 | 2.425 | 975.448 | 35.4127 | 3.4658
2020-12-24 08:15:00 | 2.908 | 335 | 3.65 | 355.6 | 3.9055 | 334.975 | 2.64 | 323.5 | 2.397 | 975.59 | 35.0026 | 3.0667
2020-12-24 08:30:00 | 3.108 | 329.9 | 3.418 | 346.3 | 3.6573 | 326.215 | 2.837 | 319.3 | 2.744 | 975.774 | 34.0065 | 3.4916
2020-12-24 08:45:00 | 2.508 | 328.1 | 2.896 | 345.4 | 3.0987 | 325.367 | 2.437 | 319.6 | 3.09 | 976.637 | 33.9314 | 3.5581
2020-12-24 09:00:00 | 1.798 | 312.2 | 2.932 | 326.3 | 3.1372 | 307.375 | 3.473 | 312.6 | 3.395 | 976.934 | 32.8704 | 2.6049
2020-12-24 09:15:00 | 2.192 | 329.4 | 2.646 | 358.7 | 2.8312 | 337.895 | 2.539 | 323.6 | 3.636 | 977.233 | 32.8267 | 4.4043
2020-12-24 09:30:00 | 3.302 | 331.5 | 3.542 | 351.5 | 3.7899 | 331.113 | 3.524 | 328.3 | 3.691 | 977.378 | 32.4153 | 6.2628
2020-12-24 09:45:00 | 3.383 | 346.6 | 3.185 | 0.662 | 3.408 | 0.6236 | 3.511 | 332.5 | 3.679 | 977.665 | 32.9182 | 5.4721
2020-12-24 10:00:00 | 3.032 | 352.7 | 2.617 | 5.572 | 2.8002 | 5.2488 | 2.719 | 339.9 | 3.824 | 977.43 | 33.6691 | 3.5471
2020-12-24 10:15:00 | 3.12 | 333.7 | 3.083 | 341 | 3.2988 | 321.222 | 2.87 | 340.5 | 3.719 | 977.524 | 34.2155 | 3.8611
2020-12-24 10:30:00 | 3.618 | 347.8 | 2.898 | 357.2 | 3.1009 | 336.482 | 3.111 | 343.2 | 3.657 | 977.36 | 33.3241 | 4.8033
2020-12-24 10:45:00 | 3.309 | 347.1 | 3.22 | 359.4 | 3.4454 | 338.555 | 3.208 | 344.3 | 3.795 | 977.333 | 34.8242 | 5.025
2020-12-24 11:00:00 | 2.678 | 0.793 | 2.811 | 15.1 | 3.0078 | 14.2242 | 2.652 | 3.533 | 3.949 | 977.376 | 45.819 | 4.988
2020-12-24 11:15:00 | 2.99 | 357.2 | 3.423 | 342.7 | 3.6626 | 322.823 | 3.015 | 25 | 3.573 | 976.966 | 51.1352 | 5.5792
2020-12-24 11:30:00 | 3.634 | 7.184 | 3.405 | 352.5 | 3.6433 | 332.055 | 3.002 | 15.14 | 2.857 | 976.657 | 51.4764 | 4.5668
2020-12-24 11:45:00 | 1.542 | 12.69 | 2.697 | 6.591 | 2.8858 | 6.2087 | 3.463 | 26.36 | 2.919 | 976.725 | 46.5609 | 2.7674
2020-12-24 12:00:00 | 0.676 | 21.68 | 2.449 | 32.17 | 2.6204 | 30.3041 | 3.061 | 14.64 | 3.314 | 976.752 | 44.5127 | 2.3425
2020-12-24 12:15:00 | 2.655 | 19.84 | 3.638 | 21.77 | 3.8927 | 20.5073 | 3.89 | 21.06 | 3.275 | 976.414 | 41.9184 | 4.1345
2020-12-24 12:30:00 | 4.075 | 10.9 | 4.681 | 35.59 | 5.0087 | 33.5258 | 4.175 | 1.564 | 2.716 | 976.06 | 37.6198 | 5.2578
2020-12-24 12:45:00 | 2.512 | 13.85 | 4.586 | 35.52 | 4.907 | 33.4598 | 4.594 | 7.069 | 3.123 | 976.328 | 32.8448 | 8.8529
2020-12-24 13:00:00 | 3.937 | 8.64 | 5.663 | 29.41 | 6.0594 | 27.7042 | 5.404 | 6.615 | 3.541 | 976.039 | 31.448 | 12.7952
2020-12-24 13:15:00 | 3.971 | 15.18 | 5.187 | 44.41 | 5.5501 | 41.8342 | 4.517 | 358.8 | 3.684 | 976.039 | 29.0251 | 16.8448
2020-12-24 13:30:00 | 3.231 | 17.57 | 5.898 | 32.98 | 6.3109 | 31.0672 | 5.195 | 11.57 | 3.588 | 976.187 | 28.7519 | 21.722
2020-12-24 13:45:00 | 3.281 | 2.198 | 3.293 | 24.99 | 3.5235 | 23.5406 | 5.131 | 349.8 | 3.672 | 976.187 | 25.5079 | 23.9241
2020-12-24 14:00:00 | 4.818 | 348.5 | 5.404 | 4.397 | 5.7823 | 4.142 | 6.402 | 342 | 3.623 | 975.904 | 25.064 | 22.7639
2020-12-24 14:15:00 | 3.278 | 19.43 | 5.134 | 38.84 | 5.4934 | 36.5873 | 3.942 | 5.879 | 3.942 | 976.412 | 23.425 | 20.2699
2020-12-24 14:30:00 | 2.494 | 14.51 | 4.233 | 31.71 | 4.5293 | 29.8708 | 3.619 | 352.4 | 4.061 | 976.467 | 24.0396 | 13.4751
2020-12-24 14:45:00 | 2.32 | 19.01 | 4.56 | 37.73 | 4.8792 | 35.5417 | 3.86 | 13.55 | 3.485 | 976.589 | 25.2348 | 10.1017
2020-12-24 15:00:00 | 2.286 | 15.52 | 3.208 | 27.04 | 3.4326 | 25.4717 | 3.888 | 8.62 | 3.727 | 976.628 | 23.7664 | 9.0487
2020-12-24 15:15:00 | 3.83 | 11.86 | 5.041 | 35.85 | 5.3939 | 33.7707 | 4.26 | 6.997 | 3.224 | 976.337 | 24.3811 | 9.5881
2020-12-24 15:30:00 | 2.885 | 13.99 | 4.443 | 32.98 | 4.754 | 31.0672 | 3.865 | 3.831 | 3.482 | 976.337 | 24.314 | 7.6372
2020-12-24 15:45:00 | 3.321 | 11.31 | 3.993 | 27.68 | 4.2725 | 26.0746 | 3.738 | 355 | 3.208 | 976.04 | 24.1128 | 8.3688
2020-12-24 16:00:00 | 3.207 | 1.577 | 4.146 | 24.01 | 4.4362 | 22.6174 | 3.85 | 7.045 | 3.124 | 976.04 | 22.5447 | 7.8626
2020-12-24 16:15:00 | 3.427 | 350 | 3.962 | 16.46 | 4.2393 | 15.5053 | 5.391 | 349.5 | 3.107 | 976.04 | 21.9983 | 7.0572
2020-12-24 16:30:00 | 4.144 | 350.2 | 4.284 | 8.13 | 4.5839 | 7.6585 | 4.838 | 351.5 | 3.03 | 975.743 | 22.4765 | 4.1863
2020-12-24 16:45:00 | 4.068 | 12.56 | 4.146 | 16.78 | 4.4362 | 15.8068 | 4.494 | 4.677 | 2.82 | 975.446 | 21.8617 | 2.8857
2020-12-24 17:00:00 | 3.304 | 8.62 | 3.661 | 17.18 | 3.9173 | 16.1836 | 3.292 | 6.06 | 2.701 | 975.418 | 21.5245 | 1.4336
2020-12-24 17:15:00 | 3.575 | 6.816 | 4.083 | 23.37 | 4.3688 | 22.0145 | 3.297 | 12.46 | 2.471 | 975.149 | 22.5518 | 0.67246
2020-12-24 17:30:00 | 2.204 | 19.27 | 3.479 | 34.08 | 3.7225 | 32.1034 | 3.657 | 23.38 | 2.413 | 975.15 | 22.0741 | 0.95327
2020-12-24 17:45:00 | 3.031 | 19.23 | 4.047 | 35.84 | 4.3303 | 33.7613 | 4.283 | 23.72 | 2.294 | 975.15 | 22.4842 | 0.42121
2020-12-24 18:00:00 | 2.211 | 24.2 | 2.883 | 44.11 | 3.0848 | 41.5516 | 3.033 | 24.15 | 2.323 | 975.15 | 20.8474 | -0.26603
2020-12-24 18:15:00 | 1.65 | 29.97 | 2.605 | 47.18 | 2.7873 | 44.4436 | 2.908 | 34.26 | 2.197 | 975.241 | 20.7138 | -0.19583
2020-12-24 18:30:00 | 2.405 | 13.28 | 3.098 | 31.76 | 3.3149 | 29.9179 | 2.931 | 17.17 | 2.352 | 975.593 | 20.3726 | -0.22169
2020-12-24 18:45:00 | 2.112 | 21.24 | 3.206 | 40.52 | 3.4304 | 38.1698 | 3.333 | 23.02 | 2.319 | 975.746 | 20.2359 | -0.18474
2020-12-24 19:00:00 | 2.125 | 16.97 | 3.292 | 36.27 | 3.5224 | 34.1663 | 3.185 | 21.8 | 2.203 | 975.597 | 19.5522 | -0.29559
2020-12-24 19:15:00 | 1.869 | 2.099 | 2.275 | 22.94 | 2.4343 | 21.6095 | 1.851 | 6.29 | 2.472 | 975.894 | 19.1419 | -0.27711
2020-12-24 19:30:00 | 2.063 | 12.23 | 3.091 | 30.62 | 3.3074 | 28.844 | 2.587 | 14.25 | 2.445 | 975.894 | 19.4155 | -0.2882
2020-12-24 19:45:00 | 2.296 | 350.2 | 2.377 | 25.91 | 2.5434 | 24.4072 | 2.569 | 345 | 2.488 | 975.894 | 18.9369 | -0.27711
2020-12-24 20:00:00 | 1.874 | 349.5 | 1.983 | 25.92 | 2.1218 | 24.4166 | 2.022 | 341.6 | 2.473 | 976.043 | 18.7318 | -0.27711
2020-12-24 20:15:00 | 1.749 | 337 | 1.917 | 353.1 | 2.0512 | 332.62 | 2.302 | 333.9 | 2.487 | 976.043 | 18.7317 | -0.27711
2020-12-24 20:30:00 | 0.974 | 348 | 1.158 | 3.909 | 1.2391 | 3.6823 | 1.214 | 333.9 | 2.424 | 976.043 | 19.0735 | -0.27711
2020-12-24 20:45:00 | 1.089 | 352.1 | 1.736 | 4.651 | 1.8575 | 4.3812 | 0.982 | 333.9 | 2.442 | 976.043 | 19.1418 | -0.26233
2020-12-24 21:00:00 | 0 | 6.443 | 0 | 4.932 | 0 | 4.6459 | 0 | 333.9 | 2.504 | 976.043 | 19.6204 | -0.27711
2020-12-24 21:15:00 | 0.011 | 1.224 | 0.5 | 4.93 | 0.535 | 4.6441 | 0.828 | 333.9 | 2.482 | 976.043 | 19.7573 | -0.27711
2020-12-24 21:30:00 | 0 | 341.2 | 0.483 | 4.784 | 0.51681 | 4.5065 | 0.945 | 333.9 | 2.436 | 976.043 | 19.9624 | -0.27711
2020-12-24 21:45:00 | 0 | 341.2 | 1.233 | 4.784 | 1.3193 | 4.5065 | 1.39 | 333.8 | 2.451 | 976.34 | 19.7231 | -0.2882
2020-12-24 22:00:00 | 0 | 332.1 | 0.124 | 4.041 | 0.13268 | 3.8066 | 0.311 | 333.8 | 2.381 | 976.192 | 19.894 | -0.2882
2020-12-24 22:15:00 | 0 | 332.1 | 0 | 4.051 | 0 | 3.816 | 0.7 | 333.8 | 2.194 | 976.043 | 19.894 | -0.29928
2020-12-24 22:30:00 | 0 | 332.2 | 0 | 4.051 | 0 | 3.816 | 1.142 | 333.9 | 1.949 | 975.894 | 17.9115 | -0.29928
2020-12-24 22:45:00 | 0 | 339 | 0.71 | 4.051 | 0.7597 | 3.816 | 1.097 | 334.4 | 2.624 | 976.043 | 14.9034 | -0.29928
2020-12-24 23:00:00 | 0.361 | 289.3 | 0.383 | 4.053 | 0.40981 | 3.8179 | 0.788 | 334.4 | 2.455 | 976.043 | 19.2795 | -0.2882
2020-12-24 23:15:00 | 0.32 | 282.4 | 0.094 | 107 | 0.10058 | 100.794 | 0 | 334.4 | 2.521 | 976.043 | 18.3904 | -0.29928
2020-12-24 23:30:00 | 2.096 | 178.3 | 1.572 | 145 | 1.682 | 136.59 | 0.35 | 334.3 | 2.286 | 975.894 | 19.142 | -0.23278
2020-12-24 23:45:00 | 2.643 | 155.4 | 3.147 | 169.1 | 3.3673 | 159.292 | 2.139 | 166.7 | 2.016 | 976.043 | 19.2104 | 0.52097