## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-25 00:00:00 | 2.888 | 150.9 | 3.226 | 162.7 | 3.4518 | 153.263 | 2.33 | 156.3 | 2.305 | 975.894 | 19.142 | 0.56531
2020-12-25 00:15:00 | 2.602 | 132.5 | 2.339 | 155.5 | 2.5027 | 146.481 | 1.272 | 147.8 | 2.546 | 976.043 | 16.6809 | 0.69094
2020-12-25 00:30:00 | 2.245 | 133 | 2.784 | 154.6 | 2.9789 | 145.633 | 1.384 | 143.2 | 2.593 | 976.043 | 16.4416 | 1.8807
2020-12-25 00:45:00 | 3.031 | 138.9 | 3.267 | 156.3 | 3.4957 | 147.235 | 2.421 | 136.2 | 2.683 | 975.894 | 18.1847 | 3.4953
2020-12-25 01:00:00 | 3.087 | 144.3 | 3.684 | 159.8 | 3.9419 | 150.532 | 2.758 | 147.5 | 2.273 | 975.746 | 18.4579 | 4.2417
2020-12-25 01:15:00 | 2.931 | 147.7 | 3.525 | 160.8 | 3.7717 | 151.474 | 3.618 | 155.3 | 2.434 | 975.894 | 17.4327 | 6.4512
2020-12-25 01:30:00 | 3.363 | 146.7 | 4.162 | 161.7 | 4.4533 | 152.321 | 4.301 | 151 | 2.023 | 975.746 | 19.5521 | 8.5868
2020-12-25 01:45:00 | 4.905 | 142 | 5.333 | 156.4 | 5.7063 | 147.329 | 4.8 | 148.4 | 2.097 | 975.746 | 19.3471 | 11.9307
2020-12-25 02:00:00 | 3.657 | 141.8 | 5.095 | 154.9 | 5.4516 | 145.916 | 5.172 | 152.8 | 1.661 | 975.448 | 19.6888 | 14.7461
2020-12-25 02:15:00 | 4.696 | 143.1 | 5.68 | 154.4 | 6.0776 | 145.445 | 5.933 | 156 | 1.996 | 975.3 | 19.1419 | 22.2023
2020-12-25 02:30:00 | 5.684 | 136.3 | 6.43 | 148.5 | 6.8801 | 139.887 | 6.7 | 150.2 | 1.848 | 975.597 | 19.1419 | 25.5018
2020-12-25 02:45:00 | 6.123 | 144.3 | 6.593 | 159.5 | 7.0545 | 150.249 | 7.426 | 156.5 | 1.933 | 975.448 | 18.5265 | 25.5166
2020-12-25 03:00:00 | 6.654 | 146.2 | 6.936 | 159.3 | 7.4215 | 150.061 | 7.599 | 156.4 | 1.993 | 975.151 | 16.4758 | 29.374
2020-12-25 03:15:00 | 6.567 | 147.5 | 7.151 | 159.1 | 7.6516 | 149.872 | 8.19 | 158.8 | 2.123 | 975.151 | 15.8605 | 31.1623
2020-12-25 03:30:00 | 6.192 | 148 | 7.058 | 162.8 | 7.5521 | 153.358 | 8.17 | 157.6 | 2.116 | 975.002 | 15.7922 | 39.1654
2020-12-25 03:45:00 | 7.497 | 153.8 | 8.2 | 166.2 | 8.774 | 156.56 | 8.59 | 159.3 | 2.232 | 974.854 | 16.6125 | 40.514
2020-12-25 04:00:00 | 6.304 | 146.2 | 7.301 | 161.1 | 7.8121 | 151.756 | 8.75 | 154.6 | 1.934 | 974.556 | 15.9973 | 38.5816
2020-12-25 04:15:00 | 7.211 | 153.1 | 8.06 | 164.4 | 8.6242 | 154.865 | 8.96 | 160.1 | 1.962 | 974.854 | 17.3987 | 38.9769
2020-12-25 04:30:00 | 6.266 | 151.2 | 6.593 | 171.6 | 7.0545 | 161.647 | 8.07 | 155.2 | 1.444 | 974.259 | 17.9115 | 43.6176
2020-12-25 04:45:00 | 5.651 | 144.6 | 6.437 | 160.3 | 6.8876 | 151.003 | 8.74 | 154.4 | 1.453 | 974.259 | 17.9114 | 46.8617
2020-12-25 05:00:00 | 6.91 | 149.2 | 7.984 | 163.1 | 8.5429 | 153.64 | 9.52 | 156.6 | 1.773 | 974.259 | 17.9113 | 45.72
2020-12-25 05:15:00 | 5.845 | 145.3 | 6.67 | 164.7 | 7.1369 | 155.147 | 8.49 | 150.3 | 1.731 | 974.259 | 19.0053 | 49.5479
2020-12-25 05:30:00 | 6.412 | 147.1 | 6.941 | 164.2 | 7.4269 | 154.676 | 7.945 | 152.7 | 1.763 | 974.259 | 19.7573 | 55.6074
2020-12-25 05:45:00 | 6.32 | 149.6 | 6.143 | 172.5 | 6.573 | 162.495 | 7.469 | 149.7 | 1.638 | 974.259 | 20.5777 | 59.1914
2020-12-25 06:00:00 | 6.003 | 150.1 | 6.57 | 172.7 | 7.0299 | 162.683 | 7.846 | 151.3 | 1.392 | 974.259 | 21.3297 | 63.1782
2020-12-25 06:15:00 | 6.355 | 150.3 | 6.516 | 168.2 | 6.9721 | 158.444 | 7.123 | 151.7 | 1.164 | 974.259 | 22.15 | 59.9378
2020-12-25 06:30:00 | 6.391 | 147.9 | 6.657 | 169.8 | 7.123 | 159.952 | 7.82 | 149.3 | 1.107 | 974.259 | 23.449 | 63.4774
2020-12-25 06:45:00 | 6.894 | 149.9 | 7.043 | 169.3 | 7.536 | 159.481 | 8.86 | 151.3 | 0.725 | 973.664 | 24.0643 | 69.8215
2020-12-25 07:00:00 | 6.943 | 151.8 | 6.67 | 175.6 | 7.1369 | 165.415 | 8.13 | 152.3 | 0.813 | 974.11 | 24.8846 | 70.2004
2020-12-25 07:15:00 | 7.364 | 154.1 | 7.232 | 174.3 | 7.7382 | 164.191 | 8.12 | 155.6 | 0.825 | 973.961 | 25.4657 | 72.5889
2020-12-25 07:30:00 | 7.612 | 153.9 | 7.276 | 171.1 | 7.7853 | 161.176 | 8.21 | 157 | 0.863 | 974.407 | 26.3886 | 68.1588
2020-12-25 07:45:00 | 6.907 | 147.3 | 7.007 | 177.4 | 7.4975 | 167.111 | 8.06 | 151.8 | 0.703 | 974.259 | 27.0723 | 70.3609
2020-12-25 08:00:00 | 7.392 | 150.9 | 7.02 | 176.9 | 7.5114 | 166.64 | 8.66 | 152.7 | 0.795 | 974.259 | 27.4825 | 64.0982
2020-12-25 08:15:00 | 8.11 | 155 | 7.808 | 175 | 8.3546 | 164.85 | 8.89 | 157.1 | 0.901 | 974.259 | 27.4825 | 65.0794
2020-12-25 08:30:00 | 8.99 | 158.2 | 9.22 | 171.8 | 9.8654 | 161.836 | 9.54 | 163.3 | 1.084 | 974.854 | 27.7559 | 63.3814
2020-12-25 08:45:00 | 8.91 | 154.7 | 8.73 | 174 | 9.3411 | 163.908 | 10.07 | 158.4 | 1.268 | 974.805 | 28.5761 | 68.6133
2020-12-25 09:00:00 | 10.05 | 155.2 | 10.34 | 171.3 | 11.0638 | 161.365 | 10.47 | 160 | 1.435 | 974.558 | 29.3205 | 72.0088
2020-12-25 09:15:00 | 8.76 | 151.5 | 8.61 | 172.3 | 9.2127 | 162.307 | 9.96 | 155.8 | 1.463 | 975.15 | 29.865 | 77.7543
2020-12-25 09:30:00 | 9.8 | 152.7 | 9.52 | 171.2 | 10.1864 | 161.27 | 10.69 | 156.4 | 1.553 | 975.002 | 30.5143 | 81.294
2020-12-25 09:45:00 | 10.76 | 150.6 | 11.31 | 166.7 | 12.1017 | 157.031 | 12.08 | 155.6 | 1.742 | 975.563 | 30.2402 | 84.0282
2020-12-25 10:00:00 | 10.39 | 149.9 | 10.4 | 167.1 | 11.128 | 157.408 | 11.58 | 155.2 | 1.881 | 975.743 | 30.4772 | 84.9186
2020-12-25 10:15:00 | 12.17 | 151.6 | 12.21 | 167.8 | 13.0647 | 158.068 | 12.08 | 158.5 | 1.907 | 975.298 | 31.4008 | 85.2401
2020-12-25 10:30:00 | 11.81 | 153.4 | 11.11 | 172.8 | 11.8877 | 162.778 | 11.68 | 155.6 | 2.02 | 975.447 | 34.6119 | 82.3138
2020-12-25 10:45:00 | 10.13 | 155.6 | 10.39 | 173.5 | 11.1173 | 163.437 | 10.86 | 157.8 | 2.237 | 975.744 | 37.6863 | 80.8358
2020-12-25 11:00:00 | 11.19 | 150.5 | 11.4 | 165.3 | 12.198 | 155.713 | 11.86 | 155.8 | 2.248 | 974.983 | 37.0671 | 75.6718
2020-12-25 11:15:00 | 11.15 | 147.7 | 11.53 | 163.9 | 12.3371 | 154.394 | 11.25 | 154.3 | 2.537 | 974.909 | 38.8393 | 70.1562
2020-12-25 11:30:00 | 11.24 | 155.1 | 10.79 | 170.9 | 11.5453 | 160.988 | 10.55 | 160.2 | 2.903 | 974.563 | 39.4193 | 67.7693
2020-12-25 11:45:00 | 10.8 | 151.3 | 10.9 | 167.4 | 11.663 | 157.691 | 10.21 | 158.1 | 3.37 | 974.852 | 39.8634 | 58.6002
2020-12-25 12:00:00 | 10.8 | 152.2 | 10.47 | 168.1 | 11.2029 | 158.35 | 9.49 | 159.2 | 3.459 | 974.555 | 40.649 | 40.8465
2020-12-25 12:15:00 | 9.74 | 153.6 | 9.6 | 169.4 | 10.272 | 159.575 | 8.49 | 162.6 | 3.76 | 974.257 | 41.9471 | 29.5181
2020-12-25 12:30:00 | 11.21 | 149.4 | 11.2 | 164.8 | 11.984 | 155.242 | 10.15 | 156.4 | 3.832 | 973.96 | 40.8881 | 19.3388
2020-12-25 12:45:00 | 8.57 | 164.9 | 8.63 | 179.1 | 9.2341 | 168.712 | 7.927 | 169.2 | 4.497 | 974.109 | 38.5995 | 25.1988
2020-12-25 13:00:00 | 10.55 | 160 | 10.28 | 174.6 | 10.9996 | 164.473 | 9.44 | 164.2 | 4.611 | 973.96 | 38.8045 | 30.2608
2020-12-25 13:15:00 | 8.93 | 157.4 | 8.82 | 175.2 | 9.4374 | 165.038 | 8.43 | 162.6 | 4.97 | 974.257 | 38.6678 | 30.7152
2020-12-25 13:30:00 | 8.67 | 164.6 | 8.34 | 176.3 | 8.9238 | 166.075 | 7.347 | 171 | 5.263 | 974.257 | 37.9143 | 34.5948
2020-12-25 13:45:00 | 8.45 | 153.9 | 8.54 | 169.1 | 9.1378 | 159.292 | 7.701 | 163.2 | 5.461 | 974.257 | 37.4979 | 30.4381
2020-12-25 14:00:00 | 9.7 | 159.4 | 9.3 | 173.8 | 9.951 | 163.72 | 8.83 | 165.3 | 5.444 | 974.109 | 36.9132 | 34.6133
2020-12-25 14:15:00 | 9.02 | 152 | 8.93 | 168.6 | 9.5551 | 158.821 | 8.09 | 159.3 | 5.792 | 973.96 | 37.7668 | 36.0506
2020-12-25 14:30:00 | 8.67 | 154.5 | 8.31 | 169.8 | 8.8917 | 159.952 | 8.1 | 159 | 5.951 | 974.257 | 35.5131 | 27.4564
2020-12-25 14:45:00 | 8.14 | 148.8 | 8.12 | 164.6 | 8.6884 | 155.053 | 7.538 | 153.9 | 5.985 | 974.224 | 35.1716 | 25.8565
2020-12-25 15:00:00 | 8.33 | 153 | 8.31 | 166.4 | 8.8917 | 156.749 | 7.168 | 161.9 | 6.247 | 974.214 | 34.2155 | 28.2249
2020-12-25 15:15:00 | 7.663 | 162.3 | 7.319 | 178 | 7.8313 | 167.676 | 6.229 | 169.8 | 6.33 | 974.23 | 34.0789 | 27.8739
2020-12-25 15:30:00 | 8.14 | 154.4 | 8.18 | 171.4 | 8.7526 | 161.459 | 7.354 | 159.9 | 6.212 | 974.181 | 35.9911 | 24.5633
2020-12-25 15:45:00 | 6.578 | 159 | 6.432 | 172.9 | 6.8822 | 162.872 | 6.132 | 167.3 | 6.413 | 974.25 | 36.6741 | 21.94
2020-12-25 16:00:00 | 7.326 | 149.7 | 7.34 | 166.6 | 7.8538 | 156.937 | 7.247 | 156.2 | 6.112 | 974.257 | 38.1424 | 22.7381
2020-12-25 16:15:00 | 7.522 | 151.5 | 7.386 | 168.7 | 7.903 | 158.915 | 7.415 | 156.2 | 5.906 | 974.109 | 39.8851 | 18.3486
2020-12-25 16:30:00 | 6.103 | 153.3 | 6.409 | 171.9 | 6.8576 | 161.93 | 6.758 | 155.9 | 5.761 | 973.663 | 41.3301 | 17.6983
2020-12-25 16:45:00 | 5.911 | 153.9 | 6.059 | 174.3 | 6.4831 | 164.191 | 6.318 | 159.1 | 5.622 | 973.663 | 41.8787 | 17.1404
2020-12-25 17:00:00 | 5.25 | 156.1 | 5.691 | 173.3 | 6.0894 | 163.249 | 6.384 | 159.5 | 5.412 | 973.068 | 42.801 | 18.6922
2020-12-25 17:15:00 | 4.829 | 161 | 5.026 | 179.4 | 5.3778 | 168.995 | 5.615 | 162.4 | 5.287 | 973.366 | 43.3817 | 17.4914
2020-12-25 17:30:00 | 5.786 | 152.8 | 6.161 | 174.1 | 6.5923 | 164.002 | 7.186 | 156.7 | 5.16 | 973.186 | 43.6208 | 20.765
2020-12-25 17:45:00 | 5.939 | 150.1 | 6.445 | 167.9 | 6.8961 | 158.162 | 7.517 | 153.8 | 5.239 | 973.603 | 43.7288 | 25.4131
2020-12-25 18:00:00 | 5.827 | 147 | 6.32 | 167.1 | 6.7624 | 157.408 | 7.586 | 151.8 | 5.124 | 973.515 | 43.7342 | 28.6498
2020-12-25 18:15:00 | 6.251 | 147 | 6.959 | 165 | 7.4461 | 155.43 | 8.39 | 152.4 | 5.071 | 973.663 | 44.2814 | 34.0923
2020-12-25 18:30:00 | 6.136 | 143.9 | 6.787 | 162.2 | 7.2621 | 152.792 | 7.869 | 150.1 | 5.058 | 973.663 | 44.8959 | 33.1058
2020-12-25 18:45:00 | 6.917 | 146.7 | 7.779 | 163.3 | 8.3235 | 153.829 | 8.36 | 152 | 5.156 | 973.663 | 46.1947 | 34.5911
2020-12-25 19:00:00 | 6.807 | 142 | 7.112 | 160.9 | 7.6098 | 151.568 | 8.07 | 149.8 | 4.998 | 973.961 | 47.4916 | 33.2388
2020-12-25 19:15:00 | 6.833 | 144.9 | 7.693 | 161.8 | 8.2315 | 152.416 | 8.34 | 151 | 4.757 | 973.961 | 49.6461 | 36.1873
2020-12-25 19:30:00 | 7.188 | 147.6 | 7.992 | 163.7 | 8.5514 | 154.205 | 8.68 | 153 | 4.777 | 973.961 | 50.6358 | 38.1086
2020-12-25 19:45:00 | 7.701 | 145.4 | 8.23 | 164.5 | 8.8061 | 154.959 | 9.23 | 152.2 | 4.634 | 973.961 | 51.5251 | 41.3601
2020-12-25 20:00:00 | 8 | 143.9 | 8.36 | 161.8 | 8.9452 | 152.416 | 9.29 | 149.5 | 4.826 | 973.935 | 50.4985 | 41.3675
2020-12-25 20:15:00 | 8.13 | 145.7 | 8.29 | 161.7 | 8.8703 | 152.321 | 9.07 | 152 | 4.821 | 973.937 | 49.3378 | 42.0436
2020-12-25 20:30:00 | 8.87 | 145.9 | 9.06 | 162 | 9.6942 | 152.604 | 9.39 | 152.2 | 4.833 | 973.96 | 48.2782 | 45.6868
2020-12-25 20:45:00 | 7.609 | 144.1 | 7.843 | 161.7 | 8.392 | 152.321 | 8.58 | 150.4 | 4.859 | 973.94 | 49.337 | 45.6757
2020-12-25 21:00:00 | 7.425 | 144.8 | 7.818 | 160.8 | 8.3653 | 151.474 | 8.2 | 150.4 | 4.7 | 974.109 | 49.5415 | 52.6183
2020-12-25 21:15:00 | 7.481 | 145.7 | 7.654 | 163 | 8.1898 | 153.546 | 8.86 | 149.7 | 4.505 | 974.097 | 49.5424 | 50.0134
2020-12-25 21:30:00 | 7.203 | 147.3 | 7.442 | 163.9 | 7.9629 | 154.394 | 7.874 | 151.9 | 4.347 | 973.939 | 51.1137 | 47.4123
2020-12-25 21:45:00 | 8.11 | 145 | 8.37 | 160.2 | 8.9559 | 150.908 | 8.97 | 151.4 | 4.471 | 973.949 | 51.2528 | 46.5809
2020-12-25 22:00:00 | 6.864 | 146.9 | 7.066 | 165.3 | 7.5606 | 155.713 | 7.535 | 152.1 | 4.33 | 973.949 | 51.5261 | 41.0091
2020-12-25 22:15:00 | 6.677 | 148.2 | 7.071 | 168.4 | 7.566 | 158.633 | 7.517 | 152.6 | 4.216 | 973.96 | 52.621 | 41.9106
2020-12-25 22:30:00 | 6.225 | 149.2 | 6.757 | 169 | 7.23 | 159.198 | 7.471 | 153.2 | 4.121 | 973.936 | 53.7159 | 45.3801
2020-12-25 22:45:00 | 7.64 | 137.8 | 8.11 | 155.4 | 8.6777 | 146.387 | 8.09 | 145.3 | 4.492 | 973.946 | 52.6225 | 45.3062
2020-12-25 23:00:00 | 7.101 | 144.8 | 7.314 | 165.1 | 7.826 | 155.524 | 8.6 | 149.4 | 4.133 | 973.961 | 53.3743 | 43.8098
2020-12-25 23:15:00 | 7.198 | 149.8 | 7.409 | 167.8 | 7.9276 | 158.068 | 8.76 | 155.4 | 4.138 | 974.258 | 54.7411 | 43.1447
2020-12-25 23:30:00 | 7.377 | 149.5 | 8.09 | 166.1 | 8.6563 | 156.466 | 8.9 | 154.2 | 4.093 | 974.109 | 56.6546 | 45.4244
2020-12-25 23:45:00 | 7.734 | 147.7 | 8.33 | 164.8 | 8.9131 | 155.242 | 9.27 | 152.4 | 4.003 | 973.952 | 55.5612 | 46.0636