## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-26 00:00:00 | 7.862 | 146.8 | 8.53 | 162.8 | 9.1271 | 153.358 | 9.37 | 151.7 | 4.133 | 973.961 | 56.9281 | 46.8174
2020-12-26 00:15:00 | 7.691 | 147.8 | 8.7 | 163.1 | 9.309 | 153.64 | 9.67 | 153.6 | 4.164 | 973.96 | 58.2607 | 43.8985
2020-12-26 00:30:00 | 8.36 | 148 | 8.94 | 164.1 | 9.5658 | 154.582 | 9.96 | 154.1 | 4.268 | 973.961 | 58.5341 | 49.825
2020-12-26 00:45:00 | 7.106 | 147.3 | 7.746 | 167.9 | 8.2882 | 158.162 | 9.54 | 152.7 | 4.242 | 973.961 | 57.5431 | 55.4781
2020-12-26 01:00:00 | 6.805 | 146.4 | 7.181 | 166.8 | 7.6837 | 157.126 | 9.3 | 152.8 | 4.079 | 973.807 | 57.338 | 50.6194
2020-12-26 01:15:00 | 7.744 | 147.8 | 8.16 | 164.5 | 8.7312 | 154.959 | 9.4 | 153 | 4.335 | 973.959 | 56.1763 | 56.0065
2020-12-26 01:30:00 | 8.71 | 143.6 | 9.38 | 159.7 | 10.0366 | 150.437 | 9.81 | 149.4 | 4.465 | 973.959 | 53.5788 | 61.4194
2020-12-26 01:45:00 | 9.35 | 143.6 | 9.7 | 159.5 | 10.379 | 150.249 | 10.41 | 149.7 | 4.497 | 973.928 | 51.8017 | 65.2916
2020-12-26 02:00:00 | 8.41 | 143.3 | 9.07 | 159.9 | 9.7049 | 150.626 | 9.89 | 149.1 | 4.3 | 973.935 | 50.2299 | 65.9826
2020-12-26 02:15:00 | 8.82 | 145.7 | 9.52 | 161.8 | 10.1864 | 152.416 | 10.43 | 150.6 | 4.16 | 973.954 | 48.4536 | 64.4085
2020-12-26 02:30:00 | 7.91 | 146.9 | 8.58 | 164.1 | 9.1806 | 154.582 | 10.08 | 153.5 | 4.072 | 973.958 | 47.2918 | 69.2894
2020-12-26 02:45:00 | 7.939 | 146.3 | 8.17 | 163.2 | 8.7419 | 153.734 | 9.23 | 151.3 | 4.033 | 973.663 | 45.1734 | 72.6517
2020-12-26 03:00:00 | 8.74 | 145.7 | 9.54 | 164 | 10.2078 | 154.488 | 10.7 | 150.6 | 4.379 | 973.366 | 43.8749 | 73.3612
2020-12-26 03:15:00 | 8.34 | 146.3 | 8.43 | 164.2 | 9.0201 | 154.676 | 9.7 | 151.8 | 4.366 | 973.364 | 44.8317 | 68.1219
2020-12-26 03:30:00 | 8.14 | 146 | 8.41 | 160 | 8.9987 | 150.72 | 9.28 | 152.5 | 4.149 | 973.345 | 44.7634 | 70.1688
2020-12-26 03:45:00 | 8.58 | 144.9 | 9.33 | 160.8 | 9.9831 | 151.474 | 10.52 | 150.9 | 4.089 | 973.217 | 45.3098 | 73.9376
2020-12-26 04:00:00 | 9.48 | 147.1 | 10.14 | 161.5 | 10.8498 | 152.133 | 11.08 | 153.1 | 4.086 | 972.92 | 49.4789 | 74.1555
2020-12-26 04:15:00 | 10.18 | 145 | 10.57 | 159.7 | 11.3099 | 150.437 | 10.96 | 152.1 | 4.264 | 972.918 | 53.2376 | 75.1827
2020-12-26 04:30:00 | 9.02 | 145.1 | 9.28 | 162.7 | 9.9296 | 153.263 | 10.09 | 150.5 | 4.265 | 972.772 | 55.0145 | 74.0373
2020-12-26 04:45:00 | 9 | 144.9 | 9.44 | 161.6 | 10.1008 | 152.227 | 9.87 | 150.4 | 4.352 | 972.756 | 54.5699 | 73.3168
2020-12-26 05:00:00 | 8.87 | 145.2 | 9.19 | 161.4 | 9.8333 | 152.039 | 10.36 | 151 | 4.365 | 972.158 | 53.1009 | 79.1548
2020-12-26 05:15:00 | 8.27 | 141.5 | 8.75 | 158.8 | 9.3625 | 149.59 | 9.65 | 148 | 4.38 | 972.44 | 52.8276 | 78.8
2020-12-26 05:30:00 | 7.624 | 139.2 | 8.38 | 155.6 | 8.9666 | 146.575 | 9.25 | 145.8 | 4.359 | 972.455 | 53.3054 | 80.3333
2020-12-26 05:45:00 | 9.6 | 139.9 | 9.61 | 155.5 | 10.2827 | 146.481 | 9.27 | 145.5 | 4.324 | 972.323 | 52.4845 | 80.4294
2020-12-26 06:00:00 | 8.46 | 140.3 | 8.87 | 159.9 | 9.4909 | 150.626 | 9.95 | 146.1 | 4.07 | 972.169 | 53.1693 | 79.4059
2020-12-26 06:15:00 | 9.15 | 141.9 | 9.56 | 158.5 | 10.2292 | 149.307 | 9.92 | 146.7 | 3.876 | 972.175 | 53.3743 | 82.2768
2020-12-26 06:30:00 | 7.847 | 145 | 8.1 | 162.9 | 8.667 | 153.452 | 8.78 | 149.2 | 3.696 | 972.175 | 53.4427 | 78.9921
2020-12-26 06:45:00 | 8.48 | 142.2 | 8.92 | 159.3 | 9.5444 | 150.061 | 9.68 | 146.9 | 3.849 | 972.474 | 54.0577 | 77.0708
2020-12-26 07:00:00 | 9.04 | 143.7 | 9.47 | 159.6 | 10.1329 | 150.343 | 9.82 | 147.6 | 3.833 | 972.177 | 53.306 | 78.4785
2020-12-26 07:15:00 | 9.02 | 143.9 | 9.25 | 161.1 | 9.8975 | 151.756 | 9.84 | 149.3 | 3.687 | 972.177 | 55.8346 | 79.3653
2020-12-26 07:30:00 | 9.74 | 141.3 | 9.92 | 159.2 | 10.6144 | 149.966 | 10.72 | 146.4 | 3.742 | 972.177 | 56.5864 | 83.1414
2020-12-26 07:45:00 | 9.92 | 142.5 | 10.24 | 160.7 | 10.9568 | 151.379 | 11.02 | 147.4 | 3.878 | 972.177 | 54.4678 | 83.4924
2020-12-26 08:00:00 | 10.2 | 143.2 | 10.76 | 160 | 11.5132 | 150.72 | 11.92 | 147.9 | 3.933 | 971.88 | 52.2809 | 84.2646
2020-12-26 08:15:00 | 10.99 | 143.9 | 11.37 | 160 | 12.1659 | 150.72 | 12.55 | 148.4 | 4.114 | 972.162 | 49.2739 | 84.9445
2020-12-26 08:30:00 | 11.82 | 142.7 | 12 | 161.3 | 12.84 | 151.945 | 12.54 | 147.7 | 4.386 | 972.622 | 47.6274 | 81.6635
2020-12-26 08:45:00 | 10.1 | 143.9 | 10.24 | 160.5 | 10.9568 | 151.191 | 11.6 | 148.3 | 4.485 | 972.474 | 45.6134 | 81.0243
2020-12-26 09:00:00 | 10.69 | 142.6 | 10.91 | 160 | 11.6737 | 150.72 | 11.45 | 148.5 | 4.597 | 972.668 | 46.1168 | 78.715
2020-12-26 09:15:00 | 11.4 | 144.2 | 11.64 | 159.3 | 12.4548 | 150.061 | 11.7 | 150 | 4.705 | 973.072 | 46.3194 | 78.8037
2020-12-26 09:30:00 | 11.57 | 143.2 | 11.43 | 160.5 | 12.2301 | 151.191 | 11.8 | 145.5 | 4.815 | 973.069 | 46.7976 | 73.036
2020-12-26 09:45:00 | 10.72 | 142.7 | 10.87 | 158.1 | 11.6309 | 148.93 | 11.44 | 147.2 | 4.699 | 973.663 | 47.1734 | 70.6381
2020-12-26 10:00:00 | 10.63 | 146.4 | 11 | 162.4 | 11.77 | 152.981 | 11.2 | 152 | 4.738 | 974.257 | 47.4125 | 72.8808
2020-12-26 10:15:00 | 11.07 | 144.9 | 11.43 | 161.8 | 12.2301 | 152.416 | 12.24 | 151.4 | 4.591 | 973.96 | 47.9249 | 66.1176
2020-12-26 10:30:00 | 12.04 | 144.4 | 11.86 | 159.4 | 12.6902 | 150.155 | 11.7 | 151.3 | 4.579 | 973.663 | 48.0615 | 63.0045
2020-12-26 10:45:00 | 10.81 | 143.8 | 10.98 | 159.5 | 11.7486 | 150.249 | 11.29 | 150.3 | 4.639 | 973.663 | 48.7788 | 64.5416
2020-12-26 11:00:00 | 9.08 | 141.9 | 9.45 | 157.5 | 10.1115 | 148.365 | 9.58 | 148.4 | 4.831 | 973.663 | 48.4031 | 67.4383
2020-12-26 11:15:00 | 10.56 | 146 | 10.8 | 161 | 11.556 | 151.662 | 11.07 | 150.7 | 4.757 | 973.069 | 48.4373 | 73.1542
2020-12-26 11:30:00 | 10.26 | 144.9 | 10.59 | 161.9 | 11.3313 | 152.51 | 10.98 | 149.7 | 4.849 | 973.069 | 48.0957 | 70.0062
2020-12-26 11:45:00 | 10.45 | 146.4 | 10.88 | 162.6 | 11.6416 | 153.169 | 10.65 | 153.4 | 5.111 | 973.069 | 47.3442 | 67.0052
2020-12-26 12:00:00 | 11.01 | 151.6 | 10.57 | 165.3 | 11.3099 | 155.713 | 10.28 | 157.2 | 5.511 | 972.177 | 46.3194 | 67.8587
2020-12-26 12:15:00 | 11.07 | 152.2 | 11.02 | 168.3 | 11.7914 | 158.539 | 10.61 | 156.5 | 6.113 | 972.474 | 44.8164 | 49.0084
2020-12-26 12:30:00 | 9.95 | 156.3 | 9.77 | 172.1 | 10.4539 | 162.118 | 9.41 | 161.3 | 6.545 | 972.474 | 44.5729 | 40.0521
2020-12-26 12:45:00 | 7.808 | 160.3 | 7.951 | 175.5 | 8.5076 | 165.321 | 7.174 | 163.3 | 6.777 | 972.474 | 42.2762 | 35.9287
2020-12-26 13:00:00 | 9.81 | 152.8 | 9.71 | 171.9 | 10.3897 | 161.93 | 9.31 | 157.2 | 7.265 | 971.88 | 41.0791 | 45.6757
2020-12-26 13:15:00 | 8.88 | 153.7 | 9.25 | 171.1 | 9.8975 | 161.176 | 9.11 | 159.5 | 7.349 | 971.59 | 40.0205 | 45.3099
2020-12-26 13:30:00 | 10.1 | 152.7 | 9.99 | 167.4 | 10.6893 | 157.691 | 9.5 | 161.2 | 7.219 | 971.434 | 41.3179 | 48.6611
2020-12-26 13:45:00 | 9.82 | 153.9 | 9.89 | 168.4 | 10.5823 | 158.633 | 9.64 | 161.7 | 7.467 | 971.137 | 40.9061 | 62.9076
2020-12-26 14:00:00 | 9.55 | 149.2 | 9.47 | 165.7 | 10.1329 | 156.089 | 9.8 | 152.7 | 7.175 | 970.395 | 41.318 | 73.2014
2020-12-26 14:15:00 | 11.97 | 142.1 | 12.08 | 158.1 | 12.9256 | 148.93 | 12.06 | 147.2 | 7.316 | 970.246 | 41.1132 | 67.0525
2020-12-26 14:30:00 | 10.2 | 144.4 | 10.02 | 161.1 | 10.7214 | 151.756 | 9.64 | 150.6 | 7.394 | 970.119 | 41.3181 | 69.1886
2020-12-26 14:45:00 | 11.74 | 140.5 | 11.71 | 155.5 | 12.5297 | 146.481 | 11.26 | 146 | 7.652 | 969.874 | 37.6302 | 73.6446
2020-12-26 15:00:00 | 9.61 | 146 | 9.72 | 161.9 | 10.4004 | 152.51 | 9.84 | 149.9 | 7.76 | 969.962 | 37.2204 | 59.5963
2020-12-26 15:15:00 | 10.34 | 146.1 | 10.78 | 164 | 11.5346 | 154.488 | 10.85 | 149.8 | 7.841 | 969.511 | 38.4497 | 55.7774
2020-12-26 15:30:00 | 9.82 | 146.3 | 9.52 | 162.4 | 10.1864 | 152.981 | 9.59 | 150 | 7.686 | 970.098 | 38.9278 | 34.2217
2020-12-26 15:45:00 | 5.638 | 154.9 | 5.893 | 172.8 | 6.3055 | 162.778 | 6.573 | 155.8 | 7.719 | 970.039 | 38.8595 | 24.6261
2020-12-26 16:00:00 | 6.527 | 159.2 | 6.867 | 174.9 | 7.3477 | 164.756 | 6.748 | 161.7 | 7.703 | 970.661 | 36.0594 | 18.4484
2020-12-26 16:15:00 | 4.703 | 177.1 | 4.571 | 187.4 | 4.891 | 176.531 | 3.878 | 179 | 7.704 | 970.687 | 35.9911 | 17.0739
2020-12-26 16:30:00 | 5.395 | 158.9 | 5.417 | 175.4 | 5.7962 | 165.227 | 5.009 | 164 | 7.527 | 970.691 | 36.3326 | 20.7207
2020-12-26 16:45:00 | 5.125 | 172.4 | 5.381 | 181.6 | 5.7577 | 171.067 | 4.787 | 177.6 | 7.352 | 970.543 | 36.4739 | 24.3416
2020-12-26 17:00:00 | 6.233 | 165 | 5.839 | 179.2 | 6.2477 | 168.806 | 6.038 | 167.7 | 7.279 | 970.097 | 36.1385 | 31.1549
2020-12-26 17:15:00 | 7.742 | 156.2 | 7.805 | 170.1 | 8.3514 | 160.234 | 7.685 | 163.7 | 7.254 | 970.097 | 35.2518 | 32.2486
2020-12-26 17:30:00 | 5.03 | 164.9 | 5.619 | 180.6 | 6.0123 | 170.125 | 5.89 | 169.1 | 7.215 | 970.691 | 36.0717 | 27.5377
2020-12-26 17:45:00 | 8.36 | 154.7 | 8.03 | 168 | 8.5921 | 158.256 | 7.963 | 161.7 | 7.141 | 970.394 | 36.2767 | 34.9866
2020-12-26 18:00:00 | 6.483 | 154.7 | 6.685 | 175.2 | 7.1529 | 165.038 | 7.28 | 158.4 | 7.044 | 970.394 | 37.7797 | 32.0713
2020-12-26 18:15:00 | 5.518 | 154.1 | 5.934 | 170.3 | 6.3494 | 160.423 | 5.992 | 160.6 | 6.944 | 970.394 | 37.7797 | 29.459
2020-12-26 18:30:00 | 6.843 | 148.4 | 7.191 | 164.6 | 7.6944 | 155.053 | 7.497 | 155.5 | 6.883 | 970.394 | 37.848 | 40.6433
2020-12-26 18:45:00 | 8.11 | 148.6 | 8.8 | 165.8 | 9.416 | 156.184 | 9.53 | 153.8 | 6.76 | 970.097 | 37.4381 | 43.4846
2020-12-26 19:00:00 | 7.75 | 156.3 | 7.352 | 170.5 | 7.8666 | 160.611 | 7.166 | 166 | 6.759 | 970.394 | 37.9846 | 32.5848
2020-12-26 19:15:00 | 5.875 | 177.6 | 5.32 | 203.6 | 5.6924 | 191.791 | 5.157 | 166.7 | 6.732 | 970.691 | 38.0529 | 21.4486
2020-12-26 19:30:00 | 6.223 | 167.5 | 6.171 | 188.1 | 6.603 | 177.19 | 5.75 | 167.6 | 6.697 | 970.691 | 37.9163 | 19.2206
2020-12-26 19:45:00 | 5.743 | 173.5 | 5.471 | 190.7 | 5.854 | 179.639 | 5.396 | 173.8 | 6.586 | 970.988 | 37.848 | 19.0137
2020-12-26 20:00:00 | 6.207 | 157.4 | 6.261 | 172.2 | 6.6993 | 162.212 | 6.654 | 164.1 | 6.223 | 970.691 | 39.6926 | 25.4833
2020-12-26 20:15:00 | 6.552 | 160.8 | 6.506 | 174 | 6.9614 | 163.908 | 7.074 | 164.1 | 6.001 | 970.691 | 40.0683 | 24.7111
2020-12-26 20:30:00 | 6.751 | 157.6 | 6.565 | 172.5 | 7.0245 | 162.495 | 7.064 | 164.6 | 6.146 | 970.691 | 41.1272 | 33.3201
2020-12-26 20:45:00 | 7.152 | 155.4 | 7.877 | 169.6 | 8.4284 | 159.763 | 8.3 | 160.8 | 5.719 | 970.394 | 42.0154 | 43.0523
2020-12-26 21:00:00 | 7.111 | 151.2 | 7.639 | 166.7 | 8.1737 | 157.031 | 8.53 | 157.2 | 5.674 | 970.418 | 42.494 | 40.9352
2020-12-26 21:15:00 | 6.429 | 150.9 | 6.995 | 169.8 | 7.4847 | 159.952 | 8.57 | 157.1 | 5.59 | 970.512 | 43.7917 | 29.2927
2020-12-26 21:30:00 | 5.625 | 148.7 | 5.934 | 164.8 | 6.3494 | 155.242 | 7.151 | 155.5 | 5.61 | 970.827 | 43.9289 | 23.9537
2020-12-26 21:45:00 | 6.302 | 149.4 | 7.148 | 164.3 | 7.6484 | 154.771 | 8.15 | 158.2 | 5.658 | 970.846 | 45.3655 | 30.7781
2020-12-26 22:00:00 | 6.279 | 151.8 | 7.145 | 165.7 | 7.6452 | 156.089 | 8.15 | 158.8 | 5.647 | 970.621 | 47.0427 | 31.9087
2020-12-26 22:15:00 | 6.013 | 151.2 | 6.79 | 167.1 | 7.2653 | 157.408 | 7.836 | 158 | 5.494 | 970.619 | 49.7435 | 33.9815
2020-12-26 22:30:00 | 5.712 | 151.5 | 6.8 | 168.3 | 7.276 | 158.539 | 8.11 | 157.5 | 5.447 | 970.658 | 49.7433 | 40.8872
2020-12-26 22:45:00 | 6.455 | 152.2 | 7.087 | 168.1 | 7.5831 | 158.35 | 8.67 | 158.1 | 5.456 | 970.807 | 51.0443 | 39.254
2020-12-26 23:00:00 | 6.529 | 160.3 | 6.468 | 178.3 | 6.9208 | 167.959 | 6.72 | 162 | 5.811 | 970.834 | 53.3675 | 39.6605
2020-12-26 23:15:00 | 7.446 | 155.4 | 7.682 | 169.9 | 8.2197 | 160.046 | 7.586 | 163.4 | 5.573 | 970.98 | 54.8708 | 44.401
2020-12-26 23:30:00 | 6.509 | 153.5 | 7.337 | 168 | 7.8506 | 158.256 | 7.917 | 159.1 | 5.268 | 970.667 | 56.0984 | 42.1212
2020-12-26 23:45:00 | 6.493 | 151.5 | 7.102 | 166.4 | 7.5991 | 156.749 | 7.887 | 157.2 | 5.12 | 970.234 | 56.3073 | 41.9069