## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-27 00:00:00 | 6.036 | 151.5 | 6.764 | 169.5 | 7.2375 | 159.669 | 7.887 | 157.6 | 5.094 | 970.393 | 57.9495 | 36.6418
2020-12-27 00:15:00 | 5.74 | 154 | 6.138 | 169.3 | 6.5677 | 159.481 | 7.214 | 158.1 | 5.119 | 970.379 | 59.9327 | 36.494
2020-12-27 00:30:00 | 5.806 | 148.1 | 6.322 | 165.1 | 6.7645 | 155.524 | 7.494 | 155.1 | 4.949 | 970.245 | 61.5718 | 35.7218
2020-12-27 00:45:00 | 5.411 | 150 | 6.046 | 170.3 | 6.4692 | 160.423 | 6.881 | 155.6 | 4.902 | 970.096 | 62.3905 | 30.5305
2020-12-27 01:00:00 | 5.533 | 148.2 | 6.046 | 165.4 | 6.4692 | 155.807 | 7.036 | 155.4 | 4.87 | 969.948 | 63.6206 | 34.2993
2020-12-27 01:15:00 | 6.166 | 150.2 | 6.67 | 166.1 | 7.1369 | 156.466 | 7.624 | 157.2 | 4.775 | 969.941 | 63.5849 | 35.319
2020-12-27 01:30:00 | 6.172 | 152 | 6.877 | 167.5 | 7.3584 | 157.785 | 7.841 | 158 | 4.715 | 970.096 | 64.7807 | 29.5144
2020-12-27 01:45:00 | 5.819 | 153.3 | 6.309 | 169.7 | 6.7506 | 159.857 | 6.822 | 158.4 | 4.717 | 970.072 | 64.9884 | 26.2445
2020-12-27 02:00:00 | 5.127 | 152.7 | 5.637 | 169.5 | 6.0316 | 159.669 | 6.45 | 157.7 | 4.617 | 970.245 | 65.0532 | 21.7331
2020-12-27 02:15:00 | 5.069 | 150.6 | 5.389 | 168.1 | 5.7662 | 158.35 | 6.117 | 157.6 | 4.59 | 970.243 | 64.7785 | 19.4016
2020-12-27 02:30:00 | 4.53 | 154.6 | 4.85 | 170.6 | 5.1895 | 160.705 | 5.633 | 160.9 | 4.471 | 970.096 | 65.123 | 15.1045
2020-12-27 02:45:00 | 5.206 | 153.3 | 5.657 | 166.3 | 6.053 | 156.655 | 5.921 | 160.7 | 4.553 | 970.37 | 65.0553 | 15.1156
2020-12-27 03:00:00 | 5.089 | 155 | 5.604 | 168.5 | 5.9963 | 158.727 | 6.348 | 163.2 | 4.464 | 970.239 | 66.727 | 17.0406
2020-12-27 03:15:00 | 5.51 | 157.8 | 6.097 | 171 | 6.5238 | 161.082 | 6.45 | 166.8 | 4.402 | 970.361 | 67.1087 | 15.5775
2020-12-27 03:30:00 | 5.138 | 154.7 | 5.739 | 167.8 | 6.1407 | 158.068 | 6.132 | 162.7 | 4.227 | 970.085 | 67.9301 | 14.07
2020-12-27 03:45:00 | 4.474 | 151.5 | 5.077 | 167 | 5.4324 | 157.314 | 5.559 | 161.4 | 3.994 | 969.78 | 68.8871 | 13.9259
2020-12-27 04:00:00 | 4.841 | 159.2 | 5.494 | 166.7 | 5.8786 | 157.031 | 5.702 | 172.6 | 4.167 | 970.077 | 69.7417 | 11.72
2020-12-27 04:15:00 | 3.695 | 159.9 | 4.911 | 174.2 | 5.2548 | 164.096 | 4.673 | 168.4 | 4.001 | 969.799 | 69.5711 | 9.5364
2020-12-27 04:30:00 | 4.011 | 174.4 | 4.297 | 180.3 | 4.5978 | 169.843 | 4.533 | 185.8 | 4.444 | 969.799 | 65.5049 | 6.5879
2020-12-27 04:45:00 | 4.346 | 178.3 | 4.625 | 185.7 | 4.9488 | 174.929 | 4.456 | 187.7 | 4.517 | 969.799 | 64.7189 | 6.1556
2020-12-27 05:00:00 | 3.491 | 174.9 | 4.162 | 178.5 | 4.4533 | 168.147 | 4.184 | 186.1 | 4.444 | 969.769 | 65.4707 | 2.3019
2020-12-27 05:15:00 | 2.954 | 183.5 | 3.17 | 188.9 | 3.3919 | 177.944 | 3.18 | 198.7 | 4.634 | 969.799 | 62.4637 | 0.081287
2020-12-27 05:30:00 | 2.939 | 195.7 | 2.983 | 199.6 | 3.1918 | 188.023 | 3.328 | 214.2 | 4.875 | 969.794 | 61.6436 | 0.11084
2020-12-27 05:45:00 | 3.059 | 192.3 | 3.295 | 197.9 | 3.5257 | 186.422 | 3.573 | 211.7 | 4.859 | 969.784 | 61.7803 | 0.73527
2020-12-27 06:00:00 | 2.98 | 184 | 3.073 | 188.5 | 3.2881 | 177.567 | 3.142 | 198.7 | 4.764 | 969.799 | 63.4194 | 0.79439
2020-12-27 06:15:00 | 2.628 | 185.1 | 2.556 | 196 | 2.7349 | 184.632 | 2.773 | 201.3 | 4.751 | 969.797 | 63.1122 | 1.356
2020-12-27 06:30:00 | 2.625 | 189.1 | 2.477 | 190 | 2.6504 | 178.98 | 2.531 | 200.4 | 4.78 | 969.798 | 63.4867 | 1.9102
2020-12-27 06:45:00 | 2.252 | 172.5 | 2.791 | 182.3 | 2.9864 | 171.727 | 2.628 | 192.6 | 4.364 | 969.793 | 65.2657 | 1.659
2020-12-27 07:00:00 | 2.372 | 172.6 | 2.809 | 181.8 | 3.0056 | 171.256 | 2.544 | 192.8 | 4.4 | 969.787 | 65.6757 | 1.9804
2020-12-27 07:15:00 | 2.405 | 165.6 | 3.275 | 172.2 | 3.5042 | 162.212 | 2.783 | 184.3 | 4.076 | 969.799 | 67.7943 | 2.6197
2020-12-27 07:30:00 | 2.758 | 155.2 | 3.346 | 168.4 | 3.5802 | 158.633 | 2.765 | 174.5 | 3.769 | 969.799 | 68.7169 | 2.191
2020-12-27 07:45:00 | 2.298 | 150.6 | 2.858 | 168 | 3.0581 | 158.256 | 2.704 | 170.3 | 3.6 | 969.948 | 70.4596 | 2.7083
2020-12-27 08:00:00 | 3.087 | 151.9 | 3.74 | 164.9 | 4.0018 | 155.336 | 3.234 | 166.2 | 3.435 | 969.948 | 69.9812 | 3.6911
2020-12-27 08:15:00 | 2.294 | 149.7 | 3.349 | 169.4 | 3.5834 | 159.575 | 3.427 | 157.1 | 3.817 | 970.393 | 68.4777 | 2.6086
2020-12-27 08:30:00 | 2.102 | 155.6 | 2.748 | 179.2 | 2.9404 | 168.806 | 4.112 | 154.7 | 3.841 | 970.832 | 67.5888 | 2.8044
2020-12-27 08:45:00 | 2.587 | 155.6 | 3.264 | 171.8 | 3.4925 | 161.836 | 3.893 | 161.2 | 4.074 | 971.136 | 66.8996 | 2.6529
2020-12-27 09:00:00 | 3.314 | 155 | 3.581 | 169.9 | 3.8317 | 160.046 | 3.346 | 161.8 | 4.073 | 971.429 | 67.0218 | 1.6701
2020-12-27 09:15:00 | 3.447 | 161.2 | 3.648 | 177.4 | 3.9034 | 167.111 | 3.359 | 163.8 | 4.347 | 971.732 | 65.9949 | 1.877
2020-12-27 09:30:00 | 2.561 | 156.1 | 2.722 | 165.7 | 2.9125 | 156.089 | 2.48 | 163.3 | 4.693 | 971.88 | 64.287 | 1.1713
2020-12-27 09:45:00 | 2.804 | 149.4 | 2.6 | 168.1 | 2.782 | 158.35 | 2.495 | 161.1 | 5.147 | 972.474 | 62.5298 | 0.29559
2020-12-27 10:00:00 | 1.931 | 146.9 | 1.756 | 166.2 | 1.8789 | 156.56 | 1.568 | 161.5 | 5.628 | 972.801 | 60.8503 | 0.41752
2020-12-27 10:15:00 | 2.408 | 156.4 | 2.201 | 176.9 | 2.3551 | 166.64 | 2.304 | 161.5 | 6.063 | 972.474 | 60.0227 | 0.80548
2020-12-27 10:30:00 | 3.251 | 159.3 | 2.958 | 171.5 | 3.1651 | 161.553 | 2.702 | 163.5 | 6.149 | 972.568 | 59.4064 | 0.9348
2020-12-27 10:45:00 | 3.057 | 144.9 | 2.694 | 173.4 | 2.8826 | 163.343 | 2.625 | 153.3 | 6.984 | 972.382 | 57.1429 | 1.5925
2020-12-27 11:00:00 | 3.868 | 147.5 | 3.76 | 163.4 | 4.0232 | 153.923 | 2.905 | 147.7 | 6.28 | 972.475 | 56.8015 | 3.0409
2020-12-27 11:15:00 | 3.432 | 146.2 | 2.965 | 171 | 3.1726 | 161.082 | 2.523 | 153.4 | 6.683 | 972.474 | 54.0024 | 3.0298
2020-12-27 11:30:00 | 4.371 | 151.3 | 4.019 | 169.4 | 4.3003 | 159.575 | 3.025 | 152.3 | 7.037 | 972.326 | 55.0265 | 1.0789
2020-12-27 11:45:00 | 3.414 | 142.6 | 3.009 | 166.5 | 3.2196 | 156.843 | 2.111 | 150.4 | 7.147 | 972.474 | 52.0225 | -0.11084
2020-12-27 12:00:00 | 3.751 | 148.3 | 3.19 | 167.4 | 3.4133 | 157.691 | 2.401 | 151.8 | 7.609 | 971.88 | 51.5048 | 0.84612
2020-12-27 12:15:00 | 4.274 | 149.5 | 3.937 | 171.3 | 4.2126 | 161.365 | 3.359 | 152 | 7.494 | 971.88 | 51.9791 | 1.9472
2020-12-27 12:30:00 | 4.144 | 147.1 | 3.791 | 171.5 | 4.0564 | 161.553 | 3.045 | 153.2 | 7.729 | 971.583 | 48.433 | 1.925
2020-12-27 12:45:00 | 4.088 | 152.9 | 3.829 | 173.5 | 4.097 | 163.437 | 3.203 | 151.6 | 7.937 | 971.583 | 47.924 | 0.73158
2020-12-27 13:00:00 | 3.034 | 148.3 | 2.94 | 165.9 | 3.1458 | 156.278 | 2.648 | 152 | 8.08 | 971.88 | 44.921 | 0.26233
2020-12-27 13:15:00 | 3.598 | 146.7 | 3.369 | 163.2 | 3.6048 | 153.734 | 2.653 | 151.5 | 8.52 | 972.177 | 43.3439 | 0.15518
2020-12-27 13:30:00 | 3.662 | 142.6 | 3.354 | 161.1 | 3.5888 | 151.756 | 2.834 | 149 | 8.4 | 972.474 | 40.4094 | 0.14779
2020-12-27 13:45:00 | 3.419 | 142.9 | 3.157 | 159.7 | 3.378 | 150.437 | 2.34 | 148.3 | 8.7 | 972.474 | 39.761 | 0.011085
2020-12-27 14:00:00 | 3.057 | 152.8 | 2.878 | 165.6 | 3.0795 | 155.995 | 2.23 | 158.4 | 8.9 | 972.474 | 40.445 | -0.20322
2020-12-27 14:15:00 | 3.751 | 141.1 | 3.275 | 162.2 | 3.5042 | 152.792 | 2.63 | 147.6 | 8.87 | 972.474 | 42.1177 | -0.096066
2020-12-27 14:30:00 | 3.708 | 170.7 | 3.208 | 186.6 | 3.4326 | 175.777 | 2.628 | 176.9 | 9.11 | 972.326 | 42.5315 | -0.18844
2020-12-27 14:45:00 | 4.359 | 187.7 | 4.011 | 201.4 | 4.2918 | 189.719 | 3.387 | 193.3 | 9 | 972.177 | 39.2558 | -0.1404
2020-12-27 15:00:00 | 3.708 | 181.4 | 3.339 | 199.4 | 3.5727 | 187.835 | 2.882 | 178.6 | 8.86 | 971.88 | 40.3823 | -0.1441
2020-12-27 15:15:00 | 4.211 | 150.8 | 3.855 | 163.7 | 4.1249 | 154.205 | 3.259 | 155.2 | 8.56 | 972.177 | 44.6493 | 0.011085
2020-12-27 15:30:00 | 4.701 | 142.7 | 4.673 | 160.5 | 5.0001 | 151.191 | 3.99 | 147.1 | 8.48 | 972.177 | 47.2094 | 0.3621
2020-12-27 15:45:00 | 4.407 | 145.2 | 4.32 | 162.9 | 4.6224 | 153.452 | 4.008 | 149.5 | 8.2 | 971.898 | 48.5407 | 1.1269
2020-12-27 16:00:00 | 4.41 | 145.7 | 4.249 | 163.6 | 4.5464 | 154.111 | 4.016 | 151 | 8.18 | 971.961 | 46.4929 | 1.0382
2020-12-27 16:15:00 | 4.384 | 148.8 | 4.548 | 164.2 | 4.8664 | 154.676 | 4.291 | 151.7 | 8.01 | 971.691 | 47.3893 | 1.2932
2020-12-27 16:30:00 | 4.111 | 156.4 | 4.341 | 172.4 | 4.6449 | 162.401 | 4.095 | 161.1 | 7.886 | 971.562 | 47.5252 | 1.7366
2020-12-27 16:45:00 | 3.442 | 152.6 | 3.617 | 163.8 | 3.8702 | 154.3 | 3.262 | 162.3 | 7.735 | 971.583 | 48.352 | 1.7329
2020-12-27 17:00:00 | 3.771 | 149.1 | 4.039 | 163.2 | 4.3217 | 153.734 | 3.906 | 152.7 | 7.47 | 971.147 | 50.128 | 3.5581
2020-12-27 17:15:00 | 3.641 | 151.3 | 4.001 | 164.5 | 4.2811 | 154.959 | 4 | 159.5 | 7.198 | 971.282 | 51.5626 | 4.8329
2020-12-27 17:30:00 | 3.618 | 152.2 | 3.975 | 166.4 | 4.2533 | 156.749 | 4.515 | 159.2 | 7.069 | 971.286 | 51.9882 | 6.8022
2020-12-27 17:45:00 | 4.402 | 150.4 | 4.847 | 162.7 | 5.1863 | 153.263 | 5.33 | 157.4 | 6.944 | 971.137 | 52.5363 | 8.5757
2020-12-27 18:00:00 | 4.749 | 148.9 | 5.225 | 161.2 | 5.5907 | 151.85 | 5.849 | 154.2 | 6.972 | 971.286 | 53.0145 | 8.2395
2020-12-27 18:15:00 | 4.719 | 143.7 | 5.156 | 160.7 | 5.5169 | 151.379 | 5.844 | 147.6 | 7.035 | 971.286 | 53.5269 | 9.6731
2020-12-27 18:30:00 | 4.223 | 139.2 | 4.88 | 157 | 5.2216 | 147.894 | 6.247 | 145.7 | 6.72 | 971.286 | 53.971 | 9.3923
2020-12-27 18:45:00 | 4.64 | 142.4 | 5.504 | 158.7 | 5.8893 | 149.495 | 6.28 | 148 | 6.975 | 971.434 | 53.3561 | 9.8652
2020-12-27 19:00:00 | 4.494 | 141.9 | 5.051 | 159.4 | 5.4046 | 150.155 | 5.88 | 147 | 7.177 | 971.731 | 53.0828 | 8.9785
2020-12-27 19:15:00 | 5.058 | 138.5 | 5.404 | 153 | 5.7823 | 144.126 | 5.579 | 145.9 | 7.285 | 971.88 | 53.5611 | 4.9954
2020-12-27 19:30:00 | 3.598 | 135.1 | 4.036 | 151.6 | 4.3185 | 142.807 | 4.617 | 141.4 | 7.28 | 971.88 | 53.9026 | 2.095
2020-12-27 19:45:00 | 4.831 | 133.6 | 5.133 | 148.1 | 5.4923 | 139.51 | 5.032 | 141 | 7.685 | 972.177 | 52.9804 | 2.3795
2020-12-27 20:00:00 | 2.944 | 141.9 | 3.494 | 158.5 | 3.7386 | 149.307 | 4.291 | 146.2 | 7.411 | 972.474 | 54.1076 | 2.5679
2020-12-27 20:15:00 | 3.508 | 146.1 | 4.315 | 162.3 | 4.617 | 152.887 | 4.843 | 151.1 | 7.063 | 972.474 | 54.8591 | 4.6075
2020-12-27 20:30:00 | 3.889 | 157.6 | 3.863 | 177.8 | 4.1334 | 167.488 | 4.219 | 162.4 | 7.211 | 972.771 | 53.4244 | 4.759
2020-12-27 20:45:00 | 4.714 | 150.2 | 5.315 | 164.9 | 5.6871 | 155.336 | 5.966 | 157.3 | 6.986 | 972.474 | 55.4056 | 7.5338
2020-12-27 21:00:00 | 4.124 | 145.8 | 4.348 | 165.6 | 4.6524 | 155.995 | 5.577 | 151.7 | 6.812 | 972.771 | 55.474 | 6.1926
2020-12-27 21:15:00 | 4.216 | 146.1 | 4.305 | 166.7 | 4.6063 | 157.031 | 5.533 | 153.5 | 6.696 | 972.771 | 56.2938 | 7.2899
2020-12-27 21:30:00 | 4.517 | 148.7 | 5.271 | 162.5 | 5.64 | 153.075 | 6.491 | 158.2 | 6.552 | 972.771 | 56.2938 | 9.1706
2020-12-27 21:45:00 | 4.527 | 142 | 5.031 | 156.4 | 5.3832 | 147.329 | 6 | 154 | 6.675 | 972.474 | 55.9522 | 8.609
2020-12-27 22:00:00 | 4.313 | 145.4 | 5.172 | 158.3 | 5.534 | 149.119 | 6.544 | 156 | 6.741 | 972.474 | 57.0453 | 9.6657
2020-12-27 22:15:00 | 4.933 | 144.3 | 5.315 | 158.7 | 5.6871 | 149.495 | 6.203 | 149.3 | 6.763 | 972.623 | 56.6354 | 9.5733
2020-12-27 22:30:00 | 4.177 | 139 | 5.008 | 157.8 | 5.3586 | 148.648 | 5.849 | 146.8 | 6.826 | 972.474 | 55.6106 | 8.9859
2020-12-27 22:45:00 | 4.239 | 142.1 | 4.875 | 160.2 | 5.2162 | 150.908 | 5.775 | 147.5 | 6.654 | 972.474 | 56.9086 | 10.1682
2020-12-27 23:00:00 | 3.531 | 140.3 | 4.016 | 159.6 | 4.2971 | 150.343 | 5.582 | 146.1 | 6.623 | 972.623 | 58.07 | 9.2741
2020-12-27 23:15:00 | 4.586 | 153.3 | 5.489 | 166.8 | 5.8732 | 157.126 | 6.285 | 162.9 | 6.84 | 973.068 | 56.9769 | 9.9798
2020-12-27 23:30:00 | 4.624 | 156.2 | 5.026 | 171 | 5.3778 | 161.082 | 5.76 | 161.4 | 6.813 | 973.366 | 57.1136 | 12.544
2020-12-27 23:45:00 | 4.813 | 153.7 | 5.379 | 170.8 | 5.7555 | 160.894 | 6.002 | 160.5 | 6.665 | 973.366 | 57.1136 | 11.5316