## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-28 00:00:00 | 4.915 | 148.6 | 5.435 | 162.9 | 5.8155 | 153.452 | 6.028 | 156.8 | 6.608 | 973.217 | 58.1725 | 11.2804
2020-12-28 00:15:00 | 5.457 | 152.9 | 6.225 | 162.5 | 6.6608 | 153.075 | 6.58 | 162.1 | 6.568 | 973.068 | 57.1819 | 11.0956
2020-12-28 00:30:00 | 4.494 | 147.6 | 5.302 | 162.5 | 5.6731 | 153.075 | 6.657 | 159 | 6.525 | 973.366 | 56.772 | 11.7348
2020-12-28 00:45:00 | 5.012 | 152.1 | 5.724 | 164.3 | 6.1247 | 154.771 | 6.611 | 161.4 | 6.65 | 973.068 | 56.772 | 11.9085
2020-12-28 01:00:00 | 4.77 | 151.8 | 5.363 | 165.8 | 5.7384 | 156.184 | 6.488 | 159.1 | 6.756 | 973.068 | 55.7472 | 10.2901
2020-12-28 01:15:00 | 5.372 | 153.3 | 6.22 | 162.5 | 6.6554 | 153.075 | 6.341 | 162.1 | 6.968 | 973.068 | 55.2007 | 10.5931
2020-12-28 01:30:00 | 5.168 | 155.6 | 5.964 | 165.6 | 6.3815 | 155.995 | 6.672 | 164.7 | 6.978 | 973.068 | 55.3373 | 13.5859
2020-12-28 01:45:00 | 5.183 | 148 | 5.655 | 161 | 6.0508 | 151.662 | 6.723 | 158 | 7.039 | 973.068 | 54.6883 | 14.1845
2020-12-28 02:00:00 | 5.658 | 151.4 | 6.197 | 165.4 | 6.6308 | 155.807 | 6.509 | 159.2 | 6.913 | 973.068 | 54.9957 | 12.7324
2020-12-28 02:15:00 | 5.048 | 145.7 | 5.302 | 161.5 | 5.6731 | 152.133 | 5.707 | 154.7 | 6.821 | 973.366 | 54.1759 | 10.449
2020-12-28 02:30:00 | 4.223 | 148 | 4.803 | 163.6 | 5.1392 | 154.111 | 5.455 | 156.9 | 6.784 | 973.068 | 54.3809 | 12.6068
2020-12-28 02:45:00 | 5.526 | 154.8 | 5.908 | 166.4 | 6.3216 | 156.749 | 6.356 | 165.5 | 6.886 | 973.366 | 53.9026 | 13.8778
2020-12-28 03:00:00 | 5.166 | 151.4 | 5.56 | 164.4 | 5.9492 | 154.865 | 5.36 | 159.9 | 6.759 | 973.366 | 53.6977 | 11.7127
2020-12-28 03:15:00 | 4.581 | 155.5 | 4.934 | 172.1 | 5.2794 | 162.118 | 5.488 | 160.6 | 6.609 | 973.663 | 54.3125 | 9.7101
2020-12-28 03:30:00 | 4.55 | 147.3 | 4.972 | 161.6 | 5.32 | 152.227 | 5.029 | 156.5 | 6.565 | 973.514 | 54.1759 | 8.1693
2020-12-28 03:45:00 | 4.767 | 141 | 5.504 | 155.4 | 5.8893 | 146.387 | 5.77 | 151.2 | 6.006 | 973.068 | 55.269 | 11.4134
2020-12-28 04:00:00 | 5.14 | 134.7 | 5.726 | 149.9 | 6.1268 | 141.206 | 5.814 | 143 | 6.56 | 973.068 | 53.4244 | 12.2152
2020-12-28 04:15:00 | 4.867 | 134.8 | 5.363 | 148.1 | 5.7384 | 139.51 | 5.325 | 145.2 | 6.75 | 972.771 | 53.2195 | 11.8087
2020-12-28 04:30:00 | 4.333 | 138.2 | 5.251 | 153.1 | 5.6186 | 144.22 | 5.365 | 144.9 | 6.829 | 972.474 | 54.5858 | 13.8224
2020-12-28 04:45:00 | 3.766 | 142.2 | 4.681 | 156.6 | 5.0087 | 147.517 | 5.404 | 149 | 6.518 | 972.623 | 54.0734 | 10.146
2020-12-28 05:00:00 | 4.341 | 142.3 | 5.09 | 154.7 | 5.4463 | 145.727 | 5.095 | 152.9 | 6.541 | 973.068 | 54.8591 | 8.4464
2020-12-28 05:15:00 | 4.16 | 151.2 | 4.711 | 166.9 | 5.0408 | 157.22 | 5.118 | 157.9 | 6.249 | 973.068 | 55.6106 | 12.0046
2020-12-28 05:30:00 | 5.275 | 147.9 | 6.038 | 160.4 | 6.4607 | 151.097 | 6.522 | 155.5 | 6.276 | 973.068 | 54.4833 | 11.9898
2020-12-28 05:45:00 | 5.648 | 142.9 | 5.865 | 154.9 | 6.2755 | 145.916 | 5.564 | 152.9 | 6.566 | 972.92 | 53.0145 | 10.1387
2020-12-28 06:00:00 | 4.604 | 136.1 | 5.333 | 150.2 | 5.7063 | 141.488 | 5.5 | 145.2 | 6.511 | 973.068 | 52.263 | 9.3406
2020-12-28 06:15:00 | 2.758 | 136.4 | 3.939 | 153.3 | 4.2147 | 144.409 | 4.359 | 143.6 | 5.946 | 973.068 | 53.9026 | 6.0337
2020-12-28 06:30:00 | 3.021 | 154.7 | 4.295 | 168.5 | 4.5957 | 158.727 | 4.637 | 162.4 | 6.119 | 973.068 | 53.6635 | 4.0717
2020-12-28 06:45:00 | 2.842 | 151.4 | 3.374 | 160.1 | 3.6102 | 150.814 | 3.667 | 158.8 | 6.143 | 973.077 | 54.0393 | 4.5114
2020-12-28 07:00:00 | 2.597 | 143.5 | 3.065 | 158.4 | 3.2795 | 149.213 | 3.527 | 149.4 | 5.959 | 973.22 | 54.3809 | 3.3623
2020-12-28 07:15:00 | 2.753 | 139.8 | 3.231 | 157.3 | 3.4572 | 148.177 | 3.137 | 145.8 | 6.195 | 973.381 | 54.2452 | 2.8081
2020-12-28 07:30:00 | 1.636 | 134.9 | 2.595 | 152.7 | 2.7767 | 143.843 | 3.812 | 142.7 | 5.981 | 973.241 | 55.269 | 4.8403
2020-12-28 07:45:00 | 2.227 | 124.8 | 2.973 | 133.7 | 3.1811 | 125.945 | 3.59 | 134.5 | 6.237 | 973.415 | 56.8067 | 3.8648
2020-12-28 08:00:00 | 3.146 | 138.9 | 3.973 | 151.9 | 4.2511 | 143.09 | 3.881 | 148.1 | 6.452 | 973.693 | 56.9086 | 3.5951
2020-12-28 08:15:00 | 2.268 | 156.9 | 2.697 | 171.9 | 2.8858 | 161.93 | 3.007 | 154.5 | 6.19 | 974.406 | 54.2443 | 0.95327
2020-12-28 08:30:00 | 1.886 | 137.5 | 2.288 | 146.7 | 2.4482 | 138.191 | 2.47 | 144.3 | 6.18 | 974.555 | 53.9027 | 0.70941
2020-12-28 08:45:00 | 1.006 | 123.9 | 1.968 | 149.3 | 2.1058 | 140.641 | 2.457 | 136.1 | 6.171 | 974.852 | 54.3126 | 0.95696
2020-12-28 09:00:00 | 0.964 | 138.9 | 1.538 | 149.4 | 1.6457 | 140.735 | 1.622 | 131.4 | 6.141 | 975.149 | 54.0393 | 0.69094
2020-12-28 09:15:00 | 0.196 | 127.5 | 0.56 | 148.8 | 0.5992 | 140.17 | 0.965 | 131.1 | 6.087 | 975.446 | 53.766 | 0.37687
2020-12-28 09:30:00 | 0.019 | 121.5 | 0.169 | 148.9 | 0.18083 | 140.264 | 0 | 131.2 | 6.245 | 975.595 | 54.5858 | -0.12193
2020-12-28 09:45:00 | 0.454 | 139.6 | 0.177 | 140.1 | 0.18939 | 131.974 | 0 | 131.2 | 5.912 | 975.595 | 64.5602 | -0.28081
2020-12-28 10:00:00 | 2.058 | 69.66 | 1.654 | 27.94 | 1.7698 | 26.3195 | 1.711 | 127.1 | 2.866 | 975.149 | 74.193 | -0.25494
2020-12-28 10:15:00 | 2.768 | 63.13 | 2.988 | 55.94 | 3.1972 | 52.6955 | 1.91 | 109.2 | 1.771 | 974.852 | 78.5654 | -0.18105
2020-12-28 10:30:00 | 2.666 | 41.47 | 1.968 | 52.53 | 2.1058 | 49.4833 | 0.179 | 121 | 1.861 | 974.852 | 80.6832 | 0.66138
2020-12-28 10:45:00 | 2.735 | 81 | 3.139 | 51.07 | 3.3587 | 48.1079 | 1.749 | 111.7 | 0.766 | 974.977 | 78.5654 | 0.040643
2020-12-28 11:00:00 | 2.446 | 62.43 | 3.119 | 49.84 | 3.3373 | 46.9493 | 2.625 | 96.9 | 1.975 | 974.815 | 74.7571 | 0.34362
2020-12-28 11:15:00 | 3.225 | 46.07 | 2.758 | 29.98 | 2.9511 | 28.2412 | 2.047 | 84.6 | 1.735 | 974.852 | 83.504 | 1.6664
2020-12-28 11:30:00 | 3.95 | 19.92 | 4.121 | 40.52 | 4.4095 | 38.1698 | 2.33 | 20.35 | -0.49 | 973.961 | 93.0742 | 2.4571
2020-12-28 11:45:00 | 2.862 | 69.78 | 2.377 | 38.07 | 2.5434 | 35.8619 | 0.831 | 95.1 | 0.91 | 974.398 | 75.8897 | 0.58748
2020-12-28 12:00:00 | 3.123 | 11.5 | 3.517 | 40.26 | 3.7632 | 37.9249 | 1.991 | 55.34 | 1.554 | 973.946 | 82.8915 | 1.9804
2020-12-28 12:15:00 | 3.756 | 11.42 | 3.988 | 28.51 | 4.2672 | 26.8564 | 1.969 | 50.06 | -0.314 | 973.339 | 92.9764 | 4.3008
2020-12-28 12:30:00 | 4.305 | 3.383 | 4.522 | 32.61 | 4.8385 | 30.7186 | 3.155 | 21.31 | -0.994 | 973.366 | 96.2925 | 2.6086
2020-12-28 12:45:00 | 3.863 | 350.4 | 4.31 | 4.708 | 4.6117 | 4.4349 | 3.687 | 358.5 | -0.133 | 973.366 | 91.9187 | 3.935
2020-12-28 13:00:00 | 3.899 | 7.739 | 3.99 | 28.28 | 4.2693 | 26.6398 | 4.077 | 5.689 | -0.778 | 972.772 | 95.7458 | 5.025
2020-12-28 13:15:00 | 4.149 | 18.79 | 4.364 | 42.68 | 4.6695 | 40.2046 | 4.382 | 3.23 | -1.173 | 972.207 | 98.5046 | 4.2528
2020-12-28 13:30:00 | 4.285 | 1.709 | 3.786 | 4.575 | 4.051 | 4.3097 | 3.063 | 13.64 | -0.647 | 973.028 | 96.8713 | 11.1363
2020-12-28 13:45:00 | 4.578 | 19.49 | 4.763 | 34.65 | 5.0964 | 32.6403 | 4.105 | 22.45 | -1.056 | 972.473 | 98.4447 | 6.5177
2020-12-28 14:00:00 | 4.913 | 21.27 | 4.885 | 30.16 | 5.227 | 28.4107 | 4.624 | 20.02 | -1.34 | 972.177 | 100 | 5.764
2020-12-28 14:15:00 | 4.014 | 4.784 | 4.637 | 24.46 | 4.9616 | 23.0413 | 3.96 | 13.78 | -0.539 | 972.474 | 94.4096 | 4.0385
2020-12-28 14:30:00 | 3.542 | 5.085 | 3.983 | 26.44 | 4.2618 | 24.9065 | 4.028 | 9 | 0.13 | 972.474 | 93.7959 | 5.7972
2020-12-28 14:45:00 | 4.101 | 26.63 | 4.873 | 39.37 | 5.2141 | 37.0865 | 5.213 | 30 | -0.54 | 972.177 | 97.4192 | 6.0152
2020-12-28 15:00:00 | 3.805 | 10.57 | 3.921 | 12.27 | 4.1955 | 11.5583 | 4.112 | 13.8 | -0.049 | 972.474 | 94.9579 | 9.7766
2020-12-28 15:15:00 | 5.002 | 4.046 | 4.637 | 21.64 | 4.9616 | 20.3849 | 4.563 | 2.283 | -0.351 | 972.177 | 96.5989 | 12.9689
2020-12-28 15:30:00 | 5.252 | 350 | 5.42 | 18.79 | 5.7994 | 17.7002 | 6.527 | 350.3 | -0.397 | 972.326 | 97.6243 | 20.0371
2020-12-28 15:45:00 | 4.255 | 359.6 | 4.896 | 32.58 | 5.2387 | 30.6904 | 5.607 | 344 | -0.314 | 972.474 | 99.195 | 27.1054
2020-12-28 16:00:00 | 6.542 | 7.808 | 6.281 | 22.44 | 6.7207 | 21.1385 | 6.998 | 2.941 | -0.21 | 971.88 | 100 | 28.5205
2020-12-28 16:15:00 | 6.953 | 8.57 | 6.371 | 16.54 | 6.817 | 15.5807 | 6.967 | 4.261 | -0.279 | 971.88 | 100 | 30.5194
2020-12-28 16:30:00 | 7.04 | 4.628 | 7.189 | 16.87 | 7.6922 | 15.8915 | 8.46 | 6.81 | -0.28 | 971.88 | 100 | 38.2712
2020-12-28 16:45:00 | 7.443 | 6.035 | 7.342 | 22.08 | 7.8559 | 20.7994 | 7.403 | 6.154 | -0.28 | 971.582 | 100 | 40.4105
2020-12-28 17:00:00 | 7.79 | 6.851 | 8.19 | 24.04 | 8.7633 | 22.6457 | 8.01 | 7.088 | -0.204 | 971.731 | 100 | 40.9463
2020-12-28 17:15:00 | 7.747 | 8.71 | 8.44 | 23.23 | 9.0308 | 21.8827 | 8.32 | 5.862 | -0.005 | 972.177 | 100 | 40.8006
2020-12-28 17:30:00 | 7.734 | 6.357 | 8.45 | 25.39 | 9.0415 | 23.9174 | 8.15 | 7.656 | 0.1 | 972.326 | 100 | 46.384
2020-12-28 17:45:00 | 7.706 | 3.915 | 7.777 | 21.2 | 8.3214 | 19.9704 | 8.28 | 5.377 | 0.251 | 972.474 | 100 | 54.7413
2020-12-28 18:00:00 | 7.969 | 6.345 | 8.14 | 23.61 | 8.7098 | 22.2406 | 7.576 | 9.31 | 0.27 | 972.474 | 100 | 49.7585
2020-12-28 18:15:00 | 8.37 | 2.196 | 7.649 | 17.09 | 8.1844 | 16.0988 | 8.3 | 5.017 | 0.209 | 972.474 | 100 | 52.8606
2020-12-28 18:30:00 | 7.594 | 359.9 | 7.797 | 16.89 | 8.3428 | 15.9104 | 9.91 | 3.438 | -0.115 | 972.772 | 100 | 50.6785
2020-12-28 18:45:00 | 7.622 | 4.28 | 7.797 | 22.42 | 8.3428 | 21.1196 | 8.26 | 3.772 | -0.302 | 972.474 | 100 | 49.8398
2020-12-28 19:00:00 | 8.09 | 3.091 | 7.524 | 19.24 | 8.0507 | 18.1241 | 7.538 | 5.783 | -0.373 | 972.772 | 100 | 47.2682
2020-12-28 19:15:00 | 8.28 | 2.518 | 7.864 | 17.39 | 8.4145 | 16.3814 | 9.03 | 3.773 | -0.28 | 973.069 | 100 | 52.8178
2020-12-28 19:30:00 | 9.04 | 2.203 | 8.43 | 21.25 | 9.0201 | 20.0175 | 8.2 | 5.184 | -0.399 | 973.069 | 100 | 56.9471
2020-12-28 19:45:00 | 8.58 | 3.293 | 8.41 | 21.05 | 8.9987 | 19.8291 | 8.17 | 5.736 | -0.504 | 973.069 | 100 | 55.6663
2020-12-28 20:00:00 | 8.8 | 5.506 | 8.98 | 24.13 | 9.6086 | 22.7305 | 7.683 | 9.18 | -0.552 | 973.367 | 100 | 47.1314
2020-12-28 20:15:00 | 8.11 | 0.537 | 7.912 | 21.27 | 8.4658 | 20.0363 | 7.645 | 6.113 | -0.585 | 973.664 | 100 | 52.0271
2020-12-28 20:30:00 | 8.54 | 0.498 | 8.39 | 22.01 | 8.9773 | 20.7334 | 9.74 | 1.651 | -0.615 | 973.813 | 100 | 58.5818
2020-12-28 20:45:00 | 9.16 | 0.5 | 8.91 | 23.27 | 9.5337 | 21.9203 | 8.38 | 5.846 | -0.696 | 973.664 | 100 | 63.1597
2020-12-28 21:00:00 | 9.61 | 0.506 | 9.62 | 20.82 | 10.2934 | 19.6124 | 9.68 | 5.602 | -0.752 | 974.259 | 100 | 62.6535
2020-12-28 21:15:00 | 10.07 | 0.534 | 10.01 | 23.58 | 10.7107 | 22.2124 | 9.56 | 5.953 | -0.76 | 974.259 | 100 | 70.2612
2020-12-28 21:30:00 | 10.74 | 0.537 | 10.29 | 23.45 | 11.0103 | 22.0899 | 9.5 | 7.179 | -0.89 | 974.556 | 100 | 69.3211
2020-12-28 21:45:00 | 9.43 | 0.537 | 9.59 | 24.02 | 10.2613 | 22.6268 | 10.13 | 4.893 | -0.997 | 974.854 | 100 | 70.3572
2020-12-28 22:00:00 | 9.71 | 0.537 | 10.16 | 24.69 | 10.8712 | 23.258 | 10.73 | 4.314 | -1.127 | 974.854 | 100 | 70.0638
2020-12-28 22:15:00 | 10.16 | 0.537 | 10.4 | 22.23 | 11.128 | 20.9407 | 10 | 6.134 | -1.3 | 974.854 | 100 | 68.2375
2020-12-28 22:30:00 | 10.77 | 0.537 | 10.63 | 22.81 | 11.3741 | 21.487 | 10.6 | 6.319 | -1.488 | 974.854 | 100 | 70.1577
2020-12-28 22:45:00 | 11.14 | 0.537 | 12.48 | 24.27 | 13.3536 | 22.8623 | 10.28 | 8.49 | -1.569 | 975.151 | 100 | 61.7926
2020-12-28 23:00:00 | 11.22 | 0.537 | 12.67 | 26.08 | 13.5569 | 24.5674 | 10.32 | 10.97 | -1.677 | 974.854 | 100 | 64.7115
2020-12-28 23:15:00 | 10.51 | 0.537 | 12.93 | 25.73 | 13.8351 | 24.2377 | 10.88 | 11.1 | -1.756 | 975.448 | 100 | 63.4468
2020-12-28 23:30:00 | 10.5 | 0.537 | 13.74 | 26.49 | 14.7018 | 24.9536 | 11.79 | 13.37 | -1.777 | 975.151 | 100 | 62.9047
2020-12-28 23:45:00 | 10.49 | 0.537 | 12.98 | 24.09 | 13.8886 | 22.6928 | 11.7 | 10.78 | -1.784 | 975.151 | 100 | 59.4411