## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-29 00:00:00 | 10.52 | 0.537 | 12.08 | 24.03 | 12.9256 | 22.6363 | 10.65 | 10.54 | -1.833 | 975.894 | 100 | 47.4455
2020-12-29 00:15:00 | 11.48 | 0.537 | 11.72 | 21.34 | 12.5404 | 20.1023 | 10.43 | 352.1 | -1.873 | 976.043 | 100 | 56.3833
2020-12-29 00:30:00 | 11.54 | 0.537 | 11.74 | 20.66 | 12.5618 | 19.4617 | 11.69 | 352.1 | -1.964 | 976.34 | 100 | 56.3079
2020-12-29 00:45:00 | 11.81 | 0.537 | 11.75 | 19.42 | 12.5725 | 18.2936 | 12.85 | 352.1 | -2.014 | 976.786 | 100 | 58.4081
2020-12-29 01:00:00 | 12.84 | 0.537 | 12.37 | 21.86 | 13.2359 | 20.5921 | 12.36 | 352.2 | -2.181 | 976.638 | 100 | 58.9919
2020-12-29 01:15:00 | 12.4 | 0.537 | 13.06 | 23 | 13.9742 | 21.666 | 11.69 | 352.2 | -2.257 | 976.638 | 100 | 54.8389
2020-12-29 01:30:00 | 12.24 | 0.537 | 13.16 | 23.37 | 14.0812 | 22.0145 | 11.16 | 352.2 | -2.324 | 976.491 | 100 | 58.8573
2020-12-29 01:45:00 | 10.38 | 0.537 | 13.9 | 26.38 | 14.873 | 24.85 | 11.45 | 352.2 | -2.46 | 976.371 | 100 | 56.5665
2020-12-29 02:00:00 | 10.47 | 0.537 | 13.62 | 25.04 | 14.5734 | 23.5877 | 11.41 | 352.2 | -2.499 | 976.341 | 100 | 54.3031
2020-12-29 02:15:00 | 10.58 | 0.537 | 12.51 | 24.51 | 13.3857 | 23.0884 | 10.76 | 352.2 | -2.528 | 976.641 | 100 | 53.3601
2020-12-29 02:30:00 | 10.56 | 0.537 | 12.5 | 24.94 | 13.375 | 23.4935 | 10.7 | 352.2 | -2.539 | 976.936 | 100 | 54.082
2020-12-29 02:45:00 | 10.92 | 0.537 | 13.49 | 27.03 | 14.4343 | 25.4623 | 11.01 | 352.2 | -2.606 | 976.936 | 100 | 54.1184
2020-12-29 03:00:00 | 11.29 | 0.537 | 12.91 | 22.86 | 13.8137 | 21.5341 | 10.94 | 352.2 | -2.678 | 977.234 | 100 | 49.7474
2020-12-29 03:15:00 | 11.51 | 0.537 | 12.77 | 23.56 | 13.6639 | 22.1935 | 11.13 | 352.3 | -2.768 | 977.085 | 100 | 47.6796
2020-12-29 03:30:00 | 11.38 | 0.537 | 14.08 | 25.39 | 15.0656 | 23.9174 | 11.79 | 352.3 | -2.904 | 976.787 | 100 | 49.4666
2020-12-29 03:45:00 | 11.21 | 0.537 | 14.01 | 25.89 | 14.9907 | 24.3884 | 11.81 | 352.3 | -3.061 | 977.233 | 100 | 46.7198
2020-12-29 04:00:00 | 13.15 | 0.537 | 14.67 | 25.1 | 15.6969 | 23.6442 | 12.36 | 352.4 | -3.301 | 976.38 | 100 | 42.439
2020-12-29 04:15:00 | 12.9 | 0.537 | 14.17 | 24.93 | 15.1619 | 23.4841 | 12.15 | 352.4 | -3.684 | 977.032 | 100 | 41.5448
2020-12-29 04:30:00 | 12.54 | 0.537 | 14.75 | 26.16 | 15.7825 | 24.6427 | 12.51 | 352.5 | -3.807 | 977.177 | 100 | 47.2903
2020-12-29 04:45:00 | 12.09 | 0.537 | 15.79 | 27.08 | 16.8953 | 25.5094 | 13.02 | 352.5 | -4.086 | 977.075 | 100 | 48.7387
2020-12-29 05:00:00 | 10.26 | 0.537 | 14.85 | 27.81 | 15.8895 | 26.197 | 11.98 | 352.5 | -4.099 | 977.305 | 100 | 46.4775
2020-12-29 05:15:00 | 12.65 | 0.537 | 16.29 | 28.2 | 17.4303 | 26.5644 | 13.07 | 352.5 | -4.254 | 977.081 | 100 | 51.209
2020-12-29 05:30:00 | 11.27 | 0.537 | 14.75 | 27.22 | 15.7825 | 25.6412 | 12.73 | 352.5 | -4.625 | 977.521 | 100 | 53.4866
2020-12-29 05:45:00 | 13.38 | 0.537 | 16.99 | 26.3 | 18.1793 | 24.7746 | 13.89 | 352.5 | -4.778 | 977.534 | 99.7948 | 52.3781
2020-12-29 06:00:00 | 11.79 | 0.537 | 16.37 | 28.85 | 17.5159 | 27.1767 | 13.92 | 352.5 | -4.773 | 977.534 | 99.6238 | 54.4694
2020-12-29 06:15:00 | 11.29 | 0.537 | 15.34 | 25.9 | 16.4138 | 24.3978 | 13.43 | 352.5 | -4.825 | 977.534 | 99.453 | 52.6294
2020-12-29 06:30:00 | 11.77 | 0.537 | 16.14 | 27.04 | 17.2698 | 25.4717 | 13.02 | 352.5 | -4.826 | 977.831 | 99.3862 | 54.5064
2020-12-29 06:45:00 | 11.25 | 0.537 | 14.09 | 26.25 | 15.0763 | 24.7275 | 11.95 | 352.5 | -4.833 | 978.129 | 99.3853 | 50.1391
2020-12-29 07:00:00 | 12.13 | 0.537 | 16.58 | 28.87 | 17.7406 | 27.1955 | 13.17 | 352.5 | -4.85 | 977.385 | 99.3185 | 51.3584
2020-12-29 07:15:00 | 12.61 | 0.537 | 14 | 23.24 | 14.98 | 21.8921 | 12 | 352.5 | -4.841 | 978.724 | 99.3216 | 57.3773
2020-12-29 07:30:00 | 12.4 | 0.537 | 13.96 | 24.84 | 14.9372 | 23.3993 | 12.39 | 352.5 | -4.996 | 979.022 | 99.0825 | 57.0432
2020-12-29 07:45:00 | 13.91 | 0.537 | 15.95 | 23.4 | 17.0665 | 22.0428 | 14.44 | 352.5 | -5.106 | 979.319 | 98.8833 | 54.7983
2020-12-29 08:00:00 | 12.98 | 0.537 | 15.49 | 24.76 | 16.5743 | 23.3239 | 13.82 | 352.5 | -5.137 | 979.915 | 98.9518 | 56.3855
2020-12-29 08:15:00 | 11.59 | 0.537 | 13.53 | 25.86 | 14.4771 | 24.3601 | 11.31 | 352.5 | -5.111 | 980.658 | 98.9898 | 69.7187
2020-12-29 08:30:00 | 11.62 | 0.537 | 12.45 | 22.22 | 13.3215 | 20.9312 | 14.54 | 352.6 | -5.723 | 980.063 | 97.6892 | 83.7991
2020-12-29 08:45:00 | 12.38 | 0.537 | 13.38 | 23.19 | 14.3166 | 21.845 | 14.38 | 352.7 | -6.783 | 980.212 | 97.1438 | 82.7777
2020-12-29 09:00:00 | 11.89 | 0.537 | 14.42 | 25.84 | 15.4294 | 24.3413 | 12.4 | 352.7 | -6.965 | 980.361 | 96.6307 | 86.9545
2020-12-29 09:15:00 | 13.99 | 0.537 | 15.92 | 23.85 | 17.0344 | 22.4667 | 14.19 | 352.8 | -7.443 | 980.807 | 95.586 | 85.8778
2020-12-29 09:30:00 | 10.23 | 0.537 | 12.17 | 25.9 | 13.0219 | 24.3978 | 10.13 | 352.8 | -7.494 | 981.402 | 94.5262 | 83.2301
2020-12-29 09:45:00 | 11.61 | 0.537 | 13.61 | 23.85 | 14.5627 | 22.4667 | 13.09 | 352.8 | -7.977 | 981.402 | 90.934 | 84.6193
2020-12-29 10:00:00 | 12.24 | 0.537 | 14.16 | 24.72 | 15.1512 | 23.2862 | 12.83 | 352.8 | -7.774 | 981.402 | 87.4786 | 85.6006
2020-12-29 10:15:00 | 11.37 | 0.537 | 13.85 | 25.09 | 14.8195 | 23.6348 | 12.35 | 353 | -7.637 | 981.7 | 84.9812 | 83.7022
2020-12-29 10:30:00 | 11.4 | 0.537 | 11.84 | 21.45 | 12.6688 | 20.2059 | 12.77 | 4.891 | -7.645 | 981.998 | 82.9969 | 84.0171
2020-12-29 10:45:00 | 11.65 | 0.537 | 13.01 | 26.82 | 13.9207 | 25.2644 | 11.75 | 5.805 | -7.599 | 982.295 | 80.8074 | 85.4528
2020-12-29 11:00:00 | 10.79 | 0.537 | 11.76 | 23.81 | 12.5832 | 22.429 | 12.35 | 3.704 | -7.699 | 982.593 | 76.5652 | 86.6478
2020-12-29 11:15:00 | 12.17 | 0.537 | 13.31 | 25.32 | 14.2417 | 23.8514 | 13.87 | 4.5 | -7.704 | 982.741 | 69.9624 | 79.7052
2020-12-29 11:30:00 | 10.56 | 0.579 | 13.09 | 27.48 | 14.0063 | 25.8862 | 11.61 | 9.96 | -7.59 | 983.188 | 66.8833 | 80.6457
2020-12-29 11:45:00 | 10.18 | 0.48 | 11.04 | 23.01 | 11.8128 | 21.6754 | 12.79 | 0.043 | -7.64 | 982.741 | 61.0332 | 81.8667
2020-12-29 12:00:00 | 10.85 | 0.508 | 11.07 | 27.19 | 11.8449 | 25.613 | 12.32 | 358.9 | -7.703 | 982.741 | 55.1488 | 75.5448
2020-12-29 12:15:00 | 9.39 | 6.347 | 10.2 | 25.92 | 10.914 | 24.4166 | 11.52 | 359.2 | -7.717 | 983.188 | 53.9856 | 75.625
2020-12-29 12:30:00 | 7.635 | 358.1 | 9.54 | 25.39 | 10.2078 | 23.9174 | 10.98 | 356.8 | -7.761 | 982.89 | 51.1803 | 75.1088
2020-12-29 12:45:00 | 8.73 | 355.9 | 9.27 | 21.85 | 9.9189 | 20.5827 | 11.18 | 353.7 | -7.922 | 983.783 | 49.1276 | 76.5364
2020-12-29 13:00:00 | 9.12 | 355.2 | 9.45 | 24.3 | 10.1115 | 22.8906 | 11.95 | 352.7 | -8.17 | 982.593 | 46.6644 | 77.8341
2020-12-29 13:15:00 | 7.218 | 357.1 | 8.72 | 24.3 | 9.3304 | 22.8906 | 10.65 | 353.4 | -8.25 | 983.485 | 45.638 | 76.6876
2020-12-29 13:30:00 | 8.1 | 358.7 | 8.9 | 22.94 | 9.523 | 21.6095 | 10.45 | 353.1 | -8.29 | 983.337 | 45.1249 | 70.0897
2020-12-29 13:45:00 | 8.32 | 359.3 | 9.89 | 22.63 | 10.5823 | 21.3175 | 11.68 | 357.8 | -8.23 | 982.593 | 39.8905 | 77.7602
2020-12-29 14:00:00 | 9.1 | 6.458 | 10.43 | 30.56 | 11.1601 | 28.7875 | 10.97 | 359.6 | -8.18 | 982.89 | 37.222 | 72.3102
2020-12-29 14:15:00 | 9.62 | 5.87 | 10.3 | 25.71 | 11.021 | 24.2188 | 10.31 | 5.17 | -8.18 | 982.89 | 36.1273 | 70.5737
2020-12-29 14:30:00 | 8.98 | 6.851 | 9.92 | 24.39 | 10.6144 | 22.9754 | 10.41 | 1.949 | -8.25 | 983.485 | 36.6062 | 70.8118
2020-12-29 14:45:00 | 8.69 | 2.47 | 9.84 | 26.44 | 10.5288 | 24.9065 | 10.88 | 0.108 | -8.39 | 983.188 | 34.6904 | 73.7857
2020-12-29 15:00:00 | 8.31 | 3.009 | 9.22 | 25.8 | 9.8654 | 24.3036 | 10.4 | 0.351 | -8.55 | 983.188 | 31.2692 | 69.0162
2020-12-29 15:15:00 | 7.247 | 357.7 | 8.16 | 23.42 | 8.7312 | 22.0616 | 9.79 | 352.1 | -8.73 | 983.188 | 32.6377 | 64.1056
2020-12-29 15:30:00 | 7.093 | 359.4 | 8.64 | 27.96 | 9.2448 | 26.3383 | 10 | 356.2 | -8.84 | 982.89 | 32.2956 | 64.5526
2020-12-29 15:45:00 | 8.11 | 1.486 | 9.24 | 23.64 | 9.8868 | 22.2689 | 10.75 | 1.298 | -8.99 | 982.89 | 30.4485 | 61.6433
2020-12-29 16:00:00 | 7.484 | 0.451 | 8.4 | 23.35 | 8.988 | 21.9957 | 9.55 | 356.6 | -9.09 | 983.039 | 32.5015 | 62.2631
2020-12-29 16:15:00 | 7.87 | 5.755 | 9.04 | 28.32 | 9.6728 | 26.6774 | 10.05 | 1.158 | -9.19 | 982.9 | 32.0259 | 61.1868
2020-12-29 16:30:00 | 8.42 | 6.005 | 8.67 | 22.87 | 9.2769 | 21.5435 | 10.17 | 1.57 | -9.39 | 982.998 | 32.1642 | 60.8547
2020-12-29 16:45:00 | 7.793 | 358.5 | 8.02 | 18.22 | 8.5814 | 17.1632 | 9.96 | 359.7 | -9.48 | 983.118 | 33.3961 | 62.3268
2020-12-29 17:00:00 | 7.423 | 356.6 | 7.971 | 24.95 | 8.529 | 23.5029 | 9.46 | 354.3 | -9.64 | 982.921 | 34.2208 | 64.1631
2020-12-29 17:15:00 | 7.893 | 357.4 | 8.42 | 21.28 | 9.0094 | 20.0458 | 10.63 | 358.5 | -9.73 | 982.952 | 32.0328 | 62.853
2020-12-29 17:30:00 | 7.829 | 0.142 | 8.19 | 21.94 | 8.7633 | 20.6675 | 10.11 | 0.132 | -9.86 | 983.452 | 33.9493 | 57.8391
2020-12-29 17:45:00 | 7.568 | 359.7 | 8.86 | 25 | 9.4802 | 23.55 | 10.85 | 358 | -9.95 | 983.195 | 31.0062 | 56.3575
2020-12-29 18:00:00 | 8.3 | 7.35 | 9.88 | 26.42 | 10.5716 | 24.8876 | 8.91 | 6.942 | -10.11 | 983.493 | 30.7324 | 52.0788
2020-12-29 18:15:00 | 8.58 | 6.727 | 8.78 | 24.31 | 9.3946 | 22.9 | 9.68 | 3.944 | -10.25 | 983.493 | 32.2382 | 54.4353
2020-12-29 18:30:00 | 8.17 | 5.528 | 8.4 | 23.64 | 8.988 | 22.2689 | 9.63 | 2.565 | -10.36 | 984.089 | 33.8125 | 55.5963
2020-12-29 18:45:00 | 7.471 | 357.1 | 7.953 | 20.99 | 8.5097 | 19.7726 | 9.97 | 358 | -10.43 | 984.089 | 32.6489 | 54.222
2020-12-29 19:00:00 | 8.27 | 3.92 | 8.64 | 21.63 | 9.2448 | 20.3755 | 10.63 | 358.8 | -10.49 | 984.089 | 31.8974 | 50.1871
2020-12-29 19:15:00 | 7.53 | 357.4 | 7.534 | 16.21 | 8.0614 | 15.2698 | 9.35 | 359.3 | -10.63 | 984.238 | 34.5694 | 44.5414
2020-12-29 19:30:00 | 7.801 | 3.267 | 7.941 | 23.51 | 8.4969 | 22.1464 | 9.41 | 2.562 | -10.77 | 984.387 | 35.1188 | 48.5096
2020-12-29 19:45:00 | 6.841 | 356.7 | 6.915 | 19.88 | 7.399 | 18.727 | 9.35 | 356.7 | -10.96 | 984.387 | 33.5444 | 45.1251
2020-12-29 20:00:00 | 6.713 | 351.9 | 6.798 | 15.18 | 7.2739 | 14.2996 | 8.67 | 351.7 | -11.12 | 984.387 | 31.2853 | 46.2399
2020-12-29 20:15:00 | 6.432 | 351.1 | 7.043 | 18.28 | 7.536 | 17.2198 | 9.01 | 352.3 | -11.35 | 984.387 | 31.9699 | 52.4668
2020-12-29 20:30:00 | 7.019 | 356 | 7.92 | 21.95 | 8.4744 | 20.6769 | 9.62 | 356.3 | -11.45 | 984.387 | 29.642 | 49.123
2020-12-29 20:45:00 | 7.116 | 10.36 | 7.314 | 21.88 | 7.826 | 20.611 | 9.12 | 4.369 | -11.6 | 984.387 | 31.1508 | 44.0463
2020-12-29 21:00:00 | 6.447 | 359.3 | 6.739 | 22.31 | 7.2107 | 21.016 | 8.51 | 0.783 | -11.82 | 984.387 | 32.8651 | 47.4714
2020-12-29 21:15:00 | 7.221 | 358 | 7.667 | 19.77 | 8.2037 | 18.6233 | 9.06 | 358.1 | -11.99 | 984.387 | 31.1879 | 50.0873
2020-12-29 21:30:00 | 7.379 | 5.6 | 7.514 | 24.26 | 8.04 | 22.8529 | 9.2 | 5.464 | -12.18 | 984.387 | 33.3447 | 49.7512
2020-12-29 21:45:00 | 8.41 | 9.43 | 8.36 | 24.46 | 8.9452 | 23.0413 | 7.349 | 8.79 | -12.31 | 984.089 | 34.4403 | 50.4864
2020-12-29 22:00:00 | 8.5 | 8.9 | 7.979 | 21.07 | 8.5375 | 19.8479 | 8.06 | 6.116 | -12.38 | 984.387 | 34.1321 | 56.5053
2020-12-29 22:15:00 | 8.02 | 11.17 | 9.74 | 26.37 | 10.4218 | 24.8405 | 8.63 | 10.1 | -12.48 | 984.387 | 30.5375 | 57.4179
2020-12-29 22:30:00 | 8.06 | 9.45 | 8.7 | 25.46 | 9.309 | 23.9833 | 7.436 | 11.18 | -12.55 | 984.387 | 28.9627 | 44.2938
2020-12-29 22:45:00 | 8.28 | 9.65 | 9.36 | 27.24 | 10.0152 | 25.6601 | 8.04 | 11.45 | -12.68 | 984.089 | 28.141 | 47.028
2020-12-29 23:00:00 | 8.3 | 9.04 | 9.46 | 24.53 | 10.1222 | 23.1073 | 7.899 | 10.91 | -12.83 | 984.089 | 28.2095 | 46.6696
2020-12-29 23:15:00 | 7.114 | 9.8 | 7.317 | 22.82 | 7.8292 | 21.4964 | 6.919 | 8.37 | -12.9 | 984.238 | 28.6203 | 36.6713
2020-12-29 23:30:00 | 7.058 | 8.05 | 6.946 | 22.35 | 7.4322 | 21.0537 | 6.654 | 9.23 | -12.96 | 984.089 | 29.442 | 39.8363
2020-12-29 23:45:00 | 6.417 | 9.71 | 6.363 | 22.13 | 6.8084 | 20.8465 | 6.669 | 9.01 | -13.04 | 984.089 | 28.8942 | 33.2832