## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-30 00:00:00 | 5.717 | 6.31 | 5.957 | 18.61 | 6.374 | 17.5306 | 6.863 | 7.526 | -13.09 | 984.238 | 28.8257 | 27.582
2020-12-30 00:15:00 | 5.635 | 7.425 | 5.634 | 16.16 | 6.0284 | 15.2227 | 6.188 | 5.879 | -13.15 | 984.238 | 29.0312 | 26.7026
2020-12-30 00:30:00 | 5.122 | 6.487 | 5.496 | 13.53 | 5.8807 | 12.7453 | 8.08 | 15.99 | -13.22 | 984.089 | 29.4077 | 21.6703
2020-12-30 00:45:00 | 4.997 | 15.3 | 5.422 | 12.89 | 5.8015 | 12.1424 | 7.308 | 1.875 | -13.28 | 984.387 | 29.6822 | 15.0195
2020-12-30 01:00:00 | 4.165 | 355.5 | 4.653 | 10.01 | 4.9787 | 9.4294 | 6.797 | 355.9 | -13.3 | 984.089 | 30.0586 | 9.8874
2020-12-30 01:15:00 | 4.129 | 352.5 | 5.031 | 6.612 | 5.3832 | 6.2285 | 5.821 | 353.6 | -13.18 | 984.089 | 28.5523 | 9.8763
2020-12-30 01:30:00 | 4.346 | 350 | 4.896 | 5.712 | 5.2387 | 5.3807 | 5.966 | 351.7 | -13.33 | 983.94 | 29.9913 | 8.9009
2020-12-30 01:45:00 | 4.006 | 351.3 | 4.402 | 10.03 | 4.7101 | 9.4483 | 4.884 | 346.1 | -13.32 | 983.94 | 31.6343 | 7.5301
2020-12-30 02:00:00 | 3.521 | 342.2 | 4.287 | 357.8 | 4.5871 | 337.048 | 4.337 | 340.6 | -13.35 | 983.493 | 31.2919 | 4.9474
2020-12-30 02:15:00 | 4.359 | 338.2 | 4.719 | 351.3 | 5.0493 | 330.925 | 4.948 | 339.2 | -13.32 | 983.791 | 34.8887 | 5.9117
2020-12-30 02:30:00 | 4.18 | 345.6 | 4.965 | 6.532 | 5.3125 | 6.1531 | 6.104 | 346.7 | -13.54 | 983.493 | 32.6615 | 7.2641
2020-12-30 02:45:00 | 3.94 | 345.3 | 4.878 | 3.273 | 5.2195 | 3.0832 | 6.267 | 348.5 | -13.43 | 983.493 | 30.2658 | 5.8748
2020-12-30 03:00:00 | 3.657 | 351.2 | 4.55 | 7.983 | 4.8685 | 7.52 | 5.666 | 353.4 | -13.59 | 983.344 | 28.8985 | 6.0004
2020-12-30 03:15:00 | 3.212 | 348.4 | 3.835 | 9.74 | 4.1034 | 9.1751 | 4.932 | 350.6 | -13.63 | 983.195 | 30.3026 | 6.1889
2020-12-30 03:30:00 | 2.051 | 323.7 | 2.088 | 338.7 | 2.2342 | 319.055 | 2.33 | 322.7 | -13.64 | 983.195 | 28.6598 | 2.1652
2020-12-30 03:45:00 | 0.588 | 344.8 | 1.184 | 20.49 | 1.2669 | 19.3016 | 1.573 | 341.2 | -14 | 982.928 | 31.5724 | 1.5001
2020-12-30 04:00:00 | 1.522 | 305.1 | 2.308 | 310.2 | 2.4696 | 292.208 | 1.772 | 313.4 | -14.08 | 982.641 | 37.8757 | 1.7994
2020-12-30 04:15:00 | 1.261 | 287.3 | 2.129 | 289.3 | 2.278 | 272.521 | 3.618 | 302.7 | -14.27 | 982.903 | 35.7534 | 1.9878
2020-12-30 04:30:00 | 2.066 | 295.2 | 2.965 | 298.4 | 3.1726 | 281.093 | 4.387 | 302.2 | -14.1 | 983.196 | 32.7055 | 3.3143
2020-12-30 04:45:00 | 2.658 | 296.8 | 3.533 | 303.3 | 3.7803 | 285.709 | 4.828 | 299.5 | -14.02 | 983.195 | 31.3014 | 3.2108
2020-12-30 05:00:00 | 3.217 | 307.7 | 3.349 | 316.5 | 3.5834 | 298.143 | 2.809 | 309.9 | -14.07 | 983.203 | 30.9589 | 5.5016
2020-12-30 05:15:00 | 3.271 | 311.5 | 3.965 | 315.8 | 4.2425 | 297.484 | 1.611 | 317.9 | -13.84 | 983.144 | 32.3973 | 5.1986
2020-12-30 05:30:00 | 3.899 | 320.5 | 3.395 | 329.9 | 3.6326 | 310.766 | 3.333 | 316 | -13.86 | 983.181 | 26.5068 | 8.8898
2020-12-30 05:45:00 | 4.057 | 297.7 | 5.136 | 311.8 | 5.4955 | 293.716 | 6.593 | 300.7 | -13.49 | 982.993 | 26.3699 | 11.9528
2020-12-30 06:00:00 | 4.172 | 302.7 | 4.885 | 313.1 | 5.227 | 294.94 | 5.656 | 305.3 | -13.48 | 983.107 | 31.2328 | 12.3925
2020-12-30 06:15:00 | 3.082 | 291.6 | 4.157 | 297.2 | 4.448 | 279.962 | 5.763 | 297.1 | -13.75 | 982.693 | 33.2859 | 14.6501
2020-12-30 06:30:00 | 3.307 | 286.6 | 4.039 | 293.3 | 4.3217 | 276.289 | 5.483 | 293.5 | -13.76 | 982.637 | 34.2454 | 15.7622
2020-12-30 06:45:00 | 3.848 | 291.3 | 4.796 | 299 | 5.1317 | 281.658 | 5.5 | 297.8 | -13.53 | 982.772 | 33.7664 | 15.1119
2020-12-30 07:00:00 | 4.461 | 305.9 | 4.972 | 314 | 5.32 | 295.788 | 4.387 | 312.7 | -13.45 | 983.061 | 33.7656 | 12.4997
2020-12-30 07:15:00 | 3.736 | 318.5 | 3.824 | 324.1 | 4.0917 | 305.302 | 2.666 | 321.8 | -13.49 | 982.911 | 32.6692 | 14.9124
2020-12-30 07:30:00 | 3.48 | 293.3 | 4.21 | 305.1 | 4.5047 | 287.404 | 4.726 | 299 | -13.76 | 983.196 | 35.3397 | 9.0561
2020-12-30 07:45:00 | 3.268 | 327.9 | 3.397 | 331.4 | 3.6348 | 312.179 | 2.895 | 329.9 | -13.65 | 983.202 | 34.8589 | 9.7174
2020-12-30 08:00:00 | 3.514 | 313.3 | 4.364 | 317.2 | 4.6695 | 298.802 | 2.805 | 324.3 | -13.56 | 983.196 | 34.5128 | 9.8578
2020-12-30 08:15:00 | 2.492 | 326.7 | 2.871 | 336.2 | 3.072 | 316.7 | 3.537 | 323.6 | -13.25 | 983.494 | 31.6331 | 13.6931
2020-12-30 08:30:00 | 3.445 | 322.2 | 3.691 | 338.1 | 3.9494 | 318.49 | 3.909 | 319.4 | -12.65 | 984.089 | 30.0582 | 20.0445
2020-12-30 08:45:00 | 3.828 | 333 | 3.671 | 352.8 | 3.928 | 332.338 | 3.677 | 328.9 | -12.55 | 984.387 | 30.3944 | 16.6009
2020-12-30 09:00:00 | 2.647 | 339.7 | 2.73 | 356.7 | 2.9211 | 336.011 | 2.867 | 332.7 | -12.2 | 984.975 | 31.5533 | 15.0011
2020-12-30 09:15:00 | 3.376 | 335.8 | 3.415 | 359.2 | 3.654 | 338.366 | 4.09 | 329.5 | -12.38 | 984.68 | 32.4334 | 15.5738
2020-12-30 09:30:00 | 4.075 | 338.3 | 3.988 | 358.2 | 4.2672 | 337.424 | 4.764 | 335.6 | -11.97 | 984.974 | 31.7482 | 24.6557
2020-12-30 09:45:00 | 3.784 | 343.1 | 4.192 | 352 | 4.4854 | 331.584 | 5.424 | 332.5 | -11.89 | 985.122 | 30.8229 | 30.3679
2020-12-30 10:00:00 | 4.356 | 332.6 | 4.883 | 347.1 | 5.2248 | 326.968 | 5.498 | 330.2 | -11.8 | 985.42 | 31.1955 | 28.8013
2020-12-30 10:15:00 | 3.508 | 343.6 | 3.656 | 357.5 | 3.9119 | 336.765 | 3.957 | 342.2 | -11.37 | 985.569 | 33.5899 | 27.4416
2020-12-30 10:30:00 | 4.532 | 316 | 5 | 320.8 | 5.35 | 302.194 | 4.66 | 324.5 | -11.57 | 985.718 | 35.1574 | 27.5266
2020-12-30 10:45:00 | 4.964 | 312 | 5.703 | 325.1 | 6.1022 | 306.244 | 5.475 | 314.9 | -11.33 | 985.718 | 37.3461 | 26.4018
2020-12-30 11:00:00 | 5.914 | 315.6 | 6.44 | 324.3 | 6.8908 | 305.491 | 5.679 | 317.3 | -11.36 | 985.179 | 37.4145 | 32.522
2020-12-30 11:15:00 | 4.961 | 314.3 | 5.795 | 329.2 | 6.2007 | 310.106 | 6.152 | 313.8 | -10.75 | 984.754 | 37.072 | 52.9845
2020-12-30 11:30:00 | 9.32 | 302.2 | 11.32 | 315.5 | 12.1124 | 297.201 | 10.81 | 304 | -10.56 | 985.157 | 29.7878 | 67.2136
2020-12-30 11:45:00 | 8.22 | 307.4 | 9.39 | 318.4 | 10.0473 | 299.933 | 8.61 | 311.3 | -10.22 | 985.374 | 28.7278 | 68.1284
2020-12-30 12:00:00 | 8.52 | 304.8 | 11.34 | 318.3 | 12.1338 | 299.839 | 11.77 | 306.2 | -9.93 | 984.973 | 26.0602 | 69.84
2020-12-30 12:15:00 | 7.262 | 309.3 | 7.999 | 322.4 | 8.5589 | 303.701 | 7.91 | 311.7 | -9.55 | 984.973 | 29.0014 | 74.0473
2020-12-30 12:30:00 | 9.08 | 304.4 | 10.53 | 317.3 | 11.2671 | 298.897 | 10.42 | 305.7 | -9.35 | 984.959 | 27.0178 | 62.4466
2020-12-30 12:45:00 | 5.86 | 323.6 | 6.386 | 330.3 | 6.833 | 311.143 | 6.226 | 320.8 | -9.2 | 984.778 | 26.6074 | 61.4881
2020-12-30 13:00:00 | 4.963 | 319.4 | 6.064 | 328.6 | 6.4885 | 309.541 | 6.201 | 324.1 | -9.05 | 984.303 | 27.7016 | 54.8374
2020-12-30 13:15:00 | 7.614 | 306.1 | 8.51 | 319.8 | 9.1057 | 301.252 | 8.54 | 306.8 | -9.19 | 984.375 | 25.238 | 52.804
2020-12-30 13:30:00 | 7.195 | 302.3 | 9.04 | 316.7 | 9.6728 | 298.331 | 9.24 | 304.7 | -8.75 | 984.484 | 26.06 | 46.7915
2020-12-30 13:45:00 | 7.913 | 305.1 | 8.89 | 315.9 | 9.5123 | 297.578 | 8.17 | 306.8 | -8.85 | 984.33 | 25.3762 | 44.667
2020-12-30 14:00:00 | 7.767 | 304.9 | 9.28 | 318.6 | 9.9296 | 300.121 | 9.3 | 305.9 | -8.61 | 984.676 | 25.5814 | 51.3699
2020-12-30 14:15:00 | 5.84 | 301.1 | 6.414 | 309.9 | 6.863 | 291.926 | 5.842 | 302.7 | -8.48 | 984.676 | 27.8044 | 38.9252
2020-12-30 14:30:00 | 6.971 | 299 | 7.958 | 314 | 8.5151 | 295.788 | 7.782 | 300.8 | -8.3 | 984.824 | 25.855 | 39.5903
2020-12-30 14:45:00 | 6.248 | 308.1 | 6.744 | 321 | 7.2161 | 302.382 | 6.595 | 309.5 | -7.987 | 984.973 | 24.4186 | 36.6387
2020-12-30 15:00:00 | 5.36 | 306.7 | 6.051 | 319 | 6.4746 | 300.498 | 5.332 | 308.8 | -7.891 | 984.973 | 25.1026 | 34.5357
2020-12-30 15:15:00 | 6.2 | 308.4 | 7.289 | 320.8 | 7.7992 | 302.194 | 6.949 | 310.4 | -7.738 | 984.527 | 24.8974 | 34.3314
2020-12-30 15:30:00 | 5.855 | 311.2 | 6.821 | 319.7 | 7.2985 | 301.157 | 6.267 | 311.3 | -7.844 | 984.676 | 24.6238 | 35.1438
2020-12-30 15:45:00 | 7.367 | 305.4 | 8.04 | 316.5 | 8.6028 | 298.143 | 7.421 | 306.3 | -7.88 | 984.676 | 24.487 | 32.2782
2020-12-30 16:00:00 | 6.041 | 307.5 | 7 | 319.7 | 7.49 | 301.157 | 6.412 | 306.4 | -7.71 | 984.676 | 23.2558 | 27.2273
2020-12-30 16:15:00 | 6.744 | 304.8 | 7.946 | 317.5 | 8.5022 | 299.085 | 7.762 | 307 | -7.876 | 984.378 | 23.8372 | 23.6803
2020-12-30 16:30:00 | 3.336 | 310.6 | 4.106 | 320.5 | 4.3934 | 301.911 | 3.44 | 318 | -7.922 | 984.378 | 27.0202 | 17.8646
2020-12-30 16:45:00 | 3.132 | 319.8 | 3.681 | 335.7 | 3.9387 | 316.229 | 4.105 | 318.5 | -7.986 | 984.081 | 26.68 | 17.218
2020-12-30 17:00:00 | 2.615 | 318.5 | 2.988 | 335.9 | 3.1972 | 316.418 | 3.674 | 319.3 | -8.31 | 983.485 | 27.296 | 16.8817
2020-12-30 17:15:00 | 2.625 | 312.8 | 3.272 | 329.7 | 3.501 | 310.577 | 4.143 | 310.5 | -8.48 | 983.337 | 26.7532 | 15.5664
2020-12-30 17:30:00 | 3.263 | 324.7 | 3.587 | 335 | 3.8381 | 315.57 | 3.771 | 318.5 | -8.56 | 983.039 | 26.6849 | 19.095
2020-12-30 17:45:00 | 3.427 | 320.4 | 3.694 | 337.6 | 3.9526 | 318.019 | 4.614 | 315.2 | -8.63 | 982.89 | 26.0015 | 21.5151
2020-12-30 18:00:00 | 4.203 | 323.3 | 4.412 | 344.7 | 4.7208 | 324.707 | 4.415 | 322.5 | -8.52 | 982.949 | 24.9785 | 18.5481
2020-12-30 18:15:00 | 4.742 | 331.1 | 4.924 | 347.5 | 5.2687 | 327.345 | 3.876 | 325.4 | -8.41 | 982.955 | 24.0205 | 15.0897
2020-12-30 18:30:00 | 4.239 | 333.6 | 4.402 | 351.5 | 4.7101 | 331.113 | 3.168 | 330.4 | -8.4 | 982.983 | 23.2679 | 11.5501
2020-12-30 18:45:00 | 3.011 | 321.9 | 2.779 | 339.9 | 2.9735 | 320.186 | 2.521 | 314.3 | -8.35 | 982.898 | 22.5847 | 3.1443
2020-12-30 19:00:00 | 1.488 | 320.2 | 2.17 | 331.4 | 2.3219 | 312.179 | 2.274 | 314.1 | -8.36 | 982.857 | 22.3109 | 0.60596
2020-12-30 19:15:00 | 1.841 | 305.1 | 2.38 | 316.6 | 2.5466 | 298.237 | 2.373 | 309.3 | -8.31 | 983.124 | 22.2444 | 0.16257
2020-12-30 19:30:00 | 2.38 | 297.9 | 3.052 | 311 | 3.2656 | 292.962 | 3.17 | 304.2 | -8.16 | 983.199 | 21.9028 | 0.088676
2020-12-30 19:45:00 | 1.222 | 283.2 | 2.433 | 289.3 | 2.6033 | 272.521 | 2.781 | 293.4 | -8.28 | 983.163 | 22.2793 | 0.096066
2020-12-30 20:00:00 | 1.996 | 272.5 | 2.942 | 279.9 | 3.1479 | 263.666 | 3.313 | 280.9 | -8.32 | 983.157 | 22.5873 | 0.32515
2020-12-30 20:15:00 | 0.705 | 264 | 2.191 | 267.8 | 2.3444 | 252.268 | 3.351 | 278.7 | -8.59 | 983.195 | 24.0246 | 0.97544
2020-12-30 20:30:00 | 2.737 | 263.9 | 3.546 | 263.5 | 3.7942 | 248.217 | 3.562 | 271.2 | -8.53 | 983.195 | 23.614 | 0.82395
2020-12-30 20:45:00 | 2.508 | 275.9 | 3.395 | 287.4 | 3.6326 | 270.731 | 3.509 | 279 | -8.17 | 983.195 | 21.3552 | 0.3621
2020-12-30 21:00:00 | 2.551 | 282.7 | 3.264 | 298.1 | 3.4925 | 280.81 | 3.906 | 284.6 | -7.945 | 983.493 | 20.6708 | 0.76853
2020-12-30 21:15:00 | 2.326 | 272.2 | 3.349 | 281.8 | 3.5834 | 265.456 | 3.626 | 275.3 | -8.05 | 983.195 | 21.629 | 1.138
2020-12-30 21:30:00 | 2.768 | 250.4 | 3.303 | 250.4 | 3.5342 | 235.877 | 4.303 | 262.7 | -8.29 | 983.166 | 22.6557 | 2.3684
2020-12-30 21:45:00 | 2.543 | 234.9 | 3.246 | 237.7 | 3.4732 | 223.913 | 3.814 | 249.1 | -8.45 | 983.079 | 23.614 | 5.2541
2020-12-30 22:00:00 | 3.914 | 235.2 | 4.305 | 244.4 | 4.6063 | 230.225 | 3.934 | 244.2 | -8.44 | 983.083 | 23.5455 | 7.1569
2020-12-30 22:15:00 | 3.45 | 231.7 | 4.318 | 235.9 | 4.6203 | 222.218 | 4.533 | 240 | -8.58 | 982.889 | 25.2909 | 12.3149
2020-12-30 22:30:00 | 3.238 | 232.8 | 3.97 | 239.3 | 4.2479 | 225.421 | 4.421 | 240.2 | -8.52 | 982.901 | 25.1198 | 13.0354
2020-12-30 22:45:00 | 3.866 | 237.5 | 4.704 | 247.2 | 5.0333 | 232.862 | 5.101 | 243.3 | -8.22 | 982.766 | 23.066 | 15.3743
2020-12-30 23:00:00 | 4.397 | 246.1 | 5.463 | 257.2 | 5.8454 | 242.282 | 6.7 | 251.1 | -8.16 | 982.762 | 23.1348 | 19.9632
2020-12-30 23:15:00 | 5.564 | 250 | 6.493 | 259.5 | 6.9475 | 244.449 | 6.906 | 255.2 | -8.05 | 982.751 | 23.7478 | 18.8585
2020-12-30 23:30:00 | 5.324 | 246.7 | 6.258 | 257.5 | 6.6961 | 242.565 | 7.077 | 252.5 | -8.04 | 982.514 | 22.8914 | 20.9424
2020-12-30 23:45:00 | 5.467 | 251.3 | 6.394 | 261.8 | 6.8416 | 246.616 | 6.85 | 255.4 | -8.06 | 982.433 | 23.6099 | 22.243