## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-12-31 00:00:00 | 5.015 | 249.4 | 5.913 | 260.1 | 6.3269 | 245.014 | 6.863 | 254.1 | -8.02 | 982.429 | 23.2335 | 19.5014
2020-12-31 00:15:00 | 5.398 | 251.8 | 6.21 | 262.3 | 6.6447 | 247.087 | 6.952 | 255.2 | -7.861 | 982.017 | 21.2831 | 20.4029
2020-12-31 00:30:00 | 3.782 | 260.8 | 4.701 | 272 | 5.0301 | 256.224 | 5.88 | 263.1 | -7.394 | 982.317 | 20.6665 | 17.9015
2020-12-31 00:45:00 | 4.601 | 258.9 | 5.338 | 270.3 | 5.7117 | 254.623 | 6.453 | 264.8 | -7.347 | 981.998 | 21.6241 | 13.3864
2020-12-31 01:00:00 | 4.034 | 259.4 | 4.622 | 268.4 | 4.9455 | 252.833 | 5.23 | 265.6 | -7.39 | 981.998 | 20.5972 | 10.0426
2020-12-31 01:15:00 | 4.706 | 252.5 | 5.688 | 259 | 6.0862 | 243.978 | 5.658 | 261.2 | -7.35 | 981.998 | 21.3495 | 7.0239
2020-12-31 01:30:00 | 4.394 | 213.9 | 4.527 | 212.5 | 4.8439 | 200.175 | 4.477 | 231.7 | -7.904 | 981.403 | 25.1811 | 4.7848
2020-12-31 01:45:00 | 4.144 | 208 | 4.394 | 207.2 | 4.7016 | 195.182 | 4.489 | 226 | -8.47 | 981.403 | 24.6679 | 3.5803
2020-12-31 02:00:00 | 4.034 | 210.6 | 4.586 | 210 | 4.907 | 197.82 | 4.612 | 225.9 | -8.31 | 981.437 | 24.2938 | 3.8685
2020-12-31 02:15:00 | 4.747 | 222.6 | 5.092 | 223.2 | 5.4484 | 210.254 | 5.251 | 234.5 | -8.04 | 981.48 | 22.994 | 4.3895
2020-12-31 02:30:00 | 4.813 | 209.4 | 5.284 | 218.4 | 5.6539 | 205.733 | 5.447 | 216.6 | -7.905 | 981.467 | 22.2412 | 6.1334
2020-12-31 02:45:00 | 4.555 | 211.4 | 5.121 | 218.7 | 5.4795 | 206.015 | 5.569 | 217.3 | -7.83 | 981.303 | 22.4465 | 7.3786
2020-12-31 03:00:00 | 5.066 | 207.5 | 5.458 | 215.2 | 5.8401 | 202.718 | 6.201 | 215.3 | -7.598 | 981.144 | 22.1721 | 9.8911
2020-12-31 03:15:00 | 4.392 | 204.5 | 5.039 | 211.2 | 5.3917 | 198.95 | 5.887 | 214.8 | -7.864 | 980.522 | 25.4564 | 10.1793
2020-12-31 03:30:00 | 3.792 | 195.6 | 4.471 | 206.3 | 4.784 | 194.335 | 5.439 | 206 | -8.03 | 980.51 | 26.8936 | 13.028
2020-12-31 03:45:00 | 4.295 | 201 | 5.064 | 208.8 | 5.4185 | 196.69 | 5.847 | 210.9 | -8.1 | 980.212 | 27.0306 | 12.0969
2020-12-31 04:00:00 | 4.479 | 213.9 | 5.09 | 220.6 | 5.4463 | 207.805 | 6.336 | 222 | -7.797 | 980.275 | 25.3207 | 12.5699
2020-12-31 04:15:00 | 3.96 | 223.7 | 4.801 | 227.5 | 5.1371 | 214.305 | 6.644 | 232.1 | -7.559 | 980.227 | 25.2517 | 11.7681
2020-12-31 04:30:00 | 3.779 | 223 | 4.461 | 222.3 | 4.7733 | 209.407 | 5.837 | 229.5 | -7.721 | 980.214 | 27.372 | 11.0587
2020-12-31 04:45:00 | 4.364 | 218.6 | 4.962 | 226.8 | 5.3093 | 213.646 | 5.686 | 229.4 | -7.826 | 979.618 | 28.6725 | 16.7857
2020-12-31 05:00:00 | 4.864 | 225.1 | 5.79 | 233 | 6.1953 | 219.486 | 6.784 | 234.6 | -7.912 | 979.928 | 29.0833 | 16.9889
2020-12-31 05:15:00 | 4.566 | 223.4 | 4.867 | 225.5 | 5.2077 | 212.421 | 5.671 | 236.6 | -8.16 | 979.652 | 31.308 | 15.8065
2020-12-31 05:30:00 | 4.369 | 228.4 | 4.975 | 228.6 | 5.3232 | 215.341 | 5.964 | 239.3 | -8.32 | 979.65 | 31.3425 | 11.6757
2020-12-31 05:45:00 | 4.027 | 225.8 | 4.64 | 225.3 | 4.9648 | 212.233 | 5.724 | 236.3 | -8.43 | 979.776 | 32.438 | 10.6448
2020-12-31 06:00:00 | 3.715 | 218.9 | 4.162 | 221 | 4.4533 | 208.182 | 4.629 | 231.5 | -8.54 | 979.907 | 33.6014 | 7.8996
2020-12-31 06:15:00 | 3.81 | 220 | 4.233 | 221.6 | 4.5293 | 208.747 | 4.545 | 231.9 | -8.65 | 980.227 | 33.8074 | 7.2825
2020-12-31 06:30:00 | 3.978 | 236.8 | 4.896 | 241.5 | 5.2387 | 227.493 | 5.302 | 243.2 | -8.51 | 980.373 | 33.4675 | 8.4243
2020-12-31 06:45:00 | 4.009 | 233.6 | 4.653 | 237.6 | 4.9787 | 223.819 | 5.177 | 242.4 | -8.51 | 980.562 | 34.1524 | 8.0585
2020-12-31 07:00:00 | 3.628 | 233.5 | 4.095 | 235.4 | 4.3816 | 221.747 | 4.846 | 243.2 | -8.63 | 980.536 | 34.769 | 6.6507
2020-12-31 07:15:00 | 2.011 | 257.9 | 2.779 | 256.1 | 2.9735 | 241.246 | 3.354 | 271.8 | -8.56 | 980.608 | 33.7436 | 5.2319
2020-12-31 07:30:00 | 2.594 | 240.6 | 3.428 | 243.1 | 3.668 | 229 | 2.826 | 255.4 | -8.51 | 980.615 | 32.9569 | 7.3121
2020-12-31 07:45:00 | 2.42 | 256.7 | 3.157 | 263.3 | 3.378 | 248.029 | 2.938 | 266.5 | -8.21 | 980.804 | 31.896 | 3.4621
2020-12-31 08:00:00 | 1.517 | 263.5 | 2.285 | 266.9 | 2.4449 | 251.42 | 3.318 | 277.5 | -7.878 | 980.644 | 30.5223 | 1.6294
2020-12-31 08:15:00 | 0.843 | 305.5 | 2.531 | 306.7 | 2.7082 | 288.911 | 2.913 | 313.6 | -7.545 | 980.659 | 31.0983 | 1.5888
2020-12-31 08:30:00 | 0.673 | 306.7 | 1.773 | 317.4 | 1.8971 | 298.991 | 1.273 | 313.9 | -6.958 | 981.403 | 27.5026 | 0.51728
2020-12-31 08:45:00 | 2.273 | 239.7 | 2.306 | 253.7 | 2.4674 | 238.985 | 2.067 | 261.7 | -7.136 | 981.7 | 29.8908 | -0.040643
2020-12-31 09:00:00 | 1.818 | 291.9 | 2.398 | 304.1 | 2.5659 | 286.462 | 2.676 | 301 | -7.007 | 981.75 | 30.2585 | 0.16257
2020-12-31 09:15:00 | 2.357 | 274.4 | 2.579 | 284.3 | 2.7595 | 267.811 | 2.755 | 281.2 | -7.25 | 981.991 | 31.2479 | -0.33623
2020-12-31 09:30:00 | 0.898 | 270.9 | 1.295 | 264.8 | 1.3857 | 249.442 | 1.618 | 295.3 | -6.513 | 982.14 | 28.9183 | -0.32884
2020-12-31 09:45:00 | 1.735 | 251.7 | 0.903 | 194.2 | 0.96621 | 182.936 | 1.376 | 286.5 | -5.947 | 982.586 | 32.6098 | -0.33623
2020-12-31 10:00:00 | 0.335 | 281.2 | 0.609 | 231.4 | 0.65163 | 217.979 | 1.469 | 300.9 | -4.285 | 982.586 | 28.9098 | -0.31776
2020-12-31 10:15:00 | 1.465 | 256.1 | 0.8 | 122.7 | 0.856 | 115.583 | 1.35 | 296.3 | -4.508 | 982.731 | 33.8282 | -0.29928
2020-12-31 10:30:00 | 1.637 | 312.9 | 2.584 | 321.7 | 2.7649 | 303.041 | 2.572 | 306.5 | -4.229 | 982.73 | 24.3275 | -0.31776
2020-12-31 10:45:00 | 2.316 | 311.1 | 2.767 | 331.8 | 2.9607 | 312.556 | 2.844 | 310 | -4.331 | 982.44 | 23.7064 | -0.31776
2020-12-31 11:00:00 | 2.914 | 286.5 | 3.126 | 298 | 3.3448 | 280.716 | 3.076 | 286.5 | -4.067 | 982.578 | 24.3211 | -0.33623
2020-12-31 11:15:00 | 3.414 | 287.8 | 3.937 | 299.1 | 4.2126 | 281.752 | 3.499 | 293 | -4.368 | 982.578 | 23.4671 | -0.33623
2020-12-31 11:30:00 | 3.261 | 296.3 | 3.489 | 309.2 | 3.7332 | 291.266 | 3.285 | 297.9 | -4.422 | 982.281 | 23.0914 | -0.31776
2020-12-31 11:45:00 | 2.594 | 294.4 | 2.919 | 310.8 | 3.1233 | 292.774 | 3.03 | 296.2 | -3.812 | 981.835 | 24.9018 | -0.20691
2020-12-31 12:00:00 | 3.667 | 296.2 | 4.346 | 309.8 | 4.6502 | 291.832 | 4.372 | 295.8 | -3.746 | 981.687 | 25.9266 | 0.56162
2020-12-31 12:15:00 | 3.746 | 307.1 | 4.129 | 316.3 | 4.418 | 297.955 | 4.092 | 306.8 | -3.689 | 981.39 | 22.374 | 0.6466
2020-12-31 12:30:00 | 3.437 | 306.3 | 3.921 | 317.6 | 4.1955 | 299.179 | 3.382 | 309.6 | -3.702 | 981.298 | 24.1866 | 0.74266
2020-12-31 12:45:00 | 2.605 | 300.9 | 2.927 | 318 | 3.1319 | 299.556 | 2.893 | 307.2 | -3.334 | 981.336 | 24.9759 | -0.19583
2020-12-31 13:00:00 | 2.342 | 292.2 | 2.522 | 314.2 | 2.6985 | 295.976 | 2.179 | 293.6 | -3.083 | 981.034 | 26.1352 | -0.34731
2020-12-31 13:15:00 | 1.836 | 274 | 2.155 | 297 | 2.3058 | 279.774 | 2.039 | 258 | -3.034 | 981.329 | 26.6121 | -0.34731
2020-12-31 13:30:00 | 2.375 | 258.9 | 2.983 | 268.2 | 3.1918 | 252.644 | 2.623 | 263.6 | -3.045 | 981.344 | 27.0242 | 0.066507
2020-12-31 13:45:00 | 3.258 | 267.9 | 3.341 | 275.9 | 3.5749 | 259.898 | 3.07 | 268.1 | -2.487 | 981.392 | 26.9236 | -0.11454
2020-12-31 14:00:00 | 3.087 | 234.4 | 3.102 | 251.1 | 3.3191 | 236.536 | 3.035 | 242.3 | -2.654 | 981.094 | 25.0788 | -0.22169
2020-12-31 14:15:00 | 3.994 | 242.4 | 4.213 | 254.4 | 4.5079 | 239.645 | 3.679 | 244 | -2.798 | 980.797 | 25.9012 | -0.27342
2020-12-31 14:30:00 | 2.898 | 243.7 | 3.032 | 251.9 | 3.2442 | 237.29 | 2.689 | 246.7 | -2.655 | 980.798 | 25.8329 | -0.37687
2020-12-31 14:45:00 | 3.603 | 214 | 3.484 | 223.3 | 3.7279 | 210.349 | 3.282 | 216.6 | -2.619 | 980.649 | 26.3465 | -0.32145
2020-12-31 15:00:00 | 3.388 | 187.2 | 3.423 | 196.8 | 3.6626 | 185.386 | 2.26 | 203 | -1.925 | 980.501 | 24.9463 | -0.29928
2020-12-31 15:15:00 | 5.878 | 201.8 | 5.289 | 201.5 | 5.6592 | 189.813 | 4.484 | 210.4 | -2.265 | 980.501 | 25.6303 | -0.096066
2020-12-31 15:30:00 | 5.406 | 202.4 | 4.77 | 203.6 | 5.1039 | 191.791 | 4.1 | 212.6 | -2.204 | 980.501 | 26.384 | 0.34362
2020-12-31 15:45:00 | 4.969 | 200.8 | 4.706 | 210.5 | 5.0354 | 198.291 | 4.258 | 210.1 | -2.208 | 980.241 | 25.668 | 0.99022
2020-12-31 16:00:00 | 5.38 | 192.2 | 5.028 | 201.7 | 5.38 | 190.001 | 4.487 | 199.4 | -2.511 | 980.119 | 26.5933 | 2.9115
2020-12-31 16:15:00 | 5.365 | 198.4 | 4.921 | 210 | 5.2655 | 197.82 | 4.65 | 203.1 | -2.505 | 979.909 | 26.3886 | 2.6455
2020-12-31 16:30:00 | 5.051 | 190.2 | 4.711 | 201.3 | 5.0408 | 189.625 | 4.212 | 196.2 | -2.536 | 979.463 | 25.2265 | 2.2391
2020-12-31 16:45:00 | 5.786 | 175.8 | 5.412 | 190.8 | 5.7908 | 179.734 | 5.21 | 180.7 | -2.914 | 978.868 | 31.9262 | 3.2478
2020-12-31 17:00:00 | 5.171 | 172 | 4.944 | 187 | 5.2901 | 176.154 | 4.731 | 173.7 | -3.202 | 978.422 | 33.9824 | 3.1813
2020-12-31 17:15:00 | 4.869 | 167.1 | 4.913 | 181.9 | 5.2569 | 171.35 | 4.535 | 173.7 | -3.594 | 978.125 | 35.8974 | 3.6505
2020-12-31 17:30:00 | 6.366 | 167.7 | 5.931 | 180 | 6.3462 | 169.56 | 5.483 | 173.8 | -3.964 | 977.681 | 34.3301 | 13.7448
2020-12-31 17:45:00 | 6.846 | 172.7 | 7.104 | 186.1 | 7.6013 | 175.306 | 6.993 | 179.5 | -4.02 | 977.543 | 33.1036 | 18.2156
2020-12-31 18:00:00 | 7.995 | 174.2 | 7.529 | 192.6 | 8.056 | 181.429 | 6.909 | 174.6 | -4.159 | 977.806 | 35.1573 | 30.9998
2020-12-31 18:15:00 | 7.64 | 173.4 | 7.406 | 183.5 | 7.9244 | 172.857 | 6.947 | 178.3 | -4.448 | 977.683 | 35.6361 | 37.5433
2020-12-31 18:30:00 | 7.714 | 166.2 | 7.882 | 179.5 | 8.4337 | 169.089 | 7.387 | 174.7 | -4.459 | 977.534 | 35.6361 | 38.5372
2020-12-31 18:45:00 | 8.36 | 162.7 | 8.09 | 176.3 | 8.6563 | 166.075 | 7.556 | 172.7 | -4.467 | 977.534 | 34.6791 | 41.87
2020-12-31 19:00:00 | 7.195 | 166 | 7.739 | 177.7 | 8.2807 | 167.393 | 7.637 | 172.1 | -4.914 | 977.236 | 36.9373 | 39.8859
2020-12-31 19:15:00 | 6.848 | 160.1 | 7.391 | 174.3 | 7.9084 | 164.191 | 7.749 | 166.5 | -4.747 | 977.534 | 37.2826 | 39.9376
2020-12-31 19:30:00 | 7.793 | 157 | 8.12 | 169 | 8.6884 | 159.198 | 8.2 | 164.6 | -5.092 | 977.385 | 41.9355 | 40.0263
2020-12-31 19:45:00 | 7.354 | 155.1 | 7.884 | 168.3 | 8.4359 | 158.539 | 8.22 | 164.7 | -5.336 | 977.385 | 42.8254 | 39.8194
2020-12-31 20:00:00 | 8.05 | 154.4 | 8.38 | 167.9 | 8.9666 | 158.162 | 8.35 | 162.3 | -5.419 | 977.385 | 43.7831 | 52.2119
2020-12-31 20:15:00 | 8.53 | 161.7 | 8.7 | 175 | 9.309 | 164.85 | 8.66 | 168.6 | -5.456 | 977.236 | 42.4833 | 53.4607
2020-12-31 20:30:00 | 7.234 | 155.4 | 7.56 | 171.3 | 8.0892 | 161.365 | 8.81 | 163.5 | -5.425 | 977.236 | 43.8515 | 47.9
2020-12-31 20:45:00 | 7.065 | 150.2 | 7.48 | 170.5 | 8.0036 | 160.611 | 8.87 | 157.7 | -5.497 | 977.236 | 43.0306 | 52.4964
2020-12-31 21:00:00 | 8.18 | 154.7 | 8.57 | 170.5 | 9.1699 | 160.611 | 9.63 | 161.4 | -5.635 | 977.236 | 42.6902 | 54.329
2020-12-31 21:15:00 | 7.504 | 149.8 | 8.26 | 164.3 | 8.8382 | 154.771 | 9.76 | 159.3 | -5.573 | 976.939 | 43.6141 | 62.5426
2020-12-31 21:30:00 | 7.783 | 151.4 | 8.44 | 167.9 | 9.0308 | 158.162 | 9.43 | 159.3 | -5.568 | 976.641 | 43.5831 | 60.6509
2020-12-31 21:45:00 | 7.556 | 153.4 | 8.01 | 170.8 | 8.5707 | 160.894 | 9.22 | 159.8 | -5.397 | 976.79 | 42.8292 | 64.5305
2020-12-31 22:00:00 | 8.29 | 161.1 | 8.43 | 177.2 | 9.0201 | 166.922 | 9.22 | 166 | -5.299 | 976.641 | 40.8429 | 65.6907
2020-12-31 22:15:00 | 8.66 | 164.7 | 8.36 | 179.4 | 8.9452 | 168.995 | 8.65 | 169.4 | -5.23 | 977.088 | 41.0473 | 61.6522
2020-12-31 22:30:00 | 8.35 | 161.1 | 8.72 | 174.3 | 9.3304 | 164.191 | 8.77 | 169.5 | -5.264 | 977.236 | 41.3888 | 58.1458
2020-12-31 22:45:00 | 8.62 | 159 | 9.04 | 172.4 | 9.6728 | 162.401 | 9.61 | 167.3 | -5.476 | 977.088 | 42.4833 | 57.9832
2020-12-31 23:00:00 | 8.88 | 163.9 | 8.99 | 180.2 | 9.6193 | 169.748 | 8.93 | 171.2 | -5.197 | 976.939 | 42.6886 | 58.7
2020-12-31 23:15:00 | 9.77 | 160.6 | 9.78 | 173.6 | 10.4646 | 163.531 | 9.69 | 168.2 | -5.084 | 976.79 | 43.5779 | 63.1782
2020-12-31 23:30:00 | 8.93 | 162.1 | 8.92 | 173.8 | 9.5444 | 163.72 | 9.22 | 169.5 | -5.184 | 976.641 | 44.0568 | 59.0399
2020-12-31 23:45:00 | 8.67 | 159.8 | 9.48 | 174.5 | 10.1436 | 164.379 | 10.11 | 167 | -5.178 | 976.641 | 44.6725 | 61.6817