## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-01 00:00:00 | 4.41 | 19.81 | 5.07 | 21.76 | 7.52 | 179.1 | 0 | 209.2 | -2.25 | 898 | 100 | 15.806
2019-01-01 00:15:00 | 4.4 | 19.79 | 5.0633 | 21.75 | 7.2933 | 179.1 | 0 | 209.2 | -2.24 | 898 | 100 | 16.6993
2019-01-01 00:30:00 | 4.8333 | 19.79 | 5.5633 | 21.75 | 7.5667 | 179.1 | 0 | 209.2 | -2.24 | 898 | 100 | 15.8407
2019-01-01 00:45:00 | 4.78 | 19.79 | 5.5 | 21.75 | 7.6 | 179.1 | 0 | 209.2 | -2.29 | 898 | 100 | 14.8873
2019-01-01 01:00:00 | 4.34 | 19.79 | 5 | 21.75 | 7.12 | 179.1 | 0 | 209.2 | -2.3433 | 898 | 100 | 14.8653
2019-01-01 01:15:00 | 4.2 | 19.8033 | 4.8367 | 21.7567 | 5.9333 | 179.1 | 0 | 209.2 | -2.41 | 898 | 100 | 14.2593
2019-01-01 01:30:00 | 3.94 | 19.81 | 4.53 | 21.76 | 5.1867 | 179.1 | 0 | 209.2 | -2.4633 | 898 | 99.8 | 12.1507
2019-01-01 01:45:00 | 3.5 | 19.81 | 4.0367 | 21.76 | 5.784 | 179.1 | 0 | 209.2 | -2.688 | 898 | 99.5 | 12.2147
2019-01-01 02:00:00 | 3.364 | 19.81 | 3.882 | 21.76 | 5.89 | 179.1 | 0 | 209.2 | -2.822 | 898 | 99.68 | 13.5287
2019-01-01 02:15:00 | 3.7533 | 19.81 | 4.3167 | 21.76 | 6.2767 | 179.1 | 0 | 209.2 | -2.9733 | 898 | 99.7333 | 14.7727
2019-01-01 02:30:00 | 4.06 | 19.81 | 4.67 | 21.76 | 6.4567 | 179.1 | 0 | 209.2 | -3.0467 | 898 | 99.5667 | 16.0467
2019-01-01 02:45:00 | 4.5767 | 19.81 | 5.2767 | 21.76 | 7.2933 | 179.1 | 1.27 | 209.2 | -3.2 | 898 | 99.3667 | 16.93
2019-01-01 03:00:00 | 4.41 | 19.81 | 5.0833 | 21.76 | 7.7133 | 179.1 | 6.19 | 209.2 | -3.3333 | 897 | 99.2333 | 16.156
2019-01-01 03:15:00 | 4.15 | 19.81 | 4.7733 | 21.76 | 7.0933 | 179.1 | 6.97 | 209.2 | -3.4033 | 897 | 99.4333 | 16.4653
2019-01-01 03:30:00 | 4.29 | 19.81 | 4.9333 | 21.76 | 6.8867 | 179.1 | 6.7433 | 209.2 | -3.4633 | 897 | 99.3 | 16.5133
2019-01-01 03:45:00 | 4.1527 | 19.81 | 4.7753 | 21.76 | 6.778 | 179.1 | 6.652 | 209.2 | -3.5053 | 897 | 98.8333 | 15.844
2019-01-01 04:00:00 | 4.5067 | 19.81 | 5.1933 | 21.76 | 6.7733 | 179.0667 | 6.6467 | 209.1333 | -3.4867 | 897 | 98.4667 | 17.3093
2019-01-01 04:15:00 | 5.0467 | 19.81 | 5.8033 | 21.76 | 8.1933 | 179.0667 | 7.84 | 209.2 | -3.5 | 897 | 98.3 | 16.91
2019-01-01 04:30:00 | 4.82 | 19.81 | 5.55 | 21.76 | 8.0067 | 179.1 | 8 | 209.2 | -3.5467 | 897 | 98.2333 | 16.65
2019-01-01 04:45:00 | 4.26 | 19.81 | 4.9 | 21.76 | 6.9633 | 179.0333 | 6.86 | 209.2 | -3.61 | 897 | 98.8667 | 16.6807
2019-01-01 05:00:00 | 4.78 | 19.81 | 5.5067 | 21.76 | 7.15 | 179 | 7.0667 | 209.2 | -3.5167 | 896 | 99 | 16.83
2019-01-01 05:15:00 | 4.66 | 19.81 | 5.3667 | 21.76 | 7.4567 | 179 | 7.41 | 209.2 | -3.49 | 896 | 98.8667 | 16.4553
2019-01-01 05:30:00 | 4.7333 | 19.81 | 5.4467 | 21.76 | 8.21 | 179.1 | 7.9833 | 209.2 | -3.5167 | 896 | 98.7 | 17.944
2019-01-01 05:45:00 | 4.76 | 19.81 | 5.48 | 21.76 | 8.14 | 179.1 | 8.43 | 209.2 | -3.59 | 896 | 98.4333 | 18.8407
2019-01-01 06:00:00 | 4.9067 | 19.81 | 5.64 | 21.76 | 7.9533 | 179.0667 | 8.13 | 209.2 | -3.53 | 896 | 98.0333 | 18.318
2019-01-01 06:15:00 | 4.7133 | 19.81 | 5.4267 | 21.76 | 8.1267 | 179 | 8.3667 | 209.2 | -3.5967 | 896 | 98.0333 | 18.1407
2019-01-01 06:30:00 | 4.74 | 19.81 | 5.46 | 21.76 | 7.7867 | 179 | 7.7867 | 209.2 | -3.5967 | 896 | 98.3333 | 17.8173
2019-01-01 06:45:00 | 4.7867 | 19.81 | 5.5067 | 21.76 | 8.0733 | 179 | 8.1933 | 209.2 | -3.66 | 896 | 98.4667 | 17.968
2019-01-01 07:00:00 | 4.8833 | 19.81 | 5.62 | 21.76 | 7.9267 | 179 | 8.1667 | 209.2 | -3.66 | 896 | 98.2667 | 18.3333
2019-01-01 07:15:00 | 4.6933 | 19.81 | 5.4067 | 21.76 | 7.8 | 179.0667 | 7.6933 | 209.1333 | -3.6933 | 896 | 98.0667 | 17.8267
2019-01-01 07:30:00 | 4.3467 | 19.81 | 5.0067 | 21.76 | 7.2467 | 179 | 7.4133 | 209.2 | -3.7267 | 896 | 97.8667 | 17.036
2019-01-01 07:45:00 | 4.4467 | 19.81 | 5.12 | 21.76 | 6.1333 | 179 | 6.2 | 209.2 | -3.5967 | 896 | 97.0333 | 16.728
2019-01-01 08:00:00 | 4.44 | 19.81 | 5.12 | 21.76 | 6.8133 | 179.1 | 6.7133 | 209.2 | -3.6233 | 897 | 96.7 | 16.7427
2019-01-01 08:15:00 | 4.25 | 19.81 | 4.9 | 21.76 | 7.2767 | 179.0333 | 7.2333 | 209.2 | -3.66 | 897 | 96.5667 | 16.3667
2019-01-01 08:30:00 | 4.1433 | 19.81 | 4.7667 | 21.76 | 7.4233 | 179.1 | 7.3333 | 209.2 | -3.82 | 897 | 97.3667 | 16.0767
2019-01-01 08:45:00 | 4.24 | 19.81 | 4.8867 | 21.76 | 7.21 | 179.1 | 6.9967 | 209.1333 | -3.6933 | 897 | 97.2 | 15.8513
2019-01-01 09:00:00 | 4.12 | 19.81 | 4.7467 | 21.76 | 6.7367 | 179.1 | 6.73 | 209.1667 | -3.4467 | 897 | 96.7333 | 17.62
2019-01-01 09:15:00 | 3.8 | 19.83 | 4.3733 | 21.7867 | 7.35 | 179.0333 | 7.4967 | 209.1 | -2.32 | 897 | 96.3667 | 17.718
2019-01-01 09:30:00 | 3.5467 | 19.81 | 4.08 | 21.76 | 6.7567 | 179.1 | 6.81 | 209.1 | -1.4133 | 898 | 93.7 | 12.1967
2019-01-01 09:45:00 | 3.2733 | 19.81 | 3.7667 | 21.76 | 6.3933 | 179.1 | 6.3933 | 209.1667 | -0.91 | 898.6667 | 91.8333 | 8.7853
2019-01-01 10:00:00 | 3.4733 | 19.77 | 3.9933 | 21.7267 | 6.4533 | 179.0333 | 6.34 | 209.1 | -0.67667 | 899 | 89.4333 | 8.2513
2019-01-01 10:15:00 | 3.6333 | 19.7833 | 4.18 | 21.74 | 6.3033 | 179.0333 | 6.25 | 209.1 | -1.1133 | 899.6667 | 87.3667 | 7.8927
2019-01-01 10:30:00 | 4.0667 | 19.79 | 4.68 | 21.75 | 6.5167 | 179 | 6.2367 | 209.1 | -1.0267 | 900 | 86.9667 | 8.5793
2019-01-01 10:45:00 | 4.1333 | 19.8133 | 4.7533 | 21.7667 | 6.7867 | 179 | 6.4733 | 209.1 | -0.50333 | 900 | 86.9 | 8.738
2019-01-01 11:00:00 | 4.0133 | 19.76 | 4.6133 | 21.7 | 6.64 | 179 | 6.2867 | 209.1667 | -0.15667 | 900 | 85.9 | 7.8187
2019-01-01 11:15:00 | 3.8667 | 174.85 | 4.4567 | 192.13 | 6.4967 | 179 | 6.3667 | 209.1667 | -0.11333 | 900 | 86.0333 | 6.6367
2019-01-01 11:30:00 | 3.7733 | 194.01 | 4.3367 | 213.1967 | 6.1233 | 70.1733 | 5.94 | 209.1667 | 0.066667 | 899.6667 | 85.7333 | 5.4333
2019-01-01 11:45:00 | 3.6733 | 33.15 | 4.23 | 36.4267 | 5.98 | 27.34 | 5.75 | 209.1 | -0.33333 | 899 | 84.9 | 5.0033
2019-01-01 12:00:00 | 3.44 | 37.09 | 3.9633 | 40.7533 | 5.6 | 23.2867 | 5.37 | 209.1333 | -0.18667 | 899 | 84.6667 | 3.7847
2019-01-01 12:15:00 | 3.3467 | 50.1867 | 3.8567 | 55.1467 | 5.1767 | 25.9733 | 5.02 | 209.2 | 0.27333 | 899 | 83.2667 | 3.586
2019-01-01 12:30:00 | 3.2667 | 32.8 | 3.77 | 36.0467 | 5.0167 | 21.74 | 4.8433 | 209.2 | 0.033333 | 898.6667 | 82.7333 | 3.2287
2019-01-01 12:45:00 | 3.23 | 5.0467 | 3.7167 | 5.5367 | 5.1567 | 20.98 | 5.0867 | 209.1333 | -0.013333 | 898 | 82.8 | 3.152
2019-01-01 13:00:00 | 3.1233 | 0.82667 | 3.59 | 0.89667 | 5.05 | 18.76 | 4.9867 | 209.2 | 0.15333 | 898 | 82.3667 | 4.0293
2019-01-01 13:15:00 | 3.5733 | 224.4133 | 4.1133 | 246.6067 | 5.5133 | 17.3733 | 5.1933 | 29.7433 | 0.90667 | 898 | 79.7133 | 4.626
2019-01-01 13:30:00 | 3.7 | 122.1933 | 4.2533 | 134.2733 | 5.7333 | 17.4867 | 5.46 | 29.45 | 0.96667 | 897 | 79.2133 | 4.1247
2019-01-01 13:45:00 | 3.6067 | 29.5133 | 4.1533 | 32.4233 | 5.5633 | 12.5333 | 5.29 | 27.1433 | 1.2433 | 897 | 78.7167 | 2.716
2019-01-01 14:00:00 | 3.1867 | 23.82 | 3.6667 | 26.17 | 5.0567 | 23.8933 | 4.9833 | 36.43 | 1.47 | 897 | 77.9667 | 1.55
2019-01-01 14:15:00 | 2.96 | 302.7567 | 3.4133 | 332.7 | 4.75 | 22.57 | 4.5333 | 50.86 | 1.91 | 897 | 76.78 | 1.404
2019-01-01 14:30:00 | 3.0267 | 295.91 | 3.48 | 325.1667 | 4.8433 | 29.0833 | 4.4067 | 48.0533 | 2.3433 | 896 | 74.16 | 1.1747
2019-01-01 14:45:00 | 2.9067 | 32.7433 | 3.34 | 35.9433 | 4.5133 | 12.8867 | 4.3133 | 25.4267 | 2.31 | 896 | 73.89 | 1.4553
2019-01-01 15:00:00 | 3.08 | 12.5433 | 3.54 | 13.7767 | 4.68 | 19.1933 | 4.2667 | 22.96 | 2.25 | 896 | 73.5233 | 1.7827
2019-01-01 15:15:00 | 3.2067 | 216.7367 | 3.6933 | 238.17 | 4.8267 | 16.6133 | 4.3767 | 23.96 | 2.5033 | 896 | 72.83 | 2.672
2019-01-01 15:30:00 | 3.18 | 17.5633 | 3.66 | 19.29 | 4.88 | 17.2933 | 4.5567 | 16.24 | 2.49 | 896 | 72.98 | 2.8787
2019-01-01 15:45:00 | 2.9067 | 316.7433 | 3.3433 | 348.0667 | 5.0867 | 12.92 | 4.7367 | 24.7833 | 2.5367 | 896 | 74.1 | 2.804
2019-01-01 16:00:00 | 2.8933 | 119.85 | 3.33 | 131.7 | 5.3733 | 12.4 | 4.91 | 22.4967 | 2.6767 | 896.3333 | 73.8933 | 3.0333
2019-01-01 16:15:00 | 2.7733 | 95.43 | 3.1867 | 104.8667 | 5.2333 | 14.8667 | 4.8933 | 17.9 | 2.22 | 897 | 74.4867 | 3.764
2019-01-01 16:30:00 | 2.78 | 281.4033 | 3.1933 | 309.2333 | 5.3 | 16.1267 | 5.0867 | 29.02 | 1.5933 | 897 | 77.5933 | 4.2927
2019-01-01 16:45:00 | 2.9733 | 107.3333 | 3.43 | 117.94 | 5.7833 | 16.1267 | 5.48 | 23.5867 | 0.64667 | 896.3333 | 80.9067 | 5.202
2019-01-01 17:00:00 | 3.038 | 97.2293 | 3.4913 | 106.8313 | 5.9367 | 17.434 | 5.7053 | 24.5433 | 0.012667 | 896 | 84.96 | 5.8653
2019-01-01 17:15:00 | 3.28 | 103.7267 | 3.7767 | 113.98 | 6.22 | 16.5633 | 5.8733 | 17.6733 | -0.43667 | 896 | 84.1667 | 6.2033
2019-01-01 17:30:00 | 3.14 | 144.0533 | 3.61 | 158.2933 | 6.0733 | 16.9233 | 6 | 23.84 | -0.64333 | 896 | 85.2333 | 7.8593
2019-01-01 17:45:00 | 3.2467 | 60.27 | 3.7333 | 66.2267 | 6.2067 | 7.58 | 6.0833 | 26.8467 | -0.93333 | 896 | 88.6 | 8.758
2019-01-01 18:00:00 | 3.0867 | 53.7633 | 3.56 | 59.08 | 5.82 | 13.4533 | 5.6233 | 17.3133 | -1.1 | 896 | 88.3667 | 8.608
2019-01-01 18:15:00 | 2.9033 | 7.7233 | 3.3467 | 8.48 | 5.35 | 15.4367 | 5.2633 | 25.5633 | -1.2533 | 896 | 87.9333 | 7.7613
2019-01-01 18:30:00 | 2.99 | 7.4033 | 3.44 | 8.1267 | 5.2433 | 9.55 | 5.1567 | 16.1567 | -1.3933 | 896 | 88.0667 | 9.8247
2019-01-01 18:45:00 | 3.0133 | 8.9867 | 3.4733 | 9.8667 | 5.72 | 15.2567 | 5.6867 | 20.0433 | -1.6733 | 896 | 89.6 | 10.8087
2019-01-01 19:00:00 | 3.1733 | 193.76 | 3.6467 | 212.9267 | 5.38 | 40.0567 | 5.2333 | 20.2433 | -1.7467 | 896 | 89.4 | 10.104
2019-01-01 19:15:00 | 3.1433 | 22.9633 | 3.6167 | 25.23 | 5.4333 | 10.8033 | 5.31 | 18 | -1.77 | 896.6667 | 89.2 | 11.476
2019-01-01 19:30:00 | 3.6167 | 27.3033 | 4.1567 | 30.0033 | 5.3 | 4.9967 | 5.2167 | 21.0667 | -1.69 | 897 | 88.0667 | 10.724
2019-01-01 19:45:00 | 3.3267 | 40.6767 | 3.8267 | 44.6933 | 5.59 | 120.1333 | 5.4867 | 20.7467 | -1.6933 | 897 | 88.1 | 10.658
2019-01-01 20:00:00 | 3.3 | 70.5033 | 3.8 | 77.4733 | 5.3433 | 125.0933 | 5.2667 | 12.94 | -1.76 | 897 | 88.7 | 10.1133
2019-01-01 20:15:00 | 3.22 | 98.48 | 3.7033 | 108.2133 | 5.5467 | 354.3 | 5.24 | 16.09 | -1.78 | 897 | 88.8667 | 10.4373
2019-01-01 20:30:00 | 3.0533 | 105.1667 | 3.5167 | 115.5667 | 5.6 | 341.2333 | 5.14 | 229.8433 | -1.8233 | 897 | 89.4333 | 9.8627
2019-01-01 20:45:00 | 3.0233 | 25.72 | 3.4767 | 28.2533 | 5.3533 | 233.8467 | 5.2133 | 13.7733 | -1.84 | 897 | 89.6333 | 9.9407
2019-01-01 21:00:00 | 3.3633 | 6.36 | 3.87 | 6.9867 | 5.34 | 231.8467 | 5.26 | 8.52 | -1.8467 | 897 | 89.2667 | 8.7447
2019-01-01 21:15:00 | 2.9733 | 124.8433 | 3.4267 | 137.1867 | 5.1067 | 9.5233 | 5.0933 | 14.63 | -1.88 | 897 | 89.5667 | 7.6607
2019-01-01 21:30:00 | 3.0067 | 320.93 | 3.46 | 352.6667 | 5.1667 | 11.8567 | 5.2933 | 26.5567 | -1.92 | 897 | 89.5667 | 6.52
2019-01-01 21:45:00 | 3.1733 | 297.1467 | 3.65 | 326.5333 | 4.8733 | 223.55 | 4.7733 | 7.5233 | -1.9233 | 897 | 89.3667 | 5.2513
2019-01-01 22:00:00 | 3.36 | 109.4467 | 3.8633 | 120.2667 | 4.7067 | 8.1433 | 4.7933 | 23.5033 | -1.8833 | 897 | 89.0333 | 4.838
2019-01-01 22:15:00 | 3.1267 | 193.09 | 3.5933 | 212.18 | 4.8567 | 234.82 | 4.7733 | 9.4767 | -1.8967 | 897 | 89.4 | 4.654
2019-01-01 22:30:00 | 3.0533 | 19.8767 | 3.5133 | 21.8333 | 4.3967 | 11.0333 | 4.4333 | 13.3033 | -1.9233 | 897 | 89.5333 | 4.5707
2019-01-01 22:45:00 | 3.0333 | 214.9267 | 3.49 | 236.17 | 4.4667 | 8.63 | 4.5133 | 13.1167 | -1.94 | 897 | 89.5333 | 3.8493
2019-01-01 23:00:00 | 3 | 10.0133 | 3.45 | 10.9967 | 4.3067 | 0.15 | 4.3133 | 12.45 | -1.9733 | 897 | 89.5667 | 3.32
2019-01-01 23:15:00 | 3.0067 | 12.3833 | 3.4667 | 13.6067 | 4.46 | 243.5867 | 4.3733 | 7.98 | -2.0333 | 897 | 89.7333 | 2.684
2019-01-01 23:30:00 | 3.0067 | 229.8933 | 3.4667 | 252.628 | 4.312 | 265.7693 | 4.2587 | 6.852 | -2.0547 | 897 | 89.62 | 1.5493
2019-01-01 23:45:00 | 2.8967 | 312.2 | 3.3267 | 343.0667 | 3.98 | 2.8067 | 3.72 | 10.2033 | -2.0933 | 897 | 90.1 | 0.94933