## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-03 00:00:00 | 2.1067 | 179.4567 | 2.42 | 197.2 | 3.0933 | 221.3667 | 2.87 | 213.3667 | -0.55667 | 893 | 98.7667 | 0
2019-01-03 00:15:00 | 2.4167 | 161.7133 | 2.7767 | 177.7 | 3.51 | 222.8333 | 3.36 | 221.4667 | -0.56667 | 893 | 98.7 | 0
2019-01-03 00:30:00 | 2.3833 | 194.5933 | 2.7367 | 213.8333 | 3.45 | 223.3 | 3.22 | 217.8 | -0.52 | 894 | 98.6 | 0.10286
2019-01-03 00:45:00 | 2.2487 | 200.9293 | 2.584 | 220.7933 | 3.248 | 228.0533 | 3.0347 | 223.2333 | -0.526 | 894 | 98.5 | 0
2019-01-03 01:00:00 | 1.9967 | 186.7733 | 2.3067 | 205.2333 | 3.0467 | 219.5333 | 3.02 | 232.4333 | -0.53 | 894 | 98.6 | 0
2019-01-03 01:15:00 | 2.2467 | 179.0867 | 2.5833 | 196.8 | 3.3233 | 229.1333 | 3.1133 | 219.6667 | -0.56 | 894 | 98.8 | 0
2019-01-03 01:30:00 | 2.2 | 160.4 | 2.5367 | 176.2667 | 3.1733 | 233.2 | 2.9267 | 221.2667 | -0.59333 | 894 | 99 | 0
2019-01-03 01:45:00 | 2.0633 | 208.48 | 2.3733 | 229.1 | 2.8367 | 218.0333 | 2.9533 | 222.0667 | -0.61 | 894 | 99.3 | 0
2019-01-03 02:00:00 | 1.1633 | 203.02 | 1.3467 | 223.1 | 1.7767 | 234.5667 | 2.2333 | 231.2667 | -0.62333 | 893.6667 | 99.2333 | 0
2019-01-03 02:15:00 | 0.85 | 167.1667 | 0.98 | 183.7 | 1.5233 | 226.4 | 2.04 | 222.3333 | -0.68 | 893 | 99.6 | 0
2019-01-03 02:30:00 | 0.90333 | 178.9467 | 1.04 | 196.6333 | 1.55 | 233 | 1.8 | 184.0667 | -0.68 | 893 | 99.9333 | 0
2019-01-03 02:45:00 | 0.54 | 155.7067 | 0.62667 | 171.1 | 0.99333 | 214.3667 | 1.91 | 201 | -0.69667 | 893 | 99.9333 | 0
2019-01-03 03:00:00 | 0.86667 | 184.2867 | 0.99333 | 202.5 | 1.4733 | 218.9667 | 1.97 | 194.9333 | -0.74333 | 893 | 100 | 0
2019-01-03 03:15:00 | 1.2467 | 175.36 | 1.4433 | 192.7 | 1.9133 | 210.0333 | 2.1067 | 208.6333 | -0.69333 | 893 | 100 | 0
2019-01-03 03:30:00 | 1.3867 | 178.3333 | 1.5967 | 195.9667 | 1.98 | 215.5 | 2.1533 | 213.1667 | -0.64667 | 893 | 100 | 0
2019-01-03 03:45:00 | 1.4333 | 170.8133 | 1.65 | 187.7 | 2 | 216.1667 | 2.4533 | 187.2333 | -0.64 | 893 | 100 | 0
2019-01-03 04:00:00 | 0.98 | 173.7267 | 1.1367 | 190.9 | 1.4867 | 192.9667 | 2.3333 | 207.3667 | -0.64 | 893 | 100 | 0
2019-01-03 04:15:00 | 0.83333 | 164.8033 | 0.96667 | 181.1 | 1.0467 | 192.8 | 1.9633 | 207.7 | -0.65 | 892.3333 | 100 | 0
2019-01-03 04:30:00 | 0.18 | 181.4233 | 0.21333 | 199.3667 | 0.24667 | 210.7333 | 0.94333 | 223.5667 | -0.66333 | 892 | 100 | 0
2019-01-03 04:45:00 | 0.1 | 169.7733 | 0.11667 | 186.5667 | 0.1 | 198.8 | 0.79 | 201.6333 | -0.67667 | 892 | 100 | 0
2019-01-03 05:00:00 | 0.046667 | 144.5733 | 0.056667 | 158.8667 | 0.08 | 194.6 | 0.87 | 175.7 | -0.71 | 892 | 100 | 0
2019-01-03 05:15:00 | 0 | 144.52 | 0 | 158.8 | 0 | 192.5 | 0 | 175.7 | -0.71667 | 892 | 100 | 0
2019-01-03 05:30:00 | 0 | 144.52 | 0 | 158.8 | 0 | 192.5 | 0.58 | 175.7 | -0.75 | 892 | 100 | 0
2019-01-03 05:45:00 | 0 | 144.52 | 0 | 158.8 | 0 | 192.5 | 0.8 | 152.5 | -0.78 | 891.5 | 100 | 0
2019-01-03 06:00:00 | 0.086667 | 215.5533 | 0.1 | 236.8667 | 0 | 192.5 | 0.12 | 152.5 | -0.77667 | 891 | 100 | 0
2019-01-03 06:15:00 | 0.066667 | 272.54 | 0.08 | 299.5 | 0 | 192.5 | 0 | 152.5 | -0.75333 | 891 | 100 | 0
2019-01-03 06:30:00 | 0.013333 | 272.48 | 0.013333 | 299.4333 | 0 | 192.5 | 0 | 152.5 | -0.76 | 891 | 100 | 0
2019-01-03 06:45:00 | 0.236 | 272.54 | 0.27533 | 299.5 | 0.22333 | 265.9467 | 0.056667 | 152.5 | -0.72933 | 891 | 100 | 0
2019-01-03 07:00:00 | 0.824 | 290.86 | 0.954 | 319.62 | 0.796 | 311.38 | 0.314 | 273.46 | -0.74 | 891 | 100 | 0
2019-01-03 07:15:00 | 1.0867 | 314.86 | 1.2633 | 346 | 1 | 326.6333 | 0.70333 | 350.0667 | -0.75333 | 891 | 100 | 0
2019-01-03 07:30:00 | 1.14 | 304.8467 | 1.3233 | 335 | 0.92 | 342.2333 | 0.36333 | 351.7667 | -0.78667 | 891 | 100 | 0
2019-01-03 07:45:00 | 0.71333 | 310.96 | 0.83 | 341.7 | 0.45667 | 349.1 | 0.22667 | 355 | -0.78333 | 891 | 100 | 0
2019-01-03 08:00:00 | 1.1933 | 320.0833 | 1.37 | 351.7333 | 1.35 | 119.8067 | 0.86667 | 118.9533 | -0.79667 | 891 | 100 | 0
2019-01-03 08:15:00 | 1.8067 | 319.2613 | 2.08 | 350.8333 | 2.168 | 2.388 | 1.6813 | 4.93 | -0.834 | 891 | 100 | 0
2019-01-03 08:30:00 | 1.4667 | 322.36 | 1.7 | 354.2333 | 2.0933 | 1.46 | 1.8533 | 16.2833 | -0.86333 | 891 | 100 | 0
2019-01-03 08:45:00 | 1.3873 | 310.6353 | 1.6053 | 341.36 | 2.174 | 7.802 | 1.4693 | 192.1347 | -0.84933 | 891 | 100 | 0
2019-01-03 09:00:00 | 1.1433 | 314.25 | 1.3267 | 345.3333 | 1.51 | 3.0833 | 0.62 | 0.61333 | -0.82 | 891 | 100 | 0
2019-01-03 09:15:00 | 0.74667 | 324.78 | 0.87 | 356.9 | 0.46333 | 105.6333 | 0.04 | 222.3 | -0.83 | 891.6667 | 100 | 0
2019-01-03 09:30:00 | 0.45333 | 314.6533 | 0.52333 | 345.7667 | 0.003333 | 292.8333 | 0.013333 | 198.9 | -0.78333 | 892 | 100 | 0
2019-01-03 09:45:00 | 0.37333 | 316.14 | 0.43667 | 347.4 | 0.026667 | 24.43 | 0.046667 | 179.1333 | -0.74 | 892 | 100 | 0
2019-01-03 10:00:00 | 0.26 | 316.65 | 0.30333 | 347.9667 | 0.006667 | 228.0167 | 0.15333 | 163.0333 | -0.69333 | 892 | 100 | 0
2019-01-03 10:15:00 | 0.19333 | 316.59 | 0.22667 | 347.9 | 0 | 171.6933 | 0 | 174.2333 | -0.65333 | 892 | 100 | 0
2019-01-03 10:30:00 | 0.033333 | 316.8367 | 0.04 | 348.1667 | 0 | 7.88 | 0 | 158.3333 | -0.58667 | 892 | 100 | 0
2019-01-03 10:45:00 | 0.06 | 316.95 | 0.076667 | 348.3 | 0.1 | 218.2 | 0.37667 | 194.3667 | -0.37667 | 892 | 100 | 0
2019-01-03 11:00:00 | 0.18667 | 220.7767 | 0.21667 | 242.6 | 0.3 | 211.5 | 0.51 | 204.7 | -0.29 | 892 | 100 | 0
2019-01-03 11:15:00 | 0.03 | 164.62 | 0.04 | 180.9 | 0.033333 | 208.2667 | 0.033333 | 220.2667 | -0.22667 | 892 | 100 | 0
2019-01-03 11:30:00 | 0.15 | 164.5967 | 0.18 | 180.8667 | 0.23333 | 217.8 | 0.14 | 209.6667 | -0.16667 | 892 | 100 | 0
2019-01-03 11:45:00 | 0.096667 | 169.5633 | 0.11667 | 186.3333 | 0.14667 | 228.9 | 0.15667 | 201.9667 | -0.086667 | 892 | 99.6667 | 0
2019-01-03 12:00:00 | 0.003333 | 179.27 | 0.01 | 197 | 0.006667 | 216.2333 | 0.05 | 207.8667 | 0.06 | 892 | 99 | 0
2019-01-03 12:15:00 | 0.007333 | 179.27 | 0.01 | 197 | 0.007333 | 215.0067 | 0.049333 | 219.8 | 0.11267 | 892 | 97.4133 | 0
2019-01-03 12:30:00 | 0.04 | 141.8433 | 0.05 | 155.8667 | 0 | 224.3667 | 0.006667 | 219.6667 | 0.24333 | 892 | 96.5667 | 0
2019-01-03 12:45:00 | 0.023333 | 136.4433 | 0.023333 | 149.9333 | 0.016667 | 186.2667 | 0.076667 | 169.4333 | 0.26667 | 892 | 96.0333 | 0
2019-01-03 13:00:00 | 0.015 | 163.07 | 0.02 | 179.2 | 0.01 | 123.665 | 0.02 | 152.9 | 0.41 | 891 | 96.7 | 0
2019-01-03 13:15:00 | 0.12667 | 6.9667 | 0.14333 | 7.6533 | 0.083333 | 129.7667 | 0.056667 | 18.0033 | 0.37667 | 891 | 97.9667 | 0
2019-01-03 13:30:00 | 0.43333 | 218.82 | 0.50333 | 240.46 | 0.29667 | 351.1667 | 0.083333 | 19.6033 | 0.16333 | 891 | 98.9667 | 0
2019-01-03 13:45:00 | 0.44333 | 204.5767 | 0.52333 | 224.81 | 0.22 | 11.84 | 0.05 | 235.6733 | -0.003333 | 891 | 99.8667 | 0
2019-01-03 14:00:00 | 0.74333 | 23.4167 | 0.86333 | 25.73 | 0.7 | 12.8733 | 0.083333 | 9.7 | -0.043333 | 890.6667 | 100 | 0
2019-01-03 14:15:00 | 0.44 | 315.77 | 0.51 | 347 | 0.21 | 16.54 | 0 | 0.39 | -0.12 | 890 | 100 | 0
2019-01-03 14:30:00 | 0.61333 | 110.0033 | 0.71333 | 120.8733 | 0.31 | 11.53 | 0 | 5.7733 | -0.17667 | 890 | 100 | 0
2019-01-03 14:45:00 | 1.0333 | 8.1767 | 1.19 | 8.9767 | 1.19 | 14.4567 | 0 | 7.5567 | -0.10667 | 890 | 100 | 0
2019-01-03 15:00:00 | 1.5533 | 21.8167 | 1.7967 | 23.9767 | 1.8767 | 15.9833 | 0 | 241.6433 | 0.033333 | 890 | 100 | 0
2019-01-03 15:15:00 | 2.12 | 116.7033 | 2.4367 | 128.2467 | 2.8233 | 19.1067 | 0 | 2.42 | 0.10667 | 890 | 99.7 | 0
2019-01-03 15:30:00 | 2.012 | 187.04 | 2.322 | 205.534 | 2.7733 | 18.728 | 0 | 8.7453 | 0.244 | 890 | 99.2067 | 0
2019-01-03 15:45:00 | 2.07 | 218.5333 | 2.38 | 240.1467 | 3.4 | 11.0567 | 0 | 10.7 | 0.52 | 890 | 98.4667 | 0
2019-01-03 16:00:00 | 2.17 | 165.8733 | 2.4933 | 182.28 | 3.8533 | 10.05 | 0 | 11.0267 | 0.62 | 890 | 98.2 | 1.0993
2019-01-03 16:15:00 | 2.1333 | 19.6133 | 2.45 | 21.5533 | 3.8867 | 11.8333 | 0 | 11.24 | 0.75333 | 890 | 97.9 | 1.808
2019-01-03 16:30:00 | 2.44 | 19.66 | 2.8033 | 21.6 | 4.3133 | 14.1333 | 0 | 11.22 | 0.67333 | 891 | 97.8 | 2.6427
2019-01-03 16:45:00 | 2.5267 | 2.38 | 2.9133 | 2.61 | 4.4867 | 12.1133 | 0 | 11.24 | 0.57 | 891 | 97.7333 | 2.6927
2019-01-03 17:00:00 | 2.82 | 218.5333 | 3.2467 | 240.1367 | 5.16 | 10.5267 | 0 | 11.5667 | 0.47 | 891 | 97.8333 | 3.4047
2019-01-03 17:15:00 | 3.2233 | 124.1433 | 3.7067 | 136.42 | 5.3767 | 10.3167 | 0 | 11.68 | 0.25667 | 891 | 97.4 | 4.5387
2019-01-03 17:30:00 | 3.0433 | 111.75 | 3.5 | 122.7933 | 5.0767 | 15.05 | 0 | 11.68 | 0.12333 | 891 | 97.5 | 4.4553
2019-01-03 17:45:00 | 2.68 | 25.8733 | 3.09 | 28.4233 | 4.3833 | 15.44 | 0 | 11.68 | 0.03 | 891 | 97.9333 | 5.4087
2019-01-03 18:00:00 | 2.36 | 194.42 | 2.7167 | 213.65 | 3.9033 | 16.5267 | 0 | 11.68 | -0.01 | 891 | 98.3333 | 4.556
2019-01-03 18:15:00 | 3.2167 | 0.98 | 3.6967 | 1.07 | 5.57 | 343.2 | 0 | 11.6633 | -0.066667 | 891 | 98.7667 | 5.0033
2019-01-03 18:30:00 | 3.91 | 0.98 | 4.5033 | 1.07 | 5.9367 | 123.6733 | 0 | 11.1433 | -0.10667 | 891 | 98.7667 | 12.558
2019-01-03 18:45:00 | 4.4933 | 0.96667 | 5.18 | 1.0533 | 7.88 | 17.25 | 0.81667 | 10.87 | -0.15333 | 891 | 98.8 | 21.1213
2019-01-03 19:00:00 | 4.5267 | 0.94 | 5.2067 | 1.02 | 8.24 | 15.0433 | 6.3833 | 12.3233 | -0.20667 | 891 | 99.1333 | 22.2633
2019-01-03 19:15:00 | 4.1067 | 0.94 | 4.72 | 1.02 | 7.2367 | 8.7833 | 7.3067 | 13.9 | -0.31333 | 891 | 98.9 | 20.358
2019-01-03 19:30:00 | 3.72 | 0.94 | 4.2867 | 1.02 | 6.7033 | 14.6367 | 6.8733 | 14.92 | -0.45333 | 891 | 98.7 | 20.39
2019-01-03 19:45:00 | 3.9333 | 0.94 | 4.5367 | 1.02 | 6.16 | 3.13 | 6.03 | 15.62 | -0.54333 | 891.6667 | 98.5333 | 17.1687
2019-01-03 20:00:00 | 3.3267 | 0.94 | 3.8367 | 1.02 | 5.7733 | 4.9433 | 5.5967 | 14.8067 | -0.67667 | 891.6667 | 98.3 | 12.9467
2019-01-03 20:15:00 | 3.43 | 0.94 | 3.9433 | 1.02 | 6.3833 | 22.6867 | 6.2367 | 11.8433 | -0.87333 | 891.6667 | 98.6667 | 16.0593
2019-01-03 20:30:00 | 3.6 | 0.94 | 4.14 | 1.02 | 6.715 | 13.135 | 6.61 | 12.31 | -0.96 | 892 | 98.95 | 15.495
2019-01-03 20:45:00 | 3.8633 | 0.94 | 4.44 | 1.02 | 7.1867 | 20.76 | 7.26 | 14.9067 | -1.01 | 891 | 98.9 | 16.56
2019-01-03 21:00:00 | 3.49 | 0.94 | 4.0133 | 1.02 | 6.64 | 23.6667 | 6.8667 | 15.62 | -0.99667 | 892 | 99 | 15.768
2019-01-03 21:15:00 | 3.4673 | 0.94 | 4.0007 | 1.02 | 6.5973 | 15.588 | 6.6827 | 16.276 | -0.91933 | 892 | 98.5667 | 14.6033
2019-01-03 21:30:00 | 4.0433 | 0.94 | 4.65 | 1.02 | 7.3867 | 18.9533 | 7.4933 | 16.9 | -0.89667 | 892 | 97.9 | 17.2887
2019-01-03 21:45:00 | 4.24 | 0.94 | 4.8867 | 1.02 | 7.8367 | 13.3467 | 8.04 | 18.1333 | -0.85 | 892 | 96.8 | 17.6673
2019-01-03 22:00:00 | 4.2 | 0.94 | 4.84 | 1.02 | 7.75 | 17.9067 | 7.7533 | 19.58 | -0.89667 | 892 | 96.3667 | 19.416
2019-01-03 22:15:00 | 4.4567 | 0.94 | 5.13 | 1.02 | 8.2833 | 14.4933 | 8.39 | 20.3233 | -1.0233 | 892 | 96.3667 | 21.4547
2019-01-03 22:30:00 | 4.4367 | 0.94 | 5.1033 | 1.02 | 8.1167 | 13.0133 | 8.3567 | 20.8433 | -1.13 | 892 | 96.6 | 21.39
2019-01-03 22:45:00 | 4.5633 | 0.97333 | 5.2467 | 1.0633 | 8.5867 | 6.7333 | 8.6567 | 20.65 | -1.4033 | 892 | 97.3667 | 21.3587
2019-01-03 23:00:00 | 4.5567 | 0.96 | 5.2467 | 1.05 | 8.4 | 4.1067 | 8.6167 | 19.1233 | -1.4433 | 891 | 97.6667 | 23.674
2019-01-03 23:15:00 | 4.53 | 0.96667 | 5.21 | 1.0533 | 8.35 | 14.8833 | 8.3833 | 18.58 | -1.55 | 891 | 97.7333 | 21.0453
2019-01-03 23:30:00 | 4.17 | 0.96667 | 4.7967 | 1.0533 | 7.4967 | 13.1033 | 7.55 | 18.9733 | -1.57 | 891 | 97.7333 | 20.7727
2019-01-03 23:45:00 | 4.32 | 0.96667 | 4.9833 | 1.0567 | 7.6733 | 12.3767 | 8 | 19.1267 | -1.54 | 891 | 96.9 | 21.1753