## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-04 00:00:00 | 4.084 | 0.98 | 4.712 | 1.07 | 7.11 | 220.368 | 7.378 | 18.32 | -1.552 | 891 | 96.52 | 17.8393
2019-01-04 00:15:00 | 3.6667 | 0.98 | 4.22 | 1.07 | 6.5167 | 18.4967 | 6.7033 | 18.29 | -1.6033 | 891 | 96 | 15.6573
2019-01-04 00:30:00 | 3.0867 | 0.98 | 3.56 | 1.07 | 5.63 | 7.35 | 5.9433 | 18.22 | -1.7433 | 891 | 96.2333 | 13.176
2019-01-04 00:45:00 | 2.7967 | 0.98 | 3.2133 | 1.07 | 5.0133 | 6.3133 | 5.3833 | 18.2167 | -1.9167 | 891 | 96.9667 | 9.6667
2019-01-04 01:00:00 | 2.8767 | 0.98 | 3.3133 | 1.07 | 4.94 | 8.9067 | 5.3033 | 18.1233 | -1.8767 | 891.3333 | 96.7 | 8.966
2019-01-04 01:15:00 | 3.1333 | 0.98 | 3.6067 | 1.07 | 5.01 | 5.9033 | 5.2533 | 17.6833 | -1.9267 | 892 | 96.6333 | 9.9887
2019-01-04 01:30:00 | 3 | 0.98 | 3.4533 | 1.07 | 5.1367 | 24.3033 | 5.14 | 16.8367 | -1.86 | 891.6667 | 96.3333 | 9.0273
2019-01-04 01:45:00 | 2.7767 | 0.96667 | 3.1967 | 1.0567 | 4.61 | 5.3533 | 4.9133 | 16.1433 | -1.8133 | 891.6667 | 96.1 | 10.7107
2019-01-04 02:00:00 | 2.8367 | 0.95333 | 3.2633 | 1.0367 | 4.4967 | 239.2 | 4.96 | 15.5567 | -1.72 | 892 | 96 | 11.4887
2019-01-04 02:15:00 | 3.0467 | 0.94 | 3.5067 | 1.02 | 4.9067 | 3.86 | 5.5033 | 15.3067 | -1.49 | 892 | 95.1 | 11.1207
2019-01-04 02:30:00 | 2.96 | 0.94 | 3.4133 | 1.02 | 4.9467 | 6.8133 | 5.57 | 15.1533 | -1.4367 | 892 | 95.0333 | 10.9247
2019-01-04 02:45:00 | 2.9467 | 0.94 | 3.3933 | 1.02 | 4.9467 | 5.7667 | 5.42 | 14.7667 | -1.3 | 892 | 94.4333 | 11.214
2019-01-04 03:00:00 | 3.1467 | 0.94 | 3.6333 | 1.02 | 5.44 | 12.26 | 5.9733 | 14.94 | -1.24 | 892 | 94.1667 | 10.7887
2019-01-04 03:15:00 | 3.4333 | 0.94 | 3.9467 | 1.02 | 5.9267 | 13.5233 | 6.2733 | 15.7433 | -1.1667 | 892 | 93.6 | 10.6333
2019-01-04 03:30:00 | 3.1133 | 0.94 | 3.58 | 1.02 | 5.4133 | 11.3967 | 5.9 | 16.4567 | -1.12 | 892 | 93.3333 | 12.1493
2019-01-04 03:45:00 | 3.1067 | 0.94 | 3.5767 | 1.02 | 5.36 | 10.1533 | 5.8567 | 16.47 | -1.17 | 892 | 93.8 | 18.0953
2019-01-04 04:00:00 | 3.5533 | 0.94 | 4.0967 | 1.02 | 6.3067 | 4.8333 | 6.7433 | 15.79 | -1.19 | 892 | 94.1667 | 26.21
2019-01-04 04:15:00 | 4.2267 | 0.94 | 4.8633 | 1.02 | 7.47 | 7.9967 | 7.58 | 14.73 | -1.1967 | 892 | 94.3 | 31.2067
2019-01-04 04:30:00 | 4.7267 | 0.94 | 5.4367 | 1.02 | 8.29 | 16.0433 | 8.3533 | 14.2767 | -1.2233 | 892 | 94.8 | 32.726
2019-01-04 04:45:00 | 4.8333 | 0.94 | 5.5567 | 1.02 | 8.9333 | 10.06 | 9.3233 | 13.43 | -1.37 | 892 | 95.8333 | 32.7813
2019-01-04 05:00:00 | 5.1133 | 0.94 | 5.8767 | 1.02 | 9.2533 | 8.9267 | 9.6733 | 14.65 | -1.4233 | 891.6667 | 96.2667 | 32.262
2019-01-04 05:15:00 | 5.4533 | 0.94 | 6.2833 | 1.02 | 9.75 | 9.49 | 10.0467 | 15.9133 | -1.3533 | 891 | 95.6 | 27.824
2019-01-04 05:30:00 | 4.2933 | 0.94 | 4.9433 | 1.02 | 7.9367 | 13.5167 | 8.68 | 18.5733 | -1.3267 | 891 | 95.5667 | 24.3473
2019-01-04 05:45:00 | 3.69 | 0.94 | 4.24 | 1.02 | 7.0267 | 11.06 | 7.92 | 21.9167 | -1.4267 | 891 | 96.2 | 26.0427
2019-01-04 06:00:00 | 4.01 | 0.94 | 4.6133 | 1.02 | 7.3 | 5.7267 | 7.9333 | 22.95 | -1.3867 | 891.3333 | 96.1333 | 25.2867
2019-01-04 06:15:00 | 4.0533 | 0.94 | 4.6667 | 1.02 | 7.1 | 9.0533 | 7.6867 | 19.3633 | -1.24 | 892 | 95.3333 | 22.6887
2019-01-04 06:30:00 | 3.1 | 0.94 | 3.5667 | 1.02 | 5.6133 | 24.5067 | 6.1667 | 26.0167 | -1.28 | 892 | 95.9333 | 22.3553
2019-01-04 06:45:00 | 2.98 | 0.94 | 3.4267 | 1.02 | 5.4467 | 22.9 | 6.1733 | 24.06 | -1.3467 | 892 | 96.3 | 26.04
2019-01-04 07:00:00 | 3.46 | 0.94 | 3.98 | 1.02 | 6.2667 | 24.6067 | 7.0533 | 22.88 | -1.34 | 892 | 96.4 | 25.5607
2019-01-04 07:15:00 | 3.3933 | 0.94 | 3.9067 | 1.02 | 6.54 | 10.17 | 7.1933 | 19.4533 | -1.28 | 892 | 95.8667 | 25.668
2019-01-04 07:30:00 | 3.6267 | 0.94 | 4.1733 | 1.02 | 6.6067 | 7.43 | 7.0533 | 14.8667 | -1.2333 | 892 | 95.5333 | 25.9787
2019-01-04 07:45:00 | 4.3667 | 0.94 | 5.02 | 1.02 | 6.9367 | 122.8467 | 7.0933 | 9.6 | -1.0833 | 892 | 94.5 | 27.4367
2019-01-04 08:00:00 | 3.9267 | 0.94 | 4.52 | 1.02 | 6.93 | 129.4533 | 7.2 | 22.7067 | -1.0633 | 892 | 94.1667 | 30.9633
2019-01-04 08:15:00 | 4.7533 | 0.94 | 5.4633 | 1.02 | 7.38 | 13.42 | 7.6567 | 17.0633 | -1.12 | 892 | 94.1667 | 34.4853
2019-01-04 08:30:00 | 4.7133 | 0.94 | 5.4167 | 1.02 | 7.9667 | 9.82 | 8.3767 | 17.29 | -1.1333 | 892 | 94.0333 | 35.7553
2019-01-04 08:45:00 | 4.0533 | 0.94 | 4.66 | 1.02 | 7.6 | 16.9 | 8.23 | 23.2367 | -1.2133 | 892 | 94.7333 | 33.4693
2019-01-04 09:00:00 | 3.9333 | 0.94 | 4.52 | 1.02 | 7.1333 | 14.1 | 7.7267 | 21.8233 | -1.0933 | 893 | 94.8 | 32.1807
2019-01-04 09:15:00 | 4.0667 | 0.94 | 4.6867 | 1.02 | 7.69 | 8.7767 | 7.7967 | 20.49 | -0.81 | 893 | 94.0333 | 32.6653
2019-01-04 09:30:00 | 4.5333 | 0.94 | 5.2267 | 1.02 | 8.13 | 11.2367 | 8.2567 | 12.51 | -0.54333 | 893 | 92.5667 | 29.9733
2019-01-04 09:45:00 | 4.3367 | 0.98 | 4.9933 | 1.07 | 7.71 | 10.54 | 7.6867 | 16.4 | -0.25 | 893.6667 | 91.3667 | 27.482
2019-01-04 10:00:00 | 4.4633 | 37.82 | 5.14 | 41.55 | 7.8233 | 8.0467 | 7.6333 | 14.3867 | -0.043333 | 894 | 90.1 | 24.2473
2019-01-04 10:15:00 | 3.88 | 13.1033 | 4.4633 | 14.3933 | 7.0767 | 15.1167 | 7.2 | 15.0867 | 0.30667 | 894.6667 | 89.4333 | 18.5907
2019-01-04 10:30:00 | 3.8267 | 204.4833 | 4.4033 | 224.7067 | 6.7833 | 12.05 | 6.8933 | 11.0267 | 1.0467 | 895 | 87.4667 | 19.0187
2019-01-04 10:45:00 | 3.89 | 286.7733 | 4.48 | 315.1333 | 7.0033 | 21.9633 | 6.8167 | 16.03 | 1.8867 | 895 | 83.6 | 18.172
2019-01-04 11:00:00 | 4.0767 | 309.46 | 4.6867 | 340.0667 | 6.79 | 31.39 | 6.6367 | 9.8367 | 2.16 | 895.3333 | 81.4667 | 16.6747
2019-01-04 11:15:00 | 3.9333 | 28.6867 | 4.5233 | 31.5267 | 7.05 | 13.3667 | 7.2733 | 19.1667 | 2.8233 | 896 | 79.7667 | 18.3853
2019-01-04 11:30:00 | 4.22 | 48.3733 | 4.8567 | 53.16 | 7.4633 | 6.5267 | 7.5667 | 26.1 | 3.45 | 895 | 75.5533 | 18.162
2019-01-04 11:45:00 | 4.21 | 254.71 | 4.8433 | 279.9 | 7.65 | 14.4533 | 7.7033 | 30.3267 | 3.9567 | 895 | 73.72 | 17.7113
2019-01-04 12:00:00 | 4.41 | 212.55 | 5.0767 | 233.5667 | 8.03 | 16.9867 | 8.2233 | 29.7867 | 4.11 | 895 | 72.7667 | 19.404
2019-01-04 12:15:00 | 4.6833 | 224.1067 | 5.3933 | 246.26 | 8.4067 | 13.1333 | 8.84 | 27.5933 | 4.3133 | 895 | 71.0267 | 21.1127
2019-01-04 12:30:00 | 4.9833 | 38.2133 | 5.7333 | 41.9867 | 9.1467 | 12.5 | 9.3933 | 24.28 | 4.52 | 894 | 70.4 | 20.4013
2019-01-04 12:45:00 | 4.8467 | 122.0933 | 5.5833 | 134.1733 | 8.5733 | 15.6 | 8.5467 | 23.7433 | 4.9033 | 894 | 68.41 | 18.346
2019-01-04 13:00:00 | 4.46 | 305.27 | 5.1433 | 335.4667 | 7.94 | 9.8267 | 7.9 | 18.89 | 4.7567 | 894 | 68.7967 | 16.9247
2019-01-04 13:15:00 | 4.5533 | 217.16 | 5.2333 | 238.63 | 8.2033 | 15.3467 | 8.0267 | 17.98 | 4.8467 | 894 | 67.5667 | 13.2067
2019-01-04 13:30:00 | 4.3 | 13.88 | 4.9467 | 15.2433 | 7.59 | 25.86 | 7.3467 | 26.0867 | 4.9 | 894 | 66.9333 | 11.0153
2019-01-04 13:45:00 | 4.0067 | 208.8867 | 4.61 | 229.5367 | 6.5867 | 16.09 | 6.2133 | 27.8033 | 5.1767 | 894 | 65.57 | 8.9973
2019-01-04 14:00:00 | 3.32 | 9.5267 | 3.83 | 10.47 | 5.3267 | 10.0967 | 5.1267 | 23.2167 | 5.49 | 894 | 64.7767 | 8.8107
2019-01-04 14:15:00 | 3.8067 | 37.7367 | 4.3767 | 41.46 | 6.1933 | 14.2 | 5.69 | 20.67 | 6.1633 | 894 | 61.8 | 9.2427
2019-01-04 14:30:00 | 3.74 | 196.2167 | 4.3033 | 215.6133 | 5.6933 | 7.52 | 5.4167 | 6.25 | 5.7167 | 894 | 60.64 | 6.996
2019-01-04 14:45:00 | 4.12 | 105.2167 | 4.7433 | 115.6133 | 6.4633 | 13.6467 | 6.1333 | 18.89 | 5.8067 | 893.3333 | 61.61 | 10.4053
2019-01-04 15:00:00 | 3.9 | 143.05 | 4.49 | 157.1867 | 7.03 | 18.6667 | 6.6933 | 23.91 | 6.76 | 893 | 59.0833 | 10.6547
2019-01-04 15:15:00 | 3.9767 | 198.2333 | 4.5733 | 217.84 | 7.3133 | 16.6767 | 6.9667 | 12.7567 | 6.7733 | 893 | 56.5467 | 10.2653
2019-01-04 15:30:00 | 3.75 | 39.4867 | 4.32 | 43.3933 | 6.88 | 19.2967 | 6.6333 | 21.8967 | 6.54 | 893 | 56.2667 | 7.514
2019-01-04 15:45:00 | 3.4667 | 206.6233 | 3.9867 | 227.0633 | 6.3267 | 8.7133 | 6.0767 | 13.0967 | 4.9067 | 893 | 61.13 | 6.5293
2019-01-04 16:00:00 | 3.3667 | 4.9567 | 3.8733 | 5.4433 | 5.96 | 15.3267 | 5.7633 | 8.8633 | 5.0933 | 893 | 61.65 | 6.888
2019-01-04 16:15:00 | 3.3133 | 133.7033 | 3.8067 | 146.9133 | 6.1367 | 24.8 | 5.9333 | 22.75 | 4.6767 | 893 | 63.1633 | 8.118
2019-01-04 16:30:00 | 3.3867 | 115.0433 | 3.9 | 126.4133 | 6.3033 | 21.04 | 6.0533 | 19.53 | 4.13 | 892 | 65.03 | 7.7787
2019-01-04 16:45:00 | 3.2267 | 222.3767 | 3.7133 | 244.3733 | 6.0767 | 16.9133 | 6.1667 | 25.5233 | 4.3233 | 892 | 64.5033 | 6.7767
2019-01-04 17:00:00 | 3.02 | 41.8367 | 3.4733 | 45.9667 | 5.81 | 19.64 | 5.8667 | 24.8433 | 4.97 | 892 | 62.77 | 7.39
2019-01-04 17:15:00 | 3.3167 | 226.0867 | 3.8133 | 248.4333 | 6.23 | 15.3 | 6.21 | 31.1933 | 4.4533 | 892 | 64.9033 | 8.0033
2019-01-04 17:30:00 | 3.4033 | 136.6467 | 3.92 | 150.1533 | 6.1967 | 19.4333 | 6.2167 | 35.8133 | 3.7267 | 892 | 67.33 | 6.81
2019-01-04 17:45:00 | 3.14 | 18.32 | 3.6133 | 20.1233 | 5.87 | 18.8633 | 6.11 | 29.3167 | 3.24 | 892 | 70.3433 | 7.7407
2019-01-04 18:00:00 | 2.9933 | 144.6 | 3.4467 | 158.89 | 5.77 | 17.4833 | 5.9567 | 25.43 | 2.9533 | 892 | 71.13 | 10.906
2019-01-04 18:15:00 | 3.4567 | 255.8367 | 3.9733 | 281.1333 | 6.5533 | 12.92 | 6.75 | 36.7667 | 2.5433 | 892 | 72.0133 | 11.8627
2019-01-04 18:30:00 | 3.3567 | 172.6633 | 3.86 | 189.7333 | 6.5667 | 12.7733 | 6.91 | 28.8067 | 2.27 | 892 | 73.1133 | 12.7107
2019-01-04 18:45:00 | 3.3133 | 181.4833 | 3.8067 | 199.4233 | 6.46 | 12.26 | 6.7833 | 31.7067 | 2.06 | 892 | 73.8533 | 15.092
2019-01-04 19:00:00 | 3.5333 | 219.7033 | 4.06 | 241.4233 | 6.92 | 10.0533 | 7.3767 | 30.2333 | 1.8067 | 892 | 75.0333 | 14.6867
2019-01-04 19:15:00 | 3.4067 | 231.48 | 3.92 | 254.3667 | 6.55 | 27.6967 | 7.24 | 31.62 | 1.7467 | 892 | 74.5433 | 14.6053
2019-01-04 19:30:00 | 3.2867 | 182.5733 | 3.78 | 200.6333 | 6.41 | 15.7433 | 7.1933 | 29.6267 | 1.7133 | 892 | 74.03 | 14.15
2019-01-04 19:45:00 | 3.52 | 166.63 | 4.0467 | 183.1 | 6.68 | 16.1633 | 6.95 | 23.8733 | 1.65 | 892 | 73.7 | 14.272
2019-01-04 20:00:00 | 3.46 | 176.1567 | 3.98 | 193.5667 | 6.6 | 12.6567 | 6.8567 | 23.92 | 1.57 | 892 | 74.1667 | 13.9987
2019-01-04 20:15:00 | 3.3933 | 231.9267 | 3.9 | 254.8667 | 6.3567 | 10.4433 | 6.4433 | 36.6233 | 1.1167 | 892 | 77.2267 | 13.3053
2019-01-04 20:30:00 | 2.9667 | 124.4267 | 3.42 | 136.7333 | 5.5967 | 26.6633 | 5.79 | 21.0367 | 0.89667 | 892 | 78.56 | 11.8947
2019-01-04 20:45:00 | 2.8773 | 24.8013 | 3.3233 | 27.246 | 5.1587 | 14.5373 | 5.2253 | 17.9907 | 0.71933 | 892 | 80.066 | 10.312
2019-01-04 21:00:00 | 2.5733 | 226.54 | 2.9667 | 248.94 | 4.8733 | 13.43 | 5.1633 | 34.0367 | 0.50333 | 892 | 81.1667 | 8.7153
2019-01-04 21:15:00 | 2.6867 | 298.6633 | 3.1 | 328.2 | 4.74 | 14.0933 | 4.8967 | 35.27 | 0.37667 | 892 | 81.8 | 9.2827
2019-01-04 21:30:00 | 2.7733 | 316.6167 | 3.1933 | 347.9333 | 4.5333 | 47.2933 | 4.5167 | 20.8833 | 0.35667 | 892 | 82 | 7.4313
2019-01-04 21:45:00 | 2.4527 | 306.578 | 2.8193 | 336.8933 | 4.3247 | 123.3353 | 3.9787 | 9.2993 | 0.226 | 892 | 81.9867 | 5.898
2019-01-04 22:00:00 | 2.3 | 287.6867 | 2.6433 | 316.1333 | 3.9667 | 121.9067 | 3.73 | 2.6267 | 0.25667 | 892 | 81.5667 | 6.376
2019-01-04 22:15:00 | 2.4067 | 267.7533 | 2.7733 | 294.2333 | 4.4533 | 1.2367 | 4.3767 | 4.96 | 0.04 | 892 | 82.7667 | 5.508
2019-01-04 22:30:00 | 2.1867 | 316.3467 | 2.52 | 347.6333 | 4.06 | 239.0033 | 4.0167 | 2.1067 | -0.26667 | 892 | 84.4333 | 4.72
2019-01-04 22:45:00 | 2.3433 | 117.0767 | 2.7033 | 128.6467 | 4.02 | 15.0833 | 4.2033 | 12.05 | -0.30667 | 892 | 85.2 | 3.5607
2019-01-04 23:00:00 | 2.29 | 109.5433 | 2.63 | 120.3733 | 4.0067 | 3.21 | 3.9167 | 4.2167 | -0.43333 | 892 | 86.2 | 3.5167
2019-01-04 23:15:00 | 2.6147 | 303.0327 | 3.0093 | 332.994 | 4.2127 | 3.794 | 4.102 | 9.2653 | -0.578 | 892 | 87.1467 | 4.6253
2019-01-04 23:30:00 | 2.9467 | 315.0433 | 3.39 | 346.2 | 5.01 | 1.1867 | 4.76 | 11.5767 | -0.61333 | 892 | 87.4667 | 7.6087
2019-01-04 23:45:00 | 3.1067 | 207.48 | 3.58 | 227.9933 | 5.4567 | 118.1333 | 5.3567 | 15.39 | -0.71667 | 891.3333 | 88.2 | 8.7033