## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-05 00:00:00 | 3.3753 | 24.6147 | 3.8893 | 27.0473 | 5.8467 | 353.26 | 5.9533 | 10.1747 | -0.778 | 891 | 88.68 | 9.95
2019-01-05 00:15:00 | 3.7167 | 104.66 | 4.2767 | 115.0133 | 6.1133 | 122.7267 | 6.0667 | 7.0867 | -0.66667 | 891 | 88.6 | 11.9353
2019-01-05 00:30:00 | 3.9433 | 104.6067 | 4.5367 | 114.9467 | 6.4667 | 356.9 | 6.3467 | 11.4533 | -0.68667 | 891 | 88.9333 | 13.7633
2019-01-05 00:45:00 | 4.14 | 103.01 | 4.7633 | 113.1867 | 6.4267 | 2.6633 | 6.3867 | 8.3767 | -0.49 | 891 | 88.2333 | 14.0507
2019-01-05 01:00:00 | 4.3267 | 99.4367 | 4.99 | 109.2667 | 6.16 | 3.41 | 6.1467 | 10.5367 | -0.43667 | 891 | 87.6667 | 15.4107
2019-01-05 01:15:00 | 4.7667 | 92.6467 | 5.49 | 101.8067 | 7.34 | 14.55 | 7.3033 | 3.8533 | -0.53333 | 891 | 88.5333 | 22.5793
2019-01-05 01:30:00 | 5.0667 | 90.88 | 5.83 | 99.86 | 6.7867 | 242.8367 | 6.79 | 10.4667 | -0.50667 | 891.3333 | 88.2 | 23.6267
2019-01-05 01:45:00 | 4.94 | 263.08 | 5.6867 | 289.1 | 7.1467 | 6.9233 | 7.3267 | 16.56 | -0.55 | 892 | 88.6667 | 24.2293
2019-01-05 02:00:00 | 5.0067 | 55.06 | 5.76 | 60.5067 | 7.1067 | 16.15 | 7.42 | 15.9733 | -0.58333 | 892 | 89 | 24.1407
2019-01-05 02:15:00 | 4.4867 | 320.5333 | 5.1633 | 352.2333 | 6.5567 | 59.4 | 6.87 | 17.67 | -0.71333 | 892 | 89.9 | 26.3447
2019-01-05 02:30:00 | 4.58 | 128.3467 | 5.2767 | 141.04 | 6.8167 | 69.1467 | 7.1633 | 243.4367 | -0.79333 | 892 | 90.4333 | 27.9047
2019-01-05 02:45:00 | 4.7733 | 111.48 | 5.4933 | 122.4933 | 7.1333 | 245.52 | 7.17 | 120.8333 | -0.86667 | 892 | 90.9 | 27.824
2019-01-05 03:00:00 | 4.46 | 121.3267 | 5.1267 | 133.3133 | 6.86 | 10.1933 | 7.0433 | 130.06 | -0.88667 | 892 | 90.9 | 28.3913
2019-01-05 03:15:00 | 4.76 | 129.14 | 5.48 | 141.9067 | 8.0167 | 236.45 | 7.7033 | 7.7833 | -0.89 | 892 | 90.5333 | 29.846
2019-01-05 03:30:00 | 4.8 | 122.7933 | 5.5333 | 134.9333 | 8.27 | 9.99 | 8.2433 | 6.6167 | -0.90333 | 892 | 90.2 | 30.32
2019-01-05 03:45:00 | 4.8533 | 22.79 | 5.5933 | 25.0367 | 8.1467 | 225.7167 | 7.9233 | 354.0333 | -1.01 | 892 | 90.7 | 30.2047
2019-01-05 04:00:00 | 4.9867 | 228.6767 | 5.74 | 251.2833 | 7.86 | 219.1833 | 7.7633 | 127.7867 | -1.1167 | 891 | 90.9 | 30.06
2019-01-05 04:15:00 | 4.8667 | 108.39 | 5.6067 | 119.1 | 7.82 | 353.1 | 7.63 | 239.6467 | -1.2133 | 891 | 90.8333 | 30.7893
2019-01-05 04:30:00 | 5.4 | 107.1433 | 6.2067 | 117.74 | 9.3733 | 351.4333 | 9.0767 | 22.2533 | -1.22 | 891 | 90.3333 | 31.868
2019-01-05 04:45:00 | 5.48 | 27.2233 | 6.31 | 29.9067 | 8.28 | 228.7367 | 8.2033 | 235.6033 | -1.2333 | 891 | 90.2333 | 31.0173
2019-01-05 05:00:00 | 5.46 | 11.5167 | 6.2767 | 12.6467 | 7.76 | 232.9367 | 7.5233 | 8.3233 | -1.26 | 891 | 90.1 | 30.0327
2019-01-05 05:15:00 | 4.79 | 220.36 | 5.5067 | 242.14 | 7.5733 | 353.6333 | 7.2333 | 7.13 | -1.3833 | 891 | 90.7 | 28.6487
2019-01-05 05:30:00 | 4.77 | 18.4667 | 5.4933 | 20.28 | 7.2467 | 153.5867 | 6.9533 | 5.0833 | -1.3967 | 891 | 90.3 | 26.9933
2019-01-05 05:45:00 | 4.2867 | 187.3667 | 4.93 | 205.8867 | 6.68 | 121.74 | 6.1767 | 13.52 | -1.4133 | 891 | 89.9333 | 24.792
2019-01-05 06:00:00 | 4.06 | 215.0267 | 4.6767 | 236.2867 | 6.38 | 150.7267 | 5.85 | 14.0067 | -1.58 | 890.6667 | 90.8 | 24.006
2019-01-05 06:15:00 | 4.2267 | 0.59333 | 4.8633 | 0.65 | 6.7967 | 8.8733 | 6.96 | 20.25 | -1.75 | 890 | 91.3667 | 23.8113
2019-01-05 06:30:00 | 4.08 | 15.8 | 4.7033 | 17.3567 | 6.8167 | 5.7933 | 7.1333 | 17.7367 | -1.91 | 890.3333 | 92.1 | 23.964
2019-01-05 06:45:00 | 4.1133 | 10.4467 | 4.7333 | 11.48 | 6.01 | 2.3833 | 6.14 | 10.4933 | -1.94 | 891 | 92.0333 | 23.5733
2019-01-05 07:00:00 | 4.14 | 26.7333 | 4.7667 | 29.3733 | 6.09 | 5.4367 | 6.3267 | 13.06 | -1.9667 | 891 | 92.0333 | 18.2713
2019-01-05 07:15:00 | 3.4233 | 294.2733 | 3.9333 | 323.3667 | 6.16 | 0.16667 | 6.4767 | 14.8433 | -2.2 | 891 | 93.2 | 17.2953
2019-01-05 07:30:00 | 3.2367 | 287.1667 | 3.72 | 315.5667 | 5.68 | 223.7333 | 5.6033 | 11.15 | -2.3 | 891 | 93.8 | 15.0033
2019-01-05 07:45:00 | 3.6333 | 112.78 | 4.18 | 123.9267 | 5.2133 | 243.5633 | 5.2 | 25.3433 | -2.1767 | 891 | 93.3667 | 14.338
2019-01-05 08:00:00 | 3.6667 | 131.14 | 4.22 | 144.1133 | 5.78 | 7.2167 | 5.8333 | 12.4433 | -2.1833 | 891 | 93.0667 | 9.5213
2019-01-05 08:15:00 | 3.14 | 324.05 | 3.6167 | 356.1 | 5.5667 | 2.11 | 5.5733 | 5.53 | -2.3367 | 891 | 93.8667 | 7.952
2019-01-05 08:30:00 | 3.25 | 317.82 | 3.745 | 349.25 | 5.655 | 0.9 | 5.83 | 5.845 | -2.325 | 891 | 93.95 | 10.743
2019-01-05 08:45:00 | 2.9867 | 16.47 | 3.4333 | 18.09 | 5.22 | 5.29 | 5.58 | 11.86 | -2.2933 | 891 | 94.3 | 5.052
2019-01-05 09:00:00 | 2.3667 | 3.03 | 2.72 | 3.3233 | 4.3933 | 6.6167 | 4.52 | 9.38 | -2.1 | 891 | 94.4 | 5.228
2019-01-05 09:15:00 | 2.52 | 202.77 | 2.9 | 222.8167 | 4.4133 | 7.3 | 4.5167 | 6.8467 | -1.5533 | 891.6667 | 93.6333 | 8.79
2019-01-05 09:30:00 | 3.4 | 184.3833 | 3.9067 | 202.6167 | 5.5733 | 7.5933 | 5.7433 | 13.12 | -1.3533 | 892.3333 | 92.9 | 10.4733
2019-01-05 09:45:00 | 3.4533 | 301.2667 | 3.9767 | 331.0667 | 5.5167 | 13.9367 | 5.5267 | 14.37 | -0.94 | 893 | 91.4 | 9.2713
2019-01-05 10:00:00 | 3.3667 | 321.5933 | 3.8833 | 353.4 | 4.8833 | 14.7767 | 4.9333 | 22.61 | -0.72 | 893.3333 | 90.4667 | 6.56
2019-01-05 10:15:00 | 3.3067 | 127.39 | 3.8033 | 139.99 | 5.1033 | 9.1867 | 4.95 | 17.1467 | -0.41 | 894 | 89.5333 | 3.4033
2019-01-05 10:30:00 | 3.2467 | 19.9767 | 3.7433 | 21.95 | 4.79 | 11.1333 | 4.7767 | 16.7467 | 0.096667 | 894 | 87.1 | 1.92
2019-01-05 10:45:00 | 3.0133 | 214.5433 | 3.48 | 235.75 | 3.9433 | 9.15 | 3.9167 | 14.84 | 0.36667 | 894 | 84.9 | 1.4873
2019-01-05 11:00:00 | 2.96 | 215.51 | 3.4067 | 236.8167 | 3.77 | 11.4633 | 3.71 | 4.96 | 0.17333 | 894 | 85.1667 | 0.46467
2019-01-05 11:15:00 | 2.8467 | 123.8767 | 3.2767 | 136.1267 | 3.4 | 17.7233 | 3.5267 | 17.4667 | 0.39333 | 894 | 84.3333 | 0.87
2019-01-05 11:30:00 | 2.9133 | 109.25 | 3.35 | 120.0533 | 3.8267 | 8.7567 | 3.88 | 14.08 | 0.84667 | 894 | 82.8 | 0.65667
2019-01-05 11:45:00 | 2.9667 | 23.7133 | 3.4133 | 26.06 | 3.7533 | 14.53 | 3.6333 | 22.0167 | 1.3633 | 894 | 78.53 | 0
2019-01-05 12:00:00 | 1.78 | 2.0267 | 2.0467 | 2.22 | 2.0867 | 240.1433 | 1.7 | 6.27 | 1.5633 | 894 | 76.5233 | 0
2019-01-05 12:15:00 | 1.1667 | 216.4233 | 1.34 | 237.8167 | 1.0833 | 259.6467 | 0.19333 | 268.2667 | 1.7067 | 894 | 74.9033 | 0
2019-01-05 12:30:00 | 1.26 | 96.2433 | 1.4533 | 105.75 | 1.33 | 125.98 | 1.3667 | 152.2667 | 1.9733 | 894 | 74.0767 | 0
2019-01-05 12:45:00 | 2.5767 | 134.4133 | 2.9633 | 147.7 | 2.8767 | 192.7 | 2.8733 | 204.1667 | 2.0433 | 893.3333 | 75.5333 | 0
2019-01-05 13:00:00 | 2.076 | 121.358 | 2.388 | 133.36 | 2.5 | 173.28 | 2.38 | 211.5 | 2.092 | 893 | 74.526 | 0
2019-01-05 13:15:00 | 1.86 | 153.7667 | 2.15 | 168.9667 | 2.06 | 158.9333 | 2.2667 | 168.5 | 2.02 | 893 | 72.01 | 0
2019-01-05 13:30:00 | 2.24 | 146.6067 | 2.5833 | 161.1 | 2.5067 | 171.4 | 2.4867 | 183.7667 | 2.08 | 893 | 73.23 | 0
2019-01-05 13:45:00 | 2.3 | 158.5833 | 2.6467 | 174.2667 | 2.5533 | 190.1333 | 2.45 | 183.3 | 2.1533 | 892.3333 | 72.2067 | 0
2019-01-05 14:00:00 | 1.8907 | 155.8113 | 2.174 | 171.22 | 2.0907 | 194.22 | 1.986 | 186.5733 | 2.208 | 892 | 71.92 | 0
2019-01-05 14:15:00 | 2.06 | 133.74 | 2.38 | 146.9667 | 2.34 | 205.5 | 2.3867 | 196.7667 | 2.41 | 892 | 70.4333 | 0
2019-01-05 14:30:00 | 1.6867 | 164.4467 | 1.94 | 180.7 | 2.1467 | 199.8333 | 2.3333 | 193.5667 | 2.63 | 892 | 70.5067 | 0
2019-01-05 14:45:00 | 1.62 | 170.1833 | 1.87 | 187 | 2.2833 | 202.6667 | 2.3767 | 204.3333 | 2.6667 | 892 | 70.6867 | 0
2019-01-05 15:00:00 | 2.14 | 176.0633 | 2.4633 | 193.4667 | 2.81 | 218.4 | 2.73 | 214.5333 | 2.7 | 892 | 71.0533 | 0
2019-01-05 15:15:00 | 1.51 | 153.5167 | 1.7467 | 168.7 | 1.92 | 196.3 | 1.84 | 197.2 | 2.75 | 892 | 71.28 | 0
2019-01-05 15:30:00 | 1.3567 | 143.63 | 1.56 | 157.8333 | 1.78 | 193.4333 | 2.2333 | 188.3333 | 2.7633 | 892 | 71.08 | 0
2019-01-05 15:45:00 | 1.8233 | 176.5733 | 2.1 | 194.0333 | 2.21 | 210.2 | 2.26 | 188.4 | 2.73 | 892 | 71.97 | 0
2019-01-05 16:00:00 | 1.9167 | 149.22 | 2.2067 | 163.9667 | 2.2167 | 183.7333 | 2.54 | 191.8 | 2.65 | 891 | 72.4833 | 0
2019-01-05 16:15:00 | 2.3133 | 166.62 | 2.6667 | 183.1 | 2.8067 | 188.2333 | 3.42 | 177.6 | 2.6367 | 891 | 72.48 | 0
2019-01-05 16:30:00 | 1.9667 | 136.8933 | 2.26 | 150.4333 | 2.4333 | 177.3667 | 2.86 | 175.2667 | 2.75 | 891 | 72.4867 | 0
2019-01-05 16:45:00 | 1.9333 | 164.1733 | 2.2367 | 180.4 | 2.37 | 178.2667 | 2.5833 | 177.7 | 2.8867 | 891 | 72.1967 | 0
2019-01-05 17:00:00 | 1.66 | 164.78 | 1.91 | 181.0667 | 2.1033 | 193.0667 | 2.49 | 191.5 | 2.94 | 891 | 72.3633 | 0
2019-01-05 17:15:00 | 1.9267 | 170.9367 | 2.22 | 187.8333 | 2.5933 | 199.9333 | 2.7833 | 198.1667 | 2.93 | 891 | 72.5833 | 0
2019-01-05 17:30:00 | 2.3267 | 162.87 | 2.6867 | 178.9667 | 2.9933 | 200.4 | 3.01 | 198.8333 | 2.9433 | 891 | 72.89 | 0.32867
2019-01-05 17:45:00 | 2.5633 | 180.9573 | 2.946 | 198.8533 | 3.3867 | 202.5333 | 3.298 | 199.5 | 2.8487 | 891 | 73.6107 | 0.52333
2019-01-05 18:00:00 | 2.44 | 154.8567 | 2.8033 | 170.1667 | 3.1233 | 198.8667 | 3.3133 | 180 | 2.7967 | 891 | 73.7033 | 0.44067
2019-01-05 18:15:00 | 2.1067 | 162.5067 | 2.4233 | 178.5667 | 2.7167 | 185.5333 | 3.1467 | 184.2 | 2.7833 | 891 | 73.3333 | 0.60867
2019-01-05 18:30:00 | 2.08 | 174.2067 | 2.3967 | 191.4333 | 2.7367 | 179.2 | 3.12 | 167.0667 | 2.75 | 891 | 73.5267 | 0.212
2019-01-05 18:45:00 | 2.0167 | 149.1467 | 2.32 | 163.9 | 2.6 | 163.5667 | 3.0833 | 162.1333 | 2.7433 | 891 | 73.7467 | 0.005333
2019-01-05 19:00:00 | 1.41 | 126.3733 | 1.6267 | 138.8667 | 2.12 | 154.6333 | 2.8967 | 158.1333 | 2.75 | 891 | 73.42 | 0
2019-01-05 19:15:00 | 1.4733 | 172.67 | 1.7067 | 189.7333 | 2.1467 | 179.3333 | 2.8367 | 175.2333 | 2.82 | 891 | 73.22 | 0.44067
2019-01-05 19:30:00 | 1.9 | 168.8433 | 2.1867 | 185.5333 | 2.5467 | 177.3333 | 3.2433 | 175.9667 | 2.8933 | 891 | 73.08 | 0.54467
2019-01-05 19:45:00 | 1.66 | 145.5467 | 1.91 | 159.9333 | 2.2167 | 206.9333 | 2.52 | 187 | 2.9867 | 891 | 72.75 | 0
2019-01-05 20:00:00 | 0.79333 | 170.72 | 0.91 | 187.6 | 1.25 | 183.5333 | 1.88 | 179.4 | 3.0033 | 891 | 72.72 | 0
2019-01-05 20:15:00 | 0.7 | 158.17 | 0.82 | 173.8 | 1.4 | 183.6 | 2.1 | 172.7 | 2.99 | 891 | 72.6067 | 0.022667
2019-01-05 20:30:00 | 1.5533 | 182.3367 | 1.7933 | 200.3667 | 2.13 | 186.3667 | 2.7667 | 182.9 | 2.9967 | 891 | 72.7133 | 0
2019-01-05 20:45:00 | 1.7333 | 178.45 | 2 | 196.1 | 2.4233 | 182.0333 | 3.01 | 186.4 | 2.97 | 891 | 73.13 | 0.16467
2019-01-05 21:00:00 | 2.0133 | 181.7367 | 2.32 | 199.7 | 2.6767 | 201.7 | 2.91 | 206.6667 | 2.95 | 891.3333 | 73.5067 | 1.038
2019-01-05 21:15:00 | 2.49 | 174.8733 | 2.8633 | 192.1667 | 3.1233 | 200.8 | 3.63 | 200.1333 | 2.8333 | 892 | 74.17 | 1.3847
2019-01-05 21:30:00 | 2.53 | 155.8333 | 2.91 | 171.2333 | 3.0833 | 189.8667 | 3.5767 | 205.6667 | 2.6867 | 892 | 75.0367 | 1.9613
2019-01-05 21:45:00 | 2.0133 | 183.46 | 2.3267 | 201.6 | 2.72 | 213.5 | 2.9 | 219.3 | 2.73 | 892 | 74.8167 | 2.5767
2019-01-05 22:00:00 | 1.9333 | 173.7533 | 2.2333 | 190.9333 | 2.5733 | 216.4333 | 2.5133 | 220.3 | 2.73 | 892 | 75.45 | 1.9273
2019-01-05 22:15:00 | 1.95 | 154.1867 | 2.24 | 169.4333 | 2.4967 | 208.7 | 2.6033 | 201.0667 | 2.6233 | 892 | 76.2433 | 1.0173
2019-01-05 22:30:00 | 2.0967 | 162.32 | 2.4133 | 178.3667 | 2.61 | 181.1667 | 2.8833 | 207.2 | 2.4633 | 892 | 76.5833 | 0.658
2019-01-05 22:45:00 | 1.84 | 157.7933 | 2.1167 | 173.4 | 2.33 | 201.3667 | 2.4267 | 203.6333 | 2.46 | 892 | 76.7067 | 0.434
2019-01-05 23:00:00 | 1.9933 | 158.4 | 2.3033 | 174.0667 | 2.5567 | 192.9 | 2.4867 | 193.6333 | 2.4667 | 892 | 77.3 | 0.12867
2019-01-05 23:15:00 | 1.78 | 157.99 | 2.05 | 173.6 | 2.32 | 184.4 | 2.33 | 187.2 | 2.5 | 892 | 77.44 | 0
2019-01-05 23:30:00 | 1.7933 | 170.6333 | 2.06 | 187.5 | 2.4767 | 185.0333 | 2.3267 | 186.4 | 2.4833 | 892 | 78.05 | 0
2019-01-05 23:45:00 | 1.6 | 164.1067 | 1.84 | 180.3333 | 2.1967 | 186.2667 | 2.0633 | 188.3667 | 2.5033 | 891.3333 | 78.6933 | 0