## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-06 00:00:00 | 1.3733 | 161.9333 | 1.5867 | 177.9333 | 1.8567 | 186.7 | 1.8767 | 187.7667 | 2.51 | 891 | 79.0467 | 0
2019-01-06 00:15:00 | 1.1733 | 171.5333 | 1.3567 | 188.5 | 1.7133 | 190.3 | 2.1633 | 211.9333 | 2.4933 | 891 | 79.7533 | 0.274
2019-01-06 00:30:00 | 1.2667 | 169.8467 | 1.4567 | 186.6333 | 2.1467 | 213.1667 | 2.6833 | 223.2667 | 2.4533 | 891 | 80.0933 | 0.95267
2019-01-06 00:45:00 | 2.19 | 170.0567 | 2.5167 | 186.8667 | 3.4467 | 220.9 | 3.5267 | 217.6 | 2.3733 | 891 | 80.6 | 1.4067
2019-01-06 01:00:00 | 1.6833 | 180.61 | 1.9367 | 198.4667 | 2.56 | 218.2333 | 2.96 | 220.6667 | 2.4667 | 891 | 80.5667 | 1.0833
2019-01-06 01:15:00 | 1.6 | 174.9433 | 1.8533 | 192.2333 | 2.7167 | 220.3 | 2.89 | 222.2 | 2.4533 | 891 | 81.1 | 1.316
2019-01-06 01:30:00 | 1.34 | 160.7367 | 1.5467 | 176.6333 | 2.31 | 220.2333 | 2.5767 | 226.8667 | 2.36 | 891 | 81.7333 | 0.732
2019-01-06 01:45:00 | 0.88667 | 171.08 | 1.0233 | 188 | 1.5667 | 206.8 | 2.1067 | 210.9 | 2.2633 | 891 | 82.2 | 0.46
2019-01-06 02:00:00 | 1.0267 | 157.8533 | 1.1767 | 173.4667 | 1.78 | 183.7333 | 1.76 | 204.8333 | 2.0833 | 891 | 82.2333 | 0
2019-01-06 02:15:00 | 0.72667 | 158.4333 | 0.83667 | 174.1 | 1.18 | 186.2667 | 1.4933 | 214.3333 | 2.12 | 891 | 81.6 | 0
2019-01-06 02:30:00 | 0.11333 | 175.18 | 0.13 | 192.5 | 0.22 | 207.3333 | 0.61333 | 233.8 | 2.1667 | 890.6667 | 81.6333 | 0
2019-01-06 02:45:00 | 0.006667 | 154.7967 | 0.006667 | 170.1 | 0.01 | 214.2 | 0.066667 | 233.8 | 2.18 | 890 | 81.9 | 0
2019-01-06 03:00:00 | 0.36 | 114.03 | 0.41333 | 125.3 | 0.71667 | 210.3 | 1.2133 | 207.9667 | 2.2867 | 890 | 81.7 | 0
2019-01-06 03:15:00 | 0.5 | 141.96 | 0.58 | 156 | 0.99333 | 215.2 | 1.5933 | 208.1333 | 2.3067 | 890 | 81.7 | 0.030667
2019-01-06 03:30:00 | 0.72667 | 147.42 | 0.83333 | 162 | 1.42 | 233.6333 | 1.7533 | 247.8 | 2.3333 | 890 | 82.1 | 0
2019-01-06 03:45:00 | 0.79333 | 174.6033 | 0.92 | 191.8667 | 1.4533 | 216.9 | 1.3867 | 206.5333 | 2.4267 | 890 | 82.4 | 0
2019-01-06 04:00:00 | 0.57333 | 197.6033 | 0.66 | 217.1333 | 1.0933 | 219.9667 | 1.0333 | 206.4667 | 2.48 | 889.3333 | 82 | 0
2019-01-06 04:15:00 | 0.64 | 210.95 | 0.74 | 231.8 | 1.2667 | 241.9667 | 1.3567 | 248.4333 | 2.43 | 890 | 82.3 | 0
2019-01-06 04:30:00 | 0.22667 | 210.95 | 0.26667 | 231.8 | 0.43333 | 226.9 | 0.94333 | 242.5 | 2.39 | 889.6667 | 82.4333 | 0
2019-01-06 04:45:00 | 0.51733 | 85.5693 | 0.6 | 94.0287 | 0.432 | 166.12 | 0.053333 | 267.34 | 1.87 | 889 | 84.8333 | 0
2019-01-06 05:00:00 | 1.4667 | 310.5233 | 1.6867 | 341.2333 | 1.8667 | 8.8533 | 0.85333 | 347.0333 | 1.55 | 889 | 87.3667 | 0
2019-01-06 05:15:00 | 1.88 | 216.5967 | 2.1633 | 238.0167 | 2.4567 | 13.7367 | 1.5633 | 239.8767 | 1.3667 | 889 | 88.9667 | 0
2019-01-06 05:30:00 | 2.22 | 216.5367 | 2.5567 | 237.95 | 2.9833 | 18.3433 | 2.51 | 11.6433 | 1.32 | 888.6667 | 89.4333 | 0
2019-01-06 05:45:00 | 2.0367 | 313.31 | 2.3467 | 344.3 | 2.9733 | 17.8567 | 3.0433 | 25.8367 | 1.3867 | 888 | 88.7667 | 0
2019-01-06 06:00:00 | 1.9833 | 307.88 | 2.2933 | 338.3333 | 2.5 | 14.97 | 2.8633 | 23.5833 | 1.4067 | 888 | 88.5333 | 0
2019-01-06 06:15:00 | 2.3133 | 316.4767 | 2.6567 | 347.7667 | 2.59 | 122.9067 | 2.8367 | 127.5733 | 1.3433 | 888 | 89.1 | 0
2019-01-06 06:30:00 | 2.1867 | 305.9233 | 2.5167 | 336.1667 | 2.3033 | 120.6333 | 2.1567 | 125.9667 | 1.35 | 888 | 89.1667 | 0
2019-01-06 06:45:00 | 2.0267 | 214.2367 | 2.3333 | 235.4167 | 2.57 | 17.2867 | 2.2733 | 21.5533 | 1.3633 | 888 | 89.7667 | 0
2019-01-06 07:00:00 | 2.0133 | 204.7633 | 2.3267 | 225.0167 | 2.5433 | 9.34 | 2.3267 | 26.32 | 1.25 | 888 | 91.1 | 0
2019-01-06 07:15:00 | 2.34 | 11.66 | 2.69 | 12.8133 | 2.99 | 11.5367 | 2.4 | 16.81 | 1.0333 | 888 | 92.7333 | 0
2019-01-06 07:30:00 | 2.84 | 10.6733 | 3.2633 | 11.7267 | 3.4967 | 7.29 | 3 | 20.2967 | 0.79333 | 888.3333 | 93.8 | 0
2019-01-06 07:45:00 | 2.958 | 1.9127 | 3.4067 | 2.0967 | 3.4113 | 4.282 | 3.1847 | 14.296 | 0.63267 | 889 | 94.6667 | 0
2019-01-06 08:00:00 | 2.7733 | 6.7967 | 3.1933 | 7.4633 | 3.1967 | 2.4367 | 3.02 | 14.4033 | 0.66333 | 889 | 94.8333 | 0
2019-01-06 08:15:00 | 2.7767 | 213.7167 | 3.1933 | 234.8533 | 3.2 | 9.8033 | 2.94 | 10.51 | 0.70333 | 889 | 94.8333 | 0
2019-01-06 08:30:00 | 2.7833 | 1.5767 | 3.2 | 1.7267 | 3.04 | 4.91 | 2.8533 | 6.05 | 0.65667 | 889 | 95.5 | 0
2019-01-06 08:45:00 | 2.5733 | 297.1433 | 2.96 | 326.5333 | 3.3567 | 12.4633 | 3.4 | 119.6867 | 0.60667 | 889 | 96 | 0
2019-01-06 09:00:00 | 2.5467 | 314.07 | 2.9333 | 345.1333 | 3.0033 | 12.5633 | 3.1267 | 124.2267 | 0.6 | 889 | 96.2333 | 0
2019-01-06 09:15:00 | 2.82 | 102.0733 | 3.2467 | 112.1667 | 3.2533 | 2.7567 | 3.0833 | 7.1233 | 0.56333 | 889 | 96.7 | 0
2019-01-06 09:30:00 | 2.7933 | 310.5 | 3.22 | 341.2 | 3.36 | 2.6967 | 3.1233 | 33.3633 | 0.59 | 889.3333 | 97.0333 | 0
2019-01-06 09:45:00 | 2.6733 | 301.6933 | 3.0733 | 331.5333 | 3.4933 | 2.2267 | 3.2333 | 9.4233 | 0.61667 | 890 | 97.2 | 0.15
2019-01-06 10:00:00 | 2.7533 | 318.44 | 3.1733 | 349.9333 | 3.6267 | 7.22 | 3.4867 | 8.9033 | 0.59667 | 890 | 97.6 | 0.48733
2019-01-06 10:15:00 | 2.88 | 281.0067 | 3.3067 | 308.8 | 3.9767 | 6.4933 | 3.7367 | 6.91 | 0.64667 | 890 | 97.7 | 0.49333
2019-01-06 10:30:00 | 3.0767 | 95.5067 | 3.54 | 104.9467 | 3.8967 | 5.3133 | 3.6233 | 0.25667 | 0.7 | 890 | 97.4667 | 0.45933
2019-01-06 10:45:00 | 3.24 | 106.41 | 3.7267 | 116.9267 | 3.91 | 0.68 | 3.6867 | 3.65 | 0.74667 | 890 | 97 | 0.88467
2019-01-06 11:00:00 | 2.92 | 307.55 | 3.3667 | 337.9667 | 3.8233 | 2.9867 | 3.7 | 1.15 | 0.80667 | 890.3333 | 96.7 | 0.92
2019-01-06 11:15:00 | 3.1533 | 232.2767 | 3.6367 | 255.2467 | 4.1533 | 3.2667 | 4.0567 | 14.1967 | 0.85667 | 891 | 96.4667 | 1.6447
2019-01-06 11:30:00 | 3.1667 | 18.27 | 3.6433 | 20.0667 | 4.2533 | 6.22 | 4.0633 | 14.2633 | 0.81667 | 890 | 96.8 | 2.1187
2019-01-06 11:45:00 | 3.2567 | 3.9847 | 3.744 | 4.368 | 4.57 | 1.2207 | 4.356 | 11.7193 | 0.83267 | 890 | 97.1 | 2.2407
2019-01-06 12:00:00 | 3.2733 | 15.05 | 3.7667 | 16.5267 | 4.3167 | 3.0367 | 4.1333 | 11.08 | 0.82667 | 890 | 97.1333 | 2.4967
2019-01-06 12:15:00 | 3.2567 | 306.3067 | 3.7467 | 336.6 | 4.4567 | 122.44 | 4.0633 | 14.5467 | 0.83 | 890 | 97.1333 | 3.21
2019-01-06 12:30:00 | 3.6033 | 128.74 | 4.1467 | 141.4667 | 4.69 | 126.38 | 4.59 | 14.16 | 0.87667 | 890 | 97.1667 | 4.214
2019-01-06 12:45:00 | 3.4533 | 112.6833 | 3.9733 | 123.82 | 4.7133 | 6.64 | 4.6867 | 11.97 | 1.0133 | 890 | 96.6 | 4.9287
2019-01-06 13:00:00 | 3.1333 | 121.5833 | 3.6133 | 133.6 | 4.6067 | 184.48 | 4.6733 | 14.9833 | 1.1333 | 890 | 96.2667 | 4.8873
2019-01-06 13:15:00 | 3.0633 | 11.8967 | 3.5267 | 13.07 | 4.33 | 121.3467 | 4.3133 | 4.38 | 1.15 | 890 | 96.1333 | 4.5353
2019-01-06 13:30:00 | 3.0833 | 13.3567 | 3.5467 | 14.6767 | 4.01 | 355.4667 | 4.1 | 7.72 | 1.15 | 889 | 95.8667 | 4.8707
2019-01-06 13:45:00 | 2.99 | 7.1933 | 3.4367 | 7.9033 | 4.3167 | 184 | 4.3367 | 6.9333 | 1.28 | 889 | 95.5 | 4.98
2019-01-06 14:00:00 | 2.8233 | 36.4 | 3.25 | 39.9967 | 4.3167 | 341.9333 | 4.2433 | 10.5333 | 1.3667 | 889 | 95.2667 | 4.7793
2019-01-06 14:15:00 | 2.8267 | 125.0033 | 3.2533 | 137.36 | 4.5233 | 4.5233 | 4.2833 | 4.34 | 1.55 | 889 | 94.8667 | 4.686
2019-01-06 14:30:00 | 2.9773 | 316.0433 | 3.4227 | 347.2933 | 4.514 | 5.8713 | 4.2193 | 2.204 | 1.5887 | 889 | 94.6 | 6.084
2019-01-06 14:45:00 | 2.82 | 192.9767 | 3.2467 | 212.0667 | 4.58 | 12.87 | 4.35 | 0.2 | 1.7633 | 889 | 94.5 | 6.1393
2019-01-06 15:00:00 | 2.8067 | 88.3833 | 3.2267 | 97.12 | 4.3 | 13.3233 | 4.1633 | 3.5667 | 1.81 | 889 | 94.1 | 6.268
2019-01-06 15:15:00 | 2.9467 | 123.9633 | 3.4 | 136.22 | 4.4133 | 6.6 | 4.42 | 15.91 | 1.7833 | 889 | 94.4333 | 6.968
2019-01-06 15:30:00 | 2.88 | 113.5833 | 3.32 | 124.82 | 4.6133 | 10.88 | 4.5933 | 20.4167 | 1.8333 | 889 | 94.2667 | 6.7807
2019-01-06 15:45:00 | 3.3173 | 6.0593 | 3.8127 | 6.656 | 4.97 | 255.6573 | 4.9233 | 5.7867 | 1.768 | 889 | 94.08 | 9.7693
2019-01-06 16:00:00 | 3.2733 | 221.45 | 3.7633 | 243.35 | 5.12 | 19.5433 | 4.95 | 9.2133 | 1.7467 | 889 | 94.3333 | 10.9907
2019-01-06 16:15:00 | 3.5267 | 227.3433 | 4.0633 | 249.8233 | 5.87 | 35.3733 | 5.6733 | 17.3167 | 1.7567 | 889 | 94.4667 | 14.794
2019-01-06 16:30:00 | 3.9333 | 224.7433 | 4.5367 | 246.9567 | 6.3833 | 18.2333 | 6.0667 | 15.8633 | 1.6633 | 889 | 94.6667 | 16.7087
2019-01-06 16:45:00 | 3.3867 | 17.71 | 3.9 | 19.46 | 6.0167 | 13.6533 | 5.78 | 17.3433 | 1.63 | 889 | 95.2667 | 12.4213
2019-01-06 17:00:00 | 2.7067 | 216.85 | 3.12 | 238.2867 | 4.73 | 17.9067 | 4.4667 | 15.4967 | 1.59 | 889 | 95.4 | 9.002
2019-01-06 17:15:00 | 2.8533 | 89.3567 | 3.2867 | 98.1933 | 5.04 | 351.6 | 4.9333 | 10.5 | 1.5367 | 889 | 95.4667 | 10.102
2019-01-06 17:30:00 | 3.24 | 88.9167 | 3.7333 | 97.7067 | 5.5567 | 355.6 | 5.2867 | 4.2267 | 1.5167 | 889 | 95.4 | 12.0533
2019-01-06 17:45:00 | 3.12 | 26.1567 | 3.59 | 28.7433 | 5.3267 | 7.4267 | 5.28 | 14.3533 | 1.4633 | 889 | 95.6667 | 12.9093
2019-01-06 18:00:00 | 3.0533 | 12.3167 | 3.5167 | 13.53 | 5.1 | 5.2667 | 5.0667 | 12.2467 | 1.41 | 889 | 95.8 | 10.9647
2019-01-06 18:15:00 | 2.9133 | 216.8267 | 3.3467 | 238.2667 | 4.9 | 7.9167 | 4.7867 | 6.68 | 1.37 | 889 | 95.6 | 11.3587
2019-01-06 18:30:00 | 2.7467 | 216.7667 | 3.16 | 238.2 | 5.1267 | 239.9567 | 4.8733 | 7.8933 | 1.31 | 889 | 95.8333 | 12.2767
2019-01-06 18:45:00 | 2.8867 | 26.0267 | 3.3233 | 28.6 | 5.09 | 236.1167 | 4.7233 | 5.69 | 1.2733 | 889 | 95.9667 | 11.8633
2019-01-06 19:00:00 | 2.7933 | 23.4 | 3.2167 | 25.7133 | 4.6633 | 239.7167 | 4.5367 | 7.2967 | 1.2633 | 889 | 96.0667 | 10.0393
2019-01-06 19:15:00 | 2.3133 | 218.86 | 2.66 | 240.5067 | 4.0333 | 31.85 | 4.1567 | 24.69 | 1.2133 | 889 | 96.4 | 9.5013
2019-01-06 19:30:00 | 2.132 | 154.7453 | 2.4507 | 170.0507 | 3.8093 | 23.1567 | 4.036 | 21.2253 | 1.1907 | 889.3333 | 96.3667 | 9.5753
2019-01-06 19:45:00 | 2.4367 | 304.4933 | 2.8067 | 334.6 | 4.4367 | 10.01 | 4.76 | 12.4867 | 1.1733 | 890 | 96.1 | 10.056
2019-01-06 20:00:00 | 2.55 | 142.6333 | 2.9333 | 156.7333 | 4.9433 | 11.79 | 5.0533 | 19.92 | 1.1133 | 890 | 96.2333 | 10.5093
2019-01-06 20:15:00 | 2.5333 | 302.5833 | 2.9167 | 332.5 | 4.9567 | 11.5667 | 5.19 | 18.2 | 1.1133 | 890 | 95.8333 | 9.1747
2019-01-06 20:30:00 | 2.4667 | 124.5233 | 2.8367 | 136.8333 | 4.7033 | 11.7267 | 4.7833 | 11.6933 | 1.1 | 890 | 95.5 | 8.4033
2019-01-06 20:45:00 | 2.37 | 118.12 | 2.7233 | 129.7933 | 4.4033 | 6.3167 | 4.62 | 17.7733 | 1.16 | 890 | 94.5 | 6.982
2019-01-06 21:00:00 | 2.05 | 127.2933 | 2.3567 | 139.88 | 3.8767 | 3.15 | 4.1667 | 18.9733 | 1.1567 | 890 | 94.2 | 6.5293
2019-01-06 21:15:00 | 2.3333 | 24.4433 | 2.6867 | 26.8567 | 3.8 | 1.5833 | 4.0433 | 6.3067 | 1.2133 | 890 | 93.6333 | 9.0107
2019-01-06 21:30:00 | 2.2667 | 212.4167 | 2.6067 | 233.4167 | 4.1 | 12.19 | 4.5033 | 18.26 | 1.1933 | 890 | 93.7 | 8.524
2019-01-06 21:45:00 | 2.19 | 307.2767 | 2.52 | 337.6667 | 4.1733 | 8.74 | 4.5667 | 16.69 | 1.0733 | 890 | 94.7 | 7.6167
2019-01-06 22:00:00 | 2.1967 | 293.3233 | 2.5267 | 322.3333 | 4.0867 | 7.0067 | 4.5 | 18.3433 | 1.0467 | 890.3333 | 95 | 7.1207
2019-01-06 22:15:00 | 2.3333 | 308.0633 | 2.6833 | 338.5333 | 4.2967 | 11.5333 | 4.95 | 19.9967 | 1.0533 | 891 | 94.7 | 6.2887
2019-01-06 22:30:00 | 2.26 | 309.71 | 2.61 | 340.3333 | 4.3167 | 12.4067 | 4.6233 | 18.9433 | 1.0667 | 891 | 94.4667 | 5.9207
2019-01-06 22:45:00 | 2.3133 | 227.9967 | 2.6733 | 250.55 | 4.54 | 11.2567 | 4.6633 | 13.0467 | 1.06 | 891 | 94.3333 | 5.3013
2019-01-06 23:00:00 | 2.38 | 223.1433 | 2.74 | 245.2167 | 4.34 | 7.7233 | 4.5967 | 11.5867 | 1.0533 | 891 | 94.4333 | 6.17
2019-01-06 23:15:00 | 2.6333 | 211.4767 | 3.0267 | 232.3933 | 4.9867 | 18.2133 | 5.3367 | 16.4433 | 1.12 | 890.3333 | 94.0333 | 5.01
2019-01-06 23:30:00 | 2.42 | 198.5633 | 2.7933 | 218.1933 | 4.6467 | 29.52 | 5.1567 | 17.3167 | 1.1133 | 890 | 93.9333 | 3.3373
2019-01-06 23:45:00 | 1.9067 | 176.4833 | 2.19 | 193.9333 | 3.7233 | 11.4267 | 4.1933 | 12.93 | 1.09 | 890 | 93.9667 | 2.8987