## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-07 00:00:00 | 2.02 | 192.3233 | 2.3233 | 211.3333 | 3.6433 | 240.8933 | 3.98 | 8.5833 | 1.1067 | 890 | 93.5333 | 2.7413
2019-01-07 00:15:00 | 2.2933 | 269.3867 | 2.6433 | 296.0333 | 4.2533 | 5.6267 | 4.1067 | 11.5967 | 1.1967 | 890 | 92.3333 | 2.6207
2019-01-07 00:30:00 | 2.1733 | 256.04 | 2.51 | 281.3667 | 4.2267 | 238.5933 | 4.1667 | 9.4567 | 1.23 | 890 | 91.5333 | 4.2613
2019-01-07 00:45:00 | 2.3467 | 272.1233 | 2.71 | 299.0333 | 4.22 | 8.4 | 4.2733 | 24.34 | 1.2333 | 890 | 91.7 | 4.212
2019-01-07 01:00:00 | 2.5533 | 98.65 | 2.9433 | 108.4 | 4.4133 | 10.38 | 4.3733 | 17.32 | 1.2333 | 890 | 92.1333 | 4.3513
2019-01-07 01:15:00 | 2.3833 | 226.39 | 2.75 | 248.7767 | 3.9667 | 27.8633 | 4.2667 | 4.8667 | 1.1733 | 890 | 92.9 | 7.0113
2019-01-07 01:30:00 | 2.7833 | 194.1167 | 3.2033 | 213.31 | 4.8533 | 10.1167 | 5.08 | 8.7933 | 1.0933 | 890 | 94.3 | 7.156
2019-01-07 01:45:00 | 2.74 | 10.97 | 3.1533 | 12.05 | 4.7533 | 14.45 | 4.5767 | 17.08 | 0.99 | 890 | 95.6667 | 6.1907
2019-01-07 02:00:00 | 2.6533 | 216.5367 | 3.0533 | 237.95 | 4.4933 | 15.9567 | 4.7233 | 15.2267 | 0.98333 | 890 | 95.8 | 7.4767
2019-01-07 02:15:00 | 2.4533 | 308.7067 | 2.8233 | 339.2333 | 4.55 | 12.0967 | 4.87 | 9.7167 | 0.92667 | 890.6667 | 96.1333 | 10.3433
2019-01-07 02:30:00 | 2.3333 | 305.44 | 2.6833 | 335.6333 | 4.21 | 12.47 | 4.79 | 11.7767 | 0.86667 | 891 | 96.8667 | 12.6333
2019-01-07 02:45:00 | 2.1933 | 26.0767 | 2.5267 | 28.6567 | 3.7667 | 11.1433 | 4.19 | 14.29 | 0.80667 | 891 | 97.7 | 14.8433
2019-01-07 03:00:00 | 2.12 | 211.1367 | 2.44 | 232.01 | 4.0333 | 18.8967 | 4.03 | 20.89 | 0.77333 | 890 | 98.0333 | 14.232
2019-01-07 03:15:00 | 2.43 | 13.2 | 2.7933 | 14.5 | 4.3367 | 20.0967 | 4.78 | 30.98 | 0.73667 | 890 | 98.3667 | 16.8087
2019-01-07 03:30:00 | 2.5833 | 61.28 | 2.9733 | 67.34 | 4.59 | 17.4167 | 4.9067 | 15.26 | 0.71667 | 891 | 98.6333 | 17.7667
2019-01-07 03:45:00 | 2.7033 | 317.68 | 3.11 | 349.1 | 4.87 | 21.7967 | 5.2667 | 20.21 | 0.68 | 891 | 99 | 22.3073
2019-01-07 04:00:00 | 3.27 | 320.6 | 3.7633 | 352.3 | 5.79 | 25.6567 | 6.1467 | 33.1833 | 0.64667 | 890.6667 | 99.3333 | 23.4933
2019-01-07 04:15:00 | 3.1667 | 1.3067 | 3.6433 | 1.4367 | 6.1067 | 24.7933 | 6.6367 | 30.5533 | 0.62 | 890 | 99.4667 | 22.3273
2019-01-07 04:30:00 | 3.1333 | 41.3267 | 3.6167 | 45.4033 | 5.9667 | 18.2133 | 6.2767 | 25.2333 | 0.59333 | 890 | 99.5 | 22.4253
2019-01-07 04:45:00 | 3.04 | 305.1933 | 3.51 | 335.3667 | 5.33 | 19.5967 | 5.99 | 25.5233 | 0.62 | 890.6667 | 99.0667 | 20.9093
2019-01-07 05:00:00 | 3 | 308.8933 | 3.4633 | 339.4333 | 5.5167 | 17.2967 | 6.53 | 19.4767 | 0.68667 | 890 | 97.9333 | 22.91
2019-01-07 05:15:00 | 2.68 | 114.8367 | 3.0933 | 126.1933 | 4.9633 | 13.3033 | 5.78 | 14.46 | 0.62333 | 890 | 97.9333 | 21.468
2019-01-07 05:30:00 | 2.58 | 113.47 | 2.9667 | 124.68 | 4.6167 | 18.5233 | 4.9067 | 19.8933 | 0.57667 | 890 | 98.3333 | 23.9527
2019-01-07 05:45:00 | 3.02 | 115.4067 | 3.48 | 126.82 | 5.65 | 16.41 | 6.3133 | 25.69 | 0.55 | 890 | 98.4667 | 24.1507
2019-01-07 06:00:00 | 3.1733 | 321.9033 | 3.6533 | 353.7333 | 5.9167 | 24.7833 | 6.5667 | 25.0367 | 0.59667 | 890 | 97.6667 | 23.2707
2019-01-07 06:15:00 | 3.1033 | 33.0433 | 3.5733 | 36.3133 | 5.7467 | 32.27 | 5.3133 | 40.22 | 0.7 | 890 | 96.2333 | 21.8407
2019-01-07 06:30:00 | 2.9433 | 45.83 | 3.3933 | 50.36 | 5.7333 | 26.7233 | 6.3267 | 32.1733 | 0.73333 | 890.3333 | 95.7 | 24.0607
2019-01-07 06:45:00 | 3.062 | 72.678 | 3.52 | 79.856 | 5.9513 | 26.002 | 6.752 | 30.186 | 0.692 | 891 | 95.98 | 24.3067
2019-01-07 07:00:00 | 3.1967 | 164.29 | 3.6733 | 180.5333 | 6.02 | 20.0767 | 6.46 | 26.6367 | 0.66667 | 891 | 96.3 | 21.1313
2019-01-07 07:15:00 | 3.1533 | 283.9333 | 3.6333 | 312 | 5.65 | 244.9733 | 6.26 | 24.4167 | 0.70667 | 891 | 95.8 | 24.1253
2019-01-07 07:30:00 | 3.3933 | 314.38 | 3.9067 | 345.4667 | 5.9233 | 24.0667 | 6.4767 | 27.9967 | 0.76667 | 891 | 94.7333 | 24.5387
2019-01-07 07:45:00 | 3.34 | 245.4267 | 3.8433 | 269.7 | 6.2633 | 23.5933 | 6.98 | 27.0767 | 0.74333 | 891 | 94.4667 | 22.062
2019-01-07 08:00:00 | 3.34 | 247.4933 | 3.8433 | 271.9667 | 6.4233 | 23.9933 | 7.1667 | 26.9167 | 0.62333 | 891 | 94.6 | 20.722
2019-01-07 08:15:00 | 3.2 | 30.8 | 3.69 | 33.84 | 5.6133 | 23.9667 | 6.1733 | 26.78 | 0.64667 | 891 | 92.7 | 21.312
2019-01-07 08:30:00 | 3.12 | 6.4333 | 3.59 | 7.06 | 5.7333 | 16.3933 | 6.1733 | 21.98 | 0.74667 | 892 | 91.1 | 22.482
2019-01-07 08:45:00 | 3.28 | 218.47 | 3.78 | 240.0733 | 6.0733 | 15.0833 | 6.57 | 25.1933 | 0.62667 | 892 | 90.9333 | 22.6013
2019-01-07 09:00:00 | 3.1867 | 29.95 | 3.66 | 32.9133 | 6.1 | 21.03 | 6.4367 | 26.8 | 0.70667 | 892 | 90.5 | 23.9053
2019-01-07 09:15:00 | 3.3333 | 10.4767 | 3.8333 | 11.51 | 6.45 | 16.1067 | 6.9267 | 25.2733 | 1.3733 | 892 | 88.0333 | 24.8407
2019-01-07 09:30:00 | 3.7067 | 215.45 | 4.26 | 236.75 | 6.8567 | 19.0933 | 7.1467 | 24.6733 | 2.1 | 893 | 84.1667 | 28.774
2019-01-07 09:45:00 | 4.3133 | 306.698 | 4.962 | 337.02 | 7.8593 | 14.988 | 8.148 | 24.2173 | 2.8333 | 893.6667 | 79.25 | 30.4107
2019-01-07 10:00:00 | 4.4933 | 104.29 | 5.1733 | 114.6067 | 8.2567 | 47.4267 | 8.3467 | 33.41 | 3.5167 | 894 | 74.47 | 29.2273
2019-01-07 10:15:00 | 4.8833 | 211.63 | 5.6233 | 232.5633 | 8.7467 | 19.2533 | 9.2067 | 21.4833 | 4.09 | 894 | 68.6033 | 33.3807
2019-01-07 10:30:00 | 5.1833 | 188.5767 | 5.9633 | 207.23 | 9.2733 | 21.0667 | 9.5867 | 21.9833 | 4.4167 | 894.3333 | 64.17 | 38.4207
2019-01-07 10:45:00 | 5.4733 | 111.1667 | 6.2967 | 122.16 | 9.4033 | 22.3367 | 9.5967 | 29.0433 | 4.65 | 895 | 61.38 | 42.6847
2019-01-07 11:00:00 | 6 | 269.2067 | 6.91 | 295.8333 | 10.2967 | 20.39 | 10.5967 | 24.6167 | 4.5233 | 895 | 59.3533 | 43.114
2019-01-07 11:15:00 | 5.9433 | 119.41 | 6.8367 | 131.2133 | 10.24 | 19.7 | 10.5567 | 32.5267 | 4.8033 | 895 | 56.7 | 41.87
2019-01-07 11:30:00 | 6.3367 | 307.7367 | 7.2833 | 338.1667 | 10.97 | 15.58 | 10.6633 | 23.58 | 4.7767 | 895 | 55.16 | 42.072
2019-01-07 11:45:00 | 6.7533 | 187.2567 | 7.7667 | 205.7767 | 11.8133 | 17.6933 | 11.5933 | 22.7533 | 5.1067 | 894.3333 | 51.5633 | 41.7327
2019-01-07 12:00:00 | 6.8267 | 176.9433 | 7.8533 | 194.4433 | 11.9533 | 16.8867 | 11.7133 | 21.0333 | 5.44 | 894 | 49.6233 | 41.1533
2019-01-07 12:15:00 | 6.8067 | 204.2933 | 7.8267 | 224.4933 | 12.1167 | 16.19 | 11.76 | 22.32 | 6.08 | 894 | 46.74 | 41.448
2019-01-07 12:30:00 | 6.56 | 196.0467 | 7.5533 | 215.4267 | 11.67 | 5.1167 | 11.2933 | 17.3867 | 6.04 | 894 | 46.0267 | 38.036
2019-01-07 12:45:00 | 6.3133 | 139.5333 | 7.26 | 153.32 | 11.2933 | 11.9367 | 11.08 | 19.9567 | 6.72 | 894 | 45.8233 | 35.078
2019-01-07 13:00:00 | 6.0067 | 54.34 | 6.9067 | 59.7133 | 10.6867 | 17.2567 | 10.4 | 24.4433 | 7.12 | 894 | 44.4533 | 33.736
2019-01-07 13:15:00 | 5.73 | 112.3967 | 6.5967 | 123.5067 | 10.21 | 14.8933 | 9.7067 | 18.07 | 6.88 | 894 | 43.3933 | 31.1373
2019-01-07 13:30:00 | 5.29 | 108.47 | 6.0833 | 119.1933 | 9.3433 | 14.3067 | 9.06 | 24.7967 | 6.76 | 894 | 42.76 | 24.156
2019-01-07 13:45:00 | 4.9327 | 55.474 | 5.6733 | 60.956 | 8.6767 | 13.2713 | 8.3333 | 22.5333 | 6.778 | 894 | 42.36 | 19.0753
2019-01-07 14:00:00 | 4.5733 | 183.7567 | 5.26 | 201.93 | 7.7733 | 10.79 | 7.3333 | 20.6567 | 7.1533 | 893.6667 | 42.06 | 15.654
2019-01-07 14:15:00 | 4.26 | 271.0867 | 4.9067 | 297.9 | 7.4133 | 10.5467 | 6.9867 | 13.22 | 7.6767 | 893 | 40.38 | 12.4527
2019-01-07 14:30:00 | 4.2733 | 279.4067 | 4.9133 | 307.0333 | 6.9267 | 12.9933 | 6.9067 | 23.0733 | 7.2567 | 893 | 40.52 | 12.2413
2019-01-07 14:45:00 | 4.18 | 206.2867 | 4.8133 | 226.69 | 7.3767 | 12.97 | 6.9333 | 13.6367 | 8.0067 | 893 | 39.7433 | 10.4407
2019-01-07 15:00:00 | 4.14 | 199.98 | 4.7667 | 219.7567 | 7.2167 | 8.3567 | 6.6833 | 23.9367 | 8.1733 | 893 | 39.11 | 9.302
2019-01-07 15:15:00 | 3.3567 | 39.7733 | 3.8567 | 43.6933 | 5.93 | 238.1967 | 5.7933 | 21.9 | 8.05 | 893 | 38.9067 | 7.3193
2019-01-07 15:30:00 | 3.5167 | 96.0733 | 4.0433 | 105.5667 | 6.2433 | 16.9033 | 6.0467 | 28.9467 | 8.11 | 893 | 38.24 | 7.1587
2019-01-07 15:45:00 | 3.88 | 2.9333 | 4.4633 | 3.2133 | 6.69 | 19.42 | 6.4633 | 16.54 | 7.6133 | 893 | 38.04 | 9.058
2019-01-07 16:00:00 | 3.1733 | 81.08 | 3.6567 | 89.0867 | 5.7233 | 27.5333 | 5.3567 | 27.0867 | 7.3733 | 893 | 38.3033 | 5.5107
2019-01-07 16:15:00 | 3.2033 | 215.3167 | 3.69 | 236.6067 | 5.58 | 17.02 | 6.0033 | 29.9733 | 7.07 | 893 | 37.9833 | 3.068
2019-01-07 16:30:00 | 3.51 | 185.4167 | 4.0367 | 203.74 | 5.9067 | 20.44 | 6.2833 | 39.2267 | 6.7633 | 893 | 38.7567 | 3.804
2019-01-07 16:45:00 | 3.0313 | 287.0067 | 3.4853 | 315.3867 | 5.434 | 26.4807 | 5.2733 | 32.3587 | 6.6267 | 893 | 39.2207 | 5.854
2019-01-07 17:00:00 | 3.0233 | 224.28 | 3.4867 | 246.4667 | 5.4167 | 24.0967 | 5.1933 | 45.2267 | 6.1733 | 893 | 40.19 | 6.13
2019-01-07 17:15:00 | 2.86 | 244.9133 | 3.3 | 269.1333 | 5.3133 | 38.71 | 4.99 | 31.6567 | 5.5233 | 893 | 41.2267 | 7.8807
2019-01-07 17:30:00 | 3.3267 | 229.0267 | 3.8267 | 251.6667 | 5.84 | 37.9633 | 4.5433 | 33.7033 | 5.0367 | 893 | 41.72 | 9.4587
2019-01-07 17:45:00 | 3.1533 | 303.3167 | 3.6267 | 333.3 | 5.6467 | 48.7033 | 4.0733 | 28.1567 | 4.6467 | 892.3333 | 42.6867 | 11.572
2019-01-07 18:00:00 | 2.8067 | 124.6367 | 3.2333 | 136.9533 | 4.92 | 47.41 | 3.6667 | 23.3767 | 4.4133 | 892 | 42.9867 | 14.236
2019-01-07 18:15:00 | 3.15 | 200.2067 | 3.62 | 220 | 5.81 | 33.8167 | 4.4933 | 29.62 | 3.9833 | 892 | 44.3533 | 12.8087
2019-01-07 18:30:00 | 2.3167 | 181.7 | 2.6667 | 199.6667 | 4.29 | 53.0167 | 3.42 | 32.8667 | 3.7167 | 892 | 44.9167 | 10.912
2019-01-07 18:45:00 | 2.8 | 307.12 | 3.22 | 337.5 | 5.1333 | 29.91 | 4.3067 | 23.15 | 3.5433 | 892 | 44.57 | 12.0233
2019-01-07 19:00:00 | 3.4933 | 102.2233 | 4.02 | 112.3333 | 6.1467 | 15.9033 | 5.5 | 22.65 | 3.3633 | 892 | 45.7567 | 14.2447
2019-01-07 19:15:00 | 3.7933 | 269.5833 | 4.36 | 296.2333 | 7.2567 | 16.09 | 7.2933 | 31.9767 | 2.93 | 892.6667 | 47.94 | 11.0773
2019-01-07 19:30:00 | 3.0867 | 204.0033 | 3.5533 | 224.1667 | 6.0167 | 22.4833 | 6.4267 | 21.3233 | 2.69 | 893 | 48.9067 | 7.3327
2019-01-07 19:45:00 | 2.6467 | 235.6433 | 3.0433 | 258.9333 | 5.2333 | 18.25 | 5.9433 | 32.0767 | 2.2933 | 893 | 50.85 | 4.062
2019-01-07 20:00:00 | 2.3733 | 254.1433 | 2.73 | 279.2667 | 4.5067 | 11.2433 | 5.35 | 48.31 | 2.28 | 893 | 51.18 | 2.7553
2019-01-07 20:15:00 | 2.278 | 86.3947 | 2.6193 | 94.934 | 4.3953 | 11.6967 | 4.6733 | 33.0287 | 2.2067 | 893 | 50.92 | 2.4713
2019-01-07 20:30:00 | 2.1233 | 71.1933 | 2.4433 | 78.2333 | 3.9733 | 10.6133 | 4.23 | 24.88 | 2.23 | 893 | 51.0233 | 3.9747
2019-01-07 20:45:00 | 2.4533 | 231.14 | 2.82 | 253.9967 | 4.7133 | 9.1233 | 5.0733 | 18.2933 | 2.0567 | 893 | 52.5033 | 6.1593
2019-01-07 21:00:00 | 2.6333 | 222.5867 | 3.0267 | 244.5967 | 5.1067 | 10.8767 | 5.1667 | 18.7 | 2.0033 | 893 | 53.5633 | 7.1307
2019-01-07 21:15:00 | 2.6967 | 319.56 | 3.1 | 351.1667 | 4.5733 | 14.6267 | 4.7533 | 21.31 | 2.0833 | 893 | 53.75 | 7.8813
2019-01-07 21:30:00 | 2.5567 | 309.8533 | 2.94 | 340.5 | 4.7133 | 7.62 | 5.0133 | 14.3167 | 1.8767 | 893 | 55.8567 | 8.5513
2019-01-07 21:45:00 | 2.7067 | 185.4767 | 3.1267 | 203.8133 | 4.9 | 14.06 | 5.08 | 18.68 | 1.48 | 893 | 58.0333 | 8.2727
2019-01-07 22:00:00 | 2.76 | 14.3567 | 3.18 | 15.7733 | 4.8733 | 10.5267 | 4.8433 | 13.7 | 1.4667 | 893 | 59.0467 | 7.8547
2019-01-07 22:15:00 | 2.4733 | 199.87 | 2.8467 | 219.64 | 4.2033 | 5.6233 | 4.52 | 19.75 | 1.4733 | 893 | 60.2167 | 8.0747
2019-01-07 22:30:00 | 2.4333 | 199.5167 | 2.8 | 219.24 | 4.1333 | 20.09 | 4.4067 | 25.3967 | 1.5067 | 894 | 60.93 | 7.7587
2019-01-07 22:45:00 | 2.49 | 98.8733 | 2.86 | 108.6467 | 4.1933 | 16.4467 | 4.3833 | 13.3567 | 1.3533 | 894 | 62.44 | 7.308
2019-01-07 23:00:00 | 2.5833 | 310.46 | 2.98 | 341.1667 | 4.56 | 11.4533 | 4.7367 | 11.1367 | 1.2333 | 894 | 64.5867 | 7.4253
2019-01-07 23:15:00 | 2.6333 | 98.5967 | 3.0267 | 108.34 | 5.05 | 7.9833 | 5.4133 | 15.2867 | 0.96333 | 894 | 66.0867 | 8.622
2019-01-07 23:30:00 | 2.8333 | 99.4567 | 3.26 | 109.28 | 5.33 | 7.3967 | 5.9067 | 19.34 | 0.72333 | 894 | 67.1333 | 10.1207
2019-01-07 23:45:00 | 3.44 | 309.62 | 3.9533 | 340.2333 | 6.2267 | 12.49 | 6.59 | 20.13 | 0.58 | 894 | 68.1967 | 12.532