## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-08 00:00:00 | 4.0067 | 298.94 | 4.6067 | 328.5 | 6.2 | 5.1567 | 6.37 | 28.1233 | 0.8 | 894 | 67.5033 | 18.5607
2019-01-08 00:15:00 | 4.3233 | 6.3133 | 4.9767 | 6.93 | 6.4 | 1.2567 | 6.63 | 22.2267 | 0.66333 | 894 | 68.0567 | 26.2673
2019-01-08 00:30:00 | 4.3833 | 173.0267 | 5.0433 | 190.1367 | 6.9667 | 3.53 | 7.3367 | 10.58 | 0.41 | 893 | 69.25 | 33.1873
2019-01-08 00:45:00 | 4.67 | 302.2767 | 5.38 | 332.1667 | 7.55 | 237.05 | 7.53 | 15.0933 | 0.28667 | 893 | 69.8733 | 38.588
2019-01-08 01:00:00 | 4.7567 | 313.13 | 5.4667 | 344.1 | 7.5233 | 1.7367 | 7.5567 | 12.4 | 0.17333 | 893 | 70.0433 | 41.18
2019-01-08 01:15:00 | 5.22 | 215.05 | 6.0167 | 236.31 | 8.2067 | 12.3567 | 8.3367 | 18.4367 | 0.056667 | 893 | 70.18 | 42.152
2019-01-08 01:30:00 | 5.2067 | 222.69 | 5.99 | 244.71 | 8.32 | 27.7967 | 8.61 | 17.1233 | 0.13 | 893 | 69.6633 | 41.7447
2019-01-08 01:45:00 | 5.08 | 115.3533 | 5.84 | 126.7533 | 8.7167 | 11.5567 | 8.69 | 12.05 | 0.1 | 893 | 69.4267 | 40.5653
2019-01-08 02:00:00 | 5.16 | 107.1133 | 5.9333 | 117.7 | 8.4433 | 5.2967 | 8.5967 | 25.01 | 0.086667 | 893 | 69.6533 | 40.3653
2019-01-08 02:15:00 | 5.1933 | 28.32 | 5.9693 | 31.118 | 8.2327 | 52.9227 | 8.1893 | 18.3587 | 0.019333 | 893 | 70.7213 | 39.3513
2019-01-08 02:30:00 | 5.18 | 147.5133 | 5.9633 | 162.0933 | 8.8367 | 114.8 | 8.9 | 6.8767 | -0.083333 | 892.3333 | 71.5433 | 38.1427
2019-01-08 02:45:00 | 5.0367 | 321.56 | 5.8 | 353.3667 | 8.4133 | 224.3933 | 8.32 | 126.2067 | -0.056667 | 893 | 71.7133 | 37.582
2019-01-08 03:00:00 | 5.33 | 316.1033 | 6.14 | 347.3667 | 8.7733 | 0.36 | 8.8733 | 123.6267 | 0.17 | 893 | 70.9333 | 36.586
2019-01-08 03:15:00 | 4.8 | 80.8667 | 5.53 | 88.8533 | 8.1 | 123.7333 | 8.24 | 4.0533 | 0.16 | 893 | 70.7533 | 37.6053
2019-01-08 03:30:00 | 4.9733 | 234.64 | 5.7233 | 257.8333 | 8.1067 | 348.2 | 8.7 | 11.0467 | 0.11333 | 893 | 70.34 | 37.5267
2019-01-08 03:45:00 | 5.0627 | 218.052 | 5.824 | 239.6133 | 7.9733 | 55.748 | 8.6487 | 12.09 | 0.28867 | 893 | 67.9893 | 38.674
2019-01-08 04:00:00 | 5.18 | 39.8333 | 5.9633 | 43.7667 | 8.0133 | 10.28 | 8.7367 | 7.1167 | 0.51 | 893 | 65.9067 | 38.4953
2019-01-08 04:15:00 | 5.1267 | 201.5933 | 5.8967 | 221.5233 | 8.2033 | 120.1933 | 8.7033 | 15.6167 | 0.53333 | 893 | 65.7333 | 39.2313
2019-01-08 04:30:00 | 5.1867 | 6.5667 | 5.97 | 7.21 | 8.1833 | 117.1 | 8.5233 | 15.5033 | 0.5 | 892.6667 | 66.77 | 39.4173
2019-01-08 04:45:00 | 5.2707 | 21.9907 | 6.064 | 24.16 | 8.5153 | 12.8807 | 8.4407 | 11.256 | 0.468 | 892 | 68.5367 | 37.99
2019-01-08 05:00:00 | 5.2667 | 44.6233 | 6.0567 | 49.0333 | 8.2167 | 237.39 | 8.2233 | 8.8033 | 0.32 | 892 | 70.03 | 38.4847
2019-01-08 05:15:00 | 5.154 | 25.68 | 5.924 | 28.21 | 8.37 | 342.84 | 8.084 | 288.238 | 0.27 | 892 | 71.344 | 37.4173
2019-01-08 05:30:00 | 4.71 | 21.4333 | 5.4133 | 23.55 | 7.7333 | 351.6667 | 7.8667 | 240.53 | 0.30333 | 892 | 72.16 | 36.948
2019-01-08 05:45:00 | 4.8467 | 43.66 | 5.5833 | 47.9667 | 7.6833 | 347.3 | 7.5533 | 237.9467 | 0.22667 | 892 | 73.2467 | 38.7433
2019-01-08 06:00:00 | 5.02 | 21.7267 | 5.7833 | 23.8667 | 7.4867 | 328.4333 | 7.48 | 5.1267 | 0.12667 | 892 | 74.7933 | 39.7007
2019-01-08 06:15:00 | 5.0933 | 215.5567 | 5.86 | 236.8667 | 8.0367 | 114.88 | 7.8933 | 13.72 | 0.16333 | 892 | 75.34 | 37.0633
2019-01-08 06:30:00 | 4.9733 | 110.91 | 5.7267 | 121.8733 | 8.1433 | 352.6 | 7.96 | 16.12 | 0.19667 | 892 | 75.7833 | 35.992
2019-01-08 06:45:00 | 4.9867 | 23.9167 | 5.7367 | 26.2833 | 8.39 | 116.3 | 8.17 | 24.2367 | 0.28 | 892 | 75.6167 | 36.2287
2019-01-08 07:00:00 | 4.6667 | 20.3433 | 5.37 | 22.3567 | 8.21 | 354.0667 | 7.9833 | 26.1167 | 0.32 | 892 | 75.4833 | 34.6653
2019-01-08 07:15:00 | 4.6333 | 284.1733 | 5.3267 | 312.2667 | 8.0333 | 116.76 | 7.9667 | 3.1633 | 0.26667 | 892 | 76.6333 | 35.76
2019-01-08 07:30:00 | 4.6067 | 117.4 | 5.2933 | 129 | 7.5333 | 114.8267 | 7.5467 | 5.7567 | 0.22 | 892 | 77.4733 | 37.3313
2019-01-08 07:45:00 | 4.8667 | 214.1667 | 5.6 | 235.3467 | 7.3967 | 335.6 | 7.03 | 234.9467 | 0.22667 | 892 | 78.3033 | 38.9173
2019-01-08 08:00:00 | 4.8133 | 210.5867 | 5.5333 | 231.4133 | 7.5367 | 351.0667 | 7.2633 | 8.4733 | 0.12667 | 892 | 79.39 | 37.5547
2019-01-08 08:15:00 | 4.74 | 211.2533 | 5.4533 | 232.1333 | 7.07 | 8.94 | 6.4667 | 9.9567 | 0.006667 | 892 | 80.1533 | 38.6073
2019-01-08 08:30:00 | 4.9667 | 14.9533 | 5.7133 | 16.42 | 7.49 | 233.1667 | 7.0867 | 145.43 | -0.006667 | 892 | 80.4667 | 36.0387
2019-01-08 08:45:00 | 4.2733 | 285.68 | 4.9233 | 313.9333 | 7.5067 | 237.07 | 7.4367 | 7.02 | 0.11667 | 892 | 80.0467 | 31.7547
2019-01-08 09:00:00 | 3.9867 | 119.18 | 4.5833 | 130.96 | 7.0133 | 238.3367 | 6.9833 | 12.2933 | 0.27 | 892.3333 | 79.4767 | 30.846
2019-01-08 09:15:00 | 4.2033 | 19.03 | 4.84 | 20.91 | 7.4233 | 119.4467 | 7.3733 | 21.21 | 0.35333 | 893 | 79.63 | 32.8247
2019-01-08 09:30:00 | 4.5587 | 39.0007 | 5.2547 | 42.846 | 7.976 | 346.7533 | 7.4447 | 39.2427 | 0.51467 | 893 | 78.75 | 32.492
2019-01-08 09:45:00 | 4.43 | 104.0533 | 5.1 | 114.34 | 7.6467 | 236.9833 | 7.46 | 240.8167 | 0.70333 | 893 | 78.4533 | 31.408
2019-01-08 10:00:00 | 4.43 | 111.88 | 5.1 | 122.94 | 7.1467 | 2.3367 | 7.2067 | 5.7433 | 0.77667 | 893 | 78.6533 | 30.542
2019-01-08 10:15:00 | 4.5067 | 38.22 | 5.1867 | 41.9867 | 7.4333 | 238.8333 | 7.6033 | 127.0133 | 0.94667 | 893.6667 | 78.6067 | 29.318
2019-01-08 10:30:00 | 4.4667 | 205.42 | 5.1467 | 225.7333 | 7.6 | 8.86 | 7.6833 | 122.3933 | 1.1467 | 894 | 78.0833 | 27.366
2019-01-08 10:45:00 | 4.4533 | 17.0433 | 5.1333 | 18.73 | 7.19 | 14.9067 | 7.4033 | 12.1867 | 1.0533 | 894 | 78.61 | 23.638
2019-01-08 11:00:00 | 4.3267 | 188.6167 | 4.9867 | 207.2633 | 7.12 | 12.1333 | 7.17 | 242.82 | 1.1333 | 894 | 78.3967 | 20.964
2019-01-08 11:15:00 | 3.8867 | 106.6533 | 4.4667 | 117.2 | 6.3033 | 117.74 | 6.16 | 238.9867 | 1.4233 | 894 | 77.3667 | 21.2187
2019-01-08 11:30:00 | 4.0467 | 110.1533 | 4.6533 | 121.04 | 6.8033 | 122.2 | 6.82 | 9.6333 | 1.6233 | 894 | 76.6733 | 20.0367
2019-01-08 11:45:00 | 3.78 | 5.03 | 4.35 | 5.52 | 6.57 | 354.8 | 6.59 | 12.82 | 1.94 | 894 | 75.32 | 17.1053
2019-01-08 12:00:00 | 3.948 | 222.7953 | 4.5447 | 244.8213 | 6.55 | 28.304 | 6.546 | 23.5667 | 1.8933 | 894 | 75.1533 | 14.8947
2019-01-08 12:15:00 | 4 | 216.5967 | 4.5967 | 238.0167 | 6.48 | 6.77 | 6.4633 | 13.19 | 2.0767 | 893.3333 | 74.21 | 14.66
2019-01-08 12:30:00 | 3.8533 | 179.9633 | 4.43 | 197.75 | 6.5133 | 8.73 | 6.36 | 11.9233 | 2.17 | 893 | 73.77 | 12.092
2019-01-08 12:45:00 | 3.5667 | 220.89 | 4.1133 | 242.7333 | 6.1633 | 16.18 | 5.86 | 11.8 | 2.56 | 893 | 71.7033 | 11.778
2019-01-08 13:00:00 | 3.88 | 109.2233 | 4.4667 | 120.0267 | 6.47 | 15.1467 | 6.18 | 16.4067 | 2.7 | 892.6667 | 71.0167 | 10.8167
2019-01-08 13:15:00 | 3.86 | 8.1967 | 4.4433 | 9.0033 | 6.31 | 20.2333 | 5.9067 | 15.4667 | 2.9167 | 892 | 70.9833 | 9.442
2019-01-08 13:30:00 | 4 | 191.6033 | 4.6033 | 210.5567 | 6.2033 | 18.8733 | 5.9533 | 6.6667 | 2.9233 | 892 | 70.4433 | 8.1293
2019-01-08 13:45:00 | 3.9053 | 30.3933 | 4.5047 | 33.3953 | 6.2747 | 17.3753 | 5.882 | 25.1313 | 3.1173 | 891.3333 | 69.7613 | 6.38
2019-01-08 14:00:00 | 3.6733 | 23 | 4.23 | 25.2767 | 6.0633 | 15.0367 | 5.51 | 26.1233 | 3.27 | 891 | 69.15 | 4.8607
2019-01-08 14:15:00 | 3.1867 | 297.67 | 3.6633 | 327.1 | 5.3233 | 15.3833 | 5.01 | 24.6433 | 3.0967 | 891 | 69.65 | 4.456
2019-01-08 14:30:00 | 3.1867 | 86.3567 | 3.6633 | 94.8933 | 5.2433 | 24.5633 | 4.8467 | 25.2433 | 3.0567 | 891 | 70.1233 | 4.8293
2019-01-08 14:45:00 | 3.2133 | 192.04 | 3.7033 | 211.0267 | 5.2933 | 17.38 | 4.8867 | 12.0367 | 3.0933 | 891 | 70.2967 | 4.528
2019-01-08 15:00:00 | 3.3733 | 7.1467 | 3.8833 | 7.8467 | 5.7733 | 8.2333 | 5.48 | 18.2833 | 3.12 | 890 | 70.5633 | 5.1347
2019-01-08 15:15:00 | 3.2067 | 4.44 | 3.6967 | 4.87 | 5.6533 | 3.4033 | 5.54 | 21.7033 | 3.0667 | 890 | 70.97 | 5.9153
2019-01-08 15:30:00 | 3.2933 | 29.1067 | 3.79 | 31.9833 | 5.8067 | 10.7033 | 5.52 | 18.1033 | 3.12 | 890 | 71.1967 | 5.0707
2019-01-08 15:45:00 | 3.09 | 250.3767 | 3.56 | 275.1333 | 5.8667 | 25.2767 | 5.5267 | 16.1633 | 3.0367 | 890 | 71.6067 | 5.2113
2019-01-08 16:00:00 | 2.8633 | 60.0367 | 3.2933 | 65.9667 | 5.3067 | 10.8767 | 5.1467 | 16.5367 | 3.0233 | 890 | 71.9567 | 5.9587
2019-01-08 16:15:00 | 2.92 | 80.99 | 3.3633 | 88.9933 | 5.4567 | 13.36 | 5.31 | 17.3333 | 2.67 | 890 | 73.2433 | 7.532
2019-01-08 16:30:00 | 2.92 | 68.4033 | 3.3567 | 75.1667 | 5.59 | 23.6533 | 5.5167 | 28 | 2.4367 | 890 | 74.9767 | 7.8
2019-01-08 16:45:00 | 2.852 | 279.2567 | 3.2793 | 306.87 | 5.5293 | 6.152 | 5.6187 | 20.288 | 2.268 | 890 | 76.0873 | 7.312
2019-01-08 17:00:00 | 3.0733 | 117.24 | 3.5333 | 128.8333 | 5.8133 | 15.5967 | 5.9367 | 10.4833 | 2.1333 | 890 | 75.8467 | 8.256
2019-01-08 17:15:00 | 3.0333 | 220.94 | 3.4867 | 242.7767 | 5.82 | 17.76 | 5.6733 | 22.9733 | 2.02 | 890 | 76.1533 | 7.774
2019-01-08 17:30:00 | 3.0067 | 100.9933 | 3.46 | 110.9767 | 5.6467 | 19.7267 | 5.68 | 18.8067 | 1.94 | 890 | 76.72 | 9.052
2019-01-08 17:45:00 | 3.16 | 251.5533 | 3.6433 | 276.4333 | 6 | 24.3267 | 6.26 | 29.35 | 1.8167 | 890 | 77.0667 | 11.3513
2019-01-08 18:00:00 | 3.1867 | 116.1467 | 3.6633 | 127.6333 | 6.0533 | 14.7267 | 6.3733 | 22.3767 | 1.71 | 891 | 77.44 | 13.872
2019-01-08 18:15:00 | 4.1667 | 109.88 | 4.8067 | 120.7467 | 7.4967 | 21.3267 | 7.64 | 18.36 | 1.59 | 890.3333 | 77.7633 | 15.054
2019-01-08 18:30:00 | 3.98 | 170.088 | 4.5907 | 186.9053 | 7.338 | 23.6813 | 7.3973 | 18.3093 | 1.4873 | 891 | 78.0913 | 16.7727
2019-01-08 18:45:00 | 4.2267 | 149.68 | 4.8667 | 164.4867 | 7.9267 | 10.7 | 7.8667 | 23.16 | 1.3667 | 891 | 78.33 | 20.0127
2019-01-08 19:00:00 | 4.4933 | 15.3067 | 5.1733 | 16.82 | 8.3067 | 11.6933 | 8.38 | 18.4867 | 1.3 | 891 | 78.4833 | 20.6813
2019-01-08 19:15:00 | 4.68 | 99.7167 | 5.38 | 109.5667 | 8.34 | 12.89 | 8.3067 | 24.28 | 1.1667 | 891 | 79.1533 | 21.8667
2019-01-08 19:30:00 | 5.0267 | 230.39 | 5.78 | 253.1667 | 8.7333 | 17.2567 | 8.6067 | 24.6 | 1.0867 | 891 | 79.14 | 23.7333
2019-01-08 19:45:00 | 4.784 | 45.92 | 5.506 | 50.46 | 8.68 | 14.64 | 8.554 | 27.656 | 0.978 | 891 | 79.468 | 22.0333
2019-01-08 20:00:00 | 4.7333 | 10.8933 | 5.45 | 11.9733 | 8.76 | 16.3467 | 8.55 | 23.94 | 0.89 | 891 | 80.5667 | 25.866
2019-01-08 20:15:00 | 4.68 | 61.5967 | 5.3833 | 67.6867 | 8.58 | 12.3033 | 8.3833 | 19.9233 | 0.78333 | 891 | 81.1 | 28.242
2019-01-08 20:30:00 | 4.9333 | 26.6833 | 5.6767 | 29.32 | 9.2333 | 11.33 | 9.0167 | 19.0167 | 0.71 | 891 | 81.5 | 28.6213
2019-01-08 20:45:00 | 5.0767 | 116.0533 | 5.8433 | 127.5333 | 8.6433 | 124.0133 | 8.2 | 28.1767 | 0.64667 | 891 | 81.1333 | 28.172
2019-01-08 21:00:00 | 5.0033 | 112.2 | 5.7567 | 123.3 | 7.99 | 124.6467 | 7.62 | 28.39 | 0.61333 | 891 | 81 | 24.614
2019-01-08 21:15:00 | 4.4933 | 111.18 | 5.1667 | 122.17 | 7.2633 | 20.92 | 6.9467 | 18.1 | 0.56333 | 891 | 80.9333 | 24.3013
2019-01-08 21:30:00 | 4.48 | 206.1867 | 5.1533 | 226.57 | 6.6633 | 16.28 | 6.6133 | 8.4 | 0.51 | 891.3333 | 80.9667 | 23.1853
2019-01-08 21:45:00 | 4.38 | 108.6467 | 5.0433 | 119.3867 | 7.1133 | 9.9233 | 6.9367 | 21.1367 | 0.47 | 892 | 80.9667 | 24.5853
2019-01-08 22:00:00 | 4.4867 | 310.7133 | 5.17 | 341.4333 | 7.3667 | 239.1033 | 7.0433 | 23.07 | 0.43667 | 892 | 81.3 | 24.2347
2019-01-08 22:15:00 | 4.0867 | 11.8367 | 4.7033 | 13.0067 | 7.4033 | 123.46 | 7.1333 | 14.3333 | 0.37333 | 891.3333 | 81.7 | 21.8707
2019-01-08 22:30:00 | 4.0733 | 200.3567 | 4.6833 | 220.1667 | 6.8267 | 351.3 | 6.4067 | 21.5067 | 0.35333 | 892 | 81.7 | 22.1087
2019-01-08 22:45:00 | 4.0467 | 40.39 | 4.66 | 44.3733 | 7.2167 | 239.8633 | 6.8967 | 4.1067 | 0.34 | 892 | 81.3 | 24.5993
2019-01-08 23:00:00 | 4.3533 | 32.1033 | 5.02 | 35.2733 | 7.27 | 239.8633 | 7.0233 | 3.6333 | 0.32667 | 892 | 80.9667 | 24.96
2019-01-08 23:15:00 | 4.38 | 108.4233 | 5.05 | 119.1467 | 7.3767 | 14.97 | 6.86 | 12.37 | 0.34 | 892 | 80.1333 | 22.5873
2019-01-08 23:30:00 | 4.2733 | 120.5833 | 4.9233 | 132.5067 | 7.1167 | 15.2767 | 6.6533 | 24.2233 | 0.32 | 891.3333 | 80.4333 | 24.7427
2019-01-08 23:45:00 | 4.48 | 3.1933 | 5.1567 | 3.5 | 7.3 | 41.5333 | 6.85 | 15.2367 | 0.3 | 891.3333 | 80.11 | 24.844