## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-09 00:00:00 | 4.5733 | 4.9933 | 5.2633 | 5.48 | 7.24 | 49.22 | 7.0567 | 242.5433 | 0.3 | 891 | 79.7233 | 24.0573
2019-01-09 00:15:00 | 4.5833 | 27.6633 | 5.2753 | 30.3967 | 7.6153 | 20.9867 | 7.468 | 84.3547 | 0.314 | 891 | 79.06 | 24.7307
2019-01-09 00:30:00 | 4.47 | 182.69 | 5.1533 | 200.75 | 7.96 | 17.1333 | 7.6467 | 18.6667 | 0.28667 | 891 | 79.0733 | 25.0693
2019-01-09 00:45:00 | 4.53 | 111.19 | 5.22 | 122.1733 | 8.1667 | 21.8367 | 7.8933 | 9.9933 | 0.27 | 891 | 79.1967 | 24.1367
2019-01-09 01:00:00 | 4.6833 | 324.6967 | 5.4 | 356.8 | 7.8867 | 246.8167 | 7.4933 | 3.8467 | 0.26333 | 891 | 79.08 | 24.4307
2019-01-09 01:15:00 | 4.57 | 25.48 | 5.2533 | 27.9933 | 7.8567 | 31.59 | 7.5067 | 23.7333 | 0.25 | 891 | 78.76 | 24.2213
2019-01-09 01:30:00 | 4.4633 | 57.2067 | 5.1333 | 62.86 | 7.8233 | 16.0567 | 7.3267 | 243.8667 | 0.21 | 891 | 78.69 | 23.2187
2019-01-09 01:45:00 | 4.3567 | 5.9733 | 5.01 | 6.56 | 7.29 | 4.1533 | 7.0867 | 13.63 | 0.19333 | 891 | 78.5567 | 19.7893
2019-01-09 02:00:00 | 4.3233 | 221.5733 | 4.9767 | 243.4867 | 7.01 | 15.0333 | 7 | 17.1967 | 0.14667 | 891 | 78.7533 | 19.42
2019-01-09 02:15:00 | 4.2067 | 11.6 | 4.84 | 12.7467 | 7.01 | 6.8267 | 6.74 | 4.5733 | 0.08 | 891 | 79.64 | 20.6733
2019-01-09 02:30:00 | 3.9867 | 18.1133 | 4.5867 | 19.9 | 6.89 | 10.14 | 6.52 | 15.1 | 0.04 | 891 | 79.8267 | 20.886
2019-01-09 02:45:00 | 4.392 | 78.982 | 5.0567 | 86.7847 | 7.6707 | 355.14 | 7.4447 | 10.578 | 0.014667 | 891 | 80.3 | 20.3287
2019-01-09 03:00:00 | 4.26 | 256.4333 | 4.91 | 281.8 | 7.6233 | 354.6333 | 7.31 | 5.2567 | -0.006667 | 890.3333 | 80.3333 | 21.336
2019-01-09 03:15:00 | 4.16 | 196.95 | 4.7967 | 216.4167 | 7.6333 | 118.72 | 7.3367 | 11.3967 | -0.056667 | 890.3333 | 81.0333 | 16.7553
2019-01-09 03:30:00 | 4.0667 | 0.34333 | 4.6833 | 0.37667 | 7.1467 | 347.3 | 6.7233 | 2.61 | -0.19667 | 890 | 83.1 | 9.8913
2019-01-09 03:45:00 | 4.04 | 289.6233 | 4.6533 | 318.2667 | 7.2967 | 12.5333 | 7.12 | 4.8167 | -0.41 | 890 | 86.1667 | 9.0533
2019-01-09 04:00:00 | 4.12 | 108.5633 | 4.74 | 119.2933 | 7.59 | 4.7667 | 7.2267 | 13.9167 | -0.49667 | 890 | 86.8333 | 7.6
2019-01-09 04:15:00 | 3.6933 | 269.9767 | 4.25 | 296.6667 | 6.8167 | 9.9433 | 6.64 | 11.5133 | -0.54667 | 890 | 87.3 | 7.3093
2019-01-09 04:30:00 | 3.64 | 162.71 | 4.19 | 178.8 | 6.8633 | 3.8433 | 6.6133 | 5.4533 | -0.56667 | 890 | 86.9667 | 7.9827
2019-01-09 04:45:00 | 3.6867 | 6.1233 | 4.2433 | 6.7233 | 6.97 | 239.1167 | 6.63 | 10.72 | -0.54667 | 890 | 86.6333 | 7.3013
2019-01-09 05:00:00 | 3.3467 | 204.5367 | 3.85 | 224.7567 | 6.1767 | 3.2433 | 6.09 | 11.9867 | -0.52667 | 890 | 86.4333 | 6.6393
2019-01-09 05:15:00 | 3.3067 | 122.1033 | 3.8133 | 134.1733 | 6.0833 | 32.5467 | 5.9433 | 13.69 | -0.49333 | 890 | 86.1667 | 7.2933
2019-01-09 05:30:00 | 3.6133 | 285.35 | 4.16 | 313.5667 | 6.41 | 17.7733 | 6.1633 | 19.0233 | -0.49333 | 890 | 86.3333 | 7.7907
2019-01-09 05:45:00 | 3.6467 | 221.6833 | 4.1933 | 243.61 | 6.3367 | 9.0667 | 5.96 | 19.3967 | -0.53333 | 889.3333 | 87.3333 | 7.9933
2019-01-09 06:00:00 | 3.5933 | 31.1633 | 4.14 | 34.2433 | 6.0433 | 17.8067 | 5.8 | 24.3767 | -0.58667 | 889.6667 | 88.2667 | 7.454
2019-01-09 06:15:00 | 3.6933 | 318.9033 | 4.2533 | 350.4333 | 6.5133 | 13.39 | 6.1567 | 12.68 | -0.66333 | 889 | 89.2333 | 7.064
2019-01-09 06:30:00 | 3.6533 | 315.7767 | 4.2067 | 347 | 6.5067 | 12.1233 | 5.9567 | 12.0667 | -0.73 | 889 | 90.1667 | 6.6053
2019-01-09 06:45:00 | 3.79 | 290.8667 | 4.3567 | 319.6333 | 6.7167 | 8.61 | 6.39 | 9.6533 | -0.80667 | 889 | 91.7667 | 6.5953
2019-01-09 07:00:00 | 3.9633 | 277.2867 | 4.5633 | 304.7 | 6.93 | 15.3433 | 6.4967 | 25.04 | -0.90667 | 889 | 93.0333 | 6.7607
2019-01-09 07:15:00 | 4.07 | 293.2733 | 4.6833 | 322.2667 | 7.27 | 13.76 | 6.76 | 18.1033 | -1.0067 | 889 | 94.7333 | 6.4647
2019-01-09 07:30:00 | 4.06 | 314.5667 | 4.67 | 345.6667 | 6.9033 | 11.0533 | 6.58 | 26.6167 | -1.0733 | 889 | 95.8 | 6.0627
2019-01-09 07:45:00 | 3.85 | 299.54 | 4.43 | 329.1667 | 6.4467 | 16.22 | 5.99 | 15.99 | -1.1267 | 889 | 96.8333 | 6.53
2019-01-09 08:00:00 | 3.9833 | 108.6467 | 4.5833 | 119.38 | 6.5 | 240.0733 | 5.9533 | 22.4433 | -1.1467 | 889 | 97.3 | 6.7867
2019-01-09 08:15:00 | 3.7733 | 22.6267 | 4.34 | 24.8567 | 6.38 | 223.74 | 5.9633 | 28.01 | -1.16 | 889 | 97.8 | 6.0927
2019-01-09 08:30:00 | 3.96 | 67.26 | 4.5533 | 73.91 | 6.3367 | 73.0067 | 6.0833 | 14.43 | -1.16 | 889 | 98.2 | 5.5927
2019-01-09 08:45:00 | 3.58 | 301.5233 | 4.1167 | 331.3333 | 5.69 | 238.0267 | 5.4333 | 236.1367 | -1.16 | 889 | 98.3667 | 4.0513
2019-01-09 09:00:00 | 3.02 | 313.41 | 3.47 | 344.4 | 4.7233 | 7.1733 | 4.6667 | 12.0367 | -1.1533 | 889 | 98.6333 | 3.0973
2019-01-09 09:15:00 | 3.5733 | 9.96 | 4.12 | 10.9467 | 4.82 | 9.4033 | 4.66 | 13.9933 | -1.1633 | 889 | 98.7 | 2.976
2019-01-09 09:30:00 | 3 | 215.3333 | 3.4533 | 236.62 | 4.4133 | 7.33 | 4.3067 | 7.02 | -1.1233 | 889 | 98.9333 | 0.934
2019-01-09 09:45:00 | 2.8533 | 306.7667 | 3.28 | 337.1 | 3.9467 | 25.4133 | 3.7833 | 239.41 | -1.06 | 889 | 99 | 0.546
2019-01-09 10:00:00 | 2.8133 | 93.7467 | 3.2333 | 103.0133 | 3.44 | 236.5333 | 3.29 | 5.2233 | -1.0533 | 890 | 98.9667 | 0.40067
2019-01-09 10:15:00 | 2.3267 | 108.3833 | 2.68 | 119.0933 | 3.4633 | 2.3233 | 3.12 | 234.2367 | -0.98 | 890 | 98.9 | 0.018
2019-01-09 10:30:00 | 2.428 | 314.008 | 2.796 | 345.06 | 3.442 | 2.476 | 3.488 | 5.504 | -0.936 | 890 | 99.12 | 0
2019-01-09 10:45:00 | 2.3333 | 11.5433 | 2.68 | 12.6867 | 3.4233 | 5.2233 | 3.4633 | 13.04 | -0.92 | 890 | 99.5667 | 0
2019-01-09 11:00:00 | 2.4533 | 13.6033 | 2.82 | 14.94 | 3.6567 | 10.43 | 3.41 | 13.04 | -0.89333 | 890 | 99.8333 | 0
2019-01-09 11:15:00 | 2.69 | 128.4 | 3.0967 | 141.1 | 4.05 | 4.1567 | 4.0933 | 241.9067 | -0.85 | 890 | 99.9667 | 0.58467
2019-01-09 11:30:00 | 2.6433 | 310.0333 | 3.0433 | 340.7 | 4.1833 | 4.0567 | 4.1 | 16.3 | -0.80333 | 890 | 100 | 0.84733
2019-01-09 11:45:00 | 2.86 | 1.4233 | 3.2867 | 1.5567 | 4.6167 | 118.34 | 4.4033 | 9.8167 | -0.82 | 889.3333 | 100 | 0.414
2019-01-09 12:00:00 | 2.92 | 1.8847 | 3.3647 | 2.062 | 4.4313 | 187.166 | 4.2127 | 172.5347 | -0.87867 | 889 | 100 | 0
2019-01-09 12:15:00 | 2.8467 | 216.5367 | 3.2767 | 237.95 | 4.0967 | 2.59 | 3.88 | 43.57 | -0.89667 | 889 | 100 | 0.14467
2019-01-09 12:30:00 | 3.0867 | 214.05 | 3.55 | 235.2167 | 4.0833 | 3.65 | 3.8533 | 19.51 | -0.91 | 889 | 100 | 0
2019-01-09 12:45:00 | 3.2467 | 321.1167 | 3.7333 | 352.8667 | 4.1467 | 0.15 | 3.7967 | 3.9567 | -0.93333 | 889 | 100 | 0
2019-01-09 13:00:00 | 3.2267 | 107.8367 | 3.7133 | 118.5 | 3.8333 | 6.2633 | 3.53 | 7.5567 | -0.94667 | 888 | 100 | 0
2019-01-09 13:15:00 | 2.6067 | 11.1133 | 3.0067 | 12.2067 | 3.54 | 14.5633 | 3.3067 | 9.2267 | -0.88333 | 888 | 100 | 0
2019-01-09 13:30:00 | 2.6667 | 203.7467 | 3.0667 | 223.9 | 3.4267 | 10.8633 | 3.0867 | 13.48 | -0.92333 | 888 | 100 | 0
2019-01-09 13:45:00 | 2.3633 | 316.5267 | 2.72 | 347.8333 | 3.3533 | 10.85 | 3.0867 | 18.6767 | -0.87333 | 888 | 100 | 0
2019-01-09 14:00:00 | 2.15 | 319.32 | 2.4733 | 350.9 | 3.3467 | 6.6167 | 2.9467 | 36.6967 | -0.84667 | 887.6667 | 100 | 0
2019-01-09 14:15:00 | 2.4 | 308.3333 | 2.76 | 338.8333 | 3.0933 | 142.0933 | 2.7667 | 126.44 | -0.87333 | 887 | 100 | 0
2019-01-09 14:30:00 | 2.54 | 304.8267 | 2.92 | 334.9667 | 2.88 | 356.1667 | 2.9867 | 124.74 | -0.89333 | 887 | 100 | 0
2019-01-09 14:45:00 | 2.3433 | 8.6433 | 2.6933 | 9.5 | 2.56 | 0.29333 | 2.5733 | 3.1167 | -0.88 | 887 | 100 | 0
2019-01-09 15:00:00 | 2.4567 | 211.8367 | 2.8267 | 232.7867 | 3.0067 | 23.2733 | 2.62 | 4.61 | -0.87333 | 887 | 100 | 0
2019-01-09 15:15:00 | 2.4933 | 30.46 | 2.87 | 33.4667 | 3.33 | 13.7067 | 2.7167 | 4.23 | -0.83667 | 887 | 100 | 0
2019-01-09 15:30:00 | 2.5 | 245.6733 | 2.8767 | 269.9667 | 3.63 | 10.9467 | 2.7233 | 5.89 | -0.81 | 887 | 100 | 0
2019-01-09 15:45:00 | 2.6 | 125.39 | 2.9933 | 137.7867 | 3.9633 | 2.23 | 3.28 | 13.2333 | -0.78667 | 887 | 100 | 0
2019-01-09 16:00:00 | 2.84 | 292.6833 | 3.2667 | 321.6333 | 3.95 | 8.4433 | 3.5 | 17.3333 | -0.8 | 887 | 100 | 0
2019-01-09 16:15:00 | 2.5933 | 20.3433 | 2.99 | 22.3467 | 4.2433 | 9.26 | 3.86 | 6.8467 | -0.77667 | 887 | 100 | 0.11333
2019-01-09 16:30:00 | 3.2 | 14.7633 | 3.6833 | 16.22 | 4.5633 | 234.62 | 4.1733 | 12.1133 | -0.77 | 887 | 100 | 0.36533
2019-01-09 16:45:00 | 3.1333 | 110.19 | 3.6067 | 121.0867 | 4.8633 | 0.52 | 4.4633 | 9.01 | -0.75333 | 887 | 100 | 0.44867
2019-01-09 17:00:00 | 3.312 | 126.316 | 3.81 | 138.8 | 4.758 | 1.248 | 4.32 | 9.03 | -0.79 | 887 | 100 | 0.71333
2019-01-09 17:15:00 | 2.9933 | 319.9267 | 3.4467 | 351.5667 | 4.49 | 1.26 | 4.2033 | 9.0333 | -0.83667 | 887 | 100 | 0.51267
2019-01-09 17:30:00 | 3.0067 | 315.3133 | 3.4533 | 346.5 | 3.96 | 1.26 | 3.73 | 9.02 | -0.88333 | 887 | 100 | 0
2019-01-09 17:45:00 | 3.0733 | 103.38 | 3.53 | 113.6 | 4.1133 | 1.24 | 3.5833 | 9 | -0.88 | 887 | 100 | 0.020667
2019-01-09 18:00:00 | 3.0067 | 319.44 | 3.4567 | 351.0333 | 4.36 | 1.2533 | 4.05 | 9 | -0.86 | 887 | 100 | 0.18933
2019-01-09 18:15:00 | 3.36 | 108.5967 | 3.8733 | 119.3333 | 4.8433 | 1.2467 | 4.6167 | 9 | -0.86333 | 887 | 100 | 0.45467
2019-01-09 18:30:00 | 3.46 | 0.33667 | 3.98 | 0.36667 | 5.13 | 1.26 | 4.9433 | 9.02 | -0.88333 | 887 | 100 | 1.158
2019-01-09 18:45:00 | 3.3867 | 212.05 | 3.8933 | 233.0233 | 5.2567 | 1.26 | 5.21 | 9.02 | -0.94 | 887 | 100 | 1.7693
2019-01-09 19:00:00 | 3.6 | 1.67 | 4.14 | 1.8233 | 5.4433 | 1.26 | 5.39 | 9.02 | -1.02 | 887 | 100 | 2.7947
2019-01-09 19:15:00 | 3.5867 | 222.352 | 4.124 | 244.3293 | 6.4007 | 1.2227 | 5.9193 | 9 | -1.0927 | 887.6667 | 100 | 3.9013
2019-01-09 19:30:00 | 3.2867 | 180.1867 | 3.7867 | 198.0067 | 5.8367 | 1.2267 | 5.8867 | 9 | -1.13 | 888 | 100 | 4.174
2019-01-09 19:45:00 | 3.4 | 227.04 | 3.91 | 249.4967 | 6.1433 | 1.2333 | 5.8767 | 9 | -1.1633 | 888 | 100 | 4.4167
2019-01-09 20:00:00 | 3.4533 | 235.78 | 3.97 | 259.0967 | 6.1833 | 1.22 | 5.7567 | 9.02 | -1.2033 | 888 | 100 | 5.082
2019-01-09 20:15:00 | 3.9467 | 184.1213 | 4.546 | 202.328 | 6.5507 | 1.2453 | 6.292 | 9.0227 | -1.2767 | 888 | 100 | 5.3873
2019-01-09 20:30:00 | 4.5333 | 109.31 | 5.22 | 120.1133 | 6.9233 | 1.24 | 6.8367 | 9.0367 | -1.32 | 888 | 100 | 5.9567
2019-01-09 20:45:00 | 4.6167 | 15.8767 | 5.3167 | 17.45 | 7.12 | 1.2333 | 6.6067 | 9.01 | -1.2967 | 888.6667 | 100 | 6.2233
2019-01-09 21:00:00 | 4.5167 | 225.7633 | 5.1967 | 248.0833 | 6.9333 | 1.26 | 6.5733 | 9.03 | -1.33 | 889 | 100 | 5.572
2019-01-09 21:15:00 | 4.3933 | 136.97 | 5.06 | 150.5133 | 7.16 | 1.2467 | 6.8733 | 9.0167 | -1.3933 | 889 | 100 | 5.4367
2019-01-09 21:30:00 | 4.5667 | 290.9633 | 5.2533 | 319.7333 | 7.54 | 1.26 | 7.1267 | 9.05 | -1.3867 | 889 | 100 | 5.1193
2019-01-09 21:45:00 | 4.6933 | 112.9533 | 5.4 | 124.1267 | 8.08 | 1.26 | 7.77 | 9.05 | -1.3767 | 889 | 100 | 3.7633
2019-01-09 22:00:00 | 4.8933 | 118.4867 | 5.64 | 130.2067 | 7.7333 | 1.26 | 7.33 | 9.0367 | -1.41 | 889 | 100 | 1.2407
2019-01-09 22:15:00 | 5.1733 | 27.2133 | 5.96 | 29.8967 | 7.86 | 1.26 | 7.4667 | 9.0433 | -1.4533 | 889 | 100 | 0.58
2019-01-09 22:30:00 | 5.1667 | 4.06 | 5.94 | 4.45 | 8.1667 | 1.26 | 7.8933 | 9.0433 | -1.4733 | 889 | 100 | 0
2019-01-09 22:45:00 | 5.0967 | 211.8833 | 5.8633 | 232.84 | 8.0067 | 1.2533 | 7.56 | 9.01 | -1.5 | 889 | 100 | 0
2019-01-09 23:00:00 | 5.1367 | 212.9167 | 5.9167 | 233.9733 | 7.4633 | 1.24 | 7.12 | 9.01 | -1.52 | 889 | 100 | 0
2019-01-09 23:15:00 | 5.2733 | 9.46 | 6.0633 | 10.3867 | 7.7533 | 1.26 | 7.27 | 9.02 | -1.5533 | 889 | 100 | 0
2019-01-09 23:30:00 | 5.3 | 14.26 | 6.0967 | 15.66 | 7.88 | 1.26 | 7.21 | 9.0333 | -1.5867 | 889 | 100 | 0
2019-01-09 23:45:00 | 5.08 | 149.91 | 5.84 | 164.7333 | 8.09 | 1.26 | 7.76 | 9.0167 | -1.6 | 889 | 100 | 0