## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-11 00:00:00 | 4.32 | 4.21 | 4.966 | 4.622 | 7.846 | 9.002 | 7.902 | 18.68 | -0.272 | 889 | 87.58 | 25.5127
2019-01-11 00:15:00 | 3.9033 | 10.1367 | 4.4967 | 11.1333 | 6.6067 | 242.8133 | 6.94 | 5.0933 | -0.41 | 889 | 88.2667 | 23.4033
2019-01-11 00:30:00 | 4.01 | 205.8033 | 4.61 | 226.1533 | 6.8733 | 31.8533 | 7.12 | 7.3933 | -0.41 | 889 | 87.5333 | 23.3093
2019-01-11 00:45:00 | 3.8267 | 197.88 | 4.4033 | 217.45 | 7.0333 | 7.9467 | 7.32 | 12.4867 | -0.55333 | 889 | 88.3 | 25.4473
2019-01-11 01:00:00 | 3.912 | 186.848 | 4.51 | 205.32 | 7.412 | 15.56 | 7.712 | 19.182 | -0.88 | 889 | 90.7 | 23.6073
2019-01-11 01:15:00 | 3.9667 | 113.7833 | 4.5633 | 125.0333 | 6.9533 | 120.6 | 6.9833 | 14.2867 | -1.0033 | 889 | 92.1 | 21.106
2019-01-11 01:30:00 | 4.02 | 96.19 | 4.6233 | 105.7 | 6.4133 | 116.3933 | 6.3633 | 6.7133 | -0.55667 | 889 | 89.1 | 21.136
2019-01-11 01:45:00 | 4.0067 | 126.4767 | 4.6067 | 138.98 | 6.4333 | 2.71 | 6.3667 | 9.0367 | -0.46 | 889 | 87.5 | 25.3107
2019-01-11 02:00:00 | 4.2067 | 114.6767 | 4.84 | 126.02 | 6.68 | 10.35 | 6.7933 | 4.8633 | -0.49333 | 889 | 87.6333 | 24.856
2019-01-11 02:15:00 | 3.76 | 319.8667 | 4.3267 | 351.5 | 6.6 | 241.13 | 6.55 | 35.6833 | -0.74333 | 889 | 89.1 | 25.7413
2019-01-11 02:30:00 | 3.68 | 123.4067 | 4.24 | 135.6067 | 6.7667 | 11.71 | 7.2967 | 15.23 | -0.93667 | 889 | 90.2333 | 24.468
2019-01-11 02:45:00 | 3.32 | 2.9833 | 3.82 | 3.2767 | 6.3167 | 16.24 | 6.7867 | 21.43 | -1.2067 | 889 | 91.7667 | 16.468
2019-01-11 03:00:00 | 3.2267 | 219.23 | 3.7133 | 240.91 | 5.3367 | 14.68 | 5.5467 | 26.4767 | -1.14 | 889 | 91.3 | 16.6
2019-01-11 03:15:00 | 3.7333 | 18.0167 | 4.29 | 19.7867 | 6.08 | 129.22 | 6.35 | 10.47 | -0.98333 | 889 | 90.1933 | 14.4293
2019-01-11 03:30:00 | 3.34 | 10.85 | 3.8433 | 11.92 | 5.8333 | 356.9 | 5.9367 | 1.5167 | -0.94333 | 889 | 89.6333 | 10.52
2019-01-11 03:45:00 | 3.2633 | 115.1333 | 3.7567 | 126.5133 | 5.8967 | 11.2867 | 6.1067 | 10.3933 | -0.93333 | 889 | 89.4667 | 10.5253
2019-01-11 04:00:00 | 3.2233 | 293.02 | 3.7033 | 322 | 5.9633 | 7.5933 | 6.3 | 7.8133 | -1.0133 | 889 | 89.8667 | 9.366
2019-01-11 04:15:00 | 3.39 | 17.5733 | 3.9 | 19.3033 | 6.3867 | 5.4367 | 6.99 | 9.7633 | -1.24 | 889 | 91.3667 | 8.5627
2019-01-11 04:30:00 | 3.6633 | 211.12 | 4.22 | 232.0033 | 6.18 | 13.09 | 6.9567 | 15.15 | -1.08 | 888.6 | 90.6333 | 7.6273
2019-01-11 04:45:00 | 3.4367 | 322.99 | 3.9533 | 354.9333 | 6.23 | 17.4133 | 6.66 | 17.1767 | -1.11 | 888 | 90.8333 | 6.2707
2019-01-11 05:00:00 | 3.09 | 110.5767 | 3.5533 | 121.5067 | 5.8967 | 17.04 | 6.0267 | 10.93 | -1.3567 | 888 | 92.1 | 6.888
2019-01-11 05:15:00 | 3.0967 | 313.11 | 3.56 | 344.0667 | 5.2233 | 14.7167 | 5.9333 | 4.16 | -1.5133 | 888 | 93.3333 | 7.332
2019-01-11 05:30:00 | 3.4167 | 113.5167 | 3.9267 | 124.7333 | 5.4233 | 15.0633 | 5.48 | 10.6333 | -1.64 | 888 | 94.2 | 8.034
2019-01-11 05:45:00 | 3.67 | 215.9333 | 4.2233 | 237.2933 | 5.4933 | 17.2767 | 5.55 | 14.0667 | -1.77 | 888 | 94.9667 | 6.55
2019-01-11 06:00:00 | 3.5633 | 219.1 | 4.0967 | 240.76 | 5.9333 | 15.3967 | 5.9033 | 22.9733 | -1.8633 | 888 | 95.14 | 5.5287
2019-01-11 06:15:00 | 3.0233 | 28.0967 | 3.4833 | 30.8767 | 5.3233 | 17.4 | 5.86 | 29.0167 | -1.8567 | 888 | 95.3733 | 3.934
2019-01-11 06:30:00 | 2.61 | 227.91 | 3.0033 | 250.45 | 5.0433 | 16.8933 | 5.6 | 28.1233 | -2.0433 | 888 | 95.8667 | 3.5447
2019-01-11 06:45:00 | 2.08 | 320.88 | 2.4 | 352.6 | 4.0667 | 21.15 | 4.5267 | 18.5767 | -2.21 | 888 | 96.5067 | 4.5793
2019-01-11 07:00:00 | 1.96 | 128.9 | 2.2533 | 141.6467 | 3.5733 | 26.8767 | 3.2733 | 38.21 | -2.2433 | 888 | 96.6 | 4.8947
2019-01-11 07:15:00 | 2.34 | 320.0767 | 2.6933 | 351.7333 | 3.67 | 5.8767 | 3.6967 | 8.5567 | -2.2767 | 888 | 96.5333 | 4.5413
2019-01-11 07:30:00 | 2.76 | 317.17 | 3.18 | 348.5333 | 3.65 | 24.61 | 3.83 | 4.19 | -2.43 | 888 | 97 | 4.1053
2019-01-11 07:45:00 | 3.3867 | 307.6467 | 3.9 | 338.0667 | 4.3633 | 1.3267 | 4.4433 | 4.8667 | -2.51 | 888 | 97.6933 | 3.258
2019-01-11 08:00:00 | 3.24 | 320.3267 | 3.7333 | 352 | 4.4633 | 23.9267 | 4.4233 | 8.9267 | -2.45 | 888 | 97.4 | 3.238
2019-01-11 08:15:00 | 3.04 | 301.5267 | 3.5033 | 331.3333 | 3.97 | 354.9667 | 4.2667 | 0.76333 | -2.2767 | 888 | 96.6 | 3.3553
2019-01-11 08:30:00 | 3.2533 | 312.2533 | 3.75 | 343.1333 | 3.5767 | 121.8533 | 4.46 | 3.7433 | -2.0767 | 888 | 95.9333 | 2.7053
2019-01-11 08:45:00 | 3.55 | 115.2267 | 4.0833 | 126.6267 | 4.0433 | 5.1267 | 4.554 | 14.9467 | -1.8967 | 888.7333 | 94.8 | 2.362
2019-01-11 09:00:00 | 3.7367 | 320.1067 | 4.2967 | 351.7667 | 4.2967 | 26.6733 | 4.9633 | 12.64 | -1.9367 | 889 | 95.3333 | 4.744
2019-01-11 09:15:00 | 3.92 | 5.01 | 4.51 | 5.4967 | 5.24 | 3.7833 | 5.6767 | 8.94 | -1.8833 | 889.0667 | 95.9933 | 5.4587
2019-01-11 09:30:00 | 3.76 | 220.3167 | 4.33 | 242.1033 | 5.04 | 237.9833 | 5.9633 | 32.8667 | -1.59 | 890 | 95.1 | 5.1447
2019-01-11 09:45:00 | 3.6633 | 217.7467 | 4.21 | 239.28 | 5.0633 | 246.1367 | 6.1767 | 8.3733 | -1.3367 | 890 | 94.0333 | 5.2027
2019-01-11 10:00:00 | 4.13 | 4.0467 | 4.7567 | 4.44 | 6.13 | 246.35 | 6.3833 | 5.1267 | -1.09 | 890 | 92.7667 | 3.576
2019-01-11 10:15:00 | 4.04 | 311.32 | 4.65 | 342.1 | 5.2133 | 1.67 | 5.97 | 4.07 | -0.86 | 890.7333 | 91.7333 | 1.5893
2019-01-11 10:30:00 | 4.1067 | 323.6933 | 4.7233 | 355.7 | 4.7467 | 26.0633 | 5.3633 | 2.8567 | -1.1267 | 891 | 92.9333 | 0.902
2019-01-11 10:45:00 | 4.0533 | 317.2567 | 4.66 | 348.6333 | 4.62 | 0.48667 | 4.8067 | 6.6367 | -0.74333 | 891 | 90.8 | 0.55267
2019-01-11 11:00:00 | 3.78 | 312.2833 | 4.3467 | 343.1667 | 4.1733 | 6.8133 | 4.3267 | 13.43 | -0.33667 | 891 | 88.7333 | 0.20267
2019-01-11 11:15:00 | 3.7733 | 200.3267 | 4.3467 | 220.1367 | 4.1367 | 146.4733 | 4.3867 | 21.43 | -0.23 | 891 | 87.7667 | 0
2019-01-11 11:30:00 | 3.7067 | 211.3733 | 4.2667 | 232.27 | 4.1967 | 146.96 | 3.9733 | 19.2233 | 0.13667 | 890.6 | 85.5 | 0
2019-01-11 11:45:00 | 3.4367 | 324.2633 | 3.9533 | 356.3333 | 3.9107 | 5.3367 | 3.7667 | 31.8133 | 0.65 | 890 | 82.0667 | 0
2019-01-11 12:00:00 | 3.1967 | 113.4033 | 3.6867 | 124.6133 | 3.7 | 9.8767 | 3.5267 | 23.18 | 1.15 | 890 | 79.8067 | 0
2019-01-11 12:15:00 | 2.7733 | 324.69 | 3.1867 | 356.8 | 3.0933 | 7.4267 | 2.75 | 13.56 | 1.4 | 890 | 78.2267 | 0
2019-01-11 12:30:00 | 2.74 | 313.41 | 3.16 | 344.4 | 3.2467 | 8.16 | 2.93 | 9.76 | 1.84 | 890 | 77.2667 | 0
2019-01-11 12:45:00 | 2.76 | 316.96 | 3.1733 | 348.3 | 3.3 | 8.5267 | 2.27 | 11.5 | 2.4333 | 889.2667 | 73.1233 | 0
2019-01-11 13:00:00 | 1.7467 | 321.08 | 2.0133 | 352.8333 | 1.7533 | 5.32 | 0.59 | 5.82 | 2.6467 | 889 | 68.5567 | 0
2019-01-11 13:15:00 | 1.23 | 274.5767 | 1.42 | 301.7333 | 1.4333 | 105.1267 | 1.6667 | 114.2667 | 4.1667 | 889 | 60.83 | 0
2019-01-11 13:30:00 | 2.302 | 168.95 | 2.644 | 185.6533 | 2.6893 | 177.94 | 2.624 | 147.2 | 5.012 | 889 | 59.9287 | 0
2019-01-11 13:45:00 | 3.6433 | 138.3533 | 4.1933 | 152.0333 | 4.08 | 160.7667 | 4.0867 | 175.0333 | 5.5233 | 889 | 56.0467 | 0.93933
2019-01-11 14:00:00 | 3.8967 | 148.1733 | 4.48 | 162.8333 | 4.3867 | 169.1 | 4.2333 | 164.3667 | 5.7833 | 889 | 51.3267 | 2.3513
2019-01-11 14:15:00 | 4.0933 | 156.7667 | 4.71 | 172.2667 | 4.7567 | 162.8667 | 4.6867 | 182.4 | 6.4033 | 888.2667 | 49.0867 | 2.5993
2019-01-11 14:30:00 | 4.0067 | 160.16 | 4.61 | 176 | 4.7767 | 172.9333 | 4.94 | 173.5333 | 6.57 | 888 | 49.048 | 4.2667
2019-01-11 14:45:00 | 4.2467 | 141.2067 | 4.8967 | 155.1667 | 5.2 | 154.9333 | 5.1133 | 170.3333 | 6.8867 | 888 | 48.49 | 4.1793
2019-01-11 15:00:00 | 4.26 | 157.2267 | 4.91 | 172.7667 | 5.14 | 178 | 5.2333 | 193.6 | 7.024 | 888 | 48.81 | 4.352
2019-01-11 15:15:00 | 4.36 | 156.532 | 5.0133 | 172.0133 | 5.0467 | 182.9667 | 4.9433 | 188.6667 | 6.8633 | 888 | 49.77 | 5.0567
2019-01-11 15:30:00 | 4.18 | 163.3733 | 4.8067 | 179.5333 | 4.9533 | 172.7 | 4.55 | 188.2667 | 7.0967 | 888 | 49.45 | 4.7153
2019-01-11 15:45:00 | 3.7467 | 150.1533 | 4.3067 | 165 | 4.3267 | 171.0333 | 4.02 | 197.2667 | 7.28 | 888 | 48.6667 | 4.9347
2019-01-11 16:00:00 | 3.9333 | 147.4267 | 4.52 | 162 | 4.5333 | 179.5667 | 4.4533 | 182.5333 | 7.244 | 888 | 49.26 | 4.1033
2019-01-11 16:15:00 | 3.6533 | 128.1 | 4.21 | 140.7667 | 4.2533 | 152.2333 | 4.23 | 169.3667 | 7.1167 | 888 | 48.9267 | 3.9927
2019-01-11 16:30:00 | 3.2333 | 156.6133 | 3.7167 | 172.1 | 3.8733 | 158.3667 | 4.13 | 174.3667 | 7.1633 | 888 | 48.88 | 3.4607
2019-01-11 16:45:00 | 2.8467 | 164.5 | 3.2767 | 180.7667 | 3.3233 | 189.1333 | 3.26 | 206.2333 | 7.1767 | 888 | 49.2773 | 3.62
2019-01-11 17:00:00 | 3.0733 | 178.8267 | 3.5433 | 196.5 | 3.9167 | 225.8 | 3.9 | 221.9667 | 7.0833 | 888 | 50.38 | 3.7613
2019-01-11 17:15:00 | 2.3 | 160.6167 | 2.65 | 176.5 | 2.9533 | 224.4 | 2.8667 | 206.7333 | 6.4133 | 888 | 52.4833 | 6.5513
2019-01-11 17:30:00 | 2.8733 | 194.8967 | 3.3033 | 214.1667 | 3.66 | 221.5333 | 3.7067 | 217.4 | 6.14 | 888 | 54.3767 | 11.4973
2019-01-11 17:45:00 | 3.4667 | 154.43 | 3.99 | 169.7 | 4.3733 | 216.3667 | 4.5467 | 201.2 | 5.86 | 888 | 56.3733 | 11.4607
2019-01-11 18:00:00 | 3.3133 | 164.5567 | 3.8167 | 180.8333 | 4.0133 | 192.5667 | 4.3667 | 184.2 | 5.74 | 888 | 58.4733 | 12.3573
2019-01-11 18:15:00 | 2.7167 | 164.4667 | 3.1267 | 180.7333 | 3.2833 | 171 | 3.4633 | 163.9867 | 5.2533 | 888 | 63.22 | 11.8053
2019-01-11 18:30:00 | 2.654 | 128.6013 | 3.0573 | 141.32 | 3.27 | 173.52 | 3.4833 | 167.52 | 5.0187 | 888 | 65.2293 | 6.0947
2019-01-11 18:45:00 | 2.5067 | 141.9333 | 2.8867 | 155.9667 | 3.04 | 173.3667 | 3.22 | 174.8667 | 4.6067 | 888 | 69.1733 | 4.5793
2019-01-11 19:00:00 | 2.68 | 157.7733 | 3.0867 | 173.3667 | 3.2933 | 200.7667 | 3.6267 | 204.1333 | 4.32 | 888 | 70.6867 | 4.2607
2019-01-11 19:15:00 | 2.736 | 155.9833 | 3.144 | 171.4067 | 3.3987 | 196.9267 | 3.5153 | 198.82 | 4.0607 | 888 | 70.7993 | 5.2273
2019-01-11 19:30:00 | 2.9667 | 156.0667 | 3.42 | 171.5 | 3.5867 | 176 | 3.9733 | 209.1333 | 3.9333 | 888 | 71.7633 | 3.8967
2019-01-11 19:45:00 | 3.1733 | 147.25 | 3.66 | 161.8 | 3.72 | 173.7667 | 4.22 | 187.6 | 3.7067 | 888 | 74.4667 | 4.2693
2019-01-11 20:00:00 | 3.0933 | 161.3167 | 3.5667 | 177.2667 | 3.6467 | 183.7 | 4.0467 | 190.6667 | 3.4333 | 888 | 75.66 | 6.8287
2019-01-11 20:15:00 | 3.56 | 162.3433 | 4.0967 | 178.4 | 4.1067 | 184.9 | 4.3267 | 184.0667 | 3.24 | 888 | 75.62 | 6.5887
2019-01-11 20:30:00 | 3.1933 | 163.9167 | 3.6767 | 180.1333 | 3.64 | 179.2333 | 3.8733 | 185.7333 | 3.2267 | 888 | 75.9067 | 7.178
2019-01-11 20:45:00 | 3.2533 | 161.2867 | 3.7533 | 177.2333 | 3.7767 | 197.8333 | 4.1233 | 201.7667 | 3.28 | 888 | 76 | 6.176
2019-01-11 21:00:00 | 3.04 | 165.8333 | 3.5 | 182.2333 | 3.7033 | 207.7667 | 4.1367 | 222.8333 | 3.2067 | 888 | 76.6733 | 6.5227
2019-01-11 21:15:00 | 2.98 | 176.19 | 3.43 | 193.6 | 3.62 | 199.0333 | 4.21 | 196.1 | 3.1733 | 888.0667 | 76.9453 | 5.9933
2019-01-11 21:30:00 | 3.1733 | 175.5833 | 3.6633 | 192.9333 | 3.6733 | 191.7667 | 4.09 | 199.5667 | 3.1533 | 888.6 | 77.4 | 4.662
2019-01-11 21:45:00 | 2.6333 | 170.8333 | 3.0333 | 187.7333 | 3.2033 | 203.7333 | 3.5467 | 210.4 | 3.0033 | 888 | 78.5233 | 4.3127
2019-01-11 22:00:00 | 2.5533 | 155.7933 | 2.9333 | 171.2 | 3.21 | 218.6667 | 3.5133 | 212 | 2.8833 | 888 | 79.2767 | 2.5687
2019-01-11 22:15:00 | 2.4133 | 179.8467 | 2.7833 | 197.6333 | 3.0133 | 200.4333 | 3.0467 | 207.8333 | 2.78 | 888 | 80.2533 | 1.1267
2019-01-11 22:30:00 | 2.2933 | 168.5067 | 2.65 | 185.1667 | 2.84 | 200.4333 | 2.96 | 211.3667 | 2.68 | 888 | 81.1333 | 0.61867
2019-01-11 22:45:00 | 1.7 | 157.1367 | 1.9533 | 172.6667 | 2.19 | 200.4667 | 2.6733 | 202 | 2.5933 | 888 | 81.6 | 0.52467
2019-01-11 23:00:00 | 2.3667 | 177.1567 | 2.7267 | 194.6667 | 2.85 | 190.2667 | 3.1333 | 211.3333 | 2.6067 | 888 | 81.4667 | 0.59867
2019-01-11 23:15:00 | 2.3533 | 152.7633 | 2.71 | 167.8667 | 2.8633 | 187.28 | 2.84 | 206.2333 | 2.5367 | 888 | 81.7667 | 0.5
2019-01-11 23:30:00 | 2.2667 | 152.0433 | 2.6167 | 167.0667 | 2.7567 | 197.3333 | 3.2133 | 213.1667 | 2.51 | 888 | 81.94 | 1.062
2019-01-11 23:45:00 | 2.0813 | 146.6753 | 2.3953 | 161.18 | 2.6953 | 198.3133 | 3.2907 | 213.8667 | 2.4727 | 888 | 82.3867 | 1.3067