## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-12 00:00:00 | 1.92 | 152.58 | 2.21 | 167.6667 | 2.67 | 214.3667 | 2.8067 | 227.3 | 2.48 | 888 | 83 | 1.336
2019-01-12 00:15:00 | 1.97 | 150.15 | 2.28 | 165 | 2.56 | 216.7 | 2.85 | 212.3 | 2.6 | 888 | 83.5 | 0.719
2019-01-12 00:30:00 | 1.6367 | 168.26 | 1.8933 | 184.9 | 2.32 | 210.6 | 2.7033 | 207.8667 | 2.47 | 888 | 83.7 | 0.49267
2019-01-12 00:45:00 | 1.74 | 175.22 | 2.01 | 192.54 | 2.462 | 202.7 | 2.846 | 215.62 | 2.38 | 888 | 83.88 | 0.53267
2019-01-12 01:00:00 | 2.0067 | 155.2733 | 2.3167 | 170.6333 | 2.5967 | 192.6333 | 2.8167 | 202.2333 | 2.38 | 888 | 83.8667 | 0
2019-01-12 01:15:00 | 1.3933 | 167.26 | 1.6133 | 183.8 | 1.9267 | 211.2 | 2.53 | 210.4667 | 2.39 | 888 | 83.8667 | 0
2019-01-12 01:30:00 | 1.2933 | 185.6467 | 1.5 | 204 | 1.98 | 207.8 | 2.4833 | 203.4667 | 2.41 | 888 | 83.84 | 0
2019-01-12 01:45:00 | 1.6833 | 158.17 | 1.9467 | 173.8 | 2.4 | 188.3667 | 2.7967 | 186.2333 | 2.3467 | 887.2667 | 83.84 | 0
2019-01-12 02:00:00 | 1.83 | 158.17 | 2.1133 | 173.8 | 2.3467 | 185.9667 | 2.73 | 192.1667 | 2.3267 | 887 | 83.56 | 0
2019-01-12 02:15:00 | 1.96 | 159.8713 | 2.2533 | 175.68 | 2.4467 | 191.5667 | 2.78 | 209.3333 | 2.39 | 887 | 83.2 | 0
2019-01-12 02:30:00 | 1.74 | 156.3367 | 2 | 171.8 | 2.44 | 189.5667 | 2.96 | 193.32 | 2.3367 | 887 | 83.8 | 0
2019-01-12 02:45:00 | 1.0433 | 180.82 | 1.2 | 198.7 | 1.8867 | 215.5 | 2.49 | 216.1667 | 2.2867 | 887 | 84.8 | 0.085333
2019-01-12 03:00:00 | 1.3367 | 175.1267 | 1.5467 | 192.4333 | 2.3267 | 228.9667 | 2.69 | 217.5 | 2.3 | 887 | 85.1333 | 0.56267
2019-01-12 03:15:00 | 1.5333 | 182.73 | 1.7733 | 200.8 | 2.63 | 222.0333 | 2.9067 | 227.4333 | 2.2067 | 887 | 85.7 | 0.44133
2019-01-12 03:30:00 | 1.9267 | 187.6433 | 2.2133 | 206.2 | 2.83 | 209.4333 | 3.1867 | 221.7 | 2.14 | 887 | 86.14 | 0
2019-01-12 03:45:00 | 1.7467 | 166.98 | 2.01 | 183.5 | 2.5 | 204.9333 | 2.86 | 210.7667 | 2.1833 | 887 | 86.34 | 0
2019-01-12 04:00:00 | 1.3867 | 158.7933 | 1.6033 | 174.5 | 1.98 | 204.1333 | 2.5133 | 212.1 | 2.1967 | 887 | 86.5 | 0
2019-01-12 04:15:00 | 0.92667 | 171.26 | 1.08 | 188.2 | 1.7967 | 214.1667 | 2.09 | 222.2667 | 2.0733 | 887 | 87.1 | 0
2019-01-12 04:30:00 | 0.75 | 171.26 | 0.87 | 188.2 | 1.48 | 226.5 | 1.58 | 233 | 2.095 | 887 | 87.31 | 0
2019-01-12 04:45:00 | 0.38 | 171.26 | 0.44 | 188.2 | 0.74 | 242 | 0.63 | 252.3 | 2.18 | 887 | 87.8 | 0
2019-01-12 05:00:00 | 0.39333 | 289.35 | 0.45667 | 317.9667 | 0.65 | 317.8 | 0.67 | 291.7 | 2.2433 | 887 | 87.56 | 0
2019-01-12 05:15:00 | 1.5233 | 2.9233 | 1.7533 | 3.21 | 2.7333 | 20.9067 | 2.7167 | 18.0333 | 2.1233 | 887 | 87.94 | 0
2019-01-12 05:30:00 | 2.3367 | 215.8233 | 2.6933 | 237.17 | 4.1733 | 8.9067 | 4.23 | 19.28 | 1.8167 | 887 | 89.1667 | 5.1007
2019-01-12 05:45:00 | 3.0933 | 18.3933 | 3.5567 | 20.21 | 5.8867 | 13.1867 | 6.0133 | 23.2733 | 1.66 | 887 | 90 | 11.9633
2019-01-12 06:00:00 | 3.3733 | 10.4333 | 3.8767 | 11.4633 | 6.0467 | 13.1867 | 6.3067 | 23.6933 | 1.54 | 887 | 90.4 | 14.996
2019-01-12 06:15:00 | 3.5067 | 8.1467 | 4.0333 | 8.9533 | 6.1767 | 116.6333 | 5.95 | 131.3733 | 1.47 | 887 | 90.1333 | 15.7447
2019-01-12 06:30:00 | 3.66 | 190.4333 | 4.2133 | 209.2667 | 6.0033 | 114.2667 | 5.7167 | 126.74 | 1.3967 | 887 | 90.0667 | 16.948
2019-01-12 06:45:00 | 3.57 | 312.6533 | 4.1067 | 343.5667 | 5.6533 | 7.99 | 5.6533 | 5.09 | 1.2733 | 887 | 90.0067 | 18.3273
2019-01-12 07:00:00 | 2.9833 | 110.6867 | 3.44 | 121.6333 | 5.0133 | 28.1767 | 5.34 | 21.99 | 1.1333 | 887.4 | 90.5 | 14.2607
2019-01-12 07:15:00 | 2.2767 | 261.2367 | 2.62 | 287.0667 | 4.0867 | 21.1033 | 4.12 | 25.76 | 0.91333 | 888 | 91.3333 | 15.1493
2019-01-12 07:30:00 | 2.5767 | 137.5433 | 2.9667 | 151.1333 | 4.6267 | 14.99 | 4.7933 | 13.1133 | 0.84667 | 888 | 91.4667 | 18.5727
2019-01-12 07:45:00 | 3.5133 | 227.6367 | 4.05 | 250.14 | 6.8067 | 16.1733 | 7.0033 | 22.9567 | 0.77667 | 888 | 91.5933 | 26.3147
2019-01-12 08:00:00 | 4.02 | 12.8233 | 4.6233 | 14.0867 | 7.66 | 11.86 | 8.3167 | 15.9833 | 0.76333 | 888 | 91.0333 | 27.0067
2019-01-12 08:15:00 | 5.08 | 160.9733 | 5.8533 | 176.89 | 9.6867 | 16.2033 | 10.5333 | 25.5633 | 0.71667 | 888 | 90.5333 | 37.952
2019-01-12 08:30:00 | 5.84 | 153.4533 | 6.72 | 168.6233 | 10.8933 | 19.4167 | 11.2267 | 23.9233 | 0.75667 | 888 | 89.9333 | 45.0333
2019-01-12 08:45:00 | 6.09 | 266.99 | 7.02 | 293.4 | 11.23 | 14.55 | 11.194 | 21.51 | 0.94 | 887.4 | 88.4 | 42.592
2019-01-12 09:00:00 | 6.6733 | 283.2567 | 7.6767 | 311.2667 | 11.8933 | 19.84 | 11.8533 | 25.2533 | 1.3367 | 888 | 86.2333 | 41.7887
2019-01-12 09:15:00 | 6.3 | 18.1 | 7.2467 | 19.8867 | 11.5667 | 10.9167 | 11.1267 | 24.97 | 2.16 | 888 | 83.1333 | 40.74
2019-01-12 09:30:00 | 5.6867 | 179.7667 | 6.5467 | 197.5467 | 10.6267 | 8.1233 | 10.74 | 24.43 | 2.7933 | 888.4 | 80.6667 | 44.296
2019-01-12 09:45:00 | 5.6133 | 218.67 | 6.4567 | 240.2967 | 10.2167 | 13.2133 | 10.53 | 22.7667 | 3.3833 | 889 | 78.0833 | 40.67
2019-01-12 10:00:00 | 5.55 | 4.1 | 6.392 | 4.502 | 10.142 | 14.134 | 10.084 | 22.368 | 3.724 | 889 | 76.386 | 36.7053
2019-01-12 10:15:00 | 5.2267 | 232.5067 | 6.0133 | 255.5 | 9.8067 | 8.3067 | 9.9833 | 19.3 | 4.71 | 889 | 72.5333 | 33.138
2019-01-12 10:30:00 | 5.28 | 110.08 | 6.0733 | 120.9667 | 9.9133 | 5.4067 | 9.97 | 20.24 | 5.59 | 889.4 | 68.9333 | 28.1033
2019-01-12 10:45:00 | 4.7933 | 280.0067 | 5.5167 | 307.7 | 9.05 | 6.1867 | 9.49 | 21.54 | 6.4033 | 890 | 65.3467 | 27.5067
2019-01-12 11:00:00 | 5.1267 | 231.78 | 5.8967 | 254.7 | 9.45 | 13.4333 | 9.8433 | 24.4533 | 6.7767 | 890 | 63.8133 | 30.8487
2019-01-12 11:15:00 | 5.37 | 29.1467 | 6.1833 | 32.0233 | 9.6933 | 14.32 | 9.88 | 27.6 | 6.8233 | 890 | 62.8333 | 31.15
2019-01-12 11:30:00 | 5.4967 | 217.22 | 6.33 | 238.6967 | 9.956 | 14.5267 | 10.04 | 20.14 | 6.8433 | 890 | 62.5533 | 34.0167
2019-01-12 11:45:00 | 5.8167 | 199.5467 | 6.6933 | 219.28 | 10.3967 | 5.6133 | 10.6767 | 32.24 | 7.4133 | 890 | 59.73 | 35.6407
2019-01-12 12:00:00 | 5.81 | 23.9867 | 6.6933 | 26.3467 | 10.3433 | 15.9867 | 10.97 | 23.2933 | 7.5667 | 890 | 58.3767 | 35.7847
2019-01-12 12:15:00 | 5.84 | 23.3333 | 6.72 | 25.6267 | 10.1533 | 15.3833 | 10.54 | 24.3367 | 7.5733 | 890 | 56.7167 | 34.0187
2019-01-12 12:30:00 | 5.7867 | 111.58 | 6.6667 | 122.6133 | 10.3467 | 28.7967 | 10.72 | 26.49 | 8.0533 | 890 | 54.6833 | 32.956
2019-01-12 12:45:00 | 5.72 | 211.9367 | 6.5767 | 232.8933 | 9.97 | 13.6033 | 9.86 | 25.39 | 8.23 | 890 | 53.03 | 34.438
2019-01-12 13:00:00 | 5.88 | 11.1033 | 6.77 | 12.1933 | 10.3233 | 30.2633 | 10.2533 | 32.1967 | 8.63 | 889.6 | 51.55 | 32.8027
2019-01-12 13:15:00 | 6.1667 | 314.2267 | 7.1 | 345.3 | 10.5567 | 18.38 | 10.34 | 22.93 | 8.7533 | 889 | 50.0733 | 31.444
2019-01-12 13:30:00 | 5.8667 | 151.4667 | 6.7467 | 166.4467 | 10.1433 | 17.06 | 9.8467 | 29.9633 | 8.9733 | 889 | 48.4667 | 30.1073
2019-01-12 13:45:00 | 5.8127 | 282.0787 | 6.686 | 309.9733 | 9.542 | 8.936 | 9.308 | 15.1253 | 9.416 | 889 | 46.174 | 28.0907
2019-01-12 14:00:00 | 5.1067 | 276.8567 | 5.8833 | 304.2333 | 8.8133 | 5.5167 | 8.4433 | 20.65 | 9.8733 | 889 | 44.28 | 24.5487
2019-01-12 14:15:00 | 4.5633 | 20.5467 | 5.2467 | 22.5767 | 7.4333 | 8.5267 | 7.0467 | 21.3133 | 10.33 | 889 | 42.51 | 24.3887
2019-01-12 14:30:00 | 4.6967 | 35.96 | 5.4067 | 39.51 | 7.72 | 26.5467 | 6.9267 | 32.5733 | 10.27 | 889 | 42.118 | 25.8067
2019-01-12 14:45:00 | 4.5633 | 222.2 | 5.25 | 244.1667 | 7.6367 | 33.7633 | 6.2367 | 32.4967 | 10.5733 | 889 | 41.3667 | 29.0773
2019-01-12 15:00:00 | 4.61 | 212.3 | 5.3033 | 233.3 | 7.8433 | 21.4167 | 6.9367 | 26.2167 | 10.86 | 889 | 40.2933 | 27.3747
2019-01-12 15:15:00 | 4.6733 | 60.8467 | 5.3833 | 66.8667 | 7.9833 | 14.8467 | 7.6633 | 38.69 | 11.27 | 889 | 39.43 | 28.106
2019-01-12 15:30:00 | 4.656 | 214.382 | 5.358 | 235.584 | 8.1 | 16.856 | 7.874 | 29.604 | 11.442 | 889 | 38.546 | 26.5993
2019-01-12 15:45:00 | 3.7733 | 245.1633 | 4.34 | 269.4 | 6.75 | 13.9467 | 6.52 | 14.89 | 9.66 | 889 | 41.7733 | 21.6487
2019-01-12 16:00:00 | 4.0333 | 301.7567 | 4.6467 | 331.6 | 6.87 | 24.3333 | 6.3467 | 27.2967 | 10.2933 | 889 | 40.2933 | 18.6253
2019-01-12 16:15:00 | 3.5633 | 318.1333 | 4.0967 | 349.6 | 6.2367 | 26.5467 | 5.77 | 26.6567 | 10.4567 | 889 | 39.5067 | 14.4853
2019-01-12 16:30:00 | 3.57 | 188.3067 | 4.11 | 206.9333 | 6.4633 | 32.8667 | 5.9233 | 34.1767 | 10.4833 | 889 | 39.32 | 13.5967
2019-01-12 16:45:00 | 3.9933 | 114.5 | 4.5933 | 125.8267 | 7.0033 | 27.8167 | 5.986 | 33.5767 | 9.9467 | 889 | 39.7233 | 15.538
2019-01-12 17:00:00 | 3.9667 | 137.3133 | 4.5667 | 150.8867 | 6.9967 | 22.4233 | 5.5967 | 30.7767 | 9.5867 | 889 | 39.9967 | 14.3193
2019-01-12 17:15:00 | 3.4933 | 313.8933 | 4.0233 | 344.9333 | 6.2133 | 27.9933 | 5.13 | 46.11 | 9.2133 | 889 | 40.65 | 13.8053
2019-01-12 17:30:00 | 3.5067 | 124.8867 | 4.0433 | 137.24 | 6.32 | 23.5867 | 6.0033 | 27.1033 | 8.6133 | 889.4 | 42.4833 | 17.7913
2019-01-12 17:45:00 | 3.9533 | 65.03 | 4.5467 | 71.46 | 7.2333 | 24.4167 | 6.7707 | 31.6467 | 8.1067 | 890 | 44.4767 | 18.2727
2019-01-12 18:00:00 | 3.3133 | 70.5833 | 3.8133 | 77.56 | 6.12 | 21.1833 | 5.7667 | 34.12 | 7.7467 | 890 | 45.91 | 16.9113
2019-01-12 18:15:00 | 2.7067 | 242.7033 | 3.1133 | 266.7 | 5.1567 | 19.0033 | 4.32 | 32.0233 | 7.2133 | 890 | 48.1367 | 17.5
2019-01-12 18:30:00 | 1.9467 | 128.71 | 2.2467 | 141.4333 | 3.6567 | 46.33 | 2.6867 | 52.7367 | 7.0933 | 890 | 48.0367 | 18.0347
2019-01-12 18:45:00 | 1.6433 | 160.78 | 1.8967 | 176.6667 | 3.0367 | 65.2133 | 2.48 | 65.4667 | 7.0427 | 890 | 47.5433 | 17.1567
2019-01-12 19:00:00 | 2.0767 | 212.52 | 2.3967 | 233.5333 | 3.4633 | 77.2133 | 3.1933 | 83.34 | 6.8667 | 890 | 48.5233 | 14.4653
2019-01-12 19:15:00 | 2.16 | 90.8167 | 2.4833 | 99.8 | 3.4267 | 86.5167 | 3.2533 | 92.8867 | 6.8073 | 890 | 48.9933 | 12.1473
2019-01-12 19:30:00 | 1.2733 | 30.67 | 1.4633 | 33.7 | 2.3333 | 64.2967 | 2.3667 | 70.7533 | 6.5767 | 890 | 49.7 | 8.5747
2019-01-12 19:45:00 | 1.9433 | 321.7533 | 2.2433 | 353.5667 | 3.66 | 18.4 | 3.7067 | 45.71 | 5.94 | 890 | 52.96 | 9.836
2019-01-12 20:00:00 | 2.6233 | 313.8667 | 3.0233 | 344.9 | 5.0267 | 9.5667 | 5.0267 | 25.9633 | 5.4 | 890 | 56.4933 | 8.7787
2019-01-12 20:15:00 | 2.77 | 273 | 3.19 | 300 | 5.45 | 19.36 | 5.67 | 26.07 | 4.93 | 890 | 59.96 | 5.904
2019-01-12 20:30:00 | 1.6647 | 309.5653 | 1.9167 | 340.1733 | 3.1127 | 18.108 | 3.262 | 21.026 | 4.694 | 890 | 63.0813 | 2.0293
2019-01-12 20:45:00 | 1.9393 | 29.1913 | 2.24 | 32.0733 | 2.2933 | 13.5813 | 2.3027 | 36.04 | 5.2033 | 890 | 61.9793 | 1.168
2019-01-12 21:00:00 | 1.77 | 13.1733 | 2.04 | 14.4667 | 2.0733 | 17.4967 | 1.91 | 51.6633 | 5.4367 | 890 | 60.2133 | 0.77267
2019-01-12 21:15:00 | 1.7267 | 317.53 | 1.99 | 348.9333 | 2.06 | 15.8033 | 1.3667 | 48.5967 | 5.3967 | 890.7333 | 59.1067 | 0.528
2019-01-12 21:30:00 | 1.0467 | 307.3433 | 1.2033 | 337.7333 | 1.6333 | 12.4033 | 1.4733 | 87.8767 | 5.1567 | 891 | 58.5333 | 0.037333
2019-01-12 21:45:00 | 1.1267 | 209.99 | 1.2933 | 230.75 | 1.58 | 16.3067 | 0.84667 | 18.87 | 5.1533 | 891 | 58.5867 | 0
2019-01-12 22:00:00 | 1.3533 | 0.05 | 1.56 | 0.05 | 1.3667 | 2.5 | 0.6 | 77.3967 | 4.8267 | 891 | 61.26 | 0
2019-01-12 22:15:00 | 0.41 | 323.24 | 0.47333 | 355.2 | 0.10667 | 81.62 | 0.26667 | 84.98 | 5.0333 | 891 | 59.9033 | 0
2019-01-12 22:30:00 | 0.49 | 207.1267 | 0.56667 | 227.6 | 0.94667 | 177.5333 | 1.1667 | 184.4667 | 5.0133 | 891 | 60.0567 | 0
2019-01-12 22:45:00 | 0.72333 | 160.6787 | 0.83067 | 176.56 | 1.3827 | 167.4133 | 1.7267 | 182.12 | 4.7093 | 891 | 62.6887 | 0
2019-01-12 23:00:00 | 0.27 | 160.038 | 0.31 | 175.86 | 0.45333 | 167.6 | 0.61333 | 198.4333 | 4.56 | 891 | 62.4033 | 0
2019-01-12 23:15:00 | 1.1333 | 186.9367 | 1.3033 | 205.4167 | 0.98333 | 11.1533 | 0.33 | 155.14 | 4.31 | 891 | 63.9233 | 0
2019-01-12 23:30:00 | 1.6 | 212.4767 | 1.8367 | 233.4833 | 2.1767 | 21.0133 | 1.61 | 29.6 | 3.7633 | 891 | 66.2567 | 0
2019-01-12 23:45:00 | 2.1633 | 309.86 | 2.49 | 340.5 | 3.2967 | 10.9633 | 3.0467 | 16.9233 | 3.6233 | 891 | 66.332 | 0