## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-13 00:00:00 | 2.6967 | 106.72 | 3.1033 | 117.2667 | 3.55 | 9.1167 | 3.1 | 14.2433 | 3.57 | 891 | 66.5533 | 0.015333
2019-01-13 00:15:00 | 3.1867 | 315.98 | 3.6733 | 347.2333 | 3.6833 | 4.8333 | 3.2133 | 11.4133 | 3.4267 | 891 | 67.2533 | 0.526
2019-01-13 00:30:00 | 3.5333 | 319.8133 | 4.0667 | 351.4333 | 3.9567 | 240.88 | 3.58 | 8.74 | 3.3467 | 891 | 67.8533 | 2.7427
2019-01-13 00:45:00 | 3.26 | 307.8267 | 3.7533 | 338.2667 | 4.2333 | 5.45 | 4.7467 | 13.38 | 2.5633 | 891 | 72.32 | 7.6173
2019-01-13 01:00:00 | 3.1067 | 287.7467 | 3.5733 | 316.2 | 5.3133 | 3.6633 | 5.82 | 13.8333 | 1.8567 | 891 | 76.2933 | 13.046
2019-01-13 01:15:00 | 3.6933 | 167.5 | 4.2533 | 184.0667 | 6.58 | 3.3167 | 6.82 | 18.8133 | 1.3767 | 891 | 79.3533 | 18.7687
2019-01-13 01:30:00 | 4.46 | 218.28 | 5.14 | 239.8667 | 6.9733 | 234.39 | 7.4067 | 11.74 | 1.5233 | 891 | 79.744 | 19.41
2019-01-13 01:45:00 | 4.8533 | 320.0167 | 5.5833 | 351.6667 | 7.3667 | 21.1833 | 7.7633 | 14.9533 | 1.8133 | 891 | 78.5933 | 23.1233
2019-01-13 02:00:00 | 4.8 | 109.4567 | 5.53 | 120.28 | 6.7267 | 28.0433 | 6.9967 | 17.74 | 1.7933 | 890.6 | 78.84 | 26.046
2019-01-13 02:15:00 | 4.8067 | 126.2533 | 5.5367 | 138.7267 | 6.4367 | 223.01 | 6.6167 | 27.3433 | 1.6967 | 890 | 79.4933 | 24.3853
2019-01-13 02:30:00 | 3.9533 | 115.2533 | 4.55 | 126.64 | 6.2033 | 12.3833 | 6.47 | 23.65 | 1.4233 | 890 | 81.1333 | 17.9473
2019-01-13 02:45:00 | 3.9047 | 6.124 | 4.496 | 6.7287 | 5.5027 | 21.406 | 5.688 | 21.1367 | 1.2467 | 890 | 82.0333 | 17.1833
2019-01-13 03:00:00 | 4.07 | 3.04 | 4.68 | 3.3433 | 5.86 | 35.6767 | 5.6333 | 7.6233 | 0.97333 | 890 | 83.4333 | 17.7273
2019-01-13 03:15:00 | 4.22 | 120.5733 | 4.86 | 132.5 | 5.9033 | 6.5667 | 6.5433 | 13.59 | 0.69667 | 890 | 85.3 | 17.0207
2019-01-13 03:30:00 | 3.9 | 130.5867 | 4.5 | 143.4933 | 6.2367 | 8.5933 | 6.5433 | 12.3233 | 0.22333 | 890 | 87.9667 | 18.8007
2019-01-13 03:45:00 | 3.8767 | 9.2567 | 4.4633 | 10.17 | 7.2167 | 8.4267 | 7.2167 | 4.2533 | -0.23 | 890 | 90.3333 | 22.6807
2019-01-13 04:00:00 | 4.09 | 221.9967 | 4.7167 | 243.95 | 7.6433 | 6.48 | 7.7967 | 6.1333 | -0.40333 | 890 | 91 | 23.7387
2019-01-13 04:15:00 | 4.32 | 211.2367 | 4.9733 | 232.1267 | 7.7867 | 15.7467 | 7.8533 | 10.6233 | -0.42 | 889.9333 | 91.2267 | 23.5113
2019-01-13 04:30:00 | 4.3467 | 22.9967 | 5.0067 | 25.26 | 7.9133 | 17.22 | 7.9733 | 19.8967 | -0.51333 | 889 | 91.6 | 24.834
2019-01-13 04:45:00 | 4.4733 | 0.52333 | 5.1533 | 0.57 | 7.74 | 13.59 | 8.1267 | 17.5467 | -0.56667 | 889 | 91.9333 | 27.8367
2019-01-13 05:00:00 | 4.5933 | 216.5367 | 5.28 | 237.95 | 7.3933 | 238.7767 | 7.5733 | 19.5267 | -0.44667 | 889 | 91.2 | 24.8373
2019-01-13 05:15:00 | 3.9533 | 103.76 | 4.55 | 114.02 | 6.4367 | 120.5867 | 6.79 | 27.52 | -0.52667 | 889 | 91.1067 | 24.7147
2019-01-13 05:30:00 | 4.18 | 308.28 | 4.81 | 338.7667 | 5.8433 | 331.1667 | 5.9567 | 11.34 | -0.55333 | 889 | 91.5333 | 27.4327
2019-01-13 05:45:00 | 3.55 | 197.0233 | 4.08 | 216.5 | 5.5733 | 12.2967 | 6.03 | 23.2267 | -0.67 | 889 | 91.9 | 26.164
2019-01-13 06:00:00 | 3.29 | 216.61 | 3.78 | 238.0333 | 5.4867 | 8.0767 | 6.01 | 12.5067 | -1.05 | 889 | 93.3667 | 23.854
2019-01-13 06:15:00 | 4.0733 | 125.07 | 4.6967 | 137.44 | 6.3633 | 6.3067 | 6.96 | 12.8633 | -1.2467 | 889 | 94.7 | 20.1593
2019-01-13 06:30:00 | 4.46 | 33.63 | 5.1367 | 36.9533 | 6.91 | 4.9333 | 7.4267 | 11.47 | -1.1 | 889 | 94.1667 | 19.4953
2019-01-13 06:45:00 | 4.1833 | 162.44 | 4.81 | 178.5 | 7.2667 | 1.2833 | 7.4 | 7.47 | -1.0667 | 889 | 93.4 | 18.9667
2019-01-13 07:00:00 | 4.4167 | 77.38 | 5.0767 | 85.0333 | 7.7333 | 2.19 | 7.7733 | 3.9033 | -1.2733 | 889 | 94.2 | 16.22
2019-01-13 07:15:00 | 4.5667 | 320.5733 | 5.2633 | 352.2667 | 7.06 | 8.6267 | 7.5133 | 7.46 | -1.31 | 889 | 94.9067 | 12.9193
2019-01-13 07:30:00 | 4.1133 | 317.8467 | 4.73 | 349.2667 | 6.7333 | 6.6667 | 6.9933 | 14.42 | -1.4567 | 889 | 95.5333 | 11.5233
2019-01-13 07:45:00 | 4.4533 | 140.0867 | 5.1333 | 153.9333 | 7.12 | 3.5533 | 7.0733 | 3.1933 | -1.5567 | 889 | 96.0333 | 13.5313
2019-01-13 08:00:00 | 4.44 | 247.8933 | 5.1067 | 272.4 | 6.7 | 238.82 | 6.6867 | 4.2333 | -1.4833 | 889 | 95.5667 | 14.9947
2019-01-13 08:15:00 | 4.4867 | 316.2 | 5.1733 | 347.4667 | 6.4567 | 4.6667 | 6.4867 | 120.5533 | -1.5 | 889 | 95.5333 | 18.8333
2019-01-13 08:30:00 | 4.8067 | 108.3667 | 5.54 | 119.08 | 6.93 | 6.74 | 6.92 | 131.4067 | -1.56 | 889 | 96.1333 | 24.0727
2019-01-13 08:45:00 | 5.23 | 107.5933 | 6.0267 | 118.2333 | 7.6167 | 9.3667 | 8.0433 | 12.41 | -1.6367 | 889.7333 | 97.0333 | 25.8493
2019-01-13 09:00:00 | 5.3767 | 162.32 | 6.1867 | 178.3667 | 8.6033 | 8.1333 | 8.7767 | 17.75 | -1.3767 | 890 | 96.9 | 26.5453
2019-01-13 09:15:00 | 5.4933 | 25.3333 | 6.3167 | 27.8367 | 8.7267 | 1.6567 | 8.9467 | 17.5667 | -1 | 890.0667 | 95.7 | 26.5353
2019-01-13 09:30:00 | 5.8133 | 37.7667 | 6.6833 | 41.5033 | 8.7267 | 7.7033 | 8.7667 | 20.4 | -0.75333 | 891 | 94.3 | 24.3047
2019-01-13 09:45:00 | 5.5433 | 199.39 | 6.3767 | 219.1133 | 8 | 8.14 | 8.1467 | 14.68 | -0.43333 | 891 | 92.6667 | 22.1973
2019-01-13 10:00:00 | 5.2767 | 4.0633 | 6.0767 | 4.46 | 7.34 | 10.4933 | 7.7133 | 6.96 | -0.25333 | 891 | 90.7333 | 21.6087
2019-01-13 10:15:00 | 5.0933 | 93.9033 | 5.8567 | 103.18 | 7.1167 | 133.5933 | 7.4233 | 8.0767 | -0.16 | 891 | 90.2667 | 23.6213
2019-01-13 10:30:00 | 5.24 | 302.97 | 6.03 | 332.9333 | 7.63 | 119 | 7.89 | 5.61 | 0.16667 | 891 | 88.9333 | 26.058
2019-01-13 10:45:00 | 5.1867 | 33.7367 | 5.9633 | 37.0667 | 8 | 120.5067 | 8.03 | 121.9 | -0.61333 | 891 | 91.6333 | 28.4467
2019-01-13 11:00:00 | 5.0533 | 207.4167 | 5.81 | 227.9267 | 7.8533 | 119.6133 | 7.9167 | 124.1533 | -0.58667 | 891 | 91.8333 | 25.7
2019-01-13 11:15:00 | 4.86 | 51.8667 | 5.6033 | 56.9933 | 7.6233 | 28.26 | 7.7167 | 9.4033 | -0.19333 | 891 | 90.4667 | 26.7307
2019-01-13 11:30:00 | 4.6733 | 185.1467 | 5.3767 | 203.46 | 7.6367 | 6.5267 | 7.7033 | 7.0367 | 0.04 | 891 | 88.8 | 24.9627
2019-01-13 11:45:00 | 4.61 | 134.25 | 5.3067 | 147.5133 | 7.17 | 2.5433 | 7.5733 | 10.89 | 0.34333 | 891 | 87.2333 | 22.0213
2019-01-13 12:00:00 | 4.7033 | 316.87 | 5.4133 | 348.2 | 7.2167 | 236.4367 | 7.3133 | 16.5833 | 0.45667 | 891 | 86.1667 | 19.1233
2019-01-13 12:15:00 | 4.5533 | 316.6027 | 5.2467 | 347.9133 | 6.9867 | 5.4767 | 7.1533 | 80.3433 | 0.65667 | 891 | 85.3333 | 16.4113
2019-01-13 12:30:00 | 4.3133 | 108.1933 | 4.9733 | 118.8867 | 6.76 | 0.41667 | 6.6267 | 10.0967 | 0.86333 | 890.6 | 84.3333 | 12.63
2019-01-13 12:45:00 | 4.5267 | 3.1967 | 5.2067 | 3.5067 | 6.25 | 3.8633 | 6.28 | 4.99 | 0.86667 | 890 | 84.3933 | 10.1627
2019-01-13 13:00:00 | 4.4733 | 209.7567 | 5.1533 | 230.4933 | 5.8567 | 0.15 | 5.6867 | 5.0167 | 0.91333 | 890 | 84.1 | 7.6047
2019-01-13 13:15:00 | 4.5133 | 95.58 | 5.19 | 105.0267 | 5.78 | 4.04 | 5.7867 | 16.2967 | 0.91333 | 889.9333 | 83.6 | 5.1813
2019-01-13 13:30:00 | 4.52 | 94.4 | 5.1967 | 103.7333 | 5.54 | 233.9 | 5.3733 | 6.5233 | 0.98 | 889 | 83.36 | 3.5687
2019-01-13 13:45:00 | 4.5733 | 17.0267 | 5.2633 | 18.7133 | 5.64 | 5.0233 | 5.4667 | 2.3 | 1.0033 | 889 | 83.2 | 2.3293
2019-01-13 14:00:00 | 4.4133 | 213.2133 | 5.0767 | 234.2933 | 5.1467 | 5.6233 | 5.1867 | 9.6333 | 1.0833 | 889 | 82.3333 | 1.9447
2019-01-13 14:15:00 | 4.184 | 130.9793 | 4.818 | 143.9287 | 5.16 | 3.46 | 4.9473 | 2.9547 | 1.324 | 889 | 81.6933 | 1.6073
2019-01-13 14:30:00 | 4.1333 | 114.1067 | 4.7533 | 125.3867 | 5.1233 | 3.6567 | 4.7567 | 4.7067 | 1.3967 | 888.6 | 81.8 | 1.5153
2019-01-13 14:45:00 | 3.9733 | 108.5833 | 4.57 | 119.3133 | 4.71 | 140.1133 | 4.6667 | 127.2533 | 1.4167 | 888 | 81.4 | 0.99133
2019-01-13 15:00:00 | 3.6533 | 114.2433 | 4.2033 | 125.54 | 4.3967 | 124.1867 | 4.62 | 129.8467 | 1.5633 | 888 | 80.4667 | 0.89933
2019-01-13 15:15:00 | 3.3367 | 240.6367 | 3.8333 | 264.4333 | 4.1733 | 6.1 | 4.47 | 19.6533 | 1.76 | 888 | 79.1067 | 0.084
2019-01-13 15:30:00 | 3.19 | 243.3033 | 3.6733 | 267.3667 | 3.76 | 8.8533 | 4.0233 | 22.2 | 1.9067 | 888 | 78.2 | 0
2019-01-13 15:45:00 | 3.0133 | 216.38 | 3.4667 | 237.7733 | 3.44 | 355.9667 | 3.5067 | 18.18 | 2.0267 | 888 | 77.484 | 0
2019-01-13 16:00:00 | 2.84 | 217.4667 | 3.2667 | 238.9733 | 3.3933 | 355.2333 | 3.36 | 37.2133 | 2.16 | 888 | 77.1 | 0
2019-01-13 16:15:00 | 2.62 | 308.7967 | 3.02 | 339.34 | 3.0433 | 354.4333 | 2.73 | 5.8767 | 2.35 | 888 | 76.6433 | 0
2019-01-13 16:30:00 | 2.2733 | 311.0167 | 2.6133 | 341.7667 | 2.61 | 148.22 | 2.2433 | 9.7567 | 2.3633 | 888 | 76.6033 | 0
2019-01-13 16:45:00 | 2.0333 | 314.3167 | 2.34 | 345.4 | 2.5133 | 119.08 | 1.8867 | 19.3233 | 2.3733 | 888 | 76.2567 | 0
2019-01-13 17:00:00 | 1.6 | 307.6433 | 1.84 | 338.0667 | 1.72 | 356.9 | 1.0667 | 236.0567 | 2.4 | 888 | 76.0167 | 0
2019-01-13 17:15:00 | 1.2667 | 313.4933 | 1.4633 | 344.5 | 1.61 | 2.1233 | 0.52667 | 260.8667 | 2.4433 | 888.0667 | 76.2093 | 0
2019-01-13 17:30:00 | 1.0333 | 318.54 | 1.19 | 350.0333 | 0.81 | 188.3833 | 0.97333 | 237.7333 | 2.4767 | 889 | 76.24 | 0
2019-01-13 17:45:00 | 0.834 | 216.7207 | 0.956 | 238.1533 | 0.17067 | 274.7333 | 0.642 | 190.4867 | 2.406 | 888.9333 | 76.7667 | 0
2019-01-13 18:00:00 | 0.99333 | 217.29 | 1.1467 | 238.78 | 0.26 | 96.6067 | 0.58 | 177.54 | 2.25 | 888.4 | 78.1467 | 0
2019-01-13 18:15:00 | 1.7267 | 322.5333 | 1.9867 | 354.4333 | 1.5533 | 238.9067 | 0.066667 | 142.8567 | 2.0967 | 889 | 79.2267 | 0
2019-01-13 18:30:00 | 2.1 | 317.792 | 2.42 | 349.22 | 2.3333 | 5.5467 | 1.04 | 47.9367 | 2.01 | 889 | 79.744 | 0
2019-01-13 18:45:00 | 2.32 | 1.19 | 2.67 | 1.2967 | 2.82 | 5.6633 | 2.1367 | 27.4233 | 1.9433 | 888.2667 | 79.9133 | 0
2019-01-13 19:00:00 | 3 | 0.05 | 3.4567 | 0.05 | 3.5067 | 1.95 | 2.8167 | 16.6567 | 1.93 | 888 | 79.916 | 0
2019-01-13 19:15:00 | 3.1833 | 213.6433 | 3.67 | 234.7667 | 3.7033 | 7.1533 | 3.51 | 21.5033 | 1.9467 | 888.7333 | 79.6713 | 0.10733
2019-01-13 19:30:00 | 2.9967 | 209.9367 | 3.45 | 230.7 | 3.7367 | 240.0533 | 3.99 | 23.19 | 1.9467 | 889 | 80.0967 | 0.94733
2019-01-13 19:45:00 | 3.0933 | 108.8133 | 3.56 | 119.5667 | 4.2167 | 5.86 | 4.34 | 11.9533 | 1.89 | 889 | 80.7333 | 2.4653
2019-01-13 20:00:00 | 3.0533 | 112.5267 | 3.5133 | 123.6533 | 4.2567 | 240.3133 | 4.26 | 15.6333 | 1.8433 | 889 | 81.0667 | 3.922
2019-01-13 20:15:00 | 3.3467 | 111.57 | 3.8467 | 122.6067 | 4.9033 | 12.8467 | 5.0667 | 7.9867 | 1.7733 | 889 | 81.3067 | 5.4107
2019-01-13 20:30:00 | 3.2 | 130.4767 | 3.68 | 143.38 | 5.31 | 17.48 | 5.4333 | 14.1 | 1.7133 | 889 | 81.6667 | 6.6247
2019-01-13 20:45:00 | 3.2667 | 207.61 | 3.7633 | 228.1467 | 5.73 | 1.9767 | 6.0267 | 11.4667 | 1.6467 | 889 | 82 | 8.8887
2019-01-13 21:00:00 | 3.3867 | 200.2167 | 3.9033 | 220.0133 | 5.83 | 7.8033 | 6.0067 | 17.8867 | 1.6333 | 889 | 82.3333 | 10.1453
2019-01-13 21:15:00 | 4.0233 | 15.0367 | 4.6233 | 16.5167 | 7.0867 | 19.4233 | 7.1167 | 19.5067 | 1.56 | 889 | 83.3333 | 16.3133
2019-01-13 21:30:00 | 4.33 | 204.1967 | 4.99 | 224.39 | 7.8133 | 19.99 | 7.83 | 19.3467 | 1.4733 | 889 | 84.2667 | 21.194
2019-01-13 21:45:00 | 4.5533 | 130.2067 | 5.2367 | 143.0733 | 7.19 | 12.41 | 7.1933 | 21.66 | 1.4667 | 889 | 84.5667 | 21.008
2019-01-13 22:00:00 | 4.5467 | 316.5333 | 5.23 | 347.8333 | 6.1033 | 231.7367 | 6.1267 | 15.56 | 1.5733 | 889.4 | 83.9667 | 20.734
2019-01-13 22:15:00 | 3.5767 | 58.2867 | 4.1133 | 64.0467 | 5.99 | 240.76 | 6.1233 | 21.3867 | 1.5533 | 889.3333 | 84.2 | 23.5033
2019-01-13 22:30:00 | 3.95 | 229.3 | 4.54 | 251.9667 | 6.7833 | 11.8 | 7.0167 | 25.6333 | 1.5267 | 890 | 84.64 | 31.0107
2019-01-13 22:45:00 | 4.7467 | 286.1367 | 5.4633 | 314.4333 | 8.2667 | 121.2933 | 8.4767 | 18.65 | 1.47 | 889.2667 | 84.6333 | 36.744
2019-01-13 23:00:00 | 5.04 | 105.6967 | 5.8033 | 116.1467 | 8.44 | 116.2667 | 8.6967 | 7.1833 | 1.4567 | 889 | 84.06 | 37.376
2019-01-13 23:15:00 | 4.9767 | 215.6233 | 5.7233 | 236.95 | 8.69 | 1.9933 | 8.2833 | 5.89 | 1.5 | 889 | 83.2 | 40.3653
2019-01-13 23:30:00 | 5.05 | 21.8033 | 5.8033 | 23.9567 | 8.1367 | 6.4867 | 7.9967 | 239.3367 | 1.54 | 889 | 82.64 | 44.9287
2019-01-13 23:45:00 | 5.5867 | 312.04 | 6.4267 | 342.9 | 8.79 | 8.36 | 8.8633 | 9.3767 | 1.5333 | 889 | 82.2333 | 45.576