## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-14 00:00:00 | 5.8533 | 258.84 | 6.7333 | 284.4333 | 9.6567 | 16.0333 | 9.7833 | 19.1367 | 1.5467 | 889 | 80.8333 | 47.8567
2019-01-14 00:15:00 | 5.866 | 107.2933 | 6.7427 | 117.9 | 9.5 | 13.3567 | 9.3 | 23.9433 | 1.5467 | 889 | 80.05 | 48.2607
2019-01-14 00:30:00 | 6.0033 | 119.9867 | 6.9067 | 131.8467 | 10.0867 | 3.1367 | 10.1133 | 18.8833 | 1.5867 | 889 | 79.27 | 47.7527
2019-01-14 00:45:00 | 5.2533 | 42.25 | 6.0533 | 46.4167 | 9.66 | 8.0467 | 9.8 | 13.5 | 1.6633 | 889 | 78.0067 | 45.2107
2019-01-14 01:00:00 | 5.1333 | 200.33 | 5.9133 | 220.1367 | 9.5333 | 9.5067 | 9.5333 | 20.62 | 1.67 | 889 | 77.76 | 44.8567
2019-01-14 01:15:00 | 5.3133 | 103.7433 | 6.12 | 114 | 9.53 | 13.6367 | 9.4467 | 19.4 | 1.6367 | 889 | 77.952 | 45.7253
2019-01-14 01:30:00 | 5.9133 | 306.19 | 6.8067 | 336.4667 | 10.27 | 8.3167 | 10.2867 | 23.02 | 1.6433 | 889 | 77.6333 | 40.5067
2019-01-14 01:45:00 | 5.48 | 68.8667 | 6.3033 | 75.6733 | 9.7233 | 4.54 | 9.6367 | 12.8867 | 1.6467 | 889 | 77.5593 | 35.368
2019-01-14 02:00:00 | 5.3333 | 113.24 | 6.1433 | 124.4333 | 9.3233 | 11.3533 | 9.4167 | 18.24 | 1.6267 | 889 | 77.8367 | 35.9133
2019-01-14 02:15:00 | 4.6667 | 201.87 | 5.37 | 221.8367 | 7.65 | 239.2667 | 7.9933 | 15.4233 | 1.6567 | 889 | 77.9333 | 35.13
2019-01-14 02:30:00 | 3.9733 | 219.65 | 4.57 | 241.37 | 5.9767 | 9.3933 | 5.9333 | 21.1433 | 1.67 | 889 | 78.04 | 38.0893
2019-01-14 02:45:00 | 4.44 | 303.3333 | 5.11 | 333.3333 | 7.1267 | 233.1333 | 6.9167 | 5.0867 | 1.6467 | 889 | 78.3467 | 36.7867
2019-01-14 03:00:00 | 3.94 | 99.7867 | 4.5433 | 109.6533 | 6.28 | 226.0667 | 5.9167 | 3.8333 | 1.6733 | 889 | 78.152 | 37.2
2019-01-14 03:15:00 | 4.1033 | 105.54 | 4.7233 | 115.9733 | 6.4967 | 338.5667 | 6.1167 | 341.7333 | 1.6467 | 889 | 78.3447 | 39.5853
2019-01-14 03:30:00 | 4.3033 | 115.18 | 4.95 | 126.5667 | 6.7633 | 349.5 | 6.4767 | 113.6533 | 1.6467 | 889 | 78.43 | 40.8147
2019-01-14 03:45:00 | 4.5867 | 304.43 | 5.2767 | 334.5333 | 7.36 | 344.9 | 6.8667 | 120.2667 | 1.6233 | 888.2667 | 78.49 | 39.3987
2019-01-14 04:00:00 | 4.7467 | 132.3167 | 5.4633 | 145.4067 | 7.6667 | 140.5933 | 7.3267 | 126.1 | 1.6833 | 888 | 77.8967 | 40.9927
2019-01-14 04:15:00 | 4.8947 | 231.4227 | 5.6387 | 254.3093 | 7.6533 | 243.316 | 7.5067 | 21.3573 | 1.716 | 888 | 77.538 | 41.99
2019-01-14 04:30:00 | 4.8467 | 206.56 | 5.58 | 226.9867 | 7.41 | 10.5633 | 7.16 | 18.7233 | 1.7367 | 888 | 77.3533 | 43.3
2019-01-14 04:45:00 | 5.05 | 198.24 | 5.8067 | 217.85 | 8.7633 | 11.21 | 9.0367 | 11.7533 | 1.66 | 888 | 78.11 | 43.7873
2019-01-14 05:00:00 | 5.4567 | 37.8733 | 6.2733 | 41.6233 | 9.3967 | 17.65 | 9.51 | 22.28 | 1.6867 | 888 | 77.638 | 44.4507
2019-01-14 05:15:00 | 5.34 | 105.8267 | 6.14 | 116.2867 | 8.16 | 118.9733 | 7.9667 | 25.0733 | 1.7633 | 888 | 76.9033 | 43.7587
2019-01-14 05:30:00 | 4.8467 | 96.7467 | 5.5733 | 106.3133 | 7.7933 | 326.2333 | 7.5867 | 45.6867 | 1.77 | 888 | 76.5567 | 42.4073
2019-01-14 05:45:00 | 4.7233 | 12.16 | 5.4433 | 13.36 | 7.8167 | 202.7767 | 7.99 | 131 | 1.79 | 888 | 76.2373 | 42.4247
2019-01-14 06:00:00 | 4.8367 | 204.62 | 5.5633 | 224.8467 | 7.8167 | 238.7767 | 7.5967 | 121.6133 | 1.81 | 888 | 75.8267 | 41.4193
2019-01-14 06:15:00 | 5.1433 | 221.7467 | 5.9233 | 243.6733 | 8.7967 | 229.5467 | 8.38 | 3.3867 | 1.87 | 888 | 75.06 | 42.0513
2019-01-14 06:30:00 | 4.6767 | 195.7267 | 5.3767 | 215.0733 | 8.09 | 2.0133 | 7.74 | 5.04 | 1.91 | 888 | 74.5733 | 40.2467
2019-01-14 06:45:00 | 4.3167 | 127.0067 | 4.97 | 139.56 | 7.4167 | 339.8333 | 7.1867 | 355.5333 | 1.84 | 888 | 75.4487 | 39.1987
2019-01-14 07:00:00 | 4.49 | 120.12 | 5.1633 | 132 | 7.33 | 138.6467 | 7.6133 | 132.3733 | 1.8333 | 888 | 75.406 | 42.6627
2019-01-14 07:15:00 | 5.6433 | 225.11 | 6.5 | 247.3667 | 9.6533 | 12.29 | 9.7133 | 36.74 | 1.9167 | 888 | 74.7367 | 44.274
2019-01-14 07:30:00 | 6.05 | 264.3033 | 6.96 | 290.4333 | 10.3067 | 11.2833 | 10.4867 | 22.4333 | 1.9767 | 888 | 74.09 | 42.4887
2019-01-14 07:45:00 | 5.4167 | 208.4833 | 6.23 | 229.09 | 9.0167 | 8.5633 | 9.2733 | 14.36 | 2.1067 | 888 | 72.7533 | 40.9553
2019-01-14 08:00:00 | 5.9167 | 30.59 | 6.81 | 33.61 | 10.17 | 6.9433 | 10.1467 | 13.5333 | 2.1333 | 888 | 72.568 | 47.4873
2019-01-14 08:15:00 | 5.9733 | 150.4567 | 6.88 | 165.3333 | 10.72 | 12.09 | 10.7033 | 19.2667 | 2.1333 | 888.0667 | 72.3233 | 48.506
2019-01-14 08:30:00 | 5.84 | 73.07 | 6.7133 | 80.2933 | 10.82 | 15.6767 | 10.8367 | 20.4333 | 2.18 | 889 | 71.6967 | 48.034
2019-01-14 08:45:00 | 5.7733 | 293.6267 | 6.6533 | 322.6667 | 10.7167 | 12.22 | 10.8367 | 18.1033 | 2.2933 | 889 | 70.7933 | 49.0253
2019-01-14 09:00:00 | 5.8533 | 274.04 | 6.7333 | 301.1333 | 10.13 | 17.1333 | 10.2833 | 10.61 | 2.34 | 889 | 70.3467 | 47.118
2019-01-14 09:15:00 | 5.8067 | 32.5267 | 6.674 | 35.7433 | 10.4667 | 11.55 | 10.43 | 22.25 | 2.45 | 889 | 69.4833 | 46.1127
2019-01-14 09:30:00 | 5.84 | 8.4733 | 6.7167 | 9.31 | 10.296 | 14.71 | 10.2567 | 18.6367 | 2.49 | 889 | 69.1833 | 47.0633
2019-01-14 09:45:00 | 5.38 | 230.32 | 6.1967 | 253.1 | 10.2267 | 9.8067 | 10.4133 | 12.3367 | 2.5367 | 889.0667 | 68.8287 | 45.756
2019-01-14 10:00:00 | 5.72 | 249.1267 | 6.5833 | 273.7667 | 10.6667 | 8.9733 | 10.72 | 20.1033 | 2.61 | 890 | 68.27 | 48.82
2019-01-14 10:15:00 | 6.0567 | 212.15 | 6.9667 | 233.12 | 10.5833 | 10.9467 | 10.3633 | 13.94 | 2.7867 | 890 | 66.5 | 45.5533
2019-01-14 10:30:00 | 5.8433 | 41.1167 | 6.7333 | 45.18 | 9.9433 | 12.3733 | 9.93 | 10.9533 | 2.8667 | 890 | 66.16 | 44.5293
2019-01-14 10:45:00 | 5.7333 | 204.9133 | 6.5933 | 225.1833 | 10.2033 | 3.9867 | 9.9967 | 14.5967 | 2.9367 | 890 | 65.57 | 47.3393
2019-01-14 11:00:00 | 5.8667 | 216.3267 | 6.7467 | 237.7167 | 10.03 | 16.4867 | 9.4833 | 13.2833 | 2.91 | 890 | 66.2367 | 48.3587
2019-01-14 11:15:00 | 5.8733 | 71.5233 | 6.76 | 78.5933 | 10.4833 | 18.21 | 10.2467 | 12.1767 | 2.9933 | 890 | 65.76 | 46.1387
2019-01-14 11:30:00 | 6.08 | 178.6567 | 7 | 196.3267 | 10.1767 | 4.2833 | 10.2333 | 13.91 | 3.06 | 890 | 64.9467 | 44.994
2019-01-14 11:45:00 | 5.9633 | 231.08 | 6.8513 | 253.9333 | 10.54 | 8.77 | 10.38 | 17.5033 | 3.1533 | 890 | 64.6967 | 46.5627
2019-01-14 12:00:00 | 6.1967 | 233.14 | 7.13 | 256.2 | 10.7133 | 16.41 | 10.364 | 16.69 | 3.1533 | 890 | 64.8633 | 49.3087
2019-01-14 12:15:00 | 6.36 | 43.7433 | 7.32 | 48.07 | 11.1067 | 11.61 | 10.7533 | 10.24 | 3.1573 | 890 | 65.6333 | 49.4953
2019-01-14 12:30:00 | 6.22 | 206.13 | 7.1533 | 226.5167 | 10.6933 | 10.9767 | 10.5333 | 10.7067 | 3.2 | 889.6 | 65.792 | 50.9207
2019-01-14 12:45:00 | 6.24 | 310.9533 | 7.18 | 341.7 | 10.2033 | 36.5167 | 9.84 | 8.1433 | 3.3367 | 889 | 64.6767 | 49.4913
2019-01-14 13:00:00 | 6.3467 | 133.7733 | 7.3 | 147 | 11.21 | 12.5233 | 10.7467 | 14.99 | 3.5233 | 889 | 64.17 | 49.328
2019-01-14 13:15:00 | 6.1333 | 217.07 | 7.0533 | 238.5267 | 11.19 | 9.0833 | 10.9067 | 20.08 | 3.8533 | 889 | 63.304 | 47.876
2019-01-14 13:30:00 | 5.94 | 185.8767 | 6.8333 | 204.26 | 11.0433 | 12.1967 | 10.6467 | 16.7533 | 3.964 | 889 | 62.8867 | 43.7927
2019-01-14 13:45:00 | 5.53 | 96.9167 | 6.36 | 106.4933 | 10.23 | 7.16 | 9.7933 | 12.1833 | 3.9593 | 889 | 62.7813 | 43.92
2019-01-14 14:00:00 | 5.6767 | 206.7167 | 6.5333 | 227.16 | 10.154 | 13.4933 | 9.86 | 18.1833 | 3.9767 | 889 | 62.4667 | 46.0393
2019-01-14 14:15:00 | 5.48 | 17.6667 | 6.3093 | 19.4033 | 9.66 | 10.02 | 9.4533 | 12.59 | 4.0967 | 889 | 61.5467 | 44.5067
2019-01-14 14:30:00 | 5.3733 | 217.4867 | 6.1867 | 238.99 | 8.92 | 9.2267 | 8.84 | 19.7033 | 4.1167 | 889 | 60.7 | 46.9027
2019-01-14 14:45:00 | 5.4973 | 171.766 | 6.3313 | 188.7453 | 9.3853 | 11.0973 | 9.4347 | 17.3073 | 4.2467 | 889 | 59.7973 | 47.0367
2019-01-14 15:00:00 | 5.6433 | 282.86 | 6.4967 | 310.8333 | 9.9433 | 14.8567 | 10.2267 | 23.6033 | 4.4467 | 889 | 58.36 | 50.206
2019-01-14 15:15:00 | 5.8953 | 299.3993 | 6.784 | 329.0067 | 10.7253 | 8.7947 | 10.83 | 25.458 | 4.5833 | 888.2667 | 57.3093 | 50.6987
2019-01-14 15:30:00 | 5.888 | 122.99 | 6.774 | 135.1467 | 10.884 | 9.81 | 10.68 | 21.3833 | 4.7033 | 888.4 | 55.9267 | 50.6
2019-01-14 15:45:00 | 6.1933 | 184.18 | 7.1267 | 202.3967 | 11.5567 | 14.1033 | 11.0967 | 22 | 4.77 | 889 | 54.47 | 52.5293
2019-01-14 16:00:00 | 6.42 | 231.5 | 7.3933 | 254.3967 | 11.61 | 14.5767 | 11.2633 | 25.34 | 4.7967 | 889 | 53.6633 | 54.3993
2019-01-14 16:15:00 | 6.1933 | 17.73 | 7.13 | 19.4833 | 11.66 | 10.8633 | 11.57 | 22.1133 | 4.7807 | 889 | 53.8167 | 53.924
2019-01-14 16:30:00 | 6.1133 | 41.7767 | 7.03 | 45.91 | 11.48 | 15.4967 | 11.5433 | 21.74 | 4.7767 | 889 | 53.8167 | 54.3347
2019-01-14 16:45:00 | 6.4 | 202.77 | 7.3667 | 222.8233 | 11.86 | 10.6567 | 11.9787 | 26.88 | 4.7867 | 889 | 52.7633 | 56.118
2019-01-14 17:00:00 | 6.6933 | 217.15 | 7.7067 | 238.6233 | 12.3533 | 16.4767 | 12.1933 | 22.5533 | 4.7867 | 889 | 52.57 | 56.652
2019-01-14 17:15:00 | 6.8633 | 247.3767 | 7.9033 | 271.8333 | 12.5933 | 17.57 | 12.67 | 23.69 | 4.8367 | 889 | 51.6333 | 55.3407
2019-01-14 17:30:00 | 6.7567 | 69.1833 | 7.77 | 76.02 | 12.44 | 22.8167 | 12.63 | 31.5833 | 4.8567 | 889 | 51.38 | 55.152
2019-01-14 17:45:00 | 6.6133 | 10.3633 | 7.6033 | 11.39 | 11.88 | 9.9433 | 12.18 | 28.09 | 4.9133 | 889 | 50.5567 | 52.2187
2019-01-14 18:00:00 | 6.28 | 187.21 | 7.23 | 205.7233 | 11.3333 | 20.9233 | 11.5733 | 33.05 | 4.9467 | 889 | 50.3367 | 49.1993
2019-01-14 18:15:00 | 5.7867 | 112.3367 | 6.66 | 123.4367 | 10.54 | 9.8967 | 10.8267 | 31.37 | 4.9333 | 889.7333 | 50.12 | 48.4947
2019-01-14 18:30:00 | 5.72 | 210.8567 | 6.5867 | 231.7033 | 10.5133 | 14.37 | 10.7333 | 32.47 | 4.8667 | 890 | 50.2667 | 45.9273
2019-01-14 18:45:00 | 5.6433 | 58.5533 | 6.4933 | 64.34 | 10.47 | 12.95 | 10.41 | 34.3633 | 4.8133 | 890 | 50.2267 | 43.4253
2019-01-14 19:00:00 | 5.67 | 76.5533 | 6.5267 | 84.12 | 10.6433 | 26.7367 | 10.9833 | 37.41 | 4.8867 | 890 | 49.4 | 43.9967
2019-01-14 19:15:00 | 6.2567 | 217.6833 | 7.2033 | 239.2167 | 11.43 | 25.05 | 12.05 | 34.93 | 4.82 | 890 | 49.7967 | 45.6393
2019-01-14 19:30:00 | 6.4233 | 212.6567 | 7.3967 | 233.6833 | 11.4967 | 18.6233 | 12.2967 | 42.8233 | 4.98 | 890.4 | 48.7033 | 42.3733
2019-01-14 19:45:00 | 6.2367 | 290 | 7.1733 | 318.6667 | 11.1267 | 28.8433 | 11.6433 | 37.98 | 5.1033 | 891 | 47.8647 | 44.2073
2019-01-14 20:00:00 | 5.91 | 276.52 | 6.8 | 303.8667 | 10.6733 | 19.6633 | 11.434 | 32.22 | 5.07 | 891 | 48.2967 | 48.6173
2019-01-14 20:15:00 | 5.7567 | 221.6467 | 6.6333 | 243.5633 | 10.8433 | 18.4867 | 11.1133 | 21.7433 | 4.9033 | 891 | 49.46 | 48.8693
2019-01-14 20:30:00 | 5.5567 | 153.8867 | 6.3933 | 169.0967 | 10.49 | 15.8133 | 10.7667 | 25.03 | 4.89 | 891.4 | 49.38 | 47.3847
2019-01-14 20:45:00 | 6.04 | 45.1467 | 6.96 | 49.6067 | 10.8767 | 16.22 | 10.9067 | 24.5 | 4.9133 | 892 | 49.3133 | 42.6507
2019-01-14 21:00:00 | 5.7733 | 208.9133 | 6.6533 | 229.5667 | 10.6233 | 21.8467 | 10.5267 | 26.64 | 4.98 | 892 | 48.7867 | 44.508
2019-01-14 21:15:00 | 6.1767 | 238.5067 | 7.11 | 262.1 | 11.1333 | 12.5933 | 11.3 | 22.04 | 5.0493 | 892 | 48.2193 | 43.1787
2019-01-14 21:30:00 | 6.0633 | 118.06 | 6.9833 | 129.74 | 11.16 | 8.1867 | 11.2 | 29.5133 | 5.04 | 892 | 48.206 | 48.4027
2019-01-14 21:45:00 | 6.4 | 54.7567 | 7.3567 | 60.17 | 11.9067 | 22.3333 | 11.96 | 22.1633 | 5.0033 | 892 | 48.6033 | 51.3313
2019-01-14 22:00:00 | 6.6067 | 186.2033 | 7.5967 | 204.6167 | 12.08 | 14.52 | 12.2933 | 22.8433 | 5.05 | 892 | 47.87 | 48.9093
2019-01-14 22:15:00 | 6.09 | 73.44 | 7 | 80.7 | 11.1967 | 15.4067 | 12.0713 | 23.61 | 5.0107 | 892 | 47.7467 | 42.7273
2019-01-14 22:30:00 | 5.6433 | 72.0667 | 6.4867 | 79.1933 | 10.6233 | 13.5133 | 11.7233 | 22.0367 | 5.0067 | 892 | 47.268 | 38.5293
2019-01-14 22:45:00 | 5.41 | 157.55 | 6.22 | 173.1333 | 10.29 | 18.64 | 11.4167 | 28.5567 | 5.0267 | 892.7333 | 46.3533 | 38.128
2019-01-14 23:00:00 | 5.3567 | 172.7833 | 6.1667 | 189.8667 | 10.05 | 18.28 | 10.9967 | 27.9567 | 5.0867 | 893 | 45.4 | 35.7573
2019-01-14 23:15:00 | 5.16 | 107.7867 | 5.9367 | 118.4467 | 9.4867 | 32.7633 | 10.3567 | 36.18 | 5.0733 | 893 | 44.7907 | 35.7047
2019-01-14 23:30:00 | 5.1333 | 226.68 | 5.9033 | 249.1 | 9.6733 | 24.9167 | 10.4033 | 25.7067 | 5 | 893 | 44.1467 | 38.6213
2019-01-14 23:45:00 | 5.3567 | 280.04 | 6.17 | 307.7333 | 9.9233 | 21.9133 | 10.7333 | 30.1567 | 5.06 | 893.0667 | 42.6433 | 35.9387