## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-15 00:00:00 | 5.05 | 164.54 | 5.81 | 180.8 | 9.6033 | 30.88 | 10.3333 | 30.4967 | 5.0467 | 894 | 41.6967 | 30.7493
2019-01-15 00:15:00 | 4.612 | 178.5187 | 5.3047 | 196.1733 | 8.7873 | 2.6833 | 9.3107 | 26.4987 | 4.9433 | 894 | 41.728 | 29.9073
2019-01-15 00:30:00 | 4.6 | 229.7467 | 5.3033 | 252.4667 | 8.3633 | 15.31 | 8.5333 | 28.6067 | 5.05 | 894 | 39.3733 | 32.374
2019-01-15 00:45:00 | 4.6733 | 202.9133 | 5.3767 | 222.9667 | 8.4 | 22.94 | 8.6233 | 29.27 | 5.0767 | 894 | 38.09 | 35.0353
2019-01-15 01:00:00 | 4.8067 | 213.28 | 5.5367 | 234.3667 | 8.6267 | 22.2267 | 8.7833 | 30.2767 | 5.034 | 894 | 37.11 | 36.8533
2019-01-15 01:15:00 | 5.0433 | 267.3033 | 5.81 | 293.7333 | 9.11 | 20.2667 | 9.3867 | 32.1267 | 5 | 894 | 36.3067 | 43.9047
2019-01-15 01:30:00 | 5.4267 | 227.85 | 6.242 | 250.3867 | 9.6507 | 19.668 | 10.018 | 30.674 | 4.988 | 894 | 35.376 | 44.532
2019-01-15 01:45:00 | 5.54 | 34.39 | 6.3733 | 37.7933 | 9.7667 | 42.3867 | 10.04 | 39.94 | 4.9633 | 893.2667 | 34.32 | 49.2693
2019-01-15 02:00:00 | 6.2667 | 120.11 | 7.2067 | 131.9867 | 11.2067 | 29.4667 | 11.4133 | 30.2133 | 4.8767 | 893 | 34.4067 | 53.02
2019-01-15 02:15:00 | 6.9967 | 82.24 | 8.0467 | 90.3733 | 12.4667 | 18.06 | 12.6567 | 29.12 | 4.7067 | 893 | 35.0367 | 51.0233
2019-01-15 02:30:00 | 6.85 | 80.1933 | 7.88 | 88.12 | 12.5267 | 9.76 | 12.7433 | 21.3067 | 4.5067 | 893 | 36.4367 | 52.1353
2019-01-15 02:45:00 | 6.9667 | 146.82 | 8.0133 | 161.3333 | 12.72 | 22.6967 | 12.7033 | 27.15 | 4.4193 | 893 | 36.038 | 51.8633
2019-01-15 03:00:00 | 6.58 | 106.4733 | 7.5667 | 117 | 12.1867 | 21.8367 | 12.3967 | 29.7767 | 4.3633 | 893 | 36.4833 | 51.042
2019-01-15 03:15:00 | 6.492 | 88.7653 | 7.468 | 97.5347 | 11.9073 | 16.2787 | 12.204 | 24.944 | 4.2933 | 893 | 36.4127 | 48.1393
2019-01-15 03:30:00 | 6.36 | 285.6 | 7.32 | 313.8333 | 11.6633 | 17.4067 | 11.92 | 25.7067 | 4.26 | 893 | 36.3167 | 50.4087
2019-01-15 03:45:00 | 6.78 | 7.56 | 7.7933 | 8.3033 | 12.14 | 14.1067 | 12.5 | 31.11 | 4.2493 | 893 | 36.43 | 52.07
2019-01-15 04:00:00 | 7.0667 | 9.8 | 8.1333 | 10.7633 | 12.8333 | 10.1467 | 12.9933 | 23.4767 | 4.2 | 893 | 36.6567 | 52.724
2019-01-15 04:15:00 | 7.1967 | 281.2533 | 8.2833 | 309.0667 | 12.9033 | 24.18 | 13.3967 | 29.3433 | 4.1367 | 893 | 36.7467 | 52.2033
2019-01-15 04:30:00 | 7.1967 | 108.3733 | 8.2833 | 119.0867 | 12.61 | 26.4667 | 13.1833 | 35.3767 | 4.17 | 893 | 36 | 52.0733
2019-01-15 04:45:00 | 7.0467 | 301.82 | 8.11 | 331.6667 | 12.7027 | 15.4833 | 13.0133 | 23.3467 | 4.0607 | 893 | 37.1433 | 50.5753
2019-01-15 05:00:00 | 6.9067 | 288.8333 | 7.9567 | 317.4 | 12.0467 | 19.31 | 12.8933 | 32.1 | 4.05 | 893 | 36.9567 | 50.5873
2019-01-15 05:15:00 | 6.7133 | 212.9367 | 7.7267 | 233.9867 | 11.6433 | 26.5233 | 12.5033 | 37.4867 | 3.9733 | 893 | 37.2233 | 50.6193
2019-01-15 05:30:00 | 7.0533 | 224.03 | 8.1133 | 246.1867 | 12.3767 | 25.3567 | 12.7167 | 25.02 | 3.94 | 892.6 | 37.2767 | 51.0527
2019-01-15 05:45:00 | 6.2933 | 182.2867 | 7.2467 | 200.3167 | 11.37 | 12.0933 | 11.84 | 32.23 | 3.8167 | 892 | 37.95 | 50.6733
2019-01-15 06:00:00 | 6.2 | 219.6667 | 7.1333 | 241.3833 | 11.19 | 25.9067 | 11.84 | 36.59 | 3.73 | 892 | 38.2833 | 50.274
2019-01-15 06:15:00 | 6.2833 | 19.7167 | 7.2267 | 21.6533 | 11.33 | 15.77 | 11.96 | 17.51 | 3.65 | 892.0667 | 38.8567 | 50.158
2019-01-15 06:30:00 | 6.17 | 6.8567 | 7.1 | 7.5267 | 11.0767 | 15.75 | 11.6 | 21.4033 | 3.59 | 893 | 39.034 | 50.604
2019-01-15 06:45:00 | 6.7767 | 116.06 | 7.7967 | 127.5333 | 11.9767 | 17.0833 | 11.9067 | 19.6567 | 3.59 | 893 | 38.9833 | 52.6553
2019-01-15 07:00:00 | 7.43 | 319.6267 | 8.55 | 351.2333 | 13.0567 | 19.6567 | 13.1133 | 26.1767 | 3.55 | 893 | 39.6167 | 50.7687
2019-01-15 07:15:00 | 7.794 | 253.7673 | 8.9733 | 278.8533 | 13.882 | 17.2693 | 13.998 | 21.3427 | 3.4413 | 893 | 40.53 | 55.058
2019-01-15 07:30:00 | 8.11 | 216.6433 | 9.3367 | 238.0667 | 14.81 | 5.7733 | 14.66 | 15.95 | 3.33 | 893 | 41.6267 | 53.8873
2019-01-15 07:45:00 | 8.0533 | 115.4567 | 9.2633 | 126.87 | 14.1707 | 11.9433 | 14.17 | 32.4467 | 3.27 | 893 | 41.2067 | 53.6287
2019-01-15 08:00:00 | 7.36 | 28.7633 | 8.47 | 31.61 | 12.8733 | 24.07 | 13.1967 | 32.0267 | 3.2567 | 893 | 41.3133 | 50.7607
2019-01-15 08:15:00 | 6.7733 | 26.85 | 7.79 | 29.4933 | 12.0467 | 18.89 | 12.1733 | 22.5333 | 3.15 | 893.7333 | 41.89 | 52.2953
2019-01-15 08:30:00 | 6.92 | 158.2767 | 7.97 | 173.9267 | 12.2867 | 26.9167 | 12.82 | 32.8 | 3.0567 | 894 | 42.9033 | 49.7927
2019-01-15 08:45:00 | 7.02 | 18.3667 | 8.0833 | 20.1867 | 12.33 | 22.3833 | 12.892 | 35.1333 | 2.9867 | 894 | 43.4767 | 50.79
2019-01-15 09:00:00 | 7.3267 | 18.72 | 8.4233 | 20.5733 | 12.6833 | 6.8367 | 13.0333 | 25.44 | 2.9467 | 894.4 | 43.8567 | 51.7847
2019-01-15 09:15:00 | 6.8667 | 191.41 | 7.9033 | 210.34 | 11.9467 | 16.71 | 12.5767 | 43.2633 | 2.88 | 895 | 44.5173 | 49.064
2019-01-15 09:30:00 | 7.28 | 54.55 | 8.3767 | 59.94 | 12.6067 | 0.77 | 12.55 | 27.0633 | 2.84 | 895 | 45.1267 | 49.5247
2019-01-15 09:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 50.834
2019-01-15 10:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 52.412
2019-01-15 10:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 52.0113
2019-01-15 10:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 50.8127
2019-01-15 10:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 49.472
2019-01-15 11:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 49.7133
2019-01-15 11:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 50.968
2019-01-15 11:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 48.6027
2019-01-15 11:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 50.5753
2019-01-15 12:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 48.912
2019-01-15 12:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 49.57
2019-01-15 12:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 48.2813
2019-01-15 12:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 50.5427
2019-01-15 13:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.986
2019-01-15 13:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.9627
2019-01-15 13:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.368
2019-01-15 13:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 38.7407
2019-01-15 14:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 42.892
2019-01-15 14:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 40.9933
2019-01-15 14:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.6313
2019-01-15 14:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 44.92
2019-01-15 15:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.0827
2019-01-15 15:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 43.5887
2019-01-15 15:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 41.3813
2019-01-15 15:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 38.9133
2019-01-15 16:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 41.3833
2019-01-15 16:15:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 34.2273
2019-01-15 16:30:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 32.6233
2019-01-15 16:45:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 30.0387
2019-01-15 17:00:00 | 7.74 | 78.9 | 8.9 | 86.7 | 13.39 | 0.9 | 12.97 | 21.89 | 2.83 | 895 | 45.45 | 26.2447
2019-01-15 17:15:00 | 4.0767 | 9.8033 | 4.6867 | 10.77 | 7.49 | 19.3433 | 6.98 | 32.69 | 3.6967 | 894 | 55.4767 | 24.4327
2019-01-15 17:30:00 | 4.0367 | 40.77 | 4.64 | 44.7967 | 7.3633 | 8.8433 | 6.92 | 27.7033 | 3.2233 | 894 | 57.2233 | 20.5573
2019-01-15 17:45:00 | 3.6833 | 133.2433 | 4.2367 | 146.42 | 6.7333 | 16.8733 | 6.4467 | 36.14 | 2.65 | 894 | 59.2367 | 17.2287
2019-01-15 18:00:00 | 3.3167 | 143.35 | 3.8167 | 157.5267 | 5.96 | 26.5533 | 5.52 | 27.6933 | 2.35 | 893.6 | 60.3033 | 15.432
2019-01-15 18:15:00 | 2.9867 | 160.2433 | 3.4367 | 176.0833 | 5.57 | 9.5467 | 4.85 | 22.3233 | 1.9833 | 893.6667 | 61.45 | 14.9487
2019-01-15 18:30:00 | 2.46 | 7.0633 | 2.83 | 7.7633 | 4.7367 | 23.2667 | 3.8367 | 32.67 | 1.6167 | 893 | 63.0433 | 15.9253
2019-01-15 18:45:00 | 2.4533 | 179.0967 | 2.82 | 196.8 | 4.5467 | 31.672 | 3.8167 | 29.1733 | 1.32 | 893.7333 | 64.49 | 19.438
2019-01-15 19:00:00 | 2.38 | 307.95 | 2.74 | 338.4 | 4.4667 | 28.9867 | 3.8967 | 34.22 | 1.0933 | 894 | 65.8033 | 20.6313
2019-01-15 19:15:00 | 2.7233 | 304.21 | 3.1333 | 334.3 | 5.1233 | 29.9367 | 3.6933 | 36.5633 | 0.86333 | 894 | 67.2147 | 22.2273
2019-01-15 19:30:00 | 3.1567 | 120.5833 | 3.6333 | 132.5133 | 5.7633 | 40.61 | 4.4067 | 26.5767 | 0.89 | 894 | 67.2933 | 17.9993
2019-01-15 19:45:00 | 2.9633 | 311.13 | 3.4033 | 341.9 | 5.7833 | 13.99 | 5.8133 | 27.2633 | 0.54333 | 894 | 69.19 | 17.398
2019-01-15 20:00:00 | 2.9567 | 114.73 | 3.3967 | 126.0733 | 5.5567 | 15.61 | 5.716 | 28.2033 | 0.31 | 894 | 70.47 | 19.602
2019-01-15 20:15:00 | 2.9533 | 128.0433 | 3.4 | 140.7067 | 5.27 | 16.2967 | 5.1733 | 42.1633 | 0.47667 | 894 | 70.9307 | 16.9913
2019-01-15 20:30:00 | 2.8867 | 299.97 | 3.32 | 329.6333 | 5.2967 | 32.8233 | 5.2067 | 25.35 | 0.27 | 894 | 72.7467 | 14.8993
2019-01-15 20:45:00 | 3.19 | 134.2533 | 3.67 | 147.5267 | 5.07 | 10.0067 | 5.1567 | 22.25 | 0.27 | 894 | 74.82 | 13.3687
2019-01-15 21:00:00 | 3.0367 | 213.7667 | 3.49 | 234.9 | 5.3367 | 8.5467 | 5.6233 | 24.91 | 0.14333 | 894 | 76.3067 | 11.7353
2019-01-15 21:15:00 | 2.75 | 319.51 | 3.16 | 351.1 | 4.7 | 123.4733 | 4.9833 | 12.7333 | -0.10333 | 894 | 77.96 | 8.14
2019-01-15 21:30:00 | 2.6167 | 299.0567 | 3.0133 | 328.6333 | 4.66 | 125.2933 | 4.71 | 12.4733 | -0.14333 | 894 | 77.98 | 5.146
2019-01-15 21:45:00 | 2.4833 | 11.8833 | 2.8633 | 13.0567 | 4.4967 | 228.5167 | 4.3467 | 6.8733 | -0.18667 | 894 | 77.786 | 3.224
2019-01-15 22:00:00 | 2.73 | 202.5833 | 3.1367 | 222.6167 | 4.5233 | 30.2033 | 4.2 | 36.62 | -0.26 | 894 | 77.9767 | 2.29
2019-01-15 22:15:00 | 2.74 | 316.95 | 3.16 | 348.3 | 3.79 | 342.7 | 3.45 | 15.52 | 0.2 | 894 | 75.77 | 1.415
2019-01-15 22:30:00 | 2.5133 | 317.6567 | 2.9033 | 349.0667 | 3.9167 | 9.4733 | 3.7067 | 10.38 | 0.26 | 894 | 75.4367 | 1.404
2019-01-15 22:45:00 | 2.4967 | 6.9933 | 2.8733 | 7.6733 | 3.9033 | 239.62 | 3.8933 | 1.2933 | 0.16333 | 894 | 76.0727 | 2.2693
2019-01-15 23:00:00 | 2.5967 | 214.06 | 2.9867 | 235.2267 | 3.9833 | 7.4933 | 4.2733 | 4.1867 | -0.10333 | 894 | 77.7967 | 3.5267
2019-01-15 23:15:00 | 2.42 | 223.6833 | 2.7833 | 245.8 | 4.45 | 124.9333 | 4.82 | 22.4133 | -0.3 | 894 | 79.34 | 4.478
2019-01-15 23:30:00 | 2.5533 | 24.6033 | 2.9433 | 27.0333 | 4.5233 | 124.8533 | 4.8467 | 24.64 | -0.48667 | 894 | 80.22 | 5.6207
2019-01-15 23:45:00 | 2.7133 | 313.2533 | 3.1267 | 344.2333 | 4.9533 | 5.5467 | 5.1967 | 7.0567 | -0.45667 | 894 | 80.4667 | 5.776