## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-16 00:00:00 | 2.9379 | 320.32 | 3.3836 | 351.9929 | 4.78 | 6.6914 | 4.9036 | 3.4471 | -0.34643 | 894 | 79.9693 | 8.5364
2019-01-16 00:15:00 | 2.9667 | 309.98 | 3.4133 | 340.6333 | 5.2333 | 345.3333 | 5.38 | 11.9033 | -0.36 | 893.2667 | 80.08 | 11.552
2019-01-16 00:30:00 | 3.2533 | 122.88 | 3.74 | 135.0333 | 5.4067 | 117.62 | 5.5867 | 10.61 | -0.43333 | 893 | 80.5 | 12.3547
2019-01-16 00:45:00 | 3.2533 | 0.79667 | 3.7533 | 0.87667 | 5.08 | 8.2133 | 5.2267 | 12.73 | -0.45667 | 893 | 80.3033 | 10.51
2019-01-16 01:00:00 | 3.44 | 108.31 | 3.9667 | 119.0167 | 4.9933 | 236.4933 | 5.0533 | 11.63 | -0.47 | 893 | 80.1433 | 10.2407
2019-01-16 01:15:00 | 3.4133 | 205.1 | 3.9233 | 225.38 | 5.36 | 356.86 | 5.2067 | 17.27 | -0.63667 | 892.9333 | 80.8667 | 10.0233
2019-01-16 01:30:00 | 2.98 | 32.5067 | 3.43 | 35.72 | 5.1533 | 339.5667 | 5.02 | 24.2767 | -0.73667 | 892 | 81.0667 | 8.536
2019-01-16 01:45:00 | 3.06 | 216.8933 | 3.5233 | 238.3333 | 5.1267 | 118.7667 | 5.2333 | 12.44 | -0.84667 | 892 | 80.9333 | 6.4527
2019-01-16 02:00:00 | 2.874 | 5.248 | 3.306 | 5.76 | 4.786 | 168.794 | 4.956 | 12.034 | -0.938 | 892 | 80.98 | 4.3907
2019-01-16 02:15:00 | 3.1133 | 94.4267 | 3.59 | 103.7667 | 4.3767 | 235.85 | 4.5267 | 7.4133 | -1.0067 | 892 | 81.2667 | 1.6633
2019-01-16 02:30:00 | 3.5133 | 94 | 4.0367 | 103.2933 | 4.3233 | 1.2167 | 4.6 | 7.6867 | -0.6 | 892 | 79.7333 | 0.29133
2019-01-16 02:45:00 | 2.97 | 212.8667 | 3.4133 | 233.9133 | 3.7467 | 8.7067 | 3.9967 | 11.8733 | -0.42667 | 892 | 78.6367 | 0
2019-01-16 03:00:00 | 2.13 | 8.9133 | 2.4467 | 9.78 | 3.0267 | 14.84 | 3.1167 | 11.3067 | -0.39333 | 892 | 78.05 | 0
2019-01-16 03:15:00 | 1.3567 | 307.95 | 1.56 | 338.4 | 1.95 | 3.5533 | 2.0267 | 2.6733 | -0.34 | 892 | 77.5547 | 0
2019-01-16 03:30:00 | 1.4233 | 119.2233 | 1.6333 | 131.0067 | 2.0233 | 10.7533 | 2.02 | 0.24 | -0.36 | 892 | 77.74 | 0
2019-01-16 03:45:00 | 1.48 | 123.4 | 1.7067 | 135.62 | 2.02 | 8.1233 | 1.7833 | 0.25 | -0.43 | 892 | 78.6433 | 0.053333
2019-01-16 04:00:00 | 1.64 | 322.96 | 1.8867 | 354.9 | 2.3467 | 9.91 | 1.8433 | 0.27 | -0.48333 | 892 | 79.2167 | 0.164
2019-01-16 04:15:00 | 1.65 | 2.0233 | 1.9067 | 2.22 | 2.2867 | 11.1433 | 1.6233 | 0.24 | -0.56 | 892 | 79.4633 | 0.30133
2019-01-16 04:30:00 | 1.6367 | 217.0367 | 1.88 | 238.5 | 2.0333 | 7.6367 | 1.4967 | 0.24 | -0.61333 | 891.6 | 79.7233 | 0.562
2019-01-16 04:45:00 | 1.6267 | 320.0153 | 1.8667 | 351.6533 | 2.0733 | 5.5933 | 0.71 | 240.2233 | -0.71667 | 891 | 80.4 | 0.356
2019-01-16 05:00:00 | 1.766 | 217.624 | 2.029 | 239.135 | 2.219 | 3.299 | 0.747 | 6.008 | -0.773 | 891 | 80.78 | 0.298
2019-01-16 05:15:00 | 1.9067 | 223.3767 | 2.1933 | 245.4633 | 2.4867 | 8.4333 | 1.4067 | 21.49 | -0.77333 | 891 | 80.9 | 0.12533
2019-01-16 05:30:00 | 2.2933 | 221.5033 | 2.6333 | 243.3967 | 2.9267 | 5.0267 | 2.14 | 16.8833 | -0.78 | 891 | 80.3 | 0.17667
2019-01-16 05:45:00 | 1.6133 | 319.3933 | 1.8567 | 350.9667 | 1.83 | 5.3867 | 0.38667 | 13.92 | -0.74667 | 890.2667 | 79.91 | 0.20533
2019-01-16 06:00:00 | 0.82 | 311.3133 | 0.95 | 342.1 | 0.57667 | 241.0467 | 0.093333 | 65.5733 | -0.68667 | 890 | 79.086 | 0.136
2019-01-16 06:15:00 | 0.54667 | 301.91 | 0.64 | 331.7667 | 0 | 249.9033 | 0.87333 | 144.4067 | -0.8 | 890 | 79.0233 | 0.060667
2019-01-16 06:30:00 | 0.42667 | 297.6633 | 0.5 | 327.1 | 0.026667 | 173.97 | 0.58 | 150.3 | -0.88 | 890 | 79.3633 | 0.12267
2019-01-16 06:45:00 | 0.16667 | 292.38 | 0.19667 | 321.3 | 0.32 | 235.2933 | 1.3133 | 186.1333 | -0.73667 | 890 | 78.3633 | 0.53
2019-01-16 07:00:00 | 0.44667 | 205.3867 | 0.52333 | 225.7 | 0.88667 | 199.6667 | 2.06 | 192.2 | -0.51 | 890 | 77.282 | 0.27067
2019-01-16 07:15:00 | 0.40333 | 161.896 | 0.47 | 177.9067 | 0.8 | 150.0933 | 1.3433 | 192.7333 | -0.59 | 890 | 77.5967 | 0.39733
2019-01-16 07:30:00 | 0.043333 | 161.98 | 0.05 | 178 | 0.086667 | 150 | 1.03 | 191.8 | -0.87 | 890 | 78.7433 | 0.66067
2019-01-16 07:45:00 | 0.25333 | 161.974 | 0.29667 | 177.9933 | 0.49 | 150.1533 | 1.2033 | 203.3 | -1.0267 | 890 | 80.0833 | 0.54467
2019-01-16 08:00:00 | 0.41333 | 161.89 | 0.47667 | 177.9 | 0.81333 | 150.3 | 1.32 | 197.9 | -0.81667 | 890 | 79.18 | 0.4
2019-01-16 08:15:00 | 0.093333 | 161.956 | 0.10667 | 177.9733 | 0.16667 | 150.3 | 1.2467 | 209.3133 | -0.94 | 890 | 79.9 | 0.81667
2019-01-16 08:30:00 | 0.2 | 161.98 | 0.23333 | 178 | 0.39333 | 189.5667 | 1.2933 | 204.0333 | -0.8 | 890 | 79.04 | 1.3527
2019-01-16 08:45:00 | 0.95333 | 147.4867 | 1.0967 | 162.0667 | 1.5433 | 175.9333 | 1.9367 | 191.2933 | -0.56 | 890.7333 | 78.1033 | 1.108
2019-01-16 09:00:00 | 1.8227 | 157.7853 | 2.0993 | 173.3867 | 2.666 | 179.96 | 2.7193 | 192.48 | -0.61067 | 891 | 79.2287 | 1.8287
2019-01-16 09:15:00 | 1.0033 | 158.9567 | 1.1533 | 174.6667 | 1.9 | 192.1 | 2.2433 | 206.5333 | -0.45 | 891 | 79.3267 | 2.2307
2019-01-16 09:30:00 | 1.01 | 147.97 | 1.1667 | 162.6 | 1.62 | 193.9 | 2.0967 | 223.6667 | -0.40333 | 891 | 79.9933 | 3.02
2019-01-16 09:45:00 | 1.48 | 156.07 | 1.7133 | 171.5 | 2.05 | 201.8 | 2.71 | 218.4 | -0.53333 | 891.7333 | 81.9 | 3.518
2019-01-16 10:00:00 | 1.6133 | 158.7367 | 1.86 | 174.4333 | 2.13 | 216.7333 | 3.29 | 230.4 | -0.54 | 892 | 82.2333 | 5.3813
2019-01-16 10:15:00 | 1.8267 | 155.1367 | 2.1033 | 170.4733 | 2.1167 | 196.9333 | 2.71 | 209.1 | -0.15333 | 892 | 80.4967 | 4.3753
2019-01-16 10:30:00 | 1.5267 | 181.8567 | 1.7567 | 199.8333 | 2.2967 | 210.5333 | 3.1833 | 215.6333 | 0.12667 | 892 | 79.5967 | 4.212
2019-01-16 10:45:00 | 1.6033 | 170.3567 | 1.8567 | 187.2 | 2.13 | 200.1667 | 2.36 | 226.5 | 1.23 | 892 | 74.6033 | 3.2367
2019-01-16 11:00:00 | 1.67 | 145.1833 | 1.93 | 159.5333 | 1.79 | 177.3667 | 1.74 | 218.7 | 1.2033 | 892.4 | 74.6767 | 3.26
2019-01-16 11:15:00 | 2.4533 | 159.87 | 2.8233 | 175.6667 | 2.6133 | 194.2667 | 2.7533 | 212.0333 | 1.1667 | 893 | 74.8 | 3.7513
2019-01-16 11:30:00 | 2.2533 | 161.69 | 2.59 | 177.6667 | 2.4 | 197.2 | 2.3067 | 199.3667 | 1.3133 | 893 | 74.72 | 4.3807
2019-01-16 11:45:00 | 3.22 | 141.3833 | 3.7033 | 155.3667 | 3.51 | 180.4667 | 3.4467 | 188.7 | 1.58 | 892.9333 | 73.55 | 3.5833
2019-01-16 12:00:00 | 3.0933 | 142.2433 | 3.57 | 156.3 | 3.45 | 171.8 | 3.56 | 189.5667 | 2.0733 | 892 | 71.4233 | 4.198
2019-01-16 12:15:00 | 2.68 | 164.8333 | 3.0867 | 181.1333 | 3.2 | 238.3333 | 3.2833 | 212.8667 | 2.8433 | 892 | 69.736 | 4.3633
2019-01-16 12:30:00 | 3.2267 | 160.4133 | 3.7133 | 176.2667 | 3.9467 | 211.5333 | 4.0633 | 206.1333 | 2.8767 | 892 | 70.7 | 3.912
2019-01-16 12:45:00 | 2.6733 | 168.5033 | 3.0733 | 185.1667 | 3.3333 | 247.5667 | 3.4 | 236.0333 | 2.8567 | 892 | 71.7433 | 3.108
2019-01-16 13:00:00 | 2.5133 | 161.17 | 2.8933 | 177.1 | 3.0267 | 232.5667 | 3.0333 | 222.1667 | 2.85 | 891.6 | 72.25 | 1.642
2019-01-16 13:15:00 | 2.4 | 145.67 | 2.7633 | 160.0667 | 2.7067 | 196.0667 | 2.74 | 214 | 2.8967 | 891 | 72.5267 | 1.0553
2019-01-16 13:30:00 | 2.3133 | 176.49 | 2.6567 | 193.9333 | 2.84 | 213.4 | 3.0067 | 264.4 | 3.27 | 891 | 71.64 | 0.65067
2019-01-16 13:45:00 | 2.8733 | 163.38 | 3.3133 | 179.5333 | 3.2833 | 203 | 3.2533 | 220.1 | 3.66 | 890.9333 | 70.2733 | 0.59533
2019-01-16 14:00:00 | 2.5133 | 167.0733 | 2.8933 | 183.6 | 2.9967 | 208.6667 | 3.02 | 225.7667 | 3.7267 | 890 | 70.1467 | 0.99
2019-01-16 14:15:00 | 3.1133 | 135.7767 | 3.5833 | 149.2 | 3.64 | 189.3 | 3.3233 | 177.4667 | 3.69 | 890 | 69.8533 | 1.228
2019-01-16 14:30:00 | 2.4533 | 129.8967 | 2.8233 | 142.7333 | 3.02 | 204.3667 | 2.7633 | 212.3333 | 3.7633 | 890 | 69.68 | 0.42333
2019-01-16 14:45:00 | 2.53 | 152.98 | 2.91 | 168.1 | 3.12 | 175.1 | 3.38 | 174.3 | 3.79 | 890 | 69.84 | 0.2
2019-01-16 15:00:00 | 2.64 | 161.5267 | 3.0333 | 177.5 | 3.03 | 182.6667 | 2.9733 | 186.6667 | 3.9333 | 890 | 69.25 | 0
2019-01-16 15:15:00 | 1.31 | 105.9267 | 1.52 | 116.4 | 1.7167 | 197.4333 | 1.55 | 176.6333 | 3.7933 | 890 | 70.068 | 0
2019-01-16 15:30:00 | 1.43 | 160.0467 | 1.6467 | 175.8667 | 1.97 | 193.8333 | 1.6767 | 210.6333 | 3.756 | 890 | 70.136 | 0
2019-01-16 15:45:00 | 1.2867 | 149.4833 | 1.49 | 164.2667 | 1.6833 | 170.2 | 1.5933 | 166.3333 | 3.7267 | 890 | 70.3467 | 0
2019-01-16 16:00:00 | 0.76 | 164.8967 | 0.88333 | 181.2 | 1.13 | 201.3333 | 0.90667 | 185 | 3.6267 | 890 | 70.6533 | 0
2019-01-16 16:15:00 | 0.07 | 234.3333 | 0.09 | 257.5 | 0.076667 | 173.9 | 0.13333 | 203.9333 | 3.67 | 890 | 70.1367 | 0
2019-01-16 16:30:00 | 0.21667 | 94.26 | 0.25 | 103.58 | 0.40333 | 46.6467 | 0.43333 | 53.42 | 3.7567 | 890 | 69.998 | 0
2019-01-16 16:45:00 | 0.59333 | 306.8867 | 0.68 | 337.2333 | 1.03 | 344.0667 | 0.48333 | 111.66 | 3.8533 | 890.0667 | 70.1187 | 0
2019-01-16 17:00:00 | 0.16667 | 296.46 | 0.19333 | 325.7667 | 0.29667 | 323.8 | 0.10333 | 334.46 | 3.8267 | 891 | 70.6267 | 0
2019-01-16 17:15:00 | 0.15333 | 309.74 | 0.17667 | 340.3667 | 0.27667 | 10.8933 | 0.22667 | 334.4 | 3.63 | 891 | 71.36 | 0
2019-01-16 17:30:00 | 0.29333 | 310.22 | 0.34333 | 340.9 | 0.57667 | 3.3067 | 0.9 | 334.44 | 3.5367 | 891 | 72.1933 | 0
2019-01-16 17:45:00 | 0.61133 | 318.01 | 0.70267 | 349.4533 | 1.1807 | 24.924 | 0.96267 | 66.2127 | 3.4693 | 891 | 72.0633 | 0
2019-01-16 18:00:00 | 1.0367 | 307.67 | 1.2033 | 338.1 | 2.0333 | 12.1267 | 2.0633 | 15.74 | 3.38 | 891 | 72.4033 | 0
2019-01-16 18:15:00 | 1.1933 | 313.99 | 1.3767 | 345.0333 | 2.3367 | 12.32 | 2.3033 | 8.43 | 3.2367 | 891 | 73.184 | 0
2019-01-16 18:30:00 | 1.32 | 307.49 | 1.53 | 337.9 | 2.61 | 11.48 | 2.65 | 13.23 | 3.17 | 891 | 73.24 | 0
2019-01-16 18:45:00 | 1.8867 | 174.5767 | 2.1767 | 191.84 | 3.6333 | 10.02 | 3.7 | 18.32 | 2.9867 | 891 | 74.7933 | 1.6407
2019-01-16 19:00:00 | 1.9 | 6.6633 | 2.1967 | 7.32 | 3.3533 | 16.5667 | 3.36 | 10.6333 | 2.96 | 891 | 74.676 | 0.93933
2019-01-16 19:15:00 | 1.5967 | 107.3967 | 1.8467 | 118.02 | 2.9833 | 10.8 | 2.7833 | 7.23 | 2.9 | 891 | 74.6627 | 0.844
2019-01-16 19:30:00 | 1.4567 | 281.7367 | 1.6733 | 309.6 | 2.77 | 242.2933 | 2.71 | 243.27 | 2.8733 | 891 | 74.58 | 0.76867
2019-01-16 19:45:00 | 1.4533 | 302.3633 | 1.6667 | 332.2667 | 2.8433 | 7.9767 | 2.8733 | 16.99 | 2.84 | 891.7333 | 74.0007 | 0.39733
2019-01-16 20:00:00 | 1.2133 | 96.4367 | 1.3933 | 105.9667 | 2.37 | 17.1433 | 2.2733 | 23.15 | 2.78 | 892 | 74.3367 | 0
2019-01-16 20:15:00 | 1.8933 | 8.0167 | 2.19 | 8.8033 | 3.77 | 9.0667 | 3.7467 | 15.6933 | 2.66 | 892 | 74.4167 | 1.2893
2019-01-16 20:30:00 | 2.4733 | 196.7033 | 2.85 | 216.15 | 4.7433 | 15.6667 | 4.56 | 9.1133 | 2.62 | 892 | 74.67 | 3.3653
2019-01-16 20:45:00 | 2.7267 | 320.6667 | 3.1367 | 352.3667 | 4.2 | 6.2933 | 4.1667 | 12.1067 | 2.6767 | 892 | 74.6433 | 3.534
2019-01-16 21:00:00 | 2.6733 | 104.2933 | 3.0767 | 114.6 | 4.0867 | 0.84 | 4.0267 | 11.5533 | 2.7233 | 892 | 74.45 | 2.644
2019-01-16 21:15:00 | 2.28 | 13.4933 | 2.63 | 14.8167 | 4.06 | 1.9567 | 3.7633 | 17.66 | 2.6167 | 892 | 74.9367 | 3.668
2019-01-16 21:30:00 | 2.7867 | 5.0467 | 3.2167 | 5.5367 | 4.28 | 12.1033 | 4.2433 | 12.08 | 2.57 | 892 | 75.102 | 5.14
2019-01-16 21:45:00 | 2.6933 | 101.5933 | 3.0933 | 111.6333 | 4.5033 | 8.45 | 4.54 | 10.1333 | 2.48 | 892 | 75.312 | 5.5507
2019-01-16 22:00:00 | 2.396 | 128.334 | 2.762 | 141.024 | 4.318 | 10.788 | 4.354 | 16.554 | 2.316 | 892 | 75.696 | 5.1333
2019-01-16 22:15:00 | 2.55 | 2.19 | 2.93 | 2.41 | 4 | 3.96 | 4.2 | 16.23 | 2.39 | 892.2 | 75.05 | 5.098
2019-01-16 22:30:00 | 2.46 | 9.65 | 2.83 | 10.595 | 4.235 | 12.275 | 4.515 | 19.245 | 2.285 | 893 | 75.765 | 6.645
2019-01-16 22:45:00 | 2.6127 | 21.7707 | 3.0053 | 23.9187 | 4.2047 | 261.184 | 4.4127 | 21.1847 | 2.188 | 893 | 75.9513 | 5.9373
2019-01-16 23:00:00 | 2.5433 | 8.04 | 2.9333 | 8.8333 | 4.13 | 117.7667 | 4.2633 | 13.99 | 2.2067 | 893 | 75.5767 | 6.3747
2019-01-16 23:15:00 | 2.22 | 310.5933 | 2.5667 | 341.3 | 4.1267 | 8.4467 | 4.3467 | 17.8133 | 2.02 | 893 | 76.5333 | 5.2227
2019-01-16 23:30:00 | 2.0467 | 311.44 | 2.3667 | 342.2333 | 3.8 | 5.7867 | 4 | 16.8533 | 1.8733 | 893 | 77.4933 | 4.906
2019-01-16 23:45:00 | 2.2293 | 116.574 | 2.572 | 128.0973 | 3.948 | 8.4047 | 3.8353 | 14.1467 | 1.7273 | 893 | 78.1387 | 6.1047