## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-17 00:00:00 | 2.355 | 116.0571 | 2.7179 | 127.5321 | 4.2857 | 14.7486 | 4.3343 | 13.5593 | 1.6557 | 893 | 78.3579 | 7.2714
2019-01-17 00:15:00 | 2.78 | 219.3033 | 3.1967 | 240.9967 | 4.6333 | 7.59 | 4.5367 | 5.6067 | 1.53 | 893 | 79.2127 | 8.5627
2019-01-17 00:30:00 | 2.7733 | 17.45 | 3.19 | 19.17 | 4.5467 | 238.37 | 4.5167 | 9.66 | 1.3633 | 893 | 79.63 | 9.152
2019-01-17 00:45:00 | 2.5833 | 29.98 | 2.97 | 32.9367 | 4.54 | 222.5333 | 4.64 | 5.5533 | 1.0067 | 892.9333 | 81.1667 | 8.2813
2019-01-17 01:00:00 | 2.61 | 6.3933 | 3.01 | 7.0233 | 4.2867 | 4.4267 | 4.4 | 11.5733 | 0.93333 | 892 | 81.6333 | 8.696
2019-01-17 01:15:00 | 2.8133 | 100.5567 | 3.2433 | 110.5 | 4.6867 | 31.3833 | 5.2167 | 5.43 | 0.77333 | 892 | 82.3733 | 8.2
2019-01-17 01:30:00 | 2.8667 | 113.99 | 3.2967 | 125.26 | 5.1 | 7.3633 | 5.5033 | 15.3567 | 0.46 | 892 | 84.2 | 10.6727
2019-01-17 01:45:00 | 3.12 | 178.5333 | 3.5867 | 196.19 | 5.59 | 12.57 | 5.8767 | 13.9 | 0.11333 | 892 | 86.1933 | 9.9353
2019-01-17 02:00:00 | 2.9867 | 206.14 | 3.4333 | 226.5233 | 5.33 | 13.9167 | 5.6233 | 22.2667 | 0.026667 | 892 | 86.5667 | 7.1833
2019-01-17 02:15:00 | 3.1067 | 315.9267 | 3.5767 | 347.1667 | 4.4767 | 13.8467 | 4.9893 | 25.3867 | 0.13333 | 892 | 86 | 6.3207
2019-01-17 02:30:00 | 3.3933 | 115.2467 | 3.91 | 126.6333 | 5.2967 | 14.2067 | 5.2867 | 14.8667 | 0.033333 | 892 | 85.8667 | 5.9467
2019-01-17 02:45:00 | 3.094 | 68.9453 | 3.5613 | 75.7553 | 5.536 | 8.896 | 5.4593 | 13.9927 | -0.29267 | 892 | 87 | 5.5167
2019-01-17 03:00:00 | 3.1233 | 89.7667 | 3.59 | 98.64 | 5.0633 | 7.0033 | 5.24 | 15.52 | -0.24 | 891.6 | 86.8 | 4.768
2019-01-17 03:15:00 | 3.0733 | 6.28 | 3.5367 | 6.8967 | 5.1133 | 9.18 | 4.9467 | 8.1133 | -0.38333 | 891 | 87.4667 | 5.474
2019-01-17 03:30:00 | 3.1333 | 27.96 | 3.61 | 30.7233 | 5.38 | 17.8733 | 5.44 | 16.4467 | -0.73667 | 891 | 89.2667 | 6.068
2019-01-17 03:45:00 | 2.996 | 22.056 | 3.454 | 24.232 | 5.1113 | 13.8313 | 5.1813 | 22.7013 | -0.956 | 891 | 90.2933 | 7.0347
2019-01-17 04:00:00 | 3.2733 | 20.2667 | 3.7633 | 22.2567 | 4.99 | 21.5233 | 5.2533 | 18.0833 | -0.93 | 891 | 90.2333 | 5.658
2019-01-17 04:15:00 | 3.4533 | 301.9133 | 3.9767 | 331.7667 | 5.2333 | 14.5 | 5.5633 | 24.1067 | -1.09 | 891 | 90.6 | 5.7053
2019-01-17 04:30:00 | 3.42 | 299.24 | 3.9367 | 328.8333 | 4.7333 | 16.3533 | 5.0767 | 19.3533 | -0.97667 | 891 | 89.8667 | 4.0107
2019-01-17 04:45:00 | 3.4 | 311.0667 | 3.92 | 341.8333 | 4.57 | 12.6867 | 4.5867 | 15.59 | -0.91 | 891 | 89.2667 | 3.2907
2019-01-17 05:00:00 | 3.476 | 226.534 | 3.996 | 248.94 | 4.74 | 18.612 | 4.664 | 19.594 | -0.966 | 890.6 | 89.42 | 2.636
2019-01-17 05:15:00 | 3.36 | 209.69 | 3.87 | 230.4167 | 4.65 | 4.53 | 4.5 | 20.5567 | -1.2067 | 890 | 90.3667 | 2.4787
2019-01-17 05:30:00 | 3.4 | 0.45 | 3.9233 | 0.49 | 4.83 | 10.8233 | 4.7067 | 20.17 | -1.28 | 890 | 90.8333 | 2.792
2019-01-17 05:45:00 | 3.2133 | 312.0367 | 3.6967 | 342.9 | 4.4467 | 10.3 | 4.4567 | 17.3067 | -1.5 | 890 | 91.7933 | 1.606
2019-01-17 06:00:00 | 3.4533 | 316.35 | 3.97 | 347.6333 | 4.2267 | 4.1733 | 4.2433 | 16.4667 | -1.44 | 890 | 91.3667 | 0.83533
2019-01-17 06:15:00 | 3.2467 | 103.5867 | 3.74 | 113.8333 | 3.9933 | 12.5733 | 4.12 | 22.7733 | -1.5333 | 890 | 91.36 | 0.526
2019-01-17 06:30:00 | 3.3 | 313.04 | 3.8067 | 344 | 3.9 | 9.46 | 4.1733 | 24.56 | -1.5533 | 890 | 91.5333 | 0.802
2019-01-17 06:45:00 | 3.6333 | 318.1967 | 4.1833 | 349.6667 | 4.1567 | 240.56 | 4.3967 | 17.37 | -1.5667 | 890 | 91.7267 | 0.63867
2019-01-17 07:00:00 | 3.4467 | 103.5233 | 3.97 | 113.7533 | 4.0967 | 239.56 | 3.9767 | 21.7033 | -1.7267 | 890 | 92.5 | 0.024667
2019-01-17 07:15:00 | 3.0933 | 212.4367 | 3.5633 | 233.4467 | 4.0367 | 20.6467 | 3.8267 | 14.2533 | -1.7033 | 890 | 91.5667 | 0.080667
2019-01-17 07:30:00 | 2.98 | 8.4633 | 3.43 | 9.2933 | 4.1633 | 13.5067 | 4.1467 | 20.068 | -1.7033 | 890 | 91.5 | 0.05
2019-01-17 07:45:00 | 3.2167 | 214.6167 | 3.71 | 235.8367 | 4.02 | 13.11 | 3.8593 | 15.7 | -1.4733 | 890 | 90.5333 | 0.19267
2019-01-17 08:00:00 | 3.27 | 211.6967 | 3.77 | 232.6367 | 4.0067 | 16.0433 | 3.9367 | 19.58 | -1.38 | 890 | 90.5333 | 0.004
2019-01-17 08:15:00 | 3.1633 | 107.3733 | 3.6467 | 117.9867 | 3.8133 | 241.64 | 3.75 | 20.2467 | -1.3067 | 890.7333 | 89.8333 | 0
2019-01-17 08:30:00 | 3.0833 | 321.9933 | 3.5467 | 353.8333 | 3.6933 | 4.16 | 3.6767 | 21.12 | -1.2933 | 891 | 89.5667 | 0
2019-01-17 08:45:00 | 3.2633 | 115.0667 | 3.7567 | 126.44 | 3.6367 | 9.2767 | 3.28 | 16.4433 | -1.26 | 891 | 88.8333 | 0
2019-01-17 09:00:00 | 3.27 | 321.4733 | 3.7633 | 353.2667 | 3.81 | 17.7633 | 3.2933 | 21.0833 | -1.32 | 891 | 88.9667 | 0
2019-01-17 09:15:00 | 3.17 | 116.8833 | 3.6533 | 128.44 | 3.7567 | 10.54 | 3.3833 | 38.32 | -1.39 | 891 | 89.8333 | 0
2019-01-17 09:30:00 | 3.37 | 114.5767 | 3.8733 | 125.9067 | 3.85 | 7.64 | 3.51 | 21.14 | -1.3367 | 891 | 89.1 | 0
2019-01-17 09:45:00 | 3.32 | 210.53 | 3.83 | 231.35 | 3.74 | 0.15 | 3.3433 | 0.34 | -1.3367 | 891.0667 | 88.8 | 0
2019-01-17 10:00:00 | 3.1 | 211.6233 | 3.57 | 232.55 | 3.46 | 6.21 | 2.8633 | 0.6 | -1.2167 | 892 | 88.0667 | 0
2019-01-17 10:15:00 | 2.6867 | 323.2067 | 3.0933 | 355.1667 | 3.0433 | 251.2867 | 1.4333 | 147.0267 | -1.0567 | 892 | 87.7333 | 0
2019-01-17 10:30:00 | 2.58 | 322.18 | 2.9667 | 354.0333 | 2.8167 | 251.2867 | 1.2267 | 350.5667 | -0.95667 | 892 | 87.64 | 0
2019-01-17 10:45:00 | 2.2667 | 318.9533 | 2.61 | 350.5 | 2.64 | 14.5433 | 1.0467 | 347.8667 | -0.72 | 892 | 87.1 | 0
2019-01-17 11:00:00 | 2.2267 | 324.1733 | 2.5633 | 356.2333 | 2.44 | 13.57 | 0.066667 | 329 | -0.64 | 892 | 87.3 | 0
2019-01-17 11:15:00 | 2.0667 | 106.17 | 2.3833 | 116.6667 | 2.1067 | 29.01 | 0.12667 | 280.6 | -0.58333 | 892.7333 | 87.2333 | 0
2019-01-17 11:30:00 | 1.9133 | 112.81 | 2.2033 | 123.9667 | 2.0067 | 7.75 | 0.033333 | 221 | -0.52333 | 893 | 86.4333 | 0.035
2019-01-17 11:45:00 | 1.5467 | 320.0767 | 1.7867 | 351.7333 | 1.49 | 144.26 | 0.12 | 222.3 | -0.36667 | 893 | 85.5333 | 0
2019-01-17 12:00:00 | 1.5733 | 103.59 | 1.82 | 113.8333 | 1.3167 | 354.9 | 0 | 222.34 | -0.3 | 893 | 85.04 | 0
2019-01-17 12:15:00 | 1.02 | 324.2033 | 1.1767 | 356.2667 | 0.64667 | 0.76667 | 0 | 222.3267 | 0.22 | 893 | 84.3667 | 0
2019-01-17 12:30:00 | 0.56 | 109.1033 | 0.65667 | 119.8867 | 0.39333 | 143.6733 | 1.02 | 200.9667 | 1.0933 | 893 | 81.7667 | 0
2019-01-17 12:45:00 | 0.42 | 75.3 | 0.49333 | 82.74 | 0.67333 | 171.6667 | 1.4167 | 182.9667 | 2.11 | 893 | 79.4533 | 0
2019-01-17 13:00:00 | 1.2667 | 173.3333 | 1.46 | 190.4667 | 1.58 | 166.3333 | 2.0633 | 215.7 | 2.8633 | 892.6 | 80.3 | 0.10067
2019-01-17 13:15:00 | 2.8133 | 143.88 | 3.2367 | 158.1 | 3.0933 | 181.9333 | 3.2033 | 184.1 | 2.7633 | 892 | 83.0667 | 0.26133
2019-01-17 13:30:00 | 3.2667 | 139.6867 | 3.7633 | 153.5 | 3.6 | 177.4 | 3.7033 | 196.5 | 2.8167 | 892 | 83.4 | 1.1567
2019-01-17 13:45:00 | 3.7533 | 156.9733 | 4.3267 | 172.5 | 4.13 | 181.2667 | 4.4433 | 182.8667 | 2.9633 | 891.2667 | 82.9 | 2.6093
2019-01-17 14:00:00 | 3.1133 | 144.9067 | 3.5867 | 159.2333 | 3.53 | 193.9333 | 3.8367 | 204.7333 | 3.0233 | 891 | 82.7 | 1.526
2019-01-17 14:15:00 | 3.28 | 145.51 | 3.77 | 159.9 | 3.78 | 185.1 | 3.75 | 197.1 | 3.11 | 891 | 82.8267 | 1.568
2019-01-17 14:30:00 | 3.104 | 129.3993 | 3.5673 | 142.1933 | 3.5973 | 163.6867 | 3.5593 | 196.3933 | 3.1247 | 891 | 83.5467 | 0.79067
2019-01-17 14:45:00 | 2.8967 | 147.0567 | 3.3333 | 161.6 | 3.32 | 152.9667 | 3.0533 | 169.4667 | 3.1133 | 890.2667 | 83.0667 | 0.85933
2019-01-17 15:00:00 | 3.37 | 158.7633 | 3.8733 | 174.4667 | 3.8467 | 157.26 | 3.8867 | 177.8667 | 3.04 | 890 | 83.5333 | 1.2133
2019-01-17 15:15:00 | 2.6767 | 188.4633 | 3.08 | 207.1 | 3.0567 | 189.2667 | 3.2533 | 169.1333 | 3.06 | 890 | 84.2067 | 1.072
2019-01-17 15:30:00 | 2.41 | 166.8633 | 2.7733 | 183.3667 | 2.9367 | 168.6 | 3.2133 | 179.4 | 3.1667 | 890 | 84.1 | 1.2593
2019-01-17 15:45:00 | 2.72 | 182.4533 | 3.13 | 200.5 | 3.34 | 199.0667 | 3.45 | 183.9333 | 3.1593 | 890 | 84.6667 | 1.5107
2019-01-17 16:00:00 | 2.1333 | 170.8133 | 2.4567 | 187.7 | 2.66 | 174.1333 | 3.0033 | 170.7333 | 3.1967 | 890 | 84.6667 | 1.5033
2019-01-17 16:15:00 | 2.27 | 158.7933 | 2.62 | 174.5 | 2.6667 | 177.0667 | 3.1433 | 167.3333 | 3.12 | 889.9333 | 84.6 | 1.5073
2019-01-17 16:30:00 | 1.7967 | 140.36 | 2.0667 | 154.2333 | 2.28 | 161.0667 | 2.5567 | 195.7333 | 3.084 | 889 | 84.56 | 1.1433
2019-01-17 16:45:00 | 2.1233 | 180.73 | 2.4467 | 198.6 | 2.7233 | 187.5667 | 3.1167 | 201.5667 | 3.1067 | 889 | 83.8 | 1.7747
2019-01-17 17:00:00 | 1.8233 | 161.9233 | 2.1 | 177.9333 | 2.29 | 170.3667 | 2.6233 | 191.5667 | 3.0867 | 889 | 83.7333 | 1.6193
2019-01-17 17:15:00 | 0.98667 | 135.84 | 1.14 | 149.2667 | 1.3167 | 178.5 | 1.9033 | 191 | 3.05 | 889 | 84.1 | 1.4187
2019-01-17 17:30:00 | 1.16 | 151.3133 | 1.3467 | 166.2667 | 1.67 | 218.14 | 1.9367 | 206.2 | 2.9967 | 889 | 84.6333 | 1.8
2019-01-17 17:45:00 | 1.272 | 167.724 | 1.464 | 184.3 | 1.884 | 201.3 | 2.024 | 211.22 | 2.956 | 889 | 85.1067 | 1.5567
2019-01-17 18:00:00 | 0.22 | 90.6067 | 0.25333 | 99.5667 | 0.4 | 174.4333 | 0.44 | 162.1667 | 2.9067 | 889 | 85.6 | 1.864
2019-01-17 18:15:00 | 1.2633 | 178.88 | 1.4667 | 196.5667 | 1.9333 | 213.9667 | 2.1367 | 214.2333 | 2.7867 | 889 | 86.4 | 1.5053
2019-01-17 18:30:00 | 1.65 | 181.4267 | 1.9 | 199.3667 | 2.3467 | 220.5667 | 2.3167 | 212.7667 | 2.7667 | 889 | 86.64 | 1.0853
2019-01-17 18:45:00 | 1.18 | 156.01 | 1.36 | 171.4333 | 1.74 | 193.6667 | 2.1533 | 205.8267 | 2.7233 | 888.9333 | 87.0667 | 0.72933
2019-01-17 19:00:00 | 1.16 | 157.95 | 1.3333 | 173.5667 | 1.7667 | 207.4667 | 2.2467 | 211.8667 | 2.6567 | 888 | 87.6 | 0.51267
2019-01-17 19:15:00 | 1.6867 | 176.8767 | 1.9467 | 194.3667 | 2.5233 | 216.7 | 2.8467 | 214.7667 | 2.6167 | 888 | 88.1 | 0.21733
2019-01-17 19:30:00 | 1.7933 | 182.4033 | 2.06 | 200.4333 | 2.7167 | 224.7667 | 2.72 | 216.3667 | 2.71 | 888 | 88.1 | 0.398
2019-01-17 19:45:00 | 1.0867 | 163.08 | 1.2533 | 179.2 | 1.5967 | 212.1667 | 1.86 | 211.2 | 2.7033 | 888 | 88.2333 | 0.93733
2019-01-17 20:00:00 | 0.91333 | 152.5133 | 1.06 | 167.6 | 1.5967 | 202.1667 | 1.8133 | 208.8 | 2.6033 | 888 | 88.8333 | 0.82733
2019-01-17 20:15:00 | 1.246 | 163.7367 | 1.4393 | 179.9333 | 1.942 | 202.5 | 2.1127 | 220.36 | 2.5113 | 888 | 89.56 | 1.0367
2019-01-17 20:30:00 | 1.69 | 165.5033 | 1.9533 | 181.8667 | 2.4333 | 209.1667 | 2.48 | 210.2333 | 2.516 | 888.4 | 89.8667 | 1.0873
2019-01-17 20:45:00 | 1.98 | 164.65 | 2.2867 | 180.9333 | 2.56 | 195.5667 | 2.6067 | 198.3333 | 2.5073 | 889 | 90.3333 | 1.4073
2019-01-17 21:00:00 | 1.8267 | 158.1567 | 2.1 | 173.8 | 2.2933 | 210.1667 | 2.3467 | 197.6667 | 2.4967 | 889 | 90.64 | 1.1573
2019-01-17 21:15:00 | 1.4467 | 161.3533 | 1.6733 | 177.3 | 2.0033 | 190.6 | 2.1433 | 201.6667 | 2.4467 | 889 | 90.84 | 2.2833
2019-01-17 21:30:00 | 1.56 | 170.2 | 1.7933 | 187.0333 | 2.1833 | 211.8667 | 2.55 | 214.3333 | 2.4333 | 889 | 91.04 | 2.052
2019-01-17 21:45:00 | 1.26 | 158.5233 | 1.46 | 174.2 | 2 | 202.7 | 2.27 | 212.6667 | 2.4133 | 889 | 91.3 | 2.188
2019-01-17 22:00:00 | 1.3133 | 156.29 | 1.52 | 171.7333 | 1.8867 | 197.6333 | 2.0167 | 218.1333 | 2.4267 | 889 | 91.34 | 2.6527
2019-01-17 22:15:00 | 1.15 | 148.6033 | 1.3267 | 163.3 | 1.7867 | 219.1333 | 1.8967 | 219.5 | 2.3967 | 889 | 91.54 | 2.3853
2019-01-17 22:30:00 | 0.99667 | 168.0767 | 1.1467 | 184.7 | 1.4933 | 210.4 | 1.95 | 211.3 | 2.37 | 888.6 | 91.74 | 2.33
2019-01-17 22:45:00 | 1.3267 | 157.4 | 1.5267 | 172.9667 | 2.1233 | 204.7667 | 2.5867 | 212.6667 | 2.3667 | 888.6667 | 91.8067 | 3.1793
2019-01-17 23:00:00 | 1.6067 | 168.2 | 1.8533 | 184.8333 | 2.5567 | 210.5667 | 2.84 | 211.3333 | 2.3733 | 888 | 91.9 | 3.808
2019-01-17 23:15:00 | 1.7333 | 172.0933 | 1.9967 | 189.1 | 2.67 | 215.6667 | 2.6433 | 216.4333 | 2.4067 | 888 | 91.82 | 3.3313
2019-01-17 23:30:00 | 1.3733 | 171.4133 | 1.5833 | 188.3667 | 2.35 | 228.4 | 2.4233 | 224.0333 | 2.36 | 888 | 91.9 | 2.984
2019-01-17 23:45:00 | 1.94 | 182.3333 | 2.2333 | 200.3667 | 3.0467 | 224.3 | 2.9833 | 223.6667 | 2.35 | 888 | 92 | 2.1113