## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-18 00:00:00 | 1.7586 | 167.15 | 2.0264 | 183.6714 | 2.7921 | 224.8857 | 2.6657 | 215.5429 | 2.3893 | 888 | 92 | 1.4443
2019-01-18 00:15:00 | 1.4133 | 179.24 | 1.63 | 196.9667 | 2.46 | 215.2 | 2.2433 | 212.2733 | 2.3933 | 888 | 92.08 | 0.76267
2019-01-18 00:30:00 | 1.0333 | 181.6667 | 1.19 | 199.6333 | 1.9667 | 214.8667 | 1.7967 | 208.5667 | 2.3667 | 888 | 92.24 | 0.26867
2019-01-18 00:45:00 | 0.43333 | 183.73 | 0.5 | 201.9 | 0.86333 | 216.7333 | 0.89 | 213.6733 | 2.31 | 888 | 92.38 | 0.11267
2019-01-18 01:00:00 | 0.14667 | 183.73 | 0.16667 | 201.9 | 0.28333 | 239 | 0.53 | 232.0333 | 2.35 | 888 | 92.3667 | 0
2019-01-18 01:15:00 | 0.01 | 183.736 | 0.01 | 201.9067 | 0.016667 | 247.2733 | 0.03 | 237.3133 | 2.35 | 887.9333 | 92.3067 | 0
2019-01-18 01:30:00 | 0.07 | 207.78 | 0.09 | 228.3333 | 0.13 | 270.5667 | 0.30333 | 278.9 | 2.2767 | 887 | 92.8 | 0
2019-01-18 01:45:00 | 0.67333 | 117.98 | 0.78 | 129.64 | 0.93333 | 219.4367 | 0.97333 | 310.3533 | 1.88 | 887 | 93.1 | 0
2019-01-18 02:00:00 | 1.3733 | 107.46 | 1.58 | 118.08 | 1.8467 | 10.5767 | 1.2467 | 112.6733 | 1.7067 | 887 | 93.4333 | 0
2019-01-18 02:15:00 | 2.0433 | 219.5433 | 2.3467 | 241.2533 | 2.94 | 12.7433 | 2.55 | 17.9367 | 1.6167 | 887 | 93.9067 | 0
2019-01-18 02:30:00 | 2.2433 | 12.03 | 2.58 | 13.2133 | 3.48 | 2.17 | 3.55 | 15.0167 | 1.4767 | 887 | 94.1333 | 0.22133
2019-01-18 02:45:00 | 2.5467 | 229.16 | 2.93 | 251.8167 | 3.8933 | 11.2433 | 4.14 | 9.9567 | 1.29 | 886.9333 | 94.6333 | 2.1793
2019-01-18 03:00:00 | 3.14 | 36.7667 | 3.6167 | 40.3967 | 4.5133 | 9.4767 | 4.5733 | 20.37 | 1.1433 | 886 | 95.1 | 5.5907
2019-01-18 03:15:00 | 3.1933 | 112.3933 | 3.6767 | 123.5067 | 4.9733 | 7.4967 | 5.1467 | 20.9633 | 1.0033 | 886 | 96.1 | 8.032
2019-01-18 03:30:00 | 3.2533 | 104.9267 | 3.7433 | 115.3 | 5.2533 | 9.09 | 5.3933 | 20.0233 | 0.89667 | 886 | 96.9 | 9.7533
2019-01-18 03:45:00 | 3.1433 | 13.9633 | 3.6133 | 15.3333 | 4.9067 | 4.7367 | 5 | 8.3933 | 0.72667 | 886 | 97.6333 | 11.124
2019-01-18 04:00:00 | 3.5967 | 191.63 | 4.14 | 210.58 | 5.38 | 7.2967 | 5.1267 | 13.5333 | 0.58 | 886 | 97.86 | 12.7447
2019-01-18 04:15:00 | 3.5333 | 23.7933 | 4.0633 | 26.15 | 5.14 | 117.6933 | 5.1033 | 17.49 | 0.47333 | 886 | 97.8067 | 11.6873
2019-01-18 04:30:00 | 3.366 | 193 | 3.87 | 212.08 | 5.59 | 143.3 | 5.536 | 7.192 | 0.454 | 886 | 98.02 | 14.184
2019-01-18 04:45:00 | 3.9533 | 20.3367 | 4.55 | 22.34 | 5.9873 | 0.21 | 6.0567 | 123.9267 | 0.36667 | 886 | 98.1733 | 16.5507
2019-01-18 05:00:00 | 3.9667 | 7.43 | 4.5767 | 8.1667 | 6.5633 | 1.1833 | 6.53 | 122.5667 | 0.35333 | 886 | 98.4 | 18.912
2019-01-18 05:15:00 | 4.0367 | 310.35 | 4.6433 | 341.0333 | 6.6167 | 11.79 | 6.3933 | 120.28 | 0.33667 | 886 | 98.7067 | 20.1267
2019-01-18 05:30:00 | 4.1567 | 103.7233 | 4.7833 | 113.98 | 6.49 | 238.0767 | 6.34 | 123.7 | 0.31 | 886 | 98.84 | 20.0433
2019-01-18 05:45:00 | 3.46 | 292.6033 | 3.98 | 321.5333 | 6.02 | 121.5733 | 6.28 | 11.92 | 0.29667 | 886 | 99.1667 | 20.0487
2019-01-18 06:00:00 | 3.42 | 105.03 | 3.94 | 115.4133 | 6.12 | 115.6067 | 6.2467 | 7.3667 | 0.27667 | 886 | 99.34 | 19.522
2019-01-18 06:15:00 | 3.7333 | 3.15 | 4.2933 | 3.4533 | 6.3967 | 20.7633 | 6.4833 | 12.65 | 0.24333 | 886 | 99.6067 | 19.0573
2019-01-18 06:30:00 | 4.1067 | 209.4433 | 4.7267 | 230.1467 | 6.4967 | 17.67 | 6.51 | 16.41 | 0.24333 | 886 | 99.7 | 20.4827
2019-01-18 06:45:00 | 3.8467 | 209.9367 | 4.4333 | 230.7 | 6.02 | 11.18 | 6.1733 | 13.38 | 0.22 | 886 | 99.7733 | 20.2967
2019-01-18 07:00:00 | 4.02 | 110.0033 | 4.6267 | 120.88 | 6.2867 | 7.3733 | 6.46 | 11.8067 | 0.2 | 886 | 99.84 | 21.668
2019-01-18 07:15:00 | 3.7733 | 16.7767 | 4.3433 | 18.4333 | 6.1033 | 0.15 | 6.2667 | 12.0533 | 0.2 | 886 | 99.9733 | 21.3647
2019-01-18 07:30:00 | 4.08 | 191.79 | 4.704 | 210.756 | 6.868 | 21.12 | 6.924 | 13.584 | 0.206 | 886 | 100 | 23.5393
2019-01-18 07:45:00 | 4.4633 | 222.5733 | 5.1433 | 244.5833 | 7.5033 | 349.9667 | 7.3 | 6.49 | 0.23667 | 886 | 99.9867 | 24.3573
2019-01-18 08:00:00 | 4.1767 | 37.2867 | 4.8033 | 40.97 | 7.025 | 130.4443 | 7.16 | 9.6607 | 0.23 | 886 | 99.76 | 23.986
2019-01-18 08:15:00 | 4.0667 | 204.15 | 4.68 | 224.3367 | 6.69 | 123.98 | 6.72 | 6.77 | 0.25 | 886 | 99.3333 | 23.654
2019-01-18 08:30:00 | 3.76 | 49.668 | 4.324 | 54.576 | 6.154 | 147.86 | 6.054 | 15.474 | 0.332 | 886 | 98.58 | 22.3847
2019-01-18 08:45:00 | 3.57 | 21.3267 | 4.1033 | 23.4233 | 5.5467 | 4.43 | 5.5333 | 10 | 0.47667 | 886 | 97.3667 | 23.5767
2019-01-18 09:00:00 | 3.8033 | 54.3667 | 4.3833 | 59.7367 | 5.9467 | 23.37 | 6.1533 | 2.4267 | 0.54333 | 886.4 | 96.9 | 23.9313
2019-01-18 09:15:00 | 3.88 | 93.6367 | 4.4633 | 102.8933 | 6.1033 | 1.7433 | 6.4667 | 13.1867 | 0.60333 | 887 | 96.5667 | 20.5733
2019-01-18 09:30:00 | 3.6267 | 304.95 | 4.17 | 335.1 | 6.1767 | 5.23 | 6.5667 | 10.9933 | 0.65667 | 887 | 96.4333 | 24.334
2019-01-18 09:45:00 | 3.6 | 211.08 | 4.15 | 231.95 | 5.91 | 4.7867 | 6.3733 | 11.5867 | 0.72667 | 887 | 96.7 | 23.0547
2019-01-18 10:00:00 | 3.326 | 46.224 | 3.832 | 50.788 | 5.888 | 9.75 | 5.888 | 15.634 | 0.808 | 887 | 97.06 | 21.5553
2019-01-18 10:15:00 | 3.81 | 312.22 | 4.38 | 343.1 | 6.0333 | 16.7667 | 6.3333 | 18.75 | 0.88667 | 887 | 97.2267 | 23.0467
2019-01-18 10:30:00 | 3.87 | 286.68 | 4.4533 | 315.0333 | 6.58 | 16.3667 | 6.764 | 16.09 | 1.0267 | 887 | 96.7333 | 26.7487
2019-01-18 10:45:00 | 4.0553 | 31.1347 | 4.6727 | 34.2053 | 6.9387 | 27.5307 | 7.1407 | 9.0233 | 1.3107 | 887.7333 | 95.52 | 29.526
2019-01-18 11:00:00 | 3.9533 | 12.05 | 4.5467 | 13.2333 | 7.23 | 8.9833 | 7.4467 | 9.1933 | 1.4367 | 888 | 94.6 | 24.582
2019-01-18 11:15:00 | 3.81 | 70.22 | 4.38 | 77.16 | 5.99 | 12.46 | 6.31 | 18.59 | 2 | 888 | 93.1 | 19.267
2019-01-18 11:30:00 | 4.0567 | 9.5533 | 4.6767 | 10.49 | 6.3867 | 15.3 | 6.6433 | 16.6133 | 3.42 | 888 | 87.3667 | 15.5893
2019-01-18 11:45:00 | 3.94 | 67.7867 | 4.5367 | 74.49 | 6.5967 | 18.3167 | 6.6667 | 25.93 | 4.8533 | 888 | 80.7333 | 15.4047
2019-01-18 12:00:00 | 4.1333 | 118.0267 | 4.7567 | 129.69 | 6.61 | 13.63 | 6.78 | 28.31 | 4.9933 | 888 | 78.84 | 16.4767
2019-01-18 12:15:00 | 4.6133 | 33.2267 | 5.31 | 36.5 | 7.21 | 18.9267 | 7.3467 | 29.4767 | 5.3267 | 888 | 74.8567 | 19.6227
2019-01-18 12:30:00 | 4.72 | 223.4733 | 5.4433 | 245.5667 | 7.5233 | 20.0467 | 7.72 | 32.3633 | 5.9 | 887.6 | 71.2433 | 21.094
2019-01-18 12:45:00 | 4.7867 | 30.1167 | 5.5133 | 33.0967 | 7.7567 | 23.1933 | 7.94 | 26.6967 | 6.17 | 887 | 68.18 | 27.7993
2019-01-18 13:00:00 | 5.36 | 49.63 | 6.16 | 54.53 | 8.8033 | 22.7867 | 9.14 | 32.8833 | 6.8833 | 887 | 63.9133 | 33.2613
2019-01-18 13:15:00 | 5.3667 | 142.9067 | 6.1767 | 157.0333 | 8.9633 | 20.34 | 9.22 | 32.2833 | 7.1433 | 887 | 61.8167 | 35.192
2019-01-18 13:30:00 | 5.7333 | 302.4533 | 6.5967 | 332.3667 | 9.2033 | 18.9933 | 9.1933 | 24.5633 | 7.2967 | 887 | 60.3567 | 35.4167
2019-01-18 13:45:00 | 5.8467 | 23.6867 | 6.7367 | 26.0267 | 9.4967 | 13.5267 | 9.2333 | 26.95 | 7.6067 | 887 | 58.4467 | 34.9687
2019-01-18 14:00:00 | 5.9 | 11.6667 | 6.7967 | 12.82 | 9.774 | 16 | 9.24 | 32.1967 | 8.18 | 887 | 55.3533 | 32.89
2019-01-18 14:15:00 | 5.71 | 114.8733 | 6.5667 | 126.2333 | 9.24 | 28.5533 | 9.11 | 21.8067 | 8.2673 | 886.9333 | 54.82 | 35.0847
2019-01-18 14:30:00 | 5.4033 | 110.9667 | 6.2133 | 121.94 | 8.9867 | 19.8067 | 8.67 | 29.0467 | 8.5567 | 886 | 53.1467 | 34.7813
2019-01-18 14:45:00 | 5.7633 | 290.9667 | 6.6267 | 319.7333 | 9.5767 | 34.28 | 9.6133 | 37.6767 | 8.6693 | 886 | 51.8267 | 37.84
2019-01-18 15:00:00 | 5.5367 | 114.9467 | 6.3667 | 126.3133 | 9.405 | 21.6471 | 8.9221 | 33.0107 | 8.7733 | 886 | 51.46 | 37.4
2019-01-18 15:15:00 | 5.7133 | 48.25 | 6.5667 | 53.01 | 9.5367 | 25.6367 | 9.0333 | 30.58 | 8.74 | 886 | 50.6867 | 34.5627
2019-01-18 15:30:00 | 5.4267 | 197.8167 | 6.2467 | 217.3767 | 9.3167 | 25.75 | 8.74 | 34.8267 | 7.4467 | 886 | 54.5667 | 32.0207
2019-01-18 15:45:00 | 5.1433 | 45.9033 | 5.9167 | 50.44 | 8.79 | 11.64 | 8.3233 | 17.8133 | 7.2633 | 885.9333 | 55.2467 | 27.5433
2019-01-18 16:00:00 | 5.6233 | 253.0433 | 6.4767 | 278.0667 | 9.55 | 19.68 | 9.2033 | 20.1 | 7.99 | 885 | 53.26 | 33.198
2019-01-18 16:15:00 | 5.4667 | 80.8733 | 6.2833 | 88.8667 | 9.56 | 6.31 | 9.4067 | 25.65 | 8.02 | 885.0667 | 52.36 | 36.55
2019-01-18 16:30:00 | 5.76 | 206.2667 | 6.6233 | 226.6667 | 10.0667 | 28.8767 | 9.6267 | 23.8167 | 7.92 | 886 | 52.48 | 32.9833
2019-01-18 16:45:00 | 6.13 | 211.22 | 7.0533 | 232.1067 | 10.4367 | 11.04 | 9.9267 | 29.6133 | 7.6033 | 886 | 53.116 | 41.9587
2019-01-18 17:00:00 | 6.3433 | 174.2733 | 7.3 | 191.5067 | 10.9833 | 9.9267 | 10.9533 | 34.5733 | 7.0433 | 886 | 53.3 | 36.7093
2019-01-18 17:15:00 | 5.08 | 260.29 | 5.84 | 286.0333 | 9.18 | 9.9467 | 9.0967 | 20.6133 | 6.8033 | 886 | 54.5333 | 32.4093
2019-01-18 17:30:00 | 5.3867 | 190.53 | 6.1933 | 209.3667 | 9.4533 | 15.88 | 9.39 | 33.06 | 6.11 | 886 | 55.8733 | 36.0953
2019-01-18 17:45:00 | 5.6533 | 114.78 | 6.5067 | 126.1333 | 9.8767 | 21.82 | 10.29 | 31.2233 | 5.5433 | 886 | 55.84 | 35.53
2019-01-18 18:00:00 | 4.8733 | 203.48 | 5.6133 | 223.6 | 8.73 | 21.4333 | 8.91 | 25.41 | 5.2233 | 886 | 56.84 | 33.1533
2019-01-18 18:15:00 | 4.2633 | 84.1533 | 4.9133 | 92.48 | 7.74 | 27.5333 | 7.4433 | 31.56 | 4.91 | 885.9333 | 57.43 | 32.0447
2019-01-18 18:30:00 | 4.045 | 148.76 | 4.665 | 163.47 | 7.381 | 28.365 | 7.19 | 26.24 | 4.66 | 885 | 57.675 | 30.769
2019-01-18 18:45:00 | 4.09 | 251.43 | 4.72 | 276.3 | 7.44 | 20.04 | 7.304 | 32.32 | 4.31 | 885 | 58.27 | 26.871
2019-01-18 19:00:00 | 3.92 | 168.2967 | 4.5067 | 184.9333 | 7.2933 | 30.8167 | 6.0033 | 27.3833 | 4.1367 | 886 | 58.51 | 22.6393
2019-01-18 19:15:00 | 3.6433 | 122.9033 | 4.1867 | 135.0567 | 6.9867 | 34.81 | 5.13 | 14.22 | 3.9167 | 886 | 59.68 | 20.5847
2019-01-18 19:30:00 | 3.35 | 17.4367 | 3.8533 | 19.1633 | 6.5 | 36.3967 | 5.7033 | 29.44 | 3.6433 | 886 | 61.0067 | 21.6247
2019-01-18 19:45:00 | 3.24 | 157.46 | 3.73 | 173.0333 | 6.2733 | 32.33 | 6.95 | 34.2733 | 3.31 | 886 | 62.95 | 18.8167
2019-01-18 20:00:00 | 3.2733 | 216.5533 | 3.77 | 237.9667 | 6.48 | 25.3433 | 7.0767 | 30.7933 | 2.91 | 886 | 65.1967 | 20.6893
2019-01-18 20:15:00 | 3.56 | 192.79 | 4.1 | 211.8533 | 7.0467 | 21.73 | 7.2933 | 27.31 | 2.6533 | 886 | 67.59 | 25.1093
2019-01-18 20:30:00 | 3.9733 | 60.7233 | 4.5733 | 66.72 | 7.76 | 19.8167 | 7.9333 | 27.3767 | 2.5133 | 886 | 69.33 | 29.5293
2019-01-18 20:45:00 | 4.2467 | 192.0767 | 4.8933 | 211.0667 | 8.3933 | 10.6867 | 8.7233 | 26.0933 | 2.5367 | 886 | 70.3233 | 27.72
2019-01-18 21:00:00 | 4.1667 | 191.23 | 4.7933 | 210.1333 | 8.14 | 11.8733 | 8.43 | 25.6533 | 2.6433 | 886 | 70.4367 | 25.466
2019-01-18 21:15:00 | 4.0933 | 158.09 | 4.72 | 173.7167 | 7.73 | 17.2967 | 8.0593 | 26.9767 | 2.7867 | 886 | 69.5667 | 22.4353
2019-01-18 21:30:00 | 4.0867 | 192.2367 | 4.7 | 211.25 | 7.6167 | 10.81 | 7.9233 | 34.6367 | 2.88 | 886 | 68.8533 | 23.354
2019-01-18 21:45:00 | 3.9067 | 107.2033 | 4.49 | 117.8 | 7.0733 | 19.42 | 7.4567 | 29.3867 | 3.0593 | 886 | 67.7733 | 23.0853
2019-01-18 22:00:00 | 3.88 | 129.3367 | 4.4633 | 142.1267 | 7.36 | 13.18 | 7.85 | 30.98 | 2.8833 | 886.4 | 69.1733 | 19.742
2019-01-18 22:15:00 | 3.716 | 277.392 | 4.2747 | 304.8253 | 6.85 | 19.8627 | 7.3533 | 14.8007 | 2.7393 | 887 | 70.1827 | 18.4113
2019-01-18 22:30:00 | 3.225 | 268.995 | 3.71 | 295.6 | 5.965 | 12.895 | 6.39 | 12.94 | 2.62 | 887 | 70.815 | 16.404
2019-01-18 22:45:00 | 2.8467 | 125.16 | 3.2833 | 137.54 | 4.2667 | 9.3933 | 4.5667 | 22.0867 | 2.8233 | 887 | 70.2933 | 11.406
2019-01-18 23:00:00 | 2.584 | 129.578 | 2.968 | 142.386 | 4.536 | 37.646 | 4.64 | 19.224 | 2.758 | 887 | 70.16 | 11.1447
2019-01-18 23:15:00 | 2.64 | 116.6233 | 3.04 | 128.1467 | 4.7533 | 43.17 | 4.9133 | 15.7967 | 2.36 | 887 | 71.0267 | 9.2947
2019-01-18 23:30:00 | 2.4533 | 310.9833 | 2.8267 | 341.7333 | 4.3533 | 11.2567 | 4.3467 | 14.1767 | 2.32 | 887 | 70.92 | 8.2033
2019-01-18 23:45:00 | 2.2067 | 310.8567 | 2.55 | 341.6 | 3.8767 | 235.86 | 3.99 | 2.3667 | 2.1533 | 887 | 71.55 | 7.4373