## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-19 00:00:00 | 2.2171 | 296.67 | 2.5536 | 326.0071 | 3.9671 | 0.40714 | 4.1064 | 0.22714 | 1.93 | 887 | 72.53 | 7.3729
2019-01-19 00:15:00 | 2.4933 | 216.4667 | 2.8667 | 237.8667 | 4.4867 | 5.3233 | 4.6667 | 6.94 | 1.82 | 887 | 73.7233 | 9.5667
2019-01-19 00:30:00 | 2.4733 | 323.6067 | 2.8467 | 355.6 | 4.6067 | 43.29 | 4.9067 | 8.4 | 1.6267 | 887 | 74.8167 | 9.2993
2019-01-19 00:45:00 | 2.5733 | 157.1333 | 2.96 | 172.6667 | 4.7767 | 9.1967 | 4.9133 | 9.91 | 1.7233 | 887 | 75.52 | 8.1533
2019-01-19 01:00:00 | 2.4867 | 300.1867 | 2.8667 | 329.8667 | 4.5633 | 3.4233 | 4.7333 | 9.99 | 1.63 | 887 | 76.3933 | 9.6593
2019-01-19 01:15:00 | 2.65 | 21.0467 | 3.0433 | 23.1167 | 4.82 | 14.95 | 4.9407 | 21.8667 | 1.3267 | 887 | 80.02 | 8.9907
2019-01-19 01:30:00 | 2.49 | 5 | 2.87 | 5.49 | 4.6533 | 9.9233 | 4.9767 | 19.86 | 1.0867 | 887 | 81.8667 | 8.0413
2019-01-19 01:45:00 | 2.5933 | 293.45 | 2.9867 | 322.4667 | 4.9267 | 11.5467 | 5.3467 | 15.2467 | 0.91 | 887 | 82.8 | 8.9493
2019-01-19 02:00:00 | 2.7267 | 300.97 | 3.1333 | 330.7333 | 5.34 | 12.52 | 5.5467 | 16.1867 | 0.67667 | 887 | 83.44 | 10.018
2019-01-19 02:15:00 | 2.7333 | 306.6707 | 3.1433 | 337 | 5.04 | 16.4467 | 5.5533 | 21.6533 | 0.49333 | 887 | 85.1 | 8.6413
2019-01-19 02:30:00 | 2.72 | 102.5 | 3.13 | 112.6333 | 4.9933 | 15.8267 | 5.22 | 24.28 | 0.40667 | 887 | 86.14 | 11.1627
2019-01-19 02:45:00 | 2.8633 | 107.4967 | 3.29 | 118.12 | 5.2467 | 16.95 | 5.47 | 21.772 | 0.43667 | 887 | 85.8 | 10.77
2019-01-19 03:00:00 | 2.89 | 102.7567 | 3.33 | 112.92 | 5.4867 | 10.4433 | 5.4833 | 19.2 | 0.22333 | 887 | 86.36 | 11.9
2019-01-19 03:15:00 | 2.9467 | 310.5567 | 3.4 | 341.2667 | 5.0833 | 12.8333 | 5.22 | 7.5333 | 0.33667 | 887 | 85.3933 | 13.476
2019-01-19 03:30:00 | 2.9067 | 291.7433 | 3.3533 | 320.6 | 4.8033 | 8.42 | 5.3 | 19.3867 | 0.37667 | 887 | 84.5 | 14.6827
2019-01-19 03:45:00 | 2.7967 | 189.4933 | 3.2167 | 208.22 | 4.4167 | 237.9167 | 4.7067 | 16.9733 | 0.53 | 887 | 82.6 | 14.0387
2019-01-19 04:00:00 | 2.8033 | 183.7867 | 3.2233 | 201.9533 | 4.6567 | 231.7167 | 4.5333 | 19.6933 | 0.45667 | 887 | 83.0667 | 10.2273
2019-01-19 04:15:00 | 2.4747 | 294.672 | 2.852 | 323.8067 | 4.0653 | 275.3467 | 4.1187 | 12.5013 | 0.68333 | 887 | 82.6133 | 6.698
2019-01-19 04:30:00 | 2.36 | 107.8 | 2.7167 | 118.4533 | 4.0267 | 18.61 | 4.23 | 0.53333 | 0.85 | 887 | 82.1 | 7.756
2019-01-19 04:45:00 | 2.5067 | 299.25 | 2.8867 | 328.8333 | 3.8833 | 7.0033 | 4.47 | 12.5067 | 0.88 | 887 | 80.8667 | 11.372
2019-01-19 05:00:00 | 2.5667 | 96.4567 | 2.9533 | 105.9933 | 4.0367 | 1.2833 | 4.7033 | 6.78 | 0.82 | 887 | 81.8 | 12.8827
2019-01-19 05:15:00 | 3.1933 | 216.4667 | 3.6767 | 237.8667 | 5.3733 | 10.7367 | 5.6867 | 9.2333 | 0.82667 | 887 | 81.94 | 17.7653
2019-01-19 05:30:00 | 3.6667 | 209.9667 | 4.2167 | 230.7333 | 6.0933 | 27.2167 | 6.8267 | 18.48 | 0.86667 | 887 | 81.9 | 21.966
2019-01-19 05:45:00 | 3.73 | 41.21 | 4.2933 | 45.2867 | 6.5367 | 22.79 | 7.4533 | 26.1033 | 0.77333 | 887 | 82.14 | 24.2
2019-01-19 06:00:00 | 4.1033 | 40.5233 | 4.7267 | 44.52 | 6.9033 | 21.1567 | 7.48 | 239.4967 | 0.75333 | 887 | 81.7 | 27.2193
2019-01-19 06:15:00 | 3.96 | 307.7333 | 4.56 | 338.1667 | 6.7667 | 17.18 | 7.2833 | 17.7767 | 0.72333 | 887 | 80.8 | 28.6367
2019-01-19 06:30:00 | 3.6333 | 95.3533 | 4.18 | 104.78 | 6.6667 | 15.9533 | 7.2033 | 16.33 | 0.65667 | 887 | 80.5333 | 30.2093
2019-01-19 06:45:00 | 3.9533 | 117.2733 | 4.5467 | 128.8667 | 7.0133 | 4.1033 | 8.16 | 22.95 | 0.32333 | 887 | 82.1 | 33.7933
2019-01-19 07:00:00 | 4.4467 | 161.0133 | 5.1133 | 176.9333 | 7.0267 | 12.4567 | 7.8733 | 18.2967 | 0.27667 | 887 | 81.9667 | 37.2687
2019-01-19 07:15:00 | 4.6827 | 234.114 | 5.3967 | 257.2573 | 7.7593 | 9.8053 | 8.442 | 9.6007 | 0.368 | 887 | 81.3067 | 37.826
2019-01-19 07:30:00 | 4.08 | 194.6767 | 4.7033 | 213.93 | 7.6533 | 13.1167 | 8.4567 | 14.7733 | 0.22 | 887 | 82 | 36.878
2019-01-19 07:45:00 | 4.0133 | 251.0067 | 4.6167 | 275.8333 | 7.56 | 7.3267 | 8.5433 | 12.79 | 0.016667 | 887 | 83.5667 | 41.5253
2019-01-19 08:00:00 | 4.5333 | 297.66 | 5.2167 | 327.1 | 7.5667 | 6.2067 | 8.6367 | 12.3633 | 0.096667 | 887 | 82.0333 | 39.7747
2019-01-19 08:15:00 | 4.8733 | 111.1633 | 5.6067 | 122.1533 | 7.0833 | 338.8667 | 7.08 | 6.2833 | 0.30667 | 887.0667 | 79.2033 | 37.6813
2019-01-19 08:30:00 | 4.38 | 114.1833 | 5.0467 | 125.48 | 6.11 | 115.3333 | 6.3267 | 10.9233 | 0.27333 | 888 | 79.2433 | 41.4307
2019-01-19 08:45:00 | 4.86 | 11.7133 | 5.5867 | 12.87 | 8.0967 | 14.82 | 8.2233 | 15.77 | -0.043333 | 888 | 81.4333 | 45.1393
2019-01-19 09:00:00 | 5.6867 | 188.26 | 6.5467 | 206.8767 | 9.4567 | 15.02 | 9.65 | 22.0167 | 0.19 | 888 | 79.6933 | 33.3027
2019-01-19 09:15:00 | 4.7533 | 238.7833 | 5.47 | 262.4 | 8.98 | 7.6833 | 9.0667 | 18.63 | 0.68667 | 888 | 77.12 | 19.0687
2019-01-19 09:30:00 | 3.96 | 53.9433 | 4.5567 | 59.2733 | 7.3333 | 12.9233 | 7.7933 | 25.49 | 1.32 | 888.4 | 73.82 | 24.1727
2019-01-19 09:45:00 | 4.07 | 96.5233 | 4.69 | 106.0667 | 6.7433 | 10.4 | 7.2967 | 23.3967 | 1.5967 | 889 | 71.02 | 22.2893
2019-01-19 10:00:00 | 4.0167 | 115.21 | 4.6233 | 126.6 | 6.6567 | 17.06 | 7.1967 | 17.23 | 1.49 | 889 | 71.4533 | 21.0927
2019-01-19 10:15:00 | 3.46 | 311.2167 | 3.9833 | 342 | 6.25 | 9.81 | 6.6967 | 19.0233 | 2.6367 | 889.7333 | 71.0767 | 17.7327
2019-01-19 10:30:00 | 3.1867 | 312.37 | 3.6767 | 343.2667 | 5.5833 | 18.0033 | 5.9367 | 10.3767 | 3.45 | 890 | 67.25 | 18.9893
2019-01-19 10:45:00 | 3.48 | 206.9267 | 4.0033 | 227.3967 | 6.05 | 11.87 | 6.5333 | 27.0433 | 3 | 890 | 68.2633 | 14.604
2019-01-19 11:00:00 | 3.06 | 214.5133 | 3.5233 | 235.73 | 5.3367 | 9.4967 | 6.3467 | 25.91 | 3.2867 | 890 | 66.37 | 13.0767
2019-01-19 11:15:00 | 3.6333 | 123.34 | 4.18 | 135.5267 | 5.8233 | 19.8467 | 6.46 | 22.9067 | 3.8 | 890 | 64.5033 | 13.916
2019-01-19 11:30:00 | 3.8067 | 300.3933 | 4.3867 | 330.1 | 6.1567 | 16.4533 | 6.5267 | 13.94 | 4.1267 | 890 | 62.63 | 16.832
2019-01-19 11:45:00 | 3.91 | 28.67 | 4.4967 | 31.5 | 6.8767 | 7.2067 | 7.2067 | 14.08 | 5.5933 | 890 | 55.2067 | 19.7
2019-01-19 12:00:00 | 4.0967 | 28.19 | 4.71 | 30.98 | 7.3233 | 13.4133 | 7.5533 | 21.1933 | 5.54 | 890 | 49.5067 | 16.1907
2019-01-19 12:15:00 | 3.8933 | 171.432 | 4.476 | 188.3807 | 6.5753 | 15.882 | 6.6133 | 25.9427 | 5.2707 | 890 | 48.3727 | 10.9407
2019-01-19 12:30:00 | 3.3733 | 22.5 | 3.8867 | 24.73 | 5.5033 | 6.7767 | 5.6067 | 22.9067 | 5.2133 | 889.6 | 49.7767 | 10.308
2019-01-19 12:45:00 | 3.19 | 203.5 | 3.6667 | 223.6133 | 5.3667 | 9.5167 | 5.27 | 10.3467 | 5.5767 | 889 | 50.4033 | 12.9913
2019-01-19 13:00:00 | 3.87 | 44.04 | 4.4533 | 48.3867 | 5.3133 | 18.6767 | 5.23 | 15.42 | 5.61 | 889 | 47.7567 | 10.2013
2019-01-19 13:15:00 | 3.79 | 19.9 | 4.3567 | 21.87 | 4.9267 | 16.6267 | 4.7333 | 5.1033 | 6.1267 | 888.9333 | 45.5633 | 6.6713
2019-01-19 13:30:00 | 3.9233 | 230.3 | 4.5233 | 253.07 | 6.02 | 15.8933 | 5.6333 | 22.7567 | 7.4133 | 888 | 43.4167 | 7.0093
2019-01-19 13:45:00 | 3.9533 | 234.8133 | 4.55 | 258.0367 | 6.4067 | 18.9533 | 6.23 | 22.9967 | 8.35 | 888 | 41.1233 | 5.4653
2019-01-19 14:00:00 | 3.4333 | 181.7333 | 3.95 | 199.7033 | 5.22 | 12.6 | 4.99 | 15.2367 | 9.1767 | 888.4 | 39.1767 | 4.1673
2019-01-19 14:15:00 | 2.8493 | 137.8407 | 3.2773 | 151.4713 | 3.9053 | 21.9373 | 3.5713 | 29.3413 | 8.9207 | 889 | 38.7847 | 4.1193
2019-01-19 14:30:00 | 3.22 | 302.6367 | 3.7067 | 332.5667 | 4.9133 | 9.5233 | 4.8267 | 25.2167 | 9.09 | 889 | 38.51 | 4.2213
2019-01-19 14:45:00 | 3.6667 | 30.4033 | 4.2233 | 33.4067 | 5.47 | 24.9 | 5.2967 | 27.0833 | 9.79 | 889 | 36.1033 | 4.3387
2019-01-19 15:00:00 | 3.5933 | 241.5567 | 4.1367 | 265.4333 | 5.8167 | 23.22 | 5.6433 | 32.2833 | 9.9367 | 889 | 35.3967 | 4.6393
2019-01-19 15:15:00 | 3.23 | 321.9267 | 3.7133 | 353.7667 | 5.9233 | 18.0467 | 5.5993 | 14.8067 | 11.1067 | 889 | 32.77 | 4.29
2019-01-19 15:30:00 | 3.0767 | 314.04 | 3.54 | 345.1 | 5.2433 | 15.6 | 4.97 | 20.22 | 10.9867 | 889 | 32.2767 | 5.9047
2019-01-19 15:45:00 | 3.552 | 27.44 | 4.09 | 30.1453 | 5.594 | 30.192 | 5.388 | 14.42 | 10.276 | 889 | 32.704 | 6.7553
2019-01-19 16:00:00 | 2.9733 | 19.2333 | 3.4333 | 21.1233 | 5.29 | 16.4167 | 5.04 | 20.9333 | 11.06 | 889 | 31.1467 | 6.8607
2019-01-19 16:15:00 | 2.9733 | 177.1067 | 3.4233 | 194.6233 | 5.2567 | 21.3367 | 5.1267 | 15.5767 | 10.7633 | 889 | 30.4167 | 7.2627
2019-01-19 16:30:00 | 3.4467 | 21.8067 | 3.97 | 23.9567 | 6.1767 | 4.57 | 5.7533 | 14.2167 | 10.2567 | 889 | 30.9633 | 10.814
2019-01-19 16:45:00 | 3.42 | 0.05 | 3.93 | 0.05 | 6.41 | 17.21 | 6.3 | 27.41 | 9.81 | 889 | 31.58 | 12.956
2019-01-19 17:00:00 | 3.6067 | 289.2367 | 4.1533 | 317.8333 | 6.72 | 17.5567 | 6.75 | 35.9767 | 9.6667 | 889 | 31.5767 | 14.3813
2019-01-19 17:15:00 | 3.8467 | 47.0633 | 4.4333 | 51.7167 | 7.3733 | 22.65 | 7.1633 | 23.5933 | 9.4633 | 889 | 31.8867 | 14.5673
2019-01-19 17:30:00 | 3.74 | 135.91 | 4.3 | 149.3433 | 7.0133 | 16.6367 | 6.9433 | 20.6267 | 8.6367 | 889 | 33.48 | 13.5693
2019-01-19 17:45:00 | 3.5267 | 213.1967 | 4.0567 | 234.2833 | 6.5033 | 12.9967 | 6.3133 | 22.4567 | 8.0367 | 889 | 35.7267 | 14.5013
2019-01-19 18:00:00 | 3.6533 | 12.5433 | 4.2033 | 13.7833 | 6.8033 | 12.77 | 6.76 | 37.1833 | 7.5633 | 889 | 37.1733 | 17.5033
2019-01-19 18:15:00 | 3.8367 | 253.5033 | 4.4233 | 278.5667 | 7.4033 | 19.98 | 7.62 | 27.1467 | 7.0967 | 889 | 39.29 | 19.5647
2019-01-19 18:30:00 | 4.33 | 52.6367 | 4.99 | 57.8333 | 8.2767 | 17.02 | 8.7067 | 35.6067 | 6.7033 | 889 | 41.2167 | 23.9993
2019-01-19 18:45:00 | 4.84 | 224.1433 | 5.57 | 246.3 | 8.85 | 24.1767 | 8.95 | 38.0167 | 6.5767 | 889 | 44.1067 | 27.5427
2019-01-19 19:00:00 | 4.4533 | 220.8567 | 5.1367 | 242.7 | 8.01 | 25.2967 | 6.6433 | 34.7167 | 6.71 | 889 | 44.5 | 28.9
2019-01-19 19:15:00 | 3.98 | 60.0933 | 4.58 | 66.0333 | 7.22 | 31.5967 | 5.3333 | 28.3533 | 6.74 | 889 | 44.46 | 30.2147
2019-01-19 19:30:00 | 3.74 | 161.68 | 4.3133 | 177.6667 | 7.0333 | 38.5167 | 5.3333 | 38.1 | 6.5133 | 889 | 45.1667 | 25.1733
2019-01-19 19:45:00 | 3.72 | 184.61 | 4.2867 | 202.87 | 6.95 | 32.7333 | 6.9267 | 32.9333 | 6.3933 | 889.0667 | 43.7167 | 18.568
2019-01-19 20:00:00 | 3.2133 | 221.75 | 3.6933 | 243.67 | 5.93 | 16.4067 | 6.0133 | 32.8867 | 6.2533 | 890 | 43.7967 | 17.6127
2019-01-19 20:15:00 | 3.1267 | 201.7167 | 3.6 | 221.6633 | 6 | 12.1433 | 6.1633 | 25.0533 | 5.9967 | 890 | 44.1333 | 16.8913
2019-01-19 20:30:00 | 3.4533 | 68.9767 | 3.9733 | 75.7967 | 6.6 | 12.2433 | 6.6433 | 18.9133 | 5.8633 | 890 | 43.78 | 15.846
2019-01-19 20:45:00 | 3.0033 | 266.2433 | 3.45 | 292.5667 | 5.8333 | 14.4 | 5.98 | 22.48 | 5.83 | 890 | 43.91 | 12.5733
2019-01-19 21:00:00 | 2.73 | 256.0433 | 3.1367 | 281.3667 | 5.28 | 16.3933 | 5.42 | 30.4533 | 5.81 | 890.4 | 44.51 | 8.1653
2019-01-19 21:15:00 | 2.3333 | 300.2433 | 2.6933 | 329.9333 | 4.46 | 127.32 | 4.1967 | 23.1833 | 5.72 | 891 | 45.2233 | 5.5907
2019-01-19 21:30:00 | 2 | 289.69 | 2.3067 | 318.3333 | 3.7067 | 126.78 | 3.6567 | 26.1967 | 5.8267 | 891 | 44.3367 | 5.0247
2019-01-19 21:45:00 | 1.9867 | 185.67 | 2.29 | 204.03 | 3.5133 | 115.6933 | 3.41 | 16.0167 | 5.68 | 891 | 45.1233 | 6.8333
2019-01-19 22:00:00 | 1.96 | 14.0567 | 2.2567 | 15.4367 | 3.5533 | 123.7467 | 3.35 | 23.07 | 5.68 | 891 | 45.5767 | 4.7673
2019-01-19 22:15:00 | 1.8333 | 99.46 | 2.1067 | 109.2867 | 3.32 | 23.1033 | 3.2567 | 42.6533 | 5.2667 | 891.0667 | 47.32 | 6.4747
2019-01-19 22:30:00 | 2.1067 | 302.8533 | 2.4333 | 332.8 | 3.7267 | 21.1233 | 3.6567 | 37.5733 | 4.9667 | 892 | 48.7133 | 5.3407
2019-01-19 22:45:00 | 2.1333 | 323.5067 | 2.46 | 355.5 | 3.5207 | 7.33 | 3.6533 | 15.2667 | 4.8633 | 892 | 49.0553 | 6.434
2019-01-19 23:00:00 | 2.3133 | 309.7333 | 2.6667 | 340.3667 | 4.2833 | 17.9967 | 4.66 | 14.0133 | 4.7367 | 892 | 49.1833 | 8.934
2019-01-19 23:15:00 | 2.42 | 0.98 | 2.78 | 1.07 | 4.44 | 16.03 | 4.36 | 17.31 | 4.71 | 892 | 49.15 | 10.93
2019-01-19 23:30:00 | 2.655 | 181.07 | 3.05 | 198.975 | 4.87 | 13.96 | 4.98 | 28.965 | 4.785 | 892 | 49.88 | 12.778
2019-01-19 23:45:00 | 2.56 | 10.69 | 2.9467 | 11.7367 | 4.3067 | 2.3967 | 4.2467 | 17.7833 | 4.88 | 892 | 50.352 | 16.3287