## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-20 00:00:00 | 2.9514 | 201.0814 | 3.4021 | 220.9679 | 4.9621 | 227.2893 | 5.0186 | 47.6607 | 4.8364 | 892 | 51.1842 | 22.3807
2019-01-20 00:15:00 | 3.34 | 291.63 | 3.8467 | 320.4667 | 5.97 | 226.63 | 6.2067 | 244.4733 | 4.7833 | 892.0667 | 50.7867 | 24.6407
2019-01-20 00:30:00 | 3.78 | 301.5233 | 4.36 | 331.3333 | 6.2033 | 17.49 | 6.6333 | 18.3667 | 4.8967 | 893 | 49.8267 | 27.436
2019-01-20 00:45:00 | 3.7333 | 300.0267 | 4.2933 | 329.7 | 6.3133 | 1.85 | 6.79 | 24.6 | 4.7867 | 893 | 49.4733 | 28.6433
2019-01-20 01:00:00 | 4 | 126.3267 | 4.6067 | 138.8133 | 7.0933 | 15.1567 | 7.6033 | 35.04 | 4.7667 | 893 | 49.7933 | 34.0733
2019-01-20 01:15:00 | 4.3067 | 34.1567 | 4.96 | 37.5333 | 7.97 | 13.87 | 8.3933 | 47.6567 | 4.78 | 893 | 48.32 | 30.4973
2019-01-20 01:30:00 | 4.12 | 51.29 | 4.74 | 56.3533 | 7.4233 | 17.81 | 7.624 | 24.83 | 4.9 | 893 | 46.7267 | 34.9513
2019-01-20 01:45:00 | 4.06 | 205.5967 | 4.6733 | 225.9333 | 7.6533 | 30.6433 | 8.2767 | 34.6633 | 4.7433 | 893 | 46.9967 | 35.3927
2019-01-20 02:00:00 | 4.0733 | 32.6967 | 4.6867 | 35.9267 | 7.78 | 22.47 | 8.1433 | 54.83 | 4.45 | 893 | 46.8433 | 29.916
2019-01-20 02:15:00 | 3.8667 | 225.1333 | 4.4533 | 247.4 | 7.496 | 20.4233 | 8.0567 | 31.1667 | 4.1533 | 893 | 46.0433 | 18.762
2019-01-20 02:30:00 | 3.3067 | 241.2667 | 3.8133 | 265.1333 | 6.3133 | 15.19 | 6.2567 | 29.8867 | 4.22 | 893 | 45.2167 | 13.9373
2019-01-20 02:45:00 | 2.6467 | 287.7733 | 3.0533 | 316.2333 | 4.9767 | 14.7333 | 4.97 | 35.9833 | 4.02 | 893 | 46.77 | 9.578
2019-01-20 03:00:00 | 2.2067 | 294.8133 | 2.54 | 323.9667 | 4.15 | 13.9267 | 4.1633 | 26.6767 | 3.74 | 893 | 48.35 | 6.0427
2019-01-20 03:15:00 | 1.9667 | 216.7533 | 2.2667 | 238.1867 | 3.58 | 18.5467 | 3.24 | 27.1733 | 3.6733 | 893 | 48.92 | 5.68
2019-01-20 03:30:00 | 1.88 | 4.3467 | 2.1667 | 4.7667 | 3.6133 | 21.5667 | 3.1867 | 21.8933 | 3.6 | 893 | 49.9933 | 4.632
2019-01-20 03:45:00 | 2.1533 | 273.3733 | 2.48 | 300.4 | 4.2633 | 10.56 | 4.08 | 26.3533 | 3.6367 | 893 | 51.69 | 6.3727
2019-01-20 04:00:00 | 2.3667 | 281.0667 | 2.7333 | 308.8667 | 4.6633 | 16.7533 | 4.5933 | 31.2533 | 3.75 | 893 | 52.5167 | 8.4747
2019-01-20 04:15:00 | 2.2467 | 108.31 | 2.5833 | 119.0133 | 4.3933 | 15.9733 | 4.51 | 31.86 | 3.8133 | 893 | 53.67 | 6.9687
2019-01-20 04:30:00 | 2.0333 | 288.2967 | 2.3367 | 316.8 | 3.9467 | 14.58 | 4.0167 | 26.8267 | 3.836 | 893 | 55.0633 | 6.5993
2019-01-20 04:45:00 | 2.35 | 2.2 | 2.7033 | 2.42 | 4.24 | 6.4367 | 4.24 | 23.7733 | 3.76 | 893 | 56.31 | 12.378
2019-01-20 05:00:00 | 2.89 | 216.0067 | 3.3233 | 237.36 | 5.5133 | 16.5233 | 5.4267 | 21.8733 | 3.7267 | 893 | 57.51 | 19.3467
2019-01-20 05:15:00 | 3 | 53.44 | 3.45 | 58.7133 | 5.9167 | 12 | 5.8767 | 25.9067 | 3.4333 | 893 | 59.9933 | 23.4413
2019-01-20 05:30:00 | 2.9933 | 263.9333 | 3.4433 | 290.0333 | 5.59 | 10.8333 | 5.6167 | 16.6867 | 3.3 | 893 | 61.7 | 28.7127
2019-01-20 05:45:00 | 4.12 | 211.1567 | 4.7333 | 232.0333 | 6.4933 | 6.1833 | 6.52 | 15.3833 | 3.26 | 892.3333 | 62.3967 | 36.3293
2019-01-20 06:00:00 | 4.6467 | 116.5833 | 5.3467 | 128.1 | 8.1867 | 11.7967 | 8.24 | 19.63 | 3.2667 | 893 | 63.5367 | 39.4427
2019-01-20 06:15:00 | 4.44 | 15.4967 | 5.1167 | 17.0233 | 7.6533 | 15.7767 | 7.83 | 21.74 | 3.09 | 893 | 65.1167 | 42.292
2019-01-20 06:30:00 | 4.4667 | 40.6567 | 5.15 | 44.67 | 8.1467 | 241.8567 | 8.43 | 17.62 | 2.9167 | 893 | 66.8167 | 42.4673
2019-01-20 06:45:00 | 4.8833 | 210.5267 | 5.6267 | 231.3367 | 7.97 | 9.7333 | 8.0933 | 18.82 | 3.0233 | 893 | 67.27 | 43.3333
2019-01-20 07:00:00 | 5.0033 | 215.9267 | 5.7533 | 237.27 | 8.2633 | 9.16 | 8.4933 | 20.2333 | 3.1167 | 893 | 67.362 | 45.7733
2019-01-20 07:15:00 | 5.0367 | 316.77 | 5.79 | 348.1 | 8.7033 | 14.29 | 8.9893 | 9.8533 | 3.0667 | 893.0667 | 67.8167 | 46.3707
2019-01-20 07:30:00 | 4.8767 | 117.9167 | 5.6167 | 129.58 | 8.4967 | 8.89 | 9.0267 | 13.9533 | 2.94 | 894 | 68.67 | 45.15
2019-01-20 07:45:00 | 5.0133 | 231.7867 | 5.7667 | 254.7033 | 8.8 | 5.39 | 9.2967 | 8.2167 | 2.76 | 894 | 69.6767 | 47.654
2019-01-20 08:00:00 | 5.5267 | 42.6333 | 6.36 | 46.8433 | 9.7667 | 13.73 | 10.1833 | 24.17 | 2.7333 | 894 | 69.8633 | 49.1547
2019-01-20 08:15:00 | 5.38 | 128.4067 | 6.19 | 141.1 | 9.8893 | 7.67 | 10.3233 | 19.8 | 2.7433 | 894 | 69.8153 | 49.4033
2019-01-20 08:30:00 | 5.2133 | 299.6667 | 5.994 | 329.3 | 9.8867 | 15.41 | 10.25 | 21.0467 | 2.65 | 894 | 70.5967 | 48.34
2019-01-20 08:45:00 | 5.02 | 287.96 | 5.7733 | 316.4333 | 9.54 | 14.7567 | 9.7967 | 26.8433 | 2.7167 | 894.0667 | 70.3933 | 47.232
2019-01-20 09:00:00 | 5.1533 | 317.9933 | 5.9333 | 349.4333 | 9.88 | 20.4833 | 10.3367 | 26.3833 | 3.03 | 895 | 68.0667 | 49.118
2019-01-20 09:15:00 | 5.7667 | 194.8133 | 6.64 | 214.0667 | 10.81 | 10.55 | 11.1567 | 25.5733 | 3.61 | 895 | 62.6133 | 52.902
2019-01-20 09:30:00 | 5.82 | 178.6733 | 6.7067 | 196.3333 | 11.05 | 21.53 | 11.6567 | 23.1067 | 3.95 | 895.4 | 60.7467 | 56.1053
2019-01-20 09:45:00 | 6.82 | 100.9567 | 7.8467 | 110.9333 | 12.26 | 26.54 | 12.82 | 30.4733 | 4.2267 | 896 | 59.2633 | 56.3753
2019-01-20 10:00:00 | 7.2533 | 315.5633 | 8.3533 | 346.7667 | 13.3333 | 27.72 | 13.78 | 25.3133 | 4.9067 | 896 | 54.4967 | 57.1467
2019-01-20 10:15:00 | 7.67 | 50.0967 | 8.8233 | 55.0467 | 13.8633 | 10.7933 | 13.904 | 20.9367 | 5.65 | 896.0667 | 48.38 | 56.36
2019-01-20 10:30:00 | 7.8033 | 35.15 | 8.9833 | 38.62 | 13.7233 | 13.92 | 13.5733 | 25.43 | 5.6167 | 897 | 46.18 | 57.162
2019-01-20 10:45:00 | 7.2467 | 257.96 | 8.34 | 283.4667 | 13.0333 | 9.4767 | 12.95 | 24.7967 | 6.3167 | 897 | 43.3267 | 56.6687
2019-01-20 11:00:00 | 7.2467 | 101.7 | 8.34 | 111.7533 | 12.84 | 22.0567 | 12.69 | 25.41 | 6.274 | 897 | 41.7267 | 55.088
2019-01-20 11:15:00 | 6.8533 | 192.75 | 7.88 | 211.8133 | 12.1267 | 14.2233 | 12.3767 | 27.97 | 7.0533 | 897 | 39.1733 | 54.9093
2019-01-20 11:30:00 | 6.604 | 184.04 | 7.596 | 202.236 | 11.782 | 5.098 | 11.668 | 18.774 | 7.168 | 897.4 | 37.64 | 53.0327
2019-01-20 11:45:00 | 6.6827 | 126.7027 | 7.6887 | 139.23 | 11.7967 | 9.3453 | 11.5847 | 22.1413 | 7.5707 | 898 | 35.7973 | 51.404
2019-01-20 12:00:00 | 6.7107 | 176.038 | 7.7213 | 193.4467 | 11.748 | 10.4713 | 11.5787 | 29.736 | 7.7193 | 898 | 34.824 | 50.8573
2019-01-20 12:15:00 | 6.72 | 20.3767 | 7.73 | 22.3933 | 11.5633 | 7.52 | 11.3233 | 19.2367 | 7.9333 | 897.9333 | 34.73 | 48.34
2019-01-20 12:30:00 | 6.5867 | 217.01 | 7.5767 | 238.4733 | 11.3567 | 12.3 | 11.1433 | 21.9767 | 7.8733 | 897 | 34.3367 | 48.058
2019-01-20 12:45:00 | 6.928 | 285.5607 | 7.9713 | 313.7933 | 11.7567 | 21.9633 | 11.7373 | 25.656 | 7.458 | 897 | 35.2907 | 46.624
2019-01-20 13:00:00 | 6.36 | 108.8633 | 7.3167 | 119.6267 | 10.74 | 19.0433 | 10.6433 | 32.78 | 7.66 | 897 | 35.5767 | 44.008
2019-01-20 13:15:00 | 6.7533 | 240.3633 | 7.7667 | 264.1333 | 11.5533 | 21.1033 | 11.56 | 24.1767 | 7.93 | 897 | 35.71 | 46.3707
2019-01-20 13:30:00 | 6.6667 | 46.4167 | 7.6667 | 51.0067 | 11.3867 | 12.43 | 11.5133 | 19.0033 | 7.99 | 897 | 36.09 | 41.8347
2019-01-20 13:45:00 | 5.5067 | 18.3167 | 6.3367 | 20.1267 | 9.1967 | 42.7033 | 8.26 | 39.77 | 7.8933 | 897 | 37.48 | 45.214
2019-01-20 14:00:00 | 6.16 | 204.9833 | 7.0833 | 225.26 | 10.33 | 29.69 | 9.5467 | 33.67 | 7.8867 | 897 | 37.3 | 45.136
2019-01-20 14:15:00 | 6.2633 | 209.4033 | 7.2067 | 230.1 | 10.2667 | 25.3833 | 9.9733 | 25.7333 | 7.9267 | 896.9333 | 36.32 | 44.1033
2019-01-20 14:30:00 | 6.29 | 216.7967 | 7.2467 | 238.2333 | 10.5 | 32.51 | 10.2933 | 27.1067 | 7.76 | 896 | 35.38 | 45.644
2019-01-20 14:45:00 | 5.892 | 121.116 | 6.7867 | 133.0873 | 9.82 | 14.2727 | 9.8087 | 31.994 | 7.684 | 896 | 34.756 | 41.274
2019-01-20 15:00:00 | 5.9733 | 271.0267 | 6.87 | 297.8333 | 10.01 | 28.64 | 9.53 | 33.38 | 7.44 | 896 | 35.32 | 43.6047
2019-01-20 15:15:00 | 6.4133 | 27.23 | 7.3833 | 29.9167 | 10.6367 | 27.73 | 10.4467 | 35.9367 | 7.1767 | 896 | 35.9133 | 45.7073
2019-01-20 15:30:00 | 6.1867 | 38.8567 | 7.1167 | 42.69 | 10.43 | 13.4833 | 10.2867 | 24.53 | 7.01 | 896 | 36.4867 | 48.8667
2019-01-20 15:45:00 | 6.9933 | 134.2667 | 8.0567 | 147.54 | 11.7267 | 20.36 | 12.15 | 24.7867 | 6.6467 | 896 | 37.86 | 51.2067
2019-01-20 16:00:00 | 6.9667 | 105.0467 | 8.0167 | 115.4333 | 11.7933 | 15.38 | 12.0167 | 25.9533 | 6.36 | 896 | 38.9667 | 50.5027
2019-01-20 16:15:00 | 7.2967 | 137.2367 | 8.3933 | 150.8 | 12.3133 | 25.9 | 12.68 | 32.8667 | 6.2493 | 895.2667 | 39.7633 | 52.4587
2019-01-20 16:30:00 | 7.63 | 98.7367 | 8.7733 | 108.4867 | 12.9133 | 28.3333 | 13.62 | 30.7133 | 6.0467 | 895 | 40.71 | 52.9747
2019-01-20 16:45:00 | 7.908 | 120.1187 | 9.096 | 131.9953 | 13.8607 | 12.7893 | 13.7427 | 18.2053 | 5.8793 | 895 | 42.2893 | 54.8873
2019-01-20 17:00:00 | 8.02 | 146.4133 | 9.22 | 160.8867 | 14.1033 | 12.5167 | 14.1667 | 18.41 | 5.5933 | 895 | 43.67 | 56.8693
2019-01-20 17:15:00 | 8.02 | 311.22 | 9.22 | 342 | 14.5 | 17.34 | 14.68 | 19.94 | 5.33 | 895 | 45.04 | 57.136
2019-01-20 17:30:00 | 8.38 | 90.7667 | 9.6467 | 99.74 | 14.85 | 6.35 | 14.7533 | 17.81 | 5.07 | 895 | 46.0267 | 54.322
2019-01-20 17:45:00 | 7.52 | 59.1967 | 8.6533 | 65.0467 | 13.3233 | 11.6867 | 13.3533 | 24.8567 | 4.6833 | 895.0667 | 46.494 | 54.7653
2019-01-20 18:00:00 | 6.44 | 216.2233 | 7.4067 | 237.6067 | 11.3367 | 9.4333 | 11.58 | 24.2767 | 4.5167 | 896 | 47.4967 | 52.2513
2019-01-20 18:15:00 | 6.4333 | 207.9933 | 7.4 | 228.5633 | 11.1367 | 24.65 | 11.6567 | 31.7133 | 4.4 | 896 | 47.8013 | 51.6533
2019-01-20 18:30:00 | 6.3533 | 12.34 | 7.3133 | 13.5633 | 11.0367 | 12.6567 | 11.39 | 28.0467 | 4.2733 | 896 | 48.1733 | 49.084
2019-01-20 18:45:00 | 5.9233 | 60.0767 | 6.8233 | 66.01 | 10.2867 | 20.3667 | 11.1767 | 34.2887 | 4.13 | 896 | 48.386 | 48.67
2019-01-20 19:00:00 | 6.05 | 194.7633 | 6.9567 | 214.0167 | 10.6667 | 22.5733 | 11.21 | 27.91 | 4.03 | 896.4 | 48.542 | 49.3847
2019-01-20 19:15:00 | 6.26 | 211.4633 | 7.2067 | 232.3767 | 11.0367 | 12.5767 | 11.0633 | 22.5167 | 3.9467 | 897 | 48.37 | 51.138
2019-01-20 19:30:00 | 6.46 | 14.81 | 7.4267 | 16.2767 | 11.1567 | 241.8833 | 11.6633 | 13.4233 | 3.8733 | 897 | 48.3167 | 53.9087
2019-01-20 19:45:00 | 7.2067 | 40.3333 | 8.3 | 44.3167 | 12.72 | 19.48 | 12.94 | 18 | 3.8033 | 897 | 48.276 | 56.4793
2019-01-20 20:00:00 | 7.2933 | 34.68 | 8.3933 | 38.1033 | 12.6 | 15.78 | 13.28 | 28.7667 | 3.71 | 897 | 48.1333 | 57.0053
2019-01-20 20:15:00 | 7.5133 | 25.8733 | 8.6433 | 28.42 | 13.0767 | 16.4733 | 13.5 | 26.2367 | 3.6 | 897 | 48.0213 | 58.432
2019-01-20 20:30:00 | 8.32 | 24.3933 | 9.57 | 26.8 | 14.2833 | 17.0067 | 14.4 | 22.9033 | 3.5667 | 897 | 47.7667 | 57.988
2019-01-20 20:45:00 | 8.1407 | 117.0167 | 9.364 | 128.588 | 14.0973 | 11.9313 | 14.3927 | 29.1787 | 3.3953 | 897 | 48.7593 | 56.0267
2019-01-20 21:00:00 | 7.74 | 319.415 | 8.905 | 351 | 13.55 | 15.93 | 14.135 | 28.21 | 3.23 | 897 | 49.635 | 54.421
2019-01-20 21:15:00 | 7.8433 | 289.6 | 9.0267 | 318.2333 | 13.9 | 19.62 | 14.3133 | 22.06 | 3.0067 | 897.0667 | 50.7833 | 53.556
2019-01-20 21:30:00 | 7.47 | 131.3067 | 8.5867 | 144.2933 | 12.82 | 21.52 | 13.328 | 38.7667 | 3.0067 | 898 | 50.658 | 52.61
2019-01-20 21:45:00 | 6.9167 | 121.86 | 7.9533 | 133.9133 | 12.14 | 30.3067 | 12.4567 | 28.7367 | 2.9567 | 898 | 51.0533 | 48.69
2019-01-20 22:00:00 | 6.7367 | 296.9667 | 7.7533 | 326.3333 | 11.7533 | 18.6133 | 12.0033 | 19.8633 | 2.85 | 898 | 51.56 | 44.8773
2019-01-20 22:15:00 | 6.0333 | 305.1233 | 6.94 | 335.3 | 11 | 13.23 | 11.3033 | 19.7233 | 2.5067 | 898 | 53.3933 | 46.0207
2019-01-20 22:30:00 | 6.1 | 217.2233 | 7.0267 | 238.7 | 10.7933 | 16.13 | 11.29 | 23.1433 | 2.4667 | 898 | 53.58 | 43.0027
2019-01-20 22:45:00 | 6.2093 | 283.9467 | 7.1467 | 312.0267 | 10.9507 | 14.912 | 11.484 | 27.9607 | 2.5433 | 898 | 53.0587 | 43.166
2019-01-20 23:00:00 | 5.66 | 104.54 | 6.5133 | 114.88 | 9.9533 | 20.5933 | 10.3933 | 34.61 | 2.45 | 898 | 52.984 | 44.196
2019-01-20 23:15:00 | 5.48 | 122.6033 | 6.3033 | 134.72 | 9.7167 | 15.6367 | 10.3087 | 27.5067 | 2.31 | 898 | 53.0233 | 42.9913
2019-01-20 23:30:00 | 6.1933 | 109.1233 | 7.1233 | 119.9133 | 10.8433 | 24.1633 | 11.43 | 32.16 | 2.31 | 898 | 52.6033 | 46.9627
2019-01-20 23:45:00 | 6.3747 | 92.1233 | 7.33 | 101.2273 | 11.322 | 25.5373 | 11.6493 | 31.9013 | 2.0593 | 898 | 53.1787 | 42.462