## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-21 00:00:00 | 6.3429 | 133.5429 | 7.2929 | 146.7443 | 11.1707 | 12.2464 | 11.3743 | 33.2157 | 1.8686 | 898 | 53.349 | 40.9986
2019-01-21 00:15:00 | 6.0167 | 96.19 | 6.9167 | 105.7067 | 10.67 | 21.21 | 11.03 | 26.0967 | 1.7867 | 897.3333 | 53.43 | 38.338
2019-01-21 00:30:00 | 5.6567 | 116.0567 | 6.5033 | 127.5333 | 10.2567 | 17.71 | 10.8167 | 27.6367 | 1.5933 | 898 | 54.1767 | 36.7867
2019-01-21 00:45:00 | 5.24 | 137.0667 | 6.0267 | 150.6167 | 9.43 | 16.7067 | 9.7667 | 28.5067 | 1.3733 | 897.2667 | 54.7667 | 34.13
2019-01-21 01:00:00 | 4.5 | 204.22 | 5.1733 | 224.4167 | 8.1833 | 28.1867 | 8.6067 | 31.6067 | 1.2867 | 897 | 54.64 | 33.354
2019-01-21 01:15:00 | 5.0267 | 205.6967 | 5.78 | 226.03 | 9.3567 | 18.8867 | 9.7767 | 30.38 | 0.9 | 897 | 56.3867 | 29.4933
2019-01-21 01:30:00 | 4.1733 | 199.33 | 4.8 | 219.03 | 7.9233 | 11.2467 | 8.57 | 24.3933 | 0.78667 | 897 | 56.772 | 32.402
2019-01-21 01:45:00 | 4.2667 | 62.9733 | 4.9133 | 69.1933 | 8.1833 | 25.5367 | 8.2567 | 29.8367 | 0.63667 | 897 | 57.0667 | 40.6047
2019-01-21 02:00:00 | 4.6067 | 7.9133 | 5.3133 | 8.6933 | 8.71 | 21.6767 | 8.6367 | 28.2967 | 0.39 | 897 | 58.3067 | 46.7753
2019-01-21 02:15:00 | 5.3333 | 267.55 | 6.13 | 294 | 9.9267 | 17.6933 | 9.9067 | 25.31 | 0.28333 | 897 | 58.934 | 48.05
2019-01-21 02:30:00 | 5.3467 | 264.63 | 6.15 | 290.8 | 9.92 | 20.9533 | 10.4133 | 30.19 | 0.19667 | 897 | 59.182 | 41.2947
2019-01-21 02:45:00 | 4.67 | 309.98 | 5.38 | 340.6333 | 8.72 | 20.9233 | 9.96 | 36.5 | 0.15333 | 896.2667 | 58.8633 | 36.9627
2019-01-21 03:00:00 | 4.2967 | 305.9733 | 4.94 | 336.2333 | 8.02 | 38.3233 | 8.9133 | 37.9133 | 0.08 | 896 | 58.83 | 39.7633
2019-01-21 03:15:00 | 4.8 | 139.2267 | 5.52 | 152.9933 | 8.79 | 10.0333 | 9.11 | 19.5767 | -0.06 | 896 | 59.2967 | 44.7327
2019-01-21 03:30:00 | 5.3933 | 20.24 | 6.2 | 22.2333 | 8.9767 | 13.2933 | 8.9967 | 16.0567 | 0 | 896 | 59.27 | 47.7713
2019-01-21 03:45:00 | 5.3207 | 192.0333 | 6.13 | 211.0133 | 9.1667 | 13.38 | 9.2907 | 16.34 | 0.053333 | 896 | 58.5667 | 50.182
2019-01-21 04:00:00 | 5.47 | 28.4733 | 6.29 | 31.2867 | 9.9667 | 26.5 | 10.7333 | 26.7333 | -0.06 | 896 | 58.4467 | 51.3713
2019-01-21 04:15:00 | 5.48 | 216.1333 | 6.31 | 237.5 | 10.3067 | 15.4733 | 10.8633 | 25.27 | -0.14333 | 895.9333 | 58.2167 | 51.7993
2019-01-21 04:30:00 | 5.7 | 142.8267 | 6.5567 | 156.9467 | 10.46 | 18.62 | 10.65 | 21.6033 | -0.11667 | 895 | 57.7633 | 50.918
2019-01-21 04:45:00 | 5.9267 | 256.4733 | 6.8167 | 281.8333 | 10.7767 | 13.7267 | 10.58 | 24.81 | -0.11667 | 895 | 58.0587 | 49.988
2019-01-21 05:00:00 | 5.63 | 244.3 | 6.475 | 268.45 | 10.515 | 11.825 | 10.455 | 21.265 | -0.355 | 895 | 59.645 | 48.18
2019-01-21 05:15:00 | 6.0433 | 192.6067 | 6.95 | 211.6467 | 11.2893 | 5.8733 | 10.9733 | 21.6467 | -0.56 | 895 | 60.95 | 49.8927
2019-01-21 05:30:00 | 6.1433 | 208.9267 | 7.0633 | 229.58 | 11.4333 | 13.1867 | 11.076 | 16.6133 | -0.58667 | 894.6 | 60.8833 | 50.8753
2019-01-21 05:45:00 | 6.1533 | 177.7567 | 7.0833 | 195.3333 | 11.1833 | 15.5033 | 10.81 | 19.8 | -0.7 | 894 | 61.07 | 49.5687
2019-01-21 06:00:00 | 6.2733 | 133.2167 | 7.2233 | 146.3933 | 10.938 | 14.13 | 10.4033 | 23.6733 | -0.84667 | 894 | 62.0967 | 50.4213
2019-01-21 06:15:00 | 6.14 | 20.18 | 7.0633 | 22.1667 | 11.1367 | 11.9867 | 10.8367 | 22.05 | -0.85333 | 894 | 61.8467 | 51.82
2019-01-21 06:30:00 | 6.1667 | 9.9467 | 7.09 | 10.9267 | 10.7967 | 8.66 | 10.3567 | 15.4833 | -0.84667 | 894 | 61.7067 | 52.6767
2019-01-21 06:45:00 | 5.8133 | 14.9767 | 6.6933 | 16.4567 | 9.6967 | 14.19 | 9.5433 | 8.0833 | -0.88 | 894.0667 | 61.9013 | 52.2947
2019-01-21 07:00:00 | 5.76 | 187.39 | 6.6333 | 205.9167 | 9.47 | 16.2833 | 9.4767 | 14.0367 | -0.94667 | 895 | 61.9 | 51.3227
2019-01-21 07:15:00 | 5.6167 | 124.8667 | 6.4633 | 137.2067 | 9.3193 | 232.99 | 9.1333 | 17.7367 | -1.07 | 895 | 62.2633 | 50.182
2019-01-21 07:30:00 | 5.7233 | 110.8933 | 6.59 | 121.86 | 8.9367 | 11.1967 | 8.72 | 14.9633 | -1.0967 | 895 | 62.3367 | 48.0567
2019-01-21 07:45:00 | 5.3 | 208.97 | 6.1 | 229.6367 | 8.75 | 13.74 | 8.8467 | 20.8633 | -1.2033 | 895 | 62.7673 | 46.954
2019-01-21 08:00:00 | 5.1667 | 202.7233 | 5.94 | 222.77 | 8.67 | 6.86 | 8.88 | 12.9433 | -1.3167 | 895 | 63.09 | 46.6867
2019-01-21 08:15:00 | 5.2133 | 185.5867 | 5.9933 | 203.94 | 8.32 | 122.6933 | 8.57 | 13.96 | -1.2833 | 895 | 62.34 | 44.798
2019-01-21 08:30:00 | 5.08 | 8.1533 | 5.84 | 8.96 | 7.8867 | 129.2667 | 8.1367 | 17.7533 | -1.17 | 895 | 61.5933 | 45.544
2019-01-21 08:45:00 | 5.64 | 265.42 | 6.4933 | 291.6667 | 8.7267 | 20.21 | 8.5333 | 16.0733 | -0.85333 | 895 | 60.05 | 47.846
2019-01-21 09:00:00 | 5.92 | 267.48 | 6.8133 | 293.9333 | 9.3133 | 18.33 | 9.2133 | 17.3867 | -0.50667 | 895.4 | 58.51 | 48.0327
2019-01-21 09:15:00 | 5.72 | 90.5033 | 6.5833 | 99.4533 | 9.37 | 4.7867 | 9.3827 | 16.7133 | 0.17333 | 896.0667 | 57.22 | 45.79
2019-01-21 09:30:00 | 5.722 | 269.722 | 6.576 | 296.4 | 9.118 | 3.702 | 9.242 | 18.878 | 0.494 | 897 | 55.852 | 44.8947
2019-01-21 09:45:00 | 5.4613 | 96.18 | 6.286 | 105.6867 | 8.8 | 3.5753 | 8.7413 | 6.7773 | 1.172 | 897.0667 | 53.5373 | 38.3027
2019-01-21 10:00:00 | 4.7467 | 304.5433 | 5.4633 | 334.6667 | 7.8767 | 239.24 | 7.83 | 19.3833 | 1.9267 | 898 | 51 | 35.868
2019-01-21 10:15:00 | 4.7933 | 2.75 | 5.5233 | 3.0133 | 7.8367 | 116.2 | 7.6767 | 10.1033 | 1.9333 | 898 | 50.76 | 35.2713
2019-01-21 10:30:00 | 5.18 | 217.77 | 5.9633 | 239.3067 | 8.5433 | 126.4467 | 8.3833 | 16.2167 | 2.6733 | 898 | 48.4733 | 32.7787
2019-01-21 10:45:00 | 5.24 | 13.62 | 6.03 | 14.96 | 8.74 | 10.72 | 8.58 | 17.85 | 3.73 | 898 | 45.32 | 26.6627
2019-01-21 11:00:00 | 5.0533 | 209.8867 | 5.8073 | 230.64 | 8.2387 | 17.152 | 8.104 | 10.8567 | 3.6807 | 898.4 | 45.1747 | 20.24
2019-01-21 11:15:00 | 4.84 | 296.9667 | 5.5767 | 326.3333 | 8.03 | 17.5833 | 7.95 | 19.1467 | 3.9033 | 899 | 44.0067 | 16.3407
2019-01-21 11:30:00 | 4.8267 | 295.3267 | 5.5633 | 324.5333 | 7.89 | 25.3633 | 7.806 | 18.5933 | 3.6633 | 898.6 | 44.1867 | 15.3387
2019-01-21 11:45:00 | 4.55 | 18.0067 | 5.2333 | 19.78 | 7.53 | 9.9833 | 7.4 | 17.1833 | 4.12 | 898 | 42.82 | 11.252
2019-01-21 12:00:00 | 4.6033 | 214.82 | 5.3 | 236.06 | 6.8567 | 25.97 | 6.7067 | 15.8233 | 4.22 | 898 | 41.92 | 10.326
2019-01-21 12:15:00 | 4.1267 | 217.2367 | 4.7467 | 238.7167 | 6.1867 | 21.8867 | 5.6933 | 34.7633 | 4.6333 | 898 | 41.1633 | 7.908
2019-01-21 12:30:00 | 4.1 | 14.7433 | 4.72 | 16.1967 | 5.8933 | 15.76 | 5.6533 | 24.1567 | 4.5333 | 898 | 40.5567 | 6.666
2019-01-21 12:45:00 | 4.0533 | 319.77 | 4.6667 | 351.4 | 5.6067 | 20.2167 | 5.4933 | 15.76 | 4.83 | 897.2667 | 39.3133 | 7.3693
2019-01-21 13:00:00 | 4.3667 | 127.95 | 5.0267 | 140.6067 | 6.64 | 16.57 | 6.5467 | 22.18 | 5.65 | 897 | 37.4867 | 11.4827
2019-01-21 13:15:00 | 4.28 | 35.05 | 4.9333 | 38.51 | 6.7867 | 21.9833 | 6.6233 | 25.3133 | 6.2133 | 897 | 36.4733 | 9.7147
2019-01-21 13:30:00 | 3.48 | 27.41 | 4 | 30.11 | 5.5533 | 30.0833 | 5.2233 | 27.16 | 7.04 | 897 | 34.7133 | 5.308
2019-01-21 13:45:00 | 3.412 | 108.974 | 3.926 | 119.752 | 5.468 | 27.032 | 4.394 | 30.318 | 7.506 | 897 | 33.726 | 3.338
2019-01-21 14:00:00 | 3.6533 | 100.37 | 4.2033 | 110.3 | 5.7867 | 27.8267 | 5.2433 | 34.7233 | 7.9633 | 897 | 32.95 | 2.7933
2019-01-21 14:15:00 | 3.9667 | 25.9133 | 4.56 | 28.4667 | 6.03 | 23.08 | 5.7133 | 28.8633 | 8.3967 | 897 | 32.06 | 3.996
2019-01-21 14:30:00 | 4.2 | 41.444 | 4.836 | 45.534 | 6.916 | 18.86 | 6.666 | 27.428 | 8.952 | 897 | 30.77 | 7.1693
2019-01-21 14:45:00 | 4.1067 | 11.3767 | 4.7333 | 12.5033 | 6.75 | 14.36 | 6.3733 | 9.6433 | 9.4333 | 896.9333 | 29.52 | 6.0793
2019-01-21 15:00:00 | 3.56 | 12.8433 | 4.0933 | 14.1033 | 6.01 | 16.7133 | 5.7267 | 22.8967 | 9.9733 | 896 | 28.7667 | 5.1333
2019-01-21 15:15:00 | 3.24 | 0.05 | 3.73 | 0.05 | 5.48 | 31.88 | 5.2 | 28.94 | 9.94 | 896 | 28.27 | 2.426
2019-01-21 15:30:00 | 3.1467 | 15.82 | 3.62 | 17.3733 | 4.6133 | 1.07 | 4.5233 | 4.6 | 9.16 | 896 | 28.8367 | 2.9707
2019-01-21 15:45:00 | 3.782 | 102.264 | 4.346 | 112.372 | 5.164 | 331.74 | 4.792 | 266.278 | 8.572 | 896 | 29.24 | 4.622
2019-01-21 16:00:00 | 3.87 | 110.8133 | 4.45 | 121.7733 | 5.96 | 134.5133 | 5.9 | 233.4633 | 9.2133 | 896 | 27.5933 | 4.406
2019-01-21 16:15:00 | 3.4533 | 187.8167 | 3.9733 | 206.3833 | 6.0967 | 132.3533 | 6.0533 | 130.42 | 9.8633 | 896 | 26.2933 | 3.736
2019-01-21 16:30:00 | 3.4467 | 31.65 | 3.96 | 34.77 | 5.8567 | 348.4667 | 5.7067 | 351.5 | 9.9633 | 896 | 26.1 | 3.0907
2019-01-21 16:45:00 | 3.3333 | 299.7833 | 3.8467 | 329.4333 | 5.62 | 335.4667 | 5.4 | 119.06 | 10.0233 | 896 | 25.9133 | 0.86067
2019-01-21 17:00:00 | 2.8667 | 98.55 | 3.3 | 108.3 | 4.6333 | 120.6133 | 4.64 | 123.3733 | 9.7567 | 896 | 26.0133 | 0.18733
2019-01-21 17:15:00 | 2.35 | 33.72 | 2.7067 | 37.0567 | 3.8767 | 338.8 | 3.74 | 335.7 | 9.1367 | 896 | 27.202 | 0
2019-01-21 17:30:00 | 1.8567 | 20.0933 | 2.1467 | 22.0833 | 3.0233 | 330.0667 | 3.1533 | 329.8333 | 8.3767 | 896 | 27.7033 | 0
2019-01-21 17:45:00 | 1.1067 | 115.5233 | 1.2867 | 126.94 | 2.0233 | 326.5667 | 2.0233 | 227.6467 | 7.47 | 895.9333 | 28.99 | 0
2019-01-21 18:00:00 | 1.88 | 315.1767 | 2.1667 | 346.3333 | 2.9967 | 323.7 | 2.8367 | 234.0467 | 7.0767 | 895 | 29.7967 | 0.194
2019-01-21 18:15:00 | 2.0133 | 314.86 | 2.3167 | 346 | 3.8 | 342.5667 | 3.5533 | 352.3667 | 6.3 | 894.9333 | 32.0767 | 0.58533
2019-01-21 18:30:00 | 1.9 | 316.0133 | 2.1833 | 347.2667 | 3.7733 | 340.5 | 4.0467 | 350.2333 | 5.9067 | 894 | 32.63 | 0.094667
2019-01-21 18:45:00 | 1.14 | 235.12 | 1.3233 | 258.3633 | 2.2633 | 347.4 | 2.78 | 356.4067 | 5.96 | 894 | 32.41 | 0
2019-01-21 19:00:00 | 0.82 | 71.62 | 0.94333 | 78.694 | 1.6367 | 341.3333 | 2.2333 | 349.0333 | 5.844 | 894 | 32.474 | 0
2019-01-21 19:15:00 | 0.43 | 71.596 | 0.51 | 78.67 | 0.85 | 347.9 | 1.46 | 350.5 | 5.92 | 894 | 32.2 | 0
2019-01-21 19:30:00 | 0.81333 | 24.82 | 0.94 | 27.2733 | 1.6133 | 354 | 1.6133 | 348.3667 | 5.52 | 894 | 33.0333 | 0
2019-01-21 19:45:00 | 0.44333 | 55.5467 | 0.51333 | 61.04 | 0.86667 | 311.0733 | 0.67667 | 82.0267 | 5.4567 | 894 | 33.0973 | 0
2019-01-21 20:00:00 | 0.52333 | 166.3467 | 0.6 | 182.8 | 0.90667 | 221.9667 | 0.39 | 234.2667 | 6.15 | 894 | 31.86 | 0
2019-01-21 20:15:00 | 1.28 | 188.8067 | 1.47 | 207.4667 | 1.7333 | 219.3667 | 1.4433 | 217.9333 | 6.6193 | 894.7333 | 30.7333 | 0
2019-01-21 20:30:00 | 1.71 | 174.59 | 1.965 | 191.85 | 2.4 | 226.85 | 2.12 | 231.35 | 6.49 | 895 | 31.32 | 0.593
2019-01-21 20:45:00 | 2.0533 | 176.1167 | 2.3667 | 193.5333 | 3.22 | 215 | 3.3833 | 224.3667 | 6.21 | 895 | 33.04 | 1.6213
2019-01-21 21:00:00 | 1.784 | 187.11 | 2.058 | 205.6 | 2.632 | 210.22 | 2.89 | 213.78 | 5.914 | 895 | 34.056 | 1.5433
2019-01-21 21:15:00 | 1.94 | 181.9433 | 2.2433 | 199.9333 | 2.6133 | 195.2 | 2.97 | 222.4 | 5.3867 | 895 | 35.2933 | 1.2907
2019-01-21 21:30:00 | 2.3533 | 167.15 | 2.7167 | 183.6667 | 3 | 182.0667 | 2.9433 | 237.5333 | 4.98 | 895 | 36.6133 | 1.2567
2019-01-21 21:45:00 | 1.82 | 160.7133 | 2.0967 | 176.6 | 2.4967 | 206.9667 | 2.9167 | 229.2667 | 4.7433 | 895 | 37.9 | 0
2019-01-21 22:00:00 | 2.1933 | 148.5133 | 2.53 | 163.2 | 2.8633 | 170.6333 | 2.4967 | 200.1333 | 4.4767 | 895 | 39.7333 | 0
2019-01-21 22:15:00 | 2.84 | 158.2533 | 3.2633 | 173.9 | 3.6 | 178.1333 | 3.2933 | 176.3 | 4.43 | 895 | 41.2033 | 0.20467
2019-01-21 22:30:00 | 3.0867 | 150.9067 | 3.55 | 165.8333 | 3.9333 | 165.3333 | 3.8067 | 162.3667 | 4.33 | 895 | 41.85 | 0.192
2019-01-21 22:45:00 | 2.7067 | 166.0733 | 3.1133 | 182.5 | 3.6933 | 178.2 | 3.7033 | 176.6 | 4.2067 | 895 | 42.7333 | 0.46533
2019-01-21 23:00:00 | 2.4733 | 156.86 | 2.8467 | 172.3667 | 3.4867 | 178 | 3.4833 | 175.7333 | 4.0667 | 895 | 43.5133 | 0.742
2019-01-21 23:15:00 | 2.56 | 149.6 | 2.9467 | 164.4 | 3.5567 | 179.9 | 3.48 | 183.5333 | 3.8233 | 895 | 44.8033 | 0.50533
2019-01-21 23:30:00 | 2.7733 | 161.38 | 3.1933 | 177.3333 | 3.7433 | 182.3667 | 3.7933 | 190.1333 | 3.7233 | 895 | 45.5367 | 0.80067
2019-01-21 23:45:00 | 2.6867 | 162.62 | 3.0933 | 178.7 | 3.6 | 177.3667 | 3.9767 | 183.2667 | 3.5933 | 895 | 46.3733 | 1.5727