## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-22 00:00:00 | 2.59 | 161.35 | 2.985 | 177.3 | 3.48 | 185.4 | 3.62 | 198.4 | 3.605 | 895 | 46.635 | 1.33
2019-01-22 00:15:00 | 1.76 | 178.82 | 2.04 | 196.5 | 2.62 | 191.5 | 3.18 | 202.7 | 3.71 | 895 | 47.04 | 2.742
2019-01-22 00:30:00 | 2.515 | 173.915 | 2.895 | 191.1 | 3.32 | 199.2 | 3.619 | 196.15 | 3.86 | 894.9 | 48.35 | 1.651
2019-01-22 00:45:00 | 2.4487 | 157.5047 | 2.8167 | 173.0667 | 3.1533 | 186.44 | 3.5387 | 185.6267 | 3.762 | 894 | 47.8827 | 1.1413
2019-01-22 01:00:00 | 2.4567 | 170.12 | 2.8233 | 186.9333 | 3.3667 | 182.5333 | 3.7667 | 177.7667 | 3.64 | 894 | 46.7533 | 2.2653
2019-01-22 01:15:00 | 2.7133 | 164.0833 | 3.1233 | 180.3 | 3.6267 | 189.3 | 4.2067 | 186.6 | 3.4067 | 894 | 46.39 | 2.4853
2019-01-22 01:30:00 | 2.8333 | 162.19 | 3.2633 | 178.2333 | 3.6267 | 194.7667 | 4.1667 | 183.6667 | 3.3933 | 894 | 46.99 | 3.3387
2019-01-22 01:45:00 | 2.72 | 159.1987 | 3.14 | 174.9467 | 3.4267 | 181.7333 | 3.84 | 190.5667 | 3.43 | 894 | 46.66 | 2.574
2019-01-22 02:00:00 | 2.3467 | 160.6467 | 2.7 | 176.5333 | 3.04 | 182.8 | 3.5667 | 183.3 | 3.3233 | 894 | 47.5467 | 3.3907
2019-01-22 02:15:00 | 3.0267 | 146.8833 | 3.49 | 161.4 | 3.86 | 179.1667 | 4.3567 | 178.5667 | 3.11 | 894 | 48.24 | 5.0813
2019-01-22 02:30:00 | 3.2133 | 146.75 | 3.7033 | 161.2667 | 3.9933 | 184.5 | 4.4167 | 180.9667 | 3.0367 | 894 | 48.72 | 4.1153
2019-01-22 02:45:00 | 2.74 | 153.2733 | 3.1633 | 168.4333 | 3.58 | 170.0333 | 4.2467 | 165.1667 | 2.66 | 894 | 50.0033 | 4.4847
2019-01-22 03:00:00 | 2.9 | 158.98 | 3.35 | 174.7 | 3.6467 | 181.4333 | 4.5533 | 170.1 | 2.68 | 894 | 50.55 | 4.13
2019-01-22 03:15:00 | 2.98 | 183.3167 | 3.4267 | 201.4333 | 3.89 | 171.0667 | 4.76 | 169.5 | 2.5267 | 894 | 52.2133 | 4.902
2019-01-22 03:30:00 | 2.78 | 170.374 | 3.2 | 187.22 | 3.5633 | 175 | 4.5733 | 172.5 | 2.2467 | 893.6 | 53.66 | 5.19
2019-01-22 03:45:00 | 2.54 | 168.0233 | 2.92 | 184.6333 | 3.3733 | 174.7 | 4.72 | 174.3667 | 2.0133 | 893 | 54.4747 | 4.734
2019-01-22 04:00:00 | 2.34 | 174.6967 | 2.6933 | 191.9667 | 3.4133 | 179.6333 | 4.8133 | 168.7 | 1.58 | 893 | 56.3733 | 4.09
2019-01-22 04:15:00 | 2.2467 | 165.1367 | 2.5867 | 181.4667 | 3.2433 | 176.0333 | 4.8667 | 171.2333 | 1.7333 | 893 | 56.54 | 5.4093
2019-01-22 04:30:00 | 2.23 | 178.01 | 2.57 | 195.6 | 3.315 | 178.65 | 4.79 | 173.7 | 1.7 | 893 | 56.915 | 5.489
2019-01-22 04:45:00 | 2.06 | 184.18 | 2.37 | 202.4 | 3.17 | 162.7 | 5.06 | 166.7 | 1.62 | 892.4 | 57.73 | 4.512
2019-01-22 05:00:00 | 2.3133 | 140.3533 | 2.66 | 154.2333 | 3.3533 | 171.9 | 4.6033 | 173.1 | 1.79 | 892 | 57.6067 | 4.26
2019-01-22 05:15:00 | 1.9067 | 172.8667 | 2.1933 | 189.9667 | 2.8633 | 174.9333 | 4.3633 | 176.3333 | 1.4567 | 892 | 59.0433 | 5
2019-01-22 05:30:00 | 1.9333 | 173.78 | 2.2333 | 190.9667 | 2.9167 | 183 | 4.5367 | 170.4667 | 1.0767 | 892 | 60.09 | 4.7613
2019-01-22 05:45:00 | 1.8867 | 169.57 | 2.1667 | 186.3333 | 3.0267 | 180 | 4.34 | 187.2333 | 1.11 | 892 | 61.4 | 4.9327
2019-01-22 06:00:00 | 2.1133 | 165.3233 | 2.4267 | 181.6667 | 3.3133 | 182.8667 | 4.5933 | 176.3667 | 1.07 | 892 | 61.8333 | 5.7233
2019-01-22 06:15:00 | 1.58 | 182.64 | 1.8167 | 200.7 | 2.52 | 179.7 | 4.01 | 171.7667 | 0.38667 | 892 | 63.4967 | 5.2153
2019-01-22 06:30:00 | 1.58 | 177 | 1.83 | 194.5 | 2.62 | 188.6333 | 4.4633 | 179.0333 | -0.1 | 892 | 64.9767 | 4.9753
2019-01-22 06:45:00 | 1.6867 | 170.1433 | 1.94 | 186.9667 | 2.7567 | 183.1 | 4.9133 | 187.2333 | -0.47667 | 891.9333 | 66.6167 | 4.8633
2019-01-22 07:00:00 | 2.0267 | 192.5833 | 2.34 | 211.6333 | 3.3033 | 189.6333 | 4.7933 | 183.9 | -0.31667 | 891 | 66.49 | 5.4227
2019-01-22 07:15:00 | 2.2067 | 181.4233 | 2.54 | 199.3667 | 3.3267 | 194.7333 | 4.4267 | 183.7333 | -0.17 | 891.7333 | 65.7 | 4.7353
2019-01-22 07:30:00 | 2.48 | 186.5833 | 2.8533 | 205.0333 | 3.4467 | 189.5333 | 4.6733 | 194.5333 | -0.43667 | 892 | 66.6 | 4.286
2019-01-22 07:45:00 | 2.786 | 191.904 | 3.2093 | 210.8867 | 3.8987 | 188.2667 | 4.736 | 192.8133 | -0.224 | 892 | 66.696 | 3.96
2019-01-22 08:00:00 | 2.5133 | 177.4867 | 2.8933 | 195.0333 | 3.57 | 193.4333 | 4.4067 | 193.3667 | 0.16667 | 892 | 66.1267 | 4.3433
2019-01-22 08:15:00 | 1.6433 | 167.0533 | 1.9 | 183.5667 | 2.51 | 190.8 | 3.34 | 195.8667 | -0.11333 | 892 | 66.8867 | 3.8247
2019-01-22 08:30:00 | 1.7 | 182.185 | 1.965 | 200.2 | 2.68 | 191.7 | 3.385 | 199.6 | -0.495 | 892 | 67.86 | 3.742
2019-01-22 08:45:00 | 1.8567 | 177.25 | 2.1333 | 194.7667 | 2.8633 | 187.8333 | 3.9133 | 188.3333 | -0.17667 | 892.0667 | 66.8633 | 3.024
2019-01-22 09:00:00 | 1.7833 | 173.7833 | 2.0533 | 190.9667 | 2.57 | 191.1667 | 3.5 | 205 | 0.23667 | 893 | 65.71 | 3.8193
2019-01-22 09:15:00 | 1.52 | 150.8467 | 1.7467 | 165.7667 | 1.7933 | 189.4 | 2.61 | 204.0667 | 0.66333 | 893 | 63.7067 | 3.3047
2019-01-22 09:30:00 | 1.5267 | 145.3867 | 1.7667 | 159.7667 | 1.74 | 198.4667 | 2.17 | 209 | 1.0967 | 893.4 | 62.08 | 3.174
2019-01-22 09:45:00 | 2.49 | 157.61 | 2.8667 | 173.2 | 2.5933 | 194.6333 | 2.2967 | 219.2 | 1.5033 | 894 | 60.8 | 2.9887
2019-01-22 10:00:00 | 2.5167 | 145.7833 | 2.9 | 160.2 | 2.62 | 190.8333 | 2.23 | 206.9333 | 1.7167 | 894 | 60.256 | 2.6873
2019-01-22 10:15:00 | 1.9733 | 143.11 | 2.2667 | 157.2667 | 2.1833 | 193.8 | 2.2467 | 242.7333 | 2 | 894 | 60.1533 | 3.5713
2019-01-22 10:30:00 | 2.2467 | 153.61 | 2.5867 | 168.8 | 2.3833 | 211.4 | 2.7333 | 224.6 | 2.4667 | 894.4 | 59.644 | 3.794
2019-01-22 10:45:00 | 2.4967 | 139.5667 | 2.88 | 153.3667 | 2.7433 | 188.1667 | 3.0933 | 222.6333 | 2.5867 | 895 | 60.0033 | 4.838
2019-01-22 11:00:00 | 2.6167 | 145.1467 | 3.02 | 159.5 | 2.75 | 197.8333 | 3.04 | 226.1 | 2.9733 | 895 | 58.5367 | 5.4553
2019-01-22 11:15:00 | 2.57 | 149.0067 | 2.96 | 163.7333 | 2.6067 | 190.5 | 2.65 | 195.9667 | 3.26 | 895 | 57.5667 | 6.7473
2019-01-22 11:30:00 | 2.63 | 152.82 | 3.0333 | 167.9333 | 2.7867 | 174.5667 | 2.83 | 208.1 | 2.9533 | 894.8 | 58.7333 | 6.848
2019-01-22 11:45:00 | 2.8533 | 121.7033 | 3.2933 | 133.7333 | 3.0433 | 189.2667 | 3.3433 | 192.7 | 3.48 | 894 | 56.8733 | 7.508
2019-01-22 12:00:00 | 2.9667 | 145.2967 | 3.4133 | 159.6667 | 3.2767 | 165.2667 | 3.6033 | 207.1 | 3.8067 | 894 | 55.9067 | 9.056
2019-01-22 12:15:00 | 3.7187 | 160.4867 | 4.2807 | 176.3533 | 4.1913 | 178.82 | 4.452 | 192.98 | 4.482 | 894 | 53.9433 | 9.5387
2019-01-22 12:30:00 | 4.45 | 163.68 | 5.12 | 179.8667 | 4.9733 | 182.6667 | 5.2467 | 181.8667 | 4.6033 | 894 | 53.632 | 10.2827
2019-01-22 12:45:00 | 4.28 | 147.9367 | 4.93 | 162.5667 | 4.7933 | 187.2667 | 5.0767 | 174.2 | 5.3133 | 894 | 51.9433 | 10.4613
2019-01-22 13:00:00 | 4.52 | 154.73 | 5.2033 | 170.0333 | 5.1 | 180.7333 | 5.2167 | 176.0667 | 5.7733 | 893.1333 | 50.7367 | 11.0587
2019-01-22 13:15:00 | 4.7667 | 130.2033 | 5.49 | 143.0667 | 5.56 | 182.4333 | 5.57 | 195 | 6.14 | 893 | 49.9933 | 11.6753
2019-01-22 13:30:00 | 4.9267 | 129.17 | 5.6633 | 141.9333 | 5.8 | 172.5667 | 5.53 | 198.58 | 6.48 | 893 | 49.08 | 12.504
2019-01-22 13:45:00 | 5.1867 | 137.8 | 5.9733 | 151.4333 | 5.9367 | 170.9 | 5.9833 | 179.3667 | 6.5433 | 893 | 48.72 | 13.5407
2019-01-22 14:00:00 | 4.8 | 126.1 | 5.5333 | 138.5667 | 5.81 | 161.1 | 5.99 | 186.8333 | 6.89 | 893 | 46.98 | 14.52
2019-01-22 14:15:00 | 4.9267 | 131.92 | 5.6667 | 144.9667 | 5.9667 | 165.1667 | 6.01 | 168.4 | 7.4767 | 892.4667 | 44.52 | 13.7847
2019-01-22 14:30:00 | 4.44 | 138.2333 | 5.1067 | 151.9 | 5.18 | 152.9667 | 5.8033 | 160.6 | 7.3567 | 892 | 43.8867 | 14.7653
2019-01-22 14:45:00 | 4.36 | 115.5733 | 5.01 | 127 | 5.2633 | 174.1667 | 5.3533 | 201.1667 | 7.88 | 892 | 42.66 | 13.2867
2019-01-22 15:00:00 | 3.86 | 151.7933 | 4.4367 | 166.8 | 4.7367 | 172.0333 | 5.0867 | 187.8333 | 8.2067 | 892 | 41.64 | 11.0407
2019-01-22 15:15:00 | 4.21 | 115.7267 | 4.8433 | 127.1667 | 4.8067 | 176.3333 | 4.9167 | 174.6 | 8.2667 | 892 | 41.5367 | 12.838
2019-01-22 15:30:00 | 4.01 | 135.3867 | 4.61 | 148.7667 | 4.7867 | 175.6 | 4.95 | 170.1733 | 8.5067 | 891.8 | 40.99 | 11.5187
2019-01-22 15:45:00 | 3.46 | 171.3 | 3.98 | 188.2333 | 4.29 | 222.4333 | 4.4033 | 215.2333 | 8.7333 | 891 | 40.42 | 9.914
2019-01-22 16:00:00 | 3.3667 | 129.2533 | 3.88 | 142.0333 | 4.0567 | 174.1 | 4.07 | 193.3 | 8.6067 | 891 | 40.646 | 11.6247
2019-01-22 16:15:00 | 3.296 | 178.934 | 3.8 | 196.62 | 4.292 | 222.42 | 4.39 | 221.52 | 8.782 | 891 | 40.512 | 12.178
2019-01-22 16:30:00 | 3.3867 | 173.7833 | 3.8933 | 190.9667 | 4.1133 | 214.0333 | 4.3633 | 235.7333 | 8.5767 | 891 | 41.46 | 11.362
2019-01-22 16:45:00 | 3.1133 | 172.3533 | 3.5833 | 189.4 | 3.9033 | 213.7 | 4.3533 | 214.4 | 8.5 | 891 | 41.9427 | 10.4707
2019-01-22 17:00:00 | 2.9533 | 154.2387 | 3.4033 | 169.4933 | 3.8047 | 232.7267 | 4.1827 | 227.7733 | 8.284 | 891 | 42.3987 | 11.2647
2019-01-22 17:15:00 | 3.1807 | 147.734 | 3.6547 | 162.34 | 4.104 | 217.6067 | 4.4873 | 227.1867 | 7.9493 | 891 | 43.904 | 10.7327
2019-01-22 17:30:00 | 2.9 | 144.7567 | 3.3367 | 159.0667 | 3.54 | 216.4333 | 4.0167 | 228.5667 | 7.4733 | 891 | 45.7033 | 10.0527
2019-01-22 17:45:00 | 2.4733 | 171.2933 | 2.8467 | 188.2333 | 3.4133 | 203.4 | 3.6167 | 234.3 | 6.9233 | 891 | 47.8167 | 10.422
2019-01-22 18:00:00 | 2.32 | 166.32 | 2.68 | 182.7667 | 3.2133 | 211.5333 | 3.5433 | 218.1 | 6.65 | 890.8 | 48.87 | 11.332
2019-01-22 18:15:00 | 3.12 | 193.1067 | 3.5967 | 212.2 | 4.1467 | 222.0333 | 4.47 | 236.6 | 6.3233 | 890 | 50.3733 | 14.0447
2019-01-22 18:30:00 | 3.42 | 191.7733 | 3.93 | 210.7333 | 4.6 | 215.3 | 5.2367 | 232.2667 | 6.0233 | 890 | 51.2533 | 15.4607
2019-01-22 18:45:00 | 3.5207 | 179.8227 | 4.0547 | 197.6067 | 4.754 | 216.0733 | 5.57 | 228.4733 | 5.8293 | 890 | 52.132 | 15.3773
2019-01-22 19:00:00 | 3.84 | 171.8767 | 4.42 | 188.8667 | 4.9567 | 218.0333 | 5.7433 | 230.2333 | 5.78 | 890 | 52.5633 | 15.8653
2019-01-22 19:15:00 | 3.4367 | 169.11 | 3.95 | 185.8333 | 4.7667 | 215.5333 | 5.5133 | 220.1667 | 5.5933 | 890 | 53.57 | 15.246
2019-01-22 19:30:00 | 2.7033 | 149.27 | 3.1167 | 164.0333 | 4.1467 | 210.7333 | 4.86 | 214.2333 | 5.4133 | 890 | 54.0233 | 14.88
2019-01-22 19:45:00 | 2.2667 | 168.4133 | 2.6167 | 185.0667 | 3.3267 | 217.3333 | 4.3167 | 216.7 | 5.38 | 890 | 54.49 | 10.8927
2019-01-22 20:00:00 | 1.8933 | 179.2133 | 2.19 | 196.9333 | 2.8867 | 216.4667 | 3.53 | 219.3667 | 5.4333 | 890 | 54.668 | 7.6787
2019-01-22 20:15:00 | 1.6667 | 162.4967 | 1.9133 | 178.5667 | 2.4733 | 214.8667 | 2.71 | 225.1 | 5.0133 | 890 | 56.5567 | 5.6013
2019-01-22 20:30:00 | 1.7533 | 163.71 | 2.0133 | 179.9 | 2.4333 | 178.8 | 2.4633 | 198.1 | 4.7067 | 890 | 57.5167 | 3.506
2019-01-22 20:45:00 | 2.44 | 159.786 | 2.82 | 175.58 | 3.082 | 176.2667 | 2.9067 | 209.5 | 4.574 | 890 | 58.1993 | 2.6787
2019-01-22 21:00:00 | 2.4667 | 156.6733 | 2.84 | 172.1667 | 3.2333 | 184.2333 | 3.1067 | 188.7333 | 4.5867 | 890 | 58.65 | 1.3453
2019-01-22 21:15:00 | 2.2867 | 154.8233 | 2.63 | 170.1333 | 3.0533 | 182.9667 | 2.94 | 189.18 | 4.6 | 890 | 59.28 | 0.84933
2019-01-22 21:30:00 | 2.0333 | 142.81 | 2.3367 | 156.9333 | 2.74 | 186.3 | 2.8467 | 196.9333 | 4.5733 | 890 | 59.568 | 1.426
2019-01-22 21:45:00 | 2.53 | 160.28 | 2.9133 | 176.1333 | 3.09 | 191.8 | 3.3533 | 202 | 4.6833 | 890 | 58.6067 | 1.8573
2019-01-22 22:00:00 | 2.47 | 171.3867 | 2.84 | 188.3333 | 3.11 | 184.1333 | 3.5 | 194.8667 | 4.59 | 890 | 58.6333 | 1.8533
2019-01-22 22:15:00 | 2.2 | 162.01 | 2.5367 | 178.0333 | 2.78 | 192.4333 | 3.1367 | 190.3333 | 4.52 | 890 | 59.0867 | 1.5327
2019-01-22 22:30:00 | 1.8133 | 158.8567 | 2.09 | 174.5667 | 2.4867 | 184.3667 | 2.6033 | 191.4 | 4.4153 | 890 | 59.8333 | 2.0853
2019-01-22 22:45:00 | 1.9867 | 173.51 | 2.2867 | 190.6667 | 2.7467 | 188.1667 | 2.7867 | 192.2667 | 4.28 | 890 | 60.36 | 1.8373
2019-01-22 23:00:00 | 1.6733 | 155.5633 | 1.9333 | 170.9333 | 2.4067 | 182.3667 | 2.3733 | 197.4 | 4.2533 | 890 | 60.3733 | 1.25
2019-01-22 23:15:00 | 1.0733 | 159.93 | 1.2333 | 175.7333 | 1.9 | 175.5667 | 1.6933 | 194.7333 | 4.2067 | 890 | 60.4767 | 0.60533
2019-01-22 23:30:00 | 1.1 | 165.5033 | 1.2667 | 181.8667 | 1.9133 | 173.4333 | 1.5867 | 195.4 | 4.238 | 890 | 60.414 | 0.42067
2019-01-22 23:45:00 | 0.85 | 163.8 | 0.98333 | 180 | 1.69 | 179.4 | 1.5433 | 201.8 | 4.2067 | 890 | 60.74 | 0.44667