## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-23 00:00:00 | 0.88333 | 163.8 | 1.0167 | 180 | 1.7567 | 175 | 1.59 | 197.6 | 4.1267 | 890 | 60.9867 | 0.37067
2019-01-23 00:15:00 | 0.75333 | 161.35 | 0.87333 | 177.3 | 1.5033 | 172.8533 | 1.3133 | 192.7 | 3.9733 | 890 | 61.4767 | 0.16933
2019-01-23 00:30:00 | 0.55333 | 161.2633 | 0.64 | 177.2133 | 1.0967 | 172.9 | 0.82 | 192.7 | 3.84 | 890 | 62.1833 | 0
2019-01-23 00:45:00 | 0.52667 | 161.25 | 0.61 | 177.2 | 1.05 | 172.8467 | 0.53333 | 192.6467 | 3.62 | 890 | 63.54 | 0
2019-01-23 01:00:00 | 0.53333 | 161.25 | 0.61667 | 177.2 | 1.0567 | 172.8 | 0.76 | 192.6667 | 3.92 | 890 | 62.74 | 0
2019-01-23 01:15:00 | 0.48333 | 161.25 | 0.56333 | 177.2 | 0.95333 | 172.8 | 0.70667 | 192.52 | 3.9833 | 890 | 62.6067 | 0
2019-01-23 01:30:00 | 0.395 | 161.186 | 0.47 | 177.12 | 0.78 | 172.88 | 0.695 | 192.3 | 3.625 | 890 | 64.06 | 0
2019-01-23 01:45:00 | 0.52 | 161.17 | 0.60667 | 177.1 | 1.0233 | 171.8 | 1.0033 | 192.3 | 3.2133 | 889.4667 | 65.81 | 0
2019-01-23 02:00:00 | 0.65333 | 161.17 | 0.76667 | 177.1 | 1.3033 | 169.8 | 1.4233 | 170.0133 | 2.8333 | 889 | 67.4767 | 0
2019-01-23 02:15:00 | 0.68333 | 161.17 | 0.79 | 177.1 | 1.3567 | 169.8533 | 1.7567 | 158.9533 | 2.85 | 889 | 67.5233 | 0
2019-01-23 02:30:00 | 0.45667 | 161.17 | 0.53 | 177.1 | 0.90333 | 169.9867 | 1.3233 | 158.9333 | 2.8587 | 889 | 67.174 | 0
2019-01-23 02:45:00 | 0.22667 | 161.17 | 0.27 | 177.1 | 0.45667 | 170 | 1.1767 | 159.6 | 2.96 | 889 | 66.7167 | 0
2019-01-23 03:00:00 | 0 | 161.17 | 0.003333 | 177.1 | 0.003333 | 170 | 0.23667 | 159.6 | 2.5067 | 889 | 68.93 | 0
2019-01-23 03:15:00 | 0 | 161.71 | 0.003333 | 177.7 | 0 | 170 | 0 | 159.6 | 2.63 | 889 | 68.7367 | 0
2019-01-23 03:30:00 | 0 | 164.5033 | 0.003333 | 180.7667 | 0 | 170 | 0 | 159.6 | 2.9833 | 889 | 67.07 | 0
2019-01-23 03:45:00 | 0 | 165.8467 | 0 | 182.2467 | 0 | 170 | 0 | 159.6 | 2.4667 | 889 | 69.29 | 0
2019-01-23 04:00:00 | 0 | 246.6867 | 0 | 271.0867 | 0 | 170 | 0 | 159.6 | 1.8333 | 889 | 72.0367 | 0
2019-01-23 04:15:00 | 0.53333 | 313.7167 | 0.62 | 344.7333 | 0.053333 | 214.7667 | 0 | 159.6 | 1.5833 | 888.4667 | 73.47 | 0
2019-01-23 04:30:00 | 1.44 | 109.71 | 1.6667 | 120.56 | 0.93333 | 304.34 | 0 | 159.6 | 1.19 | 888 | 75.1967 | 0
2019-01-23 04:45:00 | 1.6233 | 216.5967 | 1.88 | 238.0167 | 1.34 | 212.9833 | 0 | 159.6 | 0.97 | 888 | 75.74 | 0
2019-01-23 05:00:00 | 1.9233 | 215.51 | 2.2133 | 236.8167 | 2.04 | 237.45 | 0.013333 | 159.6 | 1.0767 | 888 | 75.1667 | 0
2019-01-23 05:15:00 | 2.4 | 321.42 | 2.76 | 353.2 | 2.8033 | 355.0467 | 1.19 | 335.6667 | 0.8 | 888 | 76.3267 | 0
2019-01-23 05:30:00 | 2.4867 | 323.712 | 2.8667 | 355.7267 | 2.8033 | 355.5333 | 1.69 | 347.82 | 0.58667 | 888 | 77.47 | 0
2019-01-23 05:45:00 | 2.5167 | 214.3867 | 2.9 | 235.59 | 2.8133 | 0.2 | 1.7433 | 350.7667 | 0.23333 | 888 | 79.3333 | 0
2019-01-23 06:00:00 | 2.7967 | 0.58667 | 3.22 | 0.65 | 3.1533 | 0.42667 | 1.9233 | 124.8667 | -0.08 | 887.8 | 81.1667 | 0
2019-01-23 06:15:00 | 2.83 | 0.34333 | 3.26 | 0.37667 | 3.1933 | 0.15 | 2.08 | 7.0733 | -0.3 | 887 | 82.3333 | 0
2019-01-23 06:30:00 | 2.95 | 215.3233 | 3.3933 | 236.6167 | 3.4333 | 0.63667 | 2.8467 | 15.7133 | -0.52 | 887 | 83.38 | 0
2019-01-23 06:45:00 | 3.19 | 321.2 | 3.6767 | 352.9667 | 3.55 | 240.6233 | 3.1 | 14.0467 | -0.31333 | 887 | 82.2 | 0
2019-01-23 07:00:00 | 3.3233 | 319.4467 | 3.8233 | 351.0333 | 3.93 | 10.3767 | 2.9267 | 6.42 | -0.24667 | 887.2 | 81.4 | 0
2019-01-23 07:15:00 | 3.36 | 315.8033 | 3.86 | 347.0333 | 4.0967 | 7.5733 | 3.24 | 9.0533 | -0.30667 | 888 | 81.62 | 0
2019-01-23 07:30:00 | 3.3267 | 312.95 | 3.8267 | 343.9 | 4.01 | 10.5267 | 3.3333 | 7.2333 | -0.22667 | 888 | 81.5333 | 0
2019-01-23 07:45:00 | 3.3 | 317.44 | 3.8 | 348.8333 | 4.0333 | 10.48 | 3.6433 | 8.9167 | -0.24667 | 888 | 81.72 | 0
2019-01-23 08:00:00 | 3.4067 | 117.42 | 3.9267 | 129.0333 | 3.8933 | 6.2933 | 3.5767 | 15.8633 | -0.28 | 888 | 82.1667 | 0
2019-01-23 08:15:00 | 3.29 | 106.58 | 3.7867 | 117.1067 | 3.86 | 10.0267 | 3.72 | 17.16 | -0.43667 | 888 | 82.8 | 0
2019-01-23 08:30:00 | 3.5033 | 107.1067 | 4.0267 | 117.6933 | 4.12 | 9.1667 | 3.88 | 14.5 | -0.48333 | 888 | 83.1533 | 0
2019-01-23 08:45:00 | 3.9 | 1.61 | 4.4867 | 1.77 | 4.5267 | 11.8533 | 4.15 | 15.0533 | -0.35 | 888 | 82.7 | 0.073333
2019-01-23 09:00:00 | 3.8733 | 210.1033 | 4.46 | 230.8833 | 4.5067 | 12.5067 | 4.2767 | 17.3067 | -0.063333 | 888.2 | 81.5667 | 0
2019-01-23 09:15:00 | 3.6933 | 316.6467 | 4.2533 | 347.9667 | 4.3267 | 12.86 | 4.2533 | 16.2267 | 0.25333 | 889 | 80.5 | 0
2019-01-23 09:30:00 | 3.42 | 322.4733 | 3.94 | 354.3667 | 4.1133 | 12.28 | 4.1333 | 16.5533 | 0.42667 | 889 | 80.2333 | 0
2019-01-23 09:45:00 | 3.26 | 206.56 | 3.7567 | 226.9933 | 3.8633 | 8.5667 | 3.8633 | 13.6 | 0.94667 | 889.5333 | 78.38 | 0
2019-01-23 10:00:00 | 3.1267 | 217.9133 | 3.5967 | 239.46 | 3.6167 | 8.44 | 3.5233 | 17.1333 | 1.12 | 890 | 77.026 | 0
2019-01-23 10:15:00 | 2.9133 | 1.56 | 3.36 | 1.7133 | 3.2667 | 10.41 | 2.8333 | 12.04 | 1.0133 | 890 | 77.2433 | 0
2019-01-23 10:30:00 | 2.6067 | 6.1333 | 3 | 6.74 | 2.92 | 10.0833 | 1.5533 | 4.8733 | 0.95333 | 890 | 77.35 | 0
2019-01-23 10:45:00 | 2.0133 | 111.98 | 2.3133 | 123.0533 | 1.93 | 2.4533 | 1.12 | 313.3667 | 1.3167 | 890 | 75.32 | 0
2019-01-23 11:00:00 | 1.4667 | 112.4533 | 1.6867 | 123.5733 | 0.94333 | 179.2533 | 0.76667 | 256.1 | 1.73 | 890 | 73.2267 | 0
2019-01-23 11:15:00 | 1.1033 | 168.6067 | 1.28 | 185.2667 | 1.1167 | 171.6 | 0.95667 | 178.3 | 2.77 | 890 | 70.9233 | 0.09
2019-01-23 11:30:00 | 2.0433 | 158.16 | 2.36 | 173.8 | 2.1233 | 180.5333 | 1.4767 | 183.5667 | 4.0233 | 890 | 67.95 | 0.31133
2019-01-23 11:45:00 | 2.05 | 161.81 | 2.36 | 177.8 | 2.13 | 173.4 | 2.26 | 160.9 | 4.03 | 890 | 68.91 | 0.465
2019-01-23 12:00:00 | 2.8267 | 157.2467 | 3.2533 | 172.8 | 2.9567 | 193.2 | 3.1633 | 206.3667 | 4.59 | 890 | 67.12 | 1.0433
2019-01-23 12:15:00 | 3.4233 | 167.2067 | 3.9433 | 183.7333 | 3.6733 | 192.8667 | 3.75 | 208.8333 | 5.06 | 890 | 64.7867 | 1.734
2019-01-23 12:30:00 | 3.4567 | 158.6467 | 3.9767 | 174.3333 | 3.6733 | 210.1333 | 3.7233 | 200.2333 | 5.4867 | 890 | 62.412 | 2.8167
2019-01-23 12:45:00 | 3.6133 | 145.0567 | 4.1633 | 159.4 | 3.9533 | 180.3667 | 4.0433 | 193.2667 | 5.8867 | 890 | 60.1833 | 4.1647
2019-01-23 13:00:00 | 3.66 | 145.4833 | 4.2233 | 159.8667 | 3.9667 | 182.7 | 3.91 | 191.8 | 6.2333 | 889.1333 | 58.9433 | 4.618
2019-01-23 13:15:00 | 3.4187 | 139.0467 | 3.936 | 152.7933 | 3.6987 | 174.28 | 3.5673 | 197.62 | 6.14 | 889 | 58.8473 | 4.37
2019-01-23 13:30:00 | 3.1467 | 134.9 | 3.6333 | 148.2333 | 3.5533 | 170.4 | 3.7167 | 191.5667 | 6.1067 | 889 | 58.5967 | 5.3187
2019-01-23 13:45:00 | 3.6667 | 152.9733 | 4.22 | 168.1 | 4.1067 | 159.5 | 4.3267 | 189.5667 | 6.5133 | 889 | 56.9767 | 6.1007
2019-01-23 14:00:00 | 3.8467 | 146.9733 | 4.4267 | 161.5 | 4.38 | 159.9667 | 4.56 | 165.0333 | 6.7533 | 889 | 56.5167 | 7.5007
2019-01-23 14:15:00 | 4.3133 | 147.1233 | 4.9633 | 161.6667 | 4.9867 | 179.6333 | 5.1133 | 174.0667 | 6.9067 | 888.4667 | 56.2833 | 6.4753
2019-01-23 14:30:00 | 4.0467 | 146.21 | 4.6567 | 160.6667 | 4.7 | 179.2333 | 4.678 | 171.0667 | 7.1267 | 888 | 56.0633 | 6.0107
2019-01-23 14:45:00 | 3.9267 | 137.3833 | 4.5133 | 150.9667 | 4.5067 | 186.2 | 4.62 | 194.1667 | 7.7467 | 888 | 54.8233 | 7.0187
2019-01-23 15:00:00 | 4.0267 | 160.07 | 4.6333 | 175.9 | 4.52 | 161.4 | 4.54 | 170.5 | 7.8533 | 888 | 54.6433 | 6.5007
2019-01-23 15:15:00 | 4.06 | 152.1867 | 4.6833 | 167.2333 | 4.82 | 193.7667 | 4.93 | 172 | 7.8267 | 888 | 55.0433 | 5.7193
2019-01-23 15:30:00 | 3.885 | 154.425 | 4.475 | 169.7 | 4.57 | 174.65 | 4.755 | 183.1 | 7.41 | 888 | 56.42 | 6.531
2019-01-23 15:45:00 | 3.53 | 170 | 4.06 | 186.8 | 4.18 | 146.8 | 4.27 | 180 | 7.47 | 888 | 56.49 | 6.489
2019-01-23 16:00:00 | 3.81 | 162.54 | 4.38 | 178.6 | 4.4333 | 185.8 | 4.57 | 195 | 7.23 | 888 | 57.5333 | 7.2787
2019-01-23 16:15:00 | 3.9233 | 131.7367 | 4.52 | 144.7667 | 4.5667 | 172.2 | 4.7733 | 195.7 | 6.9333 | 888 | 58.9333 | 7.9807
2019-01-23 16:30:00 | 3.95 | 154.67 | 4.5467 | 169.9667 | 4.6333 | 174.4667 | 4.84 | 186.3 | 6.8867 | 887.1333 | 59.54 | 8.1787
2019-01-23 16:45:00 | 3.54 | 150.3667 | 4.0733 | 165.2333 | 4.1967 | 170.7667 | 4.5867 | 187.6 | 6.8667 | 887 | 59.8633 | 9.5527
2019-01-23 17:00:00 | 3.3933 | 152.4867 | 3.9 | 167.5667 | 4.1833 | 195.2333 | 4.44 | 209.8667 | 6.9 | 887 | 60.01 | 10.378
2019-01-23 17:15:00 | 4.0167 | 195.1033 | 4.62 | 214.4 | 5.1667 | 220.2667 | 5 | 225.8667 | 6.7667 | 887 | 60.7567 | 10.45
2019-01-23 17:30:00 | 3.23 | 183.5767 | 3.7267 | 201.7333 | 3.8733 | 190.5333 | 4.1533 | 197.4667 | 6.7 | 887 | 61.37 | 10.3247
2019-01-23 17:45:00 | 3.4533 | 176.1167 | 3.9767 | 193.5333 | 4.29 | 196.7 | 4.28 | 203.7667 | 6.57 | 887 | 62.4133 | 10.2953
2019-01-23 18:00:00 | 3.72 | 189.83 | 4.2767 | 208.6 | 4.77 | 221.0333 | 4.6733 | 227.7667 | 6.3967 | 887 | 63.16 | 10.2253
2019-01-23 18:15:00 | 3.8733 | 179.58 | 4.4633 | 197.3333 | 5.07 | 210 | 5.4933 | 223.7 | 6.1733 | 887 | 64.1433 | 12.1227
2019-01-23 18:30:00 | 4.3333 | 191.22 | 4.9833 | 210.1333 | 5.6233 | 226.3333 | 5.9133 | 221.5 | 6.0533 | 887 | 64.6633 | 12.1047
2019-01-23 18:45:00 | 4.1533 | 185.4367 | 4.7833 | 203.7667 | 5.4033 | 217.5 | 5.5467 | 219.3333 | 5.9733 | 887 | 65.0767 | 13.786
2019-01-23 19:00:00 | 3.5667 | 178.6433 | 4.1033 | 196.3 | 4.7367 | 216.8333 | 5.1667 | 215.0667 | 5.8867 | 887 | 65.45 | 14.8093
2019-01-23 19:15:00 | 3.1933 | 161.3867 | 3.68 | 177.3333 | 4.33 | 224.7067 | 4.8367 | 236.4667 | 5.7133 | 887 | 66.1467 | 13.2373
2019-01-23 19:30:00 | 2.96 | 170.42 | 3.42 | 187.2667 | 4.1433 | 222.1333 | 4.6033 | 226.6667 | 5.5867 | 887 | 66.78 | 11.7833
2019-01-23 19:45:00 | 3.46 | 204.55 | 3.9833 | 224.7667 | 4.65 | 228.7 | 5.1867 | 225.2667 | 5.5267 | 887 | 67.12 | 11.4
2019-01-23 20:00:00 | 3.3 | 171.7167 | 3.7967 | 188.7 | 4.5367 | 215.8333 | 4.9867 | 219.1333 | 5.538 | 887 | 67.042 | 8.3953
2019-01-23 20:15:00 | 2.5533 | 179.6067 | 2.94 | 197.3667 | 3.74 | 218.3667 | 4.07 | 223.7333 | 5.4267 | 887 | 67.46 | 7.7367
2019-01-23 20:30:00 | 2.88 | 176.68 | 3.31 | 194.15 | 4.045 | 218.9 | 4.375 | 225 | 5.37 | 887 | 67.67 | 10.028
2019-01-23 20:45:00 | 3.3273 | 183.8087 | 3.828 | 201.98 | 4.5107 | 216.46 | 5.238 | 229.2533 | 5.344 | 887 | 67.9347 | 10.272
2019-01-23 21:00:00 | 3.4 | 176.21 | 3.91 | 193.6333 | 4.56 | 219.5333 | 5.2867 | 227.5 | 5.2667 | 887 | 68.6867 | 8.586
2019-01-23 21:15:00 | 3.2567 | 180.28 | 3.75 | 198.1 | 4.3967 | 219.2333 | 4.9067 | 223.9667 | 5.18 | 887.5333 | 69.5333 | 5.6067
2019-01-23 21:30:00 | 3.19 | 182.64 | 3.67 | 200.7 | 4.2567 | 214.9667 | 4.46 | 226.2333 | 5.1733 | 888 | 69.4533 | 4.9793
2019-01-23 21:45:00 | 2.7467 | 181.39 | 3.1633 | 199.3333 | 3.91 | 215.6 | 4.2533 | 218.0333 | 5.1367 | 888 | 69.8067 | 3.462
2019-01-23 22:00:00 | 2.4133 | 162.9567 | 2.7767 | 179.0667 | 3.4367 | 218.8733 | 4.0133 | 219.9667 | 5.0633 | 888 | 70.4933 | 2.7567
2019-01-23 22:15:00 | 2.12 | 159.7367 | 2.4433 | 175.5333 | 3.1267 | 212 | 3.3667 | 215.14 | 4.9633 | 888 | 71.6067 | 1.8533
2019-01-23 22:30:00 | 1.5467 | 170.79 | 1.7833 | 187.6667 | 2.6333 | 212.6667 | 2.9733 | 216.9 | 4.9233 | 888 | 72.096 | 1.3767
2019-01-23 22:45:00 | 1.4733 | 174.3033 | 1.6933 | 191.5333 | 2.6667 | 215.3333 | 2.8567 | 219.7333 | 4.8933 | 888 | 72.62 | 1.462
2019-01-23 23:00:00 | 1.1867 | 185.7633 | 1.3733 | 204.1333 | 2.22 | 214.5333 | 2.47 | 224.34 | 4.8667 | 888 | 72.9067 | 1.2627
2019-01-23 23:15:00 | 1.28 | 153.6067 | 1.4767 | 168.8 | 1.9733 | 204.6 | 2.4267 | 212.4 | 4.78 | 887.4667 | 73.4267 | 1.2
2019-01-23 23:30:00 | 1.915 | 151.835 | 2.215 | 166.85 | 2.62 | 211.1 | 3 | 212.35 | 4.77 | 887 | 73.53 | 0.721
2019-01-23 23:45:00 | 1.52 | 166.63 | 1.76 | 183.1 | 2.18 | 198.8 | 2.56 | 218.8 | 4.78 | 887 | 73.6 | 1.05