## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-24 00:00:00 | 1.7267 | 159.9233 | 1.9867 | 175.7333 | 2.4867 | 210.3 | 2.7833 | 228.0667 | 4.77 | 887 | 73.63 | 1.254
2019-01-24 00:15:00 | 1.6867 | 166.38 | 1.95 | 182.8333 | 2.33 | 202.7333 | 2.78 | 220.9667 | 4.78 | 887 | 73.51 | 1.1893
2019-01-24 00:30:00 | 1.376 | 168.734 | 1.598 | 185.42 | 2.09 | 213 | 2.394 | 229.62 | 4.8 | 887 | 73.346 | 0.91733
2019-01-24 00:45:00 | 1.26 | 178.9967 | 1.46 | 196.7 | 2.07 | 223.8333 | 2.3233 | 236.2667 | 4.7767 | 887 | 73.2333 | 1.0767
2019-01-24 01:00:00 | 1.4267 | 155.0367 | 1.64 | 170.3667 | 1.99 | 197.2333 | 2.39 | 225 | 4.81 | 887 | 73.08 | 1.03
2019-01-24 01:15:00 | 1.49 | 157.07 | 1.72 | 172.6 | 2.2233 | 201.1667 | 2.4933 | 221.3 | 4.7933 | 887 | 73.2133 | 0.53333
2019-01-24 01:30:00 | 0.95 | 155.1833 | 1.0933 | 170.5333 | 1.5567 | 198.5 | 1.6933 | 203.7667 | 4.82 | 887 | 73.1213 | 0.206
2019-01-24 01:45:00 | 0.88667 | 172.9933 | 1.02 | 190.1 | 1.49 | 195.9 | 1.6133 | 202.3667 | 4.8967 | 887 | 72.6067 | 0.37933
2019-01-24 02:00:00 | 0.74 | 176.6933 | 0.86 | 194.1667 | 1.37 | 195.9 | 1.5267 | 205.52 | 4.9233 | 887 | 72.482 | 0.394
2019-01-24 02:15:00 | 0.57667 | 179.892 | 0.67333 | 197.68 | 1.1533 | 195.9 | 1.62 | 223.5667 | 4.9567 | 886.4667 | 72.346 | 0.34467
2019-01-24 02:30:00 | 0.57 | 177.1833 | 0.66 | 194.7 | 1.14 | 195.9 | 1.54 | 225.7 | 4.93 | 886 | 72.4787 | 0.152
2019-01-24 02:45:00 | 0.42 | 177 | 0.49333 | 194.5 | 0.82333 | 195.9 | 1.7533 | 226.5 | 4.93 | 886 | 72.5433 | 0.41933
2019-01-24 03:00:00 | 0.61333 | 177 | 0.70667 | 194.5 | 1.2167 | 195.9 | 1.6067 | 228.06 | 4.9193 | 886 | 72.5273 | 0.38533
2019-01-24 03:15:00 | 0.6 | 169.9333 | 0.7 | 186.74 | 1.1867 | 192.0267 | 1.2707 | 207.46 | 4.9213 | 886 | 72.446 | 0.402
2019-01-24 03:30:00 | 0.53333 | 150.6 | 0.62667 | 165.5 | 1.0567 | 176.5333 | 1.26 | 193.58 | 4.9533 | 886 | 72.02 | 0.694
2019-01-24 03:45:00 | 0.6 | 150.6 | 0.7 | 165.5 | 1.1967 | 172.6 | 1.3733 | 171.6 | 4.9367 | 886 | 72.0013 | 0.832
2019-01-24 04:00:00 | 0.554 | 150.6953 | 0.636 | 165.5867 | 1.096 | 172.62 | 1.684 | 175 | 4.944 | 886 | 71.95 | 0.82333
2019-01-24 04:15:00 | 0.77333 | 157.0467 | 0.89667 | 172.5667 | 1.4967 | 189.8 | 1.6233 | 198.5 | 4.86 | 886 | 72.42 | 0.732
2019-01-24 04:30:00 | 0.79333 | 169.72 | 0.91 | 186.5 | 1.51 | 184.6 | 1.6967 | 192.88 | 4.8533 | 886 | 72.4087 | 1.018
2019-01-24 04:45:00 | 0.74 | 169.72 | 0.85333 | 186.5 | 1.39 | 179.6 | 1.9433 | 167.8333 | 4.83 | 886 | 72.53 | 1.0893
2019-01-24 05:00:00 | 0.9 | 178.4733 | 1.0467 | 196.12 | 1.6233 | 182.1733 | 2.2367 | 171.3 | 4.808 | 886 | 72.4907 | 1.3647
2019-01-24 05:15:00 | 1.2213 | 180.496 | 1.4113 | 198.3467 | 2.1167 | 184.04 | 2.5553 | 173.1067 | 4.7173 | 886 | 72.6553 | 1.65
2019-01-24 05:30:00 | 1.2733 | 166.5667 | 1.4733 | 183.0333 | 2.16 | 184.6667 | 2.3067 | 184.3 | 4.6667 | 885.1333 | 72.516 | 1.7487
2019-01-24 05:45:00 | 1.2133 | 166.63 | 1.4 | 183.1 | 1.9867 | 184.3667 | 1.9633 | 178.2333 | 4.7633 | 885 | 71.89 | 2.0507
2019-01-24 06:00:00 | 1.46 | 168.3833 | 1.68 | 185.0333 | 2.24 | 186.2333 | 2.1767 | 186.2333 | 4.812 | 885 | 71.9413 | 1.9727
2019-01-24 06:15:00 | 1.0767 | 177.54 | 1.2433 | 195.1 | 1.9867 | 196.5333 | 2.2267 | 187.1 | 4.7833 | 885 | 72.38 | 1.444
2019-01-24 06:30:00 | 0.95667 | 166.44 | 1.11 | 182.9 | 1.7933 | 192.8667 | 2.02 | 182.9 | 4.7967 | 885 | 72.228 | 1.4773
2019-01-24 06:45:00 | 0.82 | 166.44 | 0.94 | 182.9 | 1.63 | 191.2 | 1.71 | 184.1 | 4.8 | 885 | 72.14 | 1.755
2019-01-24 07:00:00 | 0.89 | 166.44 | 1.0267 | 182.9 | 1.64 | 187.6 | 1.8867 | 184.1667 | 4.8087 | 885 | 71.97 | 1.396
2019-01-24 07:15:00 | 0.78667 | 166.488 | 0.90667 | 182.9533 | 1.52 | 185.8533 | 1.92 | 179.8 | 4.7433 | 885 | 72.08 | 1.328
2019-01-24 07:30:00 | 0.66667 | 166.53 | 0.78 | 183 | 1.3267 | 177.1 | 1.6133 | 172.54 | 4.7767 | 885.2 | 71.2 | 1.0453
2019-01-24 07:45:00 | 0.53333 | 217.46 | 0.62 | 238.9667 | 0.95667 | 165.0333 | 0.85667 | 172.3 | 4.81 | 886 | 70.9267 | 0.52267
2019-01-24 08:00:00 | 0.093333 | 319.32 | 0.10667 | 350.9 | 0.076667 | 164.7 | 0.023333 | 172.3 | 4.7167 | 886 | 71.6267 | 0.22267
2019-01-24 08:15:00 | 0.12667 | 212.8967 | 0.15667 | 233.95 | 0 | 164.7 | 0 | 172.3 | 4.81 | 886 | 71.3933 | 0.13467
2019-01-24 08:30:00 | 0.5 | 0.05 | 0.59 | 0.05 | 0.026667 | 96.7467 | 0 | 172.3 | 4.53 | 886 | 73.9 | 0.026
2019-01-24 08:45:00 | 1.2567 | 108.26 | 1.4467 | 118.9667 | 1.46 | 26.2967 | 0 | 143.5 | 4.3933 | 886 | 74.89 | 0.027333
2019-01-24 09:00:00 | 1.4033 | 316.96 | 1.6267 | 348.3 | 1.58 | 7.5433 | 0 | 85.9 | 4.5133 | 886 | 73.75 | 0.23467
2019-01-24 09:15:00 | 0.53667 | 301.8767 | 0.63 | 331.7333 | 0.32667 | 1.12 | 0 | 85.8467 | 4.71 | 886 | 72.29 | 0.12267
2019-01-24 09:30:00 | 0.87667 | 309.5 | 1.01 | 340.1 | 0.86 | 1.12 | 0 | 85.8867 | 4.7767 | 886 | 72.122 | 0.286
2019-01-24 09:45:00 | 0.49133 | 310.7187 | 0.57067 | 341.44 | 0.51 | 1.12 | 0 | 85.9 | 4.8547 | 886 | 71.75 | 0.49
2019-01-24 10:00:00 | 0.26 | 314.03 | 0.30667 | 345.08 | 0.12667 | 1.12 | 0 | 85.9 | 4.96 | 886 | 71.0033 | 0.18867
2019-01-24 10:15:00 | 0.066667 | 314.6 | 0.08 | 345.7 | 0.04 | 1.1033 | 0.066667 | 148.7333 | 5.07 | 886 | 70.5553 | 0.362
2019-01-24 10:30:00 | 0 | 314.44 | 0 | 345.54 | 0 | 1.045 | 0.1 | 274.4 | 5.165 | 886.8 | 70.52 | 0.486
2019-01-24 10:45:00 | 0.033333 | 143.61 | 0.04 | 157.8 | 0.063333 | 1.02 | 0.11333 | 274.4 | 5.0467 | 887 | 73.6433 | 0.48733
2019-01-24 11:00:00 | 0.28667 | 47.8453 | 0.33333 | 52.5733 | 0.55 | 1.02 | 0.15333 | 274.5067 | 5.102 | 887 | 74.0967 | 0.50533
2019-01-24 11:15:00 | 0.086667 | 316.78 | 0.1 | 348.1 | 0.17333 | 109.9467 | 0.11333 | 274.5467 | 5.29 | 887 | 71.5067 | 0.668
2019-01-24 11:30:00 | 0 | 316.798 | 0 | 348.12 | 0 | 327.8 | 0.04 | 274.52 | 5.45 | 887 | 70.58 | 0.77067
2019-01-24 11:45:00 | 0.066667 | 316.822 | 0.08 | 348.1467 | 0.13667 | 297.5667 | 0.03 | 274.5467 | 5.41 | 887 | 75.1533 | 0.786
2019-01-24 12:00:00 | 0.22667 | 316.84 | 0.26667 | 348.1667 | 0.43 | 237.1 | 0.62333 | 274.46 | 5.2833 | 887 | 75.4933 | 0.548
2019-01-24 12:15:00 | 0.08 | 262.8467 | 0.093333 | 288.8333 | 0.14667 | 237.0467 | 0.76333 | 224.5 | 5.2967 | 887 | 74.32 | 0.67933
2019-01-24 12:30:00 | 0 | 154.98 | 0 | 170.3 | 0 | 236.9333 | 0.69 | 224.48 | 5.45 | 887 | 73.292 | 0.746
2019-01-24 12:45:00 | 0 | 154.98 | 0 | 170.3 | 0 | 236.9467 | 0.58333 | 224.4 | 5.6567 | 887 | 72.44 | 0.69733
2019-01-24 13:00:00 | 0 | 154.98 | 0 | 170.3 | 0 | 236.9867 | 0.13 | 224.4 | 5.7833 | 886.8 | 67 | 0.93733
2019-01-24 13:15:00 | 0.17333 | 154.98 | 0.20667 | 170.3 | 0.33 | 173.8667 | 0.056667 | 210.6667 | 5.92 | 886 | 64.3527 | 0.73267
2019-01-24 13:30:00 | 0.2 | 154.98 | 0.23333 | 170.3 | 0.39667 | 157.4667 | 0.16333 | 177.2667 | 6.0867 | 886 | 61.7067 | 0.50867
2019-01-24 13:45:00 | 0.32 | 154.24 | 0.37333 | 169.5 | 0.60667 | 121.8333 | 0.29333 | 173.3 | 6.1933 | 886 | 60.3467 | 0.27
2019-01-24 14:00:00 | 0.086667 | 153.6887 | 0.10667 | 168.88 | 0.16 | 125.4333 | 0.02 | 173.2133 | 6.24 | 886 | 57.1067 | 0.18733
2019-01-24 14:15:00 | 0.06 | 131.9633 | 0.07 | 145 | 0.10333 | 127.0667 | 0.043333 | 173.2 | 6.3867 | 886 | 56.3933 | 0
2019-01-24 14:30:00 | 0.073333 | 36.4833 | 0.083333 | 40.0867 | 0.036667 | 139.7333 | 0.043333 | 193.1533 | 6.4067 | 886 | 58.1667 | 0
2019-01-24 14:45:00 | 0.63333 | 215.99 | 0.73 | 237.35 | 0.53333 | 17.7467 | 0 | 203.0467 | 5.9433 | 885.4667 | 66.1 | 0
2019-01-24 15:00:00 | 1.2867 | 1.11 | 1.4767 | 1.2167 | 1.5133 | 17.2267 | 0.27333 | 116.7 | 5.8767 | 885 | 68.7933 | 0
2019-01-24 15:15:00 | 1.394 | 5.69 | 1.608 | 6.2513 | 1.758 | 17.1993 | 0.70267 | 215.71 | 5.7713 | 885 | 69.772 | 0
2019-01-24 15:30:00 | 1.678 | 198.906 | 1.936 | 218.576 | 2.102 | 13.44 | 1.24 | 26.246 | 5.732 | 885 | 69.45 | 0
2019-01-24 15:45:00 | 1.6533 | 122.49 | 1.9033 | 134.6 | 2.3033 | 14.0233 | 2 | 34.58 | 5.97 | 885 | 65.2667 | 0
2019-01-24 16:00:00 | 1.82 | 109.3767 | 2.1033 | 120.1933 | 2.188 | 10.8633 | 2.3467 | 36.8 | 5.9633 | 885 | 63.8467 | 0
2019-01-24 16:15:00 | 2.0467 | 212.19 | 2.3567 | 233.1667 | 2.5167 | 121.2133 | 2.7567 | 30.3467 | 5.9 | 885 | 66.2033 | 0
2019-01-24 16:30:00 | 2.3467 | 214.5567 | 2.7033 | 235.7667 | 3.0633 | 119.9133 | 3.1967 | 6.86 | 5.8467 | 885 | 67.522 | 1.3
2019-01-24 16:45:00 | 2.5767 | 214.41 | 2.9633 | 235.6133 | 4.15 | 3.0767 | 4.2533 | 18.0067 | 5.78 | 885 | 66.0867 | 4.4287
2019-01-24 17:00:00 | 2.55 | 196.69 | 2.9367 | 216.1467 | 4.33 | 8.1833 | 4.5 | 12.0867 | 5.782 | 885.2 | 64.9533 | 6.7347
2019-01-24 17:15:00 | 2.7933 | 9.6567 | 3.2167 | 10.6 | 5.3033 | 7.2767 | 5.42 | 22.7133 | 5.76 | 886 | 65.46 | 8.9427
2019-01-24 17:30:00 | 2.9667 | 210.41 | 3.4167 | 231.22 | 5.4433 | 9.4833 | 5.6267 | 19.9733 | 5.6867 | 886 | 66.6253 | 11.2587
2019-01-24 17:45:00 | 2.9067 | 15.5033 | 3.3467 | 17.0367 | 5.22 | 14.74 | 5.42 | 20.1633 | 5.5167 | 886 | 70.11 | 14.192
2019-01-24 18:00:00 | 2.72 | 14.51 | 3.14 | 15.95 | 4.96 | 12.16 | 5.06 | 17.05 | 5.45 | 886 | 71.23 | 13.608
2019-01-24 18:15:00 | 2.3 | 2.48 | 2.64 | 2.72 | 3.89 | 22.01 | 4.55 | 4.35 | 5.36 | 886 | 71.164 | 13.328
2019-01-24 18:30:00 | 2.1933 | 214.8433 | 2.5267 | 236.0833 | 4.0467 | 16.6667 | 4.4533 | 17.8667 | 5.28 | 886 | 70.67 | 13.4593
2019-01-24 18:45:00 | 2.7133 | 214.2467 | 3.1267 | 235.43 | 5.2367 | 12.62 | 5.3667 | 7.4333 | 5.2067 | 886 | 70.7167 | 23.7167
2019-01-24 19:00:00 | 3.54 | 232.9267 | 4.0733 | 255.9633 | 6.93 | 14.6933 | 7.5267 | 12.9933 | 5.1467 | 886 | 71.45 | 32.6147
2019-01-24 19:15:00 | 4.6 | 145.6833 | 5.2967 | 160.0867 | 8.5667 | 5.82 | 8.9 | 23.78 | 5.2067 | 886.5333 | 70.4167 | 36.288
2019-01-24 19:30:00 | 4.86 | 281.3833 | 5.5967 | 309.2 | 9.24 | 8.84 | 9.3267 | 15.0133 | 5.38 | 887 | 68.7033 | 40.0127
2019-01-24 19:45:00 | 4.8167 | 156.8867 | 5.55 | 172.4 | 9.3367 | 18.45 | 9.5233 | 23.76 | 5.5433 | 887 | 66.7167 | 39.8973
2019-01-24 20:00:00 | 4.7233 | 121.8067 | 5.4367 | 133.8467 | 8.93 | 14.7367 | 9.03 | 25.716 | 5.67 | 887 | 65.8167 | 39.2453
2019-01-24 20:15:00 | 4.68 | 97.07 | 5.38 | 106.66 | 8.82 | 11.5333 | 9.0633 | 23.57 | 5.7267 | 887.5333 | 66.1433 | 42.2153
2019-01-24 20:30:00 | 5.02 | 173.1233 | 5.78 | 190.2333 | 9.1733 | 123.9533 | 9.3167 | 21.6233 | 5.8133 | 888 | 65.8233 | 47.8253
2019-01-24 20:45:00 | 5.7433 | 240.03 | 6.6067 | 263.7667 | 10.52 | 11.3067 | 10.56 | 20.4433 | 5.94 | 888 | 65.3373 | 47.8867
2019-01-24 21:00:00 | 5.8567 | 83.1633 | 6.7333 | 91.3733 | 10.662 | 16.6267 | 10.88 | 21.0433 | 6.0067 | 888 | 64.7167 | 48.606
2019-01-24 21:15:00 | 5.5667 | 180.66 | 6.4067 | 198.5133 | 10.26 | 17.2667 | 10.3133 | 11.22 | 6.0467 | 888.5333 | 64.58 | 51.3653
2019-01-24 21:30:00 | 5.476 | 123.6333 | 6.298 | 135.8467 | 10.36 | 21.1733 | 10.5 | 20.88 | 6.0267 | 889 | 65.12 | 52.4393
2019-01-24 21:45:00 | 5.6333 | 193.1967 | 6.48 | 212.2933 | 10.69 | 18.4367 | 10.81 | 19.7833 | 6.0387 | 889 | 65.6233 | 53.42
2019-01-24 22:00:00 | 5.9 | 39.7967 | 6.7867 | 43.7267 | 11.2033 | 16.6833 | 11.21 | 17.87 | 6.028 | 889 | 66.01 | 54.422
2019-01-24 22:15:00 | 6.1533 | 112.43 | 7.0833 | 123.54 | 11.4533 | 24.25 | 11.74 | 24.09 | 6.0633 | 889 | 66.0907 | 54.9727
2019-01-24 22:30:00 | 6.5133 | 285.1033 | 7.5033 | 313.3 | 12.1133 | 21.6767 | 12.6267 | 26.93 | 6.1233 | 889 | 66.1033 | 53.5747
2019-01-24 22:45:00 | 6.7267 | 200.62 | 7.74 | 220.4667 | 12.17 | 18.46 | 12.5667 | 32.4167 | 6.28 | 889 | 65.3433 | 52.7867
2019-01-24 23:00:00 | 7.0933 | 78.8133 | 8.1667 | 86.6 | 12.83 | 21.4067 | 13.1 | 27.5033 | 6.4067 | 889 | 64.8367 | 52.1713
2019-01-24 23:15:00 | 7.3367 | 148.2733 | 8.4467 | 162.9333 | 13.3767 | 24.7067 | 13.8967 | 28.7033 | 6.448 | 889 | 64.92 | 51.9973
2019-01-24 23:30:00 | 7.2567 | 243.7667 | 8.3467 | 267.8667 | 13.41 | 15.92 | 13.5567 | 21.5367 | 6.4433 | 889.2 | 65.0727 | 53.2327
2019-01-24 23:45:00 | 7.06 | 12.6833 | 8.12 | 13.9333 | 13.0233 | 20.9967 | 13.3367 | 20.89 | 6.41 | 890 | 65.32 | 53.324