## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-25 00:00:00 | 6.9667 | 120.2967 | 8.02 | 132.1933 | 12.8767 | 21.95 | 13.1833 | 26.29 | 6.4453 | 890 | 65.246 | 55.2753
2019-01-25 00:15:00 | 7.1667 | 83.4467 | 8.2467 | 91.7 | 12.8033 | 18.9267 | 12.64 | 23.2067 | 6.4867 | 890 | 64.99 | 55.5387
2019-01-25 00:30:00 | 6.6133 | 213.34 | 7.6067 | 234.4333 | 12.1433 | 20.86 | 12.3867 | 19.8533 | 6.4533 | 890 | 65.2507 | 54.9313
2019-01-25 00:45:00 | 6.32 | 85 | 7.2767 | 93.4067 | 11.9067 | 11.2267 | 12.1 | 24.15 | 6.44 | 890 | 65.56 | 54.9927
2019-01-25 01:00:00 | 6.1067 | 116.4867 | 7.0233 | 128 | 11.5667 | 16.7267 | 11.4933 | 25.8967 | 6.4513 | 890 | 65.498 | 53.2447
2019-01-25 01:15:00 | 5.8067 | 222.5933 | 6.6867 | 244.6 | 10.9567 | 15.27 | 11.0767 | 22.95 | 6.53 | 890 | 64.9933 | 52.3853
2019-01-25 01:30:00 | 6.3067 | 190.3067 | 7.2533 | 209.1333 | 11.55 | 11.3633 | 11.4767 | 18.0233 | 6.6033 | 890 | 64.4133 | 52.0993
2019-01-25 01:45:00 | 6.1133 | 126.0367 | 7.0333 | 138.5 | 11.4813 | 8.9833 | 11.3953 | 18.24 | 6.7033 | 890 | 63.6067 | 49.2173
2019-01-25 02:00:00 | 5.9933 | 62.1567 | 6.9 | 68.2933 | 11.2633 | 14.59 | 11.22 | 19.88 | 6.73 | 890 | 63.458 | 50.2727
2019-01-25 02:15:00 | 5.9933 | 176.8733 | 6.9 | 194.3667 | 11.22 | 15.1367 | 11.1867 | 19.4833 | 6.7867 | 890.5333 | 62.9267 | 50.6087
2019-01-25 02:30:00 | 5.9667 | 261.2667 | 6.8667 | 287.1 | 11.2733 | 5.2433 | 11.42 | 20.51 | 6.8 | 891 | 62.83 | 50.036
2019-01-25 02:45:00 | 5.84 | 208.09 | 6.7133 | 228.6667 | 10.8933 | 13.83 | 11 | 22.9733 | 6.8047 | 891 | 62.52 | 47.1767
2019-01-25 03:00:00 | 5.64 | 192.0167 | 6.4867 | 211 | 10.724 | 9.6967 | 10.8933 | 19.4733 | 6.82 | 891 | 62.2267 | 47.244
2019-01-25 03:15:00 | 5.5053 | 255.4593 | 6.3287 | 280.7267 | 10.5187 | 12.018 | 10.7793 | 18.2827 | 6.8067 | 891 | 61.8927 | 48.182
2019-01-25 03:30:00 | 5.8333 | 248.53 | 6.7133 | 273.1 | 10.9767 | 20.0867 | 11.24 | 20.04 | 6.78 | 891 | 61.87 | 47.3527
2019-01-25 03:45:00 | 6.0767 | 199.7733 | 6.99 | 219.5233 | 11.4133 | 14.6267 | 11.79 | 27.0667 | 6.7167 | 891 | 62.14 | 52.9333
2019-01-25 04:00:00 | 6.5167 | 226.2267 | 7.4967 | 248.59 | 11.784 | 20.8333 | 12.4233 | 32.8067 | 6.7033 | 891 | 61.8667 | 51.7587
2019-01-25 04:15:00 | 6.4767 | 79.3633 | 7.45 | 87.2133 | 11.6467 | 30.3933 | 12.4667 | 30.35 | 6.79 | 891 | 60.6567 | 52.5913
2019-01-25 04:30:00 | 6.7167 | 261.6567 | 7.7367 | 287.5333 | 12 | 20.8733 | 12.7267 | 29.5033 | 6.7873 | 891 | 60.1367 | 51.982
2019-01-25 04:45:00 | 6.1487 | 15.084 | 7.084 | 16.5747 | 11.058 | 17.248 | 12.168 | 33.3513 | 6.8127 | 891 | 58.974 | 49.3987
2019-01-25 05:00:00 | 6.2 | 36.2567 | 7.1367 | 39.8333 | 11.2033 | 23.6 | 11.9967 | 36.9833 | 6.8167 | 891 | 57.9533 | 49.562
2019-01-25 05:15:00 | 6.1267 | 266.9333 | 7.06 | 293.3333 | 11.37 | 22.2767 | 11.88 | 16.0133 | 6.8067 | 891 | 57.09 | 47.3873
2019-01-25 05:30:00 | 6.1133 | 265.0533 | 7.0333 | 291.2667 | 11.45 | 16.9567 | 11.8867 | 23.524 | 6.8133 | 891 | 56.5833 | 50.2533
2019-01-25 05:45:00 | 6.4933 | 185.9167 | 7.47 | 204.29 | 11.95 | 6.4933 | 12.39 | 33.0567 | 6.7733 | 891 | 56.1967 | 52.2747
2019-01-25 06:00:00 | 6.5133 | 27.29 | 7.4967 | 29.9833 | 11.87 | 15.9933 | 12.092 | 26.2833 | 6.76 | 891 | 55.7567 | 55.116
2019-01-25 06:15:00 | 6.8327 | 40.9073 | 7.856 | 44.952 | 12.4253 | 22.8853 | 12.882 | 29.8593 | 6.6413 | 891 | 55.8073 | 56.1867
2019-01-25 06:30:00 | 7.2467 | 102.4167 | 8.34 | 112.5467 | 13.0133 | 11.6267 | 13.082 | 21.78 | 6.6233 | 891 | 54.6607 | 57.128
2019-01-25 06:45:00 | 7.3633 | 232.66 | 8.47 | 255.6667 | 13.26 | 16.8433 | 13.38 | 28.3767 | 6.61 | 891 | 53.77 | 57.04
2019-01-25 07:00:00 | 7.5433 | 80.5133 | 8.6767 | 88.4733 | 13.56 | 18.7233 | 13.78 | 25.6367 | 6.586 | 891.2 | 52.8367 | 56.0773
2019-01-25 07:15:00 | 7.1933 | 306.61 | 8.2767 | 336.9333 | 13.03 | 25.39 | 13.34 | 20.6067 | 6.53 | 892 | 52.3433 | 56.0307
2019-01-25 07:30:00 | 7.2467 | 129.4433 | 8.3433 | 142.24 | 13.1967 | 15.3833 | 13.3667 | 24.5267 | 6.4767 | 892 | 51.7233 | 57.236
2019-01-25 07:45:00 | 8.064 | 70.26 | 9.282 | 77.196 | 14.4 | 19.756 | 14.308 | 25.104 | 6.334 | 892 | 51 | 58.3387
2019-01-25 08:00:00 | 7.664 | 295.722 | 8.824 | 324.96 | 13.62 | 20.658 | 13.668 | 28.814 | 6.274 | 892 | 50.03 | 58.6607
2019-01-25 08:15:00 | 7.5467 | 124.9033 | 8.6833 | 137.2467 | 13.6267 | 13.8667 | 13.3867 | 19.2433 | 6.1967 | 892 | 48.7267 | 58.548
2019-01-25 08:30:00 | 7.4333 | 319.7833 | 8.5633 | 351.4 | 13.6333 | 13.2867 | 13.58 | 31.5633 | 6.15 | 892.8667 | 47.88 | 58.198
2019-01-25 08:45:00 | 7.26 | 292.73 | 8.35 | 321.6667 | 13.1333 | 21.1233 | 13.09 | 23.4133 | 6.1667 | 893 | 46.8567 | 57.414
2019-01-25 09:00:00 | 7.8267 | 88.3633 | 9.0033 | 97.0933 | 13.9733 | 15.81 | 13.9567 | 23.4733 | 6.2 | 893 | 46.33 | 57.5527
2019-01-25 09:15:00 | 7.71 | 26.8033 | 8.8767 | 29.45 | 13.8033 | 20.6533 | 13.84 | 30.2233 | 6.2767 | 893.5333 | 44.76 | 57.7127
2019-01-25 09:30:00 | 7.23 | 191.3167 | 8.3233 | 210.2233 | 13.1033 | 14.9133 | 13.1333 | 25.1767 | 6.3433 | 894 | 43.8867 | 56.8753
2019-01-25 09:45:00 | 7.8133 | 116.4433 | 8.9867 | 127.9533 | 13.6967 | 18.6967 | 13.4667 | 25.65 | 6.4567 | 894 | 42.88 | 57.7293
2019-01-25 10:00:00 | 7.6467 | 176.7567 | 8.7933 | 194.2333 | 13.65 | 15.6633 | 13.6267 | 22.2767 | 6.5767 | 894 | 41.8 | 57.208
2019-01-25 10:15:00 | 7.2767 | 246.7733 | 8.37 | 271.1667 | 13.12 | 10.3767 | 13.28 | 10.9 | 6.8267 | 894.5333 | 40.6967 | 56.474
2019-01-25 10:30:00 | 7.4033 | 187.7933 | 8.5167 | 206.3667 | 13.2867 | 8.77 | 13 | 15.54 | 7.1 | 895 | 39.25 | 55.1333
2019-01-25 10:45:00 | 7.1867 | 250.2033 | 8.2667 | 274.9333 | 12.87 | 12.58 | 12.6233 | 18.1233 | 7.3667 | 895 | 37.6933 | 53.44
2019-01-25 11:00:00 | 7.12 | 232.67 | 8.1867 | 255.6667 | 12.5833 | 11.04 | 12.4833 | 14.8767 | 7.58 | 895.2 | 36.62 | 50.2387
2019-01-25 11:15:00 | 6.98 | 45.4 | 8.04 | 49.89 | 12.12 | 10.0733 | 11.89 | 19.72 | 7.95 | 896 | 35.5067 | 49.66
2019-01-25 11:30:00 | 6.924 | 143.2333 | 7.962 | 157.3967 | 11.998 | 13.1 | 11.4767 | 16.3467 | 8.3967 | 896 | 34.7133 | 47.07
2019-01-25 11:45:00 | 6.6367 | 214.3267 | 7.6367 | 235.5133 | 11.2433 | 13.6933 | 10.4667 | 68.8467 | 9.1033 | 896 | 33.5333 | 41.934
2019-01-25 12:00:00 | 6.4433 | 218.3867 | 7.4167 | 239.98 | 10.9233 | 9.6933 | 10.3333 | 61.5867 | 8.9967 | 896 | 33.6333 | 37.4407
2019-01-25 12:15:00 | 5.99 | 19.77 | 6.89 | 21.72 | 10.2167 | 27.2867 | 9.68 | 25.8467 | 9.46 | 896 | 32.92 | 31.2313
2019-01-25 12:30:00 | 5.3633 | 10.71 | 6.1767 | 11.7667 | 9.4233 | 13.7 | 8.8667 | 7.8467 | 9.7733 | 896 | 32 | 23.5067
2019-01-25 12:45:00 | 5.0067 | 30.1033 | 5.76 | 33.0733 | 8.4233 | 4.76 | 7.9167 | 12.4933 | 9.6847 | 896 | 32.2933 | 16.9647
2019-01-25 13:00:00 | 4.3933 | 12.0367 | 5.06 | 13.22 | 7.35 | 8.78 | 6.9033 | 20.9667 | 9.88 | 896 | 32.5067 | 13.2913
2019-01-25 13:15:00 | 4.2033 | 19.0833 | 4.8367 | 20.9667 | 6.55 | 16.16 | 6.32 | 27.7367 | 10.44 | 896 | 31.6567 | 12.224
2019-01-25 13:30:00 | 4.21 | 13.0727 | 4.8487 | 14.356 | 6.6953 | 14.244 | 6.2827 | 30.2087 | 10.8093 | 896 | 31.4007 | 10.2493
2019-01-25 13:45:00 | 3.5733 | 217.34 | 4.1067 | 238.83 | 5.2067 | 19.23 | 4.9833 | 36.92 | 10.55 | 896 | 31.9133 | 7.9747
2019-01-25 14:00:00 | 3.7067 | 213.3333 | 4.2667 | 234.43 | 5.6 | 18.4033 | 5.3367 | 28.6067 | 10.8033 | 895.8 | 31.9733 | 8.12
2019-01-25 14:15:00 | 3.42 | 20.5833 | 3.94 | 22.62 | 4.98 | 24.6333 | 4.6867 | 24.6 | 11.2507 | 895 | 31.4367 | 6.1327
2019-01-25 14:30:00 | 3.72 | 219.2633 | 4.2733 | 240.9467 | 5.48 | 20.4533 | 5.14 | 17.46 | 11.3133 | 895 | 31.5433 | 6.0053
2019-01-25 14:45:00 | 3.4833 | 220.2833 | 4.0033 | 242.0667 | 5.44 | 15.0867 | 5.0667 | 32.6933 | 11.17 | 895 | 32.1733 | 4.854
2019-01-25 15:00:00 | 3.1633 | 20.8967 | 3.6367 | 22.96 | 4.8667 | 8.3733 | 4.4133 | 18.4067 | 11.3167 | 895 | 32.1 | 2.2793
2019-01-25 15:15:00 | 2.98 | 111.5233 | 3.4367 | 122.5533 | 4.4233 | 25.7167 | 4.0867 | 11.16 | 11.0833 | 895 | 32.68 | 0.55067
2019-01-25 15:30:00 | 2.7333 | 110.9633 | 3.1433 | 121.94 | 3.87 | 15.8033 | 3.7533 | 17.5267 | 11.1433 | 895 | 32.7533 | 0
2019-01-25 15:45:00 | 2.3267 | 198.05 | 2.68 | 217.63 | 3.26 | 25.5867 | 2.8167 | 18.18 | 11.2467 | 895 | 32.7873 | 0
2019-01-25 16:00:00 | 2.1 | 210.6633 | 2.42 | 231.4967 | 3.06 | 10.4867 | 2.5233 | 249.0933 | 11.124 | 895 | 33.1067 | 0
2019-01-25 16:15:00 | 1.8267 | 23.9033 | 2.1033 | 26.2633 | 2.59 | 20.2967 | 2.1233 | 6.52 | 11.04 | 895 | 33.5367 | 0
2019-01-25 16:30:00 | 1.4733 | 17.1233 | 1.7033 | 18.81 | 2.3167 | 25.3033 | 1.8167 | 22.64 | 11.2333 | 895 | 33.37 | 0
2019-01-25 16:45:00 | 0.67333 | 109.6533 | 0.78333 | 120.5 | 0.89 | 28.24 | 0.67 | 87.4533 | 10.81 | 895 | 33.94 | 0
2019-01-25 17:00:00 | 0.97333 | 208.9067 | 1.1167 | 229.5667 | 1.13 | 133.3333 | 1.41 | 195.0667 | 10.712 | 895 | 34.9333 | 0.41467
2019-01-25 17:15:00 | 2.4 | 129.6733 | 2.7633 | 142.5 | 3.07 | 151.8333 | 3.0433 | 176.7667 | 10.5167 | 895 | 36.2267 | 0.16
2019-01-25 17:30:00 | 2.3867 | 175.48 | 2.7567 | 192.8333 | 2.9167 | 178.3 | 3.0767 | 183.7667 | 10.35 | 895 | 37.46 | 0
2019-01-25 17:45:00 | 2.0833 | 126.1667 | 2.4067 | 138.6333 | 2.5133 | 176.4 | 2.72 | 179.9333 | 10.2067 | 895 | 38.0933 | 0
2019-01-25 18:00:00 | 2.0767 | 178.9467 | 2.4 | 196.6333 | 2.7733 | 189.9333 | 2.88 | 187.6 | 10.0533 | 894.1333 | 38.74 | 0
2019-01-25 18:15:00 | 2.3833 | 184.92 | 2.7433 | 203.2 | 3.41 | 221.4667 | 3.5633 | 235.9333 | 9.7633 | 894 | 40.01 | 3.954
2019-01-25 18:30:00 | 2.856 | 194.876 | 3.285 | 214.14 | 4.086 | 228.4 | 4.3 | 247.63 | 9.545 | 894 | 41.088 | 8.743
2019-01-25 18:45:00 | 2.9933 | 161.7667 | 3.4467 | 177.7667 | 4.12 | 235.6333 | 4.6433 | 233.6 | 9.2633 | 895 | 43.44 | 8.4247
2019-01-25 19:00:00 | 3.18 | 170.3333 | 3.66 | 187.1667 | 4.2533 | 231.2333 | 4.49 | 230.7333 | 9.11 | 895 | 44.12 | 7.4333
2019-01-25 19:15:00 | 2.2733 | 216.7933 | 2.6167 | 238.2333 | 3.23 | 231.7 | 3.58 | 217.9 | 8.8633 | 894.4667 | 45.5467 | 6.24
2019-01-25 19:30:00 | 2.14 | 179.0067 | 2.4633 | 196.7 | 2.9433 | 237.9 | 3.62 | 225.4333 | 8.6767 | 894.8667 | 46.54 | 5.8727
2019-01-25 19:45:00 | 2.68 | 145.3 | 3.0833 | 159.6667 | 3.7367 | 227.9 | 4.3833 | 231.2333 | 8.52 | 895 | 47.5833 | 6.314
2019-01-25 20:00:00 | 2.68 | 171.2 | 3.0967 | 188.1333 | 3.7233 | 226.8533 | 4.2033 | 224.9667 | 8.46 | 895 | 48.31 | 5.5407
2019-01-25 20:15:00 | 2.7233 | 174.1167 | 3.1367 | 191.3333 | 3.8667 | 226.0867 | 4.2333 | 224.8333 | 8.3633 | 895 | 49.3667 | 5.7547
2019-01-25 20:30:00 | 2.9233 | 175.6367 | 3.3633 | 193 | 4.0067 | 225.6467 | 4.2 | 223.7667 | 8.3833 | 895 | 49.582 | 4.6787
2019-01-25 20:45:00 | 2.51 | 167.9533 | 2.8867 | 184.5667 | 3.44 | 213.9667 | 3.56 | 212.3667 | 8.3467 | 895 | 50.0867 | 3.9807
2019-01-25 21:00:00 | 2.4833 | 176.9333 | 2.8533 | 194.4333 | 3.3667 | 208.7 | 3.5533 | 215.6333 | 8.3333 | 895 | 50.26 | 4.1573
2019-01-25 21:15:00 | 2.4933 | 176.3867 | 2.8767 | 193.8333 | 3.3313 | 217.9333 | 3.6633 | 223.4 | 8.2133 | 895 | 51.09 | 4.2893
2019-01-25 21:30:00 | 2.2867 | 198.7133 | 2.6367 | 218.3667 | 3.2067 | 223.7333 | 3.2233 | 211.2667 | 7.9733 | 895 | 52.1233 | 3.9047
2019-01-25 21:45:00 | 2.0933 | 180.36 | 2.41 | 198.2 | 3.0067 | 214.4667 | 3.1333 | 229.6667 | 7.87 | 895 | 52.4213 | 5.6087
2019-01-25 22:00:00 | 2.28 | 185.946 | 2.6233 | 204.34 | 3.3467 | 230.7333 | 3.6867 | 225.5333 | 7.806 | 895.8667 | 53.0067 | 3.044
2019-01-25 22:15:00 | 1.47 | 174.55 | 1.7 | 191.8 | 2.57 | 220 | 2.69 | 225.8 | 7.69 | 896 | 53.41 | 1.986
2019-01-25 22:30:00 | 2.1 | 178.36 | 2.43 | 196 | 3.335 | 222.6 | 3.32 | 223.1 | 7.495 | 895.2 | 54.665 | 2.089
2019-01-25 22:45:00 | 2.0867 | 191.5333 | 2.4067 | 210.4667 | 3.25 | 230.3333 | 3.22 | 228.6 | 7.41 | 895 | 56.2067 | 0.74333
2019-01-25 23:00:00 | 1.78 | 171.0267 | 2.0467 | 187.9333 | 3.13 | 241.6667 | 3.2267 | 240.1333 | 7.41 | 895 | 57.2333 | 0
2019-01-25 23:15:00 | 1.0867 | 292.2933 | 1.2467 | 321.2 | 1.93 | 249.2333 | 1.44 | 238.9 | 7.33 | 895 | 58.7333 | 0
2019-01-25 23:30:00 | 0.58667 | 289.2 | 0.67333 | 317.8 | 1.07 | 271.5667 | 0.71333 | 270.4933 | 7.308 | 895 | 59.04 | 0
2019-01-25 23:45:00 | 0.21667 | 262.7867 | 0.25667 | 288.7667 | 0.41333 | 281.0667 | 0.1 | 287.6 | 7.3233 | 895 | 59.92 | 0