## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-26 00:00:00 | 0.056667 | 244.4 | 0.063333 | 268.5667 | 0.1 | 278.42 | 0.21333 | 287.62 | 7.4033 | 895 | 60.108 | 0
2019-01-26 00:15:00 | 0.36333 | 237.7833 | 0.42333 | 261.3 | 0.71667 | 282.0667 | 0.72333 | 287.7 | 7.48 | 895 | 59.6967 | 0
2019-01-26 00:30:00 | 0.58333 | 242.33 | 0.67667 | 266.3 | 1.1633 | 292.8 | 0.93 | 287.7 | 7.4733 | 895 | 60.37 | 0
2019-01-26 00:45:00 | 0.26667 | 242.33 | 0.30667 | 266.3 | 0.51 | 285.2 | 0.50333 | 287.7 | 7.4067 | 895 | 61.21 | 0
2019-01-26 01:00:00 | 0.48 | 242.408 | 0.56 | 266.3867 | 0.95667 | 258.4867 | 0.70333 | 265.5667 | 7.3467 | 895 | 62.0233 | 0
2019-01-26 01:15:00 | 0.84333 | 2.0833 | 0.98 | 2.2833 | 1.4933 | 48.4567 | 1.2033 | 169.7267 | 7.23 | 895 | 61.3933 | 0
2019-01-26 01:30:00 | 1.47 | 212.59 | 1.6933 | 233.6167 | 2.1933 | 17.07 | 1.57 | 0.66667 | 6.8767 | 895 | 59.54 | 0
2019-01-26 01:45:00 | 1.7267 | 305.6967 | 1.9933 | 335.9333 | 2.9433 | 12.19 | 3.08 | 19.0967 | 6.7067 | 895 | 58.98 | 0
2019-01-26 02:00:00 | 1.98 | 293.5033 | 2.28 | 322.5333 | 3.7767 | 11.8967 | 3.78 | 20.77 | 6.56 | 895 | 59.34 | 1.0487
2019-01-26 02:15:00 | 2.2933 | 63.276 | 2.6427 | 69.538 | 4.1327 | 2.758 | 4.2693 | 14.122 | 6.4 | 895 | 58.8647 | 3.7267
2019-01-26 02:30:00 | 2.7667 | 119.5933 | 3.1833 | 131.4133 | 4.3533 | 240.82 | 4.42 | 24.49 | 6.4353 | 894.8 | 57.4267 | 5.5267
2019-01-26 02:45:00 | 2.79 | 116.234 | 3.2173 | 127.7213 | 4.5627 | 143.526 | 4.6053 | 13.7647 | 6.3393 | 894 | 58.14 | 5.3013
2019-01-26 03:00:00 | 2.8733 | 105.81 | 3.3067 | 116.2667 | 4.59 | 120.94 | 4.7447 | 9.33 | 6.2467 | 894 | 58.69 | 4.8827
2019-01-26 03:15:00 | 2.6967 | 138.0867 | 3.1 | 151.74 | 4.6767 | 355.6667 | 4.4567 | 240.47 | 6.1233 | 894 | 59.4267 | 4.6387
2019-01-26 03:30:00 | 2.7433 | 105.0467 | 3.1533 | 115.4267 | 4.9033 | 353.8 | 4.7633 | 13.3167 | 6.0367 | 894 | 60.3467 | 5.108
2019-01-26 03:45:00 | 2.66 | 23.4233 | 3.0633 | 25.7333 | 4.6467 | 345.3667 | 4.6033 | 9.8067 | 5.9927 | 894 | 60.67 | 6.6607
2019-01-26 04:00:00 | 2.6733 | 27.51 | 3.07 | 30.2267 | 4.74 | 115.0067 | 4.8033 | 15.0933 | 5.9767 | 894 | 60.8033 | 6.318
2019-01-26 04:15:00 | 2.4267 | 12 | 2.7967 | 13.1833 | 4.1533 | 9.6633 | 4.0933 | 12.3633 | 5.9887 | 894 | 60.716 | 5.4387
2019-01-26 04:30:00 | 2.9733 | 217.8667 | 3.43 | 239.4033 | 4.3067 | 7.85 | 4.4533 | 225.53 | 5.9533 | 894 | 61.0133 | 6.3147
2019-01-26 04:45:00 | 3.1187 | 7.9833 | 3.5933 | 8.77 | 5.2433 | 231.7233 | 5.1733 | 55.8667 | 5.918 | 894 | 61.4233 | 6.2233
2019-01-26 05:00:00 | 2.7567 | 20.45 | 3.18 | 22.47 | 4.8367 | 15.9833 | 4.9267 | 11.9333 | 5.8133 | 893.8 | 62.1233 | 6.7673
2019-01-26 05:15:00 | 3.0233 | 306.7267 | 3.48 | 337.0667 | 5.44 | 119.0867 | 5.3033 | 12.9267 | 5.7533 | 893 | 62.5 | 7.6533
2019-01-26 05:30:00 | 3.17 | 137.56 | 3.6533 | 151.16 | 5.44 | 350.5333 | 5.03 | 3.4467 | 5.76 | 893 | 62.456 | 8.894
2019-01-26 05:45:00 | 3.1067 | 324.87 | 3.5733 | 357 | 4.8633 | 17.8133 | 4.81 | 20.2433 | 5.6967 | 893 | 62.87 | 7.434
2019-01-26 06:00:00 | 3.1867 | 318.7433 | 3.6667 | 350.2667 | 4.87 | 6.8533 | 4.9567 | 17.9233 | 5.69 | 893 | 62.9587 | 9.738
2019-01-26 06:15:00 | 2.94 | 313.378 | 3.3833 | 344.3667 | 4.87 | 240.48 | 4.8933 | 12.11 | 5.6067 | 893 | 64.02 | 6.846
2019-01-26 06:30:00 | 2.66 | 133.8367 | 3.0567 | 147.0667 | 4.57 | 8.1533 | 4.6333 | 15.4167 | 5.52 | 893 | 64.74 | 6.1347
2019-01-26 06:45:00 | 2.214 | 296.8733 | 2.546 | 326.2333 | 4.2847 | 95.1767 | 4.2793 | 271.96 | 5.34 | 893 | 67.0093 | 4.4507
2019-01-26 07:00:00 | 1.9267 | 122.5333 | 2.2233 | 134.6467 | 3.5933 | 345.6333 | 3.78 | 257.1667 | 5.1833 | 893 | 68.56 | 3.898
2019-01-26 07:15:00 | 2.2933 | 210.8433 | 2.64 | 231.6833 | 4.28 | 118.7667 | 4.09 | 19.5033 | 5.0133 | 893 | 70.63 | 5.114
2019-01-26 07:30:00 | 2.5467 | 19.5433 | 2.9333 | 21.47 | 4.5533 | 125.9 | 4.37 | 14.6567 | 4.9467 | 893.2 | 71.11 | 5.0127
2019-01-26 07:45:00 | 2.6633 | 8.8 | 3.0733 | 9.6633 | 5.0067 | 8.3333 | 5.1633 | 23.7733 | 4.77 | 894 | 73.6733 | 10.1867
2019-01-26 08:00:00 | 3.5833 | 21.0867 | 4.12 | 23.17 | 6.7467 | 13.8 | 6.7567 | 23.0133 | 4.5767 | 894 | 76.0267 | 14.744
2019-01-26 08:15:00 | 3.92 | 103.3667 | 4.51 | 113.59 | 7.4967 | 19.5867 | 7.6067 | 32.1633 | 4.3067 | 894 | 80.3933 | 19.4753
2019-01-26 08:30:00 | 4.24 | 5.92 | 4.8833 | 6.5033 | 8.0433 | 20.98 | 7.9733 | 29.7833 | 3.9733 | 894 | 84.8333 | 23.9367
2019-01-26 08:45:00 | 3.8733 | 319.3533 | 4.46 | 350.9333 | 7.4467 | 9.0067 | 7.5867 | 19.5367 | 3.6167 | 894 | 88.4667 | 24.38
2019-01-26 09:00:00 | 4.18 | 309.58 | 4.82 | 340.2 | 7.6333 | 18.0333 | 7.6467 | 21.4167 | 3.37 | 894 | 90.7333 | 23.838
2019-01-26 09:15:00 | 4.0733 | 317.2867 | 4.68 | 348.6667 | 7.0067 | 21.9033 | 6.59 | 25.42 | 3.1533 | 894 | 92.9333 | 21.934
2019-01-26 09:30:00 | 3.8 | 110.9867 | 4.3667 | 121.9533 | 6.2867 | 14.9967 | 6.23 | 17.96 | 3 | 894 | 95 | 22.088
2019-01-26 09:45:00 | 3.8113 | 214.55 | 4.3833 | 235.7567 | 6.0333 | 346.2333 | 6.03 | 125.08 | 2.85 | 894 | 96.5667 | 23.6647
2019-01-26 10:00:00 | 3.9133 | 0.35 | 4.4967 | 0.38333 | 6.5 | 124.5 | 6.5567 | 132.7333 | 2.79 | 894 | 97.5667 | 23.1007
2019-01-26 10:15:00 | 4.0053 | 206.1847 | 4.6053 | 226.5773 | 6.6707 | 17.362 | 6.564 | 17.8327 | 2.744 | 894 | 98.5067 | 23.6547
2019-01-26 10:30:00 | 3.98 | 220.1767 | 4.5733 | 241.9467 | 6.32 | 242.18 | 6.1367 | 10.3633 | 2.68 | 894 | 99 | 24.364
2019-01-26 10:45:00 | 4.3067 | 197.58 | 4.96 | 217.1167 | 6.9933 | 15.0467 | 6.71 | 12.2833 | 2.62 | 894 | 99.3667 | 24.8887
2019-01-26 11:00:00 | 4.28 | 33.44 | 4.9267 | 36.7367 | 7.0467 | 8.92 | 6.852 | 7.8367 | 2.6 | 894 | 99.52 | 26.0133
2019-01-26 11:15:00 | 4.2867 | 122.2533 | 4.9333 | 134.34 | 6.97 | 16.9633 | 6.74 | 11.6733 | 2.4867 | 894 | 99.6533 | 23.4927
2019-01-26 11:30:00 | 3.9467 | 313.58 | 4.54 | 344.58 | 6.0167 | 16.3433 | 5.88 | 12.0467 | 2.44 | 894 | 99.92 | 20.5947
2019-01-26 11:45:00 | 3.6867 | 314.0833 | 4.24 | 345.1333 | 6.0133 | 17.7267 | 5.91 | 10.44 | 2.4533 | 894 | 100 | 19.4067
2019-01-26 12:00:00 | 3.6 | 111.3967 | 4.1467 | 122.4067 | 5.9267 | 21.0667 | 5.7967 | 6.96 | 2.44 | 894 | 100 | 20.534
2019-01-26 12:15:00 | 3.7933 | 47.4367 | 4.3667 | 52.1267 | 6.4367 | 15.04 | 6.3367 | 18.1367 | 2.4313 | 894 | 100 | 21.6247
2019-01-26 12:30:00 | 3.8667 | 41.2167 | 4.4467 | 45.2867 | 7.0167 | 18.7733 | 6.7967 | 19.5967 | 2.3867 | 894 | 100 | 22.3533
2019-01-26 12:45:00 | 4 | 280.2533 | 4.6 | 307.9667 | 7.0467 | 12.81 | 6.852 | 13.41 | 2.37 | 894 | 100 | 21.066
2019-01-26 13:00:00 | 3.88 | 99.24 | 4.46 | 109.0533 | 6.72 | 6.2233 | 6.3967 | 6.5967 | 2.31 | 893.1333 | 100 | 18.9487
2019-01-26 13:15:00 | 4.0333 | 293.45 | 4.6367 | 322.4667 | 6.5167 | 1.69 | 6.3567 | 13.2967 | 2.2833 | 893 | 100 | 20.202
2019-01-26 13:30:00 | 3.9667 | 293.0233 | 4.5633 | 322 | 6.6367 | 1.69 | 6.4767 | 16.6033 | 2.2567 | 892.1333 | 100 | 22.0613
2019-01-26 13:45:00 | 4.24 | 312.2 | 4.88 | 343.0667 | 6.8733 | 7.9633 | 6.8533 | 17.4533 | 2.1867 | 892 | 100 | 20.5533
2019-01-26 14:00:00 | 4.24 | 174.0533 | 4.8867 | 191.2667 | 6.778 | 0.55 | 6.72 | 21.4267 | 2.1267 | 891.8 | 100 | 19.5747
2019-01-26 14:15:00 | 4.5467 | 1.8333 | 5.2333 | 2.0133 | 6.8533 | 132.3267 | 6.6767 | 14.1267 | 2.0467 | 891 | 100 | 22.5527
2019-01-26 14:30:00 | 4.6667 | 195.2267 | 5.3667 | 214.5333 | 6.9133 | 127.38 | 6.83 | 15.2267 | 2.0067 | 890.8 | 100 | 19.9653
2019-01-26 14:45:00 | 4.2667 | 54.1467 | 4.9067 | 59.5 | 6.47 | 15.23 | 6.3633 | 12.6333 | 2.0267 | 890 | 100 | 17.7593
2019-01-26 15:00:00 | 4.04 | 233.38 | 4.6533 | 256.4667 | 6.7233 | 225.5033 | 6.37 | 7.3933 | 2.0467 | 890 | 100 | 16.1373
2019-01-26 15:15:00 | 3.86 | 315.6867 | 4.4367 | 346.9 | 6.6167 | 9.3233 | 6.4833 | 122.3867 | 2.0667 | 890 | 100 | 12.66
2019-01-26 15:30:00 | 3.9733 | 110.3533 | 4.5767 | 121.26 | 6.4833 | 2.7433 | 6.11 | 125.6333 | 2.0467 | 889.3333 | 100 | 13.0907
2019-01-26 15:45:00 | 4.1333 | 261.4767 | 4.7533 | 287.3333 | 6.4233 | 7.13 | 6.1867 | 9.87 | 2.0133 | 890 | 100 | 13.51
2019-01-26 16:00:00 | 3.9733 | 101.7233 | 4.58 | 111.78 | 6.3767 | 13.97 | 6.1467 | 14.1967 | 2 | 889.1333 | 100 | 12.0873
2019-01-26 16:15:00 | 4.1333 | 111.52 | 4.7567 | 122.5467 | 6.28 | 12.86 | 5.9333 | 7.7367 | 1.9333 | 889 | 100 | 10.4947
2019-01-26 16:30:00 | 4.0667 | 99.8467 | 4.6833 | 109.72 | 5.7667 | 240.5133 | 5.5467 | 11.9233 | 1.92 | 889 | 100 | 8.0867
2019-01-26 16:45:00 | 3.8867 | 101.7367 | 4.4667 | 111.7867 | 5.35 | 3.4367 | 5.3233 | 17.83 | 1.9233 | 889 | 100 | 8.4073
2019-01-26 17:00:00 | 3.8667 | 127.1767 | 4.4467 | 139.7467 | 5.5033 | 240.0567 | 5.37 | 13.1767 | 1.8967 | 889 | 100 | 8.776
2019-01-26 17:15:00 | 3.96 | 12.09 | 4.5633 | 13.2767 | 5.89 | 3.4567 | 5.67 | 8.2933 | 1.9167 | 889 | 100 | 7.6267
2019-01-26 17:30:00 | 4.0533 | 5.5833 | 4.6633 | 6.1367 | 5.8233 | 2.3833 | 5.47 | 2.5733 | 1.9167 | 889 | 100 | 6.63
2019-01-26 17:45:00 | 4.2967 | 220.8467 | 4.94 | 242.68 | 6.2267 | 1.89 | 5.81 | 12.2467 | 1.9267 | 889 | 100 | 6.9607
2019-01-26 18:00:00 | 4.1767 | 7.2667 | 4.8067 | 7.98 | 5.7133 | 9.7367 | 5.5633 | 12.8267 | 1.9 | 889 | 100 | 9.3493
2019-01-26 18:15:00 | 3.9433 | 201.1267 | 4.55 | 221.02 | 5.7667 | 15.4567 | 5.25 | 15.3167 | 1.8867 | 889 | 100 | 10.716
2019-01-26 18:30:00 | 4.0833 | 25.9333 | 4.71 | 28.4933 | 5.88 | 14.11 | 5.6167 | 13.2433 | 1.8733 | 889 | 100 | 11.3967
2019-01-26 18:45:00 | 4.24 | 105.5633 | 4.8833 | 116 | 5.8267 | 126.6867 | 5.58 | 11.9667 | 1.87 | 889 | 100 | 10.728
2019-01-26 19:00:00 | 4.0133 | 316.308 | 4.6167 | 347.58 | 5.3733 | 121.64 | 5.06 | 12.78 | 1.9033 | 889 | 100 | 11.5133
2019-01-26 19:15:00 | 3.9667 | 0.99667 | 4.5633 | 1.0833 | 5.4033 | 127.5933 | 5.0533 | 14.0067 | 1.9167 | 889 | 100 | 12.1607
2019-01-26 19:30:00 | 4.284 | 168.404 | 4.94 | 185.06 | 5.854 | 141.232 | 5.59 | 8.288 | 1.91 | 889 | 100 | 10.0133
2019-01-26 19:45:00 | 4.064 | 126.126 | 4.68 | 138.6 | 5.722 | 3.544 | 5.368 | 15.874 | 1.902 | 889 | 100 | 10.6187
2019-01-26 20:00:00 | 4.3867 | 105.73 | 5.0533 | 116.1867 | 5.87 | 12.4667 | 5.92 | 11.8567 | 1.9167 | 889.8667 | 100 | 12.7493
2019-01-26 20:15:00 | 4.6233 | 18.0167 | 5.3167 | 19.7967 | 6.68 | 241.0467 | 6.3933 | 11.0667 | 1.92 | 890 | 100 | 14.2293
2019-01-26 20:30:00 | 4.3767 | 222.2433 | 5.03 | 244.2167 | 6.6333 | 9.4933 | 6.3733 | 12.2667 | 1.9133 | 890 | 100 | 14.2293
2019-01-26 20:45:00 | 4.4133 | 196.55 | 5.0767 | 215.98 | 6.49 | 15.4033 | 6.4033 | 17.2867 | 1.8833 | 890 | 100 | 13.362
2019-01-26 21:00:00 | 3.9133 | 214.8033 | 4.5033 | 236.0467 | 5.9567 | 13.8033 | 5.57 | 24.1 | 1.87 | 890 | 100 | 13.436
2019-01-26 21:15:00 | 3.8867 | 5.9833 | 4.4733 | 6.57 | 5.98 | 354.5667 | 5.5533 | 10.88 | 1.8567 | 890 | 100 | 10.8193
2019-01-26 21:30:00 | 4.1267 | 17.69 | 4.76 | 19.43 | 6.3267 | 352.4333 | 5.9333 | 242.86 | 1.8433 | 890 | 100 | 10.082
2019-01-26 21:45:00 | 4.62 | 319.8933 | 5.3133 | 351.5333 | 5.86 | 1.5833 | 5.63 | 18.54 | 1.8233 | 890 | 100 | 9.002
2019-01-26 22:00:00 | 4.3267 | 111.7667 | 4.9733 | 122.82 | 5.9267 | 4.4167 | 5.8033 | 19.0733 | 1.83 | 890 | 100 | 11.9747
2019-01-26 22:15:00 | 4.03 | 163.4433 | 4.6467 | 179.6 | 6.2167 | 25.1167 | 6.16 | 6.39 | 1.8033 | 890 | 100 | 12.0107
2019-01-26 22:30:00 | 3.71 | 318.8033 | 4.2667 | 350.3333 | 5.5167 | 17.6567 | 5.3667 | 20.21 | 1.8167 | 890 | 100 | 13.3527
2019-01-26 22:45:00 | 3.8467 | 99.1467 | 4.4267 | 108.9467 | 6.19 | 11.4633 | 5.85 | 22.43 | 1.8167 | 890 | 100 | 16.3247
2019-01-26 23:00:00 | 4.06 | 290.02 | 4.68 | 318.7 | 6.4167 | 14.27 | 6.1767 | 12.57 | 1.79 | 890 | 100 | 15.5733
2019-01-26 23:15:00 | 3.6267 | 301.45 | 4.1767 | 331.2667 | 6.17 | 20.48 | 5.7567 | 14.3467 | 1.7867 | 890 | 100 | 17.9173
2019-01-26 23:30:00 | 3.7733 | 322.93 | 4.3433 | 354.8667 | 6.5233 | 14.76 | 6.2233 | 22.66 | 1.76 | 890.2 | 100 | 19.144
2019-01-26 23:45:00 | 3.7333 | 111.9267 | 4.3033 | 122.9867 | 6.9433 | 14.61 | 6.7267 | 22.0567 | 1.7467 | 891 | 100 | 21.4573