## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-27 00:00:00 | 4.1333 | 123.8867 | 4.7567 | 136.14 | 7.53 | 15.3433 | 7.3067 | 26.37 | 1.7133 | 891 | 100 | 24.7747
2019-01-27 00:15:00 | 4.3 | 219.9233 | 4.9433 | 241.6667 | 7.9667 | 12.53 | 8.0833 | 20.7833 | 1.6833 | 891 | 100 | 24.736
2019-01-27 00:30:00 | 4.2133 | 305.8767 | 4.85 | 336.1333 | 7.6667 | 14.57 | 7.59 | 17.7833 | 1.6633 | 891 | 100 | 24.646
2019-01-27 00:45:00 | 4.48 | 213.7033 | 5.15 | 234.8333 | 7.4167 | 11.49 | 7.49 | 14.35 | 1.6167 | 891 | 100 | 24.398
2019-01-27 01:00:00 | 4.578 | 202.434 | 5.27 | 222.44 | 7.454 | 205.988 | 7.444 | 17.92 | 1.604 | 890.1333 | 100 | 27.652
2019-01-27 01:15:00 | 4.8533 | 159.64 | 5.5933 | 175.4167 | 8.11 | 15.2467 | 7.87 | 21.7933 | 1.5533 | 890 | 100 | 27.602
2019-01-27 01:30:00 | 4.88 | 206.16 | 5.62 | 226.55 | 7.7767 | 12.6 | 7.4967 | 20.14 | 1.4933 | 890.2 | 100 | 27.8767
2019-01-27 01:45:00 | 5.0333 | 324.69 | 5.7967 | 356.8 | 7.8133 | 32.1833 | 7.6833 | 17.1733 | 1.4633 | 891 | 100 | 26.1933
2019-01-27 02:00:00 | 4.7467 | 323.206 | 5.4567 | 355.1733 | 8.2467 | 19.11 | 8.1567 | 19.1867 | 1.4767 | 890.8 | 100 | 26.056
2019-01-27 02:15:00 | 4.6467 | 3.74 | 5.35 | 4.1067 | 7.92 | 22.2667 | 7.68 | 22.43 | 1.4733 | 890 | 100 | 27.0813
2019-01-27 02:30:00 | 4.8467 | 213.0667 | 5.5767 | 234.1333 | 7.9267 | 15.1467 | 7.8867 | 21.91 | 1.46 | 890 | 100 | 27.712
2019-01-27 02:45:00 | 4.7967 | 114.8933 | 5.5167 | 126.2467 | 7.89 | 17.0633 | 7.7433 | 22.6267 | 1.4767 | 890 | 100 | 27.49
2019-01-27 03:00:00 | 4.93 | 106.94 | 5.67 | 117.52 | 7.4167 | 7.43 | 7.3833 | 18.2933 | 1.47 | 890 | 100 | 28.3573
2019-01-27 03:15:00 | 4.5467 | 13.8 | 5.2367 | 15.1633 | 7.8 | 121.0067 | 7.4367 | 8.4333 | 1.4833 | 890 | 100 | 27.0007
2019-01-27 03:30:00 | 4.2267 | 206.6867 | 4.8633 | 227.1233 | 7.2067 | 118.8333 | 7.17 | 23.3533 | 1.49 | 890 | 100 | 27.4647
2019-01-27 03:45:00 | 4.7067 | 12.9467 | 5.4133 | 14.2233 | 7.46 | 6.72 | 7.42 | 11.09 | 1.4733 | 890 | 100 | 28.078
2019-01-27 04:00:00 | 4.84 | 17.38 | 5.5667 | 19.09 | 7.0267 | 11.0067 | 7.1467 | 22.15 | 1.46 | 890 | 100 | 30.0327
2019-01-27 04:15:00 | 4.94 | 193.63 | 5.68 | 212.7767 | 8.05 | 115.8 | 7.86 | 15.1567 | 1.4433 | 890 | 100 | 31.114
2019-01-27 04:30:00 | 5.1733 | 25.11 | 5.9533 | 27.5833 | 8.09 | 120.0667 | 7.942 | 11.3433 | 1.41 | 890 | 100 | 33.5287
2019-01-27 04:45:00 | 5.08 | 104.5567 | 5.85 | 114.9 | 8.7133 | 4.2567 | 8.3367 | 19.6333 | 1.3933 | 890 | 100 | 33.2987
2019-01-27 05:00:00 | 4.6533 | 108.09 | 5.3567 | 118.7733 | 8.0733 | 17.4233 | 7.83 | 19.2267 | 1.4133 | 890 | 100 | 31.1487
2019-01-27 05:15:00 | 5.0807 | 12.726 | 5.8533 | 13.9773 | 8.6047 | 16.914 | 8.15 | 22.5513 | 1.4067 | 890 | 100 | 31.4293
2019-01-27 05:30:00 | 5.0633 | 221.6533 | 5.83 | 243.5767 | 8.72 | 11.01 | 8.4467 | 24.0033 | 1.35 | 890 | 100 | 32.0167
2019-01-27 05:45:00 | 5.06 | 323.4433 | 5.82 | 355.4333 | 9 | 18.6433 | 8.7367 | 24.2133 | 1.3033 | 890 | 100 | 32.08
2019-01-27 06:00:00 | 4.9267 | 317.5033 | 5.6667 | 348.9 | 8.8533 | 15.2367 | 8.71 | 22.46 | 1.2833 | 890 | 100 | 33.86
2019-01-27 06:15:00 | 5.4467 | 191.3667 | 6.2667 | 210.2833 | 9.5367 | 14.8733 | 9.4533 | 20.07 | 1.2233 | 890 | 100 | 34.4907
2019-01-27 06:30:00 | 5.38 | 39.1533 | 6.1933 | 43.0167 | 9.2433 | 25.7533 | 9.1267 | 27.4033 | 1.1767 | 890 | 100 | 35.2473
2019-01-27 06:45:00 | 5.4233 | 197.0533 | 6.2333 | 216.54 | 9.2933 | 9.2133 | 9.3 | 14.76 | 1.1333 | 890 | 100 | 36.6593
2019-01-27 07:00:00 | 5.2767 | 182.4933 | 6.0667 | 200.54 | 8.6067 | 3.3133 | 8.522 | 9.6133 | 1.1067 | 890 | 100 | 37.098
2019-01-27 07:15:00 | 5.38 | 23.8333 | 6.1967 | 26.1833 | 9.1967 | 237.2333 | 8.93 | 10.53 | 1.0967 | 890 | 100 | 36.2053
2019-01-27 07:30:00 | 5.54 | 175.82 | 6.37 | 193.2033 | 9.1567 | 10.2 | 9.01 | 13.7833 | 1.0567 | 890 | 100 | 36.342
2019-01-27 07:45:00 | 6.046 | 29.6353 | 6.9607 | 32.558 | 9.5973 | 23.8927 | 9.222 | 18.7067 | 1.022 | 890 | 100 | 36.7367
2019-01-27 08:00:00 | 5.74 | 21.1667 | 6.6 | 23.2567 | 8.9733 | 19.9 | 8.8367 | 13.5967 | 1 | 890.8667 | 100 | 35.7933
2019-01-27 08:15:00 | 5.6733 | 34.3967 | 6.5367 | 37.7867 | 8.9333 | 15.88 | 8.5313 | 7.6933 | 1 | 891 | 100 | 35.464
2019-01-27 08:30:00 | 5.3533 | 217.85 | 6.1633 | 239.3933 | 8.54 | 26.6467 | 8.2067 | 27.5 | 1 | 891 | 100 | 37.118
2019-01-27 08:45:00 | 5.54 | 110.5333 | 6.3733 | 121.4667 | 8.56 | 16.3333 | 8.6267 | 3.9 | 1.0233 | 891 | 100 | 39.6707
2019-01-27 09:00:00 | 5.64 | 282.2267 | 6.4867 | 310.1333 | 8.9733 | 24.36 | 8.9267 | 20.6533 | 1.0433 | 891 | 100 | 39.106
2019-01-27 09:15:00 | 5.2867 | 222.5867 | 6.0867 | 244.5967 | 8.64 | 125.5867 | 8.5933 | 17.5833 | 1.0767 | 891 | 100 | 38.7893
2019-01-27 09:30:00 | 5.2733 | 216.4067 | 6.0667 | 237.7967 | 8.7 | 346.3 | 8.6933 | 14.8767 | 1.1233 | 891 | 100 | 38.128
2019-01-27 09:45:00 | 4.9267 | 297.0633 | 5.67 | 326.4333 | 8.6833 | 119.2533 | 8.5167 | 16.2733 | 1.1733 | 891 | 100 | 36.7547
2019-01-27 10:00:00 | 4.9467 | 292.8167 | 5.69 | 321.7667 | 8.5833 | 348.4667 | 7.9833 | 17.7867 | 1.1867 | 891.2 | 100 | 35.5887
2019-01-27 10:15:00 | 4.6667 | 13.5033 | 5.38 | 14.84 | 8.1 | 355.0667 | 7.8867 | 71.9267 | 1.2767 | 892 | 100 | 34.9167
2019-01-27 10:30:00 | 4.398 | 42.366 | 5.064 | 46.556 | 7.508 | 351.44 | 7.492 | 83.254 | 1.348 | 892 | 100 | 36.172
2019-01-27 10:45:00 | 5.0633 | 106.8267 | 5.8233 | 117.3867 | 8.6167 | 353.6 | 7.8667 | 4.62 | 1.37 | 892 | 100 | 36.0293
2019-01-27 11:00:00 | 4.9167 | 269.7867 | 5.6633 | 296.4667 | 8.17 | 135.08 | 7.6067 | 12.4733 | 1.3967 | 892 | 100 | 35.406
2019-01-27 11:15:00 | 4.72 | 109.0967 | 5.43 | 119.88 | 7.4067 | 228.2667 | 7.45 | 17.5167 | 1.44 | 892 | 99.8333 | 32.924
2019-01-27 11:30:00 | 4.6267 | 110.1767 | 5.3233 | 121.0667 | 7.08 | 6.0667 | 6.87 | 11.2233 | 1.5 | 892 | 99.1667 | 28.7607
2019-01-27 11:45:00 | 3.92 | 304.3 | 4.5167 | 334.4 | 6.59 | 18.32 | 6.3333 | 120.2333 | 1.56 | 892 | 99.0467 | 23.6767
2019-01-27 12:00:00 | 3.7467 | 103.2333 | 4.31 | 113.44 | 6.25 | 6.04 | 6.0333 | 124.3667 | 1.62 | 892 | 99.2 | 18.6373
2019-01-27 12:15:00 | 3.2833 | 316.47 | 3.78 | 347.7667 | 5.6333 | 9.0767 | 5.4767 | 24.05 | 1.7233 | 892 | 99.1467 | 24.7287
2019-01-27 12:30:00 | 3.63 | 263.5767 | 4.1733 | 289.6333 | 6.4333 | 15.8233 | 6.1967 | 9.21 | 1.8633 | 891.8 | 99.0333 | 27.9347
2019-01-27 12:45:00 | 4.52 | 290.5633 | 5.2033 | 319.3 | 7.63 | 13.28 | 7.2433 | 14.71 | 1.9167 | 891 | 98.9667 | 34.018
2019-01-27 13:00:00 | 5.1333 | 98.5167 | 5.9033 | 108.26 | 8.51 | 13.0067 | 8.17 | 28.85 | 1.9767 | 891 | 98.2333 | 33.4007
2019-01-27 13:15:00 | 4.8933 | 4.9433 | 5.6367 | 5.4233 | 8.3433 | 17.03 | 7.61 | 13.8833 | 2.09 | 890.4667 | 97.6 | 31.5867
2019-01-27 13:30:00 | 4.4533 | 15.1767 | 5.13 | 16.6767 | 7.51 | 228.8567 | 6.972 | 14.7767 | 2.21 | 890 | 97.1333 | 30.3747
2019-01-27 13:45:00 | 4.6467 | 311.26 | 5.3533 | 342.0333 | 7.67 | 19.8 | 7.2067 | 25.3733 | 2.3733 | 890 | 96.2 | 32.842
2019-01-27 14:00:00 | 4.5267 | 118.4267 | 5.22 | 130.1267 | 7.6833 | 23.2333 | 7.0533 | 7.7467 | 2.48 | 889.8 | 95.98 | 32.7507
2019-01-27 14:15:00 | 4.4567 | 314.4067 | 5.1333 | 345.5 | 7.68 | 233.38 | 7.3933 | 16.9533 | 2.5833 | 889 | 95.9333 | 35.7487
2019-01-27 14:30:00 | 4.91 | 111.9133 | 5.6533 | 122.9733 | 8.0067 | 14.1933 | 7.6333 | 11.34 | 2.6633 | 889 | 95.4 | 35.8493
2019-01-27 14:45:00 | 4.8567 | 311.0367 | 5.5933 | 341.8 | 8.0633 | 122.6867 | 7.78 | 10.64 | 2.6833 | 889 | 95.0467 | 33.0267
2019-01-27 15:00:00 | 4.89 | 117.1233 | 5.6333 | 128.7067 | 7.8767 | 134.54 | 7.72 | 8.7733 | 2.7633 | 888.8 | 94.4667 | 31.6533
2019-01-27 15:15:00 | 4.92 | 12.6567 | 5.66 | 13.91 | 7.9133 | 238.8667 | 7.6933 | 20.41 | 2.8433 | 888 | 94.1333 | 34.436
2019-01-27 15:30:00 | 5.3067 | 160.3767 | 6.1133 | 176.2367 | 9.22 | 14.48 | 8.7 | 17.33 | 2.9433 | 888 | 94 | 37.1467
2019-01-27 15:45:00 | 5.48 | 63.17 | 6.31 | 69.4133 | 9.5867 | 0.82667 | 9.3333 | 14.6633 | 3.0733 | 888 | 93.3 | 40.72
2019-01-27 16:00:00 | 5.8933 | 139.3567 | 6.7767 | 153.1333 | 10.5267 | 9.7933 | 10.1 | 20.0633 | 3.2267 | 888 | 92.3667 | 43.9413
2019-01-27 16:15:00 | 5.75 | 150.76 | 6.62 | 165.66 | 10.77 | 124.3533 | 10.54 | 25.2433 | 3.4067 | 887.4667 | 91.7667 | 45.3413
2019-01-27 16:30:00 | 6.0433 | 276.68 | 6.9533 | 304.0333 | 11.012 | 121.6933 | 10.82 | 18.8033 | 3.48 | 887 | 90.9667 | 47.3233
2019-01-27 16:45:00 | 6.338 | 288.938 | 7.298 | 317.5 | 11.722 | 17.61 | 11.522 | 17.856 | 3.562 | 887 | 89.84 | 44.6927
2019-01-27 17:00:00 | 6.4967 | 318.6567 | 7.47 | 350.1667 | 11.53 | 11.9567 | 11.23 | 11.1 | 3.5033 | 887.6667 | 89.0667 | 44.714
2019-01-27 17:15:00 | 6.3533 | 153.62 | 7.3033 | 168.81 | 11.7567 | 15.4467 | 11.43 | 22.3 | 3.3933 | 887 | 89.4 | 43.9013
2019-01-27 17:30:00 | 6.002 | 166.148 | 6.902 | 182.572 | 11.164 | 15.272 | 10.92 | 20.57 | 3.408 | 887 | 88.6 | 44.0213
2019-01-27 17:45:00 | 5.7233 | 92.5267 | 6.59 | 101.6667 | 10.8233 | 8.2867 | 10.8567 | 23.0067 | 3.3967 | 887 | 88.5 | 43.7587
2019-01-27 18:00:00 | 5.5767 | 281.5867 | 6.41 | 309.4333 | 10.43 | 16.2267 | 10.45 | 23.4133 | 3.3633 | 887.6667 | 88.3667 | 44.0647
2019-01-27 18:15:00 | 5.3533 | 101.8233 | 6.1633 | 111.88 | 9.9 | 1.7133 | 9.91 | 23.0833 | 3.35 | 887 | 87.6 | 41.9033
2019-01-27 18:30:00 | 5.4533 | 99.2033 | 6.27 | 109.0133 | 9.62 | 9.82 | 9.4433 | 17.2833 | 3.35 | 887.8667 | 86.9333 | 38.4707
2019-01-27 18:45:00 | 4.97 | 271.3633 | 5.7233 | 298.2 | 8.7267 | 9.3967 | 8.78 | 16.3733 | 3.35 | 888 | 86.5467 | 36.5273
2019-01-27 19:00:00 | 4.892 | 108.07 | 5.63 | 118.7533 | 8.64 | 5.7767 | 8.7267 | 13.5333 | 3.3233 | 888 | 86.28 | 39.0407
2019-01-27 19:15:00 | 4.9933 | 210.4333 | 5.74 | 231.24 | 8.9067 | 11.2667 | 8.76 | 12.6567 | 3.2967 | 888 | 85.8667 | 38.53
2019-01-27 19:30:00 | 5.4667 | 27.28 | 6.2867 | 29.9667 | 9.5933 | 15.8533 | 9.3467 | 19.43 | 3.2567 | 888 | 85.7333 | 41.6607
2019-01-27 19:45:00 | 5.3733 | 3.7767 | 6.1833 | 4.1533 | 9.67 | 5.4767 | 9.3367 | 12.7033 | 3.26 | 888 | 85.0667 | 42.4873
2019-01-27 20:00:00 | 5.76 | 7.4433 | 6.63 | 8.1733 | 10.19 | 9.5167 | 9.81 | 24.2967 | 3.2867 | 888.8667 | 84.58 | 43.132
2019-01-27 20:15:00 | 5.6667 | 38.8667 | 6.5267 | 42.71 | 10.53 | 15.5733 | 10.2967 | 24.9233 | 3.2633 | 889 | 84.2667 | 43.6673
2019-01-27 20:30:00 | 5.7333 | 24.6467 | 6.6 | 27.0833 | 10.5833 | 21.5867 | 10.63 | 21.7767 | 3.2567 | 889 | 83.8 | 43.6333
2019-01-27 20:45:00 | 5.8067 | 177.1533 | 6.69 | 194.6667 | 10.7633 | 16.24 | 10.6733 | 23.3633 | 3.3133 | 889 | 83.2 | 41.3907
2019-01-27 21:00:00 | 5.62 | 220.9467 | 6.4633 | 242.8 | 10.4033 | 9.7333 | 10.3 | 16.2633 | 3.3 | 889 | 83.4 | 42.1987
2019-01-27 21:15:00 | 5.8267 | 133.9233 | 6.7033 | 147.1667 | 10.5967 | 19.3767 | 10.4933 | 24.4867 | 3.32 | 889 | 82.7667 | 42.3027
2019-01-27 21:30:00 | 6.0333 | 97.57 | 6.9433 | 107.22 | 10.9167 | 13.7833 | 10.64 | 14.26 | 3.3467 | 889 | 82.1 | 43.2687
2019-01-27 21:45:00 | 5.9327 | 300.8547 | 6.8213 | 330.6067 | 10.9133 | 17.9187 | 10.838 | 25.7367 | 3.324 | 889 | 82.0333 | 42.38
2019-01-27 22:00:00 | 5.84 | 286.9367 | 6.72 | 315.3 | 10.8733 | 16.0467 | 10.9667 | 28.0233 | 3.33 | 889 | 81.58 | 42.6827
2019-01-27 22:15:00 | 5.6867 | 32.0067 | 6.5433 | 35.1667 | 10.5167 | 9.6167 | 10.58 | 23.9233 | 3.3233 | 889 | 81.38 | 39.964
2019-01-27 22:30:00 | 5.3733 | 218.5667 | 6.19 | 240.1733 | 9.57 | 17.0233 | 9.6 | 12.7033 | 3.3167 | 889.2 | 81 | 35.256
2019-01-27 22:45:00 | 5.1527 | 253.9687 | 5.9313 | 279.0733 | 9.2347 | 18.9353 | 9.204 | 21.074 | 3.3493 | 890 | 80.14 | 32.7673
2019-01-27 23:00:00 | 4.83 | 47.8033 | 5.5633 | 52.52 | 8.94 | 16.53 | 8.9933 | 27.5967 | 3.38 | 890 | 78.8533 | 29.2953
2019-01-27 23:15:00 | 4.8467 | 185.92 | 5.5767 | 204.3 | 8.71 | 9.63 | 8.5833 | 15.03 | 3.4167 | 890 | 78.472 | 30.2293
2019-01-27 23:30:00 | 4.7067 | 175.48 | 5.4167 | 192.8333 | 8.1767 | 7.41 | 8.2167 | 16.9567 | 3.41 | 890 | 78.0367 | 32.424
2019-01-27 23:45:00 | 4.7533 | 245.0067 | 5.47 | 269.2333 | 8.5133 | 9.8 | 8.53 | 25.17 | 3.3267 | 890 | 78.7967 | 38.794