## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-28 00:00:00 | 5.1067 | 86.2533 | 5.8833 | 94.78 | 9.34 | 16.92 | 9.4033 | 24.3567 | 3.2467 | 889.1333 | 79.262 | 41.4927
2019-01-28 00:15:00 | 5.7667 | 108.8967 | 6.64 | 119.66 | 10.11 | 123.5733 | 10.15 | 19.9167 | 3.3267 | 889 | 77.7833 | 44.5547
2019-01-28 00:30:00 | 5.8867 | 113.09 | 6.7667 | 124.2667 | 10.27 | 129.6533 | 10.09 | 21.4433 | 3.3933 | 889 | 77.03 | 45.9313
2019-01-28 00:45:00 | 6.37 | 118.0533 | 7.3233 | 129.72 | 11.01 | 14.9167 | 10.9267 | 14.8667 | 3.4267 | 889 | 76.3 | 46.0547
2019-01-28 01:00:00 | 6.0433 | 193.2 | 6.95 | 212.3 | 10.89 | 12.1433 | 10.8067 | 18.1067 | 3.38 | 889 | 76.7053 | 46.324
2019-01-28 01:15:00 | 5.913 | 304.599 | 6.803 | 334.71 | 10.644 | 15.346 | 10.617 | 14.394 | 3.279 | 889 | 77.7 | 44.035
2019-01-28 01:30:00 | 5.9533 | 133.66 | 6.85 | 146.88 | 10.2067 | 8.09 | 10.1 | 20.87 | 3.3533 | 889 | 76.4767 | 43.4133
2019-01-28 01:45:00 | 5.7667 | 43.84 | 6.6333 | 48.1667 | 9.81 | 18.7133 | 9.73 | 17.9967 | 3.3 | 889 | 76.7033 | 46.3087
2019-01-28 02:00:00 | 5.99 | 194.526 | 6.894 | 213.76 | 10.366 | 14.632 | 10.45 | 34.408 | 3.254 | 889 | 77.06 | 48.632
2019-01-28 02:15:00 | 6.3033 | 73.0867 | 7.2567 | 80.3067 | 10.7047 | 10.5467 | 10.5833 | 23.9867 | 3.25 | 889 | 76.6333 | 50.2207
2019-01-28 02:30:00 | 6.4967 | 271.2733 | 7.4767 | 298.1 | 11.14 | 6.0067 | 11.11 | 29.9533 | 3.2567 | 889 | 75.82 | 50.284
2019-01-28 02:45:00 | 6.3507 | 176.056 | 7.316 | 193.4667 | 11.0967 | 11.188 | 11.094 | 21.9433 | 3.2187 | 889 | 75.848 | 48.0293
2019-01-28 03:00:00 | 6.3533 | 61.5467 | 7.32 | 67.62 | 11.1167 | 12.3667 | 10.9967 | 17.7367 | 3.198 | 889 | 75.5867 | 48.15
2019-01-28 03:15:00 | 6.4733 | 180.8633 | 7.45 | 198.7467 | 11.1367 | 7.71 | 10.78 | 23.6867 | 3.1433 | 889 | 75.3233 | 47.6713
2019-01-28 03:30:00 | 6.42 | 1.7833 | 7.39 | 1.9533 | 11.45 | 7.3167 | 11.2533 | 24.0267 | 3.11 | 889 | 75.25 | 49.5087
2019-01-28 03:45:00 | 6.6267 | 75.0733 | 7.6233 | 82.4933 | 11.6733 | 6.46 | 11.3867 | 20.5733 | 3.1333 | 889 | 74.57 | 49.7173
2019-01-28 04:00:00 | 6.5733 | 213.58 | 7.5567 | 234.7 | 11.8467 | 16.2533 | 11.7267 | 18.7933 | 3.1733 | 889 | 73.53 | 49.6073
2019-01-28 04:15:00 | 6.55 | 301.8833 | 7.5367 | 331.7333 | 11.79 | 9.1533 | 11.85 | 19.7733 | 3.1833 | 889 | 72.93 | 50.4167
2019-01-28 04:30:00 | 6.6167 | 187.9433 | 7.6167 | 206.5333 | 11.9327 | 4.3533 | 11.8567 | 11.4533 | 3.1433 | 888.1333 | 73.1553 | 50.668
2019-01-28 04:45:00 | 6.5067 | 317.3133 | 7.4833 | 348.7 | 11.9667 | 13.2633 | 11.8033 | 20.36 | 3.0767 | 888 | 73.2713 | 50.544
2019-01-28 05:00:00 | 6.2067 | 114.8133 | 7.1367 | 126.16 | 11.6267 | 17.0567 | 11.6167 | 21.3467 | 2.9967 | 888 | 73.5627 | 49.0487
2019-01-28 05:15:00 | 6.3333 | 230.4167 | 7.2833 | 253.2033 | 11.6167 | 11.6067 | 11.48 | 17.3867 | 3.02 | 888 | 72.37 | 48.7173
2019-01-28 05:30:00 | 6.18 | 47.5433 | 7.11 | 52.2367 | 10.9567 | 19.2133 | 10.7333 | 19.64 | 3.0133 | 888 | 72.2833 | 47.904
2019-01-28 05:45:00 | 6.0867 | 187.8867 | 7 | 206.4667 | 10.6567 | 15.5567 | 10.5967 | 15.57 | 2.87 | 888 | 73.67 | 47.4513
2019-01-28 06:00:00 | 5.5533 | 181.82 | 6.3933 | 199.8 | 9.8233 | 8.65 | 9.89 | 23.69 | 2.8167 | 888 | 73.792 | 46.8893
2019-01-28 06:15:00 | 5.6467 | 303.6767 | 6.4967 | 333.7 | 10.1033 | 11.58 | 9.87 | 15.5567 | 2.6467 | 888 | 75.36 | 47.5593
2019-01-28 06:30:00 | 5.4867 | 106.15 | 6.31 | 116.6467 | 9.3433 | 5.1733 | 8.91 | 12.2367 | 2.6067 | 888.2 | 75.3247 | 48.234
2019-01-28 06:45:00 | 5.76 | 217.7633 | 6.64 | 239.3033 | 9.9 | 58.9267 | 9.6033 | 13.66 | 2.59 | 889 | 74.8733 | 47.7913
2019-01-28 07:00:00 | 5.3333 | 9.4767 | 6.14 | 10.41 | 9.2267 | 62.8 | 9.2967 | 12.8067 | 2.6167 | 889 | 74.0933 | 42.646
2019-01-28 07:15:00 | 4.6333 | 216.9433 | 5.34 | 238.3867 | 7.9467 | 47.7733 | 8.1967 | 22.6133 | 2.66 | 889 | 72.2467 | 37.0267
2019-01-28 07:30:00 | 3.9733 | 215.8433 | 4.5733 | 237.1867 | 7.2 | 16.12 | 7.0167 | 14.7333 | 2.62 | 889 | 72.24 | 34.4447
2019-01-28 07:45:00 | 4.02 | 140.87 | 4.6233 | 154.7933 | 7.1667 | 8.4233 | 6.9233 | 13.43 | 2.4 | 889 | 74.5633 | 37.9833
2019-01-28 08:00:00 | 4.308 | 298.116 | 4.964 | 327.6 | 7.626 | 9.336 | 7.574 | 15.026 | 2.294 | 889 | 75.172 | 36.7487
2019-01-28 08:15:00 | 4.4133 | 191.1733 | 5.09 | 210.0667 | 7.7167 | 183.1667 | 7.76 | 13.3467 | 2.23 | 889 | 74.8567 | 37.8593
2019-01-28 08:30:00 | 4.2533 | 2.4467 | 4.9033 | 2.68 | 6.97 | 238.2333 | 6.9467 | 18.2467 | 2.1433 | 889 | 75.01 | 38.0007
2019-01-28 08:45:00 | 4.4 | 317.96 | 5.0667 | 349.4 | 6.9533 | 348.8667 | 6.58 | 123.3267 | 1.95 | 889 | 76.2567 | 38.1207
2019-01-28 09:00:00 | 4.2133 | 110.6467 | 4.8467 | 121.58 | 7.54 | 354.8 | 7.1133 | 123.3933 | 2.0433 | 889.8667 | 74.83 | 38.0267
2019-01-28 09:15:00 | 4.34 | 29.1867 | 5 | 32.07 | 7.1833 | 122.26 | 6.8567 | 116.0333 | 2.27 | 890 | 73.52 | 36.6393
2019-01-28 09:30:00 | 4.468 | 13.984 | 5.148 | 15.362 | 7.1687 | 342.1267 | 6.9647 | 162.1027 | 2.5127 | 890 | 72.7947 | 36.4427
2019-01-28 09:45:00 | 4.5067 | 37.3433 | 5.1933 | 41.03 | 7.6 | 254.47 | 6.9867 | 8.07 | 2.8667 | 890 | 71.72 | 35.8053
2019-01-28 10:00:00 | 4.498 | 39.39 | 5.1667 | 43.2833 | 7.6733 | 256.0033 | 7.1467 | 4.11 | 3.18 | 890.2 | 70.78 | 34.686
2019-01-28 10:15:00 | 4.1133 | 145.3367 | 4.7367 | 159.7 | 7.1233 | 120.1467 | 6.88 | 13.7967 | 3.5133 | 891 | 69.7533 | 33.7593
2019-01-28 10:30:00 | 4.1 | 115.55 | 4.73 | 126.9733 | 6.9567 | 356.8 | 6.9067 | 241.6433 | 3.7133 | 891 | 68.2667 | 30.6207
2019-01-28 10:45:00 | 3.9067 | 268.9433 | 4.49 | 295.5333 | 6.88 | 350.9 | 6.7467 | 8.2733 | 3.9733 | 891 | 66.96 | 31.0393
2019-01-28 11:00:00 | 4.08 | 312.414 | 4.688 | 343.3 | 7.202 | 145.88 | 6.968 | 4.34 | 4.196 | 891 | 65.096 | 29.2813
2019-01-28 11:15:00 | 3.7333 | 210.28 | 4.2933 | 231.0667 | 6.3733 | 231.71 | 6.2 | 243.1267 | 4.4333 | 891 | 64.73 | 26.5693
2019-01-28 11:30:00 | 3.76 | 127.78 | 4.3267 | 140.4067 | 5.8933 | 11.5767 | 5.5667 | 10.74 | 4.62 | 891 | 66.3833 | 21.4233
2019-01-28 11:45:00 | 3.54 | 216.57 | 4.07 | 237.98 | 5.2233 | 23.0333 | 5.3533 | 244.9267 | 4.8 | 891 | 66.4653 | 19.266
2019-01-28 12:00:00 | 3.8333 | 210.25 | 4.41 | 231.0467 | 5.7767 | 11.6533 | 5.58 | 20.1533 | 5 | 891 | 65.6833 | 17.8213
2019-01-28 12:15:00 | 4.0133 | 7.6967 | 4.6267 | 8.45 | 5.7167 | 15.6933 | 5.5133 | 5.51 | 5.2133 | 891 | 64.73 | 17.1247
2019-01-28 12:30:00 | 4.0933 | 203.3767 | 4.7067 | 223.49 | 6.1033 | 4.88 | 5.92 | 6.0767 | 5.5067 | 891 | 63.4633 | 15.44
2019-01-28 12:45:00 | 3.6033 | 223.05 | 4.1433 | 245.11 | 6.4933 | 15.6767 | 6.1267 | 18.9667 | 6.1467 | 891 | 61.8567 | 13.8167
2019-01-28 13:00:00 | 3.9233 | 8.9633 | 4.5167 | 9.85 | 6.52 | 13.1967 | 6.1133 | 19.3267 | 6.5 | 891 | 59.3233 | 11.712
2019-01-28 13:15:00 | 3.9267 | 315.6767 | 4.52 | 346.9 | 6.2867 | 9.4533 | 5.9667 | 16.6167 | 6.5067 | 891 | 58.5867 | 9.2193
2019-01-28 13:30:00 | 3.78 | 317.4967 | 4.3467 | 348.9 | 5.98 | 14.6667 | 5.5933 | 4.4767 | 7.0267 | 890.1333 | 56.9 | 7.0113
2019-01-28 13:45:00 | 3.74 | 219.2033 | 4.3 | 240.88 | 5.5067 | 7.8933 | 5.0233 | 23.42 | 7.2633 | 890 | 55.5167 | 5.3533
2019-01-28 14:00:00 | 3.9133 | 206.9167 | 4.5 | 227.3733 | 5.5333 | 12.3667 | 5.11 | 7.3867 | 7.372 | 890 | 55.15 | 5.1167
2019-01-28 14:15:00 | 3.7333 | 203.8533 | 4.2933 | 224.0133 | 5.34 | 23.11 | 4.94 | 11.1667 | 7.58 | 890 | 54.47 | 3.982
2019-01-28 14:30:00 | 3.7733 | 197.92 | 4.34 | 217.48 | 5.3913 | 14.7167 | 4.9067 | 13.16 | 7.6067 | 890 | 54.37 | 3.0907
2019-01-28 14:45:00 | 3.4667 | 113.4667 | 3.9967 | 124.6867 | 5.5533 | 22.9833 | 5.0567 | 36.1367 | 8.0533 | 890 | 53.75 | 3.188
2019-01-28 15:00:00 | 3.6667 | 314.8133 | 4.2233 | 345.9333 | 5.74 | 13.6433 | 5.29 | 22.85 | 8.7133 | 889.8 | 52.2067 | 3.654
2019-01-28 15:15:00 | 3.6467 | 298.4933 | 4.1967 | 328 | 6.07 | 15.1533 | 5.53 | 20.6633 | 9.41 | 889 | 50.18 | 4.2253
2019-01-28 15:30:00 | 3.34 | 133.88 | 3.8433 | 147.1067 | 5.7233 | 8.6333 | 5.1633 | 15.59 | 9.6547 | 889 | 49.9867 | 3.802
2019-01-28 15:45:00 | 3.0933 | 116.6267 | 3.57 | 128.16 | 5.5067 | 10.5167 | 5.1133 | 20.7133 | 9.8933 | 889 | 49.37 | 3.2453
2019-01-28 16:00:00 | 2.92 | 280.8267 | 3.37 | 308.6 | 5.5133 | 8.7167 | 5.2133 | 24.3267 | 10.1867 | 889 | 48.6247 | 3.5713
2019-01-28 16:15:00 | 2.97 | 139.6633 | 3.42 | 153.48 | 5.42 | 20.8367 | 5.08 | 18.9167 | 9.74 | 889 | 49.6633 | 4.3887
2019-01-28 16:30:00 | 3.0167 | 295.97 | 3.4667 | 325.2333 | 5.66 | 14.95 | 5.2067 | 10.23 | 9.5933 | 889.2 | 51.39 | 5.9627
2019-01-28 16:45:00 | 3.34 | 304.5267 | 3.8467 | 334.6333 | 6.2 | 7.7533 | 5.7933 | 19.29 | 9.5233 | 890 | 52.0633 | 7.7373
2019-01-28 17:00:00 | 3.1467 | 257.6267 | 3.62 | 283.1 | 5.98 | 9.6333 | 5.76 | 22.1433 | 8.87 | 890 | 53.8967 | 8.216
2019-01-28 17:15:00 | 2.82 | 101.9633 | 3.2467 | 112.0433 | 5.5367 | 22.38 | 5.6733 | 24.62 | 8.4233 | 889.4667 | 56.1667 | 10.0847
2019-01-28 17:30:00 | 2.6467 | 66.0433 | 3.0467 | 72.5767 | 5.1167 | 3.4067 | 5.4533 | 27.2733 | 7.8167 | 889 | 58.5267 | 10.576
2019-01-28 17:45:00 | 2.97 | 220.9267 | 3.4167 | 242.7667 | 5.5867 | 9.9 | 6.1167 | 33.36 | 6.8467 | 889 | 62.0733 | 12.698
2019-01-28 18:00:00 | 3.39 | 128.4933 | 3.8967 | 141.1867 | 6.3133 | 21.2467 | 6.31 | 28.1133 | 6.2933 | 889 | 64.14 | 16.802
2019-01-28 18:15:00 | 3.8133 | 184.3067 | 4.3867 | 202.5333 | 7.1533 | 17.7933 | 7.2833 | 24.57 | 5.7567 | 888.4667 | 67.08 | 19.518
2019-01-28 18:30:00 | 4.0333 | 275.3067 | 4.64 | 302.5333 | 7.18 | 27.0533 | 7.35 | 34.93 | 5.39 | 888 | 68.5867 | 23.8567
2019-01-28 18:45:00 | 4.444 | 276.06 | 5.1207 | 303.36 | 8.248 | 14.3007 | 8.5887 | 22.1847 | 4.8727 | 888 | 70.5713 | 26.588
2019-01-28 19:00:00 | 4.5533 | 209.8567 | 5.24 | 230.6 | 8.4233 | 10.64 | 8.6333 | 21.8367 | 4.6133 | 888 | 70.928 | 26.8047
2019-01-28 19:15:00 | 4.4 | 9.9967 | 5.06 | 10.9767 | 7.3333 | 126.2467 | 7.2967 | 18.6267 | 4.4433 | 888 | 71.0067 | 24.81
2019-01-28 19:30:00 | 4.24 | 14.2567 | 4.8867 | 15.6633 | 6.8467 | 336.1667 | 6.61 | 12.3533 | 4.2767 | 888 | 71.7167 | 26.096
2019-01-28 19:45:00 | 4.044 | 264.12 | 4.664 | 290.24 | 6.398 | 350.98 | 6.204 | 10.47 | 4.03 | 888 | 72.78 | 26.354
2019-01-28 20:00:00 | 4.16 | 241.5733 | 4.8 | 265.4667 | 7.2167 | 119.0667 | 6.8933 | 13.7367 | 3.8167 | 888.8667 | 73.6267 | 27.0827
2019-01-28 20:15:00 | 4.0033 | 188.4067 | 4.6133 | 207.0333 | 7.37 | 232.5167 | 7.1367 | 178.4667 | 3.6667 | 889 | 73.72 | 28.686
2019-01-28 20:30:00 | 3.8633 | 286.32 | 4.44 | 314.6333 | 6.9567 | 232.85 | 6.63 | 131.84 | 3.5867 | 889 | 73.824 | 30.4433
2019-01-28 20:45:00 | 4.2867 | 201.5267 | 4.9333 | 221.4567 | 6.78 | 356.8 | 6.2567 | 3.68 | 3.5967 | 889 | 74.02 | 32.7173
2019-01-28 21:00:00 | 4.26 | 30.9133 | 4.9 | 33.97 | 6.92 | 339.9333 | 6.3367 | 5.0933 | 3.63 | 889 | 73.928 | 33.822
2019-01-28 21:15:00 | 4.87 | 128.4633 | 5.6 | 141.1667 | 8.0967 | 26.2233 | 7.6533 | 23.2967 | 3.44 | 889 | 75.4733 | 39.266
2019-01-28 21:30:00 | 5.31 | 307.8233 | 6.1133 | 338.2667 | 8.31 | 17.7967 | 7.8 | 29.1167 | 3.3867 | 889 | 75.36 | 38.0047
2019-01-28 21:45:00 | 5.4673 | 105.5067 | 6.2893 | 115.9293 | 9.284 | 11.6247 | 8.9387 | 17.2027 | 3.3067 | 889.5333 | 75.4133 | 36.0667
2019-01-28 22:00:00 | 5.2333 | 99.56 | 6.0167 | 109.3933 | 8.68 | 240.78 | 8.51 | 19.1 | 3.2833 | 890 | 75.45 | 36.0187
2019-01-28 22:15:00 | 5.43 | 21.6433 | 6.2433 | 23.78 | 8.8133 | 11.0333 | 8.4333 | 18.41 | 3.2467 | 890 | 76.05 | 37.4633
2019-01-28 22:30:00 | 5.59 | 63.8233 | 6.43 | 70.1267 | 9.06 | 19.48 | 8.6067 | 17.6033 | 3.22 | 890 | 76.0827 | 38.5907
2019-01-28 22:45:00 | 5.48 | 104.1 | 6.3067 | 114.3933 | 9.0333 | 17.9033 | 8.6233 | 17.0533 | 3.17 | 890 | 76.12 | 40.7173
2019-01-28 23:00:00 | 5.32 | 311.9467 | 6.1333 | 342.8 | 8.6867 | 10.67 | 8.5567 | 15.4333 | 3.15 | 890 | 75.754 | 39.6607
2019-01-28 23:15:00 | 5.1467 | 56.5913 | 5.9187 | 62.1827 | 8.7887 | 2.43 | 8.47 | 75.4133 | 3.0967 | 890 | 76.15 | 40.4773
2019-01-28 23:30:00 | 5.1667 | 260.75 | 5.9433 | 286.5333 | 8.8167 | 17.6133 | 8.48 | 25.23 | 3.02 | 890 | 76.44 | 41.292
2019-01-28 23:45:00 | 5.1 | 257.9567 | 5.86 | 283.4667 | 8.68 | 12.2167 | 8.4767 | 28.3967 | 2.9467 | 890 | 77 | 38.7287