## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-29 00:00:00 | 4.9 | 115.23 | 5.64 | 126.62 | 8.0267 | 21.41 | 7.8833 | 28.77 | 2.9 | 890 | 77.248 | 38.038
2019-01-29 00:15:00 | 4.9167 | 307.1333 | 5.6533 | 337.5 | 8.6567 | 2.89 | 8.46 | 18.82 | 2.83 | 890 | 77.8067 | 38.3033
2019-01-29 00:30:00 | 5.0233 | 312.7067 | 5.7867 | 343.6333 | 8.77 | 12.89 | 8.6067 | 15.4933 | 2.79 | 890 | 78.164 | 38.0987
2019-01-29 00:45:00 | 5.27 | 309.5833 | 6.0667 | 340.2 | 9.09 | 15.93 | 8.7767 | 21.46 | 2.7867 | 890 | 78.2333 | 38.7553
2019-01-29 01:00:00 | 5.1767 | 292.29 | 5.9533 | 321.2 | 8.61 | 14.0633 | 8.35 | 15.8067 | 2.8 | 890 | 78.192 | 35.4047
2019-01-29 01:15:00 | 4.71 | 324.2633 | 5.4233 | 356.3333 | 8.2333 | 124.9 | 8.15 | 34.8133 | 2.7467 | 890 | 78.63 | 33.8267
2019-01-29 01:30:00 | 4.5233 | 108.6167 | 5.2033 | 119.36 | 7.8533 | 356.9 | 7.7967 | 17.3467 | 2.7267 | 890 | 78.834 | 33.7933
2019-01-29 01:45:00 | 4.54 | 2.4167 | 5.23 | 2.6533 | 8.3967 | 13.4567 | 8.3933 | 27.67 | 2.67 | 890 | 79.27 | 38.664
2019-01-29 02:00:00 | 4.852 | 71.5033 | 5.5787 | 78.5787 | 8.966 | 13.0173 | 9.2567 | 32.9267 | 2.6407 | 890 | 79.772 | 38.6393
2019-01-29 02:15:00 | 5.0333 | 159.1267 | 5.8 | 174.8667 | 9.2967 | 26.54 | 9.5167 | 21.2867 | 2.58 | 890 | 80.23 | 40.09
2019-01-29 02:30:00 | 5.0467 | 315.5267 | 5.8133 | 346.7333 | 9.1367 | 22.94 | 9.4167 | 14.6867 | 2.5867 | 889.1333 | 80.23 | 41.252
2019-01-29 02:45:00 | 5.2067 | 32.1833 | 5.9867 | 35.3567 | 9.6933 | 13.1733 | 9.6233 | 22.1033 | 2.52 | 889 | 80.9 | 43.166
2019-01-29 03:00:00 | 5.48 | 165.9367 | 6.3067 | 182.3367 | 10.1867 | 19.9867 | 10.1967 | 21.3567 | 2.522 | 889 | 80.9 | 44.6867
2019-01-29 03:15:00 | 5.7067 | 206.1833 | 6.57 | 226.5633 | 9.94 | 30.85 | 9.9033 | 19.07 | 2.5667 | 889 | 80.5 | 44.6513
2019-01-29 03:30:00 | 5.6667 | 152.6033 | 6.5167 | 167.6967 | 9.7267 | 38.1033 | 9.35 | 19.17 | 2.5667 | 889 | 80.7667 | 44.8987
2019-01-29 03:45:00 | 5.68 | 300.4 | 6.5367 | 330.1 | 10.3933 | 19.9867 | 10.37 | 18.92 | 2.53 | 889 | 81.1333 | 47.718
2019-01-29 04:00:00 | 6.3867 | 110.28 | 7.35 | 121.1867 | 11.34 | 17.3733 | 11.4167 | 9.4133 | 2.5233 | 889 | 80.8 | 49.8467
2019-01-29 04:15:00 | 7.17 | 178.5767 | 8.2567 | 196.2333 | 12.74 | 17.6933 | 12.5 | 17.91 | 2.5733 | 889 | 80.2667 | 49.612
2019-01-29 04:30:00 | 6.37 | 97.15 | 7.3233 | 106.7467 | 11.66 | 18.52 | 11.56 | 24.4433 | 2.5733 | 889 | 80.38 | 49.4493
2019-01-29 04:45:00 | 6.392 | 74.58 | 7.3607 | 81.9467 | 11.134 | 15.8113 | 10.886 | 14.4687 | 2.5347 | 889 | 80.6533 | 50.188
2019-01-29 05:00:00 | 6.7633 | 216.74 | 7.7767 | 238.1667 | 11.5 | 9.95 | 11.0967 | 12.3833 | 2.4867 | 889 | 81 | 51.308
2019-01-29 05:15:00 | 6.9267 | 17.0967 | 7.9767 | 18.7733 | 11.6767 | 24.35 | 10.9933 | 8.45 | 2.44 | 888.4667 | 81.6667 | 52.7547
2019-01-29 05:30:00 | 7.8733 | 26.7433 | 9.0567 | 29.38 | 13.55 | 22.4233 | 13.26 | 13.2967 | 2.4333 | 888 | 81.7333 | 51.8613
2019-01-29 05:45:00 | 7.72 | 196.4967 | 8.8833 | 215.9333 | 13.6333 | 11.4533 | 13.5067 | 15.45 | 2.48 | 888 | 81.3333 | 52.282
2019-01-29 06:00:00 | 7.322 | 306.934 | 8.424 | 337.28 | 13.158 | 5.772 | 12.85 | 21.646 | 2.424 | 888 | 82.16 | 53.9887
2019-01-29 06:15:00 | 7.48 | 219.3433 | 8.61 | 241.0367 | 13.2733 | 13.8567 | 12.8733 | 13.5467 | 2.3733 | 888 | 82.4533 | 53.2933
2019-01-29 06:30:00 | 7.5333 | 79.8167 | 8.6613 | 87.7033 | 13.56 | 4.5033 | 13.3867 | 20.54 | 2.38 | 888 | 82.4533 | 54.2913
2019-01-29 06:45:00 | 7.59 | 224.69 | 8.7333 | 246.9 | 13.2967 | 9.7333 | 12.97 | 25.4767 | 2.38 | 888 | 82.6 | 54.95
2019-01-29 07:00:00 | 7.59 | 180.09 | 8.7333 | 197.9 | 13.5233 | 8.7067 | 13.0367 | 15.4033 | 2.36 | 888 | 82.7133 | 56.6593
2019-01-29 07:15:00 | 7.6133 | 301.0267 | 8.7567 | 330.8 | 13.5133 | 12.0333 | 13.1167 | 11.4067 | 2.3067 | 888 | 83.1333 | 55.222
2019-01-29 07:30:00 | 7.36 | 161.68 | 8.4633 | 177.6667 | 13.16 | 11.04 | 12.83 | 22.8733 | 2.3067 | 888.2 | 83.2 | 53.0413
2019-01-29 07:45:00 | 7.6067 | 195.2567 | 8.7533 | 214.5667 | 13.0233 | 46.2967 | 12.76 | 16.6633 | 2.32 | 889 | 83.2 | 53.8873
2019-01-29 08:00:00 | 7.6733 | 121.1167 | 8.8267 | 133.0867 | 13.3567 | 16.05 | 12.84 | 16.2233 | 2.32 | 889 | 83.42 | 53.318
2019-01-29 08:15:00 | 7.2667 | 203.8967 | 8.3633 | 224.05 | 12.5233 | 13.31 | 12.07 | 20.6267 | 2.36 | 889 | 83.2 | 53.4087
2019-01-29 08:30:00 | 7.16 | 31.99 | 8.2367 | 35.15 | 12.61 | 12.0633 | 11.91 | 19.8867 | 2.3933 | 889 | 83.2 | 53.6807
2019-01-29 08:45:00 | 6.7933 | 223.4133 | 7.8133 | 245.5 | 12.06 | 11.74 | 11.5 | 14.0533 | 2.4633 | 889 | 82.8 | 54.5727
2019-01-29 09:00:00 | 6.5133 | 311.3067 | 7.4867 | 342.1 | 11.4733 | 8.66 | 10.98 | 6.4 | 2.53 | 889 | 82.3333 | 55.3087
2019-01-29 09:15:00 | 6.6 | 313.9633 | 7.5967 | 345 | 11.17 | 12.1167 | 11.15 | 20.45 | 2.5733 | 889.5333 | 82.2533 | 53.7953
2019-01-29 09:30:00 | 6.6467 | 118.99 | 7.6567 | 130.7533 | 11.5433 | 18.0033 | 11.4633 | 12.3433 | 2.6867 | 890 | 81.8333 | 52.464
2019-01-29 09:45:00 | 6.48 | 207.94 | 7.46 | 228.5 | 11.3733 | 12.5433 | 10.88 | 17.8467 | 2.8567 | 890 | 80.9 | 51.7613
2019-01-29 10:00:00 | 6.642 | 52.3733 | 7.64 | 57.5467 | 11.68 | 17.93 | 11.1867 | 6.0267 | 2.99 | 890 | 80.5667 | 50.8293
2019-01-29 10:15:00 | 6.6913 | 88.2727 | 7.7 | 97.004 | 11.3613 | 9.0447 | 11.13 | 20.4753 | 3.1667 | 890 | 80.1013 | 51.59
2019-01-29 10:30:00 | 7.12 | 294.3367 | 8.1867 | 323.4333 | 12.2 | 13.6533 | 11.6267 | 22.0233 | 3.3533 | 890 | 79.59 | 52.4733
2019-01-29 10:45:00 | 6.7467 | 104.7167 | 7.76 | 115.0733 | 11.89 | 13.1167 | 11.45 | 22.2467 | 3.4233 | 890 | 79.8333 | 51.808
2019-01-29 11:00:00 | 6.5067 | 119.3433 | 7.48 | 131.14 | 11.5433 | 11.1367 | 11.05 | 18.4333 | 3.4033 | 890.8667 | 80.3 | 51.9967
2019-01-29 11:15:00 | 6.6167 | 53.1467 | 7.62 | 58.3933 | 11.7833 | 15.1233 | 11.2667 | 24.3667 | 3.43 | 891 | 80.3867 | 51.5573
2019-01-29 11:30:00 | 6.5167 | 137.2067 | 7.498 | 150.7667 | 11.81 | 10.91 | 11.2867 | 22.7333 | 3.51 | 891 | 80.28 | 48.9007
2019-01-29 11:45:00 | 6.26 | 92.9333 | 7.21 | 102.12 | 11.0233 | 7.1067 | 10.73 | 15.44 | 3.53 | 891 | 80.0533 | 46.2833
2019-01-29 12:00:00 | 5.6667 | 233.3933 | 6.5233 | 256.4667 | 10.17 | 8.3733 | 9.912 | 21.7467 | 3.6233 | 890.8 | 79.794 | 43.2493
2019-01-29 12:15:00 | 5.5 | 320.1067 | 6.3267 | 351.7667 | 9.7767 | 12.3467 | 9.56 | 13.7267 | 3.7267 | 890 | 79.33 | 44.016
2019-01-29 12:30:00 | 5.3267 | 281.0467 | 6.14 | 308.8333 | 9.6233 | 17.4067 | 9.4333 | 17 | 3.738 | 890 | 79.1673 | 40.52
2019-01-29 12:45:00 | 5.2867 | 13.31 | 6.0867 | 14.6133 | 9.6967 | 15.4333 | 9.61 | 13.4867 | 3.8233 | 890 | 78.9713 | 41.1487
2019-01-29 13:00:00 | 5.1933 | 10.3833 | 5.9733 | 11.4067 | 9.7033 | 6.9533 | 9.7367 | 19.8733 | 3.9767 | 890 | 78.1 | 39.8033
2019-01-29 13:15:00 | 5.04 | 130.01 | 5.7967 | 142.8667 | 9.5367 | 16.59 | 9.7467 | 33.56 | 4.2633 | 889.4667 | 77.1467 | 37.1913
2019-01-29 13:30:00 | 4.9 | 127.2767 | 5.6367 | 139.8667 | 9.2167 | 20.21 | 9.4733 | 29.5733 | 4.4433 | 889 | 76.5133 | 35.924
2019-01-29 13:45:00 | 4.9847 | 205.5133 | 5.7367 | 225.8333 | 9.3967 | 14.1867 | 9.54 | 42.7033 | 4.61 | 889 | 75.2433 | 34.7427
2019-01-29 14:00:00 | 4.8467 | 118.52 | 5.5767 | 130.24 | 9.1633 | 8.6267 | 9.3333 | 34.2233 | 4.7167 | 888.1333 | 74.3633 | 30.0973
2019-01-29 14:15:00 | 4.48 | 207.97 | 5.1567 | 228.5333 | 8.17 | 17.0367 | 8.4533 | 20.0233 | 4.7033 | 888 | 73.55 | 25.058
2019-01-29 14:30:00 | 4.2533 | 144.45 | 4.8967 | 158.7333 | 7.6167 | 15.35 | 7.8667 | 5.79 | 4.6833 | 888 | 73.1233 | 22.2853
2019-01-29 14:45:00 | 3.94 | 29.7667 | 4.5333 | 32.7133 | 7.15 | 12.0833 | 7.04 | 18.1833 | 4.66 | 888 | 73.0847 | 21.0073
2019-01-29 15:00:00 | 4.1467 | 184.7333 | 4.7733 | 203 | 7.41 | 13.9367 | 7.3467 | 20.6633 | 4.6953 | 888 | 72.9447 | 19.522
2019-01-29 15:15:00 | 3.71 | 168.2367 | 4.2633 | 184.8767 | 6.8967 | 16.85 | 6.72 | 21.02 | 4.7033 | 887.4667 | 73.32 | 21.948
2019-01-29 15:30:00 | 3.7567 | 215.81 | 4.3167 | 237.1433 | 7.0633 | 6.15 | 6.9133 | 17.94 | 4.7967 | 887 | 73.4487 | 21.366
2019-01-29 15:45:00 | 4.0867 | 25.8367 | 4.7067 | 28.3867 | 7.19 | 16.62 | 6.8467 | 12.0633 | 4.8387 | 887 | 73.13 | 20.752
2019-01-29 16:00:00 | 3.9067 | 216.3567 | 4.5 | 237.7467 | 6.97 | 17.2667 | 6.5867 | 11.5767 | 4.93 | 887 | 73.1913 | 18.4713
2019-01-29 16:15:00 | 4.12 | 89.294 | 4.746 | 98.126 | 6.808 | 10.024 | 6.572 | 23.896 | 4.8373 | 887 | 73.09 | 15.4253
2019-01-29 16:30:00 | 3.4 | 322.1433 | 3.9133 | 354 | 5.65 | 10.47 | 5.4833 | 29.71 | 4.828 | 887 | 73.32 | 15.0147
2019-01-29 16:45:00 | 3.15 | 26.3567 | 3.62 | 28.9633 | 5.45 | 9.6367 | 5.25 | 12.4867 | 4.94 | 887 | 72.8667 | 15.6113
2019-01-29 17:00:00 | 3.29 | 210.87 | 3.7867 | 231.7167 | 5.8633 | 9.1033 | 5.55 | 22.1933 | 4.9067 | 887 | 72.666 | 14.0933
2019-01-29 17:15:00 | 3.3533 | 95.6133 | 3.8533 | 105.06 | 5.9767 | 11.82 | 5.79 | 11.5433 | 4.8333 | 887 | 72.8367 | 14.2347
2019-01-29 17:30:00 | 3.0933 | 305.1867 | 3.5533 | 335.3667 | 5.35 | 24.22 | 5.1433 | 242.1967 | 4.7467 | 887 | 73.108 | 13.8107
2019-01-29 17:45:00 | 3.5733 | 17.2 | 4.1133 | 18.9 | 6.2933 | 13.49 | 5.9733 | 20.1967 | 4.5833 | 887 | 73.94 | 15.2413
2019-01-29 18:00:00 | 3.7867 | 226.08 | 4.3533 | 248.44 | 6.6 | 11.17 | 6.28 | 17.57 | 4.4767 | 887 | 74.7133 | 16.3613
2019-01-29 18:15:00 | 3.7867 | 217.44 | 4.3567 | 238.9333 | 6.2633 | 32.0333 | 6.3733 | 130.0133 | 4.3067 | 887 | 75.88 | 13.528
2019-01-29 18:30:00 | 3.8067 | 15.2867 | 4.3767 | 16.8 | 5.7367 | 258.96 | 5.7267 | 350.2 | 4.1667 | 887 | 76.9933 | 12.2653
2019-01-29 18:45:00 | 3.52 | 286.3833 | 4.0567 | 314.7 | 5.75 | 13.65 | 5.68 | 13.0833 | 4.02 | 887 | 78.19 | 11.6027
2019-01-29 19:00:00 | 3.2133 | 315.7433 | 3.6967 | 346.9667 | 5.2567 | 14.1833 | 5.3133 | 11.5433 | 3.9333 | 887 | 78.91 | 12.372
2019-01-29 19:15:00 | 3.24 | 310.35 | 3.7233 | 341.0333 | 5.9267 | 15.74 | 5.8467 | 12.7433 | 3.81 | 887 | 80.06 | 11.7367
2019-01-29 19:30:00 | 3.1067 | 305.9167 | 3.57 | 336.1667 | 6.0467 | 12.1267 | 5.9733 | 11.5433 | 3.6833 | 887 | 81.1333 | 12.9573
2019-01-29 19:45:00 | 3.6133 | 108.4833 | 4.16 | 119.2133 | 5.3433 | 123.1067 | 5.1467 | 11.3967 | 3.77 | 887 | 80.5933 | 13.6813
2019-01-29 20:00:00 | 3.2133 | 313.5633 | 3.7 | 344.5667 | 5.5367 | 162.1467 | 5.2333 | 8.4167 | 3.81 | 887 | 80.3933 | 12.5627
2019-01-29 20:15:00 | 3.2333 | 272.73 | 3.72 | 299.7 | 5.8567 | 348.8667 | 5.56 | 9.71 | 3.7333 | 887.5333 | 81.1333 | 13.236
2019-01-29 20:30:00 | 3.26 | 93.4233 | 3.7533 | 102.66 | 6.25 | 120.1733 | 5.8933 | 7.67 | 3.6267 | 887.8 | 81.9333 | 17.1813
2019-01-29 20:45:00 | 3.6467 | 143.7733 | 4.19 | 157.9867 | 6.5533 | 50.2533 | 6.25 | 11.05 | 3.5933 | 887 | 82.3 | 23.4893
2019-01-29 21:00:00 | 4.0067 | 207.1867 | 4.61 | 227.6667 | 6.74 | 9.1667 | 6.49 | 13.9033 | 3.5933 | 887 | 82.6333 | 17.3227
2019-01-29 21:15:00 | 3.5 | 114.42 | 4.0267 | 125.7267 | 5.25 | 125.18 | 5.16 | 8.6567 | 3.5967 | 887 | 83 | 15.3947
2019-01-29 21:30:00 | 3.46 | 111.1533 | 3.98 | 122.14 | 6.0033 | 115.0333 | 5.7933 | 11.7033 | 3.5167 | 887 | 83.7333 | 13.2907
2019-01-29 21:45:00 | 3.2267 | 126.84 | 3.7167 | 139.3733 | 5.93 | 238.0867 | 5.7033 | 3.58 | 3.4033 | 887 | 84.3333 | 10.6433
2019-01-29 22:00:00 | 3.5933 | 275.04 | 4.1367 | 302.2333 | 6.0167 | 0.38 | 5.4833 | 6.5333 | 3.47 | 887.8667 | 83.6667 | 7.546
2019-01-29 22:15:00 | 3.2067 | 13.4467 | 3.6967 | 14.7733 | 5.66 | 137.7267 | 5.1933 | 4.3167 | 3.46 | 888 | 83.8 | 5.1027
2019-01-29 22:30:00 | 3.1667 | 217.1267 | 3.65 | 238.5933 | 5.5667 | 117.9 | 5.0933 | 6.8767 | 3.3933 | 888 | 84.4 | 6.5173
2019-01-29 22:45:00 | 3.42 | 114.7967 | 3.9433 | 126.1467 | 5.66 | 0.15 | 5.1 | 6.5033 | 3.34 | 888 | 84.6 | 7.904
2019-01-29 23:00:00 | 3.148 | 293.472 | 3.62 | 322.5 | 5.156 | 211.08 | 4.932 | 54.004 | 3.264 | 888 | 85.04 | 9.29
2019-01-29 23:15:00 | 3.5267 | 305.3733 | 4.0667 | 335.5667 | 5.9933 | 39.9667 | 5.8367 | 4.65 | 3.1433 | 887.4667 | 85.7333 | 11.616
2019-01-29 23:30:00 | 3.7867 | 135.3 | 4.3533 | 148.68 | 6.2067 | 10.78 | 5.99 | 239.0433 | 3.0833 | 887.8667 | 85.98 | 15.5507
2019-01-29 23:45:00 | 3.9933 | 13.4133 | 4.5907 | 14.732 | 6.524 | 49.8553 | 6.11 | 265.9187 | 3.0447 | 888 | 85.9 | 18.3267