## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-30 00:00:00 | 3.8933 | 4.5967 | 4.4767 | 5.04 | 6.4267 | 10.6 | 6.1033 | 20.5967 | 2.99 | 888 | 86.1333 | 18.03
2019-01-30 00:15:00 | 3.7733 | 220.1467 | 4.3367 | 241.92 | 6.42 | 13.8233 | 6.2033 | 17.4033 | 2.9533 | 888 | 86.2 | 19.548
2019-01-30 00:30:00 | 4.3333 | 29.62 | 4.9833 | 32.5467 | 7.3933 | 15.5767 | 7.17 | 8.2967 | 2.96 | 888 | 86.0933 | 20.3747
2019-01-30 00:45:00 | 4.0533 | 139.8733 | 4.6667 | 153.7 | 6.94 | 9.8733 | 6.64 | 12.6233 | 2.9313 | 888 | 85.8333 | 22.6873
2019-01-30 01:00:00 | 3.9733 | 115.1533 | 4.5733 | 126.54 | 6.4067 | 11.2533 | 6.2133 | 9.4633 | 2.8533 | 887.3333 | 86.1 | 23.032
2019-01-30 01:15:00 | 3.9933 | 21.58 | 4.6 | 23.7067 | 6.4167 | 15.6633 | 6.12 | 18.7833 | 2.82 | 887.4667 | 86.1533 | 24.1893
2019-01-30 01:30:00 | 4.26 | 9.1267 | 4.9133 | 10.02 | 6.6833 | 4.2833 | 6.3667 | 247.3767 | 2.8333 | 887.2 | 86.0667 | 26.2007
2019-01-30 01:45:00 | 4.34 | 316.4133 | 4.9867 | 347.7 | 7.67 | 18.16 | 7.4467 | 22.5867 | 2.8067 | 887.4667 | 86.3333 | 27.236
2019-01-30 02:00:00 | 4.4933 | 301.7867 | 5.1667 | 331.6333 | 7.932 | 16.8133 | 7.5733 | 25.5067 | 2.7133 | 887 | 86.8667 | 27.0553
2019-01-30 02:15:00 | 4.2867 | 309.9867 | 4.9367 | 340.6333 | 7.7133 | 20.3933 | 7.22 | 18.4367 | 2.63 | 887 | 87.4 | 28.1007
2019-01-30 02:30:00 | 4.5533 | 316.0533 | 5.2433 | 347.3 | 7.6067 | 19.1933 | 7.24 | 24.39 | 2.5567 | 887 | 87.8667 | 30.6973
2019-01-30 02:45:00 | 4.9 | 36.3933 | 5.6467 | 39.99 | 8.2967 | 14.3067 | 7.8067 | 15.32 | 2.52 | 887 | 88.2333 | 34.3027
2019-01-30 03:00:00 | 5.3 | 4.36 | 6.1067 | 4.7833 | 9.1233 | 16.04 | 8.6933 | 18.6467 | 2.4933 | 886.8 | 88.2333 | 35.172
2019-01-30 03:15:00 | 5.3133 | 278.3767 | 6.1133 | 305.9 | 9.0467 | 16.59 | 8.5867 | 8.5667 | 2.4467 | 886 | 88.5 | 36.0373
2019-01-30 03:30:00 | 5.44 | 305.4233 | 6.2533 | 335.6333 | 8.4933 | 23.8033 | 8.2133 | 18.44 | 2.4267 | 886 | 88.72 | 36.412
2019-01-30 03:45:00 | 5.26 | 200.9 | 6.0567 | 220.7633 | 8.1847 | 13.6367 | 7.78 | 9.3433 | 2.3633 | 886 | 89.4 | 33.6713
2019-01-30 04:00:00 | 5.0533 | 17.9 | 5.8167 | 19.67 | 8.24 | 21.89 | 7.62 | 12.0633 | 2.3167 | 886 | 89.8667 | 29.1747
2019-01-30 04:15:00 | 4.14 | 127.0533 | 4.7633 | 139.6067 | 6.72 | 236.86 | 6.26 | 245.0267 | 2.2467 | 886 | 90.8 | 24.4933
2019-01-30 04:30:00 | 4.06 | 112.86 | 4.67 | 124.02 | 6.1267 | 23.98 | 5.3267 | 19.3133 | 2.22 | 885.8 | 91.02 | 25.352
2019-01-30 04:45:00 | 3.7867 | 84.6567 | 4.36 | 93.0267 | 7.1267 | 93.4933 | 6.6867 | 1.6733 | 2.1933 | 885 | 91.4 | 32.2893
2019-01-30 05:00:00 | 4.6667 | 93.9433 | 5.3733 | 103.2267 | 7.8933 | 98.8733 | 7.4667 | 1.12 | 2.1867 | 885 | 91.8 | 42.324
2019-01-30 05:15:00 | 6.11 | 110.7533 | 7.0333 | 121.6933 | 10.06 | 20.3367 | 9.2633 | 24.63 | 2.22 | 885 | 91.82 | 43.5327
2019-01-30 05:30:00 | 6.1633 | 4.74 | 7.0933 | 5.2067 | 10.6867 | 14.2233 | 9.9767 | 13.9567 | 2.2533 | 885 | 91.4 | 44.5487
2019-01-30 05:45:00 | 5.98 | 53.0967 | 6.88 | 58.3467 | 10.7467 | 17.4933 | 10.2233 | 17.7833 | 2.22 | 885 | 91.7333 | 45.1727
2019-01-30 06:00:00 | 5.8 | 244.7033 | 6.6733 | 268.9 | 10.72 | 15.3 | 10.25 | 14.75 | 2.18 | 885 | 92.1333 | 45.68
2019-01-30 06:15:00 | 6.27 | 0.09 | 7.21 | 0.1 | 10.9 | 11.92 | 10.19 | 16.71 | 2.12 | 885 | 92.8 | 46.417
2019-01-30 06:30:00 | 6.4333 | 18.6533 | 7.4 | 20.4933 | 10.996 | 11.7567 | 10.2 | 17.6567 | 1.94 | 885 | 94.8667 | 47.4833
2019-01-30 06:45:00 | 7.38 | 289.9233 | 8.49 | 318.6 | 12.56 | 13.19 | 11.8567 | 12.7533 | 1.8667 | 885 | 95.7667 | 48.028
2019-01-30 07:00:00 | 7.6867 | 323.8967 | 8.85 | 355.9333 | 13.0867 | 14.0367 | 12.7033 | 15.1067 | 1.88 | 885 | 95.9 | 47.9493
2019-01-30 07:15:00 | 7.5433 | 135.4667 | 8.6767 | 148.8667 | 12.8933 | 10.2233 | 12.19 | 12.43 | 1.86 | 885 | 96.5 | 47.8007
2019-01-30 07:30:00 | 7.4033 | 124.0267 | 8.5167 | 136.2867 | 12.8733 | 10.6167 | 12.35 | 18.1367 | 1.76 | 885 | 97.7667 | 47.9907
2019-01-30 07:45:00 | 7.4313 | 86.3507 | 8.5487 | 94.8893 | 12.5967 | 20.1507 | 11.876 | 14.9247 | 1.7027 | 885.5333 | 98.7533 | 47.784
2019-01-30 08:00:00 | 7.2733 | 273.4033 | 8.3633 | 300.4333 | 12.47 | 11.95 | 11.8867 | 18.86 | 1.7233 | 886 | 98.92 | 48.966
2019-01-30 08:15:00 | 7.54 | 130.03 | 8.6767 | 142.8933 | 12.62 | 15.7667 | 12.38 | 17.1967 | 1.78 | 886 | 98.9 | 49.5327
2019-01-30 08:30:00 | 7.54 | 172.6633 | 8.6767 | 189.7333 | 12.82 | 18.1333 | 12.7133 | 20.1033 | 1.8133 | 886 | 98.68 | 50.4467
2019-01-30 08:45:00 | 7.6933 | 75.3 | 8.86 | 82.7467 | 13.344 | 17.7933 | 13.16 | 14.7733 | 1.78 | 886 | 98.9333 | 49.0733
2019-01-30 09:00:00 | 7.4333 | 143.2733 | 8.5533 | 157.4333 | 13.02 | 13.98 | 13.02 | 16.8533 | 1.7533 | 886 | 99.3333 | 49.3087
2019-01-30 09:15:00 | 7.2133 | 203.2067 | 8.2933 | 223.3 | 12.868 | 14.6967 | 12.79 | 22.6733 | 1.7533 | 886 | 99.3867 | 51.9093
2019-01-30 09:30:00 | 7.76 | 278.3733 | 8.9267 | 305.9 | 13.3767 | 18.1367 | 12.8767 | 21.5333 | 1.84 | 886 | 98.7 | 52.428
2019-01-30 09:45:00 | 7.9067 | 18.9633 | 9.0967 | 20.8333 | 13.5367 | 18.7233 | 13.31 | 11.54 | 2.09 | 886 | 96.5333 | 51.952
2019-01-30 10:00:00 | 8.0733 | 45.8167 | 9.29 | 50.3467 | 13.7967 | 9.25 | 13.13 | 14.2333 | 2.2033 | 886 | 95.4667 | 52.138
2019-01-30 10:15:00 | 7.6567 | 149.34 | 8.8067 | 164.1 | 13.08 | 19.25 | 12.57 | 17.33 | 2.25 | 886 | 95.1 | 51.81
2019-01-30 10:30:00 | 7.25 | 101.98 | 8.3333 | 112.06 | 12.62 | 15.83 | 11.9567 | 21.97 | 2.27 | 886.8667 | 94.8333 | 52.04
2019-01-30 10:45:00 | 7.5867 | 213.23 | 8.7233 | 234.31 | 12.8833 | 17.7867 | 12.3567 | 9.1633 | 2.3167 | 887 | 94.7 | 52.9807
2019-01-30 11:00:00 | 7.6133 | 61.6833 | 8.7567 | 67.7767 | 12.81 | 9.8267 | 12.2967 | 31.5233 | 2.3633 | 887 | 94.72 | 52.7987
2019-01-30 11:15:00 | 7.726 | 207.6573 | 8.8847 | 228.1933 | 12.906 | 14.8013 | 12.3353 | 19.04 | 2.354 | 887 | 95.3333 | 52.0107
2019-01-30 11:30:00 | 8.0633 | 33.04 | 9.27 | 36.3 | 13.99 | 14.3333 | 13.4767 | 20.76 | 2.47 | 887 | 94.8667 | 53.7053
2019-01-30 11:45:00 | 7.8967 | 146.35 | 9.0867 | 160.82 | 14.1467 | 6.82 | 13.5633 | 18.3433 | 2.71 | 886.4667 | 93.1333 | 52.4607
2019-01-30 12:00:00 | 7.9367 | 124.0767 | 9.14 | 136.3467 | 14.18 | 12.6067 | 13.368 | 15.99 | 2.91 | 886 | 91.7333 | 54.6707
2019-01-30 12:15:00 | 7.9867 | 126.1833 | 9.1933 | 138.66 | 14.2 | 12.0533 | 13.6833 | 16.49 | 3.0067 | 886 | 90.8 | 54.1847
2019-01-30 12:30:00 | 8.84 | 289.9967 | 10.1733 | 318.6667 | 14.7933 | 21.02 | 13.8833 | 18.4033 | 3.0067 | 886 | 90.8 | 54.344
2019-01-30 12:45:00 | 8.26 | 213.6367 | 9.5 | 234.7633 | 13.63 | 12.0467 | 13.2 | 17.68 | 2.6033 | 886 | 94.8333 | 54.4973
2019-01-30 13:00:00 | 7.22 | 10.95 | 8.3067 | 12.03 | 13.1433 | 13.88 | 12.916 | 19.7067 | 2.45 | 886 | 97.1667 | 53.8133
2019-01-30 13:15:00 | 6.7133 | 38.24 | 7.7267 | 42.02 | 12.58 | 13.9067 | 12.32 | 20.6633 | 2.5233 | 886 | 98.4667 | 53.8473
2019-01-30 13:30:00 | 6.7533 | 36.86 | 7.7733 | 40.5067 | 12.7293 | 19.4867 | 12.5667 | 21.0233 | 2.6833 | 886 | 99.0667 | 54.5007
2019-01-30 13:45:00 | 7.36 | 51.09 | 8.48 | 56.13 | 13.05 | 9.61 | 12.69 | 21.55 | 2.62 | 885.7 | 99.17 | 55.601
2019-01-30 14:00:00 | 7.4933 | 235.7 | 8.6233 | 259 | 12.8767 | 11.8767 | 12.4367 | 21.01 | 2.4533 | 885 | 98.92 | 57.3133
2019-01-30 14:15:00 | 7.3567 | 23.27 | 8.4633 | 25.5667 | 13.3667 | 7.45 | 13.17 | 20.08 | 2.52 | 885 | 99.12 | 56.2827
2019-01-30 14:30:00 | 7.0233 | 40.6967 | 8.0767 | 44.7133 | 12.8667 | 18.0033 | 12.99 | 21.3267 | 2.6333 | 885 | 99.32 | 57.1
2019-01-30 14:45:00 | 7.08 | 62.8533 | 8.14 | 69.0667 | 12.7967 | 17.77 | 13.22 | 28.84 | 2.8933 | 885 | 99.6 | 56.9327
2019-01-30 15:00:00 | 6.878 | 105.6 | 7.92 | 116.0333 | 12.5567 | 13.2967 | 12.9 | 29.36 | 3.0533 | 885 | 99.4667 | 58.2767
2019-01-30 15:15:00 | 6.6467 | 140.08 | 7.65 | 153.9333 | 12.35 | 16.4733 | 12.48 | 22.36 | 3.24 | 885 | 98.6333 | 57.694
2019-01-30 15:30:00 | 7.18 | 280.28 | 8.2633 | 308 | 12.75 | 18.16 | 12.3 | 21.5933 | 3.3133 | 885 | 96.5667 | 59.5467
2019-01-30 15:45:00 | 7.48 | 284.5933 | 8.6133 | 312.7333 | 13.3767 | 11.86 | 13.2467 | 30.2367 | 3.36 | 885 | 94.3667 | 59.19
2019-01-30 16:00:00 | 7.9667 | 116.9267 | 9.1667 | 128.48 | 14.1433 | 16.5267 | 14.32 | 26.4767 | 3.3333 | 885 | 93.1 | 58.1047
2019-01-30 16:15:00 | 7.8167 | 174.0367 | 9 | 191.2467 | 13.65 | 13.8633 | 13.93 | 30.35 | 3.4967 | 885 | 91.6667 | 58.524
2019-01-30 16:30:00 | 8.2567 | 190.3633 | 9.4933 | 209.18 | 14.1413 | 24.1433 | 14.5433 | 25.9567 | 3.7233 | 884.1333 | 87.8 | 58.4327
2019-01-30 16:45:00 | 8.52 | 213.0667 | 9.8067 | 234.1333 | 14.74 | 17.4667 | 15.1833 | 32.2767 | 4.0433 | 884 | 83.7333 | 59.1673
2019-01-30 17:00:00 | 8.9667 | 243.94 | 10.3133 | 268.0667 | 15.5533 | 16.7067 | 15.47 | 29.8633 | 4.13 | 884.2 | 83.4 | 59.3133
2019-01-30 17:15:00 | 9.33 | 74.6867 | 10.73 | 82.07 | 16.3733 | 18.8133 | 16.21 | 29.2567 | 4.0433 | 885 | 83.3467 | 59.76
2019-01-30 17:30:00 | 9.15 | 13.145 | 10.525 | 14.445 | 16.005 | 21.24 | 15.825 | 30.01 | 3.935 | 885 | 83.08 | 58.723
2019-01-30 17:45:00 | 8.2367 | 243.67 | 9.4767 | 267.7667 | 14.95 | 24.9167 | 14.9133 | 20.3233 | 3.8 | 885 | 82.7533 | 59.3947
2019-01-30 18:00:00 | 8.6167 | 109.9033 | 9.91 | 120.7733 | 15.59 | 29.8967 | 15.8533 | 25.67 | 3.7533 | 885 | 82.3333 | 58.9827
2019-01-30 18:15:00 | 8.4233 | 291.0867 | 9.6933 | 319.8667 | 15.0833 | 23.1833 | 15.5 | 23.5533 | 3.7213 | 885 | 81.5667 | 56.8513
2019-01-30 18:30:00 | 7.8767 | 217.3733 | 9.06 | 238.8667 | 13.9433 | 18.9367 | 14.7533 | 24.8533 | 3.672 | 885.8667 | 80.5667 | 56.376
2019-01-30 18:45:00 | 7.9233 | 215.6833 | 9.11 | 237.0033 | 14.14 | 18.8767 | 14.6167 | 30.1733 | 3.6467 | 886 | 79.87 | 57.9073
2019-01-30 19:00:00 | 7.6233 | 22.7633 | 8.7767 | 25.01 | 13.62 | 18.57 | 13.8967 | 24.5933 | 3.64 | 886 | 79.29 | 55.8227
2019-01-30 19:15:00 | 7.432 | 319.574 | 8.546 | 351.18 | 13.586 | 16.54 | 13.764 | 26.968 | 3.472 | 886 | 79.772 | 55.052
2019-01-30 19:30:00 | 7.3 | 230.5633 | 8.3967 | 253.3667 | 13.5633 | 21.3533 | 13.7733 | 27.0533 | 3.26 | 886.8667 | 80.7 | 55.1953
2019-01-30 19:45:00 | 7.38 | 224.6867 | 8.4933 | 246.9 | 13.77 | 19.1733 | 13.742 | 26.9633 | 3.3033 | 887 | 80 | 55.3487
2019-01-30 20:00:00 | 6.7467 | 270.7267 | 7.76 | 297.5 | 12.3767 | 18.2 | 12.8667 | 24.63 | 3.2833 | 887.2 | 79.79 | 55.2833
2019-01-30 20:15:00 | 6.0967 | 230.5967 | 7.01 | 253.4 | 11.44 | 21.1967 | 11.9367 | 25.6367 | 3.0767 | 888 | 80.6 | 54.692
2019-01-30 20:30:00 | 5.9567 | 37.51 | 6.85 | 41.22 | 11.08 | 17.1233 | 11.1367 | 21.47 | 3.0167 | 888.2 | 80.5333 | 54.2967
2019-01-30 20:45:00 | 5.7567 | 45.2333 | 6.63 | 49.7 | 10.8467 | 15.9033 | 10.63 | 21.74 | 2.98 | 889 | 80.7 | 51.4047
2019-01-30 21:00:00 | 5.5833 | 162.74 | 6.4233 | 178.8333 | 10.18 | 15.3167 | 9.8967 | 24.0133 | 3.0133 | 889 | 80.48 | 52.8207
2019-01-30 21:15:00 | 5.6267 | 296.6733 | 6.4733 | 326 | 10.6933 | 10.2333 | 10.4267 | 21.21 | 2.7867 | 889 | 81.4 | 51.6233
2019-01-30 21:30:00 | 5.86 | 113.34 | 6.7467 | 124.54 | 10.98 | 15.1133 | 10.7933 | 27.8767 | 2.6067 | 889 | 82.2 | 48.904
2019-01-30 21:45:00 | 5.6133 | 229.6267 | 6.4567 | 252.3267 | 10.6967 | 16.52 | 11.1333 | 19.6967 | 2.6067 | 889 | 82.6 | 46.6513
2019-01-30 22:00:00 | 5.0333 | 175.0267 | 5.79 | 192.3267 | 9.45 | 23.96 | 10.46 | 28.79 | 2.54 | 889.8667 | 83.1133 | 48.9687
2019-01-30 22:15:00 | 5.208 | 247.316 | 5.9887 | 271.7733 | 9.6173 | 8.5173 | 9.5527 | 28.2513 | 2.2993 | 890 | 84.56 | 43.444
2019-01-30 22:30:00 | 5.2467 | 55.4233 | 6.0433 | 60.9 | 9.96 | 13.79 | 9.84 | 27.7167 | 2.1533 | 890 | 84.6667 | 49.722
2019-01-30 22:45:00 | 5.0933 | 80.12 | 5.86 | 88.0467 | 9.45 | 10.69 | 9.68 | 31.1433 | 2.1567 | 890 | 84.2667 | 44.5547
2019-01-30 23:00:00 | 4.7547 | 247.832 | 5.4773 | 272.3467 | 8.7353 | 11.086 | 9.0907 | 31.9233 | 2.0113 | 890 | 85.4 | 44.9567
2019-01-30 23:15:00 | 4.8267 | 184.68 | 5.55 | 202.9333 | 9.21 | 10.94 | 9.5633 | 30.8133 | 1.8733 | 890 | 85.5667 | 36.45
2019-01-30 23:30:00 | 4.38 | 207.4867 | 5.0433 | 228 | 8.1233 | 21.4933 | 8.09 | 33.2133 | 1.9533 | 890 | 84.5667 | 25.39
2019-01-30 23:45:00 | 3.6067 | 213.1967 | 4.15 | 234.2667 | 6.65 | 19.4933 | 6.4933 | 26.6367 | 2.0567 | 890 | 83.7667 | 21.54