## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-01-31 00:00:00 | 3.1467 | 308.8033 | 3.6233 | 339.3333 | 5.888 | 14.6133 | 5.8667 | 31.9433 | 1.8833 | 890.2 | 84.5667 | 16.3007
2019-01-31 00:15:00 | 2.64 | 141.7267 | 3.0467 | 155.7333 | 4.9867 | 21.3933 | 4.9867 | 34.48 | 1.7733 | 891 | 85.2333 | 13.3693
2019-01-31 00:30:00 | 2.47 | 172.4 | 2.85 | 189.45 | 4.65 | 28.195 | 4.225 | 34.485 | 1.66 | 891 | 86.1 | 15.997
2019-01-31 00:45:00 | 2.38 | 48.52 | 2.74 | 53.32 | 4.67 | 29.39 | 3.71 | 19.7 | 1.49 | 890 | 87.1 | 17.655
2019-01-31 01:00:00 | 2.6667 | 294.03 | 3.0667 | 323.1 | 4.98 | 17.45 | 5.0833 | 39.4267 | 1.2967 | 890 | 88.2667 | 15.7547
2019-01-31 01:15:00 | 2.66 | 63.17 | 3.06 | 69.41 | 4.7433 | 36.81 | 4.1333 | 24.02 | 1.5533 | 890 | 86.4 | 11.9107
2019-01-31 01:30:00 | 2.4733 | 7.8567 | 2.8533 | 8.6233 | 4.6433 | 24.63 | 4.48 | 31.9333 | 1.5267 | 890 | 86.2 | 10.1933
2019-01-31 01:45:00 | 2.74 | 2.53 | 3.1567 | 2.7733 | 3.9267 | 11.7933 | 4.0533 | 28.4733 | 2.0033 | 890.5333 | 82.9 | 13.4413
2019-01-31 02:00:00 | 2.74 | 7.4833 | 3.1567 | 8.22 | 4.7133 | 15.7667 | 4.92 | 24.2533 | 1.8433 | 891 | 83.6333 | 12.52
2019-01-31 02:15:00 | 2.91 | 168.3793 | 3.35 | 185.032 | 5.5073 | 5.4627 | 5.3573 | 12.1647 | 1.6393 | 891 | 84.4533 | 25.4113
2019-01-31 02:30:00 | 3.6867 | 21.3633 | 4.24 | 23.4733 | 6.1 | 241.6133 | 6.0633 | 23.2733 | 1.7433 | 891 | 84.4 | 31.56
2019-01-31 02:45:00 | 3.7667 | 118.61 | 4.3367 | 130.3333 | 6.9867 | 17.8333 | 7.0767 | 22.5167 | 1.4067 | 891 | 87.8667 | 33.614
2019-01-31 03:00:00 | 4.3533 | 312.6233 | 5.01 | 343.5333 | 8.3267 | 12.1867 | 8.0833 | 21.7367 | 1.1067 | 891 | 90.3333 | 34.7707
2019-01-31 03:15:00 | 4.8867 | 44.46 | 5.6233 | 48.8467 | 8.7 | 13.67 | 8.71 | 15.8633 | 1.2667 | 891 | 90.1667 | 40.174
2019-01-31 03:30:00 | 4.8933 | 153.3667 | 5.63 | 168.5267 | 9.0533 | 12.23 | 9.0367 | 20.8567 | 1.2867 | 890.1333 | 90.2333 | 41.8607
2019-01-31 03:45:00 | 5.2467 | 163.3433 | 6.0367 | 179.5 | 9.6867 | 5.88 | 9.83 | 21.7333 | 1.27 | 890.5333 | 90.5333 | 43.6893
2019-01-31 04:00:00 | 5.36 | 191.6167 | 6.17 | 210.5667 | 9.74 | 7.9667 | 9.8233 | 22.7733 | 1.3033 | 891 | 90 | 44.4813
2019-01-31 04:15:00 | 5.32 | 11.66 | 6.13 | 12.8 | 9.98 | 5.47 | 9.85 | 17.81 | 1.25 | 891 | 89.93 | 44.096
2019-01-31 04:30:00 | 5.15 | 67.91 | 5.925 | 74.625 | 9.115 | 5.925 | 9.245 | 28.305 | 1.18 | 891 | 90.95 | 42.469
2019-01-31 04:45:00 | 4.68 | 35.4533 | 5.3833 | 38.9533 | 7.9833 | 4.0867 | 8.0733 | 139.0133 | 1.1433 | 891 | 90.6 | 44.156
2019-01-31 05:00:00 | 4.8533 | 34.4667 | 5.5833 | 37.8667 | 7.8833 | 231.62 | 7.7933 | 124.6067 | 1.1633 | 891 | 90.3533 | 43.5367
2019-01-31 05:15:00 | 4.5667 | 171.4933 | 5.2633 | 188.4433 | 8.1333 | 345.9667 | 7.9733 | 11.0433 | 1.1867 | 891 | 90.4533 | 42.4047
2019-01-31 05:30:00 | 4.8067 | 32.4 | 5.5367 | 35.59 | 8.2867 | 120.7467 | 8.1267 | 6.2633 | 1.26 | 891 | 90.5667 | 41.0513
2019-01-31 05:45:00 | 4.9267 | 102.3633 | 5.67 | 112.4733 | 8.26 | 133.7867 | 8.1147 | 14.6633 | 1.4833 | 891 | 89.1 | 46.0573
2019-01-31 06:00:00 | 5.5 | 318.7167 | 6.33 | 350.2333 | 9.4467 | 126.7867 | 9.29 | 19.79 | 1.59 | 891 | 88.7 | 48.3727
2019-01-31 06:15:00 | 6.1967 | 182.34 | 7.1333 | 200.3667 | 11.1 | 10.0233 | 11.0767 | 16.8 | 1.6633 | 891 | 88.7 | 48.994
2019-01-31 06:30:00 | 6.0367 | 192.84 | 6.9533 | 211.9 | 11.1733 | 8.2567 | 11.19 | 18.5867 | 1.6633 | 891.8667 | 88.9467 | 51.2647
2019-01-31 06:45:00 | 5.7593 | 282.1193 | 6.6247 | 310.0067 | 10.8227 | 15.7387 | 11.1633 | 28.714 | 1.6547 | 892 | 89.02 | 51.0227
2019-01-31 07:00:00 | 5.7867 | 200.88 | 6.6633 | 220.7333 | 10.9533 | 19.5933 | 10.96 | 13.5733 | 1.7267 | 892 | 88.0333 | 51.4253
2019-01-31 07:15:00 | 6.1867 | 164.2333 | 7.1167 | 180.4667 | 11.19 | 7.0133 | 11.1733 | 24.6367 | 1.8167 | 892 | 86.5333 | 50.7847
2019-01-31 07:30:00 | 6.3867 | 282.16 | 7.3433 | 310.0667 | 11.45 | 15.7267 | 11.2533 | 18.91 | 1.8567 | 892 | 85.5333 | 52.0593
2019-01-31 07:45:00 | 6.93 | 24.77 | 7.97 | 27.2133 | 12.0833 | 8.5 | 11.9067 | 16.36 | 1.8867 | 892 | 85.08 | 49.9433
2019-01-31 08:00:00 | 6.19 | 215.19 | 7.1233 | 236.4733 | 10.11 | 20.4667 | 10.1133 | 28.02 | 1.9667 | 892.8667 | 84.7 | 44.392
2019-01-31 08:15:00 | 6.0867 | 2.0433 | 7.0033 | 2.2367 | 10.0167 | 14.4467 | 9.7333 | 5.1567 | 2.0133 | 893 | 84.7 | 47.5987
2019-01-31 08:30:00 | 6.7067 | 69.2967 | 7.7167 | 76.15 | 11.6233 | 17.06 | 11.48 | 20.43 | 2 | 893 | 84.92 | 49.7153
2019-01-31 08:45:00 | 6.0533 | 52.41 | 6.9667 | 57.5867 | 11.1333 | 13.2733 | 11.3933 | 21.36 | 2.02 | 893.5333 | 84.6333 | 51.8713
2019-01-31 09:00:00 | 5.7067 | 232.23 | 6.5667 | 255.2 | 10.86 | 7.6933 | 11.0933 | 26.584 | 2.04 | 894 | 84.5 | 52.944
2019-01-31 09:15:00 | 6.1467 | 70.0133 | 7.07 | 76.9267 | 11.3933 | 15.5833 | 11.51 | 22.1867 | 2.17 | 894 | 83.5667 | 55.2353
2019-01-31 09:30:00 | 6.54 | 218.7 | 7.5233 | 240.3267 | 11.8267 | 9.9433 | 11.9873 | 25.5267 | 2.2633 | 894 | 82.2333 | 52.914
2019-01-31 09:45:00 | 6.8067 | 124.34 | 7.83 | 136.6367 | 12.06 | 11.69 | 12.0133 | 19.92 | 2.4367 | 894.5333 | 81.4 | 51.5887
2019-01-31 10:00:00 | 5.9933 | 186.7733 | 6.9033 | 205.2367 | 11 | 7.3767 | 11.0867 | 21.4933 | 3.3767 | 895 | 79.0133 | 49.6587
2019-01-31 10:15:00 | 5.6947 | 296.924 | 6.552 | 326.2933 | 10.4607 | 15.626 | 10.5947 | 26.594 | 4.9827 | 895.5333 | 73.2407 | 47.2327
2019-01-31 10:30:00 | 5.5167 | 96.7733 | 6.3467 | 106.3467 | 10.19 | 11.4833 | 10.3067 | 29.4633 | 4.9367 | 896 | 71.8167 | 46.526
2019-01-31 10:45:00 | 5.5933 | 216.84 | 6.4467 | 238.2833 | 9.8833 | 35.9033 | 10.18 | 36.04 | 4.22 | 896 | 73.55 | 44.5513
2019-01-31 11:00:00 | 5.5333 | 16.3 | 6.3733 | 17.9033 | 10.01 | 29.03 | 10.3733 | 26.64 | 4.3333 | 896 | 73.6433 | 46.214
2019-01-31 11:15:00 | 6.1633 | 179.3567 | 7.09 | 197.0833 | 11.0233 | 3.76 | 11.1167 | 28.6633 | 5.1633 | 896 | 69.9633 | 47.236
2019-01-31 11:30:00 | 6.5367 | 27.15 | 7.5167 | 29.83 | 11.5767 | 14.98 | 11.75 | 26.9767 | 5.6233 | 896 | 68.3633 | 48.0653
2019-01-31 11:45:00 | 6.3333 | 287.7133 | 7.28 | 316.1667 | 10.9833 | 19.31 | 11.13 | 25.8933 | 6.0333 | 896 | 66.61 | 47.852
2019-01-31 12:00:00 | 6.3467 | 293.6067 | 7.3 | 322.6333 | 10.81 | 10.0167 | 10.87 | 22.8933 | 6.1067 | 896 | 66.27 | 46.1807
2019-01-31 12:15:00 | 5.8733 | 214.4433 | 6.7533 | 235.6533 | 10.47 | 10.3533 | 10.4233 | 21.4633 | 6.4867 | 896 | 64.37 | 41.9747
2019-01-31 12:30:00 | 6.12 | 30.97 | 7.04 | 34.0267 | 10.8633 | 9.12 | 10.8433 | 17.99 | 7 | 896 | 62.07 | 41.8533
2019-01-31 12:45:00 | 6 | 100.2833 | 6.9067 | 110.2 | 10.4033 | 13.8767 | 10.5067 | 14.62 | 7.08 | 896 | 60.4867 | 35.9687
2019-01-31 13:00:00 | 5.8933 | 280.1567 | 6.78 | 307.8667 | 10.2833 | 15.6233 | 10.18 | 20.02 | 7.2533 | 896 | 59.7533 | 34.0333
2019-01-31 13:15:00 | 5.5433 | 287.7767 | 6.3733 | 316.2333 | 9.8533 | 24.0433 | 9.49 | 25.3333 | 7.58 | 896 | 58.28 | 29.4513
2019-01-31 13:30:00 | 5.3167 | 134.5233 | 6.12 | 147.8133 | 9.6933 | 15.9233 | 9.2367 | 19.6267 | 8.06 | 896 | 56.4 | 27.7353
2019-01-31 13:45:00 | 5.2 | 15.14 | 5.9933 | 16.6267 | 9.2067 | 3.5167 | 8.78 | 18.0267 | 8.2053 | 896.5333 | 55.22 | 26.0313
2019-01-31 14:00:00 | 5.0867 | 228.88 | 5.86 | 251.5133 | 9.04 | 8.7833 | 8.5 | 24.7667 | 8.63 | 896.1333 | 53.766 | 27.202
2019-01-31 14:15:00 | 5.2067 | 55.4 | 5.9967 | 60.88 | 9.2 | 18.8633 | 9.36 | 26.9633 | 9.0867 | 896 | 51.75 | 28.5833
2019-01-31 14:30:00 | 5.2467 | 240.46 | 6.0433 | 264.2333 | 9.2267 | 27.4033 | 9.4067 | 26.7367 | 8.9933 | 896 | 50.8833 | 28.3247
2019-01-31 14:45:00 | 5.04 | 303.4533 | 5.8033 | 333.4667 | 8.8767 | 8.5367 | 8.65 | 18.9267 | 9.0353 | 896 | 50.9867 | 26.538
2019-01-31 15:00:00 | 4.9133 | 303.4 | 5.6567 | 333.4 | 8.3833 | 4.4767 | 7.89 | 21.2867 | 9.3067 | 896 | 50.0467 | 26.1027
2019-01-31 15:15:00 | 4.9033 | 294.2733 | 5.64 | 323.3667 | 8.35 | 120.24 | 7.7367 | 24.3667 | 8.9233 | 896 | 49.92 | 26.174
2019-01-31 15:30:00 | 4.892 | 300.82 | 5.6333 | 330.5667 | 8.4633 | 131.66 | 7.9367 | 29.5333 | 8.87 | 895.8 | 48.2133 | 24.4647
2019-01-31 15:45:00 | 5.12 | 299.2333 | 5.89 | 328.8333 | 8.9267 | 20.2867 | 8.4833 | 32.2767 | 8.8333 | 895 | 48.0967 | 28.5533
2019-01-31 16:00:00 | 4.9067 | 117.4533 | 5.6433 | 129.0667 | 8.5333 | 22.1333 | 7.9367 | 29.23 | 8.56 | 895 | 48.2567 | 29.6647
2019-01-31 16:15:00 | 5.01 | 105.3967 | 5.7733 | 115.8133 | 8.8 | 12.3367 | 8.3667 | 28.9467 | 8.1267 | 895 | 49.8267 | 26.1067
2019-01-31 16:30:00 | 5.1367 | 285.8633 | 5.9133 | 314.1333 | 9.02 | 13.1167 | 8.7 | 21.4733 | 8.1333 | 895 | 49.9067 | 27.476
2019-01-31 16:45:00 | 5.46 | 319.23 | 6.29 | 350.8 | 9.56 | 17.4 | 9.35 | 39.08 | 7.94 | 895 | 49.72 | 25.853
2019-01-31 17:00:00 | 4.43 | 318.15 | 5.09 | 349.6 | 8.23 | 31.71 | 7.87 | 28.8 | 7.74 | 895 | 50.36 | 21.672
2019-01-31 17:15:00 | 3.92 | 283.89 | 4.5167 | 311.9667 | 7.2467 | 13.1133 | 7.21 | 28.3833 | 6.95 | 895 | 52.8967 | 20.8187
2019-01-31 17:30:00 | 3.92 | 128.71 | 4.5167 | 141.4333 | 7.36 | 13.8333 | 7.37 | 25.4833 | 6.45 | 895 | 55.4567 | 18.2227
2019-01-31 17:45:00 | 3.7 | 312.23 | 4.26 | 343.1 | 6.92 | 19.47 | 6.52 | 13.66 | 5.83 | 894.4667 | 58.4 | 16.4707
2019-01-31 18:00:00 | 3.5953 | 234.914 | 4.1373 | 258.1473 | 6.488 | 31.1947 | 5.7927 | 29.1387 | 5.3587 | 894 | 59.4267 | 12.89
2019-01-31 18:15:00 | 2.9667 | 235.9 | 3.41 | 259.2333 | 5.6733 | 19.94 | 5.4267 | 28.22 | 5.0733 | 894 | 60.5267 | 10.8407
2019-01-31 18:30:00 | 2.7467 | 251.0733 | 3.1567 | 275.9 | 5.2867 | 13.2133 | 5.12 | 24.0733 | 4.8333 | 894 | 61.8133 | 11.374
2019-01-31 18:45:00 | 3.0333 | 212.9567 | 3.49 | 234.0133 | 5.5033 | 9.2967 | 5.1433 | 15.7833 | 4.5267 | 894 | 63.0533 | 12.34
2019-01-31 19:00:00 | 2.9067 | 12.9433 | 3.35 | 14.22 | 4.97 | 13.3367 | 4.79 | 14.49 | 4.36 | 894 | 63.8933 | 11.6133
2019-01-31 19:15:00 | 3.04 | 22.3267 | 3.5 | 24.53 | 4.74 | 137.3333 | 4.6933 | 6.7833 | 4.3 | 894 | 64.1467 | 14.0387
2019-01-31 19:30:00 | 3.2867 | 13.68 | 3.7867 | 15.03 | 5.8733 | 355.6333 | 5.5867 | 6.8833 | 4.08 | 894 | 64.8467 | 12.8533
2019-01-31 19:45:00 | 2.9 | 137.0167 | 3.3433 | 150.5667 | 5.4933 | 1.2167 | 5.3933 | 5.71 | 3.97 | 894 | 64.98 | 11.7313
2019-01-31 20:00:00 | 2.8667 | 48.6433 | 3.2967 | 53.4533 | 5.3867 | 5.8367 | 5.24 | 11.9967 | 3.89 | 894 | 65.4733 | 13.9873
2019-01-31 20:15:00 | 3.0667 | 12.8567 | 3.5267 | 14.13 | 5.23 | 231.4767 | 5.09 | 17.1667 | 3.7267 | 894 | 66.37 | 15.1927
2019-01-31 20:30:00 | 3.2133 | 31.79 | 3.7 | 34.93 | 5.1767 | 217.41 | 5.2567 | 10.28 | 3.6733 | 894 | 66.8033 | 15.6833
2019-01-31 20:45:00 | 3.5267 | 2.2533 | 4.0533 | 2.4733 | 5.6567 | 329.1467 | 5.36 | 17.63 | 3.53 | 894.5333 | 67.4 | 17.4347
2019-01-31 21:00:00 | 3.7267 | 2.54 | 4.2933 | 2.78 | 5.97 | 351.0667 | 5.7867 | 22.426 | 3.39 | 895 | 67.7193 | 18.8013
2019-01-31 21:15:00 | 3.4133 | 188.0967 | 3.9233 | 206.7033 | 6.34 | 355.1 | 5.96 | 8.3833 | 2.9567 | 895 | 69.6667 | 20.42
2019-01-31 21:30:00 | 3.6333 | 21.3633 | 4.1767 | 23.47 | 6.7 | 355.2333 | 6.18 | 1.8967 | 2.73 | 894.8 | 71.2933 | 19.9967
2019-01-31 21:45:00 | 3.96 | 10.76 | 4.57 | 11.82 | 6.17 | 344.8 | 6.12 | 7.69 | 2.66 | 894 | 72.35 | 20.544
2019-01-31 22:00:00 | 3.86 | 114.1467 | 4.4467 | 125.4267 | 6.3033 | 14.3 | 6.3467 | 18 | 2.61 | 894 | 73.51 | 25.674
2019-01-31 22:15:00 | 4.1667 | 0.12333 | 4.7967 | 0.13 | 6.4867 | 116.7067 | 6.4767 | 4.21 | 2.4433 | 894 | 74.89 | 24.5487
2019-01-31 22:30:00 | 4.0067 | 204.4767 | 4.61 | 224.6967 | 6.3267 | 341.2333 | 6.2767 | 5.2633 | 2.2633 | 894 | 75.9167 | 19.3173
2019-01-31 22:45:00 | 3.46 | 273.36 | 3.98 | 300.4 | 5.9 | 5.74 | 5.89 | 6.32 | 2.07 | 894 | 76.59 | 18.933
2019-01-31 23:00:00 | 3.485 | 301.995 | 4.01 | 331.85 | 6.19 | 347 | 6.03 | 13.22 | 1.965 | 894 | 77.27 | 17.937
2019-01-31 23:15:00 | 3.5867 | 115.02 | 4.1267 | 126.3867 | 6.5 | 356.9 | 6.0847 | 8.3367 | 1.7933 | 894 | 78.3633 | 21.2653
2019-01-31 23:30:00 | 3.7 | 300.0667 | 4.26 | 329.7333 | 6.6067 | 354.3667 | 6.22 | 10.1367 | 1.7133 | 894 | 79.1233 | 23.8347
2019-01-31 23:45:00 | 3.5433 | 18.9933 | 4.0733 | 20.8733 | 6.3833 | 0.32667 | 6.2 | 2.02 | 1.56 | 894 | 80.5 | 22.8553