## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-01 00:00:00 | 3.5233 | 198.2533 | 4.0533 | 217.8533 | 6.37 | 2.24 | 6.3133 | 6.7867 | 1.4267 | 894 | 82.0333 | 21.3827
2019-02-01 00:15:00 | 4.4033 | 320.54 | 5.07 | 352.2333 | 6.7333 | 16.2233 | 6.9167 | 16.4833 | 1.6533 | 894 | 83.1333 | 22.5007
2019-02-01 00:30:00 | 4.3233 | 117.26 | 4.9833 | 128.8533 | 7.2533 | 58.0167 | 7.2633 | 13.05 | 1.7933 | 894 | 83 | 18.8807
2019-02-01 00:45:00 | 3.9133 | 5.56 | 4.5 | 6.1033 | 6.6067 | 353.8333 | 6.35 | 122.3 | 1.9033 | 894 | 82.9667 | 16.066
2019-02-01 01:00:00 | 3.8867 | 1.3067 | 4.4733 | 1.4367 | 6.4 | 350.1667 | 6.15 | 171.2 | 1.8633 | 894 | 83.5667 | 13.2487
2019-02-01 01:15:00 | 3.8087 | 25.3647 | 4.3773 | 27.8687 | 6.3713 | 237.55 | 6.132 | 13.648 | 1.7167 | 894 | 84.46 | 12.6833
2019-02-01 01:30:00 | 3.7267 | 17.87 | 4.2933 | 19.63 | 6.3867 | 0.76333 | 6.2167 | 7.4467 | 1.5967 | 894 | 85.2333 | 13.3147
2019-02-01 01:45:00 | 3.6293 | 36.5267 | 4.1813 | 40.1333 | 6.3627 | 2.822 | 6.0393 | 5.6413 | 1.4447 | 894 | 86 | 10.802
2019-02-01 02:00:00 | 3.5867 | 113.8933 | 4.1333 | 125.1533 | 5.9467 | 2.81 | 5.6433 | 4.3467 | 1.3767 | 893.8 | 86.4 | 9.302
2019-02-01 02:15:00 | 3.94 | 104.7933 | 4.53 | 115.1533 | 5.96 | 5.96 | 5.6967 | 59.68 | 1.39 | 893 | 86.2 | 8.8353
2019-02-01 02:30:00 | 4.2467 | 317.2267 | 4.89 | 348.6 | 6.3 | 2.4533 | 5.99 | 7.3267 | 1.3433 | 893 | 86.4867 | 6.724
2019-02-01 02:45:00 | 4.02 | 16.27 | 4.62 | 17.88 | 5.89 | 63.76 | 5.4 | 2.19 | 1.35 | 893 | 86.57 | 6.475
2019-02-01 03:00:00 | 4.03 | 309.945 | 4.645 | 340.6 | 5.925 | 1.375 | 5.447 | 8.1 | 1.285 | 893 | 86.7 | 8.375
2019-02-01 03:15:00 | 4.244 | 301.3447 | 4.8913 | 331.14 | 5.948 | 310.2813 | 5.6473 | 8.78 | 1.2173 | 892 | 86.9 | 8.566
2019-02-01 03:30:00 | 4.1667 | 97.75 | 4.7967 | 107.4133 | 5.5333 | 224.92 | 5.5133 | 16.4267 | 1.1933 | 892 | 86.9867 | 9.1293
2019-02-01 03:45:00 | 3.8133 | 227.84 | 4.3867 | 250.3667 | 6.1667 | 10.1867 | 6.4333 | 14.6867 | 1.1567 | 892 | 87.3667 | 8.2273
2019-02-01 04:00:00 | 3.7333 | 240.8867 | 4.2933 | 264.7 | 5.8467 | 1.98 | 5.94 | 14.4733 | 1.0833 | 892 | 87.7 | 7.2987
2019-02-01 04:15:00 | 3.8867 | 113.06 | 4.4667 | 124.2333 | 5.5687 | 15.0267 | 5.5933 | 16.4433 | 0.99 | 892 | 88.2 | 5.9953
2019-02-01 04:30:00 | 3.78 | 312.7467 | 4.3467 | 343.6667 | 5.2333 | 14.12 | 5.2333 | 19.25 | 0.95 | 892 | 88.42 | 5.0587
2019-02-01 04:45:00 | 3.49 | 17.54 | 4.0167 | 19.2633 | 5.1767 | 7.8167 | 5.42 | 12.83 | 0.93 | 891.4667 | 88.1 | 4.4613
2019-02-01 05:00:00 | 3.3967 | 17.86 | 3.9167 | 19.6233 | 4.99 | 9.6833 | 5.0067 | 13.67 | 0.92333 | 891 | 87.88 | 4.2653
2019-02-01 05:15:00 | 3.6867 | 211.7967 | 4.25 | 232.7333 | 4.9633 | 7.3133 | 5.0433 | 9.3267 | 0.94 | 891 | 87.5 | 4.2573
2019-02-01 05:30:00 | 3.7533 | 21.2767 | 4.3167 | 23.3733 | 4.9033 | 1.64 | 5.01 | 12.2467 | 0.89333 | 891 | 87.7667 | 3.286
2019-02-01 05:45:00 | 3.8533 | 22.2 | 4.4367 | 24.39 | 5.15 | 1.2967 | 5.4067 | 9.4167 | 0.75 | 891 | 88.5667 | 3.732
2019-02-01 06:00:00 | 3.8667 | 5.06 | 4.4567 | 5.5633 | 5.4433 | 5.97 | 5.4267 | 13.6967 | 0.63667 | 890.1333 | 89.5 | 3.8507
2019-02-01 06:15:00 | 3.9133 | 121.14 | 4.4967 | 133.12 | 5.0733 | 8.7667 | 5.13 | 9.1633 | 0.57333 | 890 | 90.0333 | 3.3307
2019-02-01 06:30:00 | 4.0267 | 112.74 | 4.63 | 123.8933 | 4.9733 | 1.0467 | 4.81 | 3.57 | 0.57333 | 890 | 89.92 | 3.0947
2019-02-01 06:45:00 | 3.8633 | 285.0147 | 4.4533 | 313.196 | 4.976 | 120.176 | 4.764 | 125.4273 | 0.56733 | 890 | 90 | 2.2927
2019-02-01 07:00:00 | 3.725 | 303.49 | 4.285 | 333.5 | 4.825 | 174.6 | 4.52 | 176.37 | 0.59 | 890 | 89.98 | 1.668
2019-02-01 07:15:00 | 3.51 | 45.36 | 4.04 | 49.85 | 4.3 | 356.9 | 4.09 | 8.86 | 0.61 | 890 | 89.9 | 1.253
2019-02-01 07:30:00 | 3.64 | 204.5933 | 4.1967 | 224.8267 | 4.3533 | 355.5 | 3.9567 | 1.0567 | 0.60667 | 890 | 89.92 | 1.5427
2019-02-01 07:45:00 | 3.6667 | 316.8333 | 4.2167 | 348.1667 | 4.2933 | 31.9567 | 3.8767 | 5.7733 | 0.6 | 890 | 90.0133 | 0.70667
2019-02-01 08:00:00 | 3.578 | 305.184 | 4.114 | 335.36 | 4.27 | 23.252 | 3.854 | 209.42 | 0.594 | 890 | 90.22 | 0.47
2019-02-01 08:15:00 | 3.37 | 320.97 | 3.88 | 352.7 | 3.86 | 7.15 | 3.38 | 4.77 | 0.56 | 890 | 90.7 | 0.027
2019-02-01 08:30:00 | 3.0067 | 219.37 | 3.4633 | 241.0633 | 3.58 | 18.5767 | 3.2467 | 8.8533 | 0.49667 | 890 | 92.2667 | 0.21333
2019-02-01 08:45:00 | 3.1067 | 104.7733 | 3.5833 | 115.1333 | 3.59 | 2.1233 | 3.0567 | 5.4667 | 0.34 | 890 | 94.6667 | 0.53733
2019-02-01 09:00:00 | 2.76 | 321.2 | 3.1833 | 352.9667 | 3.1967 | 237.9833 | 2.1433 | 3.5067 | 0.28 | 890.2 | 96.0667 | 0.24933
2019-02-01 09:15:00 | 2.186 | 312.434 | 2.516 | 343.32 | 2.438 | 349.86 | 0.652 | 335.86 | 0.32 | 891 | 96.56 | 0
2019-02-01 09:30:00 | 1.4033 | 318.9367 | 1.6267 | 350.4667 | 1.2833 | 123.18 | 0.033333 | 306.9 | 0.31333 | 891 | 96.9333 | 0
2019-02-01 09:45:00 | 1.4733 | 216.61 | 1.7033 | 238.0267 | 1.41 | 118.8333 | 0 | 295.2 | 0.33667 | 891 | 97.4667 | 0
2019-02-01 10:00:00 | 1.5667 | 206.85 | 1.8033 | 227.2933 | 1.55 | 118.8333 | 0 | 251.8667 | 0.35 | 890.8 | 97.9333 | 0
2019-02-01 10:15:00 | 1.4467 | 311.25 | 1.6667 | 342.0333 | 1.17 | 120.1 | 0.09 | 89.3867 | 0.35333 | 890 | 98.7 | 0
2019-02-01 10:30:00 | 1.1933 | 315.93 | 1.3733 | 347.1667 | 0.37 | 115.46 | 0.003333 | 237.5 | 0.31333 | 890 | 99.0333 | 0
2019-02-01 10:45:00 | 0.88 | 320.0167 | 1.02 | 351.6667 | 0.14 | 313.3 | 0.22 | 231.4 | 0.33 | 890 | 99.4667 | 0.64933
2019-02-01 11:00:00 | 0.55333 | 314.19 | 0.64667 | 345.2667 | 0 | 268.0333 | 0.67333 | 219.18 | 0.48333 | 890 | 99.62 | 0.30867
2019-02-01 11:15:00 | 0.38 | 310.9567 | 0.44 | 341.7 | 0.006667 | 203.8 | 0.61333 | 203.1333 | 0.64 | 890 | 99.7533 | 0
2019-02-01 11:30:00 | 0.14667 | 304.642 | 0.16667 | 334.76 | 0 | 203.8 | 0.56 | 210.1333 | 0.86 | 890 | 99.8 | 0.23333
2019-02-01 11:45:00 | 0 | 151.8 | 0.01 | 166.8 | 0 | 203.8 | 0.76 | 194 | 1.22 | 890 | 99.8 | 0.598
2019-02-01 12:00:00 | 1.22 | 148.9067 | 1.41 | 163.6333 | 1.3467 | 187.8 | 1.9633 | 195.1667 | 1.87 | 890 | 99.6867 | 0.57733
2019-02-01 12:15:00 | 1.3467 | 142.94 | 1.5567 | 157.0667 | 1.2867 | 183.6333 | 2.3433 | 207.7667 | 2.23 | 890 | 98.5 | 0.82
2019-02-01 12:30:00 | 1.6533 | 145.5533 | 1.9033 | 159.9333 | 1.6067 | 181.5667 | 2.2633 | 199.4333 | 2.3367 | 889.1333 | 97.5667 | 0.85267
2019-02-01 12:45:00 | 2.07 | 137.41 | 2.38 | 151 | 1.98 | 171.3 | 2.49 | 192.6 | 2.22 | 889 | 97 | 0.695
2019-02-01 13:00:00 | 1.91 | 152.6333 | 2.1933 | 167.7333 | 1.86 | 188.4667 | 2.9167 | 204.1667 | 2.1633 | 889 | 97 | 1.3253
2019-02-01 13:15:00 | 2.0267 | 139.6933 | 2.3267 | 153.5 | 2.1633 | 183.3333 | 2.95 | 193.3 | 2.3467 | 888.4667 | 96.3333 | 1.5513
2019-02-01 13:30:00 | 2.1667 | 147.82 | 2.4933 | 162.4333 | 2.2367 | 186.8 | 2.89 | 195.52 | 2.4067 | 888 | 96.2 | 1.3453
2019-02-01 13:45:00 | 2.7333 | 161.8633 | 3.15 | 177.8667 | 2.9133 | 179.3333 | 3.1433 | 184.5667 | 2.3533 | 888 | 96.7333 | 2.6353
2019-02-01 14:00:00 | 2.8933 | 171.93 | 3.3367 | 188.9333 | 3.24 | 190.6 | 3.2567 | 183.4333 | 2.28 | 887.1333 | 97.6 | 2.8567
2019-02-01 14:15:00 | 2.3933 | 137.7167 | 2.76 | 151.3333 | 2.6567 | 192.1333 | 3.03 | 182.5667 | 2.36 | 886.4667 | 98.2667 | 2.948
2019-02-01 14:30:00 | 2.6467 | 144.3367 | 3.04 | 158.6 | 2.87 | 189.2 | 3.2767 | 181.3 | 2.42 | 886 | 98.38 | 2.19
2019-02-01 14:45:00 | 2.0533 | 151.9233 | 2.36 | 166.9333 | 2.4433 | 168.7667 | 2.9533 | 188.9333 | 2.4933 | 886 | 98.3 | 1.5247
2019-02-01 15:00:00 | 2.0933 | 152.95 | 2.4067 | 168.0667 | 2.3433 | 179.9667 | 2.92 | 185.6 | 2.5067 | 885.8 | 98.2133 | 2.404
2019-02-01 15:15:00 | 2.5133 | 155.5773 | 2.8933 | 170.96 | 2.8067 | 183.6667 | 3.22 | 199.8667 | 2.5267 | 885 | 98.9667 | 3.18
2019-02-01 15:30:00 | 2.0333 | 145.7867 | 2.34 | 160.2 | 2.22 | 185.3333 | 2.68 | 194.6667 | 2.6467 | 885 | 99.1 | 2.9593
2019-02-01 15:45:00 | 2.5133 | 139.99 | 2.89 | 153.8333 | 2.88 | 184 | 3.35 | 186.3333 | 2.6933 | 885 | 99.4 | 3.6093
2019-02-01 16:00:00 | 2.7 | 137.6833 | 3.11 | 151.3 | 2.9867 | 171.2 | 3.31 | 177.2 | 2.7267 | 884.1333 | 99.62 | 4.8733
2019-02-01 16:15:00 | 2.44 | 145.78 | 2.82 | 160.2 | 2.84 | 188.9 | 3.34 | 206.7 | 2.81 | 884 | 99.73 | 4.653
2019-02-01 16:30:00 | 2.62 | 154.1867 | 3.0167 | 169.4333 | 2.99 | 170.8133 | 3.4733 | 188.6667 | 2.91 | 884 | 99.7133 | 5.6973
2019-02-01 16:45:00 | 3.25 | 153.34 | 3.74 | 168.5 | 3.55 | 177.5 | 4 | 169.5 | 3 | 884 | 99.67 | 6.395
2019-02-01 17:00:00 | 3.1267 | 160.5967 | 3.6 | 176.4667 | 3.6167 | 178.1333 | 4.14 | 175.1 | 3.032 | 884 | 99.2 | 7.152
2019-02-01 17:15:00 | 3.2533 | 160.8033 | 3.7433 | 176.7 | 3.69 | 191.8667 | 4.0267 | 184.2 | 3.03 | 883.4667 | 99.5 | 7.4313
2019-02-01 17:30:00 | 3.24 | 143.03 | 3.7367 | 157.1667 | 3.59 | 189.6667 | 3.74 | 186.9333 | 2.9967 | 883 | 99.8333 | 8.3207
2019-02-01 17:45:00 | 3.3867 | 157.1267 | 3.9 | 172.6667 | 3.8033 | 182.4 | 4.2867 | 178.5667 | 2.9667 | 883 | 99.9533 | 8.546
2019-02-01 18:00:00 | 3.2733 | 135.2867 | 3.7667 | 148.6667 | 3.71 | 169.0067 | 4.1333 | 187.2333 | 2.9667 | 883 | 100 | 8.6373
2019-02-01 18:15:00 | 3.2 | 154.2533 | 3.6933 | 169.5 | 3.5367 | 169.9 | 3.9067 | 172.4 | 2.92 | 883 | 100 | 9.3047
2019-02-01 18:30:00 | 3.3733 | 149.4533 | 3.8933 | 164.2333 | 3.7833 | 172.6333 | 4.28 | 196.7333 | 2.88 | 883 | 100 | 10.528
2019-02-01 18:45:00 | 3.72 | 142.14 | 4.28 | 156.2 | 4.04 | 169 | 4.46 | 173.6 | 2.8753 | 883 | 100 | 9.5947
2019-02-01 19:00:00 | 3.472 | 140.954 | 3.9907 | 154.8867 | 3.7227 | 169.4933 | 4.1333 | 169.5467 | 2.8713 | 883 | 100 | 11.2533
2019-02-01 19:15:00 | 3.6333 | 137.4133 | 4.1833 | 151 | 4.0567 | 196.8667 | 4.37 | 187.6667 | 2.8733 | 883 | 100 | 10.7873
2019-02-01 19:30:00 | 3.5133 | 154.94 | 4.05 | 170.2667 | 3.97 | 179.8667 | 4.6033 | 171.4 | 2.88 | 883 | 100 | 9.9833
2019-02-01 19:45:00 | 3.19 | 131.9233 | 3.6667 | 144.9667 | 3.6233 | 169.2 | 3.96 | 179.1 | 2.86 | 883 | 100 | 9.1427
2019-02-01 20:00:00 | 2.91 | 166.6833 | 3.3533 | 183.1667 | 3.2633 | 185.8667 | 3.6733 | 200.9 | 2.8067 | 883 | 100 | 7.3147
2019-02-01 20:15:00 | 3.37 | 166.53 | 3.88 | 183 | 3.78 | 189.5 | 4.03 | 186.9 | 2.78 | 883 | 100 | 6.433
2019-02-01 20:30:00 | 2.825 | 161.985 | 3.25 | 178 | 3.185 | 202.7 | 3.815 | 202.25 | 2.755 | 882.2 | 100 | 5.058
2019-02-01 20:45:00 | 2.8067 | 184.0367 | 3.2333 | 202.2333 | 3.3333 | 206.1333 | 4.07 | 182.7 | 2.7767 | 883 | 100 | 4.804
2019-02-01 21:00:00 | 2.38 | 195.75 | 2.74 | 215.1 | 2.6333 | 174.7333 | 3.0633 | 171.1 | 2.7967 | 883 | 100 | 4.612
2019-02-01 21:15:00 | 2.3133 | 162.5967 | 2.6733 | 178.6667 | 2.6467 | 195.5667 | 3.1833 | 193.9 | 2.8 | 883 | 100 | 5.2187
2019-02-01 21:30:00 | 3.16 | 136.21 | 3.64 | 149.6667 | 3.38 | 183.5 | 4.2233 | 184.5667 | 2.8 | 883 | 100 | 5.172
2019-02-01 21:45:00 | 2.9967 | 156.9567 | 3.4467 | 172.4667 | 3.31 | 193.4 | 4.0167 | 191.3333 | 2.8233 | 883 | 100 | 4.6007
2019-02-01 22:00:00 | 2.6233 | 143.3567 | 3.02 | 157.5333 | 2.8967 | 193.2667 | 3.1767 | 193.6667 | 2.79 | 883 | 100 | 4.8367
2019-02-01 22:15:00 | 2.1133 | 157.46 | 2.4333 | 173.0333 | 2.4667 | 198.1333 | 3.0467 | 205.4667 | 2.78 | 883 | 100 | 4.7613
2019-02-01 22:30:00 | 2.0267 | 163.2933 | 2.3467 | 179.4333 | 2.32 | 196.0667 | 3.18 | 201.2 | 2.8 | 883 | 100 | 5.5447
2019-02-01 22:45:00 | 1.9733 | 158.7333 | 2.27 | 174.4333 | 2.0467 | 205.1333 | 2.5733 | 176.6667 | 2.75 | 882.4667 | 100 | 5.0833
2019-02-01 23:00:00 | 2.2533 | 153.4533 | 2.59 | 168.6333 | 2.3333 | 196.9333 | 2.8 | 181.2667 | 2.71 | 882 | 100 | 4.2473
2019-02-01 23:15:00 | 2.4333 | 158.95 | 2.8 | 174.6667 | 2.56 | 181.0667 | 3.0967 | 192.4 | 2.68 | 882 | 100 | 3.844
2019-02-01 23:30:00 | 2 | 164.3433 | 2.3133 | 180.6 | 1.98 | 178.46 | 2.6167 | 186.4 | 2.682 | 882 | 100 | 4.81
2019-02-01 23:45:00 | 2.2333 | 159.5533 | 2.5733 | 175.3333 | 2.4533 | 195.5333 | 2.77 | 194.5333 | 2.6767 | 882 | 100 | 4.924