## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-02 00:00:00 | 1.6467 | 164.3533 | 1.8933 | 180.6 | 1.64 | 199.8 | 2.2033 | 202 | 2.67 | 882 | 100 | 5.0247
2019-02-02 00:15:00 | 2.0733 | 155.68 | 2.3867 | 171.0667 | 2.42 | 185.8 | 2.9233 | 189.1667 | 2.71 | 882 | 100 | 4.148
2019-02-02 00:30:00 | 1.4867 | 148.4 | 1.7133 | 163.0667 | 1.62 | 188.9333 | 2.7433 | 196.5667 | 2.73 | 881.8 | 100 | 3.014
2019-02-02 00:45:00 | 0.98 | 146.91 | 1.1267 | 161.4333 | 0.77667 | 185.0667 | 1.27 | 188.4667 | 2.7167 | 881 | 100 | 2.7287
2019-02-02 01:00:00 | 0.78 | 156.01 | 0.89333 | 171.4333 | 0.41667 | 178.0667 | 1.2567 | 218.8 | 2.6767 | 881 | 100 | 2.4667
2019-02-02 01:15:00 | 0.76667 | 144.84 | 0.88333 | 159.1667 | 0.81667 | 216.4333 | 2.0967 | 209.8667 | 2.65 | 881 | 100 | 1.6173
2019-02-02 01:30:00 | 1.28 | 148.06 | 1.4767 | 162.7 | 1.57 | 209.8333 | 2.3633 | 203.3333 | 2.6567 | 881 | 100 | 1.8247
2019-02-02 01:45:00 | 1.3733 | 163.8367 | 1.5767 | 180.0333 | 1.3933 | 195.6 | 2.31 | 213.2667 | 2.6633 | 881 | 100 | 2.18
2019-02-02 02:00:00 | 1.28 | 152.43 | 1.47 | 167.5 | 1.3667 | 205.6 | 2.17 | 222.5333 | 2.67 | 881 | 100 | 1.7227
2019-02-02 02:15:00 | 1.73 | 153.6967 | 1.9933 | 168.9 | 1.87 | 196.7 | 2.6133 | 205.0333 | 2.65 | 881 | 100 | 1.564
2019-02-02 02:30:00 | 1.97 | 150.4233 | 2.2733 | 165.3 | 2.0033 | 188.9667 | 2.2867 | 194.7667 | 2.59 | 880.1333 | 100 | 1.388
2019-02-02 02:45:00 | 2.8333 | 154.8333 | 3.2567 | 170.1333 | 2.9733 | 177.4 | 2.78 | 179.2667 | 2.5433 | 880 | 100 | 1.778
2019-02-02 03:00:00 | 2.8 | 153.5533 | 3.23 | 168.7333 | 2.9467 | 164.6667 | 2.8333 | 182.0667 | 2.53 | 880 | 100 | 3.216
2019-02-02 03:15:00 | 3.1 | 158.8 | 3.57 | 174.5 | 3.4267 | 174.4 | 3.5667 | 181.7333 | 2.5267 | 879.4667 | 100 | 3.4407
2019-02-02 03:30:00 | 2.94 | 148.7333 | 3.3833 | 163.4333 | 3.3133 | 173.2667 | 3.4333 | 176.4 | 2.5133 | 879 | 100 | 2.6453
2019-02-02 03:45:00 | 2.51 | 153.89 | 2.89 | 169.1 | 2.77 | 151.4 | 2.97 | 155.8 | 2.49 | 879 | 100 | 3.08
2019-02-02 04:00:00 | 2.13 | 163.9267 | 2.4467 | 180.1333 | 2.2833 | 181.9 | 2.92 | 195.6 | 2.4833 | 879 | 100 | 2.5913
2019-02-02 04:15:00 | 1.3933 | 161.8667 | 1.6033 | 177.8667 | 1.38 | 183.1333 | 2.08 | 189.1333 | 2.47 | 878.4667 | 100 | 1.744
2019-02-02 04:30:00 | 0.52 | 144.5733 | 0.60333 | 158.8667 | 0.32 | 206.5333 | 0.9 | 185 | 2.4767 | 878 | 100 | 1.23
2019-02-02 04:45:00 | 1.2067 | 138.8133 | 1.3933 | 152.5333 | 1.37 | 191.7 | 1.75 | 192.8 | 2.4767 | 878 | 100 | 1.4293
2019-02-02 05:00:00 | 1.6267 | 143.72 | 1.88 | 157.9333 | 1.79 | 184.9667 | 2.3567 | 184.8667 | 2.4633 | 878 | 100 | 0.65133
2019-02-02 05:15:00 | 1.7967 | 161.4333 | 2.0667 | 177.4 | 1.9333 | 175.0667 | 2.08 | 198.7667 | 2.4467 | 878 | 100 | 0.83867
2019-02-02 05:30:00 | 1.5433 | 153.24 | 1.7867 | 168.4 | 1.76 | 183.06 | 1.7467 | 194.5667 | 2.4467 | 878 | 100 | 0.51067
2019-02-02 05:45:00 | 1.4333 | 160.92 | 1.6533 | 176.8333 | 1.5833 | 183.9667 | 1.75 | 188.4667 | 2.4433 | 878 | 100 | 0
2019-02-02 06:00:00 | 0.68667 | 160.92 | 0.8 | 176.8333 | 0.71667 | 187.3 | 1.37 | 188.4667 | 2.4567 | 878 | 100 | 0
2019-02-02 06:15:00 | 0 | 175.81 | 0 | 193.2 | 0 | 187.3 | 0.88667 | 174.5333 | 2.4733 | 878 | 100 | 0
2019-02-02 06:30:00 | 0 | 175.81 | 0 | 193.2 | 0 | 185.1467 | 0.84667 | 160.0667 | 2.4867 | 878 | 100 | 0
2019-02-02 06:45:00 | 0.12667 | 213.7867 | 0.14667 | 234.9333 | 0.013333 | 228.0333 | 0.08 | 157.9 | 2.5433 | 878 | 100 | 0
2019-02-02 07:00:00 | 0.48667 | 289.74 | 0.56667 | 318.4 | 0.013333 | 354.32 | 0 | 132.3 | 2.57 | 878 | 100 | 0
2019-02-02 07:15:00 | 0.94667 | 306.37 | 1.09 | 336.6667 | 0.72 | 12.4533 | 0.34333 | 31.31 | 2.5933 | 878 | 100 | 0
2019-02-02 07:30:00 | 1.28 | 315.41 | 1.47 | 346.6 | 1.4333 | 10.3133 | 1.0567 | 26.3833 | 2.6133 | 878 | 100 | 0
2019-02-02 07:45:00 | 1.7333 | 315.806 | 1.9933 | 347.04 | 1.9 | 5.8067 | 1.8267 | 23.09 | 2.6333 | 878 | 100 | 0
2019-02-02 08:00:00 | 1.9267 | 306.6167 | 2.2133 | 336.9333 | 2.02 | 26.3333 | 2.0933 | 14.3033 | 2.6533 | 878.2 | 100 | 0
2019-02-02 08:15:00 | 2.0733 | 209.5567 | 2.39 | 230.2833 | 2.1433 | 0.15 | 2.36 | 7.1367 | 2.67 | 879 | 100 | 0
2019-02-02 08:30:00 | 1.66 | 11.6033 | 1.91 | 12.7433 | 2.5567 | 2.7767 | 3.0133 | 4.7967 | 2.6367 | 879 | 100 | 0.37533
2019-02-02 08:45:00 | 2.28 | 210.53 | 2.63 | 231.35 | 3.8567 | 4.0367 | 3.9033 | 4.2467 | 2.67 | 879 | 100 | 2.4267
2019-02-02 09:00:00 | 2.5133 | 9.7233 | 2.8967 | 10.6833 | 4.27 | 23.89 | 4.3167 | 13.4933 | 2.65 | 879 | 100 | 5.4773
2019-02-02 09:15:00 | 2.9367 | 102.8233 | 3.38 | 112.9867 | 5.1333 | 4.0233 | 5.7167 | 10.5733 | 2.5967 | 879 | 100 | 10.0247
2019-02-02 09:30:00 | 3.2233 | 102.6167 | 3.7067 | 112.76 | 5.7867 | 4.6833 | 6.0967 | 18.3267 | 2.5967 | 879.2 | 100 | 16.8367
2019-02-02 09:45:00 | 3.5733 | 15.98 | 4.1133 | 17.5633 | 6.26 | 16.3033 | 6.54 | 16.1 | 2.6 | 880 | 100 | 20.088
2019-02-02 10:00:00 | 4.12 | 190.9933 | 4.74 | 209.8767 | 7.1467 | 11.8633 | 7.2467 | 16.1333 | 2.5887 | 880 | 100 | 22.2613
2019-02-02 10:15:00 | 3.676 | 283.604 | 4.2307 | 311.6467 | 6.3913 | 7.814 | 6.392 | 7.976 | 2.612 | 880 | 100 | 17.974
2019-02-02 10:30:00 | 3.232 | 126.018 | 3.722 | 138.474 | 5.354 | 219.084 | 5.392 | 7.52 | 2.658 | 880 | 100 | 18.7167
2019-02-02 10:45:00 | 3.254 | 133.8607 | 3.7493 | 147.0853 | 5.3427 | 54.2133 | 5.5373 | 20.2267 | 2.6933 | 880 | 100 | 16.8287
2019-02-02 11:00:00 | 2.91 | 200.95 | 3.3533 | 220.82 | 4.9867 | 10.9933 | 5.2067 | 18.2933 | 2.78 | 880 | 100 | 12.0573
2019-02-02 11:15:00 | 2.73 | 16.3867 | 3.1433 | 18.0067 | 4.8433 | 4.22 | 4.76 | 16.4767 | 2.8133 | 880 | 100 | 13.842
2019-02-02 11:30:00 | 3.1233 | 211.38 | 3.6033 | 232.28 | 5.05 | 4.22 | 5.04 | 81.1367 | 2.8267 | 880 | 100 | 14.826
2019-02-02 11:45:00 | 2.8133 | 20.2267 | 3.24 | 22.22 | 5.222 | 8.78 | 5.3967 | 15.6567 | 2.9667 | 880 | 100 | 13.0987
2019-02-02 12:00:00 | 2.62 | 127.2 | 3.02 | 139.77 | 4.815 | 10.165 | 4.92 | 14.215 | 3.04 | 880 | 100 | 13.412
2019-02-02 12:15:00 | 2.77 | 288.74 | 3.19 | 317.3 | 5.04 | 8.95 | 5.37 | 8.85 | 3.23 | 880 | 100 | 13.51
2019-02-02 12:30:00 | 3.12 | 56.1667 | 3.5933 | 61.7233 | 5.96 | 10.9467 | 6.1267 | 14.65 | 3.4133 | 880 | 100 | 15.3873
2019-02-02 12:45:00 | 2.9 | 38.5267 | 3.3433 | 42.3367 | 5.56 | 19.6667 | 5.43 | 25.75 | 3.6467 | 880 | 100 | 12.7713
2019-02-02 13:00:00 | 3.02 | 37.6533 | 3.47 | 41.37 | 5.64 | 34.06 | 5.4167 | 8.8567 | 3.86 | 879.1333 | 99.1333 | 11.55
2019-02-02 13:15:00 | 3.1733 | 151.8967 | 3.6533 | 166.9167 | 5.5933 | 35.44 | 5.5733 | 26.94 | 4.34 | 879 | 95.1333 | 14.2453
2019-02-02 13:30:00 | 3.64 | 84.2567 | 4.1867 | 92.5833 | 6.7 | 21.76 | 6.6933 | 21.4067 | 5.0267 | 879 | 91.9333 | 12.22
2019-02-02 13:45:00 | 3.82 | 204.23 | 4.4 | 224.43 | 7.0233 | 14.34 | 6.82 | 27.05 | 5.6533 | 879 | 87.9 | 11.1247
2019-02-02 14:00:00 | 3.7133 | 76.65 | 4.2733 | 84.23 | 6.93 | 7.76 | 6.7133 | 28.17 | 5.9067 | 879 | 85.6333 | 13.3473
2019-02-02 14:15:00 | 3.8667 | 300.16 | 4.4467 | 329.8333 | 7.3033 | 12.6767 | 7.3733 | 22.1133 | 5.9567 | 879 | 83.5 | 15.378
2019-02-02 14:30:00 | 3.92 | 96.6067 | 4.5133 | 106.1533 | 7.2233 | 7.9967 | 7.16 | 20.3733 | 6.17 | 879 | 82.4333 | 14.3527
2019-02-02 14:45:00 | 3.9733 | 259.32 | 4.5833 | 284.9667 | 7.2333 | 12.92 | 7.2567 | 19.0767 | 6.78 | 879 | 79.5567 | 12.924
2019-02-02 15:00:00 | 4.34 | 246.58 | 4.9967 | 270.9667 | 7.7533 | 25.5933 | 7.7767 | 31.0233 | 8.18 | 879 | 72.8033 | 14.6813
2019-02-02 15:15:00 | 4.11 | 270.4567 | 4.7333 | 297.2 | 7.5267 | 17.3733 | 7.7533 | 24.7467 | 7.49 | 879 | 71.86 | 15.4327
2019-02-02 15:30:00 | 3.87 | 277.31 | 4.46 | 304.7333 | 7.0667 | 18.4267 | 7.3133 | 31.64 | 7.7033 | 879 | 71.9933 | 15.038
2019-02-02 15:45:00 | 3.6967 | 192.53 | 4.25 | 211.56 | 6.5967 | 20.2933 | 6.9967 | 34.81 | 9.2733 | 879 | 65.2 | 13.1727
2019-02-02 16:00:00 | 3.6967 | 118.5767 | 4.25 | 130.2933 | 6.9033 | 13.08 | 7.05 | 26.1367 | 9.8133 | 879 | 62.5867 | 16.594
2019-02-02 16:15:00 | 4.1467 | 46.47 | 4.77 | 51.0667 | 7.62 | 14.94 | 7.55 | 24.4267 | 9.6967 | 879 | 62.8 | 17.6207
2019-02-02 16:30:00 | 4.12 | 38.895 | 4.735 | 42.745 | 7.52 | 15.165 | 7.375 | 19.98 | 8.245 | 879 | 67.22 | 15.858
2019-02-02 16:45:00 | 4.04 | 268.72 | 4.65 | 295.3 | 7.2 | 7.14 | 7 | 25.49 | 7.863 | 879 | 68.32 | 17.823
2019-02-02 17:00:00 | 3.94 | 241.5167 | 4.5367 | 265.4 | 7.2967 | 21.2733 | 7.1967 | 18.57 | 8.9233 | 879 | 63.51 | 24.9553
2019-02-02 17:15:00 | 4.4133 | 185.8533 | 5.0767 | 204.2333 | 7.8 | 9.39 | 7.3 | 30.7667 | 8.2033 | 879 | 61.95 | 27.0307
2019-02-02 17:30:00 | 3.72 | 261.8733 | 4.2767 | 287.7667 | 6.8733 | 7.2967 | 6.5667 | 26.7 | 7.69 | 879 | 63.582 | 23.344
2019-02-02 17:45:00 | 4.32 | 282.37 | 4.98 | 310.3 | 7.99 | 22.22 | 7.82 | 32.79 | 8 | 879 | 62.42 | 17.1667
2019-02-02 18:00:00 | 3.764 | 103.3367 | 4.3293 | 113.5533 | 7.0727 | 30.896 | 7.3893 | 32.3913 | 7.6547 | 879 | 63.6627 | 16.714
2019-02-02 18:15:00 | 2.96 | 32.9567 | 3.4067 | 36.21 | 5.7 | 24.12 | 5.2433 | 37.88 | 7.16 | 879 | 65.1767 | 16.1313
2019-02-02 18:30:00 | 3.2267 | 5.3167 | 3.7133 | 5.8433 | 6.3067 | 20.62 | 6.53 | 42.6013 | 6.8067 | 879.8667 | 66.8633 | 19.804
2019-02-02 18:45:00 | 3.6653 | 133.5127 | 4.2133 | 146.7067 | 7.04 | 17.508 | 7.3607 | 28.694 | 6.44 | 880 | 68.1253 | 17.9833
2019-02-02 19:00:00 | 3.8167 | 57.7167 | 4.3867 | 63.4267 | 7.08 | 24.8633 | 7.11 | 26.5533 | 6.5513 | 880 | 66.9667 | 19.1787
2019-02-02 19:15:00 | 3.92 | 122.9367 | 4.51 | 135.0967 | 7.4967 | 13.3333 | 7.35 | 26.2 | 6.4233 | 880 | 67.3733 | 27.3687
2019-02-02 19:30:00 | 4.12 | 25.8967 | 4.7433 | 28.45 | 7.73 | 9.4467 | 7.71 | 19.1 | 6.2233 | 880 | 67.9667 | 26.2833
2019-02-02 19:45:00 | 3.9467 | 18.7833 | 4.54 | 20.6333 | 7.36 | 23.9133 | 7.4067 | 24.83 | 6.0633 | 880 | 67.9767 | 23.138
2019-02-02 20:00:00 | 3.6533 | 46.5967 | 4.2067 | 51.2067 | 6.7133 | 24.38 | 6.8867 | 26.19 | 6.15 | 880 | 67.2167 | 19.814
2019-02-02 20:15:00 | 3.2 | 219.2333 | 3.6833 | 240.9167 | 5.31 | 230.53 | 5.5933 | 17.8767 | 6.4033 | 880.5333 | 65.6933 | 24.8107
2019-02-02 20:30:00 | 3.42 | 173.245 | 3.94 | 190.375 | 6.14 | 18.995 | 6.225 | 23.455 | 6.33 | 881 | 66.44 | 34.537
2019-02-02 20:45:00 | 4.836 | 35.2193 | 5.572 | 38.6933 | 8.63 | 26.2033 | 9.02 | 26.4787 | 6.42 | 881 | 65.6587 | 39.486
2019-02-02 21:00:00 | 4.5067 | 253.1033 | 5.1933 | 278.1333 | 8.6167 | 19.7567 | 9.6333 | 32.8133 | 6.2533 | 881.2 | 65.4533 | 37.3333
2019-02-02 21:15:00 | 4.74 | 227.6033 | 5.46 | 250.1 | 8.9767 | 25.36 | 9.5233 | 33.09 | 6.3433 | 882 | 61.3167 | 38.7867
2019-02-02 21:30:00 | 4.92 | 248.59 | 5.66 | 273.1667 | 9.1567 | 16.1 | 10.01 | 24.97 | 6.47 | 882 | 57.6433 | 51.3627
2019-02-02 21:45:00 | 5.8 | 64.67 | 6.68 | 71.06 | 10.3433 | 16.4867 | 11.43 | 28.5567 | 6.4867 | 882 | 54.5567 | 42.4327
2019-02-02 22:00:00 | 5.7733 | 231.0633 | 6.6467 | 253.9133 | 10.2633 | 23.9467 | 10.59 | 31.7033 | 6.8067 | 882.2 | 48.1833 | 34.4767
2019-02-02 22:15:00 | 5.53 | 136.1067 | 6.36 | 149.5633 | 10.03 | 21.2133 | 10.3667 | 33.1233 | 6.9333 | 883 | 44.4633 | 41.974
2019-02-02 22:30:00 | 6.1033 | 19.5667 | 7.02 | 21.49 | 10.9633 | 23 | 11.1467 | 27.7233 | 6.7267 | 883.2 | 43.4567 | 45.636
2019-02-02 22:45:00 | 6.4933 | 168.96 | 7.4667 | 185.67 | 11.4567 | 17.8767 | 11.94 | 33.5267 | 6.7967 | 884 | 38.9433 | 45.294
2019-02-02 23:00:00 | 6.3933 | 7 | 7.3533 | 7.69 | 11.2433 | 24.0033 | 11.9133 | 28.2267 | 6.9233 | 884 | 36.19 | 46.0693
2019-02-02 23:15:00 | 6.4413 | 142.242 | 7.406 | 156.308 | 11.3613 | 17.692 | 11.8447 | 29.3687 | 7.058 | 884 | 33.91 | 50.6287
2019-02-02 23:30:00 | 6.38 | 58.33 | 7.3367 | 64.0867 | 11.28 | 24.96 | 12.07 | 33.2033 | 7.01 | 884.8667 | 32.9633 | 52.5287
2019-02-02 23:45:00 | 7.8267 | 281.3167 | 9.0133 | 309.1333 | 13.6 | 26.53 | 14.3133 | 34.24 | 7.12 | 885 | 31.6967 | 54.618