## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-03 00:00:00 | 7.76 | 311.8233 | 8.9267 | 342.6667 | 13.3267 | 24.7633 | 14.0467 | 33.0833 | 7.1867 | 885 | 30.7567 | 57.28
2019-02-03 00:15:00 | 9.3967 | 14.6133 | 10.81 | 16.05 | 16.0967 | 18.5567 | 16.5667 | 29.04 | 7.28 | 885 | 29.69 | 57.492
2019-02-03 00:30:00 | 9.5633 | 27.8267 | 11.0053 | 30.5767 | 16.89 | 13.4833 | 17.36 | 29.38 | 7.1267 | 885 | 30.7247 | 57.8633
2019-02-03 00:45:00 | 9.8667 | 128.8467 | 11.36 | 141.58 | 17.536 | 16.1533 | 17.77 | 27.0967 | 7.0267 | 885 | 30.5533 | 56.508
2019-02-03 01:00:00 | 10.16 | 271.3733 | 11.696 | 298.2 | 18.12 | 11.6 | 17.97 | 20.71 | 7.1067 | 885 | 29.5133 | 56.51
2019-02-03 01:15:00 | 9.2067 | 202.7533 | 10.59 | 222.8 | 16.3433 | 23.4933 | 16.3033 | 10.64 | 7.06 | 885 | 29.4367 | 57.3373
2019-02-03 01:30:00 | 9.0467 | 286.8333 | 10.41 | 315.2 | 16.1567 | 24.74 | 16.108 | 19.3333 | 7.0133 | 885 | 29.5367 | 57.14
2019-02-03 01:45:00 | 9.16 | 37.7267 | 10.5467 | 41.4533 | 16.14 | 23.92 | 16.6933 | 24.7667 | 6.81 | 885 | 30.09 | 56.8473
2019-02-03 02:00:00 | 9.0133 | 62.7933 | 10.38 | 69 | 15.6733 | 24.0333 | 16.202 | 34.02 | 6.812 | 885 | 29.63 | 56.6793
2019-02-03 02:15:00 | 9.69 | 304.6287 | 11.148 | 334.7467 | 16.8173 | 29.2507 | 17.1993 | 34.656 | 6.748 | 885 | 29.6933 | 57.7247
2019-02-03 02:30:00 | 9.1653 | 315.41 | 10.55 | 346.6 | 16.31 | 238.2233 | 16.72 | 14.03 | 6.5733 | 885 | 29.954 | 57.5853
2019-02-03 02:45:00 | 9.91 | 117.6133 | 11.4033 | 129.2467 | 17.5267 | 6.89 | 17.2933 | 14.6467 | 6.5267 | 885 | 29.7107 | 55.92
2019-02-03 03:00:00 | 10.61 | 299.9733 | 12.2033 | 329.6333 | 18.4067 | 17.6567 | 18.3533 | 23.4533 | 6.6267 | 885.8667 | 28.93 | 56.6753
2019-02-03 03:15:00 | 9.8867 | 212.6067 | 11.3733 | 233.6333 | 17.4367 | 11.1767 | 17.6233 | 17.8367 | 6.5533 | 886 | 29.3967 | 56.1873
2019-02-03 03:30:00 | 10.4867 | 151.0333 | 12.0667 | 165.9667 | 18.3233 | 8.8567 | 18.1967 | 8.8033 | 6.46 | 886 | 29.574 | 56.934
2019-02-03 03:45:00 | 9.56 | 48.34 | 11.01 | 53.11 | 16.67 | 6.49 | 17.2 | 30.37 | 6.36 | 886 | 30.12 | 57.264
2019-02-03 04:00:00 | 10.44 | 229.72 | 12.0067 | 252.4333 | 18.0167 | 18.09 | 18.35 | 30.53 | 6.24 | 886 | 29.718 | 55.7793
2019-02-03 04:15:00 | 10.2933 | 293.7167 | 11.8367 | 322.7667 | 18.2167 | 14.93 | 18.4933 | 24.1067 | 5.9467 | 886 | 31.26 | 54.726
2019-02-03 04:30:00 | 10.0933 | 198.3567 | 11.6167 | 217.9667 | 17.55 | 28.29 | 17.8867 | 36.4133 | 5.7933 | 886 | 31.4133 | 53.5027
2019-02-03 04:45:00 | 9.71 | 154.7033 | 11.1733 | 170 | 16.92 | 15 | 16.9567 | 25.1233 | 5.67 | 886.5333 | 31.4433 | 55.634
2019-02-03 05:00:00 | 9.8567 | 242.6167 | 11.34 | 266.6 | 17.3 | 20.5267 | 17.6767 | 30.7967 | 5.5033 | 887 | 31.95 | 54.7113
2019-02-03 05:15:00 | 9.61 | 298.09 | 11.0667 | 327.5667 | 16.7333 | 16.5133 | 17.0167 | 19.62 | 5.4233 | 887 | 32.18 | 56.0053
2019-02-03 05:30:00 | 9.25 | 172.3967 | 10.64 | 189.4333 | 16.1667 | 14.6 | 16.4433 | 20.6867 | 5.3567 | 887 | 32.568 | 56.5527
2019-02-03 05:45:00 | 9.0933 | 91.99 | 10.4667 | 101.08 | 15.81 | 16.76 | 15.69 | 27.8467 | 5.3433 | 887 | 32.5367 | 56.704
2019-02-03 06:00:00 | 9.3933 | 207.5433 | 10.8 | 228.0667 | 16.79 | 13.7333 | 16.75 | 22.4 | 5.2567 | 887 | 33.21 | 58.0833
2019-02-03 06:15:00 | 9.5467 | 211.25 | 10.98 | 232.1333 | 16.68 | 16.65 | 16.3 | 26.1367 | 5.2033 | 887 | 33.3813 | 56.9487
2019-02-03 06:30:00 | 9.16 | 100.2567 | 10.5333 | 110.16 | 15.8467 | 15.6767 | 15.6733 | 26.0233 | 5.0433 | 887.8667 | 33.5333 | 58.7793
2019-02-03 06:45:00 | 9.4067 | 304.6733 | 10.83 | 334.8 | 15.9167 | 4.9867 | 15.3833 | 42.6067 | 4.8267 | 888 | 33.7953 | 58.6827
2019-02-03 07:00:00 | 9.22 | 121.98 | 10.6167 | 134.0467 | 15.8167 | 13.9333 | 15.97 | 35.9267 | 4.66 | 888 | 34.49 | 56.686
2019-02-03 07:15:00 | 8.9533 | 167.5067 | 10.3033 | 184.0667 | 15.36 | 19.71 | 15.45 | 25.7167 | 4.54 | 888.5333 | 35.1033 | 58.502
2019-02-03 07:30:00 | 9.4267 | 152.2267 | 10.85 | 167.2667 | 16.3133 | 9.8167 | 16.6033 | 24.69 | 4.3867 | 889 | 35.75 | 59.0127
2019-02-03 07:45:00 | 8.36 | 172.0367 | 9.62 | 189.0467 | 14.3867 | 20.07 | 15.2833 | 131.9733 | 4.21 | 889 | 36.4033 | 59.2187
2019-02-03 08:00:00 | 8.6267 | 56.5233 | 9.92 | 62.1133 | 15.4667 | 21.544 | 15.6833 | 25.2933 | 4.0033 | 889.2 | 37.5233 | 59.0693
2019-02-03 08:15:00 | 9.5 | 193.7467 | 10.93 | 212.9033 | 16.66 | 16.5867 | 16.2433 | 16.5133 | 3.8967 | 890 | 37.9633 | 59.0213
2019-02-03 08:30:00 | 9.2667 | 126.5267 | 10.6633 | 139.0367 | 16.1 | 4.7333 | 15.8567 | 29.5933 | 3.97 | 890 | 37.75 | 58.9813
2019-02-03 08:45:00 | 9.4 | 125.45 | 10.8133 | 137.8533 | 16.4133 | 90 | 16.1767 | 15.9 | 4.4933 | 890 | 36.8267 | 57.6927
2019-02-03 09:00:00 | 8.56 | 210.7433 | 9.8467 | 231.5867 | 14.98 | 93.9067 | 14.83 | 17.76 | 5.0867 | 890.8667 | 36.4333 | 55.9447
2019-02-03 09:15:00 | 8.2867 | 58.26 | 9.5333 | 64.0133 | 14.4867 | 16.2467 | 14.54 | 38.9767 | 5.7333 | 891 | 35.6933 | 54.6147
2019-02-03 09:30:00 | 8.3667 | 241.52 | 9.6267 | 265.4 | 14.3133 | 30.8667 | 14.3 | 30.8367 | 6.04 | 891.8667 | 35.2667 | 54.2247
2019-02-03 09:45:00 | 8.1033 | 120.2033 | 9.3247 | 132.0807 | 13.7713 | 20.0167 | 14.12 | 22.1427 | 6.2893 | 892 | 34.916 | 53.1567
2019-02-03 10:00:00 | 7.56 | 124.9867 | 8.7 | 137.3467 | 12.77 | 30.99 | 13.5933 | 24.2867 | 6.5533 | 892.2 | 34.7547 | 50.4353
2019-02-03 10:15:00 | 7.5867 | 219.25 | 8.73 | 240.9333 | 12.7167 | 30.4933 | 13.3467 | 29.2267 | 6.8933 | 893 | 34.608 | 51.9647
2019-02-03 10:30:00 | 7.9 | 240.5433 | 9.0833 | 264.3333 | 13.0233 | 22.9333 | 13.5133 | 30.6667 | 7.1867 | 893 | 34.3067 | 51.152
2019-02-03 10:45:00 | 7.5633 | 65.0033 | 8.7 | 71.4267 | 12.45 | 25.9733 | 13.52 | 35.7233 | 7.28 | 893.5333 | 34.094 | 52.6907
2019-02-03 11:00:00 | 8.1 | 54.04 | 9.315 | 59.375 | 13.53 | 29.915 | 14.295 | 33.55 | 7.5 | 894 | 33.68 | 52.981
2019-02-03 11:15:00 | 8.5673 | 123.504 | 9.8627 | 135.7053 | 14.2893 | 30.1713 | 14.5147 | 34.6 | 7.59 | 893.4667 | 33.404 | 54.0933
2019-02-03 11:30:00 | 8.4067 | 250.5967 | 9.68 | 275.3667 | 14.4333 | 19.2467 | 14.19 | 26.1733 | 7.7333 | 893 | 33.31 | 54.2553
2019-02-03 11:45:00 | 8.3867 | 9.0833 | 9.6467 | 9.9733 | 14.4333 | 10.4233 | 14.27 | 13.46 | 8.0867 | 893 | 33.0333 | 49.5473
2019-02-03 12:00:00 | 7.7733 | 215.09 | 8.94 | 236.36 | 13.5267 | 5.1567 | 13.1567 | 16.96 | 8.6733 | 893.2 | 32.5267 | 49.004
2019-02-03 12:15:00 | 7.53 | 241.1073 | 8.67 | 264.9467 | 13.2133 | 8.33 | 13.1333 | 16.1567 | 9.4967 | 894 | 31.35 | 48.9307
2019-02-03 12:30:00 | 7.0633 | 49.9367 | 8.1233 | 54.8733 | 12.3067 | 12.35 | 11.86 | 16.4967 | 9.5033 | 893.1333 | 31.1433 | 39.062
2019-02-03 12:45:00 | 6.0933 | 55.8067 | 7.0167 | 61.3233 | 10.66 | 14.4467 | 10.1367 | 19.6033 | 9.6633 | 893 | 30.9347 | 39.244
2019-02-03 13:00:00 | 6.4933 | 21.1333 | 7.47 | 23.2233 | 11.22 | 7.8533 | 10.8233 | 12.7167 | 9.65 | 893 | 30.58 | 37.8293
2019-02-03 13:15:00 | 6.18 | 286.89 | 7.1133 | 315.2667 | 10.7733 | 12.2667 | 10.41 | 16.1067 | 10.34 | 893 | 29.9967 | 35.2847
2019-02-03 13:30:00 | 6.2867 | 267.7833 | 7.24 | 294.2667 | 10.72 | 18.78 | 10.4367 | 21.8067 | 10.12 | 893 | 29.9767 | 33.9573
2019-02-03 13:45:00 | 5.8753 | 299.2887 | 6.7653 | 328.8867 | 9.94 | 18.554 | 9.724 | 17.0927 | 10.38 | 893 | 29.9547 | 30.4007
2019-02-03 14:00:00 | 5.6033 | 117.7633 | 6.4533 | 129.4133 | 9.5133 | 29.49 | 8.8467 | 13.3767 | 10.8667 | 892.8 | 29.1 | 24.6873
2019-02-03 14:15:00 | 5.3967 | 199.76 | 6.2007 | 219.51 | 9.0167 | 36.1 | 8.93 | 38.66 | 10.8267 | 892 | 28.5333 | 24.762
2019-02-03 14:30:00 | 5.2633 | 219.8933 | 6.0633 | 241.6433 | 8.87 | 21.0333 | 7.95 | 35.2733 | 11.2667 | 892 | 28.1133 | 29.316
2019-02-03 14:45:00 | 5.3067 | 75.94 | 6.1067 | 83.4467 | 9.1513 | 17.3267 | 8.7667 | 24.2567 | 11.52 | 892 | 27.5267 | 23.3767
2019-02-03 15:00:00 | 4.7733 | 129.5 | 5.4933 | 142.3 | 8.28 | 240.3867 | 8.18 | 6.8567 | 11.8 | 892 | 27.434 | 23.7087
2019-02-03 15:15:00 | 4.14 | 184.06 | 4.77 | 202.2533 | 7.03 | 16.5867 | 5.87 | 34.5033 | 12.0933 | 891.4667 | 26.9767 | 23.402
2019-02-03 15:30:00 | 4.52 | 177.86 | 5.21 | 195.4533 | 7.7767 | 8.2133 | 7.1633 | 14.17 | 12.0267 | 891 | 27.2033 | 21.3373
2019-02-03 15:45:00 | 5.1533 | 42.15 | 5.9267 | 46.3167 | 9.22 | 12.3033 | 8.74 | 24.69 | 12.4067 | 891 | 27.0467 | 26.0853
2019-02-03 16:00:00 | 4.9667 | 189.1767 | 5.72 | 207.8833 | 9.0533 | 7.77 | 8.8133 | 18.0633 | 12.4867 | 891 | 26.9867 | 25.4933
2019-02-03 16:15:00 | 4.48 | 115.4567 | 5.1567 | 126.8733 | 7.8467 | 13.1967 | 7.5433 | 26.41 | 11.6867 | 891 | 27.7167 | 21.8393
2019-02-03 16:30:00 | 4.4933 | 96.85 | 5.17 | 106.4267 | 7.418 | 11.5767 | 7.13 | 10.2233 | 10.5067 | 891 | 29.4033 | 21.96
2019-02-03 16:45:00 | 4.5133 | 308.0967 | 5.2 | 338.5667 | 7.4533 | 21.1733 | 7.16 | 11.46 | 10.7333 | 891 | 29.2067 | 18.762
2019-02-03 17:00:00 | 3.9267 | 148.97 | 4.52 | 163.7 | 6.9667 | 32.9533 | 6.58 | 28.0067 | 10.9733 | 891 | 28.9467 | 19.9587
2019-02-03 17:15:00 | 4.1867 | 159.36 | 4.8167 | 175.12 | 7.7967 | 12.1367 | 7.62 | 15.5933 | 10.5267 | 891 | 29.63 | 22.4387
2019-02-03 17:30:00 | 4.16 | 220.7067 | 4.7833 | 242.52 | 7.5633 | 9.3367 | 7.48 | 22.8333 | 9.7133 | 891 | 30.93 | 20.044
2019-02-03 17:45:00 | 4.2133 | 125.9767 | 4.85 | 138.4333 | 7.6033 | 10.6133 | 7.1867 | 20.25 | 8.8033 | 891 | 32.3667 | 22.598
2019-02-03 18:00:00 | 4.5867 | 108.97 | 5.2833 | 119.74 | 8.3567 | 14.6467 | 8.0133 | 19.4567 | 8.4167 | 890.1333 | 33.3667 | 21.2933
2019-02-03 18:15:00 | 3.68 | 173.46 | 4.24 | 190.6 | 7.2 | 21.8 | 7.36 | 20.61 | 8.08 | 890 | 34.64 | 19.732
2019-02-03 18:30:00 | 3.46 | 48.755 | 3.98 | 53.575 | 6.515 | 28.405 | 6.515 | 29.585 | 7.8 | 890 | 34.595 | 20.969
2019-02-03 18:45:00 | 3.6087 | 185.0213 | 4.15 | 203.3067 | 6.5627 | 11.1713 | 6.57 | 20.3993 | 7.5387 | 890 | 35.084 | 19.3127
2019-02-03 19:00:00 | 3.54 | 144.3733 | 4.0767 | 158.64 | 6.4067 | 12.3967 | 6.39 | 18.79 | 7.5267 | 890 | 35.08 | 19.4793
2019-02-03 19:15:00 | 3.52 | 311.58 | 4.05 | 342.4 | 6.6 | 18.05 | 6.6233 | 21.5033 | 7.55 | 890 | 35.0733 | 21.4427
2019-02-03 19:30:00 | 3.62 | 151.4267 | 4.17 | 166.4 | 6.7513 | 24.9433 | 6.83 | 19.1233 | 7.51 | 890 | 34.94 | 22.152
2019-02-03 19:45:00 | 3.55 | 171.9067 | 4.0833 | 188.9 | 6.6667 | 13.4367 | 6.818 | 20.9933 | 7.4033 | 890.5333 | 35.0833 | 21.15
2019-02-03 20:00:00 | 3.6633 | 163.04 | 4.2167 | 179.1667 | 7.02 | 11.9967 | 7.28 | 24.6267 | 7.2767 | 891 | 35.81 | 23.4687
2019-02-03 20:15:00 | 3.7733 | 106.8433 | 4.3433 | 117.4 | 7.1533 | 20.44 | 7.5533 | 29.9433 | 7.2687 | 891 | 35.3267 | 22.5287
2019-02-03 20:30:00 | 3.7467 | 272.4567 | 4.3167 | 299.4 | 7.16 | 18.3467 | 7.4267 | 27.4167 | 7.34 | 891 | 34.95 | 21.314
2019-02-03 20:45:00 | 3.3867 | 190.2233 | 3.9033 | 209.0333 | 6.58 | 10.83 | 6.7067 | 22.41 | 7.2067 | 891 | 35.34 | 19.2053
2019-02-03 21:00:00 | 3.1067 | 109.4367 | 3.5767 | 120.2467 | 5.92 | 11.3167 | 5.9333 | 23.6233 | 7.04 | 891 | 36.2667 | 17.39
2019-02-03 21:15:00 | 2.9467 | 317.32 | 3.39 | 348.7 | 5.2267 | 10.6833 | 5.58 | 17.4667 | 6.84 | 891 | 37.47 | 17.0607
2019-02-03 21:30:00 | 2.7333 | 298.6933 | 3.1433 | 328.2333 | 5.0067 | 5.5633 | 5.42 | 15.28 | 6.7513 | 891 | 38.2033 | 15.956
2019-02-03 21:45:00 | 2.6733 | 269.3967 | 3.0733 | 296.0333 | 4.9533 | 10.9067 | 5.1933 | 27.8167 | 6.7047 | 891 | 38.5547 | 15.1887
2019-02-03 22:00:00 | 2.8 | 301.73 | 3.22 | 331.5667 | 5.3333 | 9.7933 | 5.56 | 20.13 | 6.74 | 891 | 38.4233 | 16.2607
2019-02-03 22:15:00 | 3.24 | 8.59 | 3.74 | 9.44 | 5.91 | 0.2 | 5.78 | 5.45 | 6.98 | 891 | 37.46 | 16.181
2019-02-03 22:30:00 | 2.88 | 236.785 | 3.32 | 260.2 | 5.355 | 1.605 | 5.245 | 182.665 | 6.85 | 891 | 38.075 | 16.096
2019-02-03 22:45:00 | 3.1 | 224.48 | 3.57 | 246.6733 | 5.89 | 227.4733 | 5.5933 | 21.14 | 6.8133 | 891 | 38.16 | 14.1567
2019-02-03 23:00:00 | 3.26 | 17.16 | 3.7567 | 18.8533 | 6.1233 | 2.9867 | 5.8933 | 9.6133 | 6.6867 | 891 | 38.252 | 9.916
2019-02-03 23:15:00 | 3.1 | 204.47 | 3.5733 | 224.6933 | 5.1833 | 34.5067 | 5.08 | 132.2267 | 6.89 | 891.5333 | 37.59 | 8.5307
2019-02-03 23:30:00 | 2.4067 | 21.1167 | 2.7733 | 23.2 | 3.9433 | 32.7733 | 3.8733 | 120.6333 | 6.85 | 892 | 37.9167 | 4.2693
2019-02-03 23:45:00 | 2.106 | 4.8093 | 2.4347 | 5.2727 | 3.5207 | 22.9327 | 3.446 | 7.9573 | 6.714 | 892 | 38.4073 | 4.1367