## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-04 00:00:00 | 2.3067 | 216.4033 | 2.6533 | 237.8 | 4.0633 | 253.7167 | 4.0667 | 8.3133 | 6.64 | 892 | 39.08 | 6.6687
2019-02-04 00:15:00 | 2.072 | 311.89 | 2.3807 | 342.74 | 3.5613 | 30.3493 | 3.446 | 19.1927 | 6.546 | 892 | 39.316 | 5.154
2019-02-04 00:30:00 | 0.86667 | 310.13 | 0.99667 | 340.8 | 1.4333 | 43.0267 | 1.65 | 50.2867 | 6.568 | 891.8 | 38.95 | 0.116
2019-02-04 00:45:00 | 1.06 | 285.5367 | 1.2233 | 313.7667 | 1.61 | 329.2333 | 0.79 | 236.0633 | 6.62 | 891.5333 | 38.29 | 0
2019-02-04 01:00:00 | 0.46667 | 294.3833 | 0.53667 | 323.5 | 0.73 | 255.6333 | 1.13 | 82.5967 | 6.6133 | 892 | 38.12 | 0
2019-02-04 01:15:00 | 0.57 | 277.85 | 0.65667 | 305.3333 | 0.52 | 280.6 | 0.69 | 203.6 | 6.7933 | 892 | 37.28 | 0
2019-02-04 01:30:00 | 0.85 | 268.6967 | 0.98333 | 295.2667 | 1.0067 | 285.3333 | 1.1633 | 236 | 6.7733 | 892 | 37.1333 | 0
2019-02-04 01:45:00 | 0.56333 | 241.9927 | 0.65 | 265.92 | 1.0933 | 220.5 | 1.6233 | 216.6333 | 7.0567 | 892 | 36.5 | 0
2019-02-04 02:00:00 | 1.01 | 181.4233 | 1.17 | 199.3667 | 1.88 | 207.9 | 2.1167 | 209.5667 | 7.2433 | 892 | 36.5867 | 0.005333
2019-02-04 02:15:00 | 0.89667 | 156.0967 | 1.0333 | 171.5333 | 1.58 | 190.1667 | 1.9133 | 188 | 7.2 | 891.4667 | 36.6287 | 0
2019-02-04 02:30:00 | 0.57667 | 116.344 | 0.66667 | 127.84 | 1 | 173.14 | 1.54 | 188.34 | 7.0067 | 891.2 | 36.7567 | 0.13857
2019-02-04 02:45:00 | 0.94667 | 135.44 | 1.1 | 148.8333 | 1.7467 | 172.46 | 2.16 | 187.7667 | 6.9133 | 891.4667 | 37.17 | 0.22
2019-02-04 03:00:00 | 1.1533 | 176.76 | 1.34 | 194.2333 | 1.9133 | 173.7667 | 2.3067 | 207.3667 | 6.8533 | 891 | 37.4833 | 0.362
2019-02-04 03:15:00 | 1.2333 | 169.3533 | 1.4167 | 186.1 | 2 | 188.1333 | 2.4467 | 219.4333 | 6.8133 | 891 | 38.1467 | 0.93667
2019-02-04 03:30:00 | 1.2067 | 160.4333 | 1.3967 | 176.3 | 2.04 | 193.7333 | 2.6133 | 215.2333 | 6.6267 | 891 | 39.34 | 0.478
2019-02-04 03:45:00 | 0.95 | 171.536 | 1.0933 | 188.4933 | 1.7767 | 182.7 | 2.0833 | 211.4667 | 6.44 | 891 | 40.3733 | 0
2019-02-04 04:00:00 | 0.55667 | 185.306 | 0.64 | 203.62 | 1.0967 | 182.6133 | 1.6567 | 201.7333 | 6.26 | 891 | 41.5267 | 0
2019-02-04 04:15:00 | 0.44 | 298.48 | 0.50667 | 328 | 0.41333 | 123.1933 | 0.57333 | 115.2633 | 5.86 | 891 | 43.54 | 0
2019-02-04 04:30:00 | 1.6533 | 304.3667 | 1.9133 | 334.4667 | 2.1933 | 12.92 | 1.18 | 1.8967 | 5.3933 | 891 | 45.9267 | 0
2019-02-04 04:45:00 | 2.1853 | 323.96 | 2.5207 | 356 | 2.8373 | 20.924 | 2.0553 | 33.4933 | 5.1107 | 891 | 46.714 | 0
2019-02-04 05:00:00 | 2.1967 | 113.17 | 2.5333 | 124.36 | 2.74 | 23.2933 | 2.1433 | 33.3367 | 5.1 | 890.8 | 46.99 | 0
2019-02-04 05:15:00 | 2.3933 | 295.2733 | 2.7567 | 324.4667 | 2.9067 | 12.09 | 2.64 | 22.76 | 5.0633 | 890 | 46.67 | 0
2019-02-04 05:30:00 | 2.78 | 318.8067 | 3.2033 | 350.3333 | 3.3533 | 3.0767 | 3.5133 | 17.9133 | 5.1367 | 890.8667 | 46.7367 | 0.11267
2019-02-04 05:45:00 | 3.1133 | 319.2967 | 3.59 | 350.8667 | 3.8833 | 128.8067 | 4.02 | 14.6867 | 5.12 | 891 | 46.94 | 0.53467
2019-02-04 06:00:00 | 2.9 | 110.01 | 3.3433 | 120.8867 | 3.6767 | 128.7133 | 3.8133 | 10.96 | 5.1533 | 890.8 | 46.46 | 0.45667
2019-02-04 06:15:00 | 2.88 | 318.14 | 3.3133 | 349.6 | 3.28 | 121.66 | 3.4767 | 11.46 | 5.08 | 890.5333 | 46.5367 | 1.4433
2019-02-04 06:30:00 | 3.0867 | 319.7133 | 3.5467 | 351.3333 | 3.6733 | 127.6267 | 3.91 | 20.38 | 5.02 | 891 | 47.1233 | 3.2847
2019-02-04 06:45:00 | 2.5333 | 198.6967 | 2.9167 | 218.35 | 4.6433 | 13.5067 | 5.04 | 16.4867 | 4.7633 | 891 | 49.2033 | 4.1793
2019-02-04 07:00:00 | 2.94 | 0.59 | 3.3833 | 0.65 | 5.3433 | 27.12 | 5.5467 | 7.1667 | 4.55 | 891 | 50.2767 | 5.0273
2019-02-04 07:15:00 | 2.5867 | 98.86 | 2.9733 | 108.6333 | 4.51 | 53.47 | 4.8067 | 7.35 | 4.3533 | 890.4667 | 51.11 | 1.484
2019-02-04 07:30:00 | 2.512 | 309.584 | 2.886 | 340.2 | 3.504 | 9.746 | 3.716 | 29.7 | 4.288 | 890 | 50.42 | 0
2019-02-04 07:45:00 | 1.5733 | 310.1867 | 1.8167 | 340.8667 | 2.2 | 30.8333 | 2.29 | 26.7533 | 4.2233 | 890 | 49.6967 | 0
2019-02-04 08:00:00 | 1.2867 | 304.4867 | 1.4833 | 334.6 | 1.8867 | 5.7733 | 1.1967 | 24.3533 | 4.1567 | 890 | 50.2633 | 0
2019-02-04 08:15:00 | 0.77 | 315.32 | 0.88667 | 346.5 | 1.0433 | 13.8267 | 0.39333 | 39.07 | 4.3633 | 890 | 49.56 | 0
2019-02-04 08:30:00 | 1.31 | 315.34 | 1.5067 | 346.52 | 1.95 | 7.5067 | 0.82 | 16.834 | 4.1567 | 890 | 50.578 | 0
2019-02-04 08:45:00 | 1.3267 | 322.4833 | 1.53 | 354.3667 | 1.9733 | 5.4633 | 1.2833 | 1.3667 | 4.6667 | 890 | 49.22 | 0
2019-02-04 09:00:00 | 2.24 | 321.99 | 2.59 | 353.8333 | 2.8133 | 2.19 | 2.5633 | 235.54 | 5.1333 | 890.8667 | 48.7867 | 0
2019-02-04 09:15:00 | 2.5 | 213.9267 | 2.8833 | 235.0767 | 2.93 | 2.7267 | 2.46 | 231.4767 | 5.1867 | 891 | 50.0467 | 0
2019-02-04 09:30:00 | 3.0467 | 218.42 | 3.5033 | 240.01 | 3.6167 | 7.88 | 3.0133 | 10.5567 | 5.1267 | 891.8667 | 51.0333 | 0
2019-02-04 09:45:00 | 3.1167 | 220.8073 | 3.5933 | 242.6433 | 3.8407 | 4.788 | 3.6747 | 13.6573 | 5.118 | 892 | 51.6467 | 0
2019-02-04 10:00:00 | 3.11 | 7.56 | 3.5867 | 8.3033 | 3.6533 | 9.8867 | 3.6733 | 21.7833 | 5.3133 | 892 | 51.3433 | 0
2019-02-04 10:15:00 | 2.9933 | 217.7033 | 3.4433 | 239.2333 | 3.8167 | 16.68 | 3.91 | 22.05 | 5.6233 | 892.5333 | 50.16 | 0
2019-02-04 10:30:00 | 2.64 | 2.41 | 3.0367 | 2.6467 | 3.3767 | 40.2133 | 3.37 | 18.5767 | 5.71 | 892.1333 | 48.32 | 0
2019-02-04 10:45:00 | 2.0833 | 2.0267 | 2.4 | 2.22 | 2.2633 | 10.8933 | 2.0233 | 13.2567 | 6.4433 | 892 | 44.3367 | 0
2019-02-04 11:00:00 | 1.1967 | 2.62 | 1.38 | 2.8667 | 1.05 | 25.4133 | 0.39 | 15.35 | 7.0767 | 892 | 42.71 | 0
2019-02-04 11:15:00 | 2.7733 | 153.06 | 3.2 | 168.2 | 3.0233 | 171.4667 | 2.9033 | 156.6667 | 7.9067 | 892.5333 | 46.9833 | 0.244
2019-02-04 11:30:00 | 3.6467 | 163.664 | 4.2 | 179.8467 | 3.9367 | 181.0667 | 3.79 | 193.2667 | 7.8733 | 892.8 | 50.45 | 1.9133
2019-02-04 11:45:00 | 3.8433 | 153.2767 | 4.42 | 168.4333 | 4.22 | 182.4667 | 3.95 | 186.4 | 8.3 | 892 | 48.2667 | 5.3787
2019-02-04 12:00:00 | 3.7833 | 166.99 | 4.3467 | 183.5 | 4.0867 | 212.2667 | 4.17 | 194.4 | 8.418 | 892 | 46.36 | 5.442
2019-02-04 12:15:00 | 3.36 | 167.8033 | 3.87 | 184.4 | 4.04 | 220.3667 | 3.92 | 209.0333 | 8.5067 | 892 | 45.12 | 3.236
2019-02-04 12:30:00 | 2.6933 | 155.2433 | 3.0967 | 170.6 | 3.26 | 219.7 | 3.26 | 222.8333 | 8.14 | 892 | 46.7333 | 2.3727
2019-02-04 12:45:00 | 2.54 | 174.76 | 2.92 | 192.0333 | 3.0967 | 208.4733 | 3.0667 | 212.3333 | 8.11 | 891.4667 | 47.3967 | 2.1613
2019-02-04 13:00:00 | 2.6 | 156.9133 | 2.9933 | 172.4333 | 2.99 | 161.5667 | 2.9467 | 189.6 | 8.41 | 891 | 47.4767 | 2.6687
2019-02-04 13:15:00 | 3.02 | 132.5267 | 3.4833 | 145.6333 | 3.5967 | 167.9 | 3.5567 | 192.3333 | 8.83 | 891 | 46.2567 | 3.0753
2019-02-04 13:30:00 | 2.9933 | 122.5267 | 3.45 | 134.6333 | 3.4567 | 164.1667 | 3.49 | 220.1333 | 8.97 | 891 | 45.95 | 4.176
2019-02-04 13:45:00 | 3.3467 | 178.3633 | 3.8567 | 196 | 4.18 | 231.1667 | 4.1467 | 198.4 | 9.7133 | 890.4667 | 44.2733 | 6.268
2019-02-04 14:00:00 | 3.9733 | 152.6367 | 4.5767 | 167.7333 | 4.8267 | 165.3 | 5.1067 | 190.0667 | 9.98 | 890 | 43.9333 | 8.788
2019-02-04 14:15:00 | 3.9733 | 138.0167 | 4.57 | 151.6667 | 4.78 | 142.8333 | 5.19 | 150.8 | 10.2133 | 890 | 44.02 | 7.84
2019-02-04 14:30:00 | 4.372 | 128.526 | 5.032 | 141.24 | 5.116 | 164.62 | 5.258 | 178.3 | 10.084 | 890 | 43.8773 | 7.3013
2019-02-04 14:45:00 | 3.32 | 163.9 | 3.82 | 180.1 | 3.9733 | 181.8 | 3.9467 | 172.6333 | 10.2933 | 890 | 43.4567 | 8.6993
2019-02-04 15:00:00 | 3.9533 | 136.7133 | 4.5533 | 150.2333 | 4.8067 | 170.2 | 4.7867 | 170.0333 | 10.48 | 889.1333 | 42.7233 | 7.0213
2019-02-04 15:15:00 | 3.612 | 143.6867 | 4.1587 | 157.8867 | 4.36 | 159.4333 | 4.602 | 186.9467 | 10.8567 | 889 | 41.782 | 5.7433
2019-02-04 15:30:00 | 3.81 | 133.53 | 4.39 | 146.7333 | 4.47 | 146.9 | 4.6067 | 176.5 | 10.8667 | 889 | 41.7467 | 6.0567
2019-02-04 15:45:00 | 3.9733 | 137.77 | 4.5767 | 151.4 | 4.6933 | 151.9333 | 4.76 | 197.6667 | 11.0267 | 889 | 41.34 | 5.6973
2019-02-04 16:00:00 | 3.6933 | 125.6233 | 4.2433 | 138.04 | 4.4867 | 170.4667 | 4.62 | 173.2 | 11.1 | 889 | 41.2 | 3.728
2019-02-04 16:15:00 | 3.6973 | 155.2633 | 4.2533 | 170.6133 | 4.3607 | 175.0867 | 4.4713 | 180.8867 | 10.9447 | 889 | 41.6653 | 3.4313
2019-02-04 16:30:00 | 3.6267 | 150.2167 | 4.1733 | 165.0667 | 4.29 | 167.4333 | 4.4233 | 181.0333 | 10.9767 | 888.1333 | 42.1667 | 2.9927
2019-02-04 16:45:00 | 2.7067 | 153.1833 | 3.1167 | 168.3333 | 3.32 | 180.5 | 3.44 | 190.7333 | 11.2433 | 888 | 41.99 | 2.1407
2019-02-04 17:00:00 | 2.2867 | 113.39 | 2.6367 | 124.6 | 2.7933 | 163.1 | 2.9933 | 161.8 | 10.9767 | 888 | 42.65 | 0.84
2019-02-04 17:15:00 | 1.9667 | 135.8633 | 2.2667 | 149.3 | 2.5233 | 148.6 | 2.6133 | 183 | 10.9 | 888 | 43.5933 | 1.3147
2019-02-04 17:30:00 | 1.9067 | 178.15 | 2.1933 | 195.7667 | 2.6033 | 182.6667 | 2.64 | 189.3333 | 10.618 | 888 | 44.3867 | 0.98467
2019-02-04 17:45:00 | 2.1867 | 168.84 | 2.52 | 185.5333 | 2.98 | 212.6667 | 2.9233 | 219.5667 | 9.9667 | 888 | 45.8433 | 0.99333
2019-02-04 18:00:00 | 2.0373 | 182.0707 | 2.348 | 200.08 | 3.02 | 223.5067 | 2.9633 | 219.1667 | 9.668 | 888 | 46.7887 | 0.95133
2019-02-04 18:15:00 | 2.2533 | 181.6667 | 2.5933 | 199.6333 | 3.0333 | 221.5 | 3.1333 | 220.8333 | 9.4367 | 888 | 47.8033 | 1.91
2019-02-04 18:30:00 | 2.74 | 162.44 | 3.1533 | 178.5 | 3.7267 | 214.2333 | 3.9133 | 222.7 | 9.2567 | 887.8 | 49.3567 | 4.0213
2019-02-04 18:45:00 | 3.0633 | 173.51 | 3.52 | 190.6667 | 4.06 | 209.8 | 4.2067 | 217.0667 | 9.02 | 887 | 51.62 | 4.3327
2019-02-04 19:00:00 | 2.7433 | 181.03 | 3.1533 | 198.9333 | 3.6333 | 209.5667 | 3.66 | 217.4667 | 9.0487 | 887 | 52.1933 | 4.3173
2019-02-04 19:15:00 | 2.6 | 165.48 | 2.9933 | 181.8333 | 3.3733 | 206.2667 | 3.2967 | 213.2 | 8.9967 | 887 | 52.7033 | 4.5847
2019-02-04 19:30:00 | 2.7533 | 187.2533 | 3.1733 | 205.7667 | 3.56 | 199.2667 | 3.6967 | 197.1333 | 8.97 | 887 | 52.88 | 4.7687
2019-02-04 19:45:00 | 2.7867 | 159.7667 | 3.21 | 175.5667 | 3.5767 | 205.3 | 3.69 | 214.7333 | 8.89 | 887 | 53.07 | 5.2447
2019-02-04 20:00:00 | 2.56 | 190.1667 | 2.95 | 208.9667 | 3.2367 | 207.9 | 3.35 | 188.6667 | 8.9253 | 887 | 53.168 | 5.638
2019-02-04 20:15:00 | 2.6267 | 184.3933 | 3.02 | 202.6333 | 3.38 | 211.3333 | 3.6133 | 197.9 | 8.81 | 887 | 54.0033 | 5.4213
2019-02-04 20:30:00 | 2.7933 | 184.28 | 3.2133 | 202.5 | 3.6933 | 220.6 | 3.66 | 213.0333 | 8.69 | 887.8667 | 54.51 | 4.878
2019-02-04 20:45:00 | 2.4667 | 165.6567 | 2.84 | 182.0333 | 3.1867 | 206.1667 | 3.1967 | 209.9333 | 8.5367 | 888 | 55.18 | 3.9073
2019-02-04 21:00:00 | 2.6733 | 175.6033 | 3.08 | 192.9667 | 3.4733 | 200.1 | 3.6233 | 183.0667 | 8.3967 | 888 | 55.96 | 5.3407
2019-02-04 21:15:00 | 2.9667 | 163.3767 | 3.4133 | 179.5333 | 3.69 | 197.3333 | 3.89 | 200.5333 | 8.39 | 888 | 56.1347 | 4.7267
2019-02-04 21:30:00 | 2.4293 | 168.3367 | 2.7933 | 184.9867 | 3.0047 | 204.5867 | 3.2407 | 209.3733 | 8.402 | 888 | 56.1487 | 2.8753
2019-02-04 21:45:00 | 1.43 | 134.4667 | 1.6433 | 147.7667 | 2.1967 | 174.6333 | 2.07 | 181.0333 | 8.0433 | 888 | 57.6733 | 3.2413
2019-02-04 22:00:00 | 2.5233 | 149.5733 | 2.9033 | 164.3667 | 3.2367 | 171.3 | 3.5567 | 171.7667 | 7.77 | 888 | 58.7733 | 3.734
2019-02-04 22:15:00 | 2.6633 | 158.38 | 3.0633 | 174.0333 | 3.58 | 171.1 | 3.9 | 174.8 | 7.63 | 888 | 59.45 | 3.94
2019-02-04 22:30:00 | 2.73 | 155.0933 | 3.1433 | 170.4333 | 3.6 | 177.68 | 4.1 | 179.7333 | 7.632 | 888.2 | 59.6767 | 1.8473
2019-02-04 22:45:00 | 2.1967 | 150.5833 | 2.5267 | 165.4667 | 2.91 | 170.1 | 3.44 | 170.9 | 7.65 | 889 | 59.728 | 2.0373
2019-02-04 23:00:00 | 2.1367 | 165.1433 | 2.46 | 181.4667 | 2.81 | 172.7 | 3.5733 | 169.9667 | 7.572 | 889 | 60.1187 | 3.9
2019-02-04 23:15:00 | 3.18 | 159.5233 | 3.6533 | 175.3 | 4.0533 | 170.1333 | 4.8433 | 174.4333 | 7.5233 | 888.4667 | 60.6833 | 7.7747
2019-02-04 23:30:00 | 3.3933 | 165.2367 | 3.9 | 181.5667 | 4.18 | 165.2 | 4.95 | 172.1667 | 7.5233 | 888 | 60.992 | 7.726
2019-02-04 23:45:00 | 3.3833 | 158.7367 | 3.89 | 174.4333 | 4.19 | 179.4 | 5.0367 | 179.1 | 7.3867 | 888 | 61.7067 | 11.5893