## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-05 00:00:00 | 3.7833 | 158.5033 | 4.35 | 174.1667 | 4.4633 | 189.9333 | 4.9233 | 183.0333 | 7.3 | 888 | 62.3933 | 15.2007
2019-02-05 00:15:00 | 4.5133 | 158.6133 | 5.19 | 174.3 | 5.2567 | 185.9333 | 5.78 | 178.0667 | 7.0467 | 888 | 64.79 | 15.5027
2019-02-05 00:30:00 | 4.6733 | 160.5 | 5.3767 | 176.3667 | 5.4367 | 188.7333 | 6.32 | 189.5333 | 6.8733 | 888 | 66.41 | 12.1167
2019-02-05 00:45:00 | 3.15 | 163.9167 | 3.6233 | 180.1333 | 3.6567 | 191.7333 | 4.4533 | 189.7 | 6.7433 | 888 | 67.2167 | 5.8013
2019-02-05 01:00:00 | 2.77 | 167.1967 | 3.19 | 183.7333 | 3.3367 | 190.4667 | 3.92 | 186.8333 | 6.7433 | 888 | 67.13 | 2.704
2019-02-05 01:15:00 | 2.1867 | 160.41 | 2.5267 | 176.2667 | 2.7733 | 191.1667 | 3.2933 | 190.1667 | 6.7433 | 888 | 67.35 | 2.1447
2019-02-05 01:30:00 | 2.1 | 175.57 | 2.42 | 192.9333 | 2.68 | 192.1667 | 3.0667 | 199.1 | 6.7833 | 888 | 67.6553 | 2.1673
2019-02-05 01:45:00 | 1.9767 | 153.9433 | 2.2733 | 169.1667 | 2.5267 | 182.7333 | 2.69 | 188.5333 | 6.56 | 887.4667 | 68.7467 | 1.978
2019-02-05 02:00:00 | 1.87 | 157.83 | 2.1533 | 173.4333 | 2.5667 | 179.14 | 2.81 | 186.9333 | 6.32 | 887 | 69.78 | 1.57
2019-02-05 02:15:00 | 2.9267 | 158.0467 | 3.3667 | 173.6667 | 3.76 | 189.6333 | 3.6467 | 193.6667 | 6.25 | 887 | 70.9133 | 2.9913
2019-02-05 02:30:00 | 2.64 | 164.2333 | 3.0467 | 180.4667 | 3.4067 | 176.2333 | 3.58 | 178 | 6.0433 | 887 | 71.7533 | 2.1047
2019-02-05 02:45:00 | 1.8867 | 172.09 | 2.1767 | 189.1 | 2.6833 | 181.3 | 3.1533 | 172.9667 | 5.82 | 887 | 72.4733 | 5.152
2019-02-05 03:00:00 | 2.724 | 174.066 | 3.142 | 191.28 | 3.46 | 176.48 | 3.88 | 187.6 | 5.59 | 887 | 74.014 | 5.7047
2019-02-05 03:15:00 | 2.88 | 155.9467 | 3.3167 | 171.3667 | 3.57 | 167.5333 | 4.1867 | 184.6333 | 5.4567 | 886.4667 | 75.4833 | 4.4067
2019-02-05 03:30:00 | 2.9333 | 164.9867 | 3.37 | 181.3 | 3.5767 | 181.1333 | 4.1933 | 173.3 | 5.43 | 886 | 75.7567 | 7.6647
2019-02-05 03:45:00 | 3.5 | 145.51 | 4.02 | 159.9 | 4.21 | 159.7 | 5.01 | 174.6 | 5.27 | 886 | 76.99 | 12.131
2019-02-05 04:00:00 | 3.68 | 168.2067 | 4.23 | 184.8333 | 4.4367 | 185.9 | 4.71 | 185 | 5.0733 | 885.3333 | 78.1 | 13.7147
2019-02-05 04:15:00 | 3.2067 | 156.9267 | 3.6867 | 172.4333 | 3.84 | 193.5667 | 4.45 | 193.6667 | 4.7733 | 886 | 79.5867 | 16.3407
2019-02-05 04:30:00 | 3.605 | 163.12 | 4.15 | 179.25 | 4.24 | 189.6 | 4.685 | 197.7 | 4.685 | 886 | 80.15 | 12.649
2019-02-05 04:45:00 | 3.0233 | 153.34 | 3.48 | 168.5 | 3.4333 | 181.6333 | 3.9467 | 212.3 | 4.62 | 886 | 80.4867 | 12.6833
2019-02-05 05:00:00 | 3.4433 | 154.2533 | 3.96 | 169.5 | 3.8533 | 181.3667 | 3.998 | 189.7 | 4.38 | 885.1333 | 81.4667 | 15.18
2019-02-05 05:15:00 | 3.6267 | 158.6433 | 4.18 | 174.3333 | 4.1833 | 168.1667 | 4.59 | 184.7333 | 4.2867 | 885 | 81.8533 | 10.832
2019-02-05 05:30:00 | 3 | 165.99 | 3.4467 | 182.4 | 3.5767 | 181.8333 | 3.93 | 201.0667 | 4.3733 | 885 | 81.7 | 13.2927
2019-02-05 05:45:00 | 2.7 | 150.236 | 3.106 | 165.0933 | 3.2753 | 182.6867 | 3.938 | 194.66 | 4.42 | 885 | 82.0533 | 16.4993
2019-02-05 06:00:00 | 2.79 | 151.28 | 3.21 | 166.2333 | 3.2433 | 184.1867 | 4.0867 | 196.0667 | 4.3233 | 884.8 | 82.7333 | 13.0207
2019-02-05 06:15:00 | 2.38 | 161.22 | 2.7333 | 177.1667 | 2.8533 | 195.2333 | 3.4433 | 202.1 | 4.32 | 884 | 83 | 15.724
2019-02-05 06:30:00 | 2.94 | 153.52 | 3.38 | 168.7 | 3.52 | 190.6333 | 4.21 | 204.6333 | 4.4267 | 884 | 83.2467 | 14.7333
2019-02-05 06:45:00 | 2.8767 | 153.7333 | 3.31 | 168.9333 | 3.5333 | 198.3 | 3.98 | 203.9333 | 4.52 | 884 | 84.1 | 13.3227
2019-02-05 07:00:00 | 3.1633 | 154.0333 | 3.6433 | 169.2667 | 3.8267 | 204.3667 | 4.5467 | 203.2 | 4.2867 | 884 | 85.0333 | 16.382
2019-02-05 07:15:00 | 2.8187 | 162.6167 | 3.2493 | 178.7 | 3.376 | 194.0333 | 3.7713 | 200.54 | 3.95 | 884 | 86.7133 | 11.124
2019-02-05 07:30:00 | 2.55 | 159.0033 | 2.93 | 174.7333 | 3.0867 | 184.9667 | 3.6167 | 195.2 | 3.8667 | 884 | 87.32 | 11.1473
2019-02-05 07:45:00 | 3.78 | 155.3633 | 4.35 | 170.7333 | 4.3933 | 185.0667 | 4.63 | 196 | 3.91 | 884 | 87.5333 | 12.1727
2019-02-05 08:00:00 | 3.5133 | 144.6967 | 4.05 | 159 | 4.16 | 181.3333 | 4.4433 | 195.5333 | 3.9167 | 884 | 87.9333 | 14.096
2019-02-05 08:15:00 | 3.58 | 158.2233 | 4.1167 | 173.8667 | 4.11 | 175.2 | 4.3733 | 190.1667 | 4.03 | 884 | 88.2667 | 14.908
2019-02-05 08:30:00 | 3.5 | 158.83 | 4.0233 | 174.5333 | 3.9367 | 197.4 | 4.4133 | 188.9667 | 4.0967 | 884.2 | 88.6667 | 14.43
2019-02-05 08:45:00 | 4.34 | 162.47 | 4.9967 | 178.5333 | 4.9867 | 177.5667 | 5.6233 | 187.4667 | 4.1667 | 884.4667 | 88.9333 | 14.2027
2019-02-05 09:00:00 | 3.7067 | 149.9033 | 4.2633 | 164.7333 | 4.2867 | 180.5667 | 4.69 | 184.3333 | 4.2467 | 884.2 | 89.2 | 9.7013
2019-02-05 09:15:00 | 4.06 | 148.9733 | 4.6767 | 163.7 | 4.74 | 183.6 | 5.38 | 178.8333 | 4.38 | 884.4667 | 89.0667 | 11.0387
2019-02-05 09:30:00 | 4.3333 | 152.3133 | 4.9833 | 167.3667 | 5.12 | 173.3333 | 5.8333 | 183.1 | 4.82 | 884.8667 | 88.9333 | 12.236
2019-02-05 09:45:00 | 3.72 | 141.6867 | 4.28 | 155.7 | 4.44 | 191.2333 | 5.23 | 172.5667 | 5.3533 | 885 | 87.6667 | 10.868
2019-02-05 10:00:00 | 3.2 | 170.5733 | 3.6933 | 187.4333 | 3.7133 | 217.3667 | 4.0433 | 191.9667 | 5.6067 | 885 | 86.8667 | 7.9427
2019-02-05 10:15:00 | 3.1167 | 163.7133 | 3.5867 | 179.9 | 3.74 | 211.9333 | 4.0033 | 193.0733 | 5.8367 | 885 | 85.6667 | 7.9467
2019-02-05 10:30:00 | 3.0567 | 168.74 | 3.5133 | 185.4333 | 3.5533 | 203.2667 | 3.7967 | 209.6333 | 6.19 | 885 | 84.1333 | 8.584
2019-02-05 10:45:00 | 3.94 | 147.4867 | 4.5367 | 162.0667 | 4.38 | 179.5 | 4.32 | 191.9667 | 6.47 | 885 | 82.1667 | 7.672
2019-02-05 11:00:00 | 3.26 | 156.8333 | 3.75 | 172.3333 | 3.5733 | 192.3 | 3.5133 | 208.3 | 6.5767 | 885 | 80.8333 | 8.8187
2019-02-05 11:15:00 | 3.7333 | 146.9967 | 4.3 | 161.5333 | 4.1133 | 192.1 | 4.21 | 217.9667 | 7.1167 | 885 | 78.95 | 8.242
2019-02-05 11:30:00 | 3.7867 | 172.6633 | 4.36 | 189.7333 | 4.3667 | 232.1 | 4.4433 | 206.8333 | 7.5567 | 885.8667 | 77.63 | 9.3193
2019-02-05 11:45:00 | 3.4933 | 137.8067 | 4.0167 | 151.4333 | 3.9667 | 175.7 | 4.2333 | 209.4667 | 7.99 | 886 | 76.01 | 9.4053
2019-02-05 12:00:00 | 3.8133 | 114.7 | 4.39 | 126.0333 | 4.2333 | 166.1 | 4 | 168.3333 | 8.0147 | 885.1333 | 75.588 | 8.5987
2019-02-05 12:15:00 | 3.6067 | 169.6 | 4.15 | 186.3667 | 4.2467 | 198.6 | 4.3233 | 198.2 | 8.3167 | 885 | 74.5567 | 9.7387
2019-02-05 12:30:00 | 4.12 | 130.7733 | 4.75 | 143.7 | 4.7733 | 163.8667 | 4.9033 | 191.7333 | 8.67 | 885 | 73.2033 | 10.1007
2019-02-05 12:45:00 | 4.4887 | 133.65 | 5.17 | 146.8667 | 5.2133 | 164.2 | 5.2667 | 195.1333 | 8.8367 | 885 | 72.214 | 10.4667
2019-02-05 13:00:00 | 4.568 | 136.258 | 5.256 | 149.72 | 5.418 | 153.12 | 5.406 | 197.32 | 9.146 | 885 | 70.788 | 10.444
2019-02-05 13:15:00 | 3.9267 | 160.2533 | 4.5167 | 176.1 | 4.6167 | 156.7333 | 4.6567 | 173.9667 | 9.78 | 884.4667 | 68.2167 | 11.48
2019-02-05 13:30:00 | 4.4133 | 134.3467 | 5.0767 | 147.6333 | 5.2233 | 172.4 | 5.07 | 177.5 | 9.82 | 884 | 67.3967 | 14.06
2019-02-05 13:45:00 | 4.0733 | 131.7733 | 4.6867 | 144.8 | 4.84 | 148.9 | 5.02 | 171.8 | 10.1533 | 884 | 65.4733 | 14.484
2019-02-05 14:00:00 | 4.54 | 126.2467 | 5.22 | 138.7333 | 5.48 | 148.3 | 5.6133 | 173.8667 | 10.6333 | 884 | 63.1533 | 14.8253
2019-02-05 14:15:00 | 4.6733 | 151.6167 | 5.3767 | 166.6 | 5.53 | 167.5667 | 5.3367 | 181.5667 | 10.7267 | 884 | 61.5667 | 13.3133
2019-02-05 14:30:00 | 4.5133 | 148.4567 | 5.19 | 163.1333 | 5.2387 | 176.1 | 5.17 | 171.26 | 10.8 | 884 | 60.38 | 16.6713
2019-02-05 14:45:00 | 5.0533 | 145.45 | 5.82 | 159.8333 | 5.88 | 165.2333 | 5.9233 | 166 | 10.9067 | 883.4667 | 59.4667 | 16.21
2019-02-05 15:00:00 | 5.4667 | 152.73 | 6.2867 | 167.8333 | 6.4267 | 149.9667 | 6.4033 | 162.8667 | 10.6533 | 883 | 60.1067 | 16.8127
2019-02-05 15:15:00 | 4.78 | 139.3633 | 5.4933 | 153.1333 | 5.7033 | 151.7333 | 5.9933 | 172.8667 | 10.9167 | 882.4667 | 59.1667 | 16.6153
2019-02-05 15:30:00 | 4.896 | 150.756 | 5.638 | 165.66 | 5.868 | 158.22 | 5.87 | 175.06 | 10.866 | 882 | 57.998 | 17.1767
2019-02-05 15:45:00 | 5.3833 | 148.58 | 6.1967 | 163.2667 | 6.4167 | 156 | 6.1933 | 189.2333 | 10.84 | 882 | 56.3967 | 15.0333
2019-02-05 16:00:00 | 4.655 | 140.37 | 5.36 | 154.25 | 5.56 | 170.05 | 5.285 | 182.4 | 10.88 | 882 | 56.63 | 10.798
2019-02-05 16:15:00 | 4.02 | 111.9933 | 4.6233 | 123.0667 | 4.9333 | 149.8333 | 4.8933 | 170.7333 | 10.3567 | 881.4667 | 57.37 | 7.838
2019-02-05 16:30:00 | 3.8067 | 126.0733 | 4.3833 | 138.5333 | 4.6333 | 140.7 | 4.5933 | 166.6 | 10.4233 | 881 | 56.7407 | 7.042
2019-02-05 16:45:00 | 3.86 | 134.93 | 4.44 | 148.2667 | 4.5867 | 149.9333 | 4.52 | 178.5 | 10.75 | 881 | 55.53 | 7.4827
2019-02-05 17:00:00 | 3.2333 | 156.6433 | 3.72 | 172.1333 | 3.7933 | 184.6667 | 3.84 | 184.7667 | 10.49 | 881 | 56.168 | 8.6273
2019-02-05 17:15:00 | 2.98 | 159.6233 | 3.43 | 175.4 | 3.6933 | 156.6 | 4.18 | 199.4 | 10.48 | 881 | 56.7267 | 8.7467
2019-02-05 17:30:00 | 3.3533 | 160.65 | 3.8633 | 176.5333 | 3.9733 | 163.8 | 4.3667 | 199.5333 | 10.3133 | 881 | 57.44 | 6.66
2019-02-05 17:45:00 | 3.0827 | 155.756 | 3.548 | 171.16 | 3.8253 | 174.8933 | 3.9213 | 195.8733 | 10.0173 | 881 | 59.2467 | 7.5507
2019-02-05 18:00:00 | 2.3667 | 157.1567 | 2.7233 | 172.7 | 3.0367 | 158.3333 | 3.32 | 185.1333 | 9.7833 | 881 | 60.4667 | 4.9867
2019-02-05 18:15:00 | 2.0133 | 170.32 | 2.3167 | 187.1667 | 2.5133 | 176.3333 | 2.7767 | 184.28 | 9.59 | 880.4667 | 62.03 | 4.896
2019-02-05 18:30:00 | 2.1467 | 158.1267 | 2.4767 | 173.7667 | 2.6267 | 179.8667 | 2.9367 | 194.5 | 9.3367 | 880 | 63.63 | 5.8527
2019-02-05 18:45:00 | 2.4467 | 171.9967 | 2.81 | 189 | 3.26 | 200.9333 | 3.5667 | 201.5667 | 9.18 | 880 | 64.5067 | 4.428
2019-02-05 19:00:00 | 2.4387 | 162.1553 | 2.802 | 178.1867 | 3.1107 | 192.8667 | 3.3333 | 198.2733 | 9.1267 | 880 | 65.3133 | 3.54
2019-02-05 19:15:00 | 2.32 | 153.24 | 2.6667 | 168.4 | 2.9533 | 199.1667 | 3.3233 | 198.4333 | 8.8967 | 880 | 66.5667 | 2.9747
2019-02-05 19:30:00 | 1.9467 | 149.9667 | 2.24 | 164.8 | 2.56 | 182.7 | 2.8967 | 182.9 | 8.7567 | 880 | 67.1 | 1.5213
2019-02-05 19:45:00 | 2.41 | 160.95 | 2.7733 | 176.8667 | 3.11 | 174.7333 | 3.3867 | 179.5333 | 8.48 | 880 | 68.45 | 1.124
2019-02-05 20:00:00 | 2.3487 | 156.21 | 2.7067 | 171.6533 | 3.07 | 175.12 | 3.4173 | 180.6 | 8.3973 | 880 | 68.8393 | 1.2747
2019-02-05 20:15:00 | 2.2467 | 150.6 | 2.5833 | 165.5 | 2.8967 | 175.5667 | 3.41 | 194.3667 | 8.22 | 880 | 69.5 | 1.792
2019-02-05 20:30:00 | 2.1933 | 142.6193 | 2.5233 | 156.7267 | 2.8233 | 179.5667 | 3.0767 | 188.0333 | 8.238 | 880 | 69.44 | 1.214
2019-02-05 20:45:00 | 1.8633 | 181.9467 | 2.1533 | 199.9333 | 2.5367 | 189.0667 | 2.7467 | 188.4333 | 8.25 | 880 | 69.4027 | 0.98333
2019-02-05 21:00:00 | 1.412 | 179.362 | 1.626 | 197.1 | 2.106 | 199.84 | 2.304 | 195.08 | 8.26 | 880 | 69.4973 | 0.812
2019-02-05 21:15:00 | 1.37 | 167.66 | 1.58 | 184.2333 | 2.2467 | 219.3667 | 2.39 | 210.1 | 8.16 | 879.4667 | 70.2433 | 0.33667
2019-02-05 21:30:00 | 1.19 | 176.5067 | 1.38 | 193.9667 | 2.12 | 210.5 | 2.15 | 204.4333 | 8.142 | 879 | 70.352 | 0.22467
2019-02-05 21:45:00 | 0.56333 | 194.1667 | 0.65333 | 213.3667 | 1.0667 | 194.7667 | 1.2067 | 190.3667 | 8.1553 | 879 | 70.3387 | 0
2019-02-05 22:00:00 | 0.28333 | 197.184 | 0.32667 | 216.68 | 0.55333 | 212.5667 | 0.44667 | 224.3 | 8.1847 | 879 | 70.258 | 0
2019-02-05 22:15:00 | 0.44 | 182.62 | 0.51 | 200.6667 | 0.8 | 204.1333 | 0.94667 | 208.1 | 8.162 | 879 | 70.4207 | 0
2019-02-05 22:30:00 | 0.18667 | 180.92 | 0.22333 | 198.8 | 0.34667 | 203.82 | 0.70667 | 208.12 | 8.078 | 879 | 70.9333 | 0
2019-02-05 22:45:00 | 0.376 | 215.5347 | 0.43933 | 236.8467 | 0.74467 | 229.6667 | 0.31933 | 252.4867 | 8.126 | 879 | 70.8427 | 0
2019-02-05 23:00:00 | 0.45333 | 205.4173 | 0.53 | 225.7267 | 0.86333 | 213.98 | 0.39667 | 241.0333 | 8.13 | 879 | 70.9173 | 0
2019-02-05 23:15:00 | 0.23333 | 204.6033 | 0.28333 | 224.8333 | 0.46 | 211.1 | 0.60667 | 231.8467 | 8.06 | 879 | 71.3333 | 0
2019-02-05 23:30:00 | 0.04 | 218.31 | 0.052 | 239.9 | 0.08 | 205.5 | 0.436 | 231.8 | 7.804 | 879 | 72.394 | 0
2019-02-05 23:45:00 | 0.36667 | 286.6267 | 0.42667 | 314.9667 | 0.62 | 324.8333 | 0.19667 | 183.7 | 7.42 | 879 | 73.8433 | 0