## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-06 00:00:00 | 1.3 | 105.4733 | 1.5 | 115.9 | 1.96 | 120.5533 | 1.5633 | 87.52 | 7.1867 | 878.1333 | 74.6567 | 0
2019-02-06 00:15:00 | 2.35 | 318.6533 | 2.7 | 350.1667 | 3.2367 | 13.7533 | 2.74 | 10.59 | 6.79 | 878 | 75.72 | 0
2019-02-06 00:30:00 | 2.9967 | 320.1667 | 3.4467 | 351.8333 | 3.89 | 10.3867 | 3.7467 | 12.7767 | 6.75 | 878 | 74.9933 | 0.224
2019-02-06 00:45:00 | 2.6827 | 265.6667 | 3.0913 | 291.9333 | 3.8827 | 11.262 | 4.3573 | 35.9667 | 6.488 | 878 | 75.7613 | 2.2527
2019-02-06 01:00:00 | 2.3667 | 270.64 | 2.7233 | 297.4 | 4.2667 | 17.21 | 4.7667 | 44.7133 | 6.2133 | 877.8 | 76.372 | 4.4153
2019-02-06 01:15:00 | 2.3633 | 313.152 | 2.722 | 344.1133 | 4.114 | 20.352 | 4.4673 | 25.2287 | 6.1307 | 877 | 76.92 | 5.4247
2019-02-06 01:30:00 | 2.1133 | 108.6467 | 2.4333 | 119.3867 | 3.4633 | 246.2633 | 3.8867 | 14.9667 | 6.16 | 877 | 76.89 | 5.142
2019-02-06 01:45:00 | 2.4667 | 203.3767 | 2.8367 | 223.4833 | 3.77 | 119.8933 | 3.9533 | 22.8633 | 6.1133 | 877 | 76.9907 | 5.2287
2019-02-06 02:00:00 | 2.4667 | 207.87 | 2.8433 | 228.4167 | 4.5367 | 353.6333 | 4.64 | 2.69 | 6.0667 | 877 | 77.4807 | 7.4667
2019-02-06 02:15:00 | 2.87 | 105.61 | 3.3033 | 116.0533 | 5.2133 | 238.5967 | 5.39 | 9.3333 | 5.9333 | 876.4667 | 77.65 | 12.5833
2019-02-06 02:30:00 | 3.1967 | 288.23 | 3.6767 | 316.7333 | 6.02 | 2.7367 | 6.2767 | 11.2133 | 5.6067 | 876 | 79.1833 | 24.31
2019-02-06 02:45:00 | 3.7773 | 41.538 | 4.35 | 45.644 | 7.102 | 26.352 | 7.3187 | 8.2947 | 5.246 | 876 | 80.2773 | 30.5233
2019-02-06 03:00:00 | 4.54 | 0.19667 | 5.23 | 0.21333 | 7.0433 | 35.0133 | 7.282 | 19.92 | 5.3233 | 876 | 79.4667 | 32.2727
2019-02-06 03:15:00 | 4.5733 | 127.0967 | 5.2667 | 139.66 | 7.5633 | 12.68 | 8.1567 | 12.83 | 5.1967 | 876 | 80.32 | 40.3053
2019-02-06 03:30:00 | 4.6467 | 116.9967 | 5.3467 | 128.5667 | 8.4233 | 13.7667 | 9.0633 | 24.21 | 4.6167 | 876 | 83.4333 | 47.6247
2019-02-06 03:45:00 | 5.0767 | 103.1333 | 5.84 | 113.3333 | 9.3633 | 9.7767 | 9.79 | 18.0267 | 4.4167 | 876 | 84.7333 | 49.644
2019-02-06 04:00:00 | 5.5633 | 298 | 6.4067 | 327.4667 | 9.57 | 2.6433 | 9.7633 | 6.6133 | 4.6567 | 876 | 84.4 | 51.0653
2019-02-06 04:15:00 | 5.5367 | 321.99 | 6.3667 | 353.8333 | 10.16 | 12.39 | 10.8233 | 18.69 | 4.87 | 876 | 83.4667 | 51.6347
2019-02-06 04:30:00 | 5.3233 | 139.41 | 6.1333 | 153.1867 | 10.1733 | 10.65 | 10.9033 | 25.31 | 4.7233 | 875.8 | 83.8667 | 52.0487
2019-02-06 04:45:00 | 5.88 | 293.09 | 6.7733 | 322.0667 | 10.99 | 13.2267 | 11.0467 | 19.8267 | 4.7113 | 875 | 83.4333 | 54.432
2019-02-06 05:00:00 | 5.98 | 122.5833 | 6.88 | 134.7067 | 10.8767 | 13.0667 | 10.92 | 17.82 | 4.8867 | 875 | 82.2333 | 56.4233
2019-02-06 05:15:00 | 6.0953 | 197.3593 | 7.016 | 216.8773 | 11.1247 | 11.5987 | 11.3767 | 22.0467 | 4.944 | 875 | 81.6467 | 55.3153
2019-02-06 05:30:00 | 6.2733 | 38.9767 | 7.2167 | 42.8333 | 11.4167 | 7.74 | 11.49 | 21.3833 | 4.89 | 875 | 81.22 | 56.544
2019-02-06 05:45:00 | 6.9733 | 42.4033 | 8.02 | 46.5933 | 12.3733 | 11.4033 | 12.4067 | 23.5767 | 4.93 | 874.4667 | 80.7 | 56.8507
2019-02-06 06:00:00 | 7.04 | 124.87 | 8.1 | 137.22 | 12.9933 | 11.57 | 13.3067 | 23.25 | 4.95 | 874.2 | 80.4133 | 58.462
2019-02-06 06:15:00 | 7.9333 | 26.5467 | 9.1233 | 29.1633 | 13.95 | 19.1 | 14.0733 | 19.6167 | 5.2933 | 875 | 78.3533 | 59.6267
2019-02-06 06:30:00 | 7.54 | 29.0467 | 8.6767 | 31.9233 | 13.93 | 16.1467 | 14.0867 | 19.47 | 5.28 | 875 | 78.1933 | 58.6787
2019-02-06 06:45:00 | 6.74 | 107.75 | 7.76 | 118.4067 | 12.61 | 14.0733 | 12.6733 | 20.6067 | 4.88 | 875.5333 | 80.2333 | 57.428
2019-02-06 07:00:00 | 6.1067 | 197.6567 | 7.0267 | 217.2 | 11.7233 | 15.2733 | 12.04 | 25.5 | 4.6133 | 876 | 81.6667 | 56.6653
2019-02-06 07:15:00 | 6.3467 | 135.2233 | 7.2967 | 148.5867 | 11.54 | 13.8067 | 11.8333 | 19.95 | 4.8267 | 876 | 80.5067 | 57.116
2019-02-06 07:30:00 | 6.92 | 112.1967 | 7.9567 | 123.28 | 11.92 | 11.9733 | 11.94 | 8.1967 | 5.1467 | 876 | 78.72 | 57.086
2019-02-06 07:45:00 | 7.0667 | 26.6233 | 8.1333 | 29.25 | 12.1367 | 11.1833 | 12.5367 | 19.6633 | 5.5267 | 876 | 76.57 | 58.4207
2019-02-06 08:00:00 | 6.68 | 69.8233 | 7.682 | 76.7233 | 12.33 | 5.9367 | 12.8767 | 19.31 | 5.4867 | 876.2 | 76.49 | 58.29
2019-02-06 08:15:00 | 5.9333 | 206.3933 | 6.8267 | 226.8033 | 11.4133 | 17.37 | 12.1133 | 21.79 | 5.31 | 877 | 77.18 | 57.4427
2019-02-06 08:30:00 | 5.4533 | 219.0733 | 6.28 | 240.7367 | 10.4067 | 15.3433 | 10.6667 | 22.7767 | 5.29 | 877 | 77.3267 | 55.686
2019-02-06 08:45:00 | 5.7633 | 201.42 | 6.63 | 221.3333 | 10.4167 | 10.9133 | 10.5033 | 22.8733 | 5.9233 | 877 | 75.1033 | 55.4187
2019-02-06 09:00:00 | 5.8167 | 38.04 | 6.6967 | 41.7933 | 9.9833 | 243.8333 | 9.8767 | 11.5133 | 6.89 | 877.2 | 71.1567 | 53.83
2019-02-06 09:15:00 | 5.79 | 282.01 | 6.66 | 309.9 | 9.61 | 8.88 | 9.52 | 19.99 | 7.42 | 878 | 68.96 | 54.785
2019-02-06 09:30:00 | 5.98 | 209.4033 | 6.8833 | 230.1133 | 10.68 | 15.4033 | 11.1633 | 21.6067 | 8.0233 | 878 | 67.1367 | 55.8193
2019-02-06 09:45:00 | 6.9367 | 289.44 | 7.98 | 318.0667 | 12.53 | 13.4133 | 12.4467 | 21.3367 | 9.0667 | 878.5333 | 63.1033 | 58.034
2019-02-06 10:00:00 | 7.4033 | 109.76 | 8.52 | 120.6133 | 13.4433 | 10.4267 | 13.9533 | 23.5367 | 9.84 | 879 | 60.51 | 58.4413
2019-02-06 10:15:00 | 6.91 | 271.43 | 7.9467 | 298.2667 | 12.5967 | 18.9767 | 12.78 | 20.88 | 10.5 | 879.5333 | 57.9767 | 57.8193
2019-02-06 10:30:00 | 6.9367 | 268.51 | 7.98 | 295.0667 | 12.0167 | 19.09 | 12.4867 | 15.496 | 10.72 | 880.2 | 57.07 | 58.4793
2019-02-06 10:45:00 | 7.2927 | 156.588 | 8.388 | 172.068 | 12.5087 | 19.3573 | 12.752 | 23.6313 | 10.6193 | 881 | 57.0487 | 58.8907
2019-02-06 11:00:00 | 7.34 | 127.9067 | 8.44 | 140.5533 | 12.8033 | 12.9333 | 12.9967 | 23.5833 | 11.1667 | 881 | 54.81 | 58.0313
2019-02-06 11:15:00 | 7.6567 | 103.4467 | 8.8067 | 113.6733 | 12.7133 | 18.0067 | 12.65 | 23.99 | 11.33 | 881 | 52.9967 | 56.5207
2019-02-06 11:30:00 | 8.19 | 107.0867 | 9.42 | 117.6733 | 13.8467 | 19.0267 | 13.97 | 24.7167 | 11.7033 | 881 | 51.0833 | 56.7887
2019-02-06 11:45:00 | 8.6633 | 215.59 | 9.96 | 236.9 | 14.36 | 26.4833 | 14.17 | 33.1467 | 11.9867 | 881 | 48.4233 | 57.356
2019-02-06 12:00:00 | 8.85 | 300.33 | 10.1867 | 330.0333 | 14.8707 | 14.7033 | 14.8233 | 6.82 | 12.3133 | 880.8 | 46.4567 | 57.2893
2019-02-06 12:15:00 | 8.8267 | 31.2767 | 10.1633 | 34.3567 | 14.4533 | 21.9467 | 14.65 | 20.36 | 12.72 | 880.5333 | 43.89 | 58.154
2019-02-06 12:30:00 | 10.184 | 41.262 | 11.724 | 45.334 | 17.15 | 14.866 | 16.902 | 19.826 | 12.832 | 880.1333 | 42.476 | 59.6953
2019-02-06 12:45:00 | 10.5867 | 203.3867 | 12.1833 | 223.4967 | 18.0933 | 16.5733 | 17.6733 | 26.0333 | 13.3333 | 880 | 40.8233 | 61.1453
2019-02-06 13:00:00 | 10.76 | 21.4 | 12.3767 | 23.51 | 18.4667 | 11.94 | 17.82 | 26.7667 | 13.68 | 880 | 39.45 | 60.7027
2019-02-06 13:15:00 | 10.2213 | 291.588 | 11.754 | 320.4267 | 17.692 | 15.3033 | 17.6673 | 19.332 | 14.1027 | 880 | 38.3633 | 58.7733
2019-02-06 13:30:00 | 10.2667 | 117.6367 | 11.81 | 129.2667 | 17.8233 | 17.2433 | 17.41 | 20.55 | 14.5767 | 880 | 37.2933 | 57.634
2019-02-06 13:45:00 | 10.3067 | 149.29 | 11.86 | 164.04 | 17.9233 | 124.7067 | 17.63 | 24.1833 | 15.1333 | 880 | 35.8667 | 57.638
2019-02-06 14:00:00 | 9.8933 | 319.4767 | 11.38 | 351.0667 | 17.1433 | 128.2867 | 17.0367 | 24.8433 | 15.3267 | 880 | 34.6533 | 56.58
2019-02-06 14:15:00 | 9.2867 | 289.5033 | 10.6867 | 318.1333 | 16.1433 | 11.12 | 15.5767 | 22.9267 | 15.7733 | 880 | 33.0567 | 54.4927
2019-02-06 14:30:00 | 8.5667 | 298.6033 | 9.86 | 328.1333 | 14.3567 | 29.4267 | 14.594 | 32.8533 | 15.7267 | 880.8667 | 32.478 | 54.9173
2019-02-06 14:45:00 | 8.4833 | 113.6833 | 9.7533 | 124.92 | 14.214 | 26.9967 | 14.1667 | 33.5067 | 14.5367 | 880.4667 | 33.55 | 55.2867
2019-02-06 15:00:00 | 7.9233 | 144.2633 | 9.1133 | 158.5333 | 13.2567 | 19.19 | 13.02 | 29.1133 | 14.37 | 880 | 33.5967 | 51.828
2019-02-06 15:15:00 | 6.2633 | 153.8867 | 7.2033 | 169.1 | 10.7033 | 24.2667 | 10.3833 | 33.0667 | 14.6 | 880 | 32.9867 | 47.97
2019-02-06 15:30:00 | 5.73 | 285.5267 | 6.5967 | 313.7667 | 9.57 | 7.8067 | 9.5767 | 27.8667 | 14.0933 | 880 | 33.6 | 44.3027
2019-02-06 15:45:00 | 5.5133 | 28.7833 | 6.3433 | 31.63 | 9.04 | 51.6733 | 8.4167 | 38.0733 | 15.19 | 880 | 31.74 | 39.7667
2019-02-06 16:00:00 | 5.7 | 209.9233 | 6.5567 | 230.6767 | 9.3133 | 28.4733 | 9.29 | 36.9533 | 16.27 | 880.2 | 29.7133 | 40.2953
2019-02-06 16:15:00 | 4.9933 | 258.1767 | 5.7567 | 283.7 | 8.7867 | 17.6033 | 8.73 | 22.7533 | 15.8767 | 881 | 30.3767 | 39.6747
2019-02-06 16:30:00 | 5.78 | 101.6767 | 6.65 | 111.7333 | 10.1467 | 19.71 | 9.9033 | 25.1333 | 14.5967 | 881 | 32.37 | 44.2547
2019-02-06 16:45:00 | 5.8667 | 218.4867 | 6.7567 | 240.0933 | 10.0733 | 25.8267 | 9.98 | 26.5967 | 13.86 | 880.4667 | 32.9447 | 41.1167
2019-02-06 17:00:00 | 5.4267 | 43.4533 | 6.232 | 47.74 | 9.38 | 18.78 | 9.2467 | 23.3233 | 14.12 | 880 | 32.25 | 37.8653
2019-02-06 17:15:00 | 4.8667 | 110.2733 | 5.6067 | 121.18 | 8.5967 | 23.9233 | 8.4467 | 31.47 | 13.8233 | 880.5333 | 32.1967 | 38.8813
2019-02-06 17:30:00 | 4.8267 | 99.1267 | 5.5467 | 108.9333 | 8.77 | 33.3033 | 8.82 | 27.97 | 13.55 | 880.3333 | 32.7767 | 36.6473
2019-02-06 17:45:00 | 4.9367 | 217.4367 | 5.6767 | 238.94 | 8.8667 | 21.6 | 8.8 | 31.19 | 13.11 | 881 | 33.8767 | 27.7773
2019-02-06 18:00:00 | 4.3767 | 204.33 | 5.0433 | 224.54 | 8.1133 | 16.4933 | 8.0933 | 40.8767 | 12.8567 | 881 | 34.8567 | 24.128
2019-02-06 18:15:00 | 4.34 | 201.97 | 4.9867 | 221.9333 | 7.8833 | 20.5933 | 7.6733 | 35.91 | 12.5133 | 881 | 35.8667 | 14.0367
2019-02-06 18:30:00 | 3.48 | 119.45 | 4 | 131.2533 | 6.53 | 23.28 | 6.02 | 34.7767 | 12.2933 | 881 | 36.6667 | 8.1913
2019-02-06 18:45:00 | 2.6133 | 208 | 3.0067 | 228.5667 | 4.9967 | 41.2567 | 5.3567 | 27.0067 | 11.93 | 881 | 37.98 | 3.8793
2019-02-06 19:00:00 | 2.0267 | 268.7267 | 2.3333 | 295.3 | 3.8433 | 229.9767 | 4.2233 | 246.6467 | 11.9413 | 881 | 37.828 | 5.264
2019-02-06 19:15:00 | 2.6267 | 236.8467 | 3.0267 | 260.27 | 4.86 | 1.95 | 4.5267 | 10.8667 | 11.7267 | 881.5333 | 38.5933 | 13.274
2019-02-06 19:30:00 | 2.9067 | 26.4467 | 3.3467 | 29.0567 | 5.24 | 8.69 | 5.0067 | 10.8333 | 11.7 | 882 | 38.8 | 19.332
2019-02-06 19:45:00 | 3.0867 | 137.84 | 3.5533 | 151.4733 | 5.8233 | 31.1267 | 5.19 | 45.1233 | 11.4633 | 882 | 39.9767 | 23.3113
2019-02-06 20:00:00 | 3.4867 | 319.5933 | 4.0133 | 351.2 | 6.69 | 30.5733 | 6.05 | 45.7433 | 11.2567 | 882 | 40.8033 | 34.9893
2019-02-06 20:15:00 | 3.6867 | 90.9433 | 4.24 | 99.9333 | 6.8633 | 41.16 | 5.7833 | 45.2533 | 11.2533 | 882 | 40.9633 | 23.0973
2019-02-06 20:30:00 | 3.62 | 156.65 | 4.16 | 172.1333 | 6.7033 | 27.7733 | 6.7567 | 25.4333 | 11.5067 | 882 | 39.948 | 19.5133
2019-02-06 20:45:00 | 4.3233 | 205.8033 | 4.9733 | 226.1533 | 7.7567 | 238.16 | 7.6367 | 6.8967 | 11.24 | 882.5333 | 41.1333 | 31.7507
2019-02-06 21:00:00 | 4.3633 | 172.9233 | 5.0267 | 190.02 | 8.2767 | 13.62 | 8.31 | 22.9567 | 11.1627 | 883 | 42.2333 | 38.9707
2019-02-06 21:15:00 | 4.9767 | 33.4727 | 5.724 | 36.7713 | 9.2507 | 11.1353 | 9.4833 | 23.218 | 10.882 | 883 | 43.9527 | 45.0273
2019-02-06 21:30:00 | 4.3667 | 198.14 | 5.02 | 217.73 | 8.18 | 28.95 | 8.5833 | 22.3067 | 10.63 | 883 | 45.0133 | 35.498
2019-02-06 21:45:00 | 3.9733 | 269.8433 | 4.5733 | 296.5333 | 7.5333 | 29.74 | 8.2067 | 36.4867 | 10.46 | 883 | 45.3133 | 27.3373
2019-02-06 22:00:00 | 3.6333 | 295.1433 | 4.18 | 324.3333 | 7.02 | 21.8133 | 7.56 | 26.2 | 10.6067 | 883 | 44.7 | 27.58
2019-02-06 22:15:00 | 4.4267 | 221.4633 | 5.0967 | 243.3667 | 8.04 | 10.9133 | 8.2033 | 23.6167 | 10.7733 | 883.5333 | 43.8133 | 33.9327
2019-02-06 22:30:00 | 5.512 | 282.8393 | 6.3407 | 310.8 | 9.6587 | 14.8813 | 9.3993 | 20.2927 | 10.784 | 884 | 43.654 | 44.32
2019-02-06 22:45:00 | 6.2033 | 276.1933 | 7.1433 | 303.5 | 10.7867 | 16.69 | 10.7033 | 20.7933 | 10.6593 | 884.5333 | 44.4367 | 47.4973
2019-02-06 23:00:00 | 5.6833 | 289.3533 | 6.5367 | 317.9667 | 10.6333 | 14.81 | 10.8233 | 24.6 | 10.35 | 884.3333 | 45.9567 | 46.8227
2019-02-06 23:15:00 | 5.632 | 95.8633 | 6.4867 | 105.34 | 10.6653 | 9.1933 | 10.6367 | 30.51 | 10.13 | 885 | 46.9067 | 49.2
2019-02-06 23:30:00 | 5.8833 | 234.4167 | 6.7733 | 257.6 | 10.9567 | 11.22 | 11.3233 | 24.7233 | 10.15 | 885.2 | 46.7067 | 49.9473
2019-02-06 23:45:00 | 5.9667 | 75.87 | 6.8733 | 83.3733 | 11.23 | 25.65 | 11.63 | 32.8667 | 10.0233 | 885.4667 | 47.35 | 53.3707