## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-07 00:00:00 | 6.54 | 151.0967 | 7.5333 | 166.04 | 11.8833 | 25.63 | 12.7233 | 36.0467 | 9.77 | 885 | 48.6033 | 57.0747
2019-02-07 00:15:00 | 7.7333 | 140.76 | 8.9033 | 154.6733 | 13.6833 | 20.5333 | 14.79 | 34.92 | 9.86 | 885 | 49.74 | 55.6467
2019-02-07 00:30:00 | 7.4733 | 292.9267 | 8.5967 | 321.9 | 13.3833 | 20.6467 | 14.3767 | 26.02 | 9.8953 | 885 | 50.9867 | 55.9733
2019-02-07 00:45:00 | 7.5867 | 314.86 | 8.7333 | 346 | 13.57 | 26.79 | 14.4567 | 32.2367 | 9.7767 | 885 | 52.64 | 55.804
2019-02-07 01:00:00 | 7.8533 | 299.3933 | 9.04 | 329 | 14.2033 | 14.0367 | 14.3367 | 16.3233 | 9.59 | 885 | 53.4933 | 55.948
2019-02-07 01:15:00 | 8.06 | 110.0767 | 9.2733 | 120.9533 | 14.516 | 6.7033 | 15.3867 | 30.0133 | 9.5447 | 885 | 54.4933 | 53.5153
2019-02-07 01:30:00 | 7.5667 | 188.55 | 8.7133 | 207.2 | 13.5333 | 7.2367 | 14.3933 | 24.02 | 9.522 | 885 | 54.8467 | 50.8847
2019-02-07 01:45:00 | 7.2133 | 249.9467 | 8.3 | 274.6667 | 13.0567 | 12.8767 | 13.6033 | 25.0567 | 9.4567 | 885 | 54.6767 | 50.5787
2019-02-07 02:00:00 | 6.8667 | 280.22 | 7.9067 | 307.9333 | 12.3167 | 12.3567 | 13.0367 | 28.19 | 9.43 | 885 | 54.3833 | 52.7513
2019-02-07 02:15:00 | 6.71 | 225.47 | 7.7267 | 247.7667 | 12 | 7.3 | 12.2133 | 29.44 | 9.3233 | 884.4667 | 54.68 | 50.4753
2019-02-07 02:30:00 | 6.7633 | 163.53 | 7.78 | 179.7 | 11.9733 | 12.4067 | 12.1333 | 23.0067 | 9.2633 | 884.2 | 54.6647 | 47.416
2019-02-07 02:45:00 | 6.1107 | 91.7013 | 7.03 | 100.772 | 10.814 | 15.654 | 11.1527 | 20.388 | 9.044 | 885 | 55.508 | 47.5087
2019-02-07 03:00:00 | 5.5667 | 166.0133 | 6.4033 | 182.4333 | 10.0567 | 16.35 | 10.61 | 20.9533 | 8.7667 | 884.8 | 56.5267 | 49.1507
2019-02-07 03:15:00 | 5.3333 | 228.4467 | 6.1433 | 251.0333 | 9.8567 | 18.4033 | 10.6067 | 23.8833 | 8.52 | 884 | 56.8433 | 50.0753
2019-02-07 03:30:00 | 5.5333 | 296.94 | 6.3633 | 326.3 | 10.31 | 9.1033 | 10.7533 | 17.4967 | 8.32 | 884 | 56.9833 | 48.5533
2019-02-07 03:45:00 | 5.2533 | 190.4367 | 6.0533 | 209.2667 | 9.98 | 14.22 | 10.4333 | 25.76 | 8.47 | 884 | 55.9067 | 48.092
2019-02-07 04:00:00 | 5.2733 | 195.65 | 6.0667 | 215 | 9.8513 | 15.0467 | 10.4333 | 26.1933 | 8.55 | 884 | 55.2 | 48.2007
2019-02-07 04:15:00 | 5.58 | 150.13 | 6.4267 | 164.9667 | 10.1433 | 8.77 | 10.6333 | 21.9233 | 8.62 | 884 | 54.2733 | 44.7447
2019-02-07 04:30:00 | 5.0133 | 185.9167 | 5.7667 | 204.3 | 9.4567 | 18.6433 | 10.08 | 25.1167 | 8.64 | 884 | 54.0267 | 37.9467
2019-02-07 04:45:00 | 5.1067 | 261.5067 | 5.8867 | 287.3667 | 9.1833 | 15.2167 | 9.44 | 23.4867 | 8.61 | 884 | 53.8013 | 39.3167
2019-02-07 05:00:00 | 5.5267 | 61.4267 | 6.36 | 67.4933 | 9.57 | 13.25 | 9.6067 | 21.8 | 8.73 | 884 | 52.4033 | 42.35
2019-02-07 05:15:00 | 5.4733 | 197.9467 | 6.2933 | 217.5267 | 9.8867 | 16.1267 | 10.1667 | 19.6367 | 8.8167 | 884 | 50.9167 | 41.8287
2019-02-07 05:30:00 | 4.74 | 225.5533 | 5.4533 | 247.86 | 8.76 | 15.3533 | 9.5067 | 31.7967 | 8.75 | 884 | 50.99 | 38.4027
2019-02-07 05:45:00 | 4.86 | 197.5 | 5.59 | 217.0333 | 8.71 | 13.8 | 8.91 | 19.78 | 8.74 | 884 | 50.3 | 36.64
2019-02-07 06:00:00 | 4.3467 | 171.9667 | 4.9967 | 188.9667 | 8.09 | 21.8733 | 8.3433 | 27.9067 | 8.68 | 884 | 50.3467 | 32.7473
2019-02-07 06:15:00 | 4.02 | 222.84 | 4.6333 | 244.8767 | 7.6467 | 12.5967 | 7.8967 | 29.2433 | 8.5267 | 884 | 51.0133 | 30.7947
2019-02-07 06:30:00 | 3.9 | 221.26 | 4.4867 | 243.1433 | 6.9267 | 16.3233 | 7.1167 | 23.83 | 8.52 | 884 | 50.8333 | 30.9727
2019-02-07 06:45:00 | 4.388 | 156.1487 | 5.0487 | 171.58 | 7.462 | 6.0833 | 7.766 | 24.0753 | 8.5513 | 884 | 50.5927 | 30.098
2019-02-07 07:00:00 | 4.2467 | 296.7033 | 4.89 | 326.0333 | 7.3833 | 24.6833 | 7.4633 | 22.2567 | 8.5433 | 884 | 50.4633 | 28.374
2019-02-07 07:15:00 | 4.14 | 110.9733 | 4.7667 | 121.9467 | 7.1233 | 13.9233 | 7.3133 | 14.2033 | 8.5033 | 884 | 50.91 | 28.1207
2019-02-07 07:30:00 | 4.4067 | 307.16 | 5.0733 | 337.5333 | 7.5367 | 9.6967 | 7.28 | 11.07 | 8.4033 | 884 | 51.448 | 26.0633
2019-02-07 07:45:00 | 4.3 | 323.4467 | 4.9433 | 355.4333 | 7.2067 | 8.4467 | 7.3353 | 12.96 | 8.29 | 884 | 52.2367 | 24.3853
2019-02-07 08:00:00 | 4.0267 | 107.1533 | 4.63 | 117.74 | 6.8667 | 6.6133 | 6.92 | 12.9733 | 8.1633 | 884 | 53.3233 | 23.5907
2019-02-07 08:15:00 | 3.9007 | 196.698 | 4.486 | 216.1507 | 6.5647 | 16.998 | 6.6213 | 15.684 | 8.082 | 884 | 54.178 | 21.284
2019-02-07 08:30:00 | 4.0333 | 171.38 | 4.6433 | 188.32 | 6.5967 | 14.67 | 6.54 | 8.48 | 8.0533 | 884 | 54.47 | 17.7753
2019-02-07 08:45:00 | 3.73 | 105.56 | 4.29 | 116 | 6.34 | 356.1 | 6.17 | 126.5133 | 8.09 | 884 | 54.3993 | 13.438
2019-02-07 09:00:00 | 3.3167 | 322.02 | 3.8233 | 353.8667 | 6.16 | 120.8 | 5.8833 | 123.6267 | 8.0793 | 884 | 54.496 | 10.4733
2019-02-07 09:15:00 | 3.0633 | 200.9767 | 3.5233 | 220.8533 | 5.5867 | 1.24 | 5.5867 | 4.28 | 8.102 | 884 | 53.8833 | 8.8933
2019-02-07 09:30:00 | 3.11 | 186.1167 | 3.5767 | 204.52 | 5.7467 | 236.1733 | 5.4067 | 61.46 | 8.1467 | 884 | 53.7167 | 9.892
2019-02-07 09:45:00 | 3.1733 | 305.5267 | 3.65 | 335.7333 | 5.63 | 225.1333 | 5.1733 | 5.09 | 8.17 | 884.5333 | 54.1433 | 8.544
2019-02-07 10:00:00 | 2.7133 | 112.48 | 3.13 | 123.6067 | 4.7033 | 238 | 4.8067 | 10.2967 | 8.1987 | 885 | 54.236 | 5.6713
2019-02-07 10:15:00 | 2.6133 | 106.6567 | 3.0033 | 117.1933 | 4.3 | 120.0867 | 4.5533 | 16.51 | 8.2533 | 885 | 54.1907 | 2.0007
2019-02-07 10:30:00 | 2.3667 | 118.1567 | 2.7233 | 129.8333 | 3.6533 | 356.2667 | 3.6133 | 13.3767 | 8.3267 | 885 | 54 | 0.41867
2019-02-07 10:45:00 | 1.9733 | 207.8167 | 2.28 | 228.37 | 3.1367 | 11.0133 | 3.1567 | 13.5333 | 8.5233 | 885 | 54.2967 | 0
2019-02-07 11:00:00 | 2.0533 | 201.45 | 2.36 | 221.37 | 2.9833 | 10.9 | 2.87 | 10.6333 | 8.7767 | 885 | 52.6433 | 0
2019-02-07 11:15:00 | 1.7333 | 216.4633 | 2.0033 | 237.8667 | 2.2567 | 121.3733 | 2.19 | 59.5533 | 9.1433 | 885 | 50.4467 | 0
2019-02-07 11:30:00 | 1.48 | 18.3633 | 1.7167 | 20.18 | 1.87 | 123.64 | 1.5033 | 13.5667 | 9.4033 | 885.8667 | 49.9067 | 0
2019-02-07 11:45:00 | 1.4133 | 312.07 | 1.63 | 342.9333 | 1.5933 | 339.7333 | 1.0933 | 343.6 | 9.648 | 886 | 49.43 | 0
2019-02-07 12:00:00 | 1.34 | 108.3233 | 1.55 | 119.0333 | 1.7067 | 127.06 | 1.38 | 332 | 9.9833 | 886 | 49.5033 | 0
2019-02-07 12:15:00 | 0.79333 | 16.6467 | 0.92333 | 18.2833 | 1.1633 | 28.2033 | 0.63 | 350.3 | 10.46 | 886 | 48.5767 | 0
2019-02-07 12:30:00 | 0.69333 | 111.0867 | 0.79667 | 122.07 | 0.89667 | 118.3033 | 0.71667 | 222.5667 | 11.02 | 886 | 48.0233 | 0.33
2019-02-07 12:45:00 | 2.7667 | 172.2967 | 3.1867 | 189.3333 | 3.16 | 178.6 | 3.3333 | 173.9667 | 11.0467 | 886 | 47.212 | 1.9507
2019-02-07 13:00:00 | 3.58 | 154.15 | 4.1267 | 169.4 | 4.1133 | 167.5333 | 3.9733 | 183.3 | 11.082 | 885.1333 | 46.13 | 5.0467
2019-02-07 13:15:00 | 3.8933 | 139.2333 | 4.48 | 153 | 4.3833 | 177.5 | 4.3833 | 187.2667 | 10.9067 | 885 | 46.5933 | 7.166
2019-02-07 13:30:00 | 4.128 | 163.768 | 4.748 | 179.96 | 4.69 | 179.34 | 5.032 | 179.48 | 10.82 | 885 | 47.954 | 9.6213
2019-02-07 13:45:00 | 4.56 | 137.3567 | 5.24 | 150.9333 | 5.4167 | 151.9333 | 5.4667 | 162.5667 | 11.2667 | 885 | 48.562 | 12.5287
2019-02-07 14:00:00 | 4.558 | 139.6633 | 5.24 | 153.4667 | 5.1967 | 172.6 | 5.2867 | 175.5 | 11.46 | 884.8 | 48.3067 | 12.5713
2019-02-07 14:15:00 | 4.2307 | 156.6747 | 4.8653 | 172.1667 | 4.9953 | 187.18 | 4.8307 | 206.4067 | 11.0987 | 884 | 50.0027 | 10.77
2019-02-07 14:30:00 | 4.6467 | 136.7133 | 5.3467 | 150.2333 | 5.3167 | 169.3 | 5.16 | 196.4333 | 10.66 | 884 | 54.5533 | 12.8133
2019-02-07 14:45:00 | 4.5733 | 184.03 | 5.2667 | 202.2333 | 5.4033 | 173.1 | 5.7 | 189.3333 | 10.33 | 884 | 58.8333 | 14.058
2019-02-07 15:00:00 | 4.4067 | 165.47 | 5.08 | 181.8333 | 5.0967 | 150.3 | 5.5333 | 193.0667 | 10.05 | 883.1333 | 64.4133 | 8.3267
2019-02-07 15:15:00 | 3.5867 | 148.7033 | 4.1233 | 163.4 | 4.3333 | 161.5667 | 4.6767 | 193.1 | 10.25 | 883 | 65.2233 | 7.0887
2019-02-07 15:30:00 | 3.6933 | 163.7967 | 4.25 | 180 | 4.38 | 197.9 | 4.5967 | 187.2333 | 10.1273 | 883 | 66.45 | 8.0713
2019-02-07 15:45:00 | 4.42 | 171.058 | 5.0867 | 187.9733 | 5.01 | 189.4 | 5.43 | 185.5333 | 10.09 | 883 | 67.154 | 8.0333
2019-02-07 16:00:00 | 4.3867 | 168.5933 | 5.0533 | 185.2667 | 5.1967 | 164.0667 | 5.2167 | 171.4 | 10.2073 | 883 | 67.0967 | 7.5853
2019-02-07 16:15:00 | 4.09 | 149.19 | 4.7067 | 163.9333 | 4.94 | 151.4667 | 4.82 | 164.8667 | 10.51 | 882.4667 | 66.42 | 6.2713
2019-02-07 16:30:00 | 3.29 | 157.6833 | 3.7867 | 173.2667 | 3.96 | 176.4 | 3.9267 | 179.4667 | 10.3233 | 882.8667 | 67.2067 | 5.6547
2019-02-07 16:45:00 | 3.5067 | 163.4367 | 4.0333 | 179.6 | 4.1133 | 168.7333 | 4.1233 | 175.3667 | 10.2967 | 882.4667 | 67.7167 | 5.9093
2019-02-07 17:00:00 | 3.14 | 165.9233 | 3.6133 | 182.3333 | 3.58 | 192.1333 | 3.5433 | 175.2333 | 10.2767 | 882 | 68.0433 | 6.384
2019-02-07 17:15:00 | 3.4667 | 159.2633 | 3.9867 | 175 | 3.94 | 178.7333 | 4.4733 | 196.3 | 10.6 | 882 | 67.15 | 8.5033
2019-02-07 17:30:00 | 3.5667 | 165.1433 | 4.1 | 181.4667 | 4.0667 | 174.0667 | 4.1867 | 198.1667 | 10.3333 | 882 | 68.17 | 7.16
2019-02-07 17:45:00 | 3.5 | 142.1767 | 4.0267 | 156.2333 | 4.1133 | 187.4333 | 4.3467 | 208.5333 | 9.9633 | 882 | 69.3867 | 7.8913
2019-02-07 18:00:00 | 3.1267 | 152.49 | 3.6 | 167.5667 | 3.7133 | 169.9667 | 3.9533 | 199.6 | 9.7767 | 882 | 70.28 | 6.428
2019-02-07 18:15:00 | 3 | 142.9433 | 3.4533 | 157.0667 | 3.4833 | 194.4667 | 3.5133 | 203.4667 | 9.3433 | 882 | 72.19 | 6.6907
2019-02-07 18:30:00 | 3.06 | 165.0167 | 3.52 | 181.3333 | 3.69 | 204.62 | 3.8333 | 205 | 8.9233 | 882 | 73.87 | 3.9913
2019-02-07 18:45:00 | 2.6133 | 144.76 | 3.0067 | 159.0667 | 3.3633 | 170.0333 | 3.5433 | 183.3 | 8.45 | 882 | 75.7867 | 2.464
2019-02-07 19:00:00 | 2.4667 | 138.9333 | 2.8467 | 152.6667 | 3.2367 | 165.1 | 3.568 | 178.1 | 8.19 | 882.2 | 76.7467 | 1.454
2019-02-07 19:15:00 | 2.63 | 182.1833 | 3.0233 | 200.2 | 3.3333 | 169.9333 | 3.6867 | 183.5 | 8.1067 | 883 | 76.9627 | 1.342
2019-02-07 19:30:00 | 2.5967 | 159.0767 | 2.9833 | 174.8 | 3.2867 | 165.0667 | 4.0067 | 171.6333 | 8.0733 | 883 | 77.0567 | 0.91067
2019-02-07 19:45:00 | 1.64 | 144.15 | 1.8967 | 158.4 | 2.41 | 178.1333 | 2.6333 | 163.7 | 8.128 | 883 | 76.8687 | 1.114
2019-02-07 20:00:00 | 0.75333 | 179.2167 | 0.87 | 196.9333 | 1.1233 | 194.4667 | 1.1933 | 188.8333 | 8.21 | 883 | 76.542 | 0.12133
2019-02-07 20:15:00 | 1.3933 | 10.8767 | 1.6067 | 11.95 | 2.47 | 28.5 | 2.7233 | 44.06 | 8.0933 | 883.5333 | 77.21 | 0
2019-02-07 20:30:00 | 2.2067 | 199.55 | 2.5467 | 219.2833 | 2.99 | 15.7867 | 3.3233 | 16.3733 | 8.14 | 884 | 77.1167 | 2.714
2019-02-07 20:45:00 | 2.5567 | 201.48 | 2.94 | 221.4 | 4.3433 | 12.43 | 4.08 | 11.4933 | 8.02 | 884 | 77.58 | 6.948
2019-02-07 21:00:00 | 2.9033 | 220.3467 | 3.3467 | 242.1333 | 5.23 | 8.51 | 5.02 | 12.74 | 7.86 | 884.2 | 74.82 | 8.9793
2019-02-07 21:15:00 | 3.4267 | 38.39 | 3.94 | 42.1767 | 5.69 | 111.1 | 5.4733 | 3.92 | 7.8 | 885 | 70.95 | 13.0207
2019-02-07 21:30:00 | 3.3467 | 32.9167 | 3.8467 | 36.1633 | 5.4967 | 132.82 | 5.1533 | 7.0333 | 7.7333 | 885 | 69.09 | 11.5673
2019-02-07 21:45:00 | 3.6533 | 191.75 | 4.2033 | 210.7067 | 5.4333 | 4.5733 | 5.2733 | 19.94 | 7.6833 | 885 | 66.55 | 11.298
2019-02-07 22:00:00 | 3.68 | 2.5967 | 4.2367 | 2.84 | 5.3333 | 12.5467 | 5.26 | 31.8067 | 7.5233 | 885 | 65.8233 | 11.7673
2019-02-07 22:15:00 | 4.4767 | 313.9833 | 5.1533 | 345.0333 | 6.62 | 3.0667 | 6.25 | 11.2967 | 7.13 | 885 | 66.2933 | 25.6933
2019-02-07 22:30:00 | 5.2433 | 304.8233 | 6.0267 | 334.9667 | 8.3333 | 18.0267 | 7.8033 | 31.1233 | 6.79 | 885 | 66.6067 | 36.2167
2019-02-07 22:45:00 | 5.412 | 288.31 | 6.2247 | 316.82 | 8.9413 | 21.1987 | 8.4893 | 24.5173 | 6.5407 | 885 | 66.5827 | 32.568
2019-02-07 23:00:00 | 4.8067 | 309.25 | 5.53 | 339.8333 | 7.6933 | 8.88 | 7.42 | 21.6467 | 6.4233 | 885 | 66.642 | 33.0693
2019-02-07 23:15:00 | 5.0367 | 223.522 | 5.7947 | 245.6213 | 8.0587 | 18.308 | 7.8507 | 10.0287 | 6.2833 | 885 | 67.236 | 37.4307
2019-02-07 23:30:00 | 5.5933 | 194.6867 | 6.44 | 213.9433 | 8.5133 | 12.59 | 8.43 | 9.6667 | 6.19 | 885 | 67.86 | 40.3367
2019-02-07 23:45:00 | 5.6633 | 282.5233 | 6.5233 | 310.4667 | 9.0767 | 350.1667 | 8.99 | 6.84 | 6.2033 | 885 | 68.1827 | 38.9213