## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-08 00:00:00 | 5.1833 | 281.01 | 5.9633 | 308.8 | 7.8233 | 130.8933 | 7.6367 | 12.8533 | 6.1767 | 885 | 68.658 | 37.0227
2019-02-08 00:15:00 | 5.92 | 218.29 | 6.82 | 239.88 | 9.3167 | 120.1667 | 9.1233 | 17.14 | 6.2733 | 885 | 68.8233 | 37.1047
2019-02-08 00:30:00 | 5.42 | 22.17 | 6.24 | 24.3667 | 8.27 | 128.0667 | 7.97 | 7.8667 | 6.26 | 885 | 68.718 | 38.5133
2019-02-08 00:45:00 | 5.33 | 127.4667 | 6.14 | 140.06 | 8.86 | 240.7167 | 8.6533 | 11.8233 | 6.1933 | 885 | 69.11 | 37.8467
2019-02-08 01:00:00 | 5.39 | 121.78 | 6.2 | 133.82 | 9.42 | 14.0833 | 9.1133 | 17.9633 | 6.14 | 885 | 69.466 | 36.422
2019-02-08 01:15:00 | 5.7467 | 113.0333 | 6.6133 | 124.2133 | 9.9267 | 8.23 | 9.6867 | 12.5333 | 6.14 | 885 | 69.4593 | 35.9553
2019-02-08 01:30:00 | 5.6 | 312.28 | 6.44 | 343.1667 | 10 | 9.1967 | 9.6867 | 18.92 | 6.122 | 885 | 69.7833 | 37.516
2019-02-08 01:45:00 | 5.4533 | 149.91 | 6.2767 | 164.7333 | 9.52 | 17.71 | 9.3467 | 14.28 | 6.03 | 885 | 70.4333 | 36.136
2019-02-08 02:00:00 | 5.4933 | 287.1967 | 6.3167 | 315.6 | 9.5933 | 12.49 | 9.4933 | 14.88 | 5.99 | 884.8 | 70.72 | 40.01
2019-02-08 02:15:00 | 5.7667 | 195.9133 | 6.6333 | 215.28 | 10.22 | 10.9 | 9.9733 | 21.33 | 5.9133 | 884 | 71.27 | 42.7747
2019-02-08 02:30:00 | 5.3067 | 21.2 | 6.1067 | 23.2933 | 9.16 | 13.7867 | 8.6067 | 20.3567 | 5.8733 | 884 | 71.5813 | 45.198
2019-02-08 02:45:00 | 5.9467 | 233.6667 | 6.8533 | 256.7667 | 9.67 | 11.4533 | 9.5133 | 23.38 | 5.8167 | 884 | 71.86 | 43.8173
2019-02-08 03:00:00 | 5.96 | 54.3 | 6.8667 | 59.6667 | 9.9033 | 9.1867 | 9.5867 | 8.0933 | 5.7633 | 884 | 72.1073 | 44.5293
2019-02-08 03:15:00 | 6.6 | 8.4667 | 7.5967 | 9.3 | 11.1733 | 14.2367 | 10.5767 | 8.5267 | 5.64 | 884 | 72.65 | 44.5687
2019-02-08 03:30:00 | 6.7467 | 59.06 | 7.77 | 64.9 | 11.9133 | 19.2433 | 11.27 | 20.7333 | 5.56 | 884 | 73.0093 | 45.918
2019-02-08 03:45:00 | 6.6067 | 296.94 | 7.6 | 326.3 | 10.4933 | 347.7667 | 9.93 | 2.1633 | 5.4733 | 884 | 73.54 | 48.0087
2019-02-08 04:00:00 | 7.0533 | 143.92 | 8.1133 | 158.1467 | 10.7267 | 126.4 | 10.0033 | 235.5633 | 5.3933 | 884 | 74.1333 | 47.0893
2019-02-08 04:15:00 | 7.08 | 115.78 | 8.1533 | 127.2267 | 11.34 | 17.4867 | 10.5767 | 20.8367 | 5.2367 | 884 | 75.36 | 47.4353
2019-02-08 04:30:00 | 6.8267 | 309.62 | 7.8533 | 340.2333 | 11.2667 | 14.94 | 10.57 | 12.47 | 5.1433 | 883.1333 | 76.0267 | 49.5113
2019-02-08 04:45:00 | 7.2667 | 93.4967 | 8.3667 | 102.7333 | 11.8213 | 13.51 | 11.07 | 18.8267 | 5.0133 | 883 | 76.9767 | 49.6887
2019-02-08 05:00:00 | 7.56 | 93.73 | 8.7 | 102.9933 | 12.6233 | 11.7967 | 11.8367 | 21.0467 | 4.9 | 883 | 77.7367 | 49.1487
2019-02-08 05:15:00 | 7.44 | 295.4733 | 8.56 | 324.7 | 12.89 | 13.7767 | 12.64 | 23.5233 | 4.77 | 883 | 78.54 | 50.0287
2019-02-08 05:30:00 | 7.58 | 316.04 | 8.72 | 347.3 | 13.13 | 8.0367 | 13.2 | 18.8833 | 4.6633 | 883 | 79.0667 | 52.046
2019-02-08 05:45:00 | 8.22 | 210.44 | 9.4567 | 231.24 | 13.9633 | 17.27 | 13.4533 | 21.5867 | 4.5367 | 883 | 79.6567 | 50.5673
2019-02-08 06:00:00 | 8.02 | 111.7867 | 9.23 | 122.84 | 13.65 | 64.3633 | 13.6067 | 10.1267 | 4.4233 | 883 | 80.01 | 50.3547
2019-02-08 06:15:00 | 7.2633 | 45.0833 | 8.3533 | 49.54 | 12.54 | 6.3033 | 12.2433 | 14.98 | 4.2667 | 883 | 80.6333 | 51.852
2019-02-08 06:30:00 | 7.3433 | 185.1367 | 8.4533 | 203.4467 | 12.6267 | 13.13 | 11.9633 | 19.2267 | 4.16 | 883 | 81.1 | 52.4627
2019-02-08 06:45:00 | 7.7567 | 180.2167 | 8.9267 | 198.0333 | 13.4033 | 11.9133 | 12.97 | 22.01 | 4.0333 | 883 | 81.2533 | 53.7367
2019-02-08 07:00:00 | 7.8633 | 84.7233 | 9.0533 | 93.1 | 13.6167 | 20.9467 | 12.8967 | 14.5833 | 3.9133 | 883 | 81.5 | 52.8413
2019-02-08 07:15:00 | 8.032 | 132.4367 | 9.2433 | 145.5333 | 13.3667 | 25.0333 | 12.3667 | 17.9633 | 3.7867 | 883 | 81.5467 | 55.1273
2019-02-08 07:30:00 | 8.2833 | 122.7767 | 9.5233 | 134.9133 | 13.9533 | 12.08 | 13.32 | 15.2433 | 3.6667 | 883 | 81.28 | 55.594
2019-02-08 07:45:00 | 8.1073 | 152.2707 | 9.328 | 167.3227 | 14.1053 | 11.3727 | 13.8673 | 14.1113 | 3.568 | 883 | 81.2 | 57.1793
2019-02-08 08:00:00 | 8.51 | 62.7533 | 9.7933 | 68.9467 | 14.65 | 16.6767 | 13.9967 | 16.07 | 3.4667 | 883 | 80.9133 | 56.896
2019-02-08 08:15:00 | 8.1167 | 13.9933 | 9.3333 | 15.38 | 13.7967 | 16.6067 | 12.8067 | 21.2567 | 3.35 | 883 | 80.7333 | 56.8593
2019-02-08 08:30:00 | 7.9053 | 10.694 | 9.0933 | 11.7467 | 13.0327 | 10.542 | 12.224 | 26.9493 | 3.2927 | 883 | 80.5067 | 56.8833
2019-02-08 08:45:00 | 8.144 | 282.746 | 9.368 | 310.7 | 13.268 | 22.67 | 12.868 | 23.328 | 3.214 | 883 | 80.104 | 56.448
2019-02-08 09:00:00 | 8.2933 | 103.77 | 9.54 | 114.0267 | 13.0667 | 17.9567 | 12.8667 | 13.3933 | 3.21 | 883.8667 | 79.7 | 56.4647
2019-02-08 09:15:00 | 8.6367 | 122.7733 | 9.9367 | 134.9133 | 14.0833 | 13.4167 | 13.8267 | 19.32 | 3.29 | 884 | 78.8433 | 55.9587
2019-02-08 09:30:00 | 8.6767 | 273.6333 | 9.99 | 300.7 | 14.87 | 17.79 | 14.7133 | 16.9333 | 3.2967 | 884 | 78.43 | 55.6347
2019-02-08 09:45:00 | 8.65 | 98.66 | 9.9533 | 108.42 | 15.2 | 9.8333 | 14.888 | 21.06 | 3.32 | 884 | 78.01 | 56.444
2019-02-08 10:00:00 | 8.0833 | 86.5867 | 9.3 | 95.1533 | 14.5333 | 18.8667 | 14.3767 | 19.0467 | 3.36 | 884.8667 | 77.758 | 56.4973
2019-02-08 10:15:00 | 8.05 | 158.4433 | 9.27 | 174.1133 | 14.4133 | 7.5867 | 14.4 | 22.3833 | 3.39 | 885 | 77.46 | 56.4933
2019-02-08 10:30:00 | 8.1253 | 235.55 | 9.3453 | 258.8467 | 14.3933 | 26.04 | 14 | 26.2567 | 3.4433 | 885 | 77.0853 | 55.7887
2019-02-08 10:45:00 | 8.1 | 241.18 | 9.3233 | 265.0333 | 14.3367 | 18.4667 | 14.1433 | 14.9733 | 3.5333 | 885 | 76.52 | 56.3193
2019-02-08 11:00:00 | 8.04 | 114.7 | 9.25 | 126.0333 | 14.57 | 16.0333 | 15.01 | 28.3467 | 3.5933 | 885 | 76.53 | 55.9493
2019-02-08 11:15:00 | 7.7133 | 119.4933 | 8.88 | 131.3133 | 13.9633 | 19.14 | 14.3333 | 26.62 | 3.6767 | 885 | 76.328 | 55.4133
2019-02-08 11:30:00 | 7.7333 | 118.56 | 8.8933 | 130.28 | 14.0433 | 13.64 | 14.3067 | 23.98 | 3.7967 | 885 | 75.6267 | 56.0307
2019-02-08 11:45:00 | 7.9733 | 192.5533 | 9.1833 | 211.6 | 14.39 | 6.77 | 14.5067 | 36.96 | 4.1467 | 885 | 73.6067 | 56.208
2019-02-08 12:00:00 | 8.2267 | 284.6467 | 9.47 | 312.8 | 14.6033 | 12.1367 | 14.5333 | 40.4133 | 4.2933 | 885 | 71.66 | 57.136
2019-02-08 12:15:00 | 8.09 | 241.7867 | 9.3067 | 265.7 | 14.2867 | 20.46 | 14.2667 | 28.63 | 4.46 | 885 | 69.2067 | 56.5067
2019-02-08 12:30:00 | 8.0233 | 98.8467 | 9.2333 | 108.62 | 14.3 | 20.3333 | 14.4 | 27.37 | 4.6533 | 885 | 67.0467 | 57.5247
2019-02-08 12:45:00 | 8.1 | 220.5333 | 9.3167 | 242.34 | 14.7767 | 4.85 | 14.64 | 20.0333 | 4.7167 | 885 | 66.216 | 57.1493
2019-02-08 13:00:00 | 8.08 | 213.1333 | 9.2967 | 234.2067 | 14.6033 | 13.0967 | 14.5933 | 22.8533 | 4.7167 | 885 | 66.0467 | 57.4393
2019-02-08 13:15:00 | 8.54 | 170.1733 | 9.8233 | 187 | 15.09 | 11.7233 | 14.96 | 25.56 | 4.7333 | 885 | 64.6167 | 58.0507
2019-02-08 13:30:00 | 8.7267 | 180.9067 | 10.0367 | 198.8 | 15.1633 | 12.61 | 15.34 | 29.08 | 4.78 | 885 | 61.63 | 58.0407
2019-02-08 13:45:00 | 8.7267 | 212.9433 | 10.05 | 234.0033 | 14.9767 | 19.4567 | 15.1433 | 32.0967 | 4.9467 | 885 | 57.84 | 58.07
2019-02-08 14:00:00 | 8.5667 | 233.2633 | 9.8567 | 256.3367 | 14.6567 | 15.2367 | 14.8033 | 30.9833 | 5.002 | 884.1333 | 56.3667 | 56.3407
2019-02-08 14:15:00 | 8.7267 | 321.0467 | 10.0367 | 352.8 | 14.55 | 28.4967 | 14.8433 | 32.0767 | 5.0567 | 884 | 55.75 | 55.67
2019-02-08 14:30:00 | 7.982 | 161.44 | 9.19 | 177.4 | 13.87 | 241.83 | 13.67 | 24.49 | 5.27 | 884 | 54.9433 | 57.282
2019-02-08 14:45:00 | 8.3233 | 314.8967 | 9.5833 | 346.0333 | 14.43 | 15.7767 | 14.43 | 22.5533 | 5.3313 | 884 | 54.1233 | 57.8673
2019-02-08 15:00:00 | 8.57 | 115.5833 | 9.8567 | 127.0133 | 15.2167 | 17.43 | 14.7833 | 18.8867 | 5.32 | 884 | 53.9367 | 58.372
2019-02-08 15:15:00 | 8.3633 | 320.47 | 9.6167 | 352.1667 | 14.8433 | 8.0667 | 14.874 | 14.7767 | 5.24 | 884 | 53.3033 | 58.8807
2019-02-08 15:30:00 | 8.6833 | 323.93 | 9.9967 | 355.9667 | 15.47 | 4.5667 | 15.53 | 9.9167 | 5.2333 | 884 | 53.13 | 58.9447
2019-02-08 15:45:00 | 9.3133 | 168.5167 | 10.72 | 185.1833 | 16.3567 | 14.14 | 16.0067 | 21.9333 | 5.03 | 884 | 53.2153 | 58.0267
2019-02-08 16:00:00 | 8.7467 | 47.1567 | 10.0667 | 51.8233 | 15.43 | 4.8467 | 15.12 | 21.24 | 4.9967 | 884 | 53.066 | 58.5547
2019-02-08 16:15:00 | 8.1867 | 97.9033 | 9.4167 | 107.5867 | 14.4 | 10.1867 | 14.4367 | 20.8167 | 4.9 | 884 | 52.56 | 58.6067
2019-02-08 16:30:00 | 8.146 | 112.74 | 9.368 | 123.888 | 14.224 | 23.716 | 14.188 | 31.598 | 4.794 | 883.8 | 52.6707 | 58.2833
2019-02-08 16:45:00 | 8.3133 | 287.53 | 9.5667 | 315.9667 | 14.6 | 20.42 | 14.8033 | 24.6 | 4.7567 | 883 | 53.1133 | 58.7233
2019-02-08 17:00:00 | 8.1867 | 117.6767 | 9.4133 | 129.3133 | 14.4 | 18.2133 | 14.7833 | 25.7533 | 4.6167 | 883 | 53.8867 | 58.71
2019-02-08 17:15:00 | 8.4933 | 281.19 | 9.7667 | 309 | 14.9267 | 12.52 | 15.1267 | 27.0267 | 4.4233 | 883 | 55.3933 | 60.3807
2019-02-08 17:30:00 | 8.4267 | 315.83 | 9.6933 | 347.0667 | 14.8667 | 14.1133 | 14.84 | 22.92 | 4.2233 | 883 | 57.0467 | 60.2973
2019-02-08 17:45:00 | 8.2533 | 274.7587 | 9.5 | 301.92 | 14.544 | 11.212 | 14.9453 | 26.18 | 3.944 | 883 | 58.6513 | 59.8713
2019-02-08 18:00:00 | 8.7067 | 117.86 | 10.01 | 129.5133 | 14.96 | 17.46 | 15.356 | 28.4967 | 3.7267 | 883.6667 | 59.4433 | 59.7607
2019-02-08 18:15:00 | 8.4727 | 286.648 | 9.752 | 314.9947 | 14.9247 | 20.9993 | 15.2027 | 27.026 | 3.6233 | 883.5333 | 59.8673 | 60.1253
2019-02-08 18:30:00 | 8.56 | 146.98 | 9.85 | 161.5067 | 15.1167 | 11.2433 | 15.568 | 26.3367 | 3.5133 | 884 | 60.7567 | 60.25
2019-02-08 18:45:00 | 8.98 | 210.11 | 10.3267 | 230.89 | 15.6233 | 19.7 | 15.9133 | 31.5633 | 3.3767 | 884 | 61.67 | 60.2407
2019-02-08 19:00:00 | 8.6867 | 19.8767 | 9.9933 | 21.8433 | 15.27 | 21.0133 | 15.6933 | 29.57 | 3.21 | 884 | 63.0967 | 60.33
2019-02-08 19:15:00 | 8.72 | 241.4833 | 10.03 | 265.3667 | 15.54 | 16.7667 | 15.7 | 21.6667 | 3.06 | 884 | 63.9333 | 60.204
2019-02-08 19:30:00 | 8.3867 | 189.9167 | 9.652 | 208.7 | 15.0933 | 18.5133 | 15.4047 | 25.7067 | 2.9733 | 884 | 64.24 | 61.146
2019-02-08 19:45:00 | 8.1867 | 247.7033 | 9.42 | 272.2 | 14.8767 | 8.8433 | 15.0267 | 25.26 | 2.8633 | 884.5333 | 65.13 | 60.6227
2019-02-08 20:00:00 | 8.4933 | 87.29 | 9.7733 | 95.92 | 15.57 | 8.67 | 15.3333 | 24.22 | 2.6833 | 885 | 66.0433 | 60.9693
2019-02-08 20:15:00 | 8.75 | 47.27 | 10.0733 | 51.95 | 15.8133 | 11.83 | 15.4567 | 19.7233 | 2.4833 | 885 | 66.6833 | 60.774
2019-02-08 20:30:00 | 8.9033 | 165.5767 | 10.24 | 181.9567 | 16.1933 | 8.67 | 15.81 | 18.5767 | 2.3633 | 885 | 67.1833 | 61.0413
2019-02-08 20:45:00 | 9.2933 | 53.4467 | 10.6867 | 58.7267 | 16.7333 | 8.7667 | 16.25 | 15.7533 | 2.2233 | 885 | 67.3587 | 61.3353
2019-02-08 21:00:00 | 9.6333 | 213.2733 | 11.08 | 234.3667 | 17.1933 | 5.9733 | 16.8033 | 14.12 | 2.0833 | 885 | 67.7433 | 59.2607
2019-02-08 21:15:00 | 9.3667 | 101.7267 | 10.77 | 111.78 | 16.8367 | 11.9867 | 16.9567 | 18.51 | 1.94 | 885.5333 | 68.1767 | 59.4227
2019-02-08 21:30:00 | 9.4733 | 89.0933 | 10.8967 | 97.9 | 17.03 | 10.02 | 17.19 | 24.3033 | 1.8867 | 886 | 68.346 | 59.0893
2019-02-08 21:45:00 | 9.9433 | 156.5533 | 11.4367 | 172.0333 | 17.8967 | 14.3667 | 17.61 | 21.6867 | 1.7967 | 886 | 68.84 | 59.5453
2019-02-08 22:00:00 | 9.39 | 283.6467 | 10.7967 | 311.7 | 17.1567 | 12.5867 | 17.0393 | 21.4933 | 1.7767 | 886 | 68.8667 | 59.05
2019-02-08 22:15:00 | 9.6433 | 259.7833 | 11.09 | 285.4667 | 17.4067 | 10.9567 | 17.4433 | 24.93 | 1.6767 | 886 | 69.4 | 59.2007
2019-02-08 22:30:00 | 9.8167 | 270.8767 | 11.29 | 297.6667 | 17.78 | 6.8833 | 17.466 | 22.6167 | 1.6433 | 886 | 69.4533 | 58.648
2019-02-08 22:45:00 | 9.828 | 116.4927 | 11.3033 | 128.0087 | 17.8193 | 18.1587 | 17.1993 | 13.132 | 1.6307 | 886 | 69.268 | 58.7153
2019-02-08 23:00:00 | 9.6267 | 136.9667 | 11.0767 | 150.5067 | 17.5233 | 16.7967 | 17.1667 | 22.4867 | 1.4967 | 886 | 70.2733 | 58.044
2019-02-08 23:15:00 | 9.8133 | 305.2133 | 11.2867 | 335.4 | 17.8133 | 13.2467 | 17.58 | 24.6567 | 1.38 | 886 | 70.7867 | 58.3393
2019-02-08 23:30:00 | 9.8933 | 227.3867 | 11.38 | 249.8667 | 17.8267 | 12.0667 | 17.216 | 19.81 | 1.2267 | 886 | 71.6133 | 58.1793
2019-02-08 23:45:00 | 9.8627 | 87.5233 | 11.348 | 96.1733 | 17.5933 | 9.16 | 17.3267 | 11.3667 | 1.0833 | 886 | 72.4067 | 58.31