## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-09 00:00:00 | 10.1667 | 130.2233 | 11.69 | 143.1 | 17.8333 | 9.7467 | 17.1533 | 18.02 | 0.91 | 886 | 73.7267 | 58.5293
2019-02-09 00:15:00 | 9.34 | 216.82 | 10.75 | 238.2667 | 16.4267 | 7.04 | 16.1333 | 17.29 | 0.72333 | 886 | 75.2433 | 58.8027
2019-02-09 00:30:00 | 8.7933 | 300.24 | 10.1233 | 329.9333 | 15.96 | 16.46 | 15.6133 | 18.5033 | 0.60333 | 886 | 76.3367 | 58.4547
2019-02-09 00:45:00 | 8.49 | 189.1 | 9.76 | 207.79 | 15.32 | 9.4133 | 15.1967 | 24.0033 | 0.59667 | 886 | 76.1733 | 58.8927
2019-02-09 01:00:00 | 8.47 | 8.8667 | 9.7467 | 9.7367 | 15.08 | 15.8733 | 14.85 | 14.4967 | 0.57 | 886.2 | 76.1267 | 58.6567
2019-02-09 01:15:00 | 8.6227 | 247.6167 | 9.9253 | 272.1027 | 15.4233 | 11.226 | 15.0473 | 11.224 | 0.52467 | 887 | 76.2467 | 58.778
2019-02-09 01:30:00 | 8.5933 | 168.3833 | 9.88 | 185.0333 | 15.6033 | 14.9967 | 15.1833 | 16.1133 | 0.47667 | 886.1333 | 76.1167 | 58.158
2019-02-09 01:45:00 | 8.8393 | 227.0013 | 10.1733 | 249.4467 | 15.8753 | 12.5693 | 15.3467 | 13.322 | 0.48467 | 886 | 75.1967 | 58.5747
2019-02-09 02:00:00 | 8.8133 | 128.9767 | 10.15 | 141.7333 | 15.696 | 4.34 | 15.1333 | 12.02 | 0.42667 | 886 | 75.1527 | 59.234
2019-02-09 02:15:00 | 8.8393 | 69.9593 | 10.1653 | 76.8793 | 15.902 | 11.1593 | 15.598 | 20.7927 | 0.37533 | 886 | 75.128 | 58.3033
2019-02-09 02:30:00 | 9.3767 | 249.64 | 10.7933 | 274.3333 | 16.3833 | 16.57 | 15.7967 | 21.5067 | 0.34667 | 886 | 74.64 | 58.1833
2019-02-09 02:45:00 | 9.8667 | 89.5133 | 11.35 | 98.36 | 17.0533 | 9.72 | 16.63 | 6.3333 | 0.26667 | 886 | 74.716 | 57.616
2019-02-09 03:00:00 | 9.8867 | 259.3867 | 11.3767 | 285.0333 | 16.8867 | 16.7933 | 16.0987 | 2.0067 | 0.16667 | 886 | 75.2667 | 58.28
2019-02-09 03:15:00 | 9.48 | 76.4467 | 10.9033 | 84 | 16.28 | 8.4033 | 15.876 | 23.4533 | 0.12667 | 886 | 75.03 | 58.0087
2019-02-09 03:30:00 | 9.3067 | 69.7467 | 10.71 | 76.6333 | 15.8267 | 14.9833 | 15.6733 | 12.86 | 0.093333 | 886 | 74.9707 | 57.968
2019-02-09 03:45:00 | 8.7067 | 45.9767 | 10.0233 | 50.5167 | 14.95 | 12.3267 | 14.8967 | 22.18 | 0.04 | 886 | 75.1667 | 57.8927
2019-02-09 04:00:00 | 8.0667 | 51.4367 | 9.29 | 56.5233 | 14.1633 | 3.4067 | 14.0567 | 14.7533 | -0.026667 | 886 | 75.8333 | 57.6793
2019-02-09 04:15:00 | 7.3133 | 231.32 | 8.4233 | 254.2 | 13.2467 | 14.0467 | 13.23 | 17.0567 | -0.076667 | 886 | 76.14 | 57.81
2019-02-09 04:30:00 | 7.04 | 286.8333 | 8.0967 | 315.2 | 12.74 | 15.94 | 12.7033 | 19.4567 | -0.11 | 886 | 76.0907 | 57.026
2019-02-09 04:45:00 | 7.0933 | 211.5867 | 8.1533 | 232.5067 | 12.9333 | 11.7867 | 12.9433 | 20.97 | -0.12667 | 886 | 75.6967 | 57.094
2019-02-09 05:00:00 | 7.03 | 219.35 | 8.08 | 241.04 | 12.83 | 12.9067 | 12.9533 | 22.5 | -0.086667 | 886 | 74.6433 | 57.1547
2019-02-09 05:15:00 | 7.2533 | 115.99 | 8.34 | 127.4533 | 13.1767 | 16.8 | 13.1733 | 26.8267 | -0.056667 | 886 | 73.5967 | 57.2113
2019-02-09 05:30:00 | 7.2333 | 116.6833 | 8.3267 | 128.22 | 13.0367 | 23.3533 | 13.0733 | 22.5133 | -0.07 | 886 | 73.0567 | 56.926
2019-02-09 05:45:00 | 7.1067 | 256.56 | 8.1733 | 281.9333 | 12.7067 | 12.8 | 12.97 | 19.81 | -0.043333 | 886 | 72.2133 | 56.2267
2019-02-09 06:00:00 | 7.12 | 140.3333 | 8.1867 | 154.2133 | 12.92 | 16.6 | 13.07 | 23.1167 | -0.056667 | 885.8 | 71.88 | 57.1973
2019-02-09 06:15:00 | 7.36 | 191.2467 | 8.4667 | 210.1667 | 12.9893 | 26.3633 | 12.7667 | 21.9 | -0.056667 | 885 | 70.8367 | 55.246
2019-02-09 06:30:00 | 7.0733 | 164.32 | 8.14 | 180.5667 | 12.6867 | 17.4767 | 12.2 | 23.1 | -0.056667 | 885.2 | 70.528 | 55.8607
2019-02-09 06:45:00 | 7.0867 | 35.27 | 8.1533 | 38.76 | 12.0633 | 23.3033 | 11.5967 | 22.27 | -0.09 | 886 | 70.1667 | 54.382
2019-02-09 07:00:00 | 6.4733 | 224.7567 | 7.4533 | 246.9867 | 11.37 | 15.7167 | 11.1367 | 20.2767 | -0.13 | 885.8 | 70.1667 | 52.54
2019-02-09 07:15:00 | 6.52 | 204.5467 | 7.5 | 224.7733 | 11.4567 | 8.03 | 11.1 | 8.9433 | -0.11667 | 885.5333 | 69.8727 | 51.868
2019-02-09 07:30:00 | 6.34 | 71.14 | 7.2933 | 78.1733 | 11.0767 | 13.2033 | 10.66 | 16.3233 | -0.11 | 886 | 69.568 | 51.3173
2019-02-09 07:45:00 | 5.75 | 209.77 | 6.6133 | 230.5033 | 10.59 | 11.7467 | 10.74 | 24.1 | -0.10333 | 886 | 69.5067 | 49.512
2019-02-09 08:00:00 | 5.6633 | 18.4033 | 6.52 | 20.2167 | 10.5167 | 19.6133 | 10.4933 | 24.6867 | -0.11 | 886 | 69.6327 | 48.1793
2019-02-09 08:15:00 | 5.2867 | 221.62 | 6.08 | 243.5367 | 9.9067 | 12.94 | 9.59 | 24.7467 | -0.093333 | 886 | 69.6047 | 47.5053
2019-02-09 08:30:00 | 5.4133 | 181.3333 | 6.2267 | 199.27 | 9.5333 | 10.8 | 9.1967 | 18.2333 | -0.066667 | 886.8667 | 69.1133 | 45.626
2019-02-09 08:45:00 | 5.62 | 270.9433 | 6.47 | 297.7333 | 10.3 | 9.89 | 10.07 | 16.12 | -0.033333 | 887 | 69.3 | 45.9093
2019-02-09 09:00:00 | 5.556 | 261.4313 | 6.3967 | 287.28 | 10.2013 | 15.0553 | 10.0047 | 18.6187 | -0.014667 | 887 | 69.638 | 47.0427
2019-02-09 09:15:00 | 5.3533 | 108.8967 | 6.1567 | 119.6667 | 9.8167 | 22.76 | 9.76 | 20.7167 | -0.003333 | 887 | 69.6233 | 47.4367
2019-02-09 09:30:00 | 5.2933 | 304.1233 | 6.09 | 334.2 | 9.81 | 2.9133 | 9.7133 | 17.0367 | 0.036667 | 887 | 69.932 | 47.1447
2019-02-09 09:45:00 | 5.75 | 83.31 | 6.61 | 91.5467 | 10.4 | 13.0733 | 10.06 | 8.63 | 0.05 | 887 | 70.05 | 48.104
2019-02-09 10:00:00 | 5.8433 | 44.4833 | 6.7233 | 48.8733 | 10.6533 | 14.1933 | 10.44 | 23.29 | 0.07 | 887 | 70.3433 | 47.9053
2019-02-09 10:15:00 | 5.8067 | 105.04 | 6.6833 | 115.42 | 10.6833 | 11.7333 | 10.5993 | 16.7567 | 0.09 | 887 | 70.6033 | 47.7027
2019-02-09 10:30:00 | 6.1733 | 316.9 | 7.11 | 348.2333 | 11.0233 | 12.56 | 10.79 | 31.0433 | 0.043333 | 887.8667 | 70.9867 | 50.456
2019-02-09 10:45:00 | 6.1867 | 97.986 | 7.1173 | 107.67 | 11.2953 | 12.564 | 11.054 | 30.4133 | -0.02 | 888 | 72.2367 | 52.8053
2019-02-09 11:00:00 | 6.6033 | 142.7933 | 7.5967 | 156.9133 | 11.9433 | 11.7867 | 11.5767 | 27.6467 | -0.053333 | 888 | 73.3 | 52.2473
2019-02-09 11:15:00 | 6.3333 | 223.2067 | 7.2967 | 245.2867 | 11.3867 | 12.5433 | 11.3 | 24.8233 | -0.19667 | 888 | 75.2567 | 52.032
2019-02-09 11:30:00 | 6.06 | 25.6267 | 6.97 | 28.1533 | 11.1267 | 8.2767 | 10.92 | 12.53 | -0.23 | 888 | 76.41 | 51.1813
2019-02-09 11:45:00 | 6.3167 | 102.0333 | 7.2667 | 112.12 | 11.3567 | 11.9467 | 11.4167 | 29.5267 | -0.27667 | 888 | 77.5867 | 51.7387
2019-02-09 12:00:00 | 6.53 | 283.98 | 7.5067 | 312.0667 | 11.53 | 5.1133 | 11.3433 | 21.4333 | -0.35 | 888 | 78.56 | 50.8107
2019-02-09 12:15:00 | 6.5667 | 140.55 | 7.55 | 154.4467 | 11.672 | 18.1467 | 11.57 | 22.8567 | -0.37 | 888 | 79.5333 | 48.6667
2019-02-09 12:30:00 | 6.8 | 199.7567 | 7.83 | 219.5133 | 12.0567 | 28.2333 | 11.8567 | 24.7233 | -0.39667 | 888 | 80.5333 | 48.338
2019-02-09 12:45:00 | 6.8567 | 120.47 | 7.8967 | 132.38 | 11.9767 | 18.76 | 11.6767 | 25.2833 | -0.51333 | 888 | 82.5333 | 46.568
2019-02-09 13:00:00 | 7.008 | 118.47 | 8.0567 | 130.1867 | 12.5567 | 16.7533 | 12.2567 | 28.1567 | -0.56667 | 887.8 | 83.8 | 42.5073
2019-02-09 13:15:00 | 7.2767 | 0.97333 | 8.38 | 1.06 | 13.0567 | 7.6 | 12.7233 | 21.1167 | -0.68333 | 887 | 85.6667 | 41.8267
2019-02-09 13:30:00 | 7.6433 | 214.6667 | 8.7933 | 235.8867 | 13.77 | 8.1333 | 13.4633 | 24.75 | -0.87 | 887 | 86.6667 | 42.178
2019-02-09 13:45:00 | 7.92 | 116.7567 | 9.12 | 128.3067 | 14.29 | 13.1633 | 13.9167 | 20.02 | -1.0533 | 886.4667 | 87.2333 | 38.8973
2019-02-09 14:00:00 | 7.6267 | 281.0433 | 8.7733 | 308.8333 | 13.79 | 14.5233 | 13.47 | 19.2733 | -1.2133 | 886 | 88.9667 | 38.2
2019-02-09 14:15:00 | 8.0867 | 122.2233 | 9.3067 | 134.3133 | 14.3133 | 19.3 | 13.96 | 16.98 | -1.38 | 886 | 90.4 | 35.4813
2019-02-09 14:30:00 | 8.0267 | 23.37 | 9.24 | 25.6733 | 14.1533 | 18.2267 | 14.0333 | 17.34 | -1.4667 | 886 | 91.1533 | 31.6627
2019-02-09 14:45:00 | 7.8133 | 111.82 | 8.9967 | 122.8733 | 13.6167 | 15.1533 | 13.4913 | 21.9033 | -1.5867 | 885.4667 | 92.6333 | 26.2047
2019-02-09 15:00:00 | 7.4533 | 131.7333 | 8.5767 | 144.7533 | 13.4233 | 19.2267 | 13.2267 | 19.5033 | -1.62 | 885 | 93.5667 | 25.2807
2019-02-09 15:15:00 | 7.6233 | 259.44 | 8.7667 | 285.1 | 13.62 | 16.18 | 13.2807 | 25.9867 | -1.6633 | 885 | 93.9867 | 23.6773
2019-02-09 15:30:00 | 7.19 | 288.1933 | 8.2733 | 316.7 | 13.26 | 15.1267 | 13.0367 | 21.8667 | -1.63 | 885 | 94.4333 | 23.2907
2019-02-09 15:45:00 | 7.6133 | 217.0033 | 8.76 | 238.4633 | 13.63 | 13.7167 | 13.16 | 13.69 | -1.7067 | 885 | 94.4467 | 21.858
2019-02-09 16:00:00 | 7.8733 | 18.9233 | 9.0667 | 20.79 | 14.1633 | 6.2367 | 13.72 | 20.73 | -1.7933 | 885 | 94.5333 | 20.1853
2019-02-09 16:15:00 | 7.88 | 250.6567 | 9.0633 | 275.4333 | 14.2133 | 14.3433 | 13.56 | 21.1667 | -1.89 | 885 | 94.8667 | 19.9293
2019-02-09 16:30:00 | 7.7267 | 120.5967 | 8.8967 | 132.5133 | 13.86 | 9.69 | 13.2173 | 17.58 | -1.93 | 885 | 95.1333 | 19.7993
2019-02-09 16:45:00 | 7.6167 | 247.9833 | 8.76 | 272.5 | 13.88 | 14.0133 | 13.4967 | 17.6153 | -1.9333 | 885 | 95.7 | 19.6553
2019-02-09 17:00:00 | 7.5367 | 108.5767 | 8.6733 | 119.3133 | 13.88 | 19.5667 | 13.33 | 17.62 | -1.9467 | 885 | 95.9 | 16.98
2019-02-09 17:15:00 | 7.6967 | 210.6167 | 8.85 | 231.4333 | 14.0467 | 11.33 | 13.63 | 17.62 | -1.9867 | 885 | 96.3 | 16.7153
2019-02-09 17:30:00 | 7.9233 | 101.7633 | 9.1233 | 111.8133 | 14.4 | 3.8833 | 14.0567 | 17.62 | -1.9933 | 885 | 96.1 | 16.2513
2019-02-09 17:45:00 | 8.3 | 292.7833 | 9.55 | 321.7333 | 15.0133 | 12.0033 | 14.56 | 17.62 | -1.9633 | 885 | 95.6667 | 16.47
2019-02-09 18:00:00 | 8.48 | 281.31 | 9.7633 | 309.1333 | 15.0667 | 17.57 | 14.4933 | 17.6433 | -1.9033 | 885 | 94.9333 | 16.3853
2019-02-09 18:15:00 | 8.48 | 298.3633 | 9.75 | 327.8667 | 15.1307 | 19.2067 | 14.6133 | 17.654 | -1.8267 | 885 | 93.6333 | 16.2487
2019-02-09 18:30:00 | 8.76 | 293.8767 | 10.0767 | 322.9333 | 15.47 | 19.5 | 14.6667 | 17.66 | -1.78 | 885.8667 | 92.5667 | 16.2273
2019-02-09 18:45:00 | 8.67 | 17.31 | 9.9733 | 19.02 | 15.14 | 25.9167 | 14.71 | 17.656 | -1.7133 | 886 | 91.3 | 16.0953
2019-02-09 19:00:00 | 8.6633 | 42.49 | 9.9733 | 46.6933 | 15.0333 | 18.8433 | 14.45 | 17.65 | -1.68 | 886 | 90.6133 | 16.3527
2019-02-09 19:15:00 | 8.64 | 284.1967 | 9.9333 | 312.3 | 15.3233 | 16.0733 | 14.6 | 17.67 | -1.6633 | 886 | 89.8333 | 16.8213
2019-02-09 19:30:00 | 8.5 | 189.3167 | 9.7733 | 208.0333 | 15.2633 | 15.3267 | 14.3933 | 17.668 | -1.63 | 886 | 89.1 | 17.4393
2019-02-09 19:45:00 | 8.52 | 113.5667 | 9.7967 | 124.7933 | 15.2433 | 22.0067 | 14.64 | 17.62 | -1.56 | 886.5333 | 87.8 | 18.212
2019-02-09 20:00:00 | 8.2267 | 145.14 | 9.4633 | 159.4933 | 14.8433 | 14.56 | 14.236 | 17.6413 | -1.52 | 886.1333 | 86.8 | 19.1673
2019-02-09 20:15:00 | 8.76 | 226.8367 | 10.0733 | 249.2667 | 15.73 | 13.4 | 14.8433 | 17.6493 | -1.44 | 886.5333 | 84.9667 | 18.7953
2019-02-09 20:30:00 | 8.72 | 271.73 | 10.0333 | 298.6 | 15.67 | 16.0933 | 14.6833 | 17.6227 | -1.36 | 887 | 83.5667 | 19.7113
2019-02-09 20:45:00 | 8.78 | 284.2 | 10.1067 | 312.3 | 15.7233 | 15.9267 | 14.9067 | 17.6307 | -1.2467 | 887 | 81.3333 | 20.1187
2019-02-09 21:00:00 | 8.8067 | 186.34 | 10.1267 | 204.7667 | 15.9767 | 13.3333 | 15.1933 | 17.636 | -1.1467 | 887 | 80.0533 | 19.192
2019-02-09 21:15:00 | 9 | 180.1533 | 10.3533 | 197.9667 | 16.0667 | 26.23 | 15.9 | 17.6307 | -1.0633 | 887 | 78.86 | 19.22
2019-02-09 21:30:00 | 8.7333 | 299.66 | 10.0533 | 329.3 | 15.6133 | 19.3167 | 15.4267 | 17.64 | -1.01 | 887 | 77.8933 | 19.9647
2019-02-09 21:45:00 | 9.0587 | 188.8633 | 10.4253 | 207.54 | 16.4867 | 10.31 | 16.0367 | 17.634 | -0.93 | 887 | 77.1233 | 20.1253
2019-02-09 22:00:00 | 9.55 | 15.79 | 10.9833 | 17.3467 | 17.0467 | 8.85 | 17.01 | 17.616 | -0.90333 | 887 | 76.8567 | 19.3667
2019-02-09 22:15:00 | 9.0667 | 135.3533 | 10.4333 | 148.7333 | 16.0767 | 23.6133 | 16.3733 | 17.71 | -0.91333 | 887 | 77.2233 | 18.9167
2019-02-09 22:30:00 | 7.5667 | 290.0467 | 8.7067 | 318.7333 | 13.6367 | 17.5333 | 13.5333 | 17.6767 | -0.93333 | 887 | 77.7633 | 19.0293
2019-02-09 22:45:00 | 6.6167 | 211.2833 | 7.61 | 232.17 | 12.2233 | 10.8733 | 12.1567 | 17.66 | -0.96333 | 887.5333 | 78.2633 | 19.15
2019-02-09 23:00:00 | 6.95 | 38.6967 | 7.99 | 42.5167 | 12.4167 | 27.0467 | 12.3767 | 17.66 | -0.95 | 888 | 78.33 | 20.0433
2019-02-09 23:15:00 | 7.1533 | 24.5033 | 8.23 | 26.9267 | 13.06 | 11.75 | 13.08 | 17.6327 | -0.94333 | 888 | 78.79 | 19.9453
2019-02-09 23:30:00 | 7.4667 | 157.49 | 8.5967 | 173.0667 | 13.2133 | 9.4967 | 12.94 | 17.6367 | -0.95 | 888 | 79.1087 | 20.02
2019-02-09 23:45:00 | 7.82 | 122.3633 | 8.9933 | 134.46 | 13.64 | 15.3333 | 13.1433 | 17.6367 | -1.0333 | 888 | 80.8667 | 20.0473