## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-10 00:00:00 | 8.2067 | 171.3833 | 9.44 | 188.3267 | 14.4133 | 18.6733 | 13.9767 | 17.684 | -1.16 | 888 | 83.0667 | 19.9747
2019-02-10 00:15:00 | 8.24 | 130.3 | 9.48 | 143.18 | 14.5867 | 12.5633 | 14.1 | 17.58 | -1.2933 | 888 | 84.8667 | 19.322
2019-02-10 00:30:00 | 8.1933 | 119.56 | 9.4333 | 131.3867 | 14.6867 | 15.9967 | 14.3467 | 17.58 | -1.3667 | 888 | 85.9333 | 18.332
2019-02-10 00:45:00 | 7.55 | 209.5967 | 8.6867 | 230.3133 | 13.4533 | 14.27 | 13.47 | 17.61 | -1.3767 | 888 | 85.1333 | 18.444
2019-02-10 01:00:00 | 7.1167 | 114.71 | 8.1933 | 126.0467 | 12.7267 | 16.95 | 13.29 | 17.6693 | -1.3633 | 888 | 84.6667 | 18.1273
2019-02-10 01:15:00 | 7.3667 | 194.6267 | 8.48 | 213.8667 | 13.2867 | 8.7633 | 13.42 | 17.6267 | -1.3333 | 888 | 83.5667 | 18.586
2019-02-10 01:30:00 | 7.5267 | 204.5067 | 8.66 | 224.7333 | 13.7267 | 14.23 | 13.9133 | 17.66 | -1.36 | 888 | 83.8333 | 18.8427
2019-02-10 01:45:00 | 7.5067 | 297.9 | 8.6333 | 327.3667 | 13.5867 | 17.7667 | 13.73 | 17.66 | -1.4167 | 888 | 84.1667 | 19.574
2019-02-10 02:00:00 | 7.5 | 119.2667 | 8.6333 | 131.0533 | 13.6133 | 18.0267 | 13.87 | 17.6933 | -1.47 | 888 | 84.28 | 19.8847
2019-02-10 02:15:00 | 7.18 | 103.64 | 8.2633 | 113.8867 | 13.05 | 8.93 | 13.72 | 17.6993 | -1.4567 | 888 | 83.3667 | 19.6633
2019-02-10 02:30:00 | 7.3933 | 297.8133 | 8.5033 | 327.2667 | 13.0833 | 22.2167 | 14.078 | 17.7073 | -1.4167 | 888 | 82.4333 | 20.102
2019-02-10 02:45:00 | 8.1733 | 187.0533 | 9.4 | 205.5467 | 14.5533 | 17.04 | 15.2733 | 26.3933 | -1.3833 | 888 | 81.6 | 20.202
2019-02-10 03:00:00 | 8.4267 | 181.7133 | 9.6933 | 199.68 | 15.2333 | 24.2067 | 15.4867 | 25.58 | -1.3567 | 888 | 80.5333 | 19.9707
2019-02-10 03:15:00 | 7.86 | 309.7133 | 9.0467 | 340.3333 | 14.1533 | 28.7267 | 14.4033 | 32.23 | -1.35 | 888 | 79.22 | 19.9927
2019-02-10 03:30:00 | 8.2067 | 108.16 | 9.44 | 118.8533 | 14.88 | 20.9267 | 15.25 | 30.41 | -1.35 | 888 | 78.5 | 19.9167
2019-02-10 03:45:00 | 8.05 | 106.2533 | 9.26 | 116.7667 | 14.2467 | 18.1533 | 14.6433 | 15.72 | -1.34 | 888 | 77.29 | 20.134
2019-02-10 04:00:00 | 8.3767 | 300.7533 | 9.6467 | 330.5 | 14.9067 | 22.04 | 15.2767 | 22.5333 | -1.3467 | 888 | 77.3953 | 20.2507
2019-02-10 04:15:00 | 8.65 | 280.7167 | 9.95 | 308.4667 | 15.2633 | 21.1733 | 15.3433 | 22.8367 | -1.4 | 888 | 77.9567 | 20.7573
2019-02-10 04:30:00 | 8.4367 | 284.2233 | 9.71 | 312.3333 | 14.9767 | 20.2333 | 15.3433 | 26.9433 | -1.4667 | 888 | 78.85 | 20.8867
2019-02-10 04:45:00 | 8.216 | 59.758 | 9.4613 | 65.662 | 14.6893 | 15.6707 | 14.8413 | 24.3993 | -1.5313 | 888 | 79.5747 | 20.584
2019-02-10 05:00:00 | 8 | 201.43 | 9.2133 | 221.35 | 14.56 | 20.5267 | 14.54 | 28.69 | -1.6033 | 888 | 80.2333 | 19.9747
2019-02-10 05:15:00 | 7.9587 | 20.62 | 9.16 | 22.6533 | 14.4 | 17.2767 | 14.5933 | 25.1633 | -1.6667 | 888 | 80.8 | 20.918
2019-02-10 05:30:00 | 8.0167 | 212.0467 | 9.22 | 233.02 | 14.5333 | 6.9767 | 14.78 | 21.0433 | -1.68 | 888 | 80.7333 | 20.9913
2019-02-10 05:45:00 | 7.95 | 290.0167 | 9.1433 | 318.7 | 14.25 | 18.06 | 14.91 | 24.65 | -1.67 | 888 | 80.2433 | 20.8473
2019-02-10 06:00:00 | 8.6833 | 268.4167 | 9.9967 | 294.9667 | 15.6633 | 14.5533 | 16.17 | 16.2633 | -1.63 | 888 | 79.3233 | 22.2233
2019-02-10 06:15:00 | 9.1133 | 290.1733 | 10.4933 | 318.8667 | 16.2933 | 22.24 | 16.4867 | 24.7833 | -1.64 | 888 | 78.6467 | 22.4833
2019-02-10 06:30:00 | 8.8667 | 113.7133 | 10.2 | 124.96 | 15.78 | 30.1067 | 16.2667 | 32.8767 | -1.68 | 888.8667 | 77.8733 | 22.79
2019-02-10 06:45:00 | 9.1067 | 221.8533 | 10.48 | 243.7867 | 16.15 | 15.6533 | 16.39 | 30.22 | -1.6967 | 889 | 76.0033 | 22.658
2019-02-10 07:00:00 | 9.7867 | 39.2133 | 11.2667 | 43.0867 | 16.8833 | 16.8667 | 17.1393 | 25.06 | -1.6833 | 889 | 73.7633 | 22.5107
2019-02-10 07:15:00 | 9.42 | 86.38 | 10.8333 | 94.9133 | 16.4367 | 21.3367 | 16.67 | 28.53 | -1.6933 | 889 | 71.6367 | 22.4273
2019-02-10 07:30:00 | 9.38 | 101.06 | 10.7933 | 111.0533 | 16.73 | 20.8033 | 17.0167 | 29.23 | -1.7 | 889 | 70.81 | 22.2673
2019-02-10 07:45:00 | 9.5733 | 108.95 | 11.0133 | 119.72 | 16.948 | 23.1133 | 16.8533 | 27.08 | -1.6833 | 889 | 69.7133 | 22.4893
2019-02-10 08:00:00 | 9.6267 | 289.9033 | 11.08 | 318.5667 | 16.81 | 22.2533 | 16.5867 | 27.9933 | -1.6833 | 889.2 | 68.3067 | 22.4767
2019-02-10 08:15:00 | 9.5633 | 179.5333 | 11.0033 | 197.2767 | 16.8733 | 20.23 | 17.0233 | 27.7967 | -1.6767 | 890 | 67.8933 | 22.3573
2019-02-10 08:30:00 | 9.71 | 152.7133 | 11.17 | 167.81 | 17.1467 | 13.61 | 17.5167 | 24.63 | -1.6633 | 890 | 67.56 | 22.5533
2019-02-10 08:45:00 | 9.74 | 19.9367 | 11.21 | 21.8967 | 17.2233 | 20.3167 | 17.57 | 32.2567 | -1.59 | 890 | 67.192 | 22.668
2019-02-10 09:00:00 | 10.14 | 28.1367 | 11.6633 | 30.9167 | 17.81 | 25.6033 | 18.2833 | 32.2233 | -1.4833 | 890.2 | 65.6533 | 22.7507
2019-02-10 09:15:00 | 10.3567 | 285.4667 | 11.91 | 313.7 | 18.0867 | 24.5233 | 18.58 | 24.8233 | -1.2833 | 891 | 64.4267 | 22.5667
2019-02-10 09:30:00 | 10.0967 | 277.2733 | 11.61 | 304.7 | 17.4333 | 11.45 | 17.5467 | 25.3567 | -1.0967 | 891.2 | 63.72 | 22.5427
2019-02-10 09:45:00 | 9.46 | 96.1533 | 10.88 | 105.6667 | 16.4133 | 6.8067 | 16.1133 | 28.43 | -0.86333 | 892 | 62.9633 | 22.52
2019-02-10 10:00:00 | 8.9 | 186.6067 | 10.2333 | 205.0667 | 15.7867 | 11.4133 | 15.7133 | 31.9967 | -0.59 | 892.6667 | 62.1833 | 22.4673
2019-02-10 10:15:00 | 9.16 | 209.9733 | 10.54 | 230.74 | 15.4967 | 24.0467 | 15.2467 | 25.7533 | -0.44 | 892.5333 | 60.2033 | 22.2553
2019-02-10 10:30:00 | 8.956 | 226.18 | 10.2867 | 248.54 | 15.0833 | 19.8267 | 14.8467 | 20.34 | -0.06 | 893 | 58.65 | 21.774
2019-02-10 10:45:00 | 8.0767 | 51.9067 | 9.2867 | 57.0367 | 14.2 | 20.49 | 14.1533 | 28.26 | 1.48 | 893 | 54.88 | 24.624
2019-02-10 11:00:00 | 7.9833 | 23.7667 | 9.1867 | 26.11 | 13.9133 | 6.3167 | 13.9333 | 20.38 | 1.5867 | 893.8667 | 53.88 | 37.3827
2019-02-10 11:15:00 | 8.4533 | 211.1933 | 9.7233 | 232.08 | 14.4633 | 23.2867 | 15.03 | 37.9567 | 2.2733 | 894 | 51.02 | 47.7607
2019-02-10 11:30:00 | 8.572 | 27.282 | 9.862 | 29.97 | 14.514 | 27.974 | 15.268 | 33.77 | 1.962 | 894 | 51.152 | 44.5407
2019-02-10 11:45:00 | 8.0067 | 219.6233 | 9.21 | 241.3467 | 13.7 | 12.68 | 14.2733 | 25.4867 | 2.39 | 894 | 50.0967 | 43.2687
2019-02-10 12:00:00 | 8.16 | 220.3633 | 9.3833 | 242.1467 | 13.8627 | 20.12 | 14.4267 | 32.36 | 2.6967 | 894 | 49.2767 | 42.464
2019-02-10 12:15:00 | 7.7 | 19.79 | 8.86 | 21.7467 | 13.0767 | 29.7967 | 13.91 | 34.6067 | 3.3533 | 894 | 47.5533 | 42.152
2019-02-10 12:30:00 | 7.7933 | 10.5433 | 8.9733 | 11.58 | 12.95 | 35.33 | 13.0167 | 37.44 | 3.9133 | 894 | 45.8733 | 42.6913
2019-02-10 12:45:00 | 7.4833 | 197.5067 | 8.6167 | 217.04 | 12.4067 | 16.61 | 12.7967 | 34.7467 | 4.1533 | 894 | 45.5933 | 41.38
2019-02-10 13:00:00 | 6.6833 | 32.7867 | 7.6967 | 36.02 | 11.18 | 32.0433 | 11.9767 | 34.9533 | 4.5933 | 894 | 44.63 | 37.994
2019-02-10 13:15:00 | 6.4533 | 217.1767 | 7.4233 | 238.6533 | 10.9 | 34.9533 | 11.38 | 37.8667 | 5.4767 | 894 | 42.87 | 36.942
2019-02-10 13:30:00 | 6.6467 | 32.55 | 7.65 | 35.7667 | 11.0533 | 16.8467 | 11.0733 | 40.08 | 5.6767 | 894 | 41.93 | 33.2273
2019-02-10 13:45:00 | 6.6267 | 192.4467 | 7.62 | 211.4767 | 10.7267 | 17.19 | 10.21 | 28.4267 | 5.7667 | 894 | 41.76 | 32.0647
2019-02-10 14:00:00 | 6.5467 | 5.7867 | 7.5267 | 6.35 | 10.8733 | 15.2567 | 10.9167 | 19.0133 | 6.12 | 894 | 40.6867 | 35.998
2019-02-10 14:15:00 | 6.8507 | 119.0253 | 7.8833 | 130.7953 | 11.1393 | 30.45 | 11.298 | 31.2313 | 6.356 | 894 | 39.138 | 35.5433
2019-02-10 14:30:00 | 6.1133 | 138.0967 | 7.0433 | 151.7467 | 9.9467 | 17.68 | 10.1167 | 21.35 | 5.8433 | 894 | 39.864 | 30.2187
2019-02-10 14:45:00 | 5.6767 | 25.5867 | 6.5367 | 28.12 | 9.6333 | 11.9933 | 9.5167 | 9.24 | 6.5233 | 893.4667 | 37.93 | 26.2227
2019-02-10 15:00:00 | 5.7233 | 40.9667 | 6.5833 | 45.02 | 9.8333 | 5.9933 | 9.3567 | 19.2867 | 6.6833 | 893 | 37.8433 | 24.552
2019-02-10 15:15:00 | 4.8767 | 204.1733 | 5.6067 | 224.3667 | 8.1867 | 15.3 | 8.0633 | 29.69 | 6.7733 | 893 | 37.51 | 21.6487
2019-02-10 15:30:00 | 5.0767 | 32.3867 | 5.8467 | 35.5867 | 8.5667 | 34.86 | 8.0767 | 31.2433 | 6.56 | 893.6667 | 38.2033 | 22.528
2019-02-10 15:45:00 | 4.8633 | 231.3467 | 5.5933 | 254.2267 | 8.58 | 24.9567 | 8.23 | 23.8067 | 5.7567 | 893 | 39.6967 | 16.9653
2019-02-10 16:00:00 | 4.29 | 200.0533 | 4.9333 | 219.8267 | 7.4667 | 21.57 | 7.3033 | 28.9933 | 6.37 | 893 | 38.7767 | 13.8473
2019-02-10 16:15:00 | 3.5367 | 212.6467 | 4.0667 | 233.6667 | 6.1367 | 36.85 | 5.95 | 33.7467 | 6.63 | 893 | 38.2433 | 11.3733
2019-02-10 16:30:00 | 3.39 | 213.7933 | 3.9067 | 234.9333 | 5.81 | 46.3833 | 5.0167 | 39.7933 | 6.7833 | 893.2 | 37.6833 | 14.1313
2019-02-10 16:45:00 | 3.7333 | 11.2633 | 4.2967 | 12.3667 | 6.3533 | 35.6067 | 5.4367 | 32.7433 | 5.64 | 894 | 40.6733 | 11.352
2019-02-10 17:00:00 | 2.94 | 10.01 | 3.3833 | 10.9867 | 5.2 | 26.06 | 4.9767 | 32.5033 | 5.2867 | 893.8 | 41.88 | 8.0733
2019-02-10 17:15:00 | 2.44 | 58.8067 | 2.8067 | 64.6133 | 4.2467 | 20.7667 | 3.9133 | 27.1 | 4.9033 | 893 | 43.3533 | 9.9073
2019-02-10 17:30:00 | 2.3067 | 241.2467 | 2.6533 | 265.1 | 4.1533 | 24.48 | 3.54 | 27.2133 | 4.6567 | 893 | 44.3333 | 14.3753
2019-02-10 17:45:00 | 3.2867 | 172.8933 | 3.7767 | 189.98 | 5.9733 | 30.47 | 5.6167 | 33.6267 | 4.4367 | 893 | 45.81 | 11.9547
2019-02-10 18:00:00 | 2.7667 | 158.6267 | 3.1833 | 174.3133 | 5.24 | 247.0193 | 5.3633 | 30.1333 | 4.25 | 893 | 47.9033 | 9.1853
2019-02-10 18:15:00 | 2.6867 | 108.6 | 3.0967 | 119.3433 | 5.2733 | 19.6967 | 5.2633 | 25.1033 | 4.0467 | 893 | 49.2633 | 7.9807
2019-02-10 18:30:00 | 2.5467 | 223.32 | 2.93 | 245.41 | 4.96 | 18.4033 | 4.8833 | 25.8167 | 3.8667 | 893 | 49.9833 | 7.4447
2019-02-10 18:45:00 | 2.36 | 312.0433 | 2.7267 | 342.9 | 4.58 | 18.2267 | 4.4867 | 24.6 | 3.5967 | 893 | 51.91 | 8.262
2019-02-10 19:00:00 | 2.3333 | 298.6967 | 2.6867 | 328.2333 | 4.358 | 12.8267 | 4.36 | 25.0733 | 3.35 | 893 | 53.39 | 8.3587
2019-02-10 19:15:00 | 2.684 | 27.4453 | 3.1013 | 30.1573 | 4.3913 | 265.572 | 4.2933 | 67.6947 | 3.2193 | 893 | 54.7853 | 7.3733
2019-02-10 19:30:00 | 2.64 | 206.3767 | 3.05 | 226.78 | 4.6233 | 15.8333 | 4.5567 | 14.9 | 3.0967 | 893 | 55.65 | 5.5893
2019-02-10 19:45:00 | 2.6507 | 231.7387 | 3.0487 | 254.6467 | 4.704 | 10.7393 | 4.442 | 27.188 | 2.9393 | 893 | 55.5847 | 4.764
2019-02-10 20:00:00 | 2.94 | 186.77 | 3.384 | 205.24 | 5.222 | 0.54 | 4.948 | 24.692 | 2.734 | 893 | 55.658 | 4.8047
2019-02-10 20:15:00 | 2.8467 | 215.3167 | 3.28 | 236.6067 | 5.0333 | 238.9233 | 4.7633 | 3.96 | 2.4833 | 893.5333 | 56.98 | 4.86
2019-02-10 20:30:00 | 2.832 | 172.3327 | 3.2707 | 189.3693 | 4.9147 | 191.466 | 4.574 | 5 | 2.3513 | 893.3333 | 57.776 | 3.862
2019-02-10 20:45:00 | 2.96 | 17.7733 | 3.4067 | 19.5267 | 4.7 | 126.4733 | 4.3333 | 12.6667 | 2.2867 | 894 | 57.734 | 2.0467
2019-02-10 21:00:00 | 2.9867 | 195.4667 | 3.44 | 214.7867 | 3.8867 | 116.4333 | 3.84 | 8.4667 | 2.4067 | 894 | 56.92 | 0.45733
2019-02-10 21:15:00 | 2.8613 | 318.6187 | 3.3027 | 350.12 | 3.698 | 261.3747 | 3.696 | 0.73867 | 2.2427 | 894 | 58.3213 | 0
2019-02-10 21:30:00 | 2.81 | 111.4233 | 3.2333 | 122.4467 | 3.7667 | 9.4067 | 3.58 | 11.9533 | 2.12 | 894 | 58.914 | 0
2019-02-10 21:45:00 | 2.6733 | 109.75 | 3.0733 | 120.6 | 3.51 | 10.1533 | 3.5833 | 16.2433 | 1.6433 | 894 | 62.3067 | 0
2019-02-10 22:00:00 | 3.12 | 313.7767 | 3.5867 | 344.8 | 3.7367 | 3.0467 | 3.4967 | 3.3633 | 1.5433 | 894 | 62.2467 | 0
2019-02-10 22:15:00 | 3.4733 | 324.52 | 3.9967 | 356.6 | 4.18 | 11.9333 | 3.85 | 7.6033 | 1.6533 | 894 | 61.7433 | 0.21933
2019-02-10 22:30:00 | 3.3267 | 324.59 | 3.8233 | 356.68 | 3.9533 | 11.7533 | 3.8433 | 9.7967 | 1.6467 | 894.2 | 61.9633 | 0.024
2019-02-10 22:45:00 | 2.65 | 215.2133 | 3.0567 | 236.5 | 4.1367 | 8.47 | 3.9667 | 16.0433 | 1.45 | 895 | 63.4033 | 0
2019-02-10 23:00:00 | 2.5433 | 5.7667 | 2.9233 | 6.3333 | 3.4433 | 16.6433 | 3.2867 | 18.3833 | 1.2767 | 895 | 64.37 | 0
2019-02-10 23:15:00 | 2.6033 | 109.9167 | 2.99 | 120.7867 | 3.1467 | 1.6733 | 2.9167 | 26.8067 | 1.2967 | 895 | 64.36 | 0
2019-02-10 23:30:00 | 2.2833 | 323.9567 | 2.6233 | 356 | 2.68 | 17.1133 | 1.93 | 18.02 | 1.19 | 894.1333 | 65.06 | 0
2019-02-10 23:45:00 | 2.1233 | 322.26 | 2.4467 | 354.1333 | 2.2767 | 25.1967 | 1.3333 | 54.2433 | 1.1333 | 894 | 65.236 | 0.033333