## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-11 00:00:00 | 1.1367 | 310.0667 | 1.3067 | 340.7333 | 0.76333 | 179.3167 | 1.0933 | 150.23 | 1.12 | 894 | 65.2333 | 0.27067
2019-02-11 00:15:00 | 0.84 | 322.6567 | 0.97333 | 354.5667 | 0.73333 | 203.3667 | 1.6167 | 197.2 | 1.1467 | 894 | 65.6567 | 1.026
2019-02-11 00:30:00 | 1.18 | 223.83 | 1.36 | 245.9667 | 2.0067 | 181.2333 | 2.75 | 175.6 | 1.4067 | 894 | 67.09 | 2.382
2019-02-11 00:45:00 | 1.4067 | 147.2667 | 1.6167 | 161.8333 | 2.35 | 176.0333 | 3.1467 | 181.8667 | 1.8267 | 894 | 68.86 | 3.0313
2019-02-11 01:00:00 | 2.08 | 151.2733 | 2.39 | 166.2333 | 3.0033 | 181.4333 | 3.6667 | 188.6667 | 1.9 | 894 | 71.1533 | 3.3693
2019-02-11 01:15:00 | 1.8733 | 154.06 | 2.1533 | 169.3 | 2.6133 | 168 | 3.1133 | 182.9333 | 1.9867 | 894 | 72.3167 | 1.818
2019-02-11 01:30:00 | 1.9667 | 149.2733 | 2.26 | 164.0333 | 2.6133 | 177.2667 | 3.2267 | 184.0667 | 1.9733 | 894.2 | 72.6567 | 1.5893
2019-02-11 01:45:00 | 1.1867 | 125.1667 | 1.3693 | 137.5467 | 1.6727 | 188.0267 | 2.292 | 184.6067 | 2.0287 | 894.4667 | 73.62 | 0.47
2019-02-11 02:00:00 | 1.3767 | 134.6567 | 1.5967 | 147.9667 | 2.1267 | 169.9667 | 2.62 | 170.6333 | 1.9133 | 894 | 74.0107 | 0.49667
2019-02-11 02:15:00 | 1.8667 | 175.3933 | 2.15 | 192.7333 | 2.5733 | 188.5 | 3.4833 | 184.3667 | 1.9733 | 894 | 75.1967 | 1.8533
2019-02-11 02:30:00 | 2.06 | 161.44 | 2.37 | 177.4 | 2.6533 | 179.9 | 3.5767 | 177.5667 | 2.0333 | 894 | 75.32 | 0.69733
2019-02-11 02:45:00 | 1.0033 | 147.6067 | 1.1633 | 162.2 | 1.8533 | 175.4333 | 2.52 | 190.6667 | 1.8533 | 894 | 74.58 | 0.13867
2019-02-11 03:00:00 | 1.3433 | 185.2867 | 1.55 | 203.6 | 2.32 | 188.8333 | 3.02 | 182.3333 | 1.4867 | 894 | 75.2067 | 0.652
2019-02-11 03:15:00 | 2.21 | 160.95 | 2.54 | 176.8667 | 2.8533 | 176.1667 | 3.5267 | 177.4333 | 1.8133 | 894 | 76.9433 | 1.3253
2019-02-11 03:30:00 | 2.39 | 149.8433 | 2.7467 | 164.6667 | 2.9667 | 178.9 | 3.4867 | 179.5 | 1.8133 | 894 | 77.2767 | 2.0727
2019-02-11 03:45:00 | 1.84 | 140.82 | 2.1167 | 154.7333 | 2.4633 | 174.7667 | 2.9267 | 183.2333 | 1.7033 | 893.4667 | 78.1533 | 2.528
2019-02-11 04:00:00 | 1.24 | 134.9867 | 1.4233 | 148.3333 | 1.8967 | 199.0333 | 2.36 | 188.4333 | 1.61 | 893 | 78.88 | 1.69
2019-02-11 04:15:00 | 2.0667 | 167.63 | 2.3833 | 184.2 | 2.61 | 192.2333 | 2.8267 | 190.3 | 1.5333 | 893 | 79.78 | 1.492
2019-02-11 04:30:00 | 1.8133 | 154.3367 | 2.09 | 169.6 | 2.25 | 173.9667 | 2.5067 | 192.8267 | 1.4867 | 893 | 80.3 | 1.768
2019-02-11 04:45:00 | 2.0267 | 157.41 | 2.3367 | 172.9667 | 2.4833 | 176.1 | 2.8067 | 195.9667 | 1.44 | 893 | 81.3 | 2.6827
2019-02-11 05:00:00 | 2.4533 | 150.55 | 2.8233 | 165.4333 | 2.89 | 169.1 | 3.2867 | 180.1 | 1.3933 | 892.1333 | 82.4333 | 1.896
2019-02-11 05:15:00 | 1.9867 | 158.1633 | 2.2867 | 173.8 | 2.4667 | 173.1667 | 2.66 | 185.9 | 1.3367 | 892 | 83.3333 | 3.8327
2019-02-11 05:30:00 | 2.7533 | 174.37 | 3.1667 | 191.6 | 3.2733 | 198.5 | 3.6733 | 196.4333 | 1.2833 | 892 | 84.2667 | 6.578
2019-02-11 05:45:00 | 3.0467 | 174.75 | 3.51 | 192.0333 | 3.73 | 183.4 | 3.96 | 202.8333 | 1.15 | 892 | 85.5333 | 7.5487
2019-02-11 06:00:00 | 2.6533 | 156.0167 | 3.0567 | 171.4333 | 3.13 | 184 | 3.4533 | 209.6333 | 1.0567 | 892 | 86.6 | 8.5807
2019-02-11 06:15:00 | 2.5833 | 163.8333 | 2.9733 | 180.0333 | 3.1033 | 185.6667 | 3.7533 | 206.5333 | 0.96667 | 892 | 87.4 | 7.9327
2019-02-11 06:30:00 | 2.4433 | 150 | 2.8067 | 164.8333 | 2.9233 | 198.9333 | 3.6467 | 205.4 | 0.99333 | 892 | 87.7333 | 6.472
2019-02-11 06:45:00 | 2.9133 | 157.1867 | 3.36 | 172.7333 | 3.4933 | 202.6 | 3.9267 | 198.4333 | 0.99333 | 892 | 88.2333 | 10.3467
2019-02-11 07:00:00 | 2.9667 | 150.1533 | 3.4133 | 165 | 3.4667 | 196.6667 | 3.5933 | 198.7 | 0.97333 | 892 | 89.1667 | 10.436
2019-02-11 07:15:00 | 2.7067 | 159.8567 | 3.11 | 175.6667 | 3.1467 | 192.7533 | 3.2867 | 207.6 | 0.96 | 892 | 89.6 | 12.1393
2019-02-11 07:30:00 | 3.1867 | 168.1767 | 3.6633 | 184.8 | 3.9 | 200.8 | 3.88 | 213.5333 | 0.92667 | 892 | 89.2667 | 14.5247
2019-02-11 07:45:00 | 3.21 | 169.7867 | 3.69 | 186.5667 | 4.0733 | 232.8333 | 3.9467 | 222.8 | 0.90667 | 892 | 88.4667 | 13.352
2019-02-11 08:00:00 | 2.9033 | 179.5467 | 3.3367 | 197.3 | 3.78 | 215.1 | 3.4867 | 224.6 | 0.88667 | 892 | 89.0667 | 9.5153
2019-02-11 08:15:00 | 2.7767 | 161.3467 | 3.1933 | 177.3 | 3.4833 | 211.6 | 3.67 | 190.1333 | 0.88 | 892 | 89.5667 | 8.7353
2019-02-11 08:30:00 | 3.27 | 158.38 | 3.76 | 174.0333 | 3.95 | 200.6 | 4.53 | 197.6 | 0.96 | 892 | 89.9667 | 9.654
2019-02-11 08:45:00 | 2.9067 | 147.27 | 3.3467 | 161.8333 | 3.6067 | 206.6 | 3.62 | 189.1667 | 1.0333 | 892.5333 | 90.3 | 6.836
2019-02-11 09:00:00 | 3.1067 | 133.9833 | 3.5733 | 147.2333 | 3.6933 | 189.5333 | 4.14 | 187.0333 | 1.0867 | 893 | 90.48 | 6.8207
2019-02-11 09:15:00 | 2.9667 | 141.4807 | 3.4113 | 155.4733 | 3.4753 | 174.9533 | 3.532 | 176.7333 | 1.0793 | 893 | 91.0867 | 6.1673
2019-02-11 09:30:00 | 3.0067 | 158.59 | 3.4667 | 174.2667 | 3.4933 | 182.9667 | 3.6033 | 178.6667 | 1.0333 | 893 | 92.4333 | 5.8273
2019-02-11 09:45:00 | 2.7467 | 157.6767 | 3.1567 | 173.2667 | 3.34 | 181.2667 | 3.6367 | 191.6667 | 1.0767 | 893 | 93.1 | 5.0007
2019-02-11 10:00:00 | 2.8267 | 136.0167 | 3.2567 | 149.4667 | 3.3667 | 185.5333 | 3.71 | 177.1333 | 1.0967 | 893 | 92.8133 | 3.448
2019-02-11 10:15:00 | 2.6967 | 156.07 | 3.11 | 171.5 | 3.0967 | 184.8 | 3.2533 | 183.2 | 1.13 | 893 | 92.2667 | 2.3127
2019-02-11 10:30:00 | 2.2607 | 165.9473 | 2.6007 | 182.3533 | 2.674 | 194.2667 | 3.1027 | 190.0533 | 1.2127 | 893 | 91.7333 | 2.9153
2019-02-11 10:45:00 | 2.5267 | 143.6933 | 2.9133 | 157.9 | 3.1167 | 167.7667 | 3.1333 | 158.5667 | 1.5133 | 893 | 90.0333 | 3.0433
2019-02-11 11:00:00 | 2.6867 | 126.28 | 3.0867 | 138.7667 | 3.0767 | 171.7 | 2.92 | 164.5 | 2.0067 | 893 | 88.1 | 2.3947
2019-02-11 11:15:00 | 2.7067 | 133.5 | 3.1167 | 146.7 | 3.2467 | 159.0667 | 3.2733 | 178.9 | 2.7867 | 893 | 84.5 | 2.3213
2019-02-11 11:30:00 | 3.2 | 136.9 | 3.6833 | 150.4333 | 3.7 | 170.2667 | 3.6333 | 189.3667 | 2.8133 | 893.8667 | 83.5667 | 2.0973
2019-02-11 11:45:00 | 1.8133 | 159.0133 | 2.09 | 174.7333 | 2.28 | 181.3 | 2.3333 | 194.2667 | 2.4267 | 893.4667 | 84.7667 | 1.314
2019-02-11 12:00:00 | 1.9067 | 170.66 | 2.19 | 187.5333 | 2.3133 | 216.7667 | 2.1733 | 210.5333 | 2.46 | 893 | 84.7 | 0.76
2019-02-11 12:15:00 | 2.3133 | 144.3567 | 2.66 | 158.6333 | 2.6567 | 185.2 | 2.8033 | 188 | 2.6633 | 893 | 83.7667 | 1.3313
2019-02-11 12:30:00 | 2.56 | 153.59 | 2.9467 | 168.7667 | 3.07 | 184.4 | 3.4367 | 193.2 | 2.6967 | 893 | 82.9667 | 1.748
2019-02-11 12:45:00 | 1.66 | 143.2033 | 1.9133 | 157.3667 | 2.1 | 175.1 | 2.3133 | 196.2333 | 2.72 | 893 | 82.8333 | 0.55533
2019-02-11 13:00:00 | 2.4467 | 156.7433 | 2.8133 | 172.2333 | 2.9667 | 188.4333 | 3.1467 | 193.3 | 2.74 | 892.1333 | 82.7 | 0.25333
2019-02-11 13:15:00 | 2.0947 | 154.804 | 2.4067 | 170.1133 | 2.5393 | 182.5467 | 2.6007 | 179.3 | 2.952 | 892 | 81.6133 | 0.41133
2019-02-11 13:30:00 | 1.96 | 158.5533 | 2.2533 | 174.2333 | 2.43 | 180.9333 | 2.4967 | 179.7667 | 3.0267 | 892 | 80.9333 | 0.25067
2019-02-11 13:45:00 | 2.0267 | 150.2433 | 2.34 | 165.1 | 2.45 | 198.8333 | 2.7167 | 195.7 | 3.0767 | 892 | 80.6333 | 0.35467
2019-02-11 14:00:00 | 2.0133 | 162.0167 | 2.3133 | 178.0333 | 2.6167 | 189.5 | 2.93 | 191.7667 | 3.2767 | 891.1333 | 79.46 | 1.096
2019-02-11 14:15:00 | 1.76 | 153.9733 | 2.0267 | 169.2 | 2.2833 | 161.5667 | 2.6233 | 189.5333 | 3.4767 | 891 | 77.8033 | 0.47
2019-02-11 14:30:00 | 2.5067 | 118.48 | 2.8867 | 130.2 | 3.0367 | 170.56 | 3.1033 | 174.6 | 3.5233 | 891 | 77.2233 | 0
2019-02-11 14:45:00 | 1.9967 | 184.4633 | 2.3 | 202.7 | 2.2767 | 163.1667 | 2.4967 | 198.9333 | 3.5433 | 890.4667 | 76.852 | 0
2019-02-11 15:00:00 | 1.4767 | 147.9967 | 1.7067 | 162.6333 | 1.79 | 152.5 | 2.1233 | 157.7333 | 3.63 | 890 | 75.9833 | 0
2019-02-11 15:15:00 | 1.86 | 172.05 | 2.1433 | 189.0667 | 2.4833 | 223.1333 | 2.62 | 222.1333 | 3.48 | 890 | 76.79 | 0
2019-02-11 15:30:00 | 1.78 | 169.9233 | 2.05 | 186.7333 | 2.5033 | 200.4 | 2.6067 | 222.5333 | 3.4067 | 890 | 77.1433 | 0
2019-02-11 15:45:00 | 1.66 | 159.312 | 1.9187 | 175.0533 | 2.2487 | 176.9133 | 2.3173 | 193.12 | 3.488 | 890 | 76.9993 | 0
2019-02-11 16:00:00 | 2.49 | 152.0333 | 2.8667 | 167.0667 | 3.2233 | 177.9333 | 3.24 | 175.1333 | 3.4233 | 889.1333 | 77.39 | 0
2019-02-11 16:15:00 | 2.17 | 152.59 | 2.5033 | 167.6667 | 2.7533 | 142.5333 | 2.8 | 177.1667 | 3.3833 | 889 | 77.4847 | 0
2019-02-11 16:30:00 | 2.2433 | 151.9833 | 2.5767 | 167 | 2.9267 | 156.4667 | 2.66 | 165.7667 | 3.39 | 889 | 77.3987 | 0
2019-02-11 16:45:00 | 2.2267 | 114.94 | 2.5567 | 126.3 | 2.6967 | 141.9667 | 2.73 | 180.0333 | 3.46 | 889 | 76.9967 | 0.24
2019-02-11 17:00:00 | 2.4733 | 132.4667 | 2.8433 | 145.5667 | 3.1233 | 142.7 | 3.09 | 169.1667 | 3.4267 | 889 | 77.2367 | 0.65467
2019-02-11 17:15:00 | 2.26 | 129.8867 | 2.6 | 142.7333 | 2.8033 | 164.0333 | 2.8333 | 180.5667 | 3.4067 | 889 | 77.5627 | 1.262
2019-02-11 17:30:00 | 2.7667 | 157.56 | 3.18 | 173.1333 | 3.3567 | 165.1667 | 3.3867 | 170.8333 | 3.3067 | 889 | 77.792 | 1.36
2019-02-11 17:45:00 | 2.88 | 147.8867 | 3.3167 | 162.5 | 3.3667 | 171.8333 | 3.4767 | 177.6333 | 3.1867 | 889 | 78.088 | 0.77933
2019-02-11 18:00:00 | 2.3133 | 151.1533 | 2.6633 | 166.1 | 2.8533 | 151.9 | 2.9967 | 173.3667 | 3.16 | 889 | 78.68 | 1.5667
2019-02-11 18:15:00 | 1.85 | 161.71 | 2.1333 | 177.7 | 2.1533 | 173 | 2.5833 | 189 | 3.1033 | 889 | 79.4633 | 2.694
2019-02-11 18:30:00 | 2.25 | 168.2567 | 2.5867 | 184.9 | 2.6667 | 196.7333 | 2.87 | 197.5333 | 3.0367 | 889 | 79.896 | 3.1293
2019-02-11 18:45:00 | 2.7467 | 166.7167 | 3.16 | 183.2 | 3.2533 | 213.4667 | 3.5733 | 201.1667 | 2.97 | 889 | 80.1 | 3.6333
2019-02-11 19:00:00 | 3.14 | 159.7367 | 3.6133 | 175.5333 | 3.5867 | 180.4 | 4.1333 | 190.7667 | 2.93 | 889 | 80.28 | 3.946
2019-02-11 19:15:00 | 2.63 | 154.0667 | 3.03 | 169.3 | 3.15 | 184.5 | 3.6 | 176.6333 | 2.9033 | 889 | 80.3667 | 3.344
2019-02-11 19:30:00 | 2.27 | 154.2467 | 2.6167 | 169.5 | 2.6567 | 185.8333 | 3.3 | 179.9 | 2.91 | 889 | 80.72 | 3.1307
2019-02-11 19:45:00 | 2.5233 | 146.2733 | 2.9 | 160.7333 | 2.9733 | 179.4667 | 3.46 | 181 | 2.9533 | 889 | 80.3 | 2.1833
2019-02-11 20:00:00 | 2.0433 | 131.8333 | 2.36 | 144.8667 | 2.4867 | 190.6667 | 2.6467 | 204.2667 | 2.9267 | 889 | 80.52 | 2.5147
2019-02-11 20:15:00 | 2.3933 | 175.1133 | 2.7533 | 192.4333 | 3.0167 | 216.5 | 2.91 | 218.2667 | 2.89 | 889 | 81.2667 | 2.962
2019-02-11 20:30:00 | 2.7267 | 163.0467 | 3.1333 | 179.1667 | 3.6567 | 211.1667 | 3.61 | 215 | 2.8167 | 889 | 82.2667 | 3.608
2019-02-11 20:45:00 | 2.4267 | 175.1733 | 2.7933 | 192.5 | 3.3133 | 217.4 | 3.3267 | 208.6667 | 2.79 | 889 | 82.7 | 2.4867
2019-02-11 21:00:00 | 1.8733 | 180.3933 | 2.1533 | 198.2333 | 2.4 | 218.1333 | 2.4867 | 217.6 | 2.79 | 889 | 82.5933 | 1.354
2019-02-11 21:15:00 | 1.94 | 190.8633 | 2.2367 | 209.7333 | 2.67 | 200.0667 | 2.71 | 187.0667 | 2.77 | 889 | 82.5467 | 1.3533
2019-02-11 21:30:00 | 2.5 | 175.8167 | 2.8767 | 193.2 | 3.09 | 195.6 | 3.3033 | 188.4667 | 2.7767 | 889.8667 | 82.5667 | 1.766
2019-02-11 21:45:00 | 2.2867 | 169.2633 | 2.6267 | 186 | 2.8933 | 204.6333 | 2.95 | 203.2 | 2.7667 | 890 | 82.7667 | 1.2887
2019-02-11 22:00:00 | 2.26 | 161.1367 | 2.6 | 177.0667 | 2.94 | 204.3667 | 2.95 | 209.7333 | 2.7 | 890 | 83.4333 | 1.022
2019-02-11 22:15:00 | 1.96 | 171.5667 | 2.2567 | 188.5333 | 2.3867 | 180.9667 | 2.5833 | 193.7 | 2.67 | 890 | 83.8133 | 1.2167
2019-02-11 22:30:00 | 2.3067 | 155.6733 | 2.6567 | 171.0667 | 2.7867 | 186.3667 | 2.7367 | 193.8333 | 2.61 | 890 | 84.3 | 0.612
2019-02-11 22:45:00 | 2.1 | 153.4967 | 2.4167 | 168.6667 | 2.79 | 184.8667 | 2.7467 | 192.7 | 2.5733 | 890 | 84.7667 | 0.038
2019-02-11 23:00:00 | 1.1 | 167.27 | 1.2633 | 183.8 | 1.8633 | 183.1333 | 2.0733 | 186.5667 | 2.5 | 890 | 85.2333 | 0
2019-02-11 23:15:00 | 0.5 | 171.82 | 0.58667 | 188.8 | 0.99 | 229.9 | 1.86 | 231.2667 | 2.4533 | 890 | 85.5 | 0
2019-02-11 23:30:00 | 0.69333 | 235.7 | 0.8 | 259 | 1.3767 | 246.7667 | 1.9333 | 253.8 | 2.4533 | 890 | 85.3 | 0
2019-02-11 23:45:00 | 0.28333 | 259.8733 | 0.33 | 285.5667 | 0.56 | 261.2667 | 1.1867 | 256.2 | 2.4767 | 890 | 84.9333 | 0