## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-12 00:00:00 | 0.20333 | 273.76 | 0.23667 | 300.8333 | 0.37333 | 277.22 | 0.41333 | 269.8667 | 2.5233 | 890 | 84.4667 | 0
2019-02-12 00:15:00 | 0.36 | 269.7653 | 0.41667 | 296.4467 | 0.70333 | 273.1467 | 0.8 | 270.5667 | 2.57 | 890 | 83.9667 | 0
2019-02-12 00:30:00 | 0.24 | 278.2167 | 0.27667 | 305.7333 | 0.45667 | 277.7667 | 0.52 | 269.1 | 2.588 | 890 | 83.68 | 0
2019-02-12 00:45:00 | 0.51333 | 272.862 | 0.59333 | 299.8467 | 1 | 295.2333 | 0.83333 | 312.9 | 2.6 | 890 | 83.2 | 0
2019-02-12 01:00:00 | 1.0067 | 90.9913 | 1.16 | 99.9867 | 1.98 | 332.7 | 2.08 | 328.9 | 2.56 | 890 | 83.4867 | 0
2019-02-12 01:15:00 | 0.96 | 103.56 | 1.11 | 113.8 | 1.72 | 0.15 | 2.3733 | 249.0967 | 2.44 | 890 | 84.4667 | 0
2019-02-12 01:30:00 | 1.1 | 305.2467 | 1.27 | 335.4333 | 2.0667 | 4.3633 | 2.28 | 25.8033 | 2.38 | 890 | 85.0667 | 0
2019-02-12 01:45:00 | 1.23 | 309.2467 | 1.42 | 339.8333 | 2.3 | 8.92 | 2.4467 | 12.51 | 2.34 | 890 | 85.4667 | 0
2019-02-12 02:00:00 | 1.4633 | 315.4467 | 1.6867 | 346.6333 | 2.3533 | 13.6533 | 2.6533 | 24.5633 | 2.3733 | 890 | 85.3333 | 0
2019-02-12 02:15:00 | 1.4433 | 308.4733 | 1.6667 | 338.9667 | 2.82 | 0.74667 | 3.1 | 13.02 | 2.3067 | 890 | 86.0667 | 0
2019-02-12 02:30:00 | 1.55 | 313.56 | 1.78 | 344.5667 | 2.82 | 229.7267 | 3.3 | 15.8933 | 2.24 | 890 | 86.42 | 1.494
2019-02-12 02:45:00 | 2.0467 | 13.6767 | 2.35 | 15.0167 | 3.5367 | 349.4667 | 3.7067 | 13.9133 | 2.28 | 890 | 86.3 | 4.8173
2019-02-12 03:00:00 | 2.52 | 2.0833 | 2.8967 | 2.2833 | 4.11 | 113.5667 | 4.2533 | 6.16 | 2.3333 | 889.8 | 86.1933 | 7.2167
2019-02-12 03:15:00 | 2.8 | 129.6067 | 3.2233 | 142.4267 | 4.59 | 236.8733 | 4.51 | 13.7533 | 2.39 | 889.5333 | 85.6667 | 5.6
2019-02-12 03:30:00 | 2.5613 | 170.8847 | 2.9527 | 187.79 | 4.55 | 10.7867 | 4.5733 | 14.4107 | 2.3913 | 890 | 85.2 | 6.43
2019-02-12 03:45:00 | 2.3633 | 215.9 | 2.7167 | 237.2533 | 4.5867 | 15.6467 | 4.8033 | 18.7767 | 2.2567 | 889.4667 | 85.8667 | 7.7787
2019-02-12 04:00:00 | 2.55 | 220.5733 | 2.9367 | 242.3867 | 4.3 | 15.6667 | 4.3033 | 18.4033 | 2.2167 | 889 | 86 | 8.722
2019-02-12 04:15:00 | 2.2133 | 2.5133 | 2.55 | 2.76 | 3.8233 | 18.6533 | 3.6533 | 9.6167 | 2.1867 | 889 | 86.2 | 8.0827
2019-02-12 04:30:00 | 2.3533 | 184.5533 | 2.71 | 202.8 | 4.3367 | 20.0467 | 4.4933 | 22.2167 | 2.1333 | 889 | 86.42 | 8.2307
2019-02-12 04:45:00 | 2.3293 | 298.7607 | 2.6847 | 328.3 | 4.278 | 14.6413 | 4.6267 | 24.668 | 2.1113 | 889 | 86.3133 | 10.0373
2019-02-12 05:00:00 | 2.5667 | 316.8333 | 2.9533 | 348.1667 | 4.87 | 14.3167 | 5.4067 | 19.56 | 2.06 | 889 | 86.48 | 12.8307
2019-02-12 05:15:00 | 2.74 | 105.61 | 3.16 | 116.0467 | 4.9733 | 123.6733 | 5.46 | 16.5267 | 2.0267 | 889 | 86.0867 | 15.75
2019-02-12 05:30:00 | 2.8267 | 113.21 | 3.2467 | 124.4 | 4.92 | 123.7333 | 5.3 | 9.5533 | 2.0933 | 889 | 85.2667 | 16.9767
2019-02-12 05:45:00 | 2.5 | 108.7767 | 2.8767 | 119.5267 | 4.2433 | 25.0533 | 4.4567 | 10.1833 | 2.0633 | 889 | 85.5 | 13.1867
2019-02-12 06:00:00 | 2 | 103.49 | 2.31 | 113.72 | 3.5167 | 10.3933 | 3.9033 | 8.61 | 1.99 | 889 | 86.1 | 13.05
2019-02-12 06:15:00 | 2.3033 | 2.1733 | 2.6467 | 2.38 | 3.85 | 237.37 | 4.46 | 9.3867 | 2.0267 | 889 | 85.5333 | 11.578
2019-02-12 06:30:00 | 2.5967 | 17.7533 | 2.9933 | 19.5067 | 4.2967 | 238.97 | 4.8867 | 6.1 | 2.0867 | 889.2 | 84.4667 | 14.5887
2019-02-12 06:45:00 | 3.1133 | 207.0467 | 3.59 | 227.5133 | 5.4133 | 239.25 | 6.0533 | 19.8233 | 2.16 | 890 | 83.3 | 16.196
2019-02-12 07:00:00 | 3.0667 | 217.5333 | 3.5233 | 239.0467 | 4.9867 | 15.31 | 5.4867 | 17.3767 | 2.16 | 890 | 82.92 | 16.99
2019-02-12 07:15:00 | 3.2 | 285.13 | 3.6833 | 313.3333 | 5.95 | 11.7433 | 6.5733 | 22.29 | 2.19 | 890 | 82.3333 | 18.2733
2019-02-12 07:30:00 | 3.5533 | 105.1233 | 4.09 | 115.52 | 6.41 | 11.4833 | 6.7733 | 24.27 | 2.2013 | 890 | 82.0667 | 20.17
2019-02-12 07:45:00 | 3.6 | 117.23 | 4.14 | 128.82 | 6.18 | 15.34 | 6.7933 | 21.2467 | 2.2433 | 890 | 81.7333 | 19.4127
2019-02-12 08:00:00 | 3.5733 | 195.99 | 4.1067 | 215.3667 | 6.622 | 14.8867 | 6.9 | 17.5667 | 2.27 | 890 | 81.2667 | 17.554
2019-02-12 08:15:00 | 3.43 | 157.2633 | 3.9467 | 172.8067 | 5.83 | 124.96 | 6.22 | 13.8367 | 2.45 | 890 | 79.5733 | 13.7653
2019-02-12 08:30:00 | 3.21 | 220.5367 | 3.6933 | 242.34 | 5.0433 | 141.7467 | 5.2 | 10.43 | 2.65 | 890.8667 | 78.08 | 10.7087
2019-02-12 08:45:00 | 2.6467 | 304.6367 | 3.0533 | 334.7667 | 4.63 | 9.29 | 4.7933 | 22.75 | 2.7733 | 891 | 77.91 | 11.392
2019-02-12 09:00:00 | 2.6333 | 304.1567 | 3.0333 | 334.2333 | 4.7233 | 11.37 | 5.0467 | 22.3633 | 2.94 | 891 | 77.8213 | 12.144
2019-02-12 09:15:00 | 2.9267 | 114.05 | 3.3667 | 125.3267 | 5.38 | 11.7067 | 5.7367 | 18.3967 | 3.2067 | 891 | 76.75 | 11.5093
2019-02-12 09:30:00 | 2.98 | 216.5833 | 3.4267 | 238 | 5.24 | 6.7133 | 5.5833 | 25.01 | 3.54 | 891.8667 | 75.5433 | 8.4753
2019-02-12 09:45:00 | 2.6533 | 316.5933 | 3.0533 | 347.9 | 4.6 | 4.33 | 4.79 | 13.12 | 3.95 | 892 | 73.7433 | 7.3773
2019-02-12 10:00:00 | 2.6667 | 101.1933 | 3.0733 | 111.2 | 4.8267 | 0.15 | 4.728 | 11.78 | 4.39 | 892.2 | 71.77 | 6.0607
2019-02-12 10:15:00 | 2.9267 | 110.5267 | 3.3667 | 121.46 | 4.8433 | 7.5733 | 4.78 | 10.37 | 4.9167 | 893 | 69.5833 | 8.094
2019-02-12 10:30:00 | 3.14 | 141.3867 | 3.62 | 155.36 | 5.1033 | 10.6533 | 5.12 | 13.37 | 5.3167 | 893 | 67.7967 | 12.4687
2019-02-12 10:45:00 | 3.8467 | 315.3133 | 4.4233 | 346.5 | 5.9767 | 10.4733 | 6.0267 | 26.6767 | 6.25 | 893 | 64.78 | 20.608
2019-02-12 11:00:00 | 3.9467 | 323.5067 | 4.5433 | 355.5 | 5.9767 | 27.6267 | 5.9 | 32.6767 | 6.9433 | 893 | 61.8133 | 24.6333
2019-02-12 11:15:00 | 4.7467 | 32.1467 | 5.46 | 35.3233 | 8.0733 | 19.9367 | 7.8667 | 21.7667 | 6.74 | 893.5333 | 61.31 | 26.7693
2019-02-12 11:30:00 | 4.7733 | 213.0533 | 5.4867 | 234.1167 | 7.6067 | 24.3433 | 7.2667 | 34.1667 | 6.738 | 894 | 60.29 | 24.472
2019-02-12 11:45:00 | 4.18 | 117.35 | 4.8067 | 128.9533 | 6.28 | 19.1633 | 6.0833 | 30.8367 | 7.0933 | 894 | 58.73 | 21.2807
2019-02-12 12:00:00 | 3.7533 | 228.33 | 4.3133 | 250.9 | 5.2467 | 26.83 | 4.93 | 32.05 | 7.1533 | 894 | 57.25 | 17.0987
2019-02-12 12:15:00 | 3.44 | 207.4967 | 3.96 | 228.0167 | 4.6933 | 18.31 | 4.6567 | 24.1367 | 7.2467 | 894 | 55.99 | 15.3167
2019-02-12 12:30:00 | 3.8667 | 26.49 | 4.4533 | 29.11 | 5.7667 | 19.5633 | 5.5633 | 30.43 | 8.18 | 893.8 | 53.55 | 9.1453
2019-02-12 12:45:00 | 3.9053 | 7.1853 | 4.488 | 7.8973 | 5.7367 | 17.3213 | 5.5353 | 27.138 | 8.6373 | 893 | 51.7347 | 4.9893
2019-02-12 13:00:00 | 3.8333 | 11.56 | 4.41 | 12.6967 | 5.8 | 25.4267 | 5.6067 | 30.6933 | 9.09 | 893 | 50.82 | 6.792
2019-02-12 13:15:00 | 4 | 298.6333 | 4.6067 | 328.1667 | 6.1 | 23.0033 | 5.9833 | 31.2667 | 9.7733 | 893 | 48.45 | 8.0233
2019-02-12 13:30:00 | 3.9067 | 127.4133 | 4.4933 | 140.0133 | 6.32 | 21.7367 | 6.0833 | 31.5333 | 10.0133 | 893 | 47.69 | 7.5373
2019-02-12 13:45:00 | 3.6067 | 323.3267 | 4.1467 | 355.3 | 5.5033 | 27.7533 | 5.1467 | 32.6733 | 10.4733 | 893 | 46.1733 | 6.644
2019-02-12 14:00:00 | 3.6467 | 269.22 | 4.1933 | 295.8333 | 5.5367 | 19.9267 | 5.1533 | 39.6533 | 10.4133 | 893 | 46.16 | 6.9653
2019-02-12 14:15:00 | 3.4867 | 309.1633 | 4.01 | 339.7333 | 4.9733 | 21.4467 | 4.93 | 28.8133 | 10.4767 | 893 | 45.7367 | 7.3613
2019-02-12 14:30:00 | 3.3267 | 305.3367 | 3.83 | 335.5333 | 4.9733 | 20.02 | 4.8033 | 28.4733 | 10.9367 | 893 | 44.9233 | 6.4293
2019-02-12 14:45:00 | 3.8267 | 198.4633 | 4.4067 | 218.08 | 6.02 | 10.0267 | 5.53 | 26.6267 | 11.8133 | 893 | 42.8833 | 6.898
2019-02-12 15:00:00 | 3.76 | 3.6633 | 4.3333 | 4.0267 | 5.5067 | 11.2933 | 5.1033 | 16.06 | 11.6733 | 893 | 42.7433 | 3.9307
2019-02-12 15:15:00 | 2.4733 | 210 | 2.85 | 230.7633 | 3.4267 | 1.4433 | 3.23 | 125.1267 | 11.7267 | 893 | 42.11 | 1.8767
2019-02-12 15:30:00 | 2.7467 | 32.74 | 3.1633 | 35.9767 | 3.64 | 234.61 | 3.792 | 348.4667 | 11.7867 | 892.1333 | 42.15 | 0.31133
2019-02-12 15:45:00 | 2.3667 | 19.5533 | 2.7233 | 21.4833 | 3.2733 | 231.5267 | 2.97 | 224.61 | 11.8867 | 892 | 41.9867 | 0
2019-02-12 16:00:00 | 1.5467 | 197.2733 | 1.7833 | 216.7833 | 2.24 | 223.26 | 2.11 | 200.1433 | 12.5667 | 892 | 40.1933 | 0
2019-02-12 16:15:00 | 1.9 | 158.0067 | 2.1933 | 173.6333 | 2.3167 | 112.1667 | 2.3133 | 155.2 | 12.1433 | 892 | 41.33 | 0.174
2019-02-12 16:30:00 | 2.5933 | 129.7467 | 2.9867 | 142.5667 | 3.27 | 158.7 | 3.2333 | 163.3333 | 11.4433 | 892.2 | 43.09 | 0.62067
2019-02-12 16:45:00 | 2.5267 | 137.41 | 2.91 | 151 | 3.1767 | 190.1667 | 3.2333 | 205.5 | 11.4567 | 892.4667 | 43.1867 | 0.508
2019-02-12 17:00:00 | 2.76 | 180.25 | 3.1767 | 198.0667 | 3.2033 | 203.3 | 3.2 | 208.9667 | 11.1233 | 892.8667 | 43.8333 | 0.79286
2019-02-12 17:15:00 | 2.3767 | 169.9933 | 2.73 | 186.8 | 3.04 | 201.9333 | 3.2333 | 190.9333 | 10.7733 | 893 | 44.8067 | 2.198
2019-02-12 17:30:00 | 3.11 | 141.96 | 3.5767 | 156 | 3.9 | 194.3333 | 3.9333 | 200.0667 | 10.4667 | 893 | 45.5733 | 2.7007
2019-02-12 17:45:00 | 2.5733 | 159.3767 | 2.96 | 175.1333 | 3.21 | 224.1667 | 3.18 | 214.6 | 9.9133 | 892.4667 | 46.9567 | 3.2327
2019-02-12 18:00:00 | 2.556 | 171.9 | 2.938 | 188.9 | 3.144 | 197.12 | 3.28 | 213.36 | 9.524 | 892 | 48.45 | 6.9
2019-02-12 18:15:00 | 3.2133 | 168.1733 | 3.7033 | 184.8 | 4.2467 | 224.5333 | 4.4733 | 227.6667 | 9.2067 | 892 | 50.1867 | 10.7993
2019-02-12 18:30:00 | 3.08 | 172.1733 | 3.5433 | 189.2 | 4.1 | 218.7333 | 4.4867 | 215.5333 | 8.9333 | 892 | 51.72 | 10.3813
2019-02-12 18:45:00 | 3.6267 | 165.3533 | 4.18 | 181.7 | 4.52 | 209.8 | 4.7567 | 206.0667 | 8.5867 | 892 | 53.6567 | 13.3627
2019-02-12 19:00:00 | 3.9867 | 166.3267 | 4.5933 | 182.7667 | 4.6933 | 198.1333 | 4.9833 | 193.3333 | 8.42 | 892 | 55.31 | 12.342
2019-02-12 19:15:00 | 4.3067 | 160.59 | 4.9533 | 176.4667 | 5.0967 | 189.4 | 5.19 | 191.3 | 8.2733 | 892 | 56.97 | 12.6247
2019-02-12 19:30:00 | 3.8 | 156.2767 | 4.3733 | 171.7333 | 4.5633 | 192.0867 | 4.69 | 193.3667 | 8.0267 | 892 | 58.2833 | 16.412
2019-02-12 19:45:00 | 4.2333 | 167.81 | 4.8733 | 184.4 | 5.08 | 202.2667 | 5.3733 | 196.8333 | 7.8667 | 892 | 59.2767 | 18.4413
2019-02-12 20:00:00 | 4.3267 | 178.85 | 4.9867 | 196.5333 | 5.18 | 202.2 | 5.3667 | 202.1 | 7.6333 | 892 | 60.4167 | 18.5247
2019-02-12 20:15:00 | 4.3867 | 184.65 | 5.0567 | 202.9 | 5.24 | 194.5667 | 5.5767 | 189.6333 | 7.2733 | 892 | 62.4533 | 17.5347
2019-02-12 20:30:00 | 4.4133 | 181.1233 | 5.09 | 199.0333 | 5.162 | 188.5667 | 5.6767 | 188.1 | 7 | 892 | 64.2733 | 16.0567
2019-02-12 20:45:00 | 4.5733 | 174.6067 | 5.2633 | 191.8667 | 5.3167 | 198.3333 | 5.7267 | 191.9 | 6.7767 | 892 | 65.7833 | 15.162
2019-02-12 21:00:00 | 3.9933 | 167.44 | 4.5967 | 184 | 4.6767 | 200.26 | 5.2333 | 184.9667 | 6.57 | 892.6667 | 66.8767 | 14.306
2019-02-12 21:15:00 | 3.76 | 162.9267 | 4.33 | 179.0333 | 4.3633 | 177.5667 | 4.94 | 198.4667 | 6.3933 | 892.5333 | 67.76 | 13.78
2019-02-12 21:30:00 | 3.7467 | 176.0933 | 4.3167 | 193.5 | 4.4233 | 183.5 | 5.0067 | 200.6667 | 6.3067 | 893 | 68.2 | 11.656
2019-02-12 21:45:00 | 3.8133 | 147.98 | 4.39 | 162.6 | 4.5967 | 188.7667 | 5.07 | 192.9 | 6.2 | 893 | 68.6133 | 12.5153
2019-02-12 22:00:00 | 3.74 | 166.6533 | 4.3033 | 183.1333 | 4.55 | 187.6333 | 4.8367 | 193.7 | 6.0467 | 893 | 69.4133 | 11.6187
2019-02-12 22:15:00 | 3.2867 | 148.4567 | 3.7867 | 163.1333 | 3.99 | 197.6 | 3.97 | 194.5333 | 5.86 | 893 | 70.33 | 12.504
2019-02-12 22:30:00 | 2.9867 | 156.95 | 3.4333 | 172.4667 | 3.69 | 193.0667 | 3.8633 | 206.5333 | 5.58 | 893 | 71.5767 | 13.4973
2019-02-12 22:45:00 | 2.9467 | 165.7733 | 3.39 | 182.1667 | 3.6 | 210.7 | 3.9367 | 191.6 | 5.48 | 893 | 72.2 | 13.1027
2019-02-12 23:00:00 | 3.2933 | 167.1067 | 3.79 | 183.6333 | 3.9267 | 201.1 | 3.9833 | 195.7333 | 5.5133 | 893 | 72.2887 | 12.322
2019-02-12 23:15:00 | 3.57 | 155.1567 | 4.1133 | 170.5 | 4.2467 | 191.6 | 4.45 | 190.7333 | 5.5167 | 893 | 72.55 | 14.8933
2019-02-12 23:30:00 | 3.8767 | 166.4433 | 4.4533 | 182.9 | 4.5533 | 180 | 4.8033 | 191.4667 | 5.5633 | 893 | 72.4093 | 13.2947
2019-02-12 23:45:00 | 3.5467 | 170.2633 | 4.0767 | 187.1 | 4.32 | 187.3667 | 4.6433 | 186.4 | 5.43 | 893 | 72.87 | 8.6527