## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-13 00:00:00 | 2.9733 | 153.4567 | 3.4233 | 168.6333 | 3.5867 | 181.5667 | 4.0833 | 182.0667 | 5.2567 | 893 | 73.6167 | 9.0567
2019-02-13 00:15:00 | 3.0733 | 163.5 | 3.5367 | 179.6667 | 3.7067 | 194.4333 | 4.1067 | 195.7 | 5.12 | 893 | 74.23 | 9.8553
2019-02-13 00:30:00 | 3.3267 | 157.8067 | 3.83 | 173.4 | 4 | 188.76 | 4.44 | 196.6733 | 5.098 | 892.1333 | 74.3327 | 8.8233
2019-02-13 00:45:00 | 2.9667 | 158.6873 | 3.41 | 174.3733 | 3.6933 | 191.2667 | 4.03 | 201.4 | 5.2033 | 892 | 73.9467 | 5.1527
2019-02-13 01:00:00 | 2.2 | 159.2833 | 2.53 | 175.0333 | 2.66 | 172.1333 | 3.09 | 194.9333 | 5.25 | 892 | 73.8067 | 3.0707
2019-02-13 01:15:00 | 2.0133 | 136.0767 | 2.3267 | 149.5333 | 2.46 | 174.3 | 2.84 | 185.6 | 5.16 | 892 | 74.3 | 2.204
2019-02-13 01:30:00 | 2.4467 | 150.2167 | 2.8133 | 165.0667 | 2.88 | 178.6333 | 3.28 | 182.1333 | 5.158 | 892 | 74.348 | 2.2713
2019-02-13 01:45:00 | 2.7667 | 155.7967 | 3.19 | 171.2 | 3.26 | 177.2667 | 3.71 | 177.4667 | 5.17 | 892 | 74.402 | 4.5907
2019-02-13 02:00:00 | 2.9 | 159.6233 | 3.3433 | 175.4 | 3.42 | 177.4 | 3.83 | 169.4667 | 5.0967 | 892 | 74.8133 | 6.6573
2019-02-13 02:15:00 | 2.72 | 159.3767 | 3.1333 | 175.1333 | 3.21 | 182.8333 | 3.6833 | 184.2333 | 5.02 | 892 | 75.32 | 5.038
2019-02-13 02:30:00 | 2.7333 | 155.6833 | 3.1533 | 171.0667 | 3.2033 | 179.9667 | 3.6367 | 183.2333 | 5.0487 | 892 | 75.4107 | 7.4233
2019-02-13 02:45:00 | 2.92 | 162.3233 | 3.3667 | 178.3667 | 3.5 | 184.3333 | 4.2167 | 184.4667 | 4.9167 | 892 | 76.4067 | 7.6193
2019-02-13 03:00:00 | 3.5333 | 146.7833 | 4.06 | 161.3 | 4.1867 | 174.6667 | 4.53 | 176.2667 | 4.8167 | 891.1333 | 77.34 | 7.0033
2019-02-13 03:15:00 | 3.28 | 147.4333 | 3.78 | 162 | 3.84 | 168.1 | 4.1133 | 176.6667 | 4.6867 | 891 | 78.2567 | 7.8533
2019-02-13 03:30:00 | 3.0667 | 161.32 | 3.54 | 177.2667 | 3.6133 | 162.1 | 4.2867 | 171.1333 | 4.56 | 891 | 79.0567 | 5.7447
2019-02-13 03:45:00 | 3.02 | 154.52 | 3.4833 | 169.8 | 3.5133 | 175.8 | 3.8933 | 171.1667 | 4.69 | 891 | 78.1933 | 6.59
2019-02-13 04:00:00 | 3.5133 | 163.1333 | 4.05 | 179.2667 | 4.06 | 178.9333 | 4.5 | 184.6333 | 4.7633 | 890.1333 | 77.642 | 7.944
2019-02-13 04:15:00 | 3.6267 | 164.3467 | 4.1733 | 180.6 | 4.2333 | 169.2333 | 4.7567 | 173.7667 | 4.78 | 890 | 77.4167 | 7.934
2019-02-13 04:30:00 | 3.3133 | 157.0667 | 3.8133 | 172.6 | 3.9067 | 163.4333 | 4.4167 | 176.8333 | 4.6733 | 890 | 78.07 | 6.9013
2019-02-13 04:45:00 | 3.2067 | 146.75 | 3.69 | 161.2667 | 3.8367 | 176.6667 | 4.2733 | 176.6667 | 4.6867 | 890 | 77.9933 | 4.108
2019-02-13 05:00:00 | 3.1467 | 146.5167 | 3.6233 | 161 | 3.7633 | 169 | 4.0533 | 174.6 | 4.6933 | 890 | 77.9 | 1.312
2019-02-13 05:15:00 | 2.8433 | 153.8567 | 3.2733 | 169.0667 | 3.54 | 166.3667 | 3.81 | 180.2667 | 4.8 | 890 | 77.12 | 0.06
2019-02-13 05:30:00 | 0.92333 | 144.8767 | 1.0733 | 159.2 | 1.3867 | 144.8333 | 1.5633 | 168.0667 | 4.8087 | 890 | 76.792 | 0.016667
2019-02-13 05:45:00 | 1.2353 | 171.02 | 1.428 | 187.9267 | 1.846 | 201.46 | 1.8227 | 193.8133 | 4.6647 | 890 | 77.5433 | 1.8787
2019-02-13 06:00:00 | 3.4367 | 158.4867 | 3.9533 | 174.1667 | 4.1967 | 188.1667 | 4.2467 | 190.4267 | 4.4967 | 889.8 | 78.6033 | 16.45
2019-02-13 06:15:00 | 4.2 | 144.55 | 4.8333 | 158.8333 | 5.1 | 185.7333 | 5.9767 | 182.2 | 3.9867 | 889 | 81.5 | 16.734
2019-02-13 06:30:00 | 4.0133 | 156.0767 | 4.62 | 171.5 | 4.7733 | 181.4 | 5.5767 | 191.9333 | 3.4867 | 888.1333 | 84.7667 | 9.296
2019-02-13 06:45:00 | 2.8033 | 170.9 | 3.2233 | 187.8 | 3.6233 | 213.4 | 3.8 | 188.1667 | 3.7267 | 888 | 83.4 | 9.9327
2019-02-13 07:00:00 | 2.63 | 156.5267 | 3.0233 | 172 | 3.4567 | 200.7333 | 3.9267 | 173.2333 | 3.8267 | 888.2 | 82.7333 | 9.5973
2019-02-13 07:15:00 | 2.2933 | 186.3367 | 2.64 | 204.7667 | 3.1933 | 227.4667 | 3.3533 | 196.6667 | 3.75 | 889 | 83.3667 | 6.9013
2019-02-13 07:30:00 | 2.08 | 186.53 | 2.3933 | 204.9667 | 3.0333 | 226.2 | 3.1867 | 210.0667 | 3.8633 | 889 | 82.5667 | 7.4207
2019-02-13 07:45:00 | 2.9 | 174.82 | 3.3413 | 192.1 | 3.7513 | 210.9933 | 3.9887 | 212.2267 | 3.8967 | 889 | 82.2667 | 6.7327
2019-02-13 08:00:00 | 2.94 | 182.1693 | 3.3867 | 200.1867 | 3.9 | 209.6667 | 4.1367 | 213.9 | 3.968 | 889 | 81.78 | 3.5113
2019-02-13 08:15:00 | 2.2933 | 166.39 | 2.64 | 182.8333 | 2.9133 | 193.7333 | 2.9933 | 191.7333 | 3.92 | 889 | 82.02 | 2.8013
2019-02-13 08:30:00 | 1.48 | 169.7233 | 1.7067 | 186.5 | 2.1333 | 185.2667 | 2.3067 | 211.3333 | 3.76 | 889.2 | 83.4667 | 3.55
2019-02-13 08:45:00 | 1.2967 | 146.64 | 1.5 | 161.1333 | 1.8367 | 188 | 2.2067 | 217.4333 | 3.5267 | 890 | 85.3333 | 3.4913
2019-02-13 09:00:00 | 2.2567 | 154.4533 | 2.5933 | 169.7333 | 2.7367 | 181.78 | 2.9867 | 196.7667 | 3.3533 | 890 | 86.8 | 2.6147
2019-02-13 09:15:00 | 2.6133 | 154.2987 | 3.0133 | 169.5533 | 3.1767 | 176.4 | 2.9867 | 204.6 | 3.2733 | 890 | 87.7 | 1.868
2019-02-13 09:30:00 | 2.7133 | 155.7567 | 3.1333 | 171.16 | 3.33 | 181.2867 | 3.4333 | 201.3333 | 3.3333 | 890 | 87.6533 | 2.3587
2019-02-13 09:45:00 | 3.294 | 156.064 | 3.786 | 171.5 | 3.83 | 183.9 | 4.208 | 195.94 | 3.488 | 890 | 86.7 | 3.1293
2019-02-13 10:00:00 | 3.5 | 163.166 | 4.028 | 179.3 | 3.988 | 180.7 | 4.364 | 184.8 | 3.66 | 890 | 85.6 | 3.9453
2019-02-13 10:15:00 | 3.1467 | 137.9267 | 3.62 | 151.5667 | 3.51 | 159.5333 | 3.8867 | 192.3667 | 3.81 | 890 | 84.6667 | 4.602
2019-02-13 10:30:00 | 2.6333 | 125.86 | 3.0333 | 138.3 | 3.1033 | 192.76 | 3.4267 | 193.7667 | 3.9567 | 890 | 84 | 4.2793
2019-02-13 10:45:00 | 3.2427 | 154.738 | 3.7287 | 170.0333 | 3.854 | 181.8267 | 4.0093 | 184.8133 | 4.096 | 890.5333 | 83.0133 | 4.504
2019-02-13 11:00:00 | 3.2267 | 144.5767 | 3.72 | 158.8667 | 3.8633 | 182.6 | 4.2 | 186.6667 | 4.32 | 891 | 82.1 | 3.5527
2019-02-13 11:15:00 | 3.2733 | 161.04 | 3.7667 | 176.9667 | 3.7167 | 181.5333 | 4.0767 | 199.2333 | 4.51 | 891 | 81.68 | 4.0367
2019-02-13 11:30:00 | 3.2333 | 149.6333 | 3.72 | 164.4333 | 3.6833 | 184.0667 | 4.2633 | 202.5 | 4.67 | 891 | 81.28 | 3.83
2019-02-13 11:45:00 | 3.2267 | 163.8 | 3.71 | 180 | 3.6833 | 195.3333 | 4.2367 | 191 | 4.9533 | 891 | 80.1833 | 4.4253
2019-02-13 12:00:00 | 3.6267 | 142.0867 | 4.17 | 156.1333 | 4.19 | 184.0667 | 4.67 | 187.38 | 5.16 | 890.8 | 79.39 | 5.8967
2019-02-13 12:15:00 | 3.5807 | 165.04 | 4.1213 | 181.36 | 4.29 | 181.0333 | 4.634 | 186.0467 | 5.3807 | 890 | 78.8807 | 6.204
2019-02-13 12:30:00 | 3.72 | 150.79 | 4.29 | 165.7 | 4.29 | 212.9 | 4.6167 | 187.8 | 5.37 | 890 | 78.44 | 6.8713
2019-02-13 12:45:00 | 3.996 | 150.7467 | 4.608 | 165.6467 | 4.7413 | 177.9867 | 4.7867 | 167.0867 | 5.524 | 890 | 77.5613 | 6.9513
2019-02-13 13:00:00 | 4.16 | 155.0333 | 4.79 | 170.3667 | 4.8933 | 168.7 | 4.8633 | 172.2667 | 5.67 | 890 | 76.5967 | 6.1047
2019-02-13 13:15:00 | 4.1733 | 139.02 | 4.8033 | 152.7667 | 4.7133 | 176.4333 | 4.6733 | 182.3 | 5.69 | 890 | 76.22 | 4.6473
2019-02-13 13:30:00 | 4.0267 | 160.8 | 4.63 | 176.7 | 4.6467 | 160.1667 | 4.7267 | 174.8333 | 5.712 | 889.1333 | 76.2507 | 3.5393
2019-02-13 13:45:00 | 3.462 | 165.9073 | 3.9807 | 182.3067 | 4.1 | 178.58 | 4.1533 | 186.1867 | 5.8573 | 889 | 75.578 | 3.8453
2019-02-13 14:00:00 | 3.38 | 134.4067 | 3.8933 | 147.7 | 4.0067 | 160.4 | 3.9133 | 180.9667 | 6.0167 | 888.8 | 74.7467 | 1.8687
2019-02-13 14:15:00 | 3.2333 | 134.9633 | 3.7167 | 148.3 | 3.8333 | 159.4667 | 4.13 | 178.2 | 5.8567 | 888 | 75.0767 | 2.7933
2019-02-13 14:30:00 | 3.3667 | 169.41 | 3.87 | 186.1667 | 3.9933 | 190.0667 | 4.2033 | 156.2 | 5.9967 | 888 | 74.684 | 1.9673
2019-02-13 14:45:00 | 3.0833 | 143.3847 | 3.5447 | 157.5667 | 3.654 | 172.7067 | 3.7653 | 185.0733 | 6.11 | 888 | 74.4027 | 2.0713
2019-02-13 15:00:00 | 3.5333 | 167.5 | 4.06 | 184.0667 | 4.1867 | 162.9333 | 4.2633 | 190.94 | 6.0933 | 888 | 74.2533 | 1.772
2019-02-13 15:15:00 | 2.5067 | 162.02 | 2.8833 | 178.0333 | 3.1667 | 214.2667 | 3.3133 | 163.3333 | 6.0467 | 888 | 74.91 | 0.63
2019-02-13 15:30:00 | 2.48 | 154.86 | 2.8567 | 170.1667 | 3.1133 | 170.1333 | 3.28 | 173.2 | 6.1667 | 887.1333 | 74.5307 | 0.172
2019-02-13 15:45:00 | 2.7167 | 139.9967 | 3.1233 | 153.8333 | 3.19 | 172.5 | 3.2067 | 180.6333 | 6.1533 | 887 | 74.4587 | 0.602
2019-02-13 16:00:00 | 2.7633 | 156.5567 | 3.1767 | 172.0333 | 3.33 | 183.5667 | 3.3667 | 184.1 | 6.0267 | 887 | 75.0767 | 0.64667
2019-02-13 16:15:00 | 2.4933 | 159.23 | 2.87 | 174.9667 | 2.9633 | 169.5667 | 3.01 | 186.1 | 5.8433 | 887 | 76.0633 | 0.31333
2019-02-13 16:30:00 | 2.4067 | 126.3433 | 2.77 | 138.8333 | 2.7033 | 166.8333 | 2.7233 | 193.1667 | 5.832 | 887 | 76.438 | 0.60133
2019-02-13 16:45:00 | 2.48 | 165.6167 | 2.85 | 182 | 3.06 | 174.4333 | 3.28 | 194.0667 | 5.7733 | 887 | 77.27 | 1.1413
2019-02-13 17:00:00 | 2.14 | 155.49 | 2.4633 | 170.8667 | 2.7733 | 185.6333 | 2.9533 | 187.6 | 5.7267 | 887 | 77.6367 | 0.55267
2019-02-13 17:15:00 | 1.8533 | 163.7133 | 2.14 | 179.9 | 2.3633 | 179.7667 | 2.4167 | 178.6667 | 5.65 | 887 | 78.1867 | 0.95267
2019-02-13 17:30:00 | 2.3733 | 131.6267 | 2.7333 | 144.6333 | 2.8967 | 170.8333 | 2.9967 | 183.0667 | 5.61 | 887 | 79.04 | 1.1213
2019-02-13 17:45:00 | 2.8667 | 149.4833 | 3.3067 | 164.2667 | 3.4567 | 153.0667 | 3.6367 | 175.1333 | 5.5867 | 887 | 80.26 | 1.2933
2019-02-13 18:00:00 | 2.96 | 141.9567 | 3.4067 | 156 | 3.5633 | 151.9333 | 3.5433 | 172.2667 | 5.5133 | 886.3333 | 81.2667 | 2.338
2019-02-13 18:15:00 | 2.7533 | 144.2433 | 3.1667 | 158.5 | 3.47 | 151.7667 | 3.2567 | 185.1333 | 5.3733 | 886.4667 | 82.1 | 1.34
2019-02-13 18:30:00 | 2.1467 | 147.33 | 2.4733 | 161.9 | 2.65 | 160.6333 | 2.7833 | 177.4667 | 5.2867 | 886.2 | 82.3 | 0.32867
2019-02-13 18:45:00 | 2.1567 | 165.87 | 2.4833 | 182.2667 | 2.74 | 182.9333 | 3.05 | 203.4 | 5.2547 | 887 | 82.2467 | 0.47667
2019-02-13 19:00:00 | 2.3967 | 147.1767 | 2.7633 | 161.7333 | 3.0667 | 172.2 | 3.59 | 194.0667 | 5.2167 | 886.3333 | 82.2867 | 0.49067
2019-02-13 19:15:00 | 2.6 | 156.2767 | 2.9933 | 171.7333 | 3.1733 | 187.6 | 3.5933 | 193.8333 | 5.22 | 887 | 82.2467 | 0.72533
2019-02-13 19:30:00 | 1.82 | 147.0033 | 2.1 | 161.5333 | 2.3333 | 157.3333 | 3.2267 | 173.7667 | 5.2 | 887 | 82.2867 | 0.49
2019-02-13 19:45:00 | 1.9333 | 171.5033 | 2.2333 | 188.4667 | 2.57 | 185.3 | 2.82 | 195.9 | 5.1167 | 887 | 82.6667 | 0.56267
2019-02-13 20:00:00 | 2.04 | 152.1567 | 2.3467 | 167.2 | 2.5833 | 204.2333 | 2.6067 | 193.96 | 5.11 | 887 | 82.78 | 0.278
2019-02-13 20:15:00 | 2.02 | 159.89 | 2.33 | 175.7 | 2.5867 | 189.9 | 2.64 | 191.1333 | 5.0433 | 887 | 83.4 | 0
2019-02-13 20:30:00 | 2.0067 | 164.93 | 2.31 | 181.2333 | 2.7133 | 211.3667 | 2.9 | 210.4 | 4.9567 | 887 | 84.5333 | 0.316
2019-02-13 20:45:00 | 1.92 | 164.86 | 2.2133 | 181.1667 | 2.47 | 190.8 | 2.8567 | 197.0333 | 4.8567 | 887 | 85.4333 | 1.2293
2019-02-13 21:00:00 | 1.62 | 163.2867 | 1.8733 | 179.4333 | 2.2367 | 188.7333 | 2.5433 | 203.4333 | 4.8233 | 887 | 85.8333 | 1.9847
2019-02-13 21:15:00 | 2.36 | 172.48 | 2.7167 | 189.5333 | 2.9933 | 205.8333 | 3.2933 | 212.3 | 4.8 | 887 | 86.1 | 2.192
2019-02-13 21:30:00 | 2.5667 | 185.5267 | 2.9567 | 203.8667 | 3.3 | 205.6333 | 3.4467 | 211.3667 | 4.8333 | 887.8667 | 85.9667 | 1.548
2019-02-13 21:45:00 | 1.9867 | 185.6733 | 2.29 | 204.0333 | 2.6833 | 222.2 | 2.8633 | 213.6 | 4.818 | 888 | 86.1 | 1.92
2019-02-13 22:00:00 | 2.0667 | 161.1067 | 2.3767 | 177.0333 | 2.7233 | 212.0667 | 2.89 | 218.5333 | 4.7067 | 888 | 86.9 | 1.99
2019-02-13 22:15:00 | 1.9573 | 155.0547 | 2.2527 | 170.38 | 2.902 | 210.0933 | 3.0773 | 217.8733 | 4.542 | 888 | 88.7667 | 1.738
2019-02-13 22:30:00 | 1.7533 | 170.85 | 2.0233 | 187.7333 | 2.9867 | 224.6667 | 3.15 | 229.9333 | 4.2567 | 888 | 92.2 | 2.2673
2019-02-13 22:45:00 | 2 | 175.2933 | 2.3067 | 192.6333 | 2.9167 | 216.7333 | 2.8733 | 216.2 | 4.0233 | 888 | 94.4333 | 2.1367
2019-02-13 23:00:00 | 2.32 | 175.6667 | 2.6733 | 193.0333 | 3.0833 | 207.9333 | 3.06 | 213.2 | 3.9567 | 888 | 95.1 | 3.062
2019-02-13 23:15:00 | 2.5 | 164.69 | 2.88 | 180.9667 | 3.2533 | 204.0667 | 3.2533 | 198.4 | 3.9867 | 888 | 94.6 | 5.4447
2019-02-13 23:30:00 | 2.76 | 153.3433 | 3.1733 | 168.5 | 3.3733 | 206.0667 | 3.62 | 190.8667 | 4.08 | 887.1333 | 93.2 | 5.1587
2019-02-13 23:45:00 | 1.9933 | 174.57 | 2.2933 | 191.8333 | 2.5033 | 205.6 | 3.04 | 207.6333 | 4.1533 | 887 | 91.7 | 3.0687